## Sheet1
Cost of Service Allocation Methodology Matrix
Utility | Generation Allocation | Generation Classification | Transmission Allocation | Transmission Classification | Distribution Substation | Distribution Poles and Wire | Distribution Line Transformers | Services | Meters | Customer Service/ Billing (Account 903) | Meter Reading (Account 902) | A&G, General Plant, and Intangible Plant
Pacific Power (Electric) | Allocated on Demands During Top 100 Winter Hours and Top 100 Summer Hours, and Energy Sales. | Peak and Average was used in the last two GRC's. Previously the Peak Credit method was used for classification. | Same as generation | Same as generation | Maximum Annual Schedule Peak | Same as Distribution Substations for Primary. Same as Distribution Line Transformers for Secondary. | Maximum Non-Coincident Peak Weighted by Diversity Factor | Average installed cost for new service multiplied by customer count. | Average installed cost for new metering multiplied by customer count. | Weighted customer factors. | Weighted customer factors. | Most general plant, intangible plant, and administrative and general expenses are functionalized and allocated to classes based on generation, transmission, and distribution plant.
Puget Sound Energy (Electric) | Allocated on Demands During Top 4 Winter Hours (November through February) and Energy Sales. | Peak Credit method was used for classification. Recent GRC Allocation is 25/75 Demand/Energy as ordered by the UTC. Updated information yields 18/82 | Same as generation | Same as generation | Each class’s average monthly contribution to each substation’s peak load is multiplied by the booked cost of the individual substation in 2016 dollars to derive the allocated cost of each substation assigned to each class. | Each class’s contribution to monthly peak load on the feeders serving their load is multiplied by the number of overhead and underground miles on each feeder to develop the overhead and underground distribution line miles allocated to each class. | Each transformer is priced at current costs, including installation, assigned (mostly) or allocated (a few) to individual customers and these costs are summed across all customers to determine each class’s allocation of embedded line transformer costs | Overhead service lines are allocated based on the number of customers taking service at secondary voltage. Underground service lines are assigned to the residential class. | Meters are allocated based on the current cost of electric meters assigned to customers in each class relative to the current cost of all electric meters. | Weighted customer factors. | Weighted customer factors. | The majority of administrative and general costs are assigned based upon production, transmission, distribution, and customer costs. Property insurance allocations are based upon allocated plant, and pensions and employee insurance follow the allocation of salary and wages
Avista (Electric) | Allocated by class contribution to the average of the twelve monthly system coincident peak loads (12CP) and generation level energy sales (sales volumes grossed up for losses). | Peak Credit - used the system load factor to determine the proportion of the production function that is demand-related. This single peak credit ratio is then applied uniformly to all production costs. | Same as generation | Same as generation | Direct assignment to Extra Large General Service class based on load ratio share of substations they are fed from. All other classes allocated by the average of the twelve monthly non-coincident peaks for each class (excluding directly assigned classes) 12NCP. | Direct assignment to Extra Large General Service class based on load ratio share of line miles from substations they are fed from. Segregated between primary and secondary based on line miles. Primary and secondary cost buckets allocated to customer class by 12NCP (excluding directly assigned classes). | Allocated to customer class by secondary customer 12NCP. | Unweighted secondary number of customers. | Number of customers weighted by typical current cost of metering equipment. | All customers unweighted plus direct assignment of handbilling costs for Extra Large General Service class. | Customers weighted by estimated meter reading time, currently no identifiable differences | A&G study assigns as much as possible to functions, allocated by related plant or number of customers. Remainder assigned by O&M expenses excluding resource and revenue costs, except for property insurance by tangible plant in service, injuries & damages and pension & benefits by O&M labor, general plant related by PTD plant in service, FERC fees by Energy, and Revenue based fees by Revenue.