|  |  |  |  |
| --- | --- | --- | --- |
|  |  |  | (N) |
|  |  |  | I |
|  |  |  | I |
|  |  |  | I |
|  |  |  | I |
|  |  |  | I |
|  |  |  | I |
|  |  |  | I |
|  |  |  | I |
|  |  |  | I |
|  |  |  | I |
|  |  |  | I |
|  |  |  | I |
|  |  |  | I |
|  |  |  | I |
|  |  |  | I |
|  |  |  | I |
|  |  |  | I |
|  |  |  | I |
|  |  |  | I |
|  |  |  | I |
|  |  |  | I |
|  |  |  | I |
|  |  |  | I |
|  |  |  | I |
|  |  |  | I |
|  |  |  | I |
|  |  |  | I |
|  |  |  | I |
|  |  |  | I |
|  |  |  | I |
|  |  |  | I |
|  |  |  | I |
|  |  |  | I |
|  |  |  | (N) |

|  |
| --- |
| SCHEDULE NO. 88R |
| Interruptible Distribution System Biomethane Receipt Service |

1. **Other Terms and Conditions**: (Continued)
	* 1. for each constituent that tests above the upper action level, initiate quarterly testing immediately; and
		2. within twenty-four (24) months of executing its Gas Quality Agreement, use the most recent applicable test results as input values and initiate the logic and follow the appropriate decisions/actions described in Sections 9.i, 9.j and 9.k of the Gas Quality Agreement.
2. a. The Minimum Gas Quality established in each Biomethane Customer's Gas Quality Agreement and the protocol for monitoring and periodic testing of the Biomethane in each Biomethane Customer's Gas Quality Agreement shall be determined in the Company's sole judgment based on the location of the Biomethane receipt relative to expected minimum system gas flow, system design and the Daily Contract Volume to be received.
3. Biomethane Customer is responsible for identifying an accredited laboratory that is capable of detecting constituents at levels required to demonstrate its Biomethane meets the Minimum Gas Quality.
	* 1. Company reserves the right to specify an accredited laboratory as described in Section 11.2.a.i in the event Biomethane Customer is unable to do so.
4. Company reserves the right to revise the Minimum Gas Quality in a Biomethane Customer's Gas Quality Agreement in the event Biomethane Delivery Specifications in Section 2.b of the Biomethane Customer's Gas Quality Agreement are amended or gas flows on Company's pipeline system change such that the initial Minimum Gas Quality is no longer adequate to maintain gas quality on Company's pipeline system. Company reserves to the right to refuse deliveries of Biomethane that do not conform to the revised Minimum Gas Quality in a Biomethane Customer's Gas Quality Agreement.

 (Continued on Sheet No. 188R-P)