## (2)(a)(i) One Time (all)
PUGET SOUND ENERGY 2024 RPS REPORT | [6 empty] | Attachment 5
480-109-210(2)(a)(i) Utility must make a one-time calculation of incremental cost for each eligible resource at the time of acquisition or, for historic acquisitions, the best information available at the time of acquistion
Formula One Time Calculation of Incremental Cost: Energy-Levelized Incremental Cost: [Levelized Cost Eligible Renewable Resource – Levelized Cost Alternative] Capacity-Levelized Incremental Cost: [Levelized Cost Eligible Renewable Resource – Levelized Cost Alternative] Energy + Capacity = Incremental Cost
Resource | ENERGY | $ | Energy | Capacity | Capacity | $ | $
| Levelized Cost Eligible Renewable Resource ($/REC/MWh) | Total Annual Cost ($) (2)(a)(i)(A) | Levelized Cost Alternative ($/MWh) | Levelized Cost Alternative ($/kW-yr) | Total Alternative Cost ($) | Incremental Cost ($) | Washington Share
Baker River Project - Lower Baker Unit 3 | 78.5388 | 8600000 | 7.92 | 120.012 | 9290000 | -690000 | -690000
Snoqualmie Falls - Snoqualmie Falls Units 1-4 | 112.6917 | 3850000 | 2.44 | 64.824 | 3180000 | 670000 | 670000
Wild Horse - Wild Horse | 54.3404 | 34940000 | 26.53 | 281.196 | 29740000 | 5200000 | 5200000
Hopkins Ridge - Hopkins Ridge | 40.2006 | 18770000 | 19.26 | 149.796 | 20970000 | -2200000 | -2200000
Wild Horse - Wild Horse - Phase II | 109.0454 | 10030000 | 5.09 | 70.956 | 5900000 | 4130000 | 4130000
Hopkins Ridge - Hopkins Ridge Phase II | 60.8828 | 1280000 | 1.19 | 14.892 | 1360000 | -80000 | -80000
Lower Snake River - Dodge Junction - LSR-Dodge Junction | 78.633 | 39330000 | 48.51 | 148.044 | 27960000 | 11370000 | 11370000
Lower Snake River - Phalen Gulch - LSR-Phalen Gulch | 78.6467 | 31280000 | 48.51 | 148.044 | 22230000 | 9050000 | 9050000
Klondike III - Klondike Wind Power III LLC | 65.1319 | 10270000 | 8.98 | 81.468 | 9910000 | 360000 | 360000
Sierra Pacific Industries | 53.4831 | 6770000 | 3.37 | 123.516 | 4780000 | 1990000 | 1990000
Golden Hills Wind Farm, LLC | 47.7082 | 32570000 | 17.36 | 921.552 | 27880000 | 4690000 | 4690000
Clearwater | 41.527 | 58950000 | 36.47 | 1208.004 | 50270000 | 8680000 | 8680000
[6 empty] | 0 | 0
Total Renewable Resource Cost |  | 256640000 |  |  | 213470000 | 43170000 | 43170000
Note 1: WAC 480-109-210 (2) (G): Legacy resources. Any eligible resource that the utility acquired prior to March 31, 1999, is deemed to have an incremental cost of zero. |  |  |  |  | Washington Share: | 100%
[5 empty] | ALL RESOURCES TOTAL INCREMENTAL COST = ENERGY + CAPACITY | 43170000
Note: Levelized cost of eligible renewable resource should include integration costs, where applicable.

## (2)(a)(ii)Annual2024est (C)
PUGET SOUND ENERGY 2024 RPS REPORT | [5 empty] | Attachment 5
2024 Estimated Data: Annual Calculation of Revenue Requirement Ratio
480-109-210(2)(a)(ii) Utility must annually calculate its revenue requirement ratio for 1) All Resources 2) Required Resources Target Year
Formula Annual Calculation of Incremental Cost (Revenue Requirement Ratio): 1) Total Incremental Cost All* Resources: {[sum of incremental costs of All* eligible resources + cost of unbundled RECs] - [revenue RECs]} / annual revenue requirement *required because of excess generation, Avista needs to report 2 incremental costs 2) Total Incremental Cost Required Resources for Target Year: {[sum of incremental costs of Target Year* eligible resources used for target year compliance + cost of unbundled RECs] - [revenue RECs]} / annual revenue requirement
Resource--Washington Only | ALL AVAILABLE RESOURCES ESTIMATED (RCW 19.285.070(1)) |  |  | TARGET YEAR: FORCAST SUBJECT TO CHANGE (WAC 480-109-210(2)(a)(ii)(B) and (C))
| sum of incremental costs of all eligible resources | RECs purchased | Revenue from REC sales | sum of incremental costs of all eligible resources | RECs purchased | Revenue from REC sales
Baker River Project - Lower Baker Unit 3 | -690000 |  |  | -642607.3973
Snoqualmie Falls - Snoqualmie Falls Units 1-4 | 670000 |  |  | 336882.6835
Wild Horse - Wild Horse | 5200000 |  |  | 1155091.8841
Hopkins Ridge - Hopkins Ridge | -2200000 |  |  | -1808280.4321
Wild Horse - Wild Horse - Phase II | 4130000 |  |  | 3396541.0959
Hopkins Ridge - Hopkins Ridge Phase II | -80000 |  |  | -70376.7123
Lower Snake River - Dodge Junction - LSR-Dodge Junction | 11370000 |  |  | 10972482.3661
Lower Snake River - Phalen Gulch - LSR-Phalen Gulch | 9050000 |  |  | 7968555.248
Klondike III - Klondike Wind Power III LLC | 360000 |  |  | 140739.726
Sierra Pacific Industries | 1990000 |  |  | 1588626.266
Golden Hills Wind Farm, LLC | 4690000 |  |  | 0
Clearwater | 8680000 |  |  | 7895468.8995
REC Sales were $0 in 2024 per Attachment 3 | 0 |  | 0 | 0 |  | 0
Total | 43170000 | 0 | 0 | 30933123.6273 | 0 | 0
Total WA Only Resources | 43170000 | 0 | 0 | 30933123.6273 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0
Total WA Share of Costs | 43170000 | 0 | 0 | 30933123.6273 | 0 | 0
Annual Revenue Requirement (most recent rate case) |  |  | 3196235787.8945 |  |  | 3196235787.8945
| CALCULATION 1 (Note 1): |  | 45425459.82 | CALCULATION 2 (Note 1): |  | 32549255.6044
| 1.421% |  |  | 1.018%
| Without revenue sensitive items |  | 1.351% |  |  | 0.9678%
NOTES
Note 1: To calculate revenue requirements all costs/revenues are multiplied by the conversion factor to account for Washington's share Excise Tax, Uncollectibles and Commission Fees.

## (2)(a)(iii)(A) and (B)
SHADED INFORMATION IS DESIGNATED AS CONFIDENTIAL PER WAC 480-07-160
PUGET SOUND ENERGY 2024 RPS REPORT |  |  |  |  | Attachment 5
(iii)(A) & (B) Annual Reporting Summary Data: 2024
2024 | Utility must (A) report its total incremental cost as a dollar amount and in dollars per megawatt-hour of renewable energy generated by all eligible renewable resources in the calcualtion (a)(i) of this subsection; and (B) multiply the dollars per megawatt-hour cost calculated in (a)(iii)(A) of this subsection by the number of megawatt-hours needed for target year compliance.
| (A) |  |  | (B)
Resource | Total Incremental Cost (as dollar $ amt.) | MWh | Total Incremental Cost ($/MWh) | Number of Megawatt-hours Needed for Target Year Compliance | Total Incremental Cost ($/MWh) Multiplied by Number of Megawatt-hours Needed for Target Year Compliance
Baker River Project - Lower Baker Unit 3 | -690000 | 109500 | -6.3014 | 101979 | -642607.3973
Snoqualmie Falls - Snoqualmie Falls Units 1-4 | 670000 | 34164 | 19.6113 | 17178 | 336882.6835
Wild Horse - Wild Horse | 5200000 | 642984 | 8.0873 | 142828 | 1155091.8841
Hopkins Ridge - Hopkins Ridge | -2200000 | 466908 | -4.7118 | 383773 | -1808280.4321
Wild Horse - Wild Horse - Phase II ** | 4130000 | 91980 | 44.9011 | 75645 | 3396541.0959
Hopkins Ridge - Hopkins Ridge Phase II | -80000 | 21024 | -3.8052 | 18495 | -70376.7123
Lower Snake River - Dodge Junction - LSR-Dodge Junction** | 11370000 | 500172 | 22.7322 | 482685 | 10972482.3661
Lower Snake River - Phalen Gulch - LSR-Phalen Gulch** | 9050000 | 397728 | 22.7542 | 350200.8333 | 7968555.248
Klondike III - Klondike Wind Power III LLC | 360000 | 157680 | 2.2831 | 61644 | 140739.726
Sierra Pacific Industires | 1990000 | 126582 | 15.721 | 101051 | 1588626.266
Golden Hills Wind Farm | 4690000 | 682692 | 6.8699 | 0 | 0
Clearwater | 8680000 | 1419558 | 6.1146 | 1291253 | 7895468.8995
Apprenticeship Credits for Eligible Resources |  | 181706 |  | 181706 | 0 | Apprenticeship Credits Detail
[6 empty] | LSR Dodge | 96537
[6 empty] | LSR Phalen | 70040.1667
REC Sales were $0 in 2024 per Attachment 3 |  |  |  |  | 0 | Wild Horse II | 15129
Total Renewable Portfolio | 43170000 | 4832678 | 8.9329 | 3208437.8333 | 30933123.6273 |  | 181706.1667
| Agrees to Report - Section 4 |  |  | 0.16667 | 9.6412
**Note--These facilities qualify for apprenticeship credits therefore requiring less MWh for compliance |  |  |  |  | (Avg cost/MWH for resources used)
9.2819

## electric conv fctr
` | Electric Conversion Factor from UE-220066 updated for new Annual Filing Fee Rate
PUGET SOUND ENERGY - ELECTRIC
ELECTRIC RESULTS OF OPERATIONS
2022 GENERAL RATE CASE
12 MONTHS ENDED JUNE 30, 2021
RATE YEARS CALENDAR 2023 AND 2024
CONVERSION FACTOR
LINE
NO. | DESCRIPTION | %'s | RATE
1 | BAD DEBTS |  | 0.007197
2 | ANNUAL FILING FEE |  | 0.004
3 | STATE UTILITY TAX - NET OF BAD DEBTS ( 3.8734% - ( LINE 1 * 3.8734%) ) | 3.873% | 0.038455
4
5 | SUM OF TAXES OTHER |  | 0.049652
6
7 | CONVERSION FACTOR EXCLUDING FEDERAL INCOME TAX ( 1 - LINE 5) |  | 0.95035 | 1.0522
8 | FEDERAL INCOME TAX | 21% | 0.19957
9 | CONVERSION FACTOR INCL FEDERAL INCOME TAX ( LINE 5 + LINE 8 ) |  | 0.75077