## TOC
Exhibit Table of Contents
Tab Name (with hyperlinks) | Description
CGK-2C | Dispatch model results
CGK-3 | Power Supply Pro forma
CGK-4 | Description of Power Supply Adjustments
CGK-5 | Market Purchases and Sales, Plant Generation and Fuel Cost Summary
CGK-6 | ERM Authorized Expense and Retail Sales (Annual) - Page 1 2025 (RY1) / Page 2 2026(RY2)
Workpaper Index | Listing of Supporting Workpapers
Confidential Proforma vs Authorized | Table comparing Pro forma w Authorized for System and Washington
Confidential Aurora Portfolio Output | Output of energy/dollars by portfolio item
Confidential Aurora Fuel Output | Output of fuel prices, fuel and startup fuel usage by plant; used for fuel costs calculation
Confidential Colstrip Fuel Model | Colstrip fuel model
Confidential Fuel Costs | Calculation of gas fuel costs based on Aurora Fuel Ouput
Confidential Gas Contracts MTM | Gas contracts mark-to-market calculation
Steps for Updating Aurora | Steps to update various things in Aurora
Summation Index | Lookup between Aurora portfolio resources/contracts to plant used for proforma
REDACTED VERSION OF MODEL - NO LINKS OR FORMULAS- SEE CONFIDENTIAL VERSION.
CONFIDENTIAL MATERIAL REDACTED.

## CGK-2C
| CONFIDENTIAL per Protective Order | [15 empty] | hours
| Avista Corp. | [14 empty] | Avista Corp.
| Dispatch Model Results | [14 empty] | Dispatch Model Results
| (Gigawatt-hours) | [14 empty] | (Average Megawatts)
1 |  | Annual | 2025-01-01 | 2025-02-01 | 2025-03-01 | 2025-04-01 | 2025-05-01 | 2025-06-01 | 2025-07-01 | 2025-08-01 | 2025-09-01 | 2025-10-01 | 2025-11-01 | 2025-12-01 | 1 |  | Annual | 2025-01-01 | 2025-02-01 | 2025-03-01 | 2025-04-01 | 2025-05-01 | 2025-06-01 | 2025-07-01 | 2025-08-01 | 2025-09-01 | 2025-10-01 | 2025-11-01 | 2025-12-01 | Aurora Name
2 | Hydro Resources | [13 empty] | 2 | Hydro Resources
3 | Clark Fork River | [13 empty] | 3 | Clark Fork River
4 | Cabinet Gorge | [13 empty] | 4 | Cabinet Gorge
5 | Noxon Rapids | [13 empty] | 5 | Noxon Rapids
6 | Total Clark Fork River | [13 empty] | 6 | Total Clark Fork River
7 | [14 empty] | 7
8 | Spokane River | [13 empty] | 8 | Spokane River
9 | Little Falls | [13 empty] | 9 | Little Falls
10 | Long Lake | [13 empty] | 10 | Long Lake
11 | Monroe Street | [13 empty] | 11 | Monroe Street
12 | Nine Mile | [13 empty] | 12 | Nine Mile
13 | Post Falls | [13 empty] | 13 | Post Falls
14 | Upper Falls | [13 empty] | 14 | Upper Falls
15 | Total Spokane River | [13 empty] | 15 | Total Spokane River
16 | [14 empty] | 16
17 | Mid-Columbia Contracts | [13 empty] | 17 | Mid-Columbia Contracts
18 | Priest Rapids | [13 empty] | 18 | Priest Rapids
19 | Rock Island | [13 empty] | 19 | Rock Island
20 | Rocky Reach | [13 empty] | 20 | Rocky Reach
21 | Wanapum | [13 empty] | 21 | Wanapum
22 | Wells Purchase | [13 empty] | 22 | Wells Purchase
23 | Wells Exchange | [13 empty] | 23 | Wells Exchange
24 | Canadian Entitlement | [13 empty] | 24 | Canadian Entitlement
25 | Total Mid-C Contracts | [13 empty] | 25 | Total Mid-C Contracts
26 | [14 empty] | 26
27 | Columbia Basin Contract | [13 empty] | 27 | Columbia Basin Contract
28 | EBC 4.6 | [13 empty] | 28 | EBC 4.6
29 | Main Canal | [13 empty] | 29 | Main Canal
30 | PEC 66 | [13 empty] | 30 | PEC 66
31 | PEC Headworks | [13 empty] | 31 | PEC Headworks
32 | Quincy Chute | [13 empty] | 32 | Quincy Chute
33 | Russell D Smith | [13 empty] | 33 | Russell D Smith
34 | Summer Falls | [13 empty] | 34 | Summer Falls
35 | Total CBH Contracts | [13 empty] | 35 | Total CBH Contract
36 | [14 empty] | 36
37 | Total Hydro Resources | [13 empty] | 37 | Total Hydro Resources
38 | [14 empty] | 38
39 | Non-Hydro Resources | [13 empty] | 39 | Non-Hydro Resources
40 | Small Solar Projects | [13 empty] | 40 | Small Solar Projects
41 | Boulder Park | [13 empty] | 41 | Boulder Park
42 | Colstrip | [13 empty] | 42 | Colstrip
43 | Coyote Springs 2 | [13 empty] | 43 | Coyote Springs 2
44 | Kettle Falls | [13 empty] | 44 | Kettle Falls
45 | Kettle Falls CT | [13 empty] | 45 | Kettle Falls CT
46 | Lancaster | [13 empty] | 46 | Lancaster
47 | Northeast | [13 empty] | 47 | Northeast
48 | Rathdrum | [13 empty] | 48 | Rathdrum
49 | Total Owned Non-Hydro Resources | [13 empty] | 49 | Total Non-Hydro Resources
50 | [14 empty] | 50
51 | Total All Resources | [13 empty] | 51 | Total All Resources
52 | [14 empty] | 52
53 | Contracts | [13 empty] | 53 | Contracts
54 | Nichols Pumping | [13 empty] | 54 | Nichols Pumping
55 | Palouse Wind | [13 empty] | 55 | Palouse Wind
56 | Rattlesnake Wind | [13 empty] | 56 | Rattlesnake Wind
57 | Clearwater Wind | [13 empty] | 57 | Clearwater Wind
58 | Elf I Solar | [13 empty] | 58 | Elf I Solar
59 | Adams Neilson Solar | [13 empty] | 59 | Adams Neilson Solar
60 | Small Power | [13 empty] | 60 | Small Power
61 | Spokane Waste-to-Energy | [13 empty] | 61 | Spokane Waste-to-Energy
62 | Stimson Lumber | [13 empty] | 62 | Stimson Lumber
63 | Upriver | [13 empty] | 63 | Upriver
64 | Douglas Exchange Sale | [13 empty] | 64 | Douglas Exchange Sale
65 | Total Contracts | [13 empty] | 65 | Total Contracts
66 | [14 empty] | 66
67 | Spot Market Transactions (Aurora) | [13 empty] | 67 | Spot Market Transactions (Aurora)
68 | Market Purchases | [13 empty] | 68 | Market Purchases
69 | Market Sales | [13 empty] | 69 | Market Sales
70 | Total Spot Market Transactions | [13 empty] | 70 | Total Spot Market Transactions
71 | [14 empty] | 71
72 | Total All Resources | [13 empty] | 72 | Total All Resources
73 | Less Station Service | [13 empty] | 73 | Less Station Service
74 | System Load | [13 empty] | 74 | System Load
Total Resources
check

## CGK-3
Avista Corp.
Power Supply Pro Forma - Washington Jurisdiction
System Numbers - 12ME 6/30/23 Actual - 2025 Pro Forma
Test Year Load
| ($000) |  |  |  | Cost ($000) | [11 empty] | Aurora Name
[5 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Line |  | 12 Mo-Ending |  | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025
No. |  | 2023-06-30 | Adjustment | Pro Forma | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
1 | 555 PURCHASED POWER
2 | Short-Term Market | 90311.008 | -88098.4172 | 2212.5908 | 518.7473 | 1377.4132 | 4.7792 | 0 | -4.7248 | 0 | 9.4573 | 0.41773 | 0 | 1.0756 | 0 | 305.4252 | ST Market Purchases
3 | Chelan PUD | 15169.433 | 23047.3136 | 38216.7466 | 3184.7289 | 3184.7289 | 3184.7289 | 3184.7289 | 3184.7289 | 3184.7289 | 3184.7289 | 3184.7289 | 3184.7289 | 3184.7289 | 3184.7289 | 3184.7289 | Chelan PUD
4 | Douglas PUD | 5476.224 | -3726.3343 | 1749.8897 | 111.5174 | 105.0821 | 130.5733 | 142.9834 | 160.9673 | 157.2549 | 242.6675 | 216.6296 | 120.8452 | 121.5384 | 131.6055 | 108.2252 | Wells
5 | Grant PUD | 25678.623 | 5523.2959 | 31201.9189 | 2600.1599 | 2600.1599 | 2600.1599 | 2600.1599 | 2600.1599 | 2600.1599 | 2600.1599 | 2600.1599 | 2600.1599 | 2600.1599 | 2600.1599 | 2600.1599 | Priest Rapids
6 | Lancaster PPA | 30085.352 | -102.0533 | 29983.2987 | 2565.0406 | 2475.5253 | 2571.4784 | 2477.9147 | 2380.873 | 2289.0695 | 2472.2509 | 2536.0204 | 2536.9874 | 2544.6244 | 2576.9144 | 2556.5996 | Lancaster Capacity and Energy Payment
7 | Small Power | 1063.079 | 281.2261 | 1344.3051 | 136.0676 | 137.8419 | 149.1427 | 162.4458 | 156.2062 | 136.2129 | 131.926 | 66.8973 | 45.2993 | 53.999 | 78.6578 | 89.6086 | Small Power | includes Deer Lk non-Aurora
8 | Stimson | 269.657 | 1384.5426 | 1654.1996 | 169.3112 | 132.686 | 120.073 | 82.4643 | 139.4397 | 149.9351 | 174.2909 | 136.9429 | 132.5254 | 149.3922 | 127.7063 | 139.4327 | Stimson Lumber
9 | Spokane-Upriver | 1904.481 | 1582.4356 | 3486.9166 | 451.6612 | 402.1242 | 376.3933 | 417.6752 | 391.4491 | 349.6815 | 174.2122 | 58.0707 | 81.1741 | 180.6645 | 274.7432 | 329.0674 | Upriver
10 | Spokane Waste-to-Energy | 5040.998 | 804.3538 | 5845.3518 | 556.4319 | 526.9022 | 467.6695 | 452.5833 | 342.0269 | 459.3383 | 547.4572 | 520.5331 | 538.4825 | 547.4572 | 330.0377 | 556.4319 | Spokane Waste-to-Energy
11 | Palouse Wind | 19368.691 | 3585.0776 | 22953.7686 | 2579.6511 | 2294.8982 | 2165.5535 | 2315.7356 | 1743.8076 | 1655.3302 | 1206.0447 | 1320.5687 | 1475.8541 | 1855.3456 | 2253.8203 | 2087.1589 | Palouse Wind
12 | Adams-Neilson Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Adams Nielson Solar
13 | Elf I Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Elf I Solar
14 | Rattlesnake Flats Wind | 10301.876 | 80.3167 | 10382.1927 | 659.0626 | 1033.8268 | 1027.7986 | 1087.3011 | 960.0482 | 847.4457 | 577.1841 | 748.1922 | 792.3436 | 888.0585 | 1013.0656 | 747.8658 | Rattlesnake Flats
15 | Clearwater Wind | 0 | 11291.9401 | 11291.9401 | 1179.96 | 712.83 | 866.91 | 903.63 | 794.7 | 811.44 | 667.98 | 826.2 | 973.17 | 1285.92 | 1139.55 | 1129.65 | Clearwater Wind
16 | Incremental VER Integration | 0 | 3537 | 3537 | 294.75 | 294.75 | 294.75 | 294.75 | 294.75 | 294.75 | 294.75 | 294.75 | 294.75 | 294.75 | 294.75 | 294.75
17 | Clolumbia Basin Hydro | 0 | 16445.1376 | 16445.1376 | 0 | 0 | 250.5884 | 1953.936 | 2908.3957 | 2806.6507 | 2941.1212 | 2624.9341 | 1880.4976 | 1079.0139 | 0 | 0 | Columbia Basin
18 | Clearwater (Idaho only) | 460.365 | -460.365 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | WPM Ancillary Services (reconciling item - not in ERM) | 1220.747 | -1220.747 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | Non-Mon. Accruals (reconciling item - not in ERM) | -17.904 | 17.904 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | Total Account 555 | 206332.63 | -26027.3733 | 180305.2567 | 15007.0897 | 15278.7687 | 14210.5986 | 16076.3082 | 16052.8277 | 15741.9977 | 15224.2308 | 15135.0454 | 14656.8179 | 14786.7282 | 14005.7395 | 14129.1043
22
23 | 557 OTHER EXPENSES
24 | Miscellaneous Transaction Fees | 684.245 | -84.5586 | 599.6864 | 49.9739 | 49.9739 | 49.9739 | 49.9739 | 49.9739 | 49.9739 | 49.9739 | 49.9739 | 49.9739 | 49.9739 | 49.9739 | 49.9739
25 | Other Resource Costs | 1839.679 | -1839.679 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | Natural Gas Fuel Purchases | 46389.243 | -46389.243 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | Total Account 557 | 48913.167 | -48313.4806 | 599.6864 | 49.9739 | 49.9739 | 49.9739 | 49.9739 | 49.9739 | 49.9739 | 49.9739 | 49.9739 | 49.9739 | 49.9739 | 49.9739 | 49.9739
28
29 | 501 THERMAL FUEL EXPENSE
30 | Kettle Falls - Wood Fuel | 9217.0004 | -1853.3723 | 7363.6282 | 626.9048 | 605.4583 | 800.0066 | 520.9129 | 59.0431 | 428.4861 | 691.2682 | 718.1011 | 797.1495 | 783.787 | 741.0803 | 591.4304 | Kettle Falls
31 | Colstrip - Fuel Cost | 33333.238 | -1382.0596 | 31951.1784 | 3141.6763 | 2825.5235 | 3123.926 | 2729.0922 | 1904.939 | 2243.3431 | 2916.1772 | 3086.016 | 2954.5294 | 2343.9164 | 2244.7636 | 2437.2758
32 | Total Account 501 | 42550.2385 | -3235.4319 | 39314.8066 | 3768.5811 | 3430.9817 | 3923.9326 | 3250.0051 | 1963.9821 | 2671.8292 | 3607.4454 | 3804.117 | 3751.6789 | 3127.7034 | 2985.8439 | 3028.7061
33
34 | 547 OTHER FUEL EXPENSE
35 | Coyote Springs 2 Combined Cycle Combustion Turbine | 68208.483 | -17584.2852 | 50624.1978 | 6928.745 | 4860.7722 | 4720.5567 | 2752.2263 | 877.8844 | 1853.5499 | 3976.2665 | 4755.2782 | 4430.1038 | 3046.4335 | 5694.1718 | 6728.2096 | Coyote Springs 2
36 | Lancaster Combined Cycle Combustion Turbine | 63670.072 | -15605.6061 | 48064.4659 | 6686.7702 | 4394.774 | 4742.0471 | 2951.3669 | 1937.5521 | 1210.6334 | 3392.9606 | 4215.8949 | 3985.6918 | 4054.3566 | 5100.7889 | 5391.6294 | Lancaster
37 | TC Energy Pipeline | 0 | 10893.601 | 10893.601 | 915.744 | 874.889 | 915.744 | 902.126 | 915.744 | 902.126 | 915.744 | 915.744 | 902.126 | 915.744 | 902.126 | 915.744
38 | Williams Northwest Pipeline | 0 | 308.2009 | 308.2009 | 27.5608 | 21.52 | 14.9292 | 11.2778 | 13.8451 | 7.9303 | 27.1123 | 37.3436 | 38.2645 | 39.7319 | 36.3305 | 32.3549
39 | Rathdrum Combustion Turbine | 22467.909 | 12255.7047 | 34723.6137 | 5136.1097 | 2844.3938 | 2883.4749 | 956.5158 | 723.9668 | 271.2991 | 1265.3484 | 3740.5908 | 3965.0674 | 3868.9172 | 4914.9677 | 4152.9621 | Rathdrum
40 | Northeast Combustion Turbine | 77.589 | -77.589 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Northeast
41 | Boulder Park Engines | 5236.734 | -842.8419 | 4393.8921 | 596.4769 | 319.7304 | 203.5659 | 138.1089 | 140.2195 | 81.9998 | 332.3287 | 462.055 | 479.4255 | 512.9244 | 580.6426 | 546.4144 | Boulder Park
42 | Kettle Falls Combustion Turbine | 474.398 | 520.3277 | 994.7257 | 55.2976 | 73.854 | 30.3502 | 18.273 | 35.3029 | 15.6484 | 105.9678 | 143.0413 | 139.5191 | 130.0665 | 139.656 | 107.749 | Kettle Falls CT
43 | Total Account 547 | 160135.185 | -10132.488 | 150002.697 | 20346.7042 | 13389.9334 | 13510.668 | 7729.8947 | 4644.5149 | 4343.1868 | 10015.7284 | 14269.9478 | 13940.1979 | 12568.1742 | 17368.6834 | 17875.0633
44
45 | 565 TRANSMISSION OF ELECTRICITY BY OTHERS
46 | Short-term Purchases | 161.99 | -161.99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
47 | BPA Point-to-Point | 14336.393 | 67.999 | 14404.392 | 1200.366 | 1200.366 | 1200.366 | 1200.366 | 1200.366 | 1200.366 | 1200.366 | 1200.366 | 1200.366 | 1200.366 | 1200.366 | 1200.366
48 | BPA Montana Intertie | 1476.413 | -28.421 | 1447.992 | 120.666 | 120.666 | 120.666 | 120.666 | 120.666 | 120.666 | 120.666 | 120.666 | 120.666 | 120.666 | 120.666 | 120.666
49 | Avista on BPA Borderline | 1790.477 | -215.1369 | 1575.34 | 131.2783 | 131.2783 | 131.2783 | 131.2783 | 131.2783 | 131.2783 | 131.2783 | 131.2783 | 131.2783 | 131.2783 | 131.2783 | 131.2783
50 | Kootenai Electric Cooperative, Inc | 47.538 | 9.5688 | 57.1068 | 4.7589 | 4.7589 | 4.7589 | 4.7589 | 4.7589 | 4.7589 | 4.7589 | 4.7589 | 4.7589 | 4.7589 | 4.7589 | 4.7589
51 | Northern Lights - Sagle | 154.6018 | -21.085 | 133.5168 | 11.1264 | 11.1264 | 11.1264 | 11.1264 | 11.1264 | 11.1264 | 11.1264 | 11.1264 | 11.1264 | 11.1264 | 11.1264 | 11.1264
52 | Northwestern for Colstrip | 1111.9842 | -292.954 | 819.0302 | 68.2525 | 68.2525 | 68.2525 | 68.2525 | 68.2525 | 68.2525 | 68.2525 | 68.2525 | 68.2525 | 68.2525 | 68.2525 | 68.2525
53 | Portland General Electric John Day to COB | 1363.1271 | 256.6029 | 1619.73 | 134.9775 | 134.9775 | 134.9775 | 134.9775 | 134.9775 | 134.9775 | 134.9775 | 134.9775 | 134.9775 | 134.9775 | 134.9775 | 134.9775
54 | Northwestern for Clearwater III (wind) | 0 | 5633.828 | 5633.828 | 499.3399 | 453.6005 | 453.7694 | 443.332 | 435.0994 | 425.9688 | 454.7708 | 490.1111 | 485.2094 | 498.0766 | 491.1236 | 503.4266 | Clearwater Wind Losses
55 | Columbia Basin Hydro transmission | 0 | 2639.76 | 2639.76 | 219.98 | 219.98 | 219.98 | 219.98 | 219.98 | 219.98 | 219.98 | 219.98 | 219.98 | 219.98 | 219.98 | 219.98
56 | Total Account 565 | 20442.5241 | 7888.1717 | 28330.6958 | 2390.7456 | 2345.0062 | 2345.1751 | 2334.7377 | 2326.505 | 2317.3745 | 2346.1764 | 2381.5167 | 2376.615 | 2389.4822 | 2382.5292 | 2394.8322
57
58 | TOTAL EXPENSE | 478373.7446 | -79820.602 | 398553.1425 | 41563.0945 | 34494.6639 | 34040.3482 | 29440.9196 | 25037.8035 | 25124.362 | 31243.5549 | 35640.6008 | 34775.2837 | 32922.0619 | 36792.7699 | 37477.6798
59
60 | 447 SALES FOR RESALE
61 | Short-Term Market | 225669.634 | 48172.0056 | 273841.6396 | 22956.7832 | 13875.7529 | 17614.625 | 20658.6348 | 25231.5117 | 15374.5957 | 32591.8418 | 29657.8223 | 30104.2695 | 20660.8301 | 23642.2402 | 21472.7324 | ST Market Sales
62 | Forecast to Actual Market Adjustment | 0 | -65756.061 | -65756.061 | -5479.6718 | -5479.6718 | -5479.6718 | -5479.6718 | -5479.6718 | -5479.6718 | -5479.6718 | -5479.6718 | -5479.6718 | -5479.6718 | -5479.6718 | -5479.6718
63 | Nichols Pumping | 3898.03 | -1128.6234 | 2769.4066 | 273.6998 | 222.1796 | 187.9361 | 134.5256 | 143.8107 | 96.1727 | 272.4265 | 347.5553 | 284.1118 | 248.6255 | 258.742 | 299.621 | Nichols Pumping
64 | Sovereign/Kaiser Services | 141.578 | -0.72843 | 140.8496 | 11.7375 | 11.7375 | 11.7375 | 11.7375 | 11.7375 | 11.7375 | 11.7375 | 11.7375 | 11.7375 | 11.7375 | 11.7375 | 11.7375
65 | Pend Oreille PUD | 545.348 | -149.6545 | 395.6935 | 32.9745 | 32.9745 | 32.9745 | 32.9745 | 32.9745 | 32.9745 | 32.9745 | 32.9745 | 32.9745 | 32.9745 | 32.9745 | 32.9745
66 | Total Account 447 | 230254.59 | -18863.0616 | 211391.5284 | 17795.5231 | 8662.9727 | 12367.6013 | 15358.2005 | 19940.3625 | 10035.8086 | 27429.3085 | 24570.4177 | 24953.4215 | 15474.4958 | 18466.0224 | 16337.3936
67
68 | 456 OTHER ELECTRIC REVENUE
69 | Non-WA EIA REC (Idaho only) | 3849.07 | -3849.07 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
70 | Natural Gas Liquids | 387.289 | 98.1307 | 485.4197 | 40.4516 | 40.4516 | 40.4516 | 40.4516 | 40.4516 | 40.4516 | 40.4516 | 40.4516 | 40.4516 | 40.4516 | 40.4516 | 40.4516
71 | Surplus AECO to Malin Transportation | 8496.417 | 3055.7456 | 11552.1626 | 1104.2812 | 1560.73 | 1179.2789 | 509.3101 | 728.3886 | 869.484 | 929.56 | 833.864 | 784.6948 | 703.3032 | 952.6792 | 1396.5885
72 | Total Account 456 | 12732.776 | -695.1938 | 12037.5822 | 1144.7328 | 1601.1816 | 1219.7306 | 549.7617 | 768.8402 | 909.9357 | 970.0116 | 874.3157 | 825.1464 | 743.7549 | 993.1309 | 1437.0401
73
74 | TOTAL REVENUE | 242987.366 | -19558.2554 | 223429.1106 | 18940.256 | 10264.1544 | 13587.3319 | 15907.9623 | 20709.2028 | 10945.7442 | 28399.3201 | 25444.7334 | 25778.5679 | 16218.2507 | 19459.1533 | 17774.4337
75
76 | TOTAL NET EXPENSE | 235386.3786 | -60262.3466 | 175124.0319 | 22622.8385 | 24230.5095 | 20453.0163 | 13532.9574 | 4328.6008 | 14178.6178 | 2844.2347 | 10195.8675 | 8996.7157 | 16703.8112 | 17333.6166 | 19703.2461

## CGK-4
Line No. | Avista Corp.
| Brief Description of CGK-2 Power Supply Adjustment | Workpaper
1 | N/A
2 | Short-Term Market. Term financial and physical contracts, plus hour spot transactions. Spot market in proforma are results of Aurora model. | Term deals
3 | Chelan PUD. Rocky Reach and Rock Island contract expense. Expires 12/31/2040. | Aurora-generated - see CGK-1/CGK-2
4 | Douglas PUD. Wells Purchase contract expense. Expires 12/31/2040. | Aurora-generated - see CGK-1/CGK-2
5 | Grant PUD. Priest Rapids and Wanapum contract expense. Expires 12/31/2040. | Aurora-generated - see CGK-1/CGK-2 and Grant PUD 11.10.21.xlsx
6 | Lancaster PPA. Includes Contract costs of capital, operations and maintenance (O&M) and heat rate tracker. Variable O&M based on the generation level determined by Aurora model. | Lancaster PPA - workpaper
7 | Small Power - Summation of small PURPA power contracts; pro forma costs are based on 5-year average generation levels and actual pro forma period contract rates. | Small Power
8 | Stimson. PURPA purchase from cogeneration plant at Plummer, Idaho; based on 5-year average generation levels and priced using actual contract rates. | Stimson Lumber
9 | Spokane Upriver. PURPA purchase from City of Spokane; based on 5-year average of local pumping and generation levels and priced using actual contract rates. | Upriver Gen and Load
10 | Spokane Waste to Energy. PURPA purchase from City of Spokane; based on 5-year average of generation levels and priced using actual contract rates. | Spokane_Waste_to_Energy
11 | 'Palouse Wind. PPA price in pro forma year multiplied by generation. Monthly generation equals the 5-yr average adjusted for curtailment. The hourly shaping methodology uses the 5-yr median energy profile. | Palouse Wind.
12 | Adams-Neilson Solar (Solar Select). Contract purchase based on output estimated by facility, as project has been in existence only since 2018; priced using actual contract rates. | Represents the net purchase/sale deal
13 | Elf I Solar | Elf 1 Solar_8760
14 | Rattlesnake Wind. Contract purchase based on output estimated by facility, as project entered commercial service in late 2020; priced using actual contract rates. | Rattlesnake Flat
15 | Columbia Basin Hydro. Contract purchase based on output of irrigation canals; priced using actual contracts rates.
16 | Clearwater Wind
17 | Incremental VER Integration | Wind Integration
18 | Clearwater - reconciling item (not in ERM).
19 | WPN Ancillary Services - reconciling item (not in ERM).
20 | Non-Monetary Accruals - reconciling item (not in ERM).
21 | Total Account 555 - with reconciling items. | Summarization of lines 2-14.
22 | N/A
23 | N/A
24 | Miscellaneous Transaction Fees. Expense is 5-year average of transaction fees for CAISO, brokerage fees for electricity and natural gas market transactions, and Canadian Merchandise Processing Fees assessed by the U.S. Government on imported Canadian gas. | Transactions Fees
25 | Other Resource Cost. Actual one-time load curtailment payment to avoid shedding market purchases and/or load shedding during a 2019 system reliability event; set to zero in pro forma. | Not included in rate period proforma. Not a recurring expense.
26 | Natural Gas Fuel. Purchases to fuel gas-fired generation fleet as part of risk management/hedging policy, but then later re-sold (see line 67, Surplus AECO to Malin Transportation) due to changing market conditions (i.e., plant later becomes uneconomic relative to purchasing electricity from the market). Pro forma expense is zero because we do not emulate our hedging program in pro forma modeling. | Reclassification - please see acccounts 501/547
27 | Total Account 557 | Summarization of lines 18-22.
28 | N/A
29 | N/A
30 | Kettle Falls Generation Station. Combined wood fuel and natural gas expense. Wood fuel expense is based on Aurora model generation multiplied by the latest budget fuel price. Natural gas used for starting the plant is based on 5-year average. | Fuel Costs' sheet of this exhibit, Kettle and Colstrip Fuel 2016-2020.xlsx
31 | Colstrip. Combined coal and fuel oil expense. Coal expense is based on fixed and variable costs under a long-term contract. The variable portion of coal fuel costs is based on generation levels from the Aurora model. Fuel oil used for starting the plant is based on 5-year average. | Fuel Costs' sheet of this exhibit, Kettle and Colstrip Fuel 2016-2019.xlsx
32 | Total Account 501. | Summarization of lines 24-25.
33 | N/A
34 | N/A
35 | Coyote Springs 2 Combined Cycle Combustion Turbine. Natural gas cost based on Aurora model dispatch priced first at its location, but then reduced to AECO basin prices where long-term contract transportation rights exist. See testimony and workpapers for more detail on this calculation. | 'Fuel Costs' sheet of this exhibit
36 | Lancaster Combined Cycle Combustion Turbine. Natural gas cost based on Aurora model dispatch priced first at its location, but then reduced to AECO basin prices where long-term contract transportation rights exist. See testimony and workpapers for more detail on this calculation. | 'Fuel Costs' sheet of this exhibit
37 | TC Energy Pipleline. Costs related to firm natural gas pipeline capacity on TC Energy pipeline between AECO and Kingsgate. Used for our Lancaster and Coyote Springs 2 plants. Variable charges are billed at tariffed rates based on the 5-year average generation. | Natural Gas Transporation Contracts
38 | Williams Northwest Pipeline. Costs related to use of the Williams Northwest pipeline. Used for our Boulder Park, Northeast, and Kettle Falls CT plants. Charges are billed at tariffed rates based on the 5-year average generation. | 'Fuel Costs' sheet of this exhibit
39 | Rathdrum Combustion Turbine. Natural gas cost based on Aurora model dispatch priced first at its location, but then reduced to AECO basin prices where long-term contract transportation rights exist. See testimony and workpapers for more detail on this calculation. | 'Fuel Costs' sheet of this exhibit
40 | Northeast Combustion Turbine. Natural gas cost based on Aurora model dispatch priced first at its location, but then reduced to AECO basin prices where long-term contract transportation rights exist. See testimony and workpapers for more detail on this calculation. | 'Fuel Costs' sheet of this exhibit
41 | Boulder Park Engines. Natural gas cost based on Aurora model dispatch priced first at its location, but then reduced to AECO basin prices where long-term contract transportation rights exist. See testimony and workpapers for more detail on this calculation. | 'Fuel Costs' sheet of this exhibit
42 | Kettle Falls Combustion Turbine. Natural gas cost based on Aurora model dispatch priced first at its location, but then reduced to AECO basin prices where long-term contract transportation rights exist. See testimony and workpapers for more detail on this calculation. | 'Fuel Costs' sheet of this exhibit
43 | Total Account 547 | Summarization of lines 29-36.
44 | N/A
45 | N/A
46 | Short-Term Purchases. Set to zero in proforma reflecting additional 50 MW long-term Point-to-Point contract purchase from BPA for Coyote Springs 2 accounted for in line 48. | Not included in rate period pro forma
47 | BPA Point-to-Point transmission for Colstrip, Coyote Springs 2, and Lancaster. Proforma expense is based on contracted capacity at tariffed rate. Includes additional 50 MW contract for Coyote Springs 2. | 565 Transmission Expense.xlsx
48 | BPA Montana Intertie for Townsend to Garrison. Fixed fee contract with BPA for transmission of Colstrip power from Townsend to Garrison. | 565 Transmission Expense.xlsx
49 | Avista on BPA Borderlines. Purchase for serving Avista load in 3rd-party service area. 5-year average of actual expense priced at proforma year tariffed rate. | 565 Transmission Expense.xlsx
50 | Kootenai Electric Cooperative, Inc for Worley. Purchase for serving Avista load in 3rd-party service area. Pro forma expense is based on contracted capacity at tariffed rate. | 565 Transmission Expense.xlsx
51 | Northern Lights - Sagle. Purchase for serving Avista load in 3rd-party service area. Pro forma expense is based on contracted capacity at tariffed rate. | 565 Transmission Expense.xlsx
52 | Northwestern for Colstrip. Purchase on Northwestern for Colstrip generation above 196-MW BPA Townsend to Garrison contract. 2019 test year expense used instead of 5-year average due to lower cost of serving Nichols Pumping contract after closure of Colstrip Units 1&2. | 565 Transmission Expense.xlsx
53 | Portland General Electric John Day to COB. Purchase of Southern Interntie rights from John Day substation to California-Oregon border. Proforma expense priced at pro forma year tariffed rate. | 565 Transmission Expense.xlsx
54 | Northwestern for Clearwater III (wind). Purchase of intertie rights for Clearwater Wind. | 565 Transmission Expense.xlsx
55 | Columbia Basin Hydro transmission. Purchase of intertie rights for Columbia Basin Hydro to Mid-C. | 565 Transmission Expense.xlsx
56 | Total Account 565. | Summarization of lines 41-48.
57 | N/A
58 | Total Expense - Sum of Accounts 555, 557, 501, 547, 565.
59 | N/A
60 | N/A
61 | Short-Term Market. Term financial and physical contracts, plus hourly spot transactions. Spot market in pro forma are results of Aurora model. | Aurora-generated - see CGK-1/CGK-2
62 | Forecast to Actual Market Adjustment. 5 year average comparison of forecasted to actual market difference.
63 | Nichols Pumping. Sale of energy for water pumping loads of Colstrip Units 3 and 4; contract price is Mid-C index less $0.50/MWh. Lower revenue due to reduction in pumping load with closure of Units 1&2. | Aurora-generated - see CGK-1/CGK-2
64 | Sovereign/Kaiser Services. Sale of balancing area services to Kaiser’s Trentwood plant. Based on 5-year average. | 447 Sovereign and POPUD
65 | Pend Oreille PUD. Sale of balancing area services to Pend Oreille PUD. Based on TY since 5-year average overstates due to loss of large industrial customers. Contract expires 9/30/2026. | 447 Sovereign and POPUD
66 | Total Account 447 - with reconciling items. | Summarization of lines 54-61.
67 | N/A
68 | N/A
69 | Non-WA EIA REC Sales. Idaho share of REC sales. These are not included in base power supply expenses and are tracked and rebated annually. | Not included in rate period proforma. Included in annual REC filing.
70 | Natural Gas Liquids. Liquids rebates from natural gas purchased at AECO; 5-year average. | Natural Gas Liquids
71 | Surplus AECO to Malin Transportation. Test year value includes resale of purchases made to fuel gas-fired generation fleet as part of risk management/hedging policy (see line 20, Natural Gas Fuel Purchases) due to changing market conditions (i.e., plant later becomes uneconomic relative to purchasing electricity from the market). Pro forma value reflects only revenue received from buying AECO gas and selling it at Malin using firm transportation rights surplus to Avista gas plant use. | 'Fuel Costs' and 'Gas Contracts MTM' sheets of this exhibit
72 | Total Account 456. | Summarization of lines 65-67.
73 | N/A
74 | Total Revenue - Sum of Accounts 447, 456.
75 | N/A
76 | Total Net Expense - Total expense minus total revenue.

## CGK-5
Avista Corp.
Market Purchases and Sales, Plant Generation and Fuel Cost Summary
Washington Normalized January 2025 - December 2025
|  |  | 744 | 672 | 744 | 720 | 744 | 720 | 744 | 744 | 720 | 744 | 720 | 744
|  | Total | 2025-01-01 | 2025-02-01 | 2025-03-01 | 2025-04-01 | 2025-05-01 | 2025-06-01 | 2025-07-01 | 2025-08-01 | 2025-09-01 | 2025-10-01 | 2025-11-01 | 2025-12-01 | aMW | Capacity Factor | Capacity
Market Sales - Dollars | $ | 273841639.6484 | 22956783.2031 | 13875752.9297 | 17614625 | 20658634.7656 | 25231511.7188 | 15374595.7031 | 32591841.7969 | 29657822.2656 | 30104269.5312 | 20660830.0781 | 23642240.2344 | 21472732.4219
Market Sales - MWh |  | -3836416.5781 | -250364.2344 | -164125.1094 | -285372.5938 | -447721.5 | -463566.8438 | -466657.0625 | -383978.4062 | -280948.9688 | -344084.8125 | -257397.4687 | -275337.6875 | -216861.8906
Secondary Sales - MWh |  | -71.3795 | -91.6935 | -84.5438 | -61.725 | -46.1417 | -54.4291 | -32.9462 | -84.8794 | -105.563 | -87.4908 | -80.2682 | -85.8663 | -99.0157
Average Market Sales Price -$/ MWh |  | -71.3795 | -91.6935 | -84.5438 | -61.725 | -46.1417 | -54.4291 | -32.9462 | -84.8794 | -105.563 | -87.4908 | -80.2682 | -85.8663 | -99.0157
Market Purchases - Dollars | $ | 2212590.764 | 518747.3145 | 1377413.208 | 4779.1877 | 0 | -4724.8154 | 0 | 9457.3002 | 417.7302 | 0 | 1075.6375 | 0 | 305425.2014
Market Purchases - MWh |  | 35233.4753 | 5901.5322 | 24017.4062 | 116.101 | 0 | 181.7698 | 0 | 143.6077 | 2.6295 | 0 | 12.3824 | 0 | 4858.0464
Secondary Purchase - MWh |  | 62.798 | 87.9004 | 57.3506 | 41.164 | #DIV/0! | -25.9934 | #DIV/0! | 65.8551 | 158.8628 | #DIV/0! | 86.8685 | #DIV/0! | 62.87
Average Market Purchase Price - $/MWh |  | 62.798 | 87.9004 | 57.3506 | 41.164 | 0 | -25.9934 | 0 | 65.8551 | 158.8628 | 0 | 86.8685 | 0 | 62.87
Net Market Purchases (Sales) MWh |  | -3801183.1028 | -244462.7021 | -140107.7031 | -285256.4927 | -447721.5 | -463385.0739 | -466657.0625 | -383834.7985 | -280946.3392 | -344084.8125 | -257385.0864 | -275337.6875 | -212003.8442
Net Market Purchases (Sales) aMW |  | -433.925 | -328.5789 | -208.4936 | -383.4093 | -621.8354 | -622.8294 | -648.1348 | -515.907 | -377.616 | -477.8956 | -345.9477 | -382.4135 | -284.9514
Average Sale and Purchase Price - $/MWh |  | -70.1585 | -87.5577 | -66.4302 | -61.6832 | -46.1417 | -54.4179 | -32.9462 | -84.823 | -105.5605 | -87.4908 | -80.2602 | -85.8663 | -95.4687
Colstrip MWh |  | 1536788.9922 | 143937.7344 | 129289.9297 | 143126.0859 | 123431.457 | 83962.7656 | 99933.4414 | 130996.6875 | 140140.5625 | 134150.8281 | 133254.9844 | 131596.3906 | 142968.125 | 174.9532 | 78.81% | 222
Colstrip Fuel Cost $/MWh |  | 20.7909 | 21.8266 | 21.8542 | 21.8264 | 22.1102 | 22.6879 | 22.4484 | 22.2615 | 22.0209 | 22.0239 | 17.5897 | 17.0579 | 17.0477
Colstrip Fuel Cost |  | 31951178.4335 | 3141676.3318 | 2825523.4956 | 3123925.9719 | 2729092.2195 | 1904939.0205 | 2243343.1381 | 2916177.2039 | 3086015.9697 | 2954529.3582 | 2343916.3673 | 2244763.574 | 2437275.783
Kettle Falls MWh |  | 256532.3123 | 21768.4766 | 20436.8203 | 28215.0391 | 18333.7754 | 1975.0056 | 14841.8594 | 23890.5762 | 24614.4609 | 28077.6328 | 27493.127 | 26090.2441 | 20795.2949 | 29.2045 | 62.14% | 47
Kettle Falls Fuel Cost $/MWh |  | 28.7045 | 28.7987 | 29.6259 | 28.3539 | 28.4127 | 29.8951 | 28.8701 | 28.9348 | 29.174 | 28.3909 | 28.5085 | 28.4045 | 28.4406
Kettle Falls Fuel Cost |  | 7363628.1527 | 626904.784 | 605458.2508 | 800006.5907 | 520912.9017 | 59043.0515 | 428486.0523 | 691268.1874 | 718101.0731 | 797149.535 | 783787.0472 | 741080.3211 | 591430.3578
Coyote Springs MWh |  | 1933664.377 | 211963.5684 | 171770.9028 | 164366.2969 | 132931.7031 | 40715.5039 | 96607.4063 | 172977.498 | 203525.8252 | 190667.7656 | 129932.7031 | 203286.1875 | 214919.0161 | 220.1348 | 71.82% | 306.5
Coyote Springs Fuel Cost $/MWh |  | 26.1804 | 32.6884 | 28.298 | 28.7197 | 20.7041 | 21.5614 | 19.1864 | 22.9872 | 23.3645 | 23.2347 | 23.4462 | 28.0106 | 31.3058
Coyote Springs Fuel Cost |  | 50624197.8062 | 6928745.0169 | 4860772.2223 | 4720556.7052 | 2752226.2767 | 877884.3618 | 1853549.8577 | 3976266.5436 | 4755278.1704 | 4430103.7506 | 3046433.5308 | 5694171.8192 | 6728209.5509
Lancaster MWh |  | 1827462.3057 | 191663.0674 | 148430.5928 | 180052.2656 | 141453.4062 | 101419.6953 | 63546.9688 | 148018.127 | 174568.4795 | 165823.3125 | 168973.8906 | 175946.5938 | 167565.9062 | 208.0444 | 78.8% | 264
Lancaster Fuel Cost $/MWh |  | 26.3012 | 34.8882 | 29.6083 | 26.3371 | 20.8646 | 19.1043 | 19.051 | 22.9226 | 24.1504 | 24.0358 | 23.994 | 28.9906 | 32.1762
Lancaster Fuel Cost |  | 48064465.8994 | 6686770.1826 | 4394773.9764 | 4742047.1118 | 2951366.9129 | 1937552.1483 | 1210633.377 | 3392960.5997 | 4215894.8821 | 3985691.7669 | 4054356.6164 | 5100788.9189 | 5391629.4065
Boulder Park MWh |  | 131971.5922 | 13369.0039 | 9294.1534 | 6675.3858 | 5231.7249 | 5871.1441 | 3504.744 | 10938.7808 | 15129.3098 | 15692.4729 | 16755.5537 | 15628.2341 | 13881.0847 | 15.0241 | 61.07% | 24.6
Boulder Park Fuel Cost $/MWh |  | 33.2942 | 44.6164 | 34.4012 | 30.495 | 26.3984 | 23.8828 | 23.3968 | 30.3808 | 30.5404 | 30.5513 | 30.6122 | 37.1534 | 39.364
Boulder Park Fuel Cost |  | 4393892.0644 | 596476.9205 | 319730.4294 | 203565.8869 | 138108.907 | 140219.5307 | 81999.8144 | 332328.7229 | 462055.0214 | 479425.4664 | 512924.3916 | 580642.5701 | 546414.4031
Kettle Falls CT MWh |  | 25685.7407 | 1031.0951 | 1757.2151 | 1024.4381 | 612.9676 | 1196.2704 | 563.9549 | 2747.9878 | 3737.1042 | 3731.8711 | 3545.8457 | 3014.0088 | 2722.9819 | 2.9242 | 28.67% | 10.2
Kettle Falls CT Fuel Cost $/MWh |  | 38.7268 | 53.63 | 42.029 | 29.6262 | 29.8107 | 29.5108 | 27.7476 | 38.562 | 38.276 | 37.3858 | 36.6814 | 46.3356 | 39.5702
Kettle Falls CT Fuel Cost |  | 994725.7119 | 55297.6327 | 73853.968 | 30350.2381 | 18272.9737 | 35302.8724 | 15648.39 | 105967.838 | 143041.3496 | 139519.0533 | 130066.4641 | 139655.9804 | 107748.9516
Rathdrum MWh |  | 799769.4463 | 90268.082 | 65596.9668 | 76043.6562 | 28607.1797 | 23080.3418 | 8653.5205 | 32032.625 | 92703.1562 | 98512.0078 | 96943.3438 | 102634.7344 | 84693.832 | 91.0484 | 59.12% | 154
Rathdrum Fuel Cost $/MWh |  | 43.417 | 56.8984 | 43.3617 | 37.9187 | 33.4362 | 31.3672 | 31.3513 | 39.5019 | 40.3502 | 40.2496 | 39.9091 | 47.888 | 49.035
Rathdrum Fuel Cost |  | 34723613.6746 | 5136109.6853 | 2844393.8096 | 2883474.9036 | 956515.8339 | 723966.8064 | 271299.0907 | 1265348.351 | 3740590.807 | 3965067.4039 | 3868917.2297 | 4914967.6798 | 4152962.0737
Northeast MWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 57.2
Northeast Fuel Cost $/MWh |  | #DIV/0!
Northeast Fuel Cost |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Fuel Expense |  | 178115701.7426 | 23171980.5538 | 15924506.1521 | 16503927.4082 | 10066496.0254 | 5678907.7916 | 6104959.7203 | 12680317.4465 | 17120977.2732 | 16751486.3343 | 14740401.6471 | 19416070.8636 | 19955670.5266
Net Fuel and Purchase Expense |  | -93513347.1418

## CGK-6 pg 1
Avista Corp
ERM Authorized Expense and Retail Sales (Annual)
Based on Pro forma January - December 2025
12 Month-ending 6/30/23 Historic Normalized Loads
ERM Authorized Power Supply Expense - System Numbers (1)
| Total | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Account 555 - Purchased Power | 180305256.707 | 15007089.7333 | 15278768.6515 | 14210598.5973 | 16076308.2227 | 16052827.6977 | 15741997.6778 | 15224230.7868 | 15135045.4321 | 14656817.9357 | 14786728.1997 | 14005739.482 | 14129104.2905
Account 501 - Thermal Fuel | 39314806.5862 | 3768581.1158 | 3430981.7465 | 3923932.5626 | 3250005.1212 | 1963982.072 | 2671829.1905 | 3607445.3913 | 3804117.0428 | 3751678.8932 | 3127703.4145 | 2985843.8952 | 3028706.1407
Account 547 - Natural Gas Fuel | 150002697.0268 | 20346704.1893 | 13389933.4343 | 13510668.0395 | 7729894.7241 | 4644514.8665 | 4343186.8032 | 10015728.3984 | 14269947.8016 | 13940197.9238 | 12568174.1536 | 17368683.4256 | 17875063.267
Account 557 - Other Expenses | 599686.422 | 49973.8685 | 49973.8685 | 49973.8685 | 49973.8685 | 49973.8685 | 49973.8685 | 49973.8685 | 49973.8685 | 49973.8685 | 49973.8685 | 49973.8685 | 49973.8685
Account 565 - Transmission Expense | 28330695.7957 | 2390745.5555 | 2345006.1603 | 2345175.0904 | 2334737.6819 | 2326505.0045 | 2317374.4579 | 2346176.4102 | 2381516.7041 | 2376615.0318 | 2389482.2422 | 2382529.2163 | 2394832.2406
Account 456 - Other Revenue | -12037582.2269 | -1144732.819 | -1601181.6482 | -1219730.5793 | -549761.7356 | -768840.2088 | -909935.6753 | -970011.6211 | -874315.6804 | -825146.407 | -743754.8774 | -993130.878 | -1437040.0969
Account 447 - Sale for Resale | -211391528.3684 | -17795523.1471 | -8662972.7474 | -12367601.2874 | -15358200.5306 | -19940362.5484 | -10035808.5704 | -27429308.517 | -24570417.7089 | -24953421.5236 | -15474495.8034 | -18466022.4147 | -16337393.5695
Power Supply Expense | 175124031.9425 | 22622838.4962 | 24230509.4654 | 20453016.2915 | 13532957.3523 | 4328600.7519 | 14178617.7522 | 2844234.717 | 10195867.4599 | 8996715.7224 | 16703811.1977 | 17333616.5949 | 19703246.1409
Account 456 - Transmission Revenue | -36195395 | -2421449 | -2588792 | -2486645 | -2716903 | -2855844 | -3423236 | -3659676 | -3509770 | -3321769 | -3203082 | -2916030 | -3092199
Total Authorized Expense | 138928636.9425 | 20201389.4962 | 21641717.4654 | 17966371.2915 | 10816054.3523 | 1472756.7519 | 10755381.7522 | -815441.283 | 6686097.4599 | 5674946.7224 | 13500729.1977 | 14417586.5949 | 16611047.1409
Washington Allocation: | Total | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Account 447 - Sale for Resale | -211391528.3684 | -17795523.1471 | -8662972.7474 | -12367601.2874 | -15358200.5306 | -19940362.5484 | -10035808.5704 | -27429308.517 | -24570417.7089 | -24953421.5236 | -15474495.8034 | -18466022.4147 | -16337393.5695
Account 456 - Other Revenue | -12037582.2269 | -1144732.819 | -1601181.6482 | -1219730.5793 | -549761.7356 | -768840.2088 | -909935.6753 | -970011.6211 | -874315.6804 | -825146.407 | -743754.8774 | -993130.878 | -1437040.0969
Account 456 - Transmission Revenue (System) | -36169035 | -2419252.3333 | -2586595.3333 | -2484448.3333 | -2714706.3333 | -2853647.3333 | -3421039.3333 | -3657479.3333 | -3507573.3333 | -3319572.3333 | -3200885.3333 | -2913833.3333 | -3090002.3333
Total Revenue | -259598145.5952 | -21359508.2994 | -12850749.7289 | -16071780.2001 | -18622668.5995 | -23562850.0905 | -14366783.579 | -32056799.4714 | -28952306.7227 | -29098140.2639 | -19419136.0141 | -22372986.626 | -20864435.9997
WA Allocation: @ 64.40 | -167181205.7633 | -13755523.3448 | -8275882.8254 | -10350226.4488 | -11992998.578 | -15174475.4583 | -9252208.6249 | -20644578.8596 | -18645285.5294 | -18739202.33 | -12505923.5931 | -14408203.3871 | -13436696.7838
Account 456030 Directly Assigned Washington | -128569 | -10714.0833 | -10714.0833 | -10714.0833 | -10714.0833 | -10714.0833 | -10714.0833 | -10714.0833 | -10714.0833 | -10714.0833 | -10714.0833 | -10714.0833 | -10714.0833
Total WA Electric Revenue | -167309774.7633 | -13766237.4282 | -8286596.9088 | -10360940.5322 | -12003712.6614 | -15185189.5416 | -9262922.7082 | -20655292.9429 | -18655999.6127 | -18749916.4133 | -12516637.6764 | -14418917.4705 | -13447410.8672
Account 501 - Thermal Fuel | 39314806.5862 | 3768581.1158 | 3430981.7465 | 3923932.5626 | 3250005.1212 | 1963982.072 | 2671829.1905 | 3607445.3913 | 3804117.0428 | 3751678.8932 | 3127703.4145 | 2985843.8952 | 3028706.1407
Account 547 - Natural Gas Fuel | 150002697.0268 | 20346704.1893 | 13389933.4343 | 13510668.0395 | 7729894.7241 | 4644514.8665 | 4343186.8032 | 10015728.3984 | 14269947.8016 | 13940197.9238 | 12568174.1536 | 17368683.4256 | 17875063.267
Account 555 - Purchased Power | 180305256.707 | 15007089.7333 | 15278768.6515 | 14210598.5973 | 16076308.2227 | 16052827.6977 | 15741997.6778 | 15224230.7868 | 15135045.4321 | 14656817.9357 | 14786728.1997 | 14005739.482 | 14129104.2905
Account 557 - Other Expenses | 599686.422 | 49973.8685 | 49973.8685 | 49973.8685 | 49973.8685 | 49973.8685 | 49973.8685 | 49973.8685 | 49973.8685 | 49973.8685 | 49973.8685 | 49973.8685 | 49973.8685
Account 565 - Transmission Expense | 28330695.7957 | 2390745.5555 | 2345006.1603 | 2345175.0904 | 2334737.6819 | 2326505.0045 | 2317374.4579 | 2346176.4102 | 2381516.7041 | 2376615.0318 | 2389482.2422 | 2382529.2163 | 2394832.2406
Total Expense | 398553142.5377 | 41563094.4623 | 34494663.861 | 34040348.1582 | 29440919.6184 | 25037803.5091 | 25124361.9979 | 31243554.8551 | 35640600.8492 | 34775283.653 | 32922061.8785 | 36792769.8876 | 37477679.8074
WA Allocation: @ 64.40 | 256668223.7943 | 26766632.8337 | 22214563.5265 | 21921984.2139 | 18959952.2342 | 16124345.4599 | 16180089.1267 | 20120849.3267 | 22952546.9469 | 22395282.6725 | 21201807.8498 | 23694543.8076 | 24135625.7959
Directly Assigned | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total WA Electric Expense | 256668223.7943 | 26766632.8337 | 22214563.5265 | 21921984.2139 | 18959952.2342 | 16124345.4599 | 16180089.1267 | 20120849.3267 | 22952546.9469 | 22395282.6725 | 21201807.8498 | 23694543.8076 | 24135625.7959
Total Power Supply Base - Washington | 89358449.031 | 13000395.4056 | 13927966.6177 | 11561043.6817 | 6956239.5729 | 939155.9182 | 6917166.4184 | -534443.6162 | 4296547.3341 | 3645366.2592 | 8685170.1733 | 9275626.3371 | 10688214.9288
Check: Power Supply WA Adj Workbook 12 ME 09.30.21 | 70601
ERM Authorized Washington Retail Sales (2)
Total Retail Sales, MWh (4) | 5763799.501 | 533253.1274 | 486315.1017 | 499572.0073 | 423081.5063 | 432959.2517 | 440222.2937 | 482522.6797 | 508264.5072 | 426320.2691 | 458151.3296 | 496482.5703 | 576654.8569
2025 Retail Revenue Credit Rate | 15.5034 | Jan: /MWh
(1) Multiply number by ROO current production/transmission allocation ratio of |  | Feb: 64.4%
(2) Transmission Revenue as discussed by Company Witness Dillon
(3) Note totals may vary slightly from adjustment due to rounding.
(4) Twelve months ended June 2023 normalized monthly retail sales.
Transmission Revenue Reconciliation:
Total System Transmission Revenue | -36169035 | Jan: Allocated as System at 64.40%
Total Idaho Direct Assigned Revenue | 102209
Total Washington Direct Assigned Revenue | -128569 | Jan: Directly Assigned to Washington
Total | -36195395

## CGK-6 RY2 pg 2
Avista Corp |  |  |  |  | REVISED 01-25-2024
ERM Authorized Expense and Retail Sales (Annual)
Based on Pro forma January - December 2025 2026
12 Month-ending 6/30/23 Historic Normalized Loads
ERM Authorized Power Supply Expense - System Numbers (1)
| Total | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Account 555 - Purchased Power | 180305256.707 | 15007089.7333 | 15278768.6515 | 14210598.5973 | 16076308.2227 | 16052827.6977 | 15741997.6778 | 15224230.7868 | 15135045.4321 | 14656817.9357 | 14786728.1997 | 14005739.482 | 14129104.2905
Account 501 - Thermal Fuel wo Colstrip | 7363628.1527 | 626904.784 | 605458.2508 | 800006.5907 | 520912.9017 | 59043.0515 | 428486.0523 | 691268.1874 | 718101.0731 | 797149.535 | 783787.0472 | 741080.3211 | 591430.3578
Account 547 - Natural Gas Fuel | 150002697.0268 | 20346704.1893 | 13389933.4343 | 13510668.0395 | 7729894.7241 | 4644514.8665 | 4343186.8032 | 10015728.3984 | 14269947.8016 | 13940197.9238 | 12568174.1536 | 17368683.4256 | 17875063.267
Account 557 - Other Expenses | 599686.422 | 49973.8685 | 49973.8685 | 49973.8685 | 49973.8685 | 49973.8685 | 49973.8685 | 49973.8685 | 49973.8685 | 49973.8685 | 49973.8685 | 49973.8685 | 49973.8685
Account 565 - Transmission Expense | 28330695.7957 | 2390745.5555 | 2345006.1603 | 2345175.0904 | 2334737.6819 | 2326505.0045 | 2317374.4579 | 2346176.4102 | 2381516.7041 | 2376615.0318 | 2389482.2422 | 2382529.2163 | 2394832.2406
Account 456 - Other Revenue | -12037582.2269 | -1144732.819 | -1601181.6482 | -1219730.5793 | -549761.7356 | -768840.2088 | -909935.6753 | -970011.6211 | -874315.6804 | -825146.407 | -743754.8774 | -993130.878 | -1437040.0969
Account 447 - Sale for Resale wo Colstrip | -90854553.1159 | -5107972.1813 | 1502585.9494 | -3954384.1629 | -9566350.1713 | -15667919.9901 | -6476015.9743 | -15596617.4392 | -9009871.3699 | -12430490.0502 | -4827801.7739 | -7154398.7917 | -2565317.1604
Power Supply Expense | 263709828.7615 | 32168713.1302 | 31570544.6665 | 25742307.444 | 16595715.4921 | 6696104.2898 | 15495067.2102 | 11760748.591 | 22670397.8291 | 18565117.8377 | 25006588.86 | 26400476.6439 | 31038046.7671
Account 456 - Transmission Revenue | -36195395 | -2421449 | -2588792 | -2486645 | -2716903 | -2855844 | -3423236 | -3659676 | -3509770 | -3321769 | -3203082 | -2916030 | -3092199
Total Authorized Expense | 227514433.7615 | 29747264.1302 | 28981752.6665 | 23255662.444 | 13878812.4921 | 3840260.2898 | 12071831.2102 | 8101072.591 | 19160627.8291 | 15243348.8377 | 21803506.86 | 23484446.6439 | 27945847.7671
Washington Allocation: | Total | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Account 447 - Sale for Resale wo Colstrip | -90854553.1159 | -5107972.1813 | 1502585.9494 | -3954384.1629 | -9566350.1713 | -15667919.9901 | -6476015.9743 | -15596617.4392 | -9009871.3699 | -12430490.0502 | -4827801.7739 | -7154398.7917 | -2565317.1604
Account 456 - Other Revenue | -12037582.2269 | -1144732.819 | -1601181.6482 | -1219730.5793 | -549761.7356 | -768840.2088 | -909935.6753 | -970011.6211 | -874315.6804 | -825146.407 | -743754.8774 | -993130.878 | -1437040.0969
Account 456 - Transmission Revenue (System) | -36169035 | -2419252.3333 | -2586595.3333 | -2484448.3333 | -2714706.3333 | -2853647.3333 | -3421039.3333 | -3657479.3333 | -3507573.3333 | -3319572.3333 | -3200885.3333 | -2913833.3333 | -3090002.3333
Total Revenue | -139061170.3428 | -8671957.3336 | -2685191.0322 | -7658563.0756 | -12830818.2402 | -19290407.5322 | -10806990.9829 | -20224108.3936 | -13391760.3837 | -16575208.7905 | -8772441.9846 | -11061363.003 | -7092359.5906
WA Allocation: @ 64.40 | -89555393.7007 | -5584740.5229 | -1729263.0247 | -4932114.6207 | -8263046.9467 | -12423022.4508 | -6959702.193 | -13024325.8055 | -8624293.6871 | -10674434.4611 | -5649452.6381 | -7123517.7739 | -4567479.5764
Account 456030 Directly Assigned Washington | -128569 | -10714.0833 | -10714.0833 | -10714.0833 | -10714.0833 | -10714.0833 | -10714.0833 | -10714.0833 | -10714.0833 | -10714.0833 | -10714.0833 | -10714.0833 | -10714.0833
Total WA Electric Revenue | -89683962.7007 | -5595454.6062 | -1739977.1081 | -4942828.704 | -8273761.03 | -12433736.5341 | -6970416.2763 | -13035039.8888 | -8635007.7704 | -10685148.5444 | -5660166.7214 | -7134231.8572 | -4578193.6597
Account 501 - Thermal Fuel wo Colstrip | 7363628.1527 | 626904.784 | 605458.2508 | 800006.5907 | 520912.9017 | 59043.0515 | 428486.0523 | 691268.1874 | 718101.0731 | 797149.535 | 783787.0472 | 741080.3211 | 591430.3578
Account 547 - Natural Gas Fuel | 150002697.0268 | 20346704.1893 | 13389933.4343 | 13510668.0395 | 7729894.7241 | 4644514.8665 | 4343186.8032 | 10015728.3984 | 14269947.8016 | 13940197.9238 | 12568174.1536 | 17368683.4256 | 17875063.267
Account 555 - Purchased Power | 180305256.707 | 15007089.7333 | 15278768.6515 | 14210598.5973 | 16076308.2227 | 16052827.6977 | 15741997.6778 | 15224230.7868 | 15135045.4321 | 14656817.9357 | 14786728.1997 | 14005739.482 | 14129104.2905
Account 557 - Other Expenses | 599686.422 | 49973.8685 | 49973.8685 | 49973.8685 | 49973.8685 | 49973.8685 | 49973.8685 | 49973.8685 | 49973.8685 | 49973.8685 | 49973.8685 | 49973.8685 | 49973.8685
Account 565 - Transmission Expense | 28330695.7957 | 2390745.5555 | 2345006.1603 | 2345175.0904 | 2334737.6819 | 2326505.0045 | 2317374.4579 | 2346176.4102 | 2381516.7041 | 2376615.0318 | 2389482.2422 | 2382529.2163 | 2394832.2406
Total Expense | 366601964.1042 | 38421418.1305 | 31669140.3654 | 30916422.1863 | 26711827.3989 | 23132864.4886 | 22881018.8598 | 28327377.6512 | 32554584.8795 | 31820754.2948 | 30578145.5112 | 34548006.3136 | 35040404.0244
WA Allocation: @ 64.40 | 236091664.8831 | 24743393.276 | 20394926.3953 | 19910175.888 | 17202416.8449 | 14897564.7307 | 14735376.1457 | 18242831.2074 | 20965152.6624 | 20492565.7659 | 19692325.7092 | 22248916.0659 | 22566020.1917
Directly Assigned | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total WA Electric Expense | 236091664.8831 | 24743393.276 | 20394926.3953 | 19910175.888 | 17202416.8449 | 14897564.7307 | 14735376.1457 | 18242831.2074 | 20965152.6624 | 20492565.7659 | 19692325.7092 | 22248916.0659 | 22566020.1917
Total Power Supply Base - Washington | 146407702.1824 | 19147938.6698 | 18654949.2873 | 14967347.184 | 8928655.8149 | 2463828.1966 | 7764959.8694 | 5207791.3186 | 12330144.892 | 9807417.2215 | 14032158.9878 | 15114684.2087 | 17987826.532
ERM Authorized Washington Retail Sales (2)
Total Retail Sales, MWh (4) | 5763799.501 | 533253.1274 | 486315.1017 | 499572.0073 | 423081.5063 | 432959.2517 | 440222.2937 | 482522.6797 | 508264.5072 | 426320.2691 | 458151.3296 | 496482.5703 | 576654.8569
2025 2026 Retail Revenue Credit Rate | 25.4012 | Jan: /MWh
(1) Multiply number by ROO current production/transmission allocation ratio of |  | Feb: 64.4%
(2) Transmission Revenue as discussed by Company Witness Dillon
(3) Note totals may vary slightly from adjustment due to rounding.
(4) Twelve months ended June 2023 normalized monthly retail sales.
Transmission Revenue Reconciliation:
Total System Transmission Revenue | -36169035 | Jan: Allocated as System at 64.40%
Total Idaho Direct Assigned Revenue | 102209
Total Washington Direct Assigned Revenue | -128569 | Jan: Directly Assigned to Washington
Total | -36195395

## Workpaper Index
Workpaper Index
Workpaper | Description of Change
2022 Colstrip Units 3-4 NERCGADS.xlsx | Updated 5-yr average (Forced outage rates)
447 Sovereign and POPUD.xlsx | Updated 5-year average and test year for POPUD
565 Transmission Expense.xlsx | Update 5-yr average energy at 2023 tariff rates and/or contracted amounts
81-year Clark Fork Hydro Hist.xlsx | Median hydro/capacity factors for Aurora
81-year Spokane Hist.xlsx | Median hydro/capacity factors for Aurora
Boulder Park Maintenance.xlsx | Updated 5-yr average
BPA_2012 RC_80yr_Hydro_Mid-C.xlsx | Median hydro/capacity factors for Aurora
Colstrip Fuel.xlsm | Incremental fuel price for proforma period
Colstrip Maintenance.xlsx | Updated 8-yr average (due to 4 yr maintenance cycle)
Control Load.xlsx | Updated for test year load and weather correction
Coyote Springs 2 Maintenance.xlsx | Updated 5-yr average
DemandHourly.xlsx | Updated for test year load and weather correction
Elf I Solar_8760.xlsx | Estimated power curve for Elf I Solar
Fuel Costing worksheet notes.docx | Notes for Fuel Costing sheet in this exhibit
Hydro History.xlsx | Updated 5-yr avg for peak/off peak shaping
Kettle and Colstrip Fuel 2018-2022.xlsx | 5-yr average
Kettle Falls Forced Outage Rates.xlsx | Updated 5-yr average for Wood/CT
Kettle Falls GS Wood Fuel Prices.xlsx | Updated 5-yr average
Kettle Falls Maintenance.xlsx | Updated 5-yr average
Lancaster Forced Outage Rate.xlsx | Updated 5-yr average
Lancaster Maintenance.xlsx | Updated 8-yr average (due to 4 yr maintenance cycle)
Lancaster PPA - workpaper.xlsx | Aurora enteries for Lancaster PPA contract
Monthly Max Gen Calc for Nox Cab LL LF | 10 yr history - 97.5 percentile
Native Load weather adj.xlsx | Updated for test year loads and weather correction
Natural Gas Liquids.xlsx | 5-yr average
NaturalGas_Elec_Prices.xslx | Updated based on 3 mo avg prices; adjusted to test year
Natural Gas Transportation Thermal Contracts.xlsx | Pipeline capacity charges at tariffed rates for the proforma period.
Palouse Wind.xlsx | Updated using 5-yr avg generation
PPR20 | Position report used for variable O&M rates, heat rateas, other stats
Rathdrum Maintenance.xlsx | Updated 5-yr average
Rattlesnake Flat.xlsx | New contract; used manufacturer data in lieu of 5-yr avg
Small Power.xlsx | Updated 5-yr average deliveries
Solar.xlsx | Average since operation (12/6/2018)
Spokane_Waste_to_Energy.xlsx | Updated 5-yr average deliveries
Station Service.xlsx | Updated 5-yr average
Stimson Lumber.xlsx | Updated 5-yr average deliveries
Term deals.xlsx | Updated for 2023 contracts known at this time
Transaction Fees.xlsx | Updated 5-yr average
Upriver Gen and Load.xlsx | Updated 5-yr average deliveries
Wind Integration.xlsx | Wind integration cost estimate

## Proforma vs Authorized
Table for Testimony
Measure | System(1) | Washington Allocation (2)
| ($000s) | ($000s)
Current Authorized Power Supply Expense | 139048.718 | 89547.3744
Actual 12ME 6/30/23 Test Period Expense | 235386.3786 | 151588.8278
Proposed 2025 Pro Forma Power Supply Expense | 175124.0319 | 112779.8766
Proposed 2025 Expense vs Actual Test Period Expense | -60262.3466 | -38808.9512
Proposed 2025 Expense vs Current Authorized Expense | 36075.3139 | 23232.5022
(1) Excludes Transmission - see Company Witness Dillon and adjustment 3.00T. Includes load and settlement adjustment.
(2) Allocated based on ROO Current Production/Transmission Ratio of 64.40.

## Steps for Updating Aurora
Steps to Update Aurora
Input different prices:
1) See work paper NaturalGas_Elec_Prices_2020_081020.xlsx for current assumptions, calculations and aurora inputs used in this rate case. First three tabs highlighed in yellow are the inputs for Aurora.
2) Changes to gas prices need to be made to the 'Times Series Monthly' and 'Daily Change' tables in Aurora. For examples of the input see sheets 'Monthly Table to AURORA' and 'Daily Change table to Aurora' sheets in the above referenced workbook.
3) Changes to electric prices need to be made to the 'Electric Prices' table in Aurora. For an example of the input see sheet 'Electric Prices Table to Aurora' sheet in the above referenced workbook.
Input different native load:
1) See work paper 'Native Load Table_2020 weather adj No Clearwater' for current assumptions, calculations and aurora inputs used in this rate case. Sheet 'Test Per Load for 100121-093022' includes the input table (highlighed in yellow) for Aurora.
2) Changes to native load need to be made to the 'Times Series Hourly Table' in Aurora. There are otherly hourly inputs included in this table. Updated native load data would go into the native load column.
Note: Anytime changes are made to Aurora, the following sheets - 'Aurora Portfolio Output', 'Aurora Fuel Output' and 'Colstrip Fuel Model' - need to be updated in order to see the impact flow through to the proforma.
'Aurora Portfolio Output'
After running the case in Aurora, select 'output'
Right click on Portfolio Month, select 'Query Table'
Copy sql from 'Aurora Portfolio Ouptput') and paste over the sql statement in the Query Builder
Click 'Create Table with SQL then Exit'
Name output table 'PortfolioEnergyCost'
Double-click on 'PortfolioEnergyCost' table at the top of the ouput tables
Right mouse click - copy and paste into C15
'Aurora Fuel Output'
Run these 3 queries - 'NG Price by Day', 'Fuel Usage By Day' and 'Start Fuel Usage by Day' - from the Quick View Manager in Aurora.
Copy all from each pivot quick view and paste in cells C20, M20 and AI20 accordingly.
'Colstrip Fuel Model'
Select 'ColstripFuelUsage' from Quick View Manager, copy and paste in N4 in the 'Colstrip Fuel Model' sheet.

## Summation Index
Unit | Plant | River System | Plant Costs
Adams_Nielson_Solar | Adams Nielson Solar
Avista-Buck-a-Block_Solar | Small Power
Boulder Park Solar | Boulder Park Solar
Boulder_Park_1 | Boulder Park
Boulder_Park_2 | Boulder Park
Boulder_Park_3 | Boulder Park
Boulder_Park_4 | Boulder Park
Boulder_Park_5 | Boulder Park
Boulder_Park_6 | Boulder Park
Cabinet_Gorge_1-4 | Cabinet Gorge | Clark Fork
CAISO_Arbitrage_Buy | CAISO Optimization
CAISO_Arbitrage_Sale | CAISO Optimization
Canadian_Entitlement | Canadian Entitlement
City_of_Cove | Small Power
Clearwater Wind | Clearwater Wind
Clearwater Wind Losses | Clearwater Wind Losses
Colstrip_3 | Colstrip
Colstrip_4 | Colstrip
Coyote_Springs_2 | Coyote Springs 2
Coyote_Springs_2_DB | Coyote Springs 2
Deep_Creek | Small Power
Deer Lake (IP&L) | Small Power
Derr_Creek (Clark Fork) | Small Power
Douglas_Exchange_Purchase | Douglas Exchange Purchase
Douglas_Exchange_Sale | Douglas Exchange Sale
EBC 4.6 | EBC 4.6 | Columbia Basin
Elf I Solar | Elf I Solar
FIN_13498 | ST Market Sales
FIN_13499 | ST Market Sales
FIN_13645 | ST Market Sales
FIN_13778 | ST Market Sales
FIN_13781 | ST Market Sales
FIN_13783 | ST Market Sales
FIN_13786 | ST Market Sales
FIN_13787 | ST Market Sales
FIN_13790 | ST Market Sales
FIN_13791 | ST Market Sales
FIN_13792 | ST Market Sales
FIN_13793 | ST Market Sales
FIN_13794 | ST Market Sales
FIN_13795 | ST Market Sales
FIN_13796 | ST Market Sales
FIN_13797 | ST Market Sales
FIN_13798 | ST Market Sales
FIN_13800 | ST Market Sales
Jim_Ford_Creek | Small Power
John_Day_Creek | Small Power
Kettle_Falls | Kettle Falls
Kettle_Falls_CT | Kettle Falls CT
Lancaster | Lancaster
Lancaster_DB | Lancaster
Lancaster_Capacity | Lancaster Capacity and Energy Payment
Lancaster_Energy | Lancaster Capacity and Energy Payment
Lancaster_Fixed_O&M | Lancaster Capacity and Energy Payment
Little_Falls_1-4 | Little Falls | Spokane
Load Following & Integration | Load Following & Integration
Long_Lake_1-4 | Long Lake | Spokane
Main Canal | Columbia Basin | Columbia Basin
Market Purchases | ST Market Purchases
Market Sales | ST Market Sales
Meyers_Falls _1-2 | Small Power
Monroe_Street | Monroe Street | Spokane
Net Station Service | Station Service
Nichols_Pumping_Load | Nichols Pumping
Nichols_Pumping_Sale | Nichols Pumping
Nine_Mile_1-4 | Nine Mile | Spokane
Northeast_A | Northeast
Northeast_B | Northeast
Noxon_Rapids_1 | Noxon Rapids | Clark Fork
Noxon_Rapids_2 | Noxon Rapids | Clark Fork
Noxon_Rapids_3 | Noxon Rapids | Clark Fork
Noxon_Rapids_4 | Noxon Rapids | Clark Fork
Noxon_Rapids_5 | Noxon Rapids | Clark Fork
Palouse_Wind | Palouse Wind
PEC 66 | Columbia Basin | Columbia Basin
PEC Headworks | Columbia Basin | Columbia Basin
PhillipsRanch | Small Power
Post_Falls_1-6 | Post Falls | Spokane
Priest_Rapids | Priest Rapids | Mid-Columbia
Quincy Chute | Columbia Basin | Columbia Basin
Rattlesnake_Flats | Rattlesnake Flats
Rathdrum_1 | Rathdrum
Rathdrum_2 | Rathdrum
Resource Total | Resource Total
Rock_Island | Chelan PUD | Mid-Columbia
Rocky_Reach | Chelan PUD | Mid-Columbia
Russell D Smith | Columbia Basin | Columbia Basin
Sheep_Creek | Small Power
Solar_Select | Adams Nielson Solar
Spokane_County_Digester | Small Power
Spokane_Waste-to-Energy | Spokane Waste-to-Energy
Stimson_Lumber | Stimson Lumber
Summer Falls | Columbia Basin | Columbia Basin
Total | Total
Total Contract Purchases | Total Contract Purchases
Total Contract Sales | Total Contract Sales
Upper_Falls | Upper Falls | Spokane
Upriver | Upriver
Upriver_Pump_Load | Upriver
Wanapum | Priest Rapids | Mid-Columbia
Wells_Purchase | Wells | Mid-Columbia