## 2022 Rate Calculation
Cascade Natural Gas Corp.
| Replacement Projects 11-1-21 to 10-31-22 |  |  | Actual costs thru
April with
|  |  |  | Estimtimated Cost | 2022-08-31
| Project | Location | Funding Projects-Work Orders | thru October | Actual Cost |  | TYPE OF PIPE TO BE REPLACED
1 | C/M ANACORTES SSIP REPLACEMENT; PH8 | ANACORTES | FP-318186-WO #274769, FP-318187-WO #274770 | 19327.28 | 19327.28 | EVSP (PRE-CNG, FISH, PRE-1970) |  | x
2 | C/M SHELTON SSIP REPLACEMENT; PH4 | SHELTON | FP-318186-WO #284792, FP-318187-WO #284794 | 1676999.83 | 1972635.6 | EVSP (PRE-CNG, PRE-1970) |  | x
3 | CRM, ANACORTES/SHELTON EVSP REPLACEMENT | Anacortes/Shelton | FP-318186, FP-318187 WO-TBD | -240598.42 | 0 | EVSP (PRE-CNG) |  | x
5 | CRM SHELTON PIPE REPLACEMENT | SHELTON | FP-317528-WO #266102 | 41.96 | 41.96 | EVSP (PRE-CNG) |  | x
6 | CRM RPL; 3" HP; Zilliah; 873' | ZILLIAH | FP-316033-WO #282253 | 7576.58 | 7576.58 | EVSP (FISH) |  | x
7 | 12” LONGVIEW KELSO HP DISTRIBUTION EVSP REPLACEMENT, PHASE 5 | LONGVIEW | FP-316571-WO #284449 | 2057876.34 | 1545339.85 | EVSP (PRE-CNG) |  | x
8 | C/M; RPL 8" MARCH POINT PH 2 | ANACORTES | FP-316923-WO #280309 | 271663.14 | 168289.39 | EVSP (PRE-1970) |  | x
9 | C/M RPL; 12" STL HP, LONG/KELSO PH6 R-53 (R-18) KELS; | LONGVIEW/KELSO | FP-316897-WO#291428, FP-322126-WO#292375 | 3503264.06 | 86379.34 | EVSP (PRE-1970) |  | x
| 8” CENTRAL WHATCOM TRANSMISSION EVSP REPLACEMENT | FERNDALE | FP-319502-WO #278429 | 13253.72 | 13253.72
11 | 8” CENTRAL WHATCOM TRANSMISSION EVSP REPLACEMENT | FERNDALE | FP-319503-WO #278431 | 693.5 | 693.5 | EVSP (PRE-1970) |  | x
12 | C/M RPL; 6" HP; ANACORTES; PH3 | ANACORTES | FP-316580-WO #283405, FP-320458-WO #284821 | 14142.27 | 32617.62 | EVSP (FISH) |  | x
| C/M RPL; 8" HP; WALLA WALLA; 4,595' | WALLA WALLA | FP_321243-WO# 292003 | 0 | 292045.9
| C/M RPL; 8" HP; BREMERTON; 4,510' | BREMERTON | FP-316044-WO# 291429 | 0 | 191160.87
| C/M RPL; 8" HP; YAKIMA; PH1 | YAKIMA | FP-316046-WO #268461, FP-322165-WO #292701, FP-322173-WO #292715 | 0 | 5627.92
| C/M RPL; 2/4" HP; WHEELER; 6,675' | WHEELER | FP-316018 | 0 | 0
| C/M RPL; 3" HP; S TOPPENISH; 6,161' | TOPPENISH | FP-316031-WO #292522 | 0 | 170870.27
| C/M RPL; 3" HP; SUNNYSIDE; 4,594' | SUNNYSIDE | FP-316032-WO #2292980 | 0 | 0
| C/M RPL; 4" HP; ARLINGTON; 4,700'/STATION 1 (R-95) | ARLINGTON | FP-316035-WO #285585, FP-321832-WO #289530 | 3779363.1 | 3570927.15
13
14
15 | Total Estimated Replacement Cost |  |  | 11103603.36 | 8076786.95
16
17 |  |  |  | 24047903.77 | Schedule | Schedule | Schedule | Schedule | Schedule | Schedule
18 |  |  |  |  | 503 | 504 | 505 | 511 | 570 | 663
19
20 | Rate Base Allocation from UG-170929 Company COS |  |  | 279938461 | 139245995 | 64103014 | 7030783 | 5473765 | 806645 | 63278259
21 | Percentage |  |  | 100% | 49.74% | 22.9% | 2.512% | 1.955% | 0.2882% | 22.6%
22
23
24 | Total Investment |  | Ln 15 | 11103603.36
25
26 | Depreciation Expense - Rate 2.63% |  | Ln 24* 2.63% | 292024.7684 | 292024.7684
27 | Accumulated Depr. (Avg) |  | Ln 26 / 2 | 146012.3842
28 | Accum Tax depreciation |  | Ln 24 *3.75% | 416385.126
29 | Deferred Tax |  | (Ln 28 - Ln 26) * .21 | 26115.6751
30 | Accum Def Tax (Avg) |  | Ln 29 / 2 | 13057.8376
31 | FIT |  | Ln 26* .21 |  | 61325.2014
32 | Interest Coordination Adj (Rate Base x Weighted Cost of Debt (2.336%) x 21% FIT) |  |  |  | 53689.5018
33 | Rate Base |  | Ln 15 - Ln 30 - Ln 27 | 10944533.1383
34 | Authorized ROR from UG-210755 |  |  | 6.85%
35
36 | NOI |  | ((Ln 33 * Ln 34) | 749700.52 | 177010.0652
37 | Total NOI |  | Sum Ln 36 | 926710.5852
38 | Conversion Factor in UG-210755 |  |  | 0.75506
39 | Revenue Requirement (Current Year Investment) |  | Ln 37 / Ln 38 | 1227333.7022
40 | 2022 Current Revenue Requirement of 2021 Investments |  |  | 973245.6826
| 2022 Current Revenue Requirement of 2020 Investments |  |  | 0
41
42 | Total Revenue Requirement |  | Ln 45 + Ln 46 | 2200579.3848
43 | Less UG-220664 Revenue Requirement |  |  | 1010035
44
45 | Increase in Revenue Requirement |  |  | 1190544.3848
46
47 | Allocation Rev Req to Schedules |  | Ln 42 * Ln 21 |  | 1094604.3817 | 503909.9329 | 55268.5618 | 43028.9371 | 6340.9878 | 497426.5836
48 | Weather Normalized 2021 Volumes |  |  |  | 130679417 | 89120218 | 11930578 | 17432493 | 2264179 | 699506305
49
50
51 | Rate Charge |  | Ln 47 / Ln 48 |  | 0.0083763 | 0.0056543 | 0.0046325 | 0.0024683 | 0.0028006 | 0.00071111
52
53 | 2021 Commission Basis Total Revenue |  |  |  | 286905704
54 | Percentage Increase in Revenue |  | Ln 45 / Ln 53 |  | 0.415%

## UG-210408
Cascade Natural Gas Corp.
| Replacement Projects 11-1-20 to 10-31-21 |  |  | Actual costs thru
September with
|  |  |  | Estimtimated Cost | 2021-09-30
| Project | Location | Funding Projects-Work Orders | thru October | Actual Cost |  | TYPE OF PIPE TO BE REPLACED
1 | C/M ANACORTES SSIP REPLACEMENT; PH8 | ANACORTES | FP-318186-WO #274769, FP-318187-WO #274770 | 616531.15 | 1331654.11 | EVSP (PRE-CNG, FISH, PRE-1970)
2 | C/M SHELTON SSIP REPLACEMENT; PH4 | SHELTON | FP-318186-WO #284792, FP-318187-WO #284794 | 1501775.89 | 1501775.89 | EVSP (PRE-CNG, PRE-1970)
3 | CRM, ANACORTES/SHELTON EVSP REPLACEMENT | Anacortes/Shelton | FP-318186, FP-318187 WO-TBD | 1104864.48 | 0 | EVSP (PRE-CNG)
4 | CRM RPL; 12" STL HP, LONG/KELSO PH4 | LONGVIEW/KELSO | FP-316570-WO #276206 | 99274.86 | 4652683.24 | EVSP (PRE-CNG)
5 | CRM SHELTON PIPE REPLACEMENT | SHELTON | FP-317519-WO #266054, FP-317528-WO #266102 | 7088.53 | 118008.94 | EVSP (PRE-CNG)
6 | CRM RPL; 3" HP; Zilliah; 873' | ZILLIAH | FP-316033-WO #282253, FP-319112-WO #282316 | 240391.47 | 667492.09 | EVSP (FISH)
7 | 12” LONGVIEW KELSO HP DISTRIBUTION EVSP REPLACEMENT, PHASE 5 | LONGVIEW | FP-316571-WO #284449 | 2074013.9 | 1366900.14 | EVSP (PRE-CNG)
8 | C/M; RPL 8" MARCH POINT PH 2 | ANACORTES | FP-316923-WO #280309, FP-320458-WO #284821, FP-320485-WO #285218 | 2073928.19 | 2302597.27 | EVSP (PRE-1970)
9 | 4” OTHELLO HP EVSP REPLACEMENT | OTHELLO | FP-316034-WO #266858 | -7891.41 | -60958.04 | EVSP (PRE-1970)
10 | 8” CENTRAL WHATCOM TRANSMISSION EVSP REPLACEMENT | BELLINGHAM | FP-319502-WO #278429 | 419004.75 | 609686.16 | EVSP (PRE-1970)
11 | 8” CENTRAL WHATCOM TRANSMISSION EVSP REPLACEMENT | BELLINGHAM | FP-319503-WO #278431 | 59490.9 | 126008.16 | EVSP (PRE-1970)
12 | C/M RPL; 6" HP; ANACORTES; PH3 | ANACORTES | FP-316580-WO #283405, FP-320458-WO #284821 | 838545.75 | 1388126.22 | EVSP (FISH)
13
14
15 | Total Estimated Replacement Cost |  |  | 9027018.46 | 14048443.18
16
17 |  |  |  |  | Schedule | Schedule | Schedule | Schedule | Schedule | Schedule
18 |  |  |  |  | 503 | 504 | 505 | 511 | 570 | 663
19
20 | Rate Base Allocation from UG-170929 Company COS |  |  | 279938461 | 139245995 | 64103014 | 7030783 | 5473765 | 806645 | 63278259
21 | Percentage |  |  | 3101% | 1543% | 710.1% | 77.89% | 60.64% | 8.936% | 701%
22
23
24 | Total Investment |  | Ln 20 | 9027018.46
25
26 | Depreciation Expense - Rate 2.63% |  | Ln 40* 2.63% | 237410.5855 | 237410.5855
27 | Accumulated Depr. (Avg) |  | Ln 41 / 2 + 1st yr depr | 356115.8782
28 | Accum Tax depreciation |  | See Calc Below | 664343.4236
29 | Deferred Tax |  | (Ln 43 - Ln 41) * .21 | 18568.1256
30 | Accum Def Tax (Avg) |  | Ln 44 / 2 | 64727.7845
31 | FIT |  | Ln 41* .21 |  | 49856.223
32 | Interest Coordination Adj (Rate Base x Weighted Cost of Debt (2.336%) x 21% FIT) |  |  |  | 42218.4511
33 | Rate Base |  | Ln 20 - Ln 42 - Ln 45 | 8606174.7972
34 | Authorized ROR from UG-210755 |  |  | 6.85%
35
36 | NOI |  | ((Ln 48 * Ln 49) and (Ln 41 - Ln 46-Ln 47) | 589522.9736 | 145335.9115
37 | Total NOI |  | Sum Ln 50 | 734858.8851
38 | Conversion Factor in UG-210755 |  |  | 0.75506
39 | Revenue Requirement (Current Year Investment) |  | Ln 51 / Ln 52 | 973245.6826
40 | 2020 Current Revenue Requirement
41
42 | Total Revenue Requirement |  | Ln 53 | 973245.6826
43
44
45 | Increase in Revenue Requirement |  |  | 973245.6826
46
47
48
49
50
51
52
53
54
Accum
| Tax Depreciation | Year 1 |  | 3.75% | 338513.1923 | 338513.1923
|  | Year 2 |  | 7.219% | 651660.4626 | 325830.2313
664343.4236

## UG-200493
Cascade Natural Gas Corp.
| 0 |  |  | Actual costs thru
September with
Estimtimated Cost
| Project | Location | Funding Projects | thru October |  |  | TYPE OF PIPE TO BE REPLACED
1 | C/M RPL; 2,6,8" HP; ANACORTES; PH3 | ANACORTES | FP-316580 | 0 |  | BARE STEEL/PRE-CNG PIPE - IDENTIFIED HIGH (RED) RISK IN DIMP
2 | CRM Pipe Replacement, Anacortes | ANACORTES | FP-316691,FP-317514, FP-317524, FP-318321, FP-318325, FP-318186, FP-318187 | 7631034.17 |  | BARE STEEL/PRE-CNG PIPE - IDENTIFIED HIGH (RED) RISK IN DIMP
3 | CRM RPL; 12" STL HP, LONG/KELSO PH3 | LONGVIEW/KELSO | FP-316569 | 167810.18 |  | PRE-CNG PIPE - HIGH (RED) IN DIMP
4 | CRM SHELTON PIPE REPLACEMENT | SHELTON | FP-317519, FP-317528 | 341064.44 |  | PRE-CNG PIPE - IDENTIFIED HIGH (RED) RISK IN DIMP
5 | CRM RPL; 3" HP; Zilliah; 873' | ZILLIAH | FP-316033 | 0 |  | PRE-CNG PIPE - IDENTIFIED HIGH (RED) RISK IN DIMP
6 | CRM KELSO GRADE ST BRIDGE RELOCATE | KELSO | FP-307212 | 72404.79 |  | EXPOSED PIPE SUSCEPTIBLE TO CORROSION RISK - MODERATE (ORANGE)
7 | CRM Longview | LONGVIEW | FP-317516, FP-317596, FP-317612, FP-317614 | 46047.48 |  | PRE-CNG PIPE
8 | C/M; 2,6,8" HP; ANACORTES; PH2 | ANACORTES | FP-316579, FP-317529 | 1131792.42 |  | PRE-CNG PIPE
9 | CRM KELSO PIPE REPLACEMENT | KELSO | FP-317518, FP-317527, FP-319198, FP-319199 | 121341.02 |  | HIGH-MODERATE RISK IN DIMP
10 | CRM 2" STL BELLINGHAM | BELLIGHAM | FP-317428 | 38830.54 |  | BARE STEEL/PRE-CNG PIPE IDENTIFIED HIGH (RED) RISK IN DIMP
11 | C/M; 4" HP; OTHELL0; 9,801' | OTHELLO | FP-316034 | 3135079.27 |  | EARLY VINTAGE STEEL PIPE PRE-1970
12 | CRM RP; 8" BRIDGE XING, WALLA WALLA | WALLA WALLA | FP-317219 | -434.52 |  | EARLY VINTAGE STEEL PIPE PRE-1970
13
14
15 |  |  | GRC compliance
16
17
18
19 | Total Estimated Replacement Cost |  |  | 12684969.79 | 0
20 |  |  |  |  | Schedule | Schedule | Schedule | Schedule | Schedule | Schedule
21 |  |  |  |  | 503 | 504 | 505 | 511 | 570 | 663
22 | Rate Base Allocation from UG-170929 Company COS |  |  | 279938461 | 139245995 | 64103014 | 7030783 | 5473765 | 806645 | 63278259
23 | Percentage |  |  | 100% | 49.74% | 22.9% | 2.512% | 1.955% | 0.2882% | 22.6%
24 | Total Investment |  | Ln 20 | 12684969.79
25 | Depreciation Expense - Rate 2.63% |  | Ln 40* 2.63% | 333614.7055 | 333614.7055
26 | Accumulated Depr. (Avg) |  | Ln 41 / 2 + 1st yr depr+2nd yr depr | 834036.7637
27 | Accum Tax depreciation |  | See Calc Below | 1814267.8042
28 | Deferred Tax |  | (Ln 43 - Ln 41) * .21 | 122243.7854
29 | Accum Def Tax (Avg) |  | Ln 44 / 2 | 205848.5185
30 | FIT |  | Ln 41* .21 |  | 70059.0882
31 | Interest Coordination Adj (Rate Base x Weighted Cost of Debt (2.336%) x 21% FIT) |  |  |  | 57126.1266
32 | Rate Base |  | Ln 20 - Ln 42 - Ln 45 | 11645084.5078
33 | Authorized ROR from UG-200568 |  |  | 6.951%
34 | NOI |  | ((Ln 48 * Ln 49) and (Ln 41 - Ln 46-Ln 47) | 809449.8241 | 206429.4908
35 | Total NOI |  | Sum Ln 50 | 1015879.3149
36 | Conversion Factor in UG-200568 |  |  | 0.75481
37 | Revenue Requirement (Current Year Investment) |  | Ln 51 / Ln 52 | 1345874.2132
38 | 2020 Current Revenue Requirement
39 | Total Revenue Requirement |  | Ln 53 | 1345874.2132
40
41 | Increase in Revenue Requirement |  |  | 1345874.2132
42
43
44
45
46
Accum
| Tax Depreciation | Year 1 |  | 3.75% | 475686.3671 | 475686.3671
|  | Year 2 |  | 7.219% | 915727.9691 | 915727.9691
|  | Year 3 |  | 6.667% | 845706.9359 | 422853.4679
1814267.8042