## RLE-WP1_Benefits of 52 HDD
RLE-WP1
Exhibit I-4 from 2005 Least Cost Plan Appendix I - Gas Planning Standard
Planning Standard |  | Incremental Benefit | Incremental Cost | Benefit/Cost Ratio
48 HDD (17o F) |  | 5195876 | 238645 | 21.8
49 HDD (16o F) |  | 3332322 | 260798 | 12.8
50 HDD (15o F) |  | 2026693 | 423036 | 4.8
51 HDD (14o F) |  | 1169251 | 209789 | 5.6
52 HDD (13o F) |  | 535076 | 455153 | 1.2
53 HDD (12o F) |  | 145373 | 1684778 | 0.1
54 HDD (11o F) |  | $ - | 2531502 | -
55 HDD (10o F) |  | $ - | 2831158 | -
Incremental benefit of 52 HHD over 47 HDD
12259218
from https://www.minneapolisfed.org/about-us/monetary-policy/inflation-calculator/consumer-price-index-1913-
2005 CPI-U | 195.3
2016 CPI-U | 240
Benefits in 2016 dollars
15065091.2442

## RLE-WP2 Winter Season Min Temp
Season | Min Temp |  |  |  | RLE-WP2
1950 | 21 | 14.65 | 1950 to 2015 season | 1 in 50 daily temperature
1951 | 19
1952 | 26
1953 | 22
1954 | 20
1955 | 15
1956 | 18.5
1957 | 34
1958 | 19.5
1959 | 30
1960 | 30
1961 | 22
1962 | 18
1963 | 32
1964 | 15
1965 | 31.5
1966 | 33.5
1967 | 30.5
1968 | 12
1969 | 34.5
1970 | 28
1971 | 20.5
1972 | 19
1973 | 24
1974 | 29.5
1975 | 27.5
1976 | 29.5
1977 | 28.5
1978 | 18.5
1979 | 23
1980 | 27.5
1981 | 19.5
1982 | 30.5
1983 | 17
1984 | 25.5
1985 | 18
1986 | 31
1987 | 30
1988 | 14.5
1989 | 27.5
1990 | 16
1991 | 33
1992 | 28
1993 | 27
1994 | 28
1995 | 22.5
1996 | 28
1997 | 26
1998 | 19.5
1999 | 34
2000 | 32.5
2001 | 29.5
2002 | 35
2003 | 23
2004 | 31
2005 | 32
2006 | 22.5
2007 | 32
2008 | 20
2009 | 25
2010 | 20.5
2011 | 28.5
2012 | 30
2013 | 25
2014 | 30
2015 | 31.5
2016 | 27
2017 | 30
2018 | 27
2019 | 32
2020 | 28
2021 | 22
Source: https://www.ncei.noaa.gov/

## RLE-WP3_Cal of HDD-Scenarios
Data from PSE Resp PC DR 40 Attach A unless otherwise noted
|  | Current 2023 Gas Utility IRP methodology | [6 empty] | RLE-WP3
Previous IRP methodology |  |  | Actual SeaTac Observations and Modeled SeaTac Projections
| Actual SeaTac Observations |  | Coldest average daily temperature
| Coldest average daily temperature |  | CanESM* | CCSM* | CNRM* | Using all 3 scenarios
Year | Temperature (F) | Year | Temperature (F) | Temperature (F) | Temperature (F) | Data Set | Years Used | 1-in-50 Daily Temperatures (F)
1950 | 12.0417 | 2010 | 20.875 | 20.875 | 20.875 | Previous IRP | 1950-2019 | 12.7058
1951 | 20.7083 | 2011 | 25.7917 | 25.7917 | 25.7917 | Current 2023 Gas Utility IRP (Includes Climate Change) | 2010-2049 | 13.4926
1952 | 22.0833 | 2012 | 28.2083 | 28.2083 | 28.2083
1953 | 33.7083 | 2013 | 25.3333 | 25.3333 | 25.3333 | Using first 2 scenarios
1954 | 23.25 | 2014 | 25.1667 | 25.1667 | 25.1667 | Current 2023 Gas Utility IRP (Includes Climate Change) | 2010-2049 | 21.8684
1955 | 15.5417 | 2015 | 32.4167 | 32.4167 | 32.4167
1956 | 17.8333 | 2016 | 28.3333 | 28.3333 | 28.3333 | Using all 3 scenarios but replacing 2020-2022 data with actuals
1957 | 19.7917 | 2017 | 27.0417 | 27.0417 | 27.0417 | Current 2023 Gas Utility IRP (Includes Climate Change) | 2010-2049 | 16.0929
1958 | 32.25 | 2018 | 30.3333 | 30.3333 | 30.3333
1959 | 19.0833 | 2019 | 26.625 | 26.625 | 26.625
1960 | 28.5417 | 2020 | 29.3072 | 29.1582 | 13.3446
1961 | 27.2083 | 2021 | 26.8625 | 28.7622 | 15.0795
1962 | 22.0833 | 2022 | 29.993 | 35.2795 | 7.2158
1963 | 17.2083 | 2023 | 33.2706 | 34.3126 | 29.4237
1964 | 13.0417 | 2024 | 28.2943 | 33.5266 | 29.1011
1965 | 31.8333 | 2025 | 31.1642 | 35.2242 | 36.4319
1966 | 33.4583 | 2026 | 31.769 | 30.023 | 30.1674
1967 | 30.9583 | 2027 | 23.8492 | 22.9132 | 21.4712
1968 | 12.5 | 2028 | 26.2814 | 31.6809 | 28.3364
1969 | 19.3333 | 2029 | 34.5165 | 34.3625 | 33.77
1970 | 31.8333 | 2030 | 30.5388 | 29.5669 | 29.8053
1971 | 28.75 | 2031 | 36.8215 | 25.7514 | 23.3547
1972 | 19.2917 | 2032 | 29.7955 | 26.1542 | 21.7031
1973 | 22.5417 | 2033 | 29.6416 | 34.4247 | 13.7341
1974 | 26.2083 | 2034 | 24.5103 | 23.5563 | 36.6161
1975 | 30.125 | 2035 | 31.1535 | 27.4073 | 38.6748
1976 | 30.8333 | 2036 | 33.7677 | 34.5417 | 33.3111
1977 | 27.7917 | 2037 | 35.1578 | 25.6718 | 22.37
1978 | 18.75 | 2038 | 26.4971 | 23.2391 | 14.6642
1979 | 25.5417 | 2039 | 26.5871 | 25.4531 | 25.8864
1980 | 23.5 | 2040 | 29.2401 | 28.2681 | 22.0706
1981 | 32.5833 | 2041 | 32.2323 | 33.6563 | 19.3748
1982 | 20.3333 | 2042 | 29.2433 | 28.0193 | 18.4239
1983 | 16.9583 | 2043 | 37.0681 | 36.5056 | 19.7223
1984 | 26.625 | 2044 | 22.8312 | 27.2894 | 31.5611
1985 | 19.4167 | 2045 | 25.4453 | 24.4469 | 28.437
1986 | 28.875 | 2046 | 28.061 | 31.9267 | 32.4752
1987 | 30.9583 | 2047 | 34.352 | 32.5591 | 22.4201
1988 | 31.3333 | 2048 | 33.0314 | 28.7555 | -1.12
1989 | 13.6667 | 2049 | 31.481 | 22.5877 | 18.7121
1990 | 15.7083
1991 | 31.3333 | *CanESM, CCSM and CNRM are names of global climate models. Actual SeaTac data was used for years 2010-2019 and global climate model data was used for years 2020-2049.
1992 | 29.5
1993 | 26.2083
1994 | 28.3333 | Replacing 2020 through 2022 with actuals from https://www.ncei.noaa.gov/
1995 | 30.0833 | Current 2023 Gas Utility IRP methodology
1996 | 22.9167 |  | Actual SeaTac Observations and Modeled SeaTac Projections
1997 | 27.5833 |  | Coldest average daily temperature
1998 | 20.125 |  | CanESM* | CCSM* | CNRM*
1999 | 32.5 | Year | Temperature (F) | Temperature (F) | Temperature (F)
2000 | 32.2083 | 2010 | 20.875 | 20.875 | 20.875
2001 | 32.5 | 2011 | 25.7917 | 25.7917 | 25.7917
2002 | 31.5833 | 2012 | 28.2083 | 28.2083 | 28.2083
2003 | 30.25 | 2013 | 25.3333 | 25.3333 | 25.3333
2004 | 22.875 | 2014 | 25.1667 | 25.1667 | 25.1667
2005 | 31.375 | 2015 | 32.4167 | 32.4167 | 32.4167
2006 | 23.9167 | 2016 | 28.3333 | 28.3333 | 28.3333
2007 | 24.5417 | 2017 | 27.0417 | 27.0417 | 27.0417
2008 | 21.7083 | 2018 | 30.3333 | 30.3333 | 30.3333
2009 | 24.1667 | 2019 | 26.625 | 26.625 | 26.625
2010 | 20.875 | 2020 | 32 | 32 | 32
2011 | 25.7917 | 2021 | 22 | 22 | 22
2012 | 28.2083 | 2022 | 22 | 22 | 22
2013 | 25.3333 | 2023 | 33.2706 | 34.3126 | 29.4237
2014 | 25.1667 | 2024 | 28.2943 | 33.5266 | 29.1011
2015 | 32.4167 | 2025 | 31.1642 | 35.2242 | 36.4319
2016 | 28.3333 | 2026 | 31.769 | 30.023 | 30.1674
2017 | 27.0417 | 2027 | 23.8492 | 22.9132 | 21.4712
2018 | 30.3333 | 2028 | 26.2814 | 31.6809 | 28.3364
2019 | 26.625 | 2029 | 34.5165 | 34.3625 | 33.77
|  | 2030 | 30.5388 | 29.5669 | 29.8053
|  | 2031 | 36.8215 | 25.7514 | 23.3547
|  | 2032 | 29.7955 | 26.1542 | 21.7031
|  | 2033 | 29.6416 | 34.4247 | 13.7341
|  | 2034 | 24.5103 | 23.5563 | 36.6161
|  | 2035 | 31.1535 | 27.4073 | 38.6748
|  | 2036 | 33.7677 | 34.5417 | 33.3111
|  | 2037 | 35.1578 | 25.6718 | 22.37
|  | 2038 | 26.4971 | 23.2391 | 14.6642
|  | 2039 | 26.5871 | 25.4531 | 25.8864
|  | 2040 | 29.2401 | 28.2681 | 22.0706
|  | 2041 | 32.2323 | 33.6563 | 19.3748
|  | 2042 | 29.2433 | 28.0193 | 18.4239
|  | 2043 | 37.0681 | 36.5056 | 19.7223
|  | 2044 | 22.8312 | 27.2894 | 31.5611
|  | 2045 | 25.4453 | 24.4469 | 28.437
|  | 2046 | 28.061 | 31.9267 | 32.4752
|  | 2047 | 34.352 | 32.5591 | 22.4201
|  | 2048 | 33.0314 | 28.7555 | -1.12
|  | 2049 | 31.481 | 22.5877 | 18.7121

## RLE-7 Vaporization Comparison
Table 8. Vaporizer Use at the Tacoma LNG Facility*
Date | Volume (Dth) | Reason | Gas Demand** | Resources Available before Tacoma LNG*** | Gas Demand as % of pre-TLNG resources | Predicted Winter Peak 2022-2023**** | Gas Demand as % of Predicted Peak | Seasonal Max***** | Gas Demand as % of Actual Peak | Injection as % of Gas Demand | Maximum Injection | Injection as a % of Max Injection
2023-01-27 | 11552 | Cold Weather Action Plan | 383120 | 973129 | 39.37% | 981760 | 39.02% | 823435 | 46.53% | 3.015% | 66000 | 17.5%
2023-01-28 | 2877 | Cold Weather Action Plan | 485864 | 973129 | 49.93% | 981760 | 49.49% | 823435 | 59% | 0.5921% | 66000 | 4.359%
2023-01-29 | 484 | Cold Weather Action Plan | 615119 | 973129 | 63.21% | 981760 | 62.65% | 823435 | 74.7% | 0.07868% | 66000 | 0.7333%
2023-02-01 | 37098 | B.C. Pipeline Curtailment | 498119 | 973129 | 51.19% | 981760 | 50.74% | 823435 | 60.49% | 7.448% | 66000 | 56.21%
2023-02-02 | 155 | B.C. Pipeline Curtailment | 439384 | 973129 | 45.15% | 981760 | 44.75% | 823435 | 53.36% | 0.03528% | 66000 | 0.2348%
2023-02-22 | 2714 | Cold Weather Action Plan | 602615 | 973129 | 61.93% | 981760 | 61.38% | 823435 | 73.18% | 0.4504% | 66000 | 4.112%
2023-02-23 | 38140 | Cold Weather Action Plan | 688721 | 973129 | 70.77% | 981760 | 70.15% | 823435 | 83.64% | 5.538% | 66000 | 57.79%
2023-02-24 | 7159 | Cold Weather Action Plan | 638898 | 973129 | 65.65% | 981760 | 65.08% | 823435 | 77.59% | 1.121% | 66000 | 10.85%
|  |  |  | average | 55.9% | average | 55.41% | average | 66.06% |  | average | 18.97%
|  |  |  | min | 39.37% | min | 39.02% | min | 46.53% |  | min | 0.2348%
|  |  |  | max | 70.77% | max | 70.15% | max | 83.64% |  | max | 57.79%
* Exh. RJR-1T at 40:8
** Source: PSE Response to Public Counsel DR No. 23. Attachment C
*** Source: 220066-67 PC Exh. RLE-7 - PSE Resp PC DR 106 Attach A-07-08-2022
**** Source: 220066-67 PC Exh. RLE-7 - PSE Resp PC DR 106 Attach A-07-08-2022
***** Source: PSE Response to Public Counsel DR No. 23. Attachment C

## RLE-WP4_Stored Winter 2022-2023
Winter max stored by PSE* | 264034 | Dth | [9 empty] | RLE-WP4
PSE share of tank capacity | 551179.9679 | Dth | from | 6.3 | million gallons | times | 22529 | Dth** | per | 257507 | gallons**
% of tank capacity used | 47.9%
* PSE Resp PC DR 023
** PSE Resp WUTC DR 026

## RLE-WP5_Chi Squared
Cost data from TLNG Legal Costs from PSE Resp PC DR No. 26 Attachment
| Internal Legal Costs | last digit | last digit | last digit count | Chi-squared | 39.7692 | Exp val | 6.5 | RLE-WP5
| 4134.6 | 0 | 0 | 17 | 16.9615
| 6431.6 | 0 | 1 | 1 | 4.6538
| 3583.32 | 2 | 2 | 8 | 0.34615
| 722.04 | 4 | 3 | 6 | 0.038462
| 2067.3 | 0 | 4 | 8 | 0.34615
| 3767.08 | 8 | 5 | 2 | 3.1154
| 6569.42 | 2 | 6 | 7 | 0.038462
| 1328.88 | 8 | 7 | 1 | 4.6538
| 15187.2 | 0 | 8 | 13 | 6.5
| 5457.9 | 0 | 9 | 2 | 3.1154
| 7878.36 | 6
| 4840.92 | 2
| 2278.08 | 8
| 1328.88 | 8
| 759.36 | 6
| 3227.28 | 8
| 21262.08 | 8
| 1898.4 | 0
| 3838.77 | 7
| 3149.76 | 6
| 3051.33 | 3
| 16733.1 | 0
| 4724.64 | 4
| 6004.23 | 3
| 5019.93 | 3
| 196.86 | 6
| 4724.64 | 4
| 4527.78 | 8
| 5167.58 | 8
| 10273.44 | 4
| 4179.88 | 8
| 8057.6 | 0
| 4935.28 | 8
| 8762.64 | 4
| 7654.72 | 2
| 2618.72 | 2
| 9820.2 | 0
| 5539.6 | 0
| 3676.28 | 8
| 11633.16 | 6
| 10928.12 | 2
| 13569.33 | 3
| 9370.53 | 3
| 13825.36 | 6
| 11725.95 | 5
| 2457.84 | 4
| 1894.59 | 9
| 972.9 | 0
| 788.02 | 2
| 1266.88 | 8
| 358.44 | 4
| 1126.51 | 1
| 1894.59 | 9
| 703.3 | 0
| 703.3 | 0
| 1661.64 | 4
| 919.7 | 0
| 108.2 | 0
| 750.28 | 8
| 54.1 | 0
| 1460.7 | 0
| 6716.42 | 2
| 978.96 | 6
| 1835.55 | 5
| 1101.33 | 3

## RLE-13 Legal Fees
Ratepayer refund for 2013 - 2016
(a) | 1 | million | per year
(b) | 4 | years | (2013-2016)
(c) = (a) x (b) | 4 | million
(d) | 57% | amount that should have been allocated to Puget LNG
(e) = (c) x (d) | 2.28 | million | ratepayer refund
Three month gap with no internal legal costs
Month | External Legal Costs
2022-09-01 | 334639.47
2022-10-01 | 51907.47
2022-11-01 | 32212.7
Total | 418759.64
Data from PSE Resp. to PC DR 26, Attachment A
Internal Legal Costs vs. External Legal Costs
| Internal Legal Costs | External Legal Costs | Internal legal costs as a percent of external legal costs
2017-04-01 | 4134.6 | 162097.79 | 2.007%
2017-05-01 | 6431.6 | 114584.8
2017-06-01 | 3583.32 | 274422.82
2017-07-01 | 722.04 | 69504.64
2017-08-01 | 2067.3 | 39934.67
2017-09-01 | 0 | 16756
2017-10-01 | 3767.08 | 357669.39
2017-11-01 | 0 | 120239.9
2017-12-01 | 6569.42 | 60312.61
2018-01-01 | 1328.88 | -36992.53
2018-02-01 | 15187.2 | 116801.67
2018-03-01 | 5457.9 | 124670.74
2018-04-01 | 7878.36 | 110755.45
2018-05-01 | 4840.92 | 97766.54
2018-06-01 | 2278.08 | 68295.77
2018-07-01 | 1328.88 | 29958.98
2018-08-01 | 759.36 | 90571.4
2018-09-01 | 3227.28 | 54835.61
2018-10-01 | 0 | 43508.35
2018-11-01 | 21262.08 | 90062.04
2018-12-01 | 1898.4 | 88788.42
2019-01-01 | 3838.77 | -20538.17
2019-02-01 | 3149.76 | 37807.34
2019-03-01 | 0 | 34927.11
2019-04-01 | 3051.33 | 16338.33
2019-05-01 | 16733.1 | 43449.43
2019-06-01 | 4724.64 | 78796.53
2019-07-01 | 6004.23 | 27027.08
2019-08-01 | 5019.93 | 48714.75
2019-09-01 | 196.86 | 38237.23
2019-10-01 | 4724.64 | 47906.5
2019-11-01 | 4527.78 | 15071.18
2019-12-01 | 5167.58 | 95238.97
2020-01-01 | 10273.44 | 314.4
2020-02-01 | 4179.88 | 96487.25
2020-03-01 | 8057.6 | 368206.11
2020-04-01 | 4935.28 | 176139.24
2020-05-01 | 8762.64 | 164356.48
2020-06-01 | 7654.72 | 212795.15
2020-07-01 | 2618.72 | 267707.39
2020-08-01 | 9820.2 | 209045.83
2020-09-01 | 5539.6 | 249640.35
2020-10-01 | 3676.28 | 1355612.89
2020-11-01 | 11633.16 | 571995.39
2020-12-01 | 10928.12 | 1853647.39
2021-01-01 | 13569.33 | -83119.47
2021-02-01 | 9370.53 | 1089481.46
2021-03-01 | 13825.36 | 815977.77
2021-04-01 | 11725.95 | 1695758.22
2021-05-01 | 2457.84 | 1959269.69
2021-06-01 | 1894.59 | 348635.22
2021-07-01 | 972.9 | 65196.09
2021-08-01 | 788.02 | 28752.44
2021-09-01 | 1266.88 | 21912.17
2021-10-01 | 358.44 | 16903.67
2021-11-01 | 1126.51 | 38315.02
2021-12-01 | 1894.59 | 56706.87
2022-01-01 | 703.3 | 80602.8
2022-02-01 | 703.3 | 46704.78
2022-03-01 | 1661.64 | 227678.78
2022-04-01 | 919.7 | 128492.85
2022-05-01 | 108.2 | 65916.97
2022-06-01 | 750.28 | 57680.94
2022-07-01 | 54.1 | 101379.58
2022-08-01 | 1460.7 | 147737.82
2022-09-01 | 0 | 334639.47
2022-10-01 | 0 | 51907.47
2022-11-01 | 0 | 32212.7
2022-12-01 | 6716.42 | 110418.66
2023-01-01 | 0 | -26052.06
2023-02-01 | 978.96 | 50500.67
2023-03-01 | 0 | 19295.76
2023-04-01 | 1835.55 | 53462.99
2023-05-01 | 0 | 26918.17
2023-06-01 | 1101.33 | 9077.5
| 314185.38 | 15655834.21

## RLE-14 Pipeline Allocation
Allocation of $23.3 to PSE ratepayers
Maximum days delivery |  |  | 10 | (a) |  | Delivery to distribution system | 2.74% | of the time | (d)
Days in a year |  |  | 365 | (b) |  | Delivery to Tacoma LNG Facility | 97.26% | of the time | (e) = 100% - (d)
Percent time delivery |  |  | 2.74% | (c) = (a)/(b) |  | Percent of Delivery to Tacoma LNG Facility | 10% |  | (f)
[6 empty] | Delivery to Tacoma LNG Facility on behalf of PSE Ratepayers | 9.726% |  | (g) = (e)*(f)
[6 empty] | PSE Ratepayer Share | 12.47% |  | (h) = (d) + (g)
[6 empty] | PSE Ratepayer Amount | 2.9045 | million | (i) = (e) *$23.3 million
Allocation of Pipeline Cost to PSE
12-inch pipe cost |  | 23.3 | $ million | (j) | `
Upgrade to 16-inch pipe |  | 4.1 | $ million | (k)
Total pipe cost |  | 27.4 | $ million | (l) = (j)+(k)
PSE Ratepayer Amount |  | 7.0045 | $ million | (m) = (i)+(k)
PSE Ratepayer Share |  | 25.56% |  | (n) = (m)/(l)
Puget LNG Share |  | 74.44% |  | (o) = 100%-(n)
Amount driven around the track
9 | times by your friend going forward
1 | time by you going forward
0.3 | times by you in reverse
10.3 | total amount driven on the track