## REDACTED
REDACTED VERSION
Shaded information is designated as confidential per WAC 480-07-160

## p.1-3 Thermal inputs (R)
Puget Sound Energy
Rate Year Resources Inputs Summary
Thermal Resources
2020 PCORC
Resource | Heat rate (Btu/kWh) | Capacity (MW)1 | Duct fire capacity (% of total) | Duct fire heat rate (Btu/kWh) | Variable O&M nominal $/MWh2 | Variable major maintenance nominal $/MWh2,3 | Total variable O&M 2020 $/MWh4 | Forced outage rate (%) | Min capacity (%) | Min up time (hrs) | Min down time (hrs) | Heat rate at min (Btu/kWh) | Start-up fuel (MMBtu/MW/start) | Start-up cost ($/MW/start) nominal $2,3 | Start-up cost ($/MW/start) $20203,4 | Average fuel price nominal $/MMBtu2 | Average variable transport nominal $/MMBtu2 | Average total fuel cost 2020 $/MMBtu4 | Colstrip line loss %
Ferndale | XXXXXX | 271 | 9.9631 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Goldendale | XXXXXX | 300 | 6.6667 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Mint Farm | XXXXXX | 314 | 10.828 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Sumas | XXXXXX | 123 | 0 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Freddy1 | XXXXXX | 133.598 | 7.0896 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Encogen | XXXXXX | 166 | 0 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Fredonia 1 | XXXXXX | 104 | 0 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Fredonia 2 | XXXXXX | 104 | 0 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Fredonia 3 | XXXXXX | 55 | 0 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Fredonia 4 | XXXXXX | 55 | 0 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Frederickson 1 | XXXXXX | 74 | 0 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Frederickson 2 | XXXXXX | 74 | 0 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Whitehorn 2 | XXXXXX | 74 | 0 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Whitehorn 3 | XXXXXX | 74 | 0 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Colstrip 3 | XXXXXX | 185 | n/a | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXX
Colstrip 4 | XXXXXX | 185 | n/a | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXX
Bold text in column headings indicates values are actual inputs in the AURORA model
1. Only PSE's portion of capacity shown for shared resources Colstrip and Freddy 1
2. Fuel prices and Costrip variable O&M nominal values are expressed in 2021/2022 dollars. All other nominal values are in 2020 dollars.
3. Major Maintenance inputs for Fredonia 3&4 were expressed on a $/start basis in 2019 GRC. Change o $/MWh more closely aligns with how costs are actually incurred for these units.
4. The AURORA economic base year is 2020. Values expressed in nominal dollars are de-escalated using the AURORA escalation rate of 2.5% prior to model input.
2019 GRC
Resource | Heat rate (Btu/kWh) | Capacity (MW)1 | Duct fire capacity (% of total) | Duct fire heat rate (Btu/kWh) | Variable O&M nominal $/MWh2 | Variable major maintenance nominal $/MWh2 | Total variable O&M 2012 $/MWh3 | Forced outage rate (%) | Min capacity (%) | Min up time (hrs) | Min down time (hrs) | Heat rate at min (Btu/kWh) | Start-up fuel (MMBtu/MW/start) | Start-up cost ($/MW/start) nominal $2 | Start-up cost ($/MW/start) $20123 | Average fuel price nominal $/MMBtu2 | Average variable transport nominal $/MMBtu2 | Average total fuel cost 2012 $/MMBtu3 | Colstrip line loss %
Ferndale | XXXXXX | 271 | 9.9631 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Goldendale | XXXXXX | 300 | 6.6667 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Mint Farm | XXXXXX | 314 | 10.828 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Sumas | XXXXXX | 122.7656 | n/a | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Freddy1 | XXXXXX | 133.598 | 7.0896 | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Encogen | XXXXXX | 165.789 | n/a | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Fredonia 1 | XXXXXX | 103.862 | n/a | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Fredonia 2 | XXXXXX | 103.862 | n/a | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Fredonia 3 | XXXXXX | 55.2976 | n/a | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Fredonia 4 | XXXXXX | 55.2976 | n/a | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Frederickson 1 | XXXXXX | 74.2549 | n/a | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Frederickson 2 | XXXXXX | 74.2549 | n/a | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Whitehorn 2 | XXXXXX | 74.2549 | n/a | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Whitehorn 3 | XXXXXX | 74.2549 | n/a | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | n/a
Colstrip 3 | XXXXXX | 185 | n/a | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXX
Colstrip 4 | XXXXXX | 185 | n/a | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXX
Bold text in column headings indicates values are actual inputs in the AURORA model
1. Only PSE's portion of capacity shown for shared resources Colstrip and Freddy 1
2. Fuel prices and Costrip variable O&M nominal values are expressed in 2020/2021 dollars. All other nominal values are in 2018 dollars.
3. The AURORA economic base year is 2012. Values expressed in nominal dollars are de-escalated using the AURORA escalation rate of 2.5% prior to model input.
Changes (positive values indicate an increase relative to the 2019 GRC, negative values a decrease)
Resource | Heat rate (Btu/kWh) | Capacity (MW) | Duct fire capacity (% of total) | Duct fire heat rate (Btu/kWh) | Variable O&M nominal $/MWh | Variable major maintenance nominal $/MWh | Total variable O&M 2020 $/MWh | Forced outage rate (%) | Min capacity (%) | Min up time (hrs) | Min down time (hrs) | Heat rate at min (Btu/kWh) | Start-up fuel (MMBtu/MW/start) | Start-up cost ($/MW/start) nominal $ | Start-up cost ($/MW/start) $2020 | Average fuel price nominal $/MMBtu | Average variable transport nominal $/MMBtu | Average total fuel cost 2020 $/MMBtu | Colstrip line loss %
Ferndale | XXXXX | 0 | 0 | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | -
Goldendale | XXXXX | 0 | 0 | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | -
Mint Farm | XXXXX | 0 | 0 | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | -
Sumas | XXXXX | 0.2344 | - | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | -
Freddy1 | XXXXX | 0 | 0 | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | -
Encogen | XXXXX | 0.211 | - | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | -
Fredonia 1 | XXXXX | 0.138 | - | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | -
Fredonia 2 | XXXXX | 0.138 | - | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | -
Fredonia 3 | XXXXX | -0.29762 | - | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | -
Fredonia 4 | XXXXX | -0.29762 | - | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | -
Frederickson 1 | XXXXX | -0.25495 | - | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | -
Frederickson 2 | XXXXX | -0.25495 | - | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | -
Whitehorn 2 | XXXXX | -0.25495 | - | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | -
Whitehorn 3 | XXXXX | -0.25495 | - | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | -
Colstrip 3 | XXXXX | 0 | - | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXX
Colstrip 4 | XXXXX | 0 | - | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXXXX | XXXX
Shaded information is designated as confidential per WAC 480-07-160

## p.4 Hydro & Wind inputs (R)
Puget Sound Energy
Rate Year Resource Inputs Summary |  |  |  | REDACTED VERSION
Hydro and Wind
2020 PCORC
Resource | Capacity (MW) | Capacity factor (%) | Monthly energy volume source | Hourly shape assumption | Available capacity, average (MW)1
Upper Baker | 105 | XXXXX | 80-yr inflows, PSE model4 | Optimized per AURORA logic | 75.9
Lower Baker | 111.2 | XXXXX | 80-yr inflows, PSE model | Flat3 | n/a
Snoqualmie Falls | 46.9 | XXXXX | 80-yr inflows, PSE model | Flat3 | n/a
Mid C Wells | 199.52 | 64.34% | 80-yr inflows, regional study4 | Optimized per AURORA logic | 180.1
Mid C Rocky Reach | 319.9125 | 57.15% | 80-yr inflows, regional study4 | Optimized per AURORA logic | 277
Mid C Rock Island | 155.9313 | 48.84% | 80-yr inflows, regional study4 | Optimized per AURORA logic | 110.1
Mid C Priest Rapids Project | 99.1 | 54.98% | 80-yr inflows, regional study4 | Optimized per AURORA logic | 83.8
Lower Snake River | 342.7 | XXXXX | 2016 Vaisala study | AURORA default hourly shape | n/a
Hopkins Ridge | 156.6 | XXXXX | 2016 Vaisala study | AURORA default hourly shape | n/a
Wild Horse | 228.6 | XXXXX | 2016 Vaisala study | AURORA default hourly shape | n/a
Wild Horse Expansion | 44 | XXXXX | 2016 Vaisala study | AURORA default hourly shape | n/a
1. Applicable only to hydro resources used for operating reserves
2. Rate-year average. PSE's actual share and associated capacity varies seasonally.
3. Some daily/hourly shaping is still performed by AURORA in order to smooth transitions between months/days
4. AURORA output energy volume/capacity factor will generally be lower than input when a hydro resource provides operating reserves. The optimization logic will spill hydro energy if/when it is the lower cost solution compared to adjusting thermal resource output.
2019 GRC
Resource | Capacity (MW) | Capacity factor (%) | Monthly energy volume source | Hourly shape assumption | Available capacity, average (MW)1
Upper Baker | 105 | XXXXXXX | 80-yr inflows, PSE model4 | Optimized per AURORA logic | 90.8273
Lower Baker | 111.2 | XXXXXXX | 80-yr inflows, PSE model | Flat3 | n/a
Snoqualmie Falls | 46.9 | XXXXXXX | 80-yr inflows, PSE model | Flat3 | n/a
Mid C Wells | 141.62 | 63.64% | 80-yr inflows, regional study4 | Optimized per AURORA logic | 135.1325
Mid C Rocky Reach | 319.9125 | 57.15% | 80-yr inflows, regional study4 | Optimized per AURORA logic | 276.875
Mid C Rock Island | 155.9313 | 48.84% | 80-yr inflows, regional study4 | Optimized per AURORA logic | 129.2604
Mid C Priest Rapids Project | 12.759 | 55% | 80-yr inflows, regional study4 | Optimized per AURORA logic | 12.217
Lower Snake River | 342.7 | XXXXXXX | 2016 Vaisala study | AURORA default hourly shape | n/a
Hopkins Ridge | 156.6 | XXXXXXX | 2016 Vaisala study | AURORA default hourly shape | n/a
Wild Horse | 228.6 | XXXXXXX | 2016 Vaisala study | AURORA default hourly shape | n/a
Wild Horse Expansion | 44 | XXXXXXX | 2016 Vaisala study | AURORA default hourly shape | n/a
1. Applicable only to hydro resources used for operating reserves
2. Rate-year average. PSE's actual share and associated capacity varies seasonally.
3. Some daily/hourly shaping is still performed by AURORA in order to smooth transitions between months/days
4. AURORA output energy volume/capacity factor will generally be lower than input when a hydro resource provides operating reserves. The optimization logic will spill hydro energy if/when it is the lower cost solution compared to adjusting thermal resource output.
Changes (positive values indicate an increase relative to the 2019 GRC, negative values a decrease)
Resource | Capacity (MW) | Capacity factor (%) | Monthly energy volume source | Hourly shape assumption | Available capacity, average (MW)
Upper Baker | 0 | XXXXXX | No change | No change | -14.9273
Lower Baker | 0 | XXXXXX | No change | Updated to reflect operational constraints | n/a
Snoqualmie Falls | 0 | XXXXXX | No change | No change | n/a
Mid C Wells | 57.9 | 0.692% | No change | No change | 44.9675
Mid C Rocky Reach | 0 | 0% | No change | No change | 0.125
Mid C Rock Island | 0 | 0% | No change | No change | -19.1604
Mid C Priest Rapids Project | 86.341 | -0.01743% | No change | No change | 71.583
Lower Snake River | 0 | XXXXXX | Updated to more recent estimates | Updated to include full range of output | n/a
Hopkins Ridge | 0 | XXXXXX | Updated to more recent estimates | Updated to include full range of output | n/a
Wild Horse | 0 | XXXXXX | Updated to more recent estimates | Updated to include full range of output | n/a
Wild Horse Expansion | 0 | XXXXXX | Updated to more recent estimates | Updated to include full range of output | n/a
Shaded information is designated as confidential per WAC 480-07-160

## p.5 Contract inputs (R)
Puget Sound Energy
Rate Year Resource Inputs Summary |  |  |  |  | REDACTED VERSION
Power Purchase Agreements
2020 PCORC
Contract name | Resource type | Contract price, average ($/MWh) | Contract capacity (MW) | Rate year energy (aMW) | Monthly shape/volume assumption | Hourly shape assumption
Centralia coal PPA | coal | XXXXXXX | 380 | XXXXXXX | XXXXXXXXXXXXXXXXXXXXXXXXXXXX | XXXXXXXXXXXXXXXXXXXXXXXXXXX
Klondike III wind PPA | wind | XXXXXXX | 50 | XXXXXXX | Owner-provided forecast | 12 month X 24 hour average
Electron Hydro PPA | hydro | XXXXXXX | 23.8 | XXXXXXX | Owner-provided forecast | Flat
Baker Replacement | system | 0 | 7 | 0.79909 | 1,750 MWh/mo. Nov.-Feb. per contract | All on-peak
PG&E Exchange | system | 0 | +/-300 | 0 | Historical average | Historical average on-peak/off-peak allocation
Point Roberts (BC Hydro) | system | 53.4 | 3.4166 | 2.3577 | Historical average | Flat
QF Koma Kulshan | hydro | 84.4694 | 11.9 | 4.6991 | Historical average | Flat
QF Twin Falls | hydro | 75 | 20 | 8.2182 | Historical average | Flat
QF Weeks Falls | hydro | 75 | 4.6 | 1.5114 | Historical average | Flat
Canadian Entitlement | hydro/system | 0 | -27.2 | -22.4037 | Calculated estimate per agreement | All on-peak
Schedule 91 contracts | various | 77.881 | 41.105 | 17.6341 | Owner/developer-provided estimates | Flat
Golden Hills Bridge | wind | 42.7 | 150 | 13.6986 | 150 MW Jan-Feb | All on-peak
Energy Keepers | hydro | 47.5 | 40 | 40 | Flat | Flat
SPI Biomass1 | biomass | 42.9333 | 17 | 14.9521 | Flat @ 92.5% historical availability | Flat
Morgan Stanley PPA | system | 47.45 | 100 | 13.5866 | 100 MW Jan-Mar | All on-peak
BPA Capacity Contract2 | system | n/a | 100 | 0 | $7.75/kW-month charge Jan-May | No energy assumed, priced at market + premium
1. Capacity reduced to 12 MW in May and June for outages.
2. No energy assumed in model for BPA capacity contract - priced at market price + premium. Only monthly capacity charge included in costs.
2019 GRC
Contract name | Resource type | Contract price, average ($/MWh) | Contract capacity (MW) | Rate year energy (aMW) | Monthly shape/volume assumption | Hourly shape assumption
Centralia coal PPA | coal | XXXXXXX | 380 | XXXXXXX | XXXXXXXXXXXXXXXXXXXXXXXXXXXX | XXXXXXXXXXXXXXXXXXXXXXXXXXX
Klondike III wind PPA | wind | XXXXXXX | 50 | XXXXXXX | Owner-provided forecast | 12 month X 24 hour average
Electron Hydro PPA | hydro | XXXXXXX | 21.3 | XXXXXXX | Owner-provided forecast | Flat
Baker Replacement | system | 0 | 7 | 0.7989 | 1,750 MWh/mo. Nov.-Feb. per contract | All on-peak
PG&E Exchange | system | 0 | +/-300 | 0 | Historical average | Historical average on-peak/off-peak allocation
Point Roberts (BC Hydro) | system | 80 | 3.416 | 2.3659 | Historical average | Flat
QF Koma Kulshan | hydro | 82.53 | 11.9 | 4.5669 | Historical average | Flat
QF Twin Falls | hydro | 75 | 20 | 8.2182 | Historical average | Flat
QF Weeks Falls | hydro | 75 | 4.6 | 1.5118 | Historical average | Flat
Canadian Entitlement | hydro/system | 0 | -27.2 | -15.5508 | Calculated estimate per agreement | All on-peak
Schedule 91 contracts | various | 78.2 | 52.62 | 24.1207 | Owner/developer-provided estimates | Flat
Changes (positive values indicate an increase relative to the 2019 GRC, negative values a decrease)
Contract name | Resource type | Contract price, average ($/MWh) | Contract capacity (MW) | Rate year energy (aMW) | Monthly shape/volume assumption | Hourly shape assumption
Centralia coal PPA | coal | XXXXXXX | 0 | XXXXXXX | XXXXXXXXXXXXXXXXXXXXXXXXXXXX | XXXXXXXXXXXXXXXXXXXXXXXXXXX
Klondike III wind PPA | wind | XXXXXXX | 0 | XXXXXXX | Updated to more recent estimate | No change
Electron Hydro PPA | hydro | XXXXXXX | 2.5 | XXXXXXX | No change | No change
Baker Replacement | system | 0 | 0 | 0.00018832 | No change | No change
PG&E Exchange | system | 0 | 0 | 0 | No change | No change
Point Roberts (BC Hydro) | system | -26.6 | 0.00062958 | -0.0081984 | No change | No change
QF Koma Kulshan | hydro | 1.9394 | 0 | 0.13219 | No change | No change
QF Twin Falls | hydro | 0 | 0 | -1.7164e-05 | No change | No change
QF Weeks Falls | hydro | 0 | 0 | -0.00038682 | No change | No change
Canadian Entitlement | hydro/system | 0 | 0 | -6.8529 | No change | No change
Schedule 91 contracts | various | -0.31903 | -11.515 | -6.4866 | No change | No change
Golden Hills Bridge | wind | 42.7 | 150 | 13.6986 | 150 MW Jan-Feb | All on-peak
Energy Keepers | hydro | 47.5 | 40 | 40 | Flat | Flat
SPI Biomass | biomass | 42.9333 | 17 | 14.9521 | Flat @ 92.5% historical availability | Flat
Morgan Stanley PPA | system | 47.45 | 100 | 13.5866 | 100 MW Jan-Mar | All on-peak
BPA Capacity Contract | system | n/a | 100 | 0 | $7.75/kW-month charge Jan-May | No energy assumed, priced at market + premium
Shaded information is designated as confidential per WAC 480-07-160