APPENDIX A

The UTC Staff has alleged violations of gas safety laws and rules, and labeled these Items 1-33.  Staff also identified Areas of Concern (AOCs) 1-12.  The details on these Items and AOCs can be found in Staff’s Status Report filed in this docket on ****.

- Corrective Actions GP Has Completed; UTC Staff Has Confirmed

As of the date of this Settlement Agreement, Staff has confirmed GP has successfully completed corrective action on the following Items:  2, 3.1 , 3.2, 3.3, 3.5, 4.1, 7.6, 7.8, 7.12, 8.1 - 8.4, 8.8 - 8.9, 12, 14, and 26.

- Corrective Actions GP Has Completed; Subject To UTC Confirmation

GP asserts it has additionally completed Items 1, 3.4, 3.6, 3.8-3.11, 4.2, 6, 7.1, 7.2-7.5, 7.7, 7.9-7.11, 7.13-7.15, 8.5, 8.6, 8.10, 10, 11, 13, 16-22, 24-25, 27.4, 27.5, 28-33, AOC 1-7, and AOC 9-12.  UTC Staff will confirm these actions are complete, but has not done so as of the filing date of the Agreement.

- Actions GP Will Complete By August 31, 2012

A.	O&M Manual

GP will update/revise its O&M Manual and conduct required training, if any, as described in the following Items: 3.7, 5, 8.7, 8.11-8.13, 9, 15 and AOC 8.

B.	Public Awareness Plan

GP will update its Public Awareness Plan as described in the following Items: 7.16 and 23.

C.	Pipeline Maintenance Construction Checklist

GP will implement a Pipeline Maintenance Construction Checklist as described in these Items:  3.1, 3.2, 16, 17, 24, 25, 28, 30, 31.2, and 33.

D.	Miscellaneous

GP will perform the tasks as described in the following Items including any required training:  3.1 (only as to need to arrange UTC Staff review of Non Destructive Test documents);  7.1 (re-qualify all leak responders), and 27.5 (file Management of Change documentation for installing remote shut-off valves).

# Footnotes

If there are differences between this summary and the Status Report, the Status report controls.

Except as noted in Para. III.D.

Certain of the Items in Para. II also require GP to implement a Construction Checklist.  These Items are listed in Para. III. C as well.  As Para. III indicates, GP will implement the checklist by August 31, 2012.

Except as noted in Para. III.D.

Id.