## Sheet1 (hidden)
Residential | Yakima
Commercial | Walla Walla
Industrial
Irrigation
Other

## Requested and Completed Removal
[10 empty] | Estimated Removal Costs Provided To Customer | [8 empty] | Actual Removal Costs
Cust Ref | Date of Request | District | Customer Name - Site ID # | Request OR Work Order # | Customer Type | Annual kWH Energy Usage | Annual Revenue | Reason for Removal | Date Estimate Provided | Customer's I&R Costs | Customer's Net Book Value | Customer's Salvage Credit | Credit from Original Line Extension | Stranded Cost Recovery Fee | Customer's Total Removal Costs | Description of Work Required for Removal | Date Customer Paid | Date Removal Completed | Customer's I&R Costs | Outstanding Invoice | Customer's Net Book Value | Customer's Salvage Credit | Credit from Original Line Extension | Final Customer Removal Costs | Customer Advance Payment | Invoice or Refund Amount | Date of Final Invoice / Refund | Final Company Removal Costs | Explanation of Company Removal Costs | Comments
A | 2013-02-14 | Walla Walla | Leland Helberg 837995611-001 (WA Side of job) | 5750943 | Irrigation | 138624 | 4548 | Going to another service provider | 2013-05-14 | 1949 | 3247 | -19 | 0 |  | 5177 | Remove 115' 1/0 quad secondary, 30' secondary pole, down guy and anchor, 30' 1/0 quad service. | 2013-05-24 | 2013-07-03 | 1675 | 0 | 3247 | -19 | 0 | 4903 | -5177 | -274 | 2013-11-13 | 4525 | Facilities serving customer in road right-of-way crossing into Oregon. Included Work: Remove Transformer Facilities and 60' 1/0 Quad Secondary. | Did not charge customer for removal of facilities on Road R/W crossing into Oregon.
B | 2013-03-08 | Walla Walla | Joel Huesby 837995611-001 (Wa Portion) | 5757856 | Irrigation | 24922 | 3057 | Going to another service provider | 2013-06-24 | 5412 | 14158 | -1018 | 0 |  | 18552 | Remove 430' (3) #6 BC primary, 430' #4 ACSR primary neutral, 2-45' poles, 3-25kVA 277/480V transformers, 15' 1/0 quad service, 2-down guys and anchors. | 2013-07-22 | 2013-07-27 | 3019 | 0 | 19406 | -1018 | 0 | 21407 | -18552 | 2855 | 2013-11-12 | 1151 | Facilities serving customer in road right-of-way crossing into Oregon. Included Work: Remove 3 Phase Buck X-Arm, 60' (3) #6 CU Primary, 60' #4 ACSR Primary Neutral. | Did not charge customer for removal of facilities on Road R/W crossing into Oregon.
C | 2013-01-03 | Walla Walla | Broughton Land Company 048985622-001 | 5738382 | Commercial | 5034 | 672 | Going to another service provider | 2013-03-11 | 7750 | 2109 | -607 | 0 |  | 9252 | Remove 5-15kVA pole mount transformers, 85' #2 quad secondary, 55' #2 quad service, meter, 30' secondary pole, 2-40' poles, 625' (X3) #6 CU primary, 525' (1) #2 AAAC primary neutral, down guy and anchor. Install down guy and three phase deadend framing. | 2013-03-20 | 2013-05-06 | 7757 | 0 | 2109 | -607 | 0 | 9259 | -9252 | 0 | NA | 7 |  | Actual job costs exceeded estimate by $7 but Company did not invoice customer the difference.
D | 2012-10-04 | Walla Walla | Walla Walla City 590638214-001 | 5710308 | Commercial | 2076504 | 128964 | Going to another service provider | 2013-01-03 | 21677 | 23096 | -7254 | 0 |  | 37519 | Remove 5" primary riser, 380' #2 AL primary underground cable, 750kVA pad mount transformer, transformer vault, 5-45' poles, 2-40' poles, 720' (3) 4/0AL primary, 720' 1/0AS neutral, 690' (3) #6CU primary, 690' #4AS neutral, 3-100kVA transformers, 3-75kVA transformer, 3-50kVA transformers. | 2013-01-10 | 2013-02-06 | 20097 | 0 | 23096 | -7254 | 0 | 35939 | -37519 | -1580 | 2013-11-08 | 0
| 2012-10-04 | Walla Walla | Walla Walla City 087753073-001 | 5713221 | Commercial | 14256 | 1514 | Going to another service provider
| 2012-10-04 | Walla Walla | Walla Walla City 450982567-001 | 5713217 | Commercial | 320382 | 27174 | Going to another service provider
| 2012-10-04 | Walla Walla | Walla Walla City 450782767-001 | 5713220 | Commercial | 91680 | 837 | Going to another service provider
| 2012-10-04 | Walla Walla | Walla Walla City 451581967-001 | 57132212 | Commercial | 389724 | 33372 | Going to another service provider
E | 2012-05-18 | Walla Walla | Kenny Farms Inc. 232401589-001 | 5665870 | Irrigation | 8232 | 564 | Going to another service provider | 2012-12-11 | 10171 | 22748 | -3625 | 0 |  | 29294 | Remove 10kVA transformer assembly, 295' (2 Spans) secondary service, 35' secondary pole, 60'/55'/45' three phase primary pole, 740' (3 Spans) of three phase #6CU primary wire, 3 down guys and anchors, 25kVA transformer assembly, 3-25kVA transformer bank, three phase buck arms, 42'/90'/ #2TX service, 90' #2QX service and 4 meters. Contract Flaggers | 2013-02-21 | 2013-03-08 | 6775 | 0 | 22748 | -745 | 0 | 28778 | -29294 | -516 | 2013-06-11 | 1273 | Facilities serving customer in county road right-of-way.
F | 2013-06-20 | Walla Walla | College Place School 91542811-001 | 5793820 | Irrigation | 500 | 180 | Going to another service provider | 2013-06-25 | 5333 | 510 | -121 | 0 |  | 5722 | Remove 4-35' poles 450' QDX service, install 1 deep set 45' secondary pole, 150W HPS streetlight and 11' #2 TPX service wire, service attachment bracket at house and CL200 meter | 2013-06-25 | 2013-10-11 | 5722 | 2655 | 0 | 0 | 0 | 8377 | -5722 | 2655 | 2013-12-19 | 2792 | Improper coordination between tree trimming and line crew. Adjusted crew time off job. | $925 Net Book Value was not billed to customer in error. The Net Book Value is included in the Final Company Removal Costs.
G | 2013-02-27 | Walla Walla | Hamir Takhar | 5754632 | Commercial | 231912 | 18755 | Going to another service provider | 2013-03-08 | Not Available |  |  |  |  | 3244 | Remove 130' 4/0 tplx service and CT metering | [13 empty] | Cancelled. No response from Customer.
H | 2013-05-06 | Walla Walla | Columbia REA | 5777704 | Commercial | 94668 | 7800 | Going to another service provider | 10/30/2012 2nd Estimate | 13225 | 1201 | 0 | 0 |  | 14426 | Remove span of #2AAAC primary and neutral, 180' secondary, 2 guys and anchors, 45'pole, 4" riser, 180' 350 tpx underground service, 150' conduit and CT metering, transfer transformer. | 2013-11-20 | 2014-01-14 | 16984 | 2558 | 1201 | -536 | 0 | 16984 | 14426 | 2558 | 2014-02-14 | 950 | Portion of the facilities removed were in the public easement.
I | 2013-05-04 | Walla Walla | Robert Greene 992240767-001 | 5766767 | Residential | 30750 | 2640 | Going to another service provider | 2013-06-11 | 18280 | 4362 | -141 | 0 |  | 22501 | Remove 245' of #2 underground primary, riser, underground transformer, 210' service, 2 meters and conduits. | [13 empty] | Cancelled. No response from Customer.
| 2013-05-04 | Walla Walla | Robert Greene 991441567-001 | 5766766 | Commercial | 5892 | 708 | Going to another service provider
J | 2012-11-06 | Walla Walla | Kaylee Investments LLC 667965589 001 | 5721673 | Commercial | 330276 | 25436 | Going to another service provider | 2013-05-03 | 30414 | 1949 | -993 | 0 |  | 31370 | Remove 260' #2 three phase primary, 225kVA transformer, 70' multiple runs of service , CT metering and transformer pad. | [13 empty] | Cancelled. No response from Customer.
K | 2013-07-22 | Walla Walla | Sean Mountain 194839189-001 | 5804651 | Residential | 25788 | 1680 | Going to another service provider | 2013-07-22 | Flat Fee Charged - No Estimate Created |  |  |  |  | 400 | Remove 210' 350 TPX service and meter | 2013-07-23 | [11 empty] | Residential UG Service Removal Charge Collected - $400. Request is still open, since we have not removed facilities. | Customer began receiving service from other utility prior to Company disconnecting service. Company has de-energized its facilities and is locating an excavation contractor to remove underground facilities.
L | 2012-07-20 | Walla Walla | Port of Walla Walla 809034648 001 | 5685553 | Commercial | 325104 | 26400 | Going to another service provider | 2013-06-07 | 28941 | 11700 | -591 | 0 |  | 40050 | Install 10kVA transformer, remove 3-333kVA, 1-20kVA, 3-50kVA and 5-25kVA transformers, 4" primary riser, 2-4" service risers and 2-3" service risers, 80' three phase primary underground cable, 140' 350 QX underground service, 40' 4/0QX underground service, 150' 4/0Ts underground service, 3-35' service poles, 30' 1/oQX overhead service, 295' #2 TX overhead service, 50' 1/0TX overhead service, #2TX overhead services, 2-CT metering installations and 1-three phase Cl 200 meter and 2-single phase Cl 200 meters. | [13 empty] | Cancelled. No response from Customer.
| 2013-02-19 | Walla Walla | Port of Walla Walla 822611011 001 | 5752101 | Commercial | 120960 | 9864 | Going to another service provider
| 2013-02-19 | Walla Walla | Port of Walla Walla 822611011 002 | 5752102 | Commercial | 19788 | 2184 | Going to another service provider
| 2013-02-19 | Walla Walla | Port of Walla Walla 822611011 003 | 5752104 | Commercial | 0 | 180 | Going to another service provider
M | 2012-10-30 | Walla Walla | Walla Walla Country Club 694139389 001 | 5647296 & 5719384 | Irrigation | 174843 | 17426 | Going to another service provider | 2013-01-25 | 86091 | 19877 | -1792 | 0 |  | 104176 | Remove 1,420' three phase underground primary, 5 risers, 75kVA, 225 kVA, 300kVA transformers, service wire in 6 locations, 3 CT metering installations, 3 self contained meters, 3 vaults and approximately 1,995' of conduit. | [13 empty] | Pending outcome of formal commission complaint
| 2012-10-30 | Walla Walla | Walla Walla Country Club 393566909 001 | 5740221 | Commercial | 3228 | 469 | Going to another service provider
| 2012-10-30 | Walla Walla | Walla Walla Country Club 694339189 001 | 5719388 | Commercial | 22716 | 2202 | Going to another service provider
| 2012-10-30 | Walla Walla | Walla Walla Country Club 694538989 002 | 5719405 | Irrigation | 250 | 414 | Going to another service provider
| 2012-10-30 | Walla Walla | Walla Walla Country Club 694938589 001 | 5719389 | Irrigation | 840 | 156 | Going to another service provider
| 2012-10-30 | Walla Walla | Walla Walla Country Club 695338189 001 | 5719398 | Commercial | 584028 | 49656 | Going to another service provider
| 2012-10-30 | Walla Walla | Walla Walla Country Club 698335189 001 | 5719404 | Commercial | 2172 | 1104 | Going to another service provider
| 2012-10-30 | Walla Walla | Walla Walla Country Club 887163224 001 | 5719395 | Commercial | 39168 | 3649 | Going to another service provider
| 2012-10-30 | Walla Walla | Walla Walla Country Club 696337189 001 | 5740219 | Commercial | 1356 | 272 | Going to another service provider
N | 2013-06-20 | Walla Walla | College Place School 091542811 001 | 5793820 | Irrigation | 300 | 340 | Going to another service provider | 2013-06-25 | 5333 | 510 | -121 | 0 |  | 5722 | Remove 4- 35' poles, 450' #4 QDX, meter and service. Install 1-45' secondary pole, 150W HPS streetlight and 110' #2 TPX service wire, service attachment bracket and CL200 meter. | 2013-08-22 | 2013-10-11 | 7452 | 0 | 925 | 0 | 0 | 8377 | 5722 | 2655 | 2013-12-19 | 2792 | Portion of the facilities removed were in the public easement.
O | 2013-03-25 | Walla Walla | Ben Case | 5763160 | Irrigation | 130422 | 9198 | Remove facilities to enable developer to build subdivision powered by another service provider | 2013-06-14 | Not Available |  |  |  |  | 11814 | Remove 3-25kVA transformers, 20' #4 quad overhead service, 720' three phase primary and neutral, 2-40' poles, 2-10kVA transformers, 2 guys, 40'quad overhead service and 2 meters. | [13 empty] | Request cancelled 11/7/2013
P | 2013-05-11 | Walla Walla | Karen Hart/ Ben Case 239594389 001 | 5779965 | Residential | 23664 | 1988 | Remove facilities to enable developer to build subdivision powered by another service provider | 2013-06-14 | Not Available |  |  |  |  | 9336 | Remove 255' three phase primary and neutral, 45' pole, 40' pole, 30' pole, 25kVA transformer, 170' 1/0ts, 2 down guys and meter. | [13 empty] | Request cancelled 11/6/2013
Q | 2013-05-21 | Walla Walla | Washington State Pen. 267566167 002 | 5782943 | Industrial | 22915206 | 1465390 | Going to another service provider | [21 empty] | Request cancelled 12/19/2013
S | 2012-06-04 | Walla Walla | Key Technology Inc 861645660 001 | 5670257 | Industrial | 4198152 | 287976 | Going to another service provider | [21 empty] | Request cancelled 10/10/13
|  |  | Key Technology Inc 436197367 001 |  | Commercial | 406668 | 33600
T | 2013-10-11 | Walla Walla | Michael McKernan 340892989-001 | 5835293 | Residential | 10104 | 780 | Going to another service provider | 2013-11-19 | Not Available | [5 empty] | "Ballpark" estimate given | [13 empty] | Cancelled. No response from Customer.
| 2013-10-11 | Walla Walla | Michael McKernan 601979440-001 | 5835292 | Residential | 21018 | 1764 | Going to another service provider | 2013-11-19 | Not Available | [5 empty] | "Ballpark" estimate given
U | 2013-11-05 | Walla Walla | Prescott School Dist 854179411-002 | 5844355 | Commercial | 589428 | 62988 | Going to another service provider | 2014-01-14 | 37738 | 18012 | -2426 | 0 |  | 53324 | REMOVE TWO CONDUCTORS FROM POLE 331202 TO 331100, AND CONVERT 3 PHASE LINE TO SINGLE PHASE CONSTRUCTION, REMOVING ALL CROSS-ARMS. REMOVE 1-480/277V PADMOUNT TRANSFORMER, 150'(INCL RISER)#2 SOL AL URD PRIMARY CABLE, 5 RUNS OF 350 QUAD SERVICES (25') C.T. METERING. | [13 empty] | Cancelled. No response from Customer.
| 2013-11-05 | Walla Walla | Prescott School Dist 854179411-006 | 5844352 | Commercial | 13662 | 1332 | Going to another service provider | 2014-01-14 | 952 | 61 | -10 | 0 |  | 1003 | REMOVE 65' 1/0 TX OH SERVICE, DEMAND METER.
| 2013-11-05 | Walla Walla | Prescott School Dist 875957611-001 | 5844359 | Commercial | 33996 | 4554 | Going to another service provider | 2014-01-14 | 18680 | 513 | 0 | 0 |  | 19193 | REMOVE 1-480/277V PADMOUNT TRANSFORMER, 150'(INCL RISER) #2 SOL AL URD PRIMARY CABLE, 5 RUNS OF 350 QUAD SERVICES (25') C.T. METERING
V | 2013-02-11 | Walla Walla | Seneca Foods 432084570 001 | 5749851 | Commercial | 192 | 144 | Going to another service provider | 2013-12-10 | 1531 | 1208 | -45 | 0 |  | 2694 | REMOVE 35' POLE, 130' 1/0 TX OH SECONDARY, 150' 1/0 TX OH SERVICE & METER | [13 empty] | Cancelled. No response from Customer.
| 2013-02-11 | Walla Walla | Seneca Foods 388246033 001 | 5749841 | Commercial | 768 | 201 | Going to another service provider | 2013-12-10 | 4840 | 3605 | -1082 | 0 |  | 7363 | REMOVE 1-45', 4-40', 2-35' POLES, 1625'(3)#6 CU, 545' #2AL PRIMARY NEUTRAL, 260'(2) #4ACSR PRIMARY AND NEUTRAL, 2-25 KVA POLE MOUNT TRANSFORMERS, 130' 1/0 OH TX SECONDARY, 50'#2 TX OH SERVICE. | [13 empty] | Cancelled. No response from Customer.
| 2013-02-11 | Walla Walla | Seneca Foods 048785833 001 | 5749869 | Irrigation | 3276 | 297 | Going to another service provider | 2013-12-17 | 9756 | 3924 | -1408 | 0 |  | 12281 | REMOVE 855' #2AL PRIMARY NEUTRAL, 2565'(3) #6 CU PRIMARY, 5-40' POLES, 3-50 KVA 240-480V TRANSFORMERS, 150' 1/0 QUAD SERVICE, POLE MOUNTED CT'S. | 2014-04-17 | 2014-04-29 | 11385 | 0 | 3924 | -1408 | 0 | 13901 | 12281 | 1620 | 2014-05-21 | 0
| 2013-02-11 | Walla Walla | Seneca Foods 836807510 001 | 5749863 | Commercial | 14916 | 3090 | Going to another service provider | 2013-12-10 | 56737 | 9528 | -838 | 0 |  | 65427 | REMOVE 1-40' POLE, THREE PHASE RISER, 330' 3 phase #2 SOL URD PRIMARY CABLE, Pad Vault, 225 THREE PHASE 277/480V PADMOUNT TRANSFORMER 20'(2) 350 QUAD SERVICES, CT METERING. | [13 empty] | Cancelled. No response from Customer.
| 2013-02-11 | Walla Walla | Seneca Foods 393440833 001 | 5770373 | Industrial | 312252 | 30342 | Going to another service provider | 2013-12-10 | 5126 | 1815 | -543 | 0 |  | 6398 | REMOVE 3-40' POLES, 2-50 KVA POLE MOUNT TRANSFORMERS,870'(2) | [13 empty] | Cancelled. No response from Customer.
| 2013-02-11 | Walla Walla | Seneca Foods 393440833 001 | 5749830 | Industrial | 312252 | 30354 | Going to another service provider | 2014-04-15 | 61988 | 2423 | -4456 | 0 |  | 59956 | REMOVE 1500 KVA 12.5-480V PADMOUNT TRANSFORMER, 960' 4/0 AL 15 KV PRIMARY CABLE, 40' POLE, DOWN GUY AND ANCHOR, 210' 350 QUAD SERVICE, 1500-5 C.T.'S AND METERING, 180' 1/0 ACSR PRIMARY OVERHEAD CONDUCTOR, 60' #2 ACSR PRIMARY NEUTRAL. EXTERNAL CONTRACTOR TO REMOVE 4" CONDUIT AT $ 150.00 A FOOT $42,750 PLUS OVERHEADS (285') EXTERNAL CRANE SERVICE NEEDED TO REMOVE PADMOUNT FROM INSIDE CUSTOMER COMPLEX, FLAGGING. | [13 empty] | Cancelled. No response from Customer.
| 2013-02-11 | Walla Walla | Seneca Foods 393640633 001 | 5749811 | Commercial | 27336 | 2466 | Going to another service provider | 2014-04-15 | 5329 | 594 | -2 | 0 |  | 5921 | INSTALL DEADEND FRAMING ON POLE# 307900, DOWN GUY AND ANCHOR REMOVE 3-45' POLES, 1260'(3) 1/0 ACSR PRIMARY, 420' #2ACSR PRIMARY NEUTRAL, 37.5 KVA POLE MOUNT TRANSFORMER, 15' 1/0 QUAD SERVICE, C.T. METER AND C.T.'S | [13 empty] | Cancelled. No response from Customer.
| 2013-02-11 | Walla Walla | Seneca Foods 394040233 001 | 5749802 | Commercial | 71226 | 7110 | Going to another service provider | 2014-04-15 | 5991 | 3107 | 675 | 0 |  | 8422 | REMOVE 1440' #4ACSR PRIMARY WIRE, 1 45',1-40' POLES, 2 DOWN GUYS AND ANCHORS, 3-50 KVA 120-240V 7.2KV POLE MOUNT TRANS- FORMERS, 25' 4/0 QUAD SERVICE, C.T. METERING | [13 empty] | Cancelled. No response from Customer.
| 2013-02-11 | Walla Walla | Seneca Foods 116518033 001 | 5749789 | Irrigation | 7425 | 832 | Going to another service provider | 2014-04-15 | 7804 | 10656 | -281 | 0 |  | 18207 | INSTALL DOWN GUY AND ANCHOR, THREE PHASE DEADEND FRAMING ON POLE# 020700 REMOVE 3-40' POLES, 3-10 KVA 120/240V POLE MOUNT TRANSFORMERS, 20' QUAD SERVICE, DEMAND METER, 965' #2AAAC PRIMARY NEUTRAL, 2895' #4ACSR PRIMARY, DOWN GUY AND ANCHOR. | [13 empty] | Cancelled. No response from Customer.
| 2013-02-11 | Walla Walla | Seneca Foods 292941433 001 | 5749726 | Commercial | 10968 | 1298 | Going to another service provider | 2014-04-15 | 2498 | 97 | -14 | 0 |  | 2581 | REMOVE 10 KVA 120-240V TRANSFORMER, TRANSFORMER CUT OUT,8' SINGLE CROSSARM, 110' 1/0 QUAD SERVICE, DEMAND METER REHANG EXISTING 50 TRANSFORMER AND REFRAME LINE CUT OUT, RECONNECT 1/0 TX OVERHEAD SECONDARY CONDUCTOR FOR RESIDENTIAL CUSTOMERS TO THE SOUTH. | [13 empty] | Cancelled. No response from Customer.
| 2013-02-11 | Walla Walla | Seneca Foods 292541833 002 | 5731210 | Industrial | 63401 | 60204 | Going to another service provider | 2014-04-15 | 2156 | 233 | -50 | 0 |  | 2339 | REMOVE 3-100 KVA 277/480V POLE MOUNT TRANSFORMERS,100'(2) 4/0 QUAD SERVICES, C.T. METERING, | [13 empty] | Cancelled. No response from Customer.
| 2013-02-11 | Walla Walla | Seneca Foods 393840433 001 | 5749910 | Commercial | 1822308 | 2208 | Going to another service provider | 2014-04-15 | 962 | 485 | -16 | 0 |  | 1431 | REMOVE 100' #1/0 TX SERVICE, 200A NON-DEMAND METER | [13 empty] | Cancelled. No response from Customer.
| 2013-02-11 | Walla Walla | Seneca Foods 213890583 001 | 5749906 | Commercial | 93672 | 7416 | Going to another service provider | 2014-04-15 | 1581 | 499 | -14 | 0 |  | 2066 | REMOVE 90' 1/0 TX OH SERVICE, 200A | [13 empty] | Cancelled. No response from Customer.
| 2013-02-11 | Walla Walla | Seneca Foods 292741633 001 | 5749904 | Commercial | 19056 | 1920 | Going to another service provider | 2014-04-15 | 936 | 92 | -6 | 0 |  | 1022 | REMOVE 65' #2 TX OVERHEAD SERVICE, 200A NON-DEMAND METER | [13 empty] | Cancelled. No response from Customer.
| 2013-02-11 | Walla Walla | Seneca Foods 388046233 002 | 5749894 | Commercial | 60 | 136 | Going to another service provider | 2014-04-15 | 1018 | 101 | -151 | 0 |  | 968 | REMOVE 150' 1/0 TX OH SERVICE, 200A DEMAND METER, 10 KVA POLE MOUNT TRANSFORMER, TANGENT 40' POLE, 900'(3) #6BC PRIMARY, 300' #4ACSR PRIMARY NEUTRAL | [13 empty] | Cancelled. No response from Customer.
| 2013-02-11 | Walla Walla | Seneca Foods 388046233 001 | 5749891 | Commercial | 8676 | 1248 | Going to another service provider | 2014-04-15 | 3990 | 572 | -14 | 0 |  | 4548 | REMOVE 110' 1/0 QUAD SERVICE, DEMAND METER, 200:5, C.T.'S 900'(3) #6BC PRIMARY WIRE, 300' #4ASCR PRIMARY NEUTRAL INSTALL DOWN GUY AND ANCHOR, DEAD END PRIMARY CONSTRUCTION | [13 empty] | Cancelled. No response from Customer.
| 2013-02-11 | Walla Walla | Seneca Foods 432084570 001 | 5749851 | Commercial | 192 | 141 | Going to another service provider | 2014-04-15 | 1531 | 1208 | -45 | 0 |  | 2694 | REMOVE 35' POLE, 130' 1/0 TX OH SECONDARY, 150' 1/0 TX OH SERVICE, METER | [13 empty] | Cancelled. No response from Customer.
| 2013-02-11 | Walla Walla | Seneca Foods 393241033 001 | 5883319 | Irrigation | 0 | 165 | Going to another service provider | 2014-04-15 | 1299 | 589 | -3 | 0 |  | 1885 | REMOVE 45' POLE, 3-100 KVA 277/480V POLE MOUNT TRANSFORMERS, 20' 1/0 QUAD SERVICE, C.T.'S, C.T. METERING,60' #2ACSR,120' 1/0 ACSR PRIMARY CONDUCTOR | [13 empty] | Cancelled. No response from Customer.
| 2013-12-11 | Walla Walla | Seneca Foods 393440833 001 | 5882606 | Commercial | 320676 | 33504 | Going to another service provider | 2014-04-15 | 3241 | 1214 | -270 | 0 |  | 4285 | REMOVE 40' POLE, 10 KVA POLE MOUNT TRANSFORMER, 300'(3)#6 BC PRIMARY, 300' #2AAAC | [13 empty] | Cancelled. No response from Customer.
W | 2013-05-21 | Walla Walla | Walla Walla County Library 341292589 001 | 5783041 | Residential | 12600 | 1080 | Remove service so house can be tore down to build new library served by another service provider | 2013-05-21 | 1331 | N/A | -43 | 0 |  | 1288 | REMOVE 1 -35' WOOD POLE, 180' #6 DUPLEX, 30' POLE, M-7 AREA LIGHT, 100'#2 TX SERVICE, 60' #2 SECONDARY | 2014-03-14 | 2014-03-20 | 2185 | 0 | N/A | 0 | 0 | 2185 | 297 | 0 | n/a | 1888 | Customer was only billed $296.65 for the removal.
X | 2014-05-06 | Walla Walla | Walla Walla Pawn Shop 334898767 001 | 5903948 | Residential | 13200 | 1200 | Going to another service provider | 2014-08-25 | 2419 | 456 | -229 | 0 |  | 2646 | REMOVE 35' POLE, DOWN GUY AND ANCHOR, 25 KVA 120/240V TRANSFORMER, 75' #2 TX OH SERVICE, METER, 240'(2) #6 BC PRIMARY & PRIMARY NEUTRAL | [13 empty] | 9-28-15 As per Mike Gavin this WRD 5903948 was void/cancelled and RMS 6095906 was created for the meter and service cable removal only
| 2014-05-06 | Walla Walla | Walla Walla Pawn Shop 334499167 001 | 5903948 | Residential | 10800 | 780 | Going to another service provider
| 2014-05-06 | Walla Walla | Walla Walla Pawn Shop 334698967 001 | 5903948 | Residential | 10800 | 780 | Going to another service provider
Y | 2014-02-06 | Walla Walla | Andy's Market, LLC 917515789 003 | 5873250 | Commercial | 8136 | 1090 | Going to another service provider | 11/07/2014 | 809 | 878 | -6 | 0 |  | 1681 | REMOVE 85' #4 TX OH SERVICE, NON DEMAND METER | [13 empty] | Cancelled. No response from Customer.
| 2014-02-06 | Walla Walla | Andy's Market, LLC 917515789 004 | 5873248 | Commercial | 773136 | 56640 | Going to another service provider | 11/07/2014 | 2463 | 3945 | -1349 | 0 |  | 5059 | REMOVE 3-100 KVA POLE MOUNT TRANSFORMERS, (2) 4/0 QUAD SERVICES, 200:5 C.T. METERING | [13 empty] | Cancelled. No response from Customer.
| 2014-02-06 | Walla Walla | Andy's Market, LLC 917515789 002 | 5873244 | Commercial | 75000 | 6468 | Going to another service provider | 11/07/2014 | 2526 | 2295 | -248 | 0 |  | 4573 | REMOVE 3-50 KVA POLE MOUNT TRANSFORMERS(120/240V), 20' (3) 4/0 QUAD SERVICES, 200-5 C.T. METERING | [13 empty] | Cancelled. No response from Customer.
| 2014-02-06 | Walla Walla | Andy's Market, LLC 917515789 005 | 5873247 | Commercial | 238596 | 19008 | Going to another service provider | 11/07/2014 | 4641 | 5906 | -1338 | 0 |  | 9210 | REMOVE 75 KVA, 2-50 KVA POLE MOUNT TRANSFORMERS, 20' 500 QUAD SERVICE, AND C.T. METERING, INSTALL A 25 KVA POLE MOUNT TRANSFORMER. | [13 empty] | Cancelled. No response from Customer.
Z | 2014-04-15 | Walla Walla | Standard Enterprises Cheri Berg 201032989 001 | 5896176 | Residential | 1392 | 144 | Going to another service provider | 2014-07-01 | 4051 | 2603 | -917 | 0 |  | 5737 | REMOVE PRIMARY, SERVICE, TRANSFORMERS, SECONDARY, AND METER | [13 empty] | Cancelled. No response from Customer.
AA | 2014-04-20 | Walla Walla | Elaine Vandiver 444589189 001 | 5908668 | Residential | 30000 | 2472 | Going to another service provider | 2014-07-31 | 1124 | 131 | -28 | 0 |  | 1226 | REMOVE 170' #2 TX OH SECONDARY, 145' #2 TX OVERHEAD SERVICE, 200A NON DEMAND METER | [13 empty] | Cancelled per Customer request.
AB | 2012-10-22 | Walla Walla | College Place S D 250 091343011-001 | 5716157 | Commercial | 554124 | 50000 | Going to another service provider | 2014-06-16 | 50893 | 31778 | -3709 | 0 |  | 78000 | REPLACE 2 REJECT POLES (COMPANY RESPONSIBILITY) AND REMOVE ALL EXISTING FACILITIES SERVING DAVIS SCHOOL(CUSTOMER RESPON SIBILITY). INSTALL UNDERGROUND PRIMARY VOLTAGE FACILITIES WITHIN P.U.E. TO REPLACE EXISTING OVERHEAD FACILITIES BEING REMOVED (CUSTOMER RESPONSIBILITY). | 2014-06-16 | 2014-10-23 | 53975 | 0 | 27588 | -3709 | -78000 | 77854 | 78000 | -146 | 2014-12-19 | 3128 | Portion of costs not customer's responsibility. | Refunded $146.00
| 2012-10-22 | Walla Walla | College Place S D 250 091343011-002 |  | Commercial | 34932 | 3540 | Going to another service provider | 2014-06-16
AC | 2014-09-09 | Walla Walla | Tom Schafer 374117698 001 | 5948875 | Commercial | 26592 | 2450 | Going to another service provider | 2014-11-05 | 26543 | 1187 | -1054 | 0 |  | 26676 | REMOVE 300' #2 SOL AL URD PRIMARY CABLE, 15 KVA RANCH RUNNER 50' 4/0 ALXLP U.G. SERVICE, 200A NON DEMAND METER.REMOVE 300' 2" PVC CONDUIT, 50' 3" PVC CONDUIT | [13 empty] | Cancelled. No response from Customer.
| 2014-09-09 | Walla Walla | Tom Schafer 470642468 001 | 5948955 | Commercial | 0 | 144 | Going to another service provider | 2014-11-05 | 333 | 128 | -3 | 0 |  | 456 | REMOVE 30' #2 TX OH SERVICE, 200A DEMAND METER | [13 empty] | Cancelled. No response from Customer.
AD | 2014-09-11 | Walla Walla | WW Vintners 462970567 001 | 5949952 | Commercial | 30264 | 3204 | Going to another service provider | 2014-01-21 | 1660 | 149 | -4 | 0 |  | 1805 | REMOVE 20' 4/0 ALXLP U.G. SERVICE, 200A DEMAND METER | [13 empty] | Cancelled. No response from Customer.
| 2014-09-11 | Walla Walla | WW Vintners 462970567 | 5950110 | Commercial | 26328 | 2424 | Going to another service provider | 2014-01-21 | 21350 | 163 | -21 | 0 |  | 21492 | REMOVE 110' 4/0 ALXLP U.G. SERVICE, 200A NON-DEMAND METER | [13 empty] | Cancelled. No response from Customer.
| 2014-09-11 | Walla Walla | WW Vintners 562770767 001 | 5950111 | Residential | 13200 | 1080 | Going to another service provider | 2014-01-21 | 1613 | 149 | -4 | 0 |  | 1758 | REMOVE 20' 4/0 ALXLP U.G. SERVICE, NON DEMAND METER, 20' 3" PVC CONDUIT | [13 empty] | Cancelled. No response from Customer.
| 2014-09-11 | Walla Walla | WW Vintners 914626648 001 | 5950114 | Commercial | 30684 | 2772 | Going to another service provider | 2014-01-21 | 54009 | 10637 | -618 | 0 |  | 64028 | REMOVE 50 KVA PADMOUNT 240/120V TRANSFORMER, 175' 4/0 ALXLP U.G. SERVICE, METER, 250' #2 SOL AL URD PRIMARY CABLE | [13 empty] | Cancelled. No response from Customer.
| 2014-09-11 | Walla Walla | WW Vintners 482970070 001 | 5950117 | Commercial | 9276 | 1080 | Going to another service provider | 2014-01-21 | 5786 | 157 | -14 | 0 |  | 5929 | REMOVE 75' 4/0 ALXLP U.G. SERVICE, 200A NON-DEMAND METER | [13 empty] | Cancelled. No response from Customer.
AE | 2014-10-20 | Walla Walla | Walla Walla Motors 917730172 002 | 5961179 | Commercial | 204000 | 18000 | Going to another service provider | 2014-11-04 | 4186 | 632 | -111 | 0 |  | 6007 | Remove two 30' 4" risers, 2 runs of 150' of 350 QD UG service conductor, and CT metering. | 2014-11-11 | 2014-11-25 | 4186 | 0 | 632 | -111 | 0 | 4707 | -6007 | -1300 | 2014-12-19 | 553 | 20% of costs not customers responsibiily, due to facilities being in PUE.
AF | 2014-12-12 | Walla Walla | Columbia County Court House 059974633 001 | 5983617 | Commercial | 291252 | 24000 | Going to another service provider | 2015-01-23 | 36312 | 3022 | -1162 | 0 |  | 38172 | REMOVE 3 PHASE SLACK SPAN DEAD END POLE, 3-75KVA OVHD 120/208V TRANSFORMERS, 3-4" SERVICE RISERS, 3 RUNS OF 350-QD UNDERGROUND SERVICE, CT METERING, AND 20' OF 3 PHASE #2 PRIMARY. | 2016-10-06 | 2016-12-03 | 8554 | 0 | 3022 | -1162 | 0 | 10414 | 38172 | -27758 | 2017-05-18 | 8554 |  | Refund processed in 2017. Removal took place in 2016, but actual costs determined in 2017.
| 2014-12-12 | Walla Walla | Columbia County Shop 059974633 006 | 5983616 | Commercial | 131500 | 15120 | Going to another service provider | 2015-01-23 | 36312 | 3022 | -1181 | 0 |  | 38153 | REMOVE 3 PHASE DEAD END SLACK SPAN WITH 45' WOOD POLE, 3 PHASE 45' TANGEANT POLE, 3-50KVA OVHD 120/208V XFMRS, 2-4" SVC RISERS, 2 RUNS OF 115' OF 350-QD SVC UG, CT METERING, AND 75' 3 PHASE OVHD PRIMARY. | 2016-08-03 | 2016-09-29 | 25373 | 0 | 16759 | -729 | 0 | 27835 | 41103 | -13268 | 2017-08-02 | 11805 |  | Refund processed in 2017. Removal took place in 2016, but actual costs determined in 2017.
AG | 2015-03-12 | Walla Walla | Ben Case 239993989 001 | 6015355 | Irrigation | 1500 | 150 | Going to another service provider | 2015-04-09 | 5715 | 2675 | -151 | 0 |  | 8239 | REPLACE WOOD CROSS ARM & PIN INSULATORS WITH FIBERGLASS ARM AND DEADENDS. REMOVE SIDE GUY & INSTALL NEW D/E GUY & ANCHOR. REMOVE 590' 2#4-ACSR PRIMARY AND NEUTRAL ACSR, 2-40' WOOD POLES, D/G AND ANCHOR, 2-10KVA OVERHEAD 120/240V 3 PHASE XFMRS, 140' #4-QUAD SVC OVERHEAD, AND METER. | [13 empty] | Cancelled. No response from Customer.
AH | 2015-04-08 | Walla Walla | Culbert Construction 76854654 001 | 6025899 | Irrigation | 4284 | 280.2 | Abandoned pump in developer's way |  | 1299 |  |  |  |  | NA | Remove UG service from 0736/321381 up to and including meter | [11 empty] | NA |  | Estimate for removal was not provided. Customer was not charged for removal.
AI | 2015-02-17 | Walla Walla | Dayton Historical Society Inc 44358651 001 | 6006544 | Commercial | 23748 | 2500 | Going to another service provider | 2015-04-03 | 128 | 32 | -5 | 0 |  | 155 | Remove 60' #2 TX OH service and meter | 2015-04-21 | 2015-04-24 | 392.83 | ? | 32 | -5 | 155 | 420 | 155 | 265 | 2015-05-06 | 1516.64
AJ | 2015-04-29 | Walla Walla | Borleske Stadium 43319991 001 | 6034318 | Commercial |  |  | Going to another service provider | 2015-06-11 | 4120 | 79 | -6 | 0 |  | 4193 | Remove 20' 4/0 Quad Service & 200A Demand Meter | [13 empty] | Cancelled. No response from Customer.
| 2015-04-29 | Walla Walla | Borleske Stadium 43319991 002 | 6034320 | Commercial |  |  | Going to another service provider | 2015-06-11 | 4091 | 79 | -131 | 0 |  | 4039 | Remove 20' 4/0ALXP service, 200A demand meter | [13 empty] | Cancelled. No response from Customer.
| 2015-04-29 | Walla Walla | Borleske Stadium 43319991 003 | 6034323 | Commercial |  |  | Going to another service provider | 2015-06-11 | 25331 | 3001 | -740 | 0 |  | 27592 | Remove 150kva padmount transformer (480/277v), 4/0 Quad (2) services, demand meters, install 3 phase sectionalizing cabinet. | [13 empty] | Cancelled. No response from Customer.
AK | 2015-06-05 | Walla Walla | Generations LLC 531650554 001 | 6048243 | Commercial |  |  | Going to another service provider | [21 empty] | Cancelled. No response from Customer.
AL | 2015-05-29 | Walla Walla | James Robert Jess | 6045396 | Commercial |  |  | Went to another service provider to pump in the past. Customer building building under line. | 2015-08-25 | 3906 | 4168 | -477 | 0 |  | 7597 | Remove 575' (3) #6 BC primary and neutral conductor, 45' pole, 2-10KVA pole mount 120/240v transformers, 75' #2 quad service, 2- downguys and anchors. | [13 empty] | Cancelled. No response from Customer. However, due to safety concerns, the Company deenergized line over barn. | Why are we not removing the facilities and billing the customer? If the estimate been provided to James Jess you can proceed with removal and then invoice actual costs. | We will procede with removal after Regulation and Legal approva.
AM | 2015-07-22 | Walla Walla | Mary Kirk | 6067994 | Commercial |  |  | Going to another service provider | 2015-08-21 | 1438 | 2193 | -395 | 0 |  | 3237 | Remove secondary, 35' pole service, CT's and meter. | [13 empty] | Cancelled per Customer request.
AN | 2015-08-18 | Walla Walla | Kathy Carpenter | 6076961 | Residential | 32244 | 2987 | Going to another service provider | 2015-10-29 | 2963 | 2053 | -347 | 0 |  | 4670 | Remove 45', 1 phase D/E pole, down guy, 25kva ovhd 1 phase transformer, 30'1/0-TX ovhd service, meter, dbl arm with D/E's and 270' #4 ACSR primary and neutral. | 2015-12-14 | [12 empty] | Waiting on ground conditions to improve to complete removal of facilities.
AO | 2015-03-23 | Walla Walla | Phi Tau Farms 306727189 001 | 6019711 | Commercial |  |  | Going to another service provider | 2015-11-24 | 2687 | 390 | -361 | 0 |  | 2687 | Rmv 415' (3) #6CW V Phase Pri & neut, 40' pole, 2-10 KVA 120/240V OH Transformers, 2 Dwn-guys & Anchors | [13 empty] | Cancelled. No response from Customer. | If the estimate been provided to Phi Tau Farms, you can proceed with removal and then invoice actual costs. | We will procede with removal after Regulation and Legal approva.
AP | 2015-12-17 | Walla Walla | Kali Products LLC 874131194 | 6128623 | Commercial |  |  | Temporary Service Disconnct | 2015-12-31 | 4570 | 4275 | -84 | 0 |  | 23761 | Remove 25KVA pad mt transformer, 180' 350 tx, secondary ped, 2 services, 2 meters, conduit and transf vault | [13 empty] | Waiting on Customer to proceed.
AQ | 2015-01-06 | Yakima | DOUG OLIVA | 5990035 | Irrigation | 24931 | 2147 | Wants to be served by Yakama Power | 2015-03-06 | 628 | 247 | 0 | 0 |  | 875 | REMOVE 46' OF #4-QX OH SERVICE AND DEMAND METER | [13 empty] | Cancelled. No response from Customer.
| 2015-01-06 | Yakima | DOUG OLIVA | 5990038 | Irrigation | 52910 | 4153 | Wants to be served by Yakama Power | 2015-03-06 | 1215 | 2684 | 0 | 0 |  | 3899 | REMOVE 165' OF 1/0 QX OH SECONDARY, 2 SECONDARY POLES, 111' OF 1/0 QX OH SERVICE AND DEMAND METER | [13 empty] | Cancelled. No response from Customer.
| 2015-01-06 | Yakima | DOUG OLIVA | 5990039 | Irrigation | 6174 | 592 | Wants to be served by Yakama Power | 2015-03-06 | 969 | 538 | 0 | 0 |  | 1507 | REMOVE 90' OF #4-QX OH SECONDARY, REMOVE 35' SECONDARY POLE REMOVE 84' OF #2-QX OH SERVICE AND METER 66622637 | [13 empty] | Cancelled. No response from Customer.
AR | 2015-09-09 | Yakima | YAKAMA FOREST PRODUCTS | 6087791 | Commercial | 8133 | 1000 | Wants to be served by Yakama Power | 2015-10-19 | 1338 | 2636 | 0 | 0 |  | 3974 | REMOVE 74' OF #2-TX OVERHEAD SECONDARY, REMOVE 35' SECONDARY POLE, REMOVE 149' OF #2-TX OH SVC AND 15' OF #2-TX OPH SERVICE AND METERS 66604213 AND 66604262 | [13 empty] | Cancelled. No response from Customer.
AS | 2015-10-13 | Yakima | VAUGHN LOVELL | 6102695 | Residential | 30472 | 3586 | Wants to be served by Yakama Power | 2015-02-05 | 6513 | 672.79 | 0 | 0 |  | 7186 | REMOVE 5 POLES, 1368' OF 3#4-AS,N#4-AS, 2 10KVA 120/240V OH XFRMR BANK. SERVICES AND METERS HAVE ALREADY BEEN REMOVED | [13 empty] | Company performed temporary disconnect on 10/23/15. After disconnect, Company confirmed Customer switched utility providers. Customer will be invoiced for the actual removal costs.
AT | 2016-11-14 | Walla Walla | Zappas 401632411 | 6276729 | Residential | 21252 | 1943 | Customer is being served by CREA on a separate pump on same property. Cost for customer to convert to all CREA service provider is less than to convert to PP as sole provider. | 2017-02-03 | 2291 | 1029 | -253 | 0 |  | 3066 | REMOVE 380' #6-CU PRIMARY AND NEUTRAL WIRE, 2-40' 1-PH VERT POLES, 2 DOWNGUY/ANCHORS, 25KVA OH XFMR, 170' 1/0-TX OH SEC. AND SERVICE, 35' SEC. POLE AND CL320 METER | 2017-02-14 | 2017-02-28 | 2291 | 0 | 1029 | 253 | 0 | 4248 | 3066 | 1182 |  | 4248 |  | Invoice needed for $1182 removal costs exceeded estimate.
AU | 2016-03-15 | Walla Walla | Andy's 99721898 | 6160960 | Commercial | 230800 | 19641 | Customer wishes to be served by CREA | 2016-05-26 | 4482 | 5907 | 1282 | 0 |  | 9107 | REMOVE 75 KVA, 2-50 KVA POLE MOUNT TRANSFORMER, 20' 500 QUAD SERVICE, C.T. METERING INSTALL 25 KVA POLE MOUNT TRANSFORMER | 2016-07-19 | 2017-03-16 | 4482 | 0 | 5907 | 1282 | 0 | 8167 | 9107 | -940 | Pending | 3927 |  | Refund request of $5180 for actuals exceeding estimate.
AV | 2016-03-15 | Walla Walla | Andy's 99721898 | 6160964 | Commercial | 63480 | 5830 | Customer tranfering to CREA. | 2016-05-26 | 2461 | 2295 | 230 | 0 |  | 4526 | REMOVE 3-50 KVA POLE MOUNT TRANSFORMERS(120/240V), 20' (3) 4/0 QUAD SERVICES, 200-5 C.T. METERING | 2016-07-19 | 2017-03-16 | 2461 | 0 | 2295 | 230 | 0 | 4127 | 4526 | -399 | Pending | 2556 |  | Refund request of $1970 for actuals exceeding estimate.
AX | 2016-03-15 | Walla Walla | Andy's 99721898 | 6160966 | Commercial | 783360 | 62247 | Customer tranfering to CREA. | 2016-05-26 | 2400 | 3945 | 1312 | 0 |  | 5032 | REMOVE 3-100 KVA POLE MOUNT TRANSFORMERS, (2) 4/0 QUAD SERVICES, 200:5 C.T. METERING | 2016-07-19 | 2017-03-16 | 2400 | 0 | 3945 | 1312 | 0 | 4393 | 5032 | -639 | Pending | 2195 |  | Refund request of $2837 for actuals exceeding estimate.
AY | 2016-04-19 | Walla Walla | Andy's 99721898 | 6176342 | Commercial | 42600 | 4408 | Customer tranfering to CREA. | 2016-05-26 | 472 | 128 | 0 | 0 |  | 600 | REMOVE 150' 1/O-QD OH SEC, 35' 1/O-QD OH SVC AND CT'S | 2016-07-19 | 2017-04-05 | 482 | 0 | 128 | 0 | 0 | 750 | 600 | 150 | Pending | 1336 |  | Invoice needed for $736 removal costs exceeded estimate.
AZ | 2016-10-18 | Walla Walla | Charles S Konen 43640451 009 | 6263222 | Residential | 28587 | 2806 | Customer tranfering to CREA. | 2016-12-01 | 704 | 376 | -17 | 0 |  | 1063 | Remove Approx 130' 1/0-TX OH Sec Wire, 35' pole approx 105' 1/0-TX OH svc wire, RF meter | 2017-04-24 | 2017-06-28 | 704 | 0 | 376 | -17 | 0 | 2066 | 1063 | -1003 | Pending | 2168 |  | Invoice needed for $1003 removal costs exceeded estimate.
BA | 2016-09-07 | Walla Walla | Karen Hart 42481251 002 | 6241544 | Residential | 32075 | 3027 | Customer tranfering to CREA. | 2016-10-24 | 1161 | 350 | -27 | 0 |  | 1576 | REMOVE 25KVA OVERHEAD TRANSFORMER, 100' 1/0-TX OVERHEAD_ | 2017-04-24 | 2017-06-20 | 1161 | 0 | 350 | -27 | 0 | 2145 | 1576 | 569 | Pending | 1822 |  | Invoice needed for $569 removal costs exceeded estimate.
BB | 2016-12-07 | Walla Walla | John J Allessio 01675048 001 | 6287130 | Commercial | 17496 | 1715 | Customer tranfering to CREA. | 2017-02-13 | [6 empty] | Rmv 115' #2-TX OH Sec, 75' #2-TX Svc, 30' Sec Pole & CL200 Mtr | [9 empty] | n/a |  |  |  | No further contact from customer.
BC | 2017-03-17 | Walla Walla | Amber Lopez 594838789 001 | 6330869 | Residential | 10932 | 866 | Existing structure demo | 2017-05-15 | [5 empty] | 200 | Remove 55' #2-TX OH Secondary, 75' #2-TX OH Service and CL200 Res Meter. Abandoning 35' Secondary pole to JU | 2017-06-08 | 2017-08-02 | [6 empty] | 200 | n/a |  |  |  | Residential flat rate charged.
BD | 2017-09-17 | Walla Walla | Mary Kirk 77977350 001 | 6411345 | General | 4160 | 673 | Existing structure demo see RMS 6263336 and going to CREA see GEW 6267572 | 2017-11-20 | 780 | 896 | -4 | 0 |  | 1672 | Remove 45' 4/0-QX OH Sec and 35' Sec Pole | [9 empty] | n/a |  |  |  | No further contact from customer.
BE | 2017-11-29 | Walla Walla | Michele M Reyes 92197103 002 | 6453851 | Residential | 2185 | 252 | CREA removal | 2017-11-30 | [5 empty] | 200 | Rmv 65' 2-TX OH service and CL200 res meter | 2017-12-04 | 2017-12-04 | [6 empty] | 200 | n/a |  |  |  | Residential flat rate charged.
BF | 2018-01-15 | Walla Walla | David Beamer 538329999-001 | 6472336 | Resd Use - Gen Svc | 105 | 150 | Dismantled | 2018-01-17 | [6 empty] | OH Svc & Mtr | 2018-02-06 | 2018-02-05 | [6 empty] | 200 | n/a | n/a | 224.66 |  | Flat rate charge for removal of resd svc - $200 - no need for actual true up
BG | 2018-01-15 | Walla Walla | Davis Beamer 850182745-001 | 6472333 | Residential | 10694 | 1065 | Demolished | 2018-01-17 | [6 empty] | OH Svc & Meter | 2018-02-06 | 2018-02-05 | [6 empty] | 200 | n/a | n/a | 411.63 |  | Flat rate charge for removal of resd svc - $200 - no need for actual true up
BH | 2018-01-31 | Walla Walla | Ken Harrison - Abeja - house/office 457975567-001 | 6479979 | Residential | 13716 | 1235 | CREA | 2018-03-01 | 3876 | 757 | -138 | 0 |  | 4495 | REMOVE 3" SERVICE RISER, 510' 350-TX UG SVC WIRE,CL320 RF METER. | 2018-04-03 | 2018-05-22 | 4738 | n/a | 757 | -138 | n/a | 2483 | -4495 | 2012 |  | 2279 |  | Residential rate but this is used as an office
BI | 2017-05-01 | Walla Walla | Ken Harrison - Abeja - Warehouse 230879675-001 | 6351423 | Commercial | 154726 | 5532 | CREA | 2018-03-01 | 9050 | 10158 | -758 | 0 |  | 18450 | REMOVE 45' POLE, 2-4" SERVICE RISERS, 2 RUNS @ 215' EACH OF 350-QX UG SVC WIRE, OVERHEAD TRANSFORMER BANK (1-75KVA, 2-50KVA).3 PHASE DEMAND METER & CT METERING. | 2018-04-03 | 2018-05-22 | 9050 | n/a | 10158 | -758 | n/a | 1485 | -18450 | -7565 | 2018-07-24 | 3028
BJ | 2018-03-21 | Walla Walla | Ken Harrison - Abeja - 120/240v 3-ph 457775767-004 | 6501374 | Commercial | - | - | CREA | - | - | - | - | - |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | \ | Customer decided to not move forward at this time (3/22/2018)
BK | 2017-09-21 | Walla Walla | CMBELL Company 78008625 001 | 6417859 | Commercial |  |  | No reason given, but suspect given the verbiage of request (coordination) they want to go to CREA | n/a | [20 empty] | This is also on the 2017 tracker - Closed request 6/2/2018 due to no further contact from the customer
BL | 2018-02-08 | Walla Walla | City of Walla Walla - 881551567-001 | 6483940 | Commercial | 4404 | 614.5 | Demolished | 2018-02-12 | 287 | 0 |  |  |  |  | Ug Svc & Meter | [13 empty] | It was determined that the customer will rebuild in the future and leaving the padmount in place would be best option. Order closed, no bill or credit due to customer
BM | 2018-02-15 | Walla Walla | Ron Tokar 43359331 001 | 6487354 | Residential |  |  | CREA |  | / | \ | \ | \ |  | \ | \ | \ | \ | \ | \ | \ | \ | \ | \ | \ | \ | \ | \ |  | no response from customer within the contract time frame
BN | 2018-02-14 | Walla Walla | Blue Mtn Humane Society 363885534-002 | 6486741 | Commercial |  |  | CREA |  | 11199 | 2986 | -96 | 0 | 73433 | 87618 | REMOVE 50' 3#2-AL, 2 RUNS 350-QX UG SVC WIRE 100' EACH RUN, 3 PHASE RISER, 75KVA 120/208V PADMOUNT TRANSFORMER, C.T METERING, RF DEMAND METER, UNDERGROUND 3 PHASE VAULT. | [13 empty] | Customer decided to not move forward (7/22/2018)
BO | 2018-07-27 | Walla Walla | Sarah Baker 206-354-9052 | 6559352 | Residential |  |  | CREA | [21 empty] | Speculative, not property owner (closed request)
BP | 2018-12-17 | Walla Walla | Walla Walla Sch Dist - 269062261 | 6623971 | General |  |  | CREA |  | 3021 | 12569 | -41 |  | 23960 | 39509 | Remove 75' 1#2-AA,N#2-AA, 45' Pri Pole, 75KVA OH Xfmr, 2 runs (75' ea) 4/0-TX OH Svc Wire, CT Metering | [13 empty] | Customer decided to keep Pacific Power as their service provider
BQ | 2018-12-18 | Walla Walla | Walla Walla Sch Dist - 049393701 | 6624229 | General |  |  | CREA |  | 27175 | 10082 | -802 |  | 8985 | 45440 | Remove 4" Pri riser, 700' 3#2-AL UG Pri wire, 75KVA 3PH Pdmnt Xfmr, 2 runs of 350-QX UG svc wire, CT Metering | [13 empty] | Customer decided to keep Pacific Power as their service provider
BR | 2018-12-18 | Walla Walla | Walla Walla Sch Dist - 506463521 | 6624222 | General |  |  | CREA |  | 1078 | 312 | -13 |  | 3436 | 4813 | Remove 10KVA OH xfmr, 130' 2TX OH svc wire, RF Meter | [13 empty] | Customer decided to keep Pacific Power as their service provider
BS | 2018-12-18 | Walla Walla | Walla Walla Sch Dist - 849383323 | 6624234 | General |  |  | CREA |  | 941 | 428 | -4 |  | 0 | 1365 | Remove 100' 6DX Wire, Streetlight & Mast Arm | [13 empty] | Customer decided to keep Pacific Power as their service provider
BT | 2018-12-18 | Walla Walla | Walla Walla Sch Dist - 543640949 | 6624193 | General |  |  | CREA |  | 2045 | 7779 | -19 |  | 493 | 10298 | Remove 135' 2TX OH Sec Sire, 35' Sec Pole, 50' 2TX OH Svc Wire, RF Meter | [13 empty] | Customer decided to keep Pacific Power as their service provider
BU | 2018-12-18 | Walla Walla | Walla Walla Sch Dist - 130303789 | 6624215 | General |  |  | CREA |  | 12039 | 3759 | -960 |  | 53885 | 68723 | Remove 4" Pri Riser, 250' 3#2-AL UG Pri Wire, 225KVA Pdmnt Xfmr, CT Metering, 2 runs of 500-CU UG Svc Wire | [13 empty] | Customer decided to keep Pacific Power as their service provider
BV | 2018-12-18 | Walla Walla | Walla Walla Sch Dist - 825807811 | 6624235 | General |  |  | CREA |  | 16118 | 5889 | -821 |  | 997367 | 1018553 | Remove Apprx 750' 3#4/0-AS,N#6-CU OH Pri Wire, 1-50' Pole, 3-45', 1-40' Poles: 1-4" Pri Riser, 160' 3#2-AL UG Pri Wire, Pri Metering. 62' 6DX OH Area Light Wire, 480' 2TX OH Sec Wire | [13 empty] | Customer decided to keep Pacific Power as their service provider
BW | 2018-12-18 | Walla Walla | Walla Walla Sch Dist - 130503589 | 6624209 | General |  |  | CREA |  | 2572 | 4267 | -23 |  | 1818 | 8634 | Remove 10KVA OH Xfmr, 65' 1/0-QX Sec Wire, 35' Sec Pole, 100' 1/0-QX Svc Wire, RF Demand Meter | [13 empty] | Customer decided to keep Pacific Power as their service provider
BX | 2019-09-19 | Walla Walla | my Dad's Place - 310723633-001 | 6747685 | General |  |  | CREA |  | 741 | 0 | 0 | 0 | 30370.58 | 31111.58 | The total cost of removal included both SRCF costs from both meters at My Dad's Place. All of the costs were captured on one request. | [13 empty] | Customer requested to remove from Pacific Power after receiving a quote to convert power to 3-phase power, thinking it was too high of a cost. After the customer received the cost to remove they decided to remain with Pacific Power and convert to 3 phase power.
BY | 2019-09-19 | Walla Walla | My Dad's Place - 310723633-002 | 6747685 | General |  |  | CREA |  | 741 | -95.98 | 0 | 0 | 10817.19 | 11462.21 | The total cost of removal included both SRCF costs from both meters at My Dad's Place. All of the costs were captured on one request. | [13 empty] | Customer requested to remove from Pacific Power after receiving a quote to convert power to 3-phase power, thinking it was too high of a cost. After the customer received the cost to remove they decided to remain with Pacific Power and convert to 3 phase power.
BZ | 2019-11-19 | Walla Walla | Robison Ranch - 260246817 | 6774659 | General |  |  | To many power interuptions in 2019 - going to CREA |  | 0 | 0 | 0 | 0 | 0 | 0 | [14 empty] | Origional request was for 6 meters in total. After a serviceman met with land ower and explained the outages and power intruptions they were happy enough to remove the request for perm disconnect. Estimates were never provided due to the custoemr changing direction.
CA | 2020-09-29 | Walla Walla | Bissell-309724189-001 | 6891261 | Residential |  |  | CREA |  | 5277 | 13413 |  |  | 5165 | 23855 | Remove Remove 4 poles, 3720' of condutor and 25kva pot | [13 empty] | Cost communicated, Customer has not responded
CB | 2020-10-06 | Walla Walla | Bush-408825211-001 | 6915193 | Residential |  |  | CREA |  | 6848 | 13788 |  |  | 4698 | 25334 | Remove 8 poles, 4485' conductor, remove 10 kva pot | [13 empty] | Cost communicated, Customer has not responded. WO voided, facilities were removed on a road move job. It was more expensive to reroute her lines because of the road move than to let her go to CREA. Let her go at no charge. Saved money on not moving 7 spans of conductor because of wsdot road move job. | Updated 2/16/2022
CC | 2020-11-17 | Walla Walla | Total Comfort Solution-435797767-001 | 6927316 | General |  |  | CREA |  | 808 |  |  |  | 9112 | 9920 | Remove SVS wire | [13 empty] | Cost communicated, Customer has not responded
CD | 2020-03-12 | Yakima | Cornerstone | 6810420 | Commercial |  |  | Wants to be served by Yakama Power | 2020-04-17 | 2893 | 1787 | 220 | 0 | 14035 | 18495 | Remove 2-25kva 120/240 overhead transformers and 51' of #2-QX OH service and meter | 2020-05-07 | 2020-05-20 | 2272 | 0 | 1787 | 220 | 0 | 17874 | 18495 | -621 | 2021-02-25 | 0 | Removed 2-25kva 120/240 overhead transformers and 51' of #2-QX OH service and meter | Customer wanted to add larger motors and Yakima power had higher capacity lines closer and thus more affordable from a line extension perspective.
CE | 2020-09-29 | Walla Walla |  | 6891261 | Residential |  |  | CREA |  | 5277 | 13413 |  |  | 5165 | 23855 | Remove Remove 4 poles, 3720' of condutor and 25kva pot |  |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA |  | Cost communicated, Customer has not responded
CF | 2020-10-06 | Walla Walla |  | 6915193 | Residential |  |  | CREA |  | 6848 | 13788 |  |  | 4698 | 25334 | Remove 8 poles, 4485' conductor, remove 10 kva pot |  |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA |  | Cost communicated, Customer has not responded
CG | 2020-11-17 | Walla Walla |  | 6927316 | General |  |  | CREA |  | 808 |  |  |  | 9112 | 9920 | Remove SVS wire |  |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA |  | Cost communicated, Customer has not responded
CH | 2020-03-12 | Yakima |  | 6810420 | Commercial | 37500 | 3000 | Yakama Power | 2020-04-17 | 2893 | 1787 | 220 | 0 | 14035 | 18495 | Customer is requesting permanent disconnection from pacific power to switch to yakima power Remove 2-25kva 120/240 overhead transformers and 51' of #2-QX OH service and meter | 2020-05-07 | 2020-05-20 | 2272 | 0 | 1787 | 220 | 0 | 17874 | 18495 | -621 |  |  |  | Customer wanted to add larger motors and Yakima power had higher capacity lines closer and thus more affordable from a line extension perspective.
No Requests in 2021
CI | 2022-06-14 | Walla Walla | Total Comfort Solution-435797767-001 | 8227163 | General | 57912 | 5579 | CREA |  | 704 | 365 | 162 | 0 | 9112 | 10019 | Remove 105' 1/0-QX OH svc wire & meter |  | Anticipated 2024 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA |  | Removal not yet completed. The Company anticipates that the facilities will be removed in March of 2024.
Note on A112: Ingram, James: Updated for 2019