## Exhibit aMW (HS-4)
[8 empty] | PacifiCorp | [6 empty] | Exhibit Washington ______ (HS-4)
Normalized Sources of Energy
12 Months Ending June 2008
Unit - Average Megawatts | [16 empty] | 282 | End of $ section
Line | [15 empty] | Line
No. | Description |  |  | 2007-07-01 | 2007-08-01 | 2007-09-01 | 2007-10-01 | 2007-11-01 | 2007-12-01 | 2008-01-01 | 2008-02-01 | 2008-03-01 | 2008-04-01 | 2008-05-01 | 2008-06-01 | No.
|  |  |  | 744 | 720 | 744 | 720 | 672 | 744 | 720 | 744 | 720 | 744 | 744 | 720 | 8736
| Owned Generation | [15 empty] | Energy
1 |  | Hydro |  | 317.9762 | 266.9542 | 281.287 | 264.1246 | 401.5433 | 558.349 | 668.1216 | 648.2053 | 599.8182 | 461.974 | 457.9703 | 422.8102 | 1 | 545 | Total Hydro Generation
2 |  | Thermal (1) |  | 1432.1158 | 1453.2168 | 1455.4204 | 1432.4566 | 1492.1506 | 1486.2857 | 1470.5557 | 1471.0981 | 1334.0969 | 1089.2898 | 1309.5175 | 1440.3034 | 2 | 528 | Total Coal Generation | 539 | Total Gas Generation | 370 | Georgia-Pacific Camas
3 |  | Wind |  | 49.767 | 75.0603 | 83.5132 | 84.2431 | 79.0691 | 67.3733 | 62.033 | 63.9367 | 106.7263 | 70.6388 | 91.2501 | 132.7404 | 3 | 554 | Leaning Juniper 1 | 555 | Marengo | 552 | Goodnoe Wind
4 | Total Owned Generation |  |  | 1799.8591 | 1795.2313 | 1820.2206 | 1780.8243 | 1972.763 | 2112.0079 | 2200.7103 | 2183.2401 | 2040.6413 | 1621.9027 | 1858.7379 | 1995.854 | 4
| Purchased & Exchanges | [21 empty] | Deducts from Long Term Firm
5 |  | Long Term Firm |  | 331.6346 | 348.1801 | 346.7987 | 446.2802 | 481.9143 | 342.3837 | 305.7521 | 306.4686 | 271.8873 | 229.6659 | 320.6636 | 313.1983 | 5 | 397 | Long Term Firm Purchases Total | 439 | Qualifying Facilities Total |  |  | 370 | Georgia-Pacific Camas
6 |  |  | Mid Columbia | 257.6347 | 208.5018 | 171.6221 | 183.5786 | 213.5003 | 232.2816 | 265.4992 | 236.1985 | 240.6451 | 254.0893 | 278.0833 | 294.6804 | 6 | 452 | Mid-Columbia Contracts Total
7 |  | Exchanges |  | 129.1871 | -22.2583 | -163.9488 | -133.8354 | -151.7692 | -33.81 | -8.1861 | -26.9434 | -68.5805 | 1.3102 | -42.4096 | 158.8977 | 7 | 478 | Total Storage & Exchange
8 |  | Short Term Firm Purchases |  | 1446.1411 | 1627.4462 | 1503.6986 | 1553.7137 | 824.0917 | 434.6774 | 336.0215 | 253.7356 | 270.3293 | 150 | 150 | 150 | 8 | 495 | Total Short Term Firm Purchases
9 |  | System Balancing |  | 102.3388 | 169.2944 | 168.63 | 327.1865 | 308.9673 | 780.1638 | 515.3562 | 735.9067 | 556.6011 | 611.9762 | 440.9138 | 355.2747 | 9 | 505 | Total System Balancing Purchases
Total Purchased Power and
10 | Exchange |  |  | 2266.9364 | 2331.1641 | 2026.8006 | 2376.9237 | 1676.7044 | 1755.6966 | 1414.4428 | 1505.366 | 1270.8824 | 1247.0416 | 1147.2512 | 1272.0511 | 10
11 | Total Resources |  |  | 4066.7955 | 4126.3955 | 3847.0212 | 4157.7479 | 3649.4673 | 3867.7044 | 3615.1531 | 3688.6062 | 3311.5237 | 2868.9442 | 3005.9891 | 3267.9051 | 11
12 | Special Sales |  |  | 1637.0269 | 1692.5029 | 1639.3752 | 1960.7639 | 1155.4825 | 1156.8074 | 1018.8301 | 1197.9883 | 965.7081 | 776.2958 | 860.6863 | 969.1855 | 12 | 317 | Total Long Term Firm Sales | 334 | Total Short Term Firm Sales | 345 | Total System Balancing Sales
13 | System Net of Special Sales |  |  | 2429.7687 | 2433.8926 | 2207.646 | 2196.984 | 2493.9849 | 2710.8971 | 2596.3231 | 2490.6179 | 2345.8156 | 2092.6484 | 2145.3028 | 2298.7196 | 13
Notes:
| (1) | Includes GP Camas Co-generation
|  |  |  | 2007-07-01 | 2007-08-01 | 2007-09-01 | 2007-10-01 | 2007-11-01 | 2007-12-01 | 2008-01-01 | 2008-02-01 | 2008-03-01 | 2008-04-01 | 2008-05-01 | 2008-06-01
Check Totals
|  |  | Total Adjustments to Load | 8.7836 | 7.8575 | 8.9667 | 9.0161 | 9.2194 | 8.9462 | 8.8669 | 8.5848 | 8.0269 | 7.0292 | 4.3817 | 6.9097 |  | 293 | Total Adjustments to Load
|  |  | Net System Load | 2429.7688 | 2433.8925 | 2207.6458 | 2196.9839 | 2493.9847 | 2710.8965 | 2596.3226 | 2490.6178 | 2345.8159 | 2092.6486 | 2145.3024 | 2298.7194 |  | 296 | Net System Load
|  |  | System Net of Special Sales | 2429.7687 | 2433.8926 | 2207.646 | 2196.984 | 2493.9849 | 2710.8971 | 2596.3231 | 2490.6179 | 2345.8156 | 2092.6484 | 2145.3028 | 2298.7196
|  |  | Difference | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[17 empty] | 555 | Max
|  |  | Column Offset | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
|  |  |  | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13
|  |  | Hours | 744 | 744 | 720 | 744 | 720 | 744 | 744 | 696 | 744 | 720 | 744 | 720
|  |  | Total Resources | 4066.7955 | 4126.3955 | 3847.0212 | 4157.7479 | 3649.4673 | 3867.7044 | 3615.1531 | 3688.6062 | 3311.5237 | 2868.9442 | 3005.9891 | 3267.9051 |  | 561 | Total Resources
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | month | 7 | 8 | 9 | 10 | 11 | 12 | 1 | 2 | 3 | 4 | 5 | 6
1037018.4826
236574.2921
1065494.1913

## Exhibit Peak (HS-5)
[6 empty] | PacifiCorp |  |  |  |  | Exhibit Washington ______ (HS-5)
Normalized Sources of Peak Capacity
12 Months Ending June 2008
Annual Energy
Line |  |  |  | Winter Peak | % of Total |  | Summer Peak | % of Total |  | % of Total | Line
No. | Description |  |  | December MW | Capacity |  | July MW | Capacity | GWH | Requirement | No. |  | Search argument
Company Owned Generation
1 |  | Hydro |  | 994.8013 | 21.8% |  | 937.8472 | 18.87% | 3911.0188 | 12.28% | 1 | 504 | Total Hydro Generation |  |  |  |  | Deducts
2 |  | Thermal (1) (2) |  | 1033.1131 | 22.64% |  | 1001.8225 | 20.16% | 12346.6169 | 38.78% | 2 | 489 | Total Coal Fired Generation | 499 | Total Gas Fired Resources | 80 | Georgia-Pacific Camas | 562 | Total Reserve Requirements
3 |  | Wind |  | 67.3733 | 1.477% |  | 49.767 | 1.001% | 707.1133 | 2.221% | 3 | 232 | Leaning Juniper 1 | 233 | Marengo | 231 | Goodnoe Wind
4 | Total Company Owned Generation |  |  | 2095.2876 | 45.92% |  | 1989.4367 | 40.03% | 16964.749 | 53.28% | 4
| Purchased & Exchanges | [16 empty] | Deducts from Long Term Firm
5 |  | Long Term Firm |  | 107.4826 | 2.356% |  | 100.6673 | 2.026% | 2961.7233 | 9.302% | 5 | 398 | Total LTF Purchases | 428 | Total Qualifying Facilities |  |  | 80 | Georgia-Pacific Camas
6 |  |  | Mid Columbia | 418.0867 | 9.163% |  | 404.9201 | 8.148% | 2076.4674 | 6.522% | 6 | 436 | Total Mid-Columbia Contracts
7 |  | Exchanges |  | 548.4779 | 12.02% |  | 674.5662 | 13.57% | -264.5601 | -0.8309% | 7 | 457 | Total Exchanges
8 |  | Short Term Firm Purchases |  | 400 | 8.767% |  | 1707.6674 | 34.36% | 6397.446 | 20.09% | 8 | 475 | Total STF Purchases
9 |  | System Balancing |  | 993.3387 | 21.77% |  | 92.2359 | 1.856% | 3704.0217 | 11.63% | 9 | 633 | Total System Balancing Purchases
Total Purchased Power and
10 | Exchange |  |  | 2467.3859 | 54.08% |  | 2980.0568 | 59.97% | 14875.0983 | 46.72% | 10
11 | Total Resources |  |  | 4562.6736 | 100% |  | 4969.4934 | 100% | 31839.8473 | 100% | 11
12 | Special Sales |  |  | 1135.7273 |  |  | 1730.7098 |  | 11016.3341 |  | 12 | 319 | Total LTF Sales | 334 | Total STF Sales | #N/A | Total System Balancing Sales
13 | System Net of Special Sales |  |  | 3426.9462 |  |  | 3238.7836 |  | 20823.5132 |  | 13 | 301 | Net System Load
Notes:
| (1) | Includes GP Camas Co-generation
| (2) | After Derates, Maintenance and Reserves
|  |  |  | 2007-12-01 |  |  | 2007-07-01 |  | Hours
|  |  | Match Column in L&R | 11 |  |  | 6 |  | 8784
Note on P4: Search argument has a trailing blank to place it in the Peak section of the worksheet.