00248

1   BEFORE THE WASHINGTON UTILITIES AND TRANSPORTATION

2                        COMMISSION

3  WASHINGTON UTILITIES AND        )

TRANSPORTATION COMMISSION,      )

4                                  )

Complainant,     )

5                                  )

vs.                   )  DOCKET NO. UW-000405

6                                  )  Volume VII

AMERICAN WATER RESOURCES, INC., )  Pages 248 - 410

7                                  )

Respondent.      )

8  ---------------------------------

9

A hearing in the above matter was held on

10

January 4, 2001, at 9:16 a.m., at 1300 South Evergreen

11

Park Drive Southwest, Olympia, Washington, before

12

Administrative Law Judge LAWRENCE BERG.

13

14            The parties were present as follows:

15            AMERICAN WATER RESOURCES, INC., by VIRGIL

FOX, President and CEO, 921-B Middle Fork Road,

16  Onalaska, Washington  98570.

17            THE WASHINGTON UTILITIES AND TRANSPORTATION

COMMISSION, by MARY M. TENNYSON, Senior Assistant

18  Attorney General, 1400 South Evergreen Park Drive

Southwest, Post Office Box 40128, Olympia, Washington

19  98504.

20

21

22

23

24

25  Kathryn T. Wilson, CCR

Court Reporter

00249

1  _____________________________________________________

2                     INDEX OF EXHIBITS

3  _____________________________________________________

4  EXHIBIT:                      OFFERED:  ADMITTED:

5  119

6  120                           355       355

7  121                           355       355

8  122                           355       355

9  123                           355       355

10  124                           355       355

11  125                           373       373

12  126                           373       373

13  127                           363       363

14  128                           262       263

15  129                           261       262

16

17

18

19

20

21

22

23

24

25

00250

1  ____________________________________________________

2                    INDEX OF WITNESSES

3  _____________________________________________________

4  WITNESS:                                     PAGE:

5

6            BILL LIECHTY

7  Direct Examination by Ms. Tennyson           251

8  Cross-Examination by Mr. Fox                 290

9  Examination by Judge Berg                    319

10  Redirect Examination by Ms. Tennyson         334

11  Further Cross-Examination by Mr. Fox         338

12

13

14            JIM WARD

15  Direct Examination by Ms. Tennyson           344

16  Cross-Examination by Mr. Fox                 379

17  Redirect Examination by Ms. Tennyson         396

18  Further Cross-Examination by Mr. Fox         399

19

20

21

22

23

24

25

00251

1                   P R O C E E D I N G S

2            JUDGE BERG:  This is the continued hearing in

3  Docket No. UW-000405 before the Washington Utilities

4  and Transportation Commission.  The case is Washington

5  Utilities and Transportation Commission, Complainant,

6  versus American Water Resources, Inc., Respondent.

7  American Water Resources, Inc., may be referred to as

8  AWR in the course of this proceeding.  Today's date is

9  January 4, 2001.  I'm Larry Berg, the presiding

10  officer.  Joining me on the Bench is my accounting

11  adviser, Mr. Maurice Twitchell.

12            At this point in the proceeding,

13  Ms. Tennyson, will you call your first witness of the

14  day?

15            MS. TENNYSON:  I call Bill Liechty to the

16  stand.

17            (Witness sworn.)

18

19                    DIRECT EXAMINATION

20  BY MS. TENNYSON:

21      Q.    Mr. Liechty, would you state your name and

22  spell your name for the record, please?

23      A.    It's Bill Liechty, L-i-e-c-h-t-y.

24      Q.    Mr. Liechty, where are you employed?

25      A.    With Department of Health, Division of

00252

1  Drinking Water.  I manage one of our regional offices.

2      Q.    What are your responsibilities in managing

3  the regional office?

4      A.    We oversee and regulate public water systems

5  for the southwest portion of the state.

6      Q.    Does that portion of the state that you

7  supervise, is American Water Resources within that

8  area?

9      A.    Some of their systems are, yes.  They also

10  have systems outside of the southwest region.

11      Q.    Are you generally familiar with American

12  Water Resources?

13      A.    Yes, I am.

14      Q.    For how long have you been acquainted with or

15  aware of American Water Resources or its predecessor

16  companies?

17      A.    I believe I met Mr. Fox in the winter of

18  1997.  At that point, he was considering acquiring

19  systems and getting into the water business.

20      Q.    Do you recall the conversation?

21      A.    I do.

22      Q.    Could you just tell us what happened and what

23  it was about?

24      A.    Often times, people come into our office to

25  review records, and I noticed that Mr. Fox -- at that

00253

1  time, I didn't know Mr. Fox -- had been in the office,

2  spent a lot of time looking at records.  I introduced

3  myself and we had a discussion, and I learned that he

4  was considering acquiring water systems and becoming an

5  active water purveyor, and we had a conversation, and

6  he asked my thoughts and advice.

7            My comments that I recall making were, Well,

8  it's very important if you are a regulated company to

9  understand and comply with the requirements of both the

10  Department of Health and the UTC, and if you can stay

11  on the right side of both of those agencies, your

12  business will run a lot more smoothly.

13      Q.    Now, Department of Health, you've referenced

14  the drinking water section, you generally work with

15  water quality issues; is that correct?

16      A.    We have regulatory authority for all aspects

17  of water utility operations.  We have water quality

18  standards.  We have design standards.  We have

19  standards that apply to the way a system is operated.

20  It's a public health based program, and the objective

21  is to make sure that public water systems are able to

22  provide safe and reliable drinking water.

23      Q.    So that would include quantity issues as

24  well?

25      A.    Yes, it would.

00254

1      Q.    Have you been involved with or consulted on

2  compliance issues relating to American Water Resources?

3      A.    Yes, I have.

4      Q.    Could you give us just a general description

5  of your involvement and contacts?

6      A.    My job is to manage the office, and we have

7  assigned engineers to the counties within the office.

8  We also have staff who deal with complaints in

9  compliance matters, and both the compliance staff and

10  the engineers at times let me know that we had

11  compliance matters that involved AWR.  The ones that

12  I'm most familiar with involved water quality

13  violations that we felt threatened public health, and

14  then some matters pertaining to the satellite

15  management status that we assigned to the Company.

16      Q.    Just because I know in the course of this

17  morning we will get into some of these terms, I would

18  like to ask you to give us a few definitions.  One of

19  the terms that I know we may talk about is a D.O.  Can

20  you tell us what a "D.O." is?

21      A.    That's our acronym for "departmental order,"

22  which is a compliance action that's initiated by the

23  Department, and it prescribes steps that must be taken

24  to address the regulatory violations that are cited in

25  the D.O.

00255

1      Q.    By "our department," you are referring to

2  Department of Health?

3      A.    Correct.

4      Q.    CIP is another term that we bandied about

5  quite a bit yesterday.  Can you refresh us on what that

6  is?

7      A.    That's the acronym that's used in the water

8  industry for "capital improvement program."  It's the

9  list of physical improvements that pertain to any given

10  system.

11      Q.    Water companies are required to have water

12  system plans, aren't they?

13      A.    Yes, they are.

14      Q.    Is part of the water system plan, is the CIP

15  part of that?

16      A.    Yes, it is.

17      Q.    Another term that we may be getting into is a

18  sanitary survey.  Can you describe what that is?

19      A.    A sanitary survey is an inspection done by a

20  public health official.  It can either be a

21  comprehensive review of a system from source to tap, or

22  if we are experiencing a problem, it can be a fairly

23  focused investigation to look at factors that might be

24  creating the problem.  So it's a public health official

25  inspecting the system, and generally, a report is

00256

1  prepared to document the findings.

2      Q.    There is some other terms that I'd like you

3  to help us out with here too.  Can you tell us what a

4  "pitless adapter" refers to?

5      A.    That's an appliance that's used on wells, and

6  it's a device that allows a water transport line, the

7  line that's carrying the water, the pumped water, to be

8  delivered without that pumped water line coming above

9  ground.  It's a buried connection, either molded or

10  welded to the well casing, and the purpose is to avoid

11  freezing problems.  So it allows the water to be pumped

12  into the home or into the distribution system and not

13  allow those pipes to be above ground where they are

14  potentially subject to freezing.

15      Q.    I'm going to show you a picture from the

16  American Water Resource's general construction spec

17  book.  This has been admitted in this proceeding as

18  Exhibit 4, and I'm referring to Page 33 of that.  I'll

19  bring you a copy.

20            I'm referring to Page 33 of this Exhibit 4.

21  Is this a diagram of a pitless adapter, or is there one

22  in this picture?  Actually, Mr. Fox is shaking his head

23  no.

24            MR. FOX:  We made a mistake.

25            THE WITNESS:  This is not a diagram that

00257

1  shows a pitless adapter.

2      Q.    (By Ms. Tennyson)  Could you refer to the

3  previous page; is there one on this page, Page 32?

4      A.    Yes.

5      Q.    On this diagram on Page 32 of Exhibit 4,

6  there is a line, kind of a heavy black line that says

7  "grade."  Is that referring to ground level?

8      A.    Correct.

9      Q.    So the pitless adapter would be below ground

10  to prevent freezing, as you indicated?

11      A.    Yes.

12      Q.    You don't have the copy of the marked

13  exhibits.

14            JUDGE BERG:  Ms. Tennyson, I believe the

15  copies of 101 through 115 are still on the witness

16  table.

17            MS. TENNYSON:  I marked them on my list.  I'm

18  not positive we marked them as a group, exhibits that I

19  had presented in the pile for use with Mr. Liechty

20  yesterday, 128 and 129.

21            JUDGE BERG:  Off the record for a moment.

22            (Discussion off the record.)

23            MS. TENNYSON:  Your Honor, on the exhibits

24  that I distributed copies of yesterday, in between the

25  exhibits grouped by witness, there will be a colored

00258

1  sheet of paper.  The exhibits that were designated for

2  Mr. Ward we started numbering with 120, and then at the

3  bottom of that packet would have been two I was

4  intending to use with Mr. Liechty, and the first of

5  those is a document entitled "Notice of Intent to

6  Suspend."  It's a Department of Health order, and if

7  they've not been marked, I would like to have that one

8  and the chart prepared by Department of Health dated

9  12/29/2000, and the notebook of backup materials with

10  Tabs A through Z and double A, I would like to have

11  those marked as exhibits at this time.

12            JUDGE BERG:  What I'm going to do at this

13  time is I will request that the reporter insert into

14  the transcript a description of Exhibits 1 through 10

15  and 101 through 129 as if fully read into the record

16            Exhibit 1, Fox Company Statements on each of

17  the 13 jobs, showing account balance and paid status

18  Summary of Jobs.  Exhibit 2, AWRI's list of Accounts

19  Payable showing amount due to Fox Co. and Hatton,

20  Godat, Pantier.  Exhibit 3, December 21 response to

21  Mary Tennyson's Data Requests 1-8.  Exhibit 4, AWRI's

22  General Construction Spec Book.  Exhibit 5, Summary of

23  bidders and bid documents for each job (all except

24  actual construction plan.)  Exhibit 6, Summary of job

25  costs.  Exhibit 7, VR Fox Construction Resume.  Exhibit

00259

1  8, VR Fox Current General Business Resume.  Exhibit 9,

2  11 pages of color photos.  Exhibit 10, Preliminary P&L,

3  AWRI year 2000.

4            Exhibits for Virgil Fox:  Exhibit 101,

5  Materials related to rate filing, UW-000405, including

6  company justification, notice to customers, staff memo,

7  suspension order, Tariff page.  Exhibit 102, Order

8  Approving Tariff Revision (Surcharge), dated April 28,

9  1999.  Exhibit 103, Letter to Virgil Fox from Steven

10  Hatton Re: Engineering Proposal-Selected Systems, dated

11  March 10, 1999.  Exhibit 104, Multipage document titled

12  "Exhibit A, Pleasant Valley," containing documents

13  relating to project.  Exhibit 105, Multipage document

14  titled "Exhibit A, Loma Vista," Containing documents

15  relating to project.  Exhibit 106, Multipage document

16  titled "Exhibit A, Elk Heights," Containing documents

17  relating to project.  Exhibit 107, Chart prepared by

18  Rick Finnigan on behalf of AWR, Consisting of six

19  pages.  Exhibit 108, AWR Response to WUTC Data Request

20  No. 3A, dated Dec. 22, 2000.  Exhibit 109, AWR Response

21  to WUTC Data Request No. 3B, dated Dec. 22, 2000.

22  Exhibit 110, November 29, 1999 letter from Jim Ward to

23  Herta Ingram, Operations Manager, AWR and Ms. Ingram's

24  response, dated March 20, 2000.  Exhibit 111, Multipage

25  document titled Capital Improvement Surcharge Progress

00260

1  Report, with handwritten "An American Water Document,

2  10/27/99.  Exhibit 112, AWR Response to WUTC Data

3  Request No. 4, dated Dec. 21, 2000, received 12/26/00.

4  Exhibit 113, Engineering invoices for 2000, submitted

5  in response to WUTC Data Request No. 4, received

6  12/26/00.  Exhibit 114, AWR's Response to WUTC Data

7  Request No. 8, dated Dec. 22, 2000, received Dec. 26,

8  2000.  Exhibit 115, Table summarizing VR Fox Co.,

9  Invoices, including date, invoice number, system name,

10  amount paid, and check number used to pay invoice.

11            Exhibit for Katherine Woods:  Exhibit 116,

12  Subpoena Duces Tecum.  Exhibits for Steven Hatton:

13  Exhibit 117, Subpoena Duces Tecum.  Exhibit 118, Letter

14  dated Feb. 22, 1999, to Jim Ward re: AWR, Inc.- Capital

15  Improvement Program.  Exhibit for Kevin O'Neil:

16  Exhibit 119, Subpoena Duces Tecum.

17            Exhibits for Jim Ward: Exhibit 120, Table of

18  project with description, cost, and Handwritten notes.

19  Exhibit 121, Staff informal Data Request 1, dated March

20  31, 2000, and Letter in response dated April 6, 2000,

21  with Exhibit A removed (See Exhibits above for samples

22  of Exhibit A.)  Exhibit 122, Staff informal Data

23  Request 2, dated April 10, 2000, and Letter in response

24  dated April 14, 2000.  Responses to Items 2 and 3 have

25  been removed from response.  Exhibit 123, Staff

00261

1  informal Data Request 3, dated April 28, 2000, and

2  response dated May 17, 2000, with attachments.  Exhibit

3  124, Staff informal Data Request 4, dated May 18, 2000,

4  and response dated June 5, 2000.  Exhibit 125, Aquarius

5  Utilities letter dated September 15, 2000, with

6  attached materials excerpted from filing, UW-001415.

7  Exhibit 126, Estimate, 2 pages, Harbor Water, dated 17

8  Oct 2000 in lower right corner.  Exhibit 127,  Partial

9  transcript of Open Meeting of April 26, 2000.

10            Exhibits for Bill Liechty:  Exhibit 128,

11  Notice of Intent to Suspend, Dept. Of Health CO No.

12  99-08-C-1021DW, 11 pages (two-sided) plus attachments A

13  and B.  Exhibit 129, Chart prepared by DOH, 12/29/00,

14  titled AWR Surcharge Hearing Research (5 pages.)

15            MS. TENNYSON:  What I would propose is that

16  for the notebook of material with tabs that we refer to

17  it as Exhibit 129 A, B, C, etcetera, and I'd move its

18  admission as part of Exhibit 129.

19            JUDGE BERG:  I'll note that the document that

20  had previously been marked and distributed as Exhibit

21  129 has been supplemented by tabbed materials, Tabs A

22  through double A, and also in a notebook at the front

23  of the notebook is a eight-and-a-half-by-fourteen

24  version of Exhibit 129, and is it correct that you've

25  received those materials, Mr. Fox?

00262

1            MR. FOX:  Yes, Your Honor.

2            JUDGE BERG:  Is there any objection to the

3  admission of these materials into the record?

4            MR. FOX:  No, Your Honor.

5            JUDGE BERG:  Then Exhibit 129, including tabs

6  129-A through 129 double-A are admitted.

7            MS. TENNYSON:  Thank you.

8      Q.    (By Ms. Tennyson)  Mr. Liechty, could you

9  refer to the document that's referred to as Exhibit 128

10  at this point and identify this for me?

11      A.    This is a document prepared by our attorney.

12  It's a Notice of Intent to Suspend the satellite

13  management status of the Company.

14      Q.    Going through the body of the order, this

15  generally has some recitation of the history of some of

16  the health problems the Department of Health has found

17  on the systems owned by American Water?

18      A.    That's correct.

19            MS. TENNYSON:  I would move the admission of

20  Exhibit 128.

21            JUDGE BERG:  Any objection?

22            MR. FOX:  No.  I'll have an opportunity to

23  comment on that or ask questions, I presume, at a more

24  appropriate time.

25            JUDGE BERG:  You will certainly have an

00263

1  opportunity to cross-examination this witness based on

2  any statements he makes about the exhibit.  Also, at

3  the conclusion of the case, parties will have an

4  opportunity to file a written brief at which time you

5  could make any arguments that you wanted to make that

6  related to this document.

7            MR. FOX:  That's fine.  If I may comment on

8  this A,B,C portion here.  I believe there is things in

9  there that I haven't seen before, but I don't object to

10  them.  That's pretty much immaterial at the moment.  In

11  other words, I don't need to worry about the fact right

12  now that I haven't seen them.

13            JUDGE BERG:  Exhibit 129 has been admitted

14  into the record.  If there are documents here that you

15  need to ask questions about, you will be able to talk

16  to Mr. Liechty about that.  My understanding is that

17  the Tabs A through double-A are the backup for the core

18  document 129.

19            MR. FOX:  Yes.

20            JUDGE BERG:  Then Exhibit 128 will be

21  admitted.

22            MS. TENNYSON:  Thank you.

23      Q.    (By Ms. Tennyson)  Mr. Liechty, turning to

24  Exhibit 129, was this chart prepared under your

25  supervision?

00264

1      A.    Yes, it was.

2      Q.    I'd like to walk through the chart so that

3  you can basically indicate or tell us what this

4  represents.  What was the purpose in preparing the

5  chart?

6      A.    The chart is a compilation of records and

7  information on file with Department of Health.  The

8  first column entitled "system," lists the water systems

9  that we were told were relevant to the surcharge.  The

10  second column called "items AWR claims not included in

11  the original scope of work," are items that we were

12  told the Company identified as being outside of the

13  surcharge.  So that column was prepared by the Company,

14  and we simply duplicated it.

15            "Date DOH notified AWR that item was

16  required" is the title for a column that references a

17  number of items that we thought were relevant to the

18  surcharge issue or item and the Company.  So what we've

19  tried to do is research our files, state the date of

20  the document, and then if there is a letter behind that

21  document, then the actual document is in the notebook,

22  so it's something that relates back to that surcharge

23  item.

24            The next column over, "form of notification,

25  letters from DOH unless otherwise specified," tells us

00265

1  what any one of those items is.  For example, for

2  Pleasant Valley there is a DO, a departmental order.

3  There are letters that the departments sent to the

4  Company --

5      Q.    And that would be designated by the word

6  "letter," a letter from the Department of Health?

7      A.    Correct, as opposed to the November 3rd,

8  1997, D, which would be a letter from the Company's

9  consolidating engineer.  That has "HGA" in parenthesis.

10  That stands for Howard Godat and Associates.  That's

11  kind of the system that we are using, and then the

12  final column are notes, and here, we've tried to

13  explain the significance or comment on some of the

14  items that were referenced.  So this represents

15  information pulled from files in my office as well as

16  the Northwest regional office, because they regulate

17  some of the AWR systems as well.

18      Q.    I did note in reviewing this chart that the

19  Loma Vista system is not represented on this.  Was that

20  an intentional deletion?

21      A.    No.  That was an oversight.

22      Q.    So the Loma Vista system was one which in

23  Department of Health's view was one that needed work

24  done on for health reasons?

25      A.    Absolutely.  If I might, we didn't have a lot

00266

1  of time to pull the chart together.  I think we started

2  working on this between Christmas and New Years.  So it

3  represents a fair amount of work, and there may be

4  other omissions here.  I can't attest this is the total

5  record.  It's our best effort.

6      Q.    For example, in putting this together, I did

7  not ask you to include things like the Department of

8  Health approval of the projects after they are done;

9  correct?

10      A.    Correct.

11      Q.    Those are items the Company should have in

12  its possession.

13      A.    Correct.

14      Q.    Let's go through a couple of these.  I would

15  like to refer at this point to Exhibit 129-D, if you

16  could turn to that.  I believe you had identified it in

17  talking about the chart as a November 3rd, 1997, letter

18  from the Company's engineer.

19      A.    Correct.

20      Q.    This does address engineering work that the

21  engineer is either recommending or indicating that

22  would be done for several of the systems that were to

23  be funded by the surcharge; correct?

24      A.    Correct.

25      Q.    This was in 1997?

00267

1      A.    November 3rd, 1997.

2      Q.    Referring at this point to the chart itself,

3  Exhibit 129, for the Crowder Road system, one of the

4  items that's included in the column, "items AWR claims

5  not included in original scope of work," I will

6  represent to the Court and to Mr. Fox that the

7  description of these items came from the document that

8  has been admitted into this case as Exhibit 107, the

9  chart prepared by Mr. Finnigan which we discussed

10  yesterday.  Mr. Fox disagreed with some of the

11  information, the accuracy of some of that information,

12  but that was the source of this information.

13            JUDGE BERG:  When you say "this information,"

14  which information are you referring to?

15            MS. TENNYSON:  In the column titled, "Items

16  AWR claims not included in original scope of work,"

17  that column on Exhibit 129.

18      Q.    (By Ms. Tennyson)  Then under Crowder Road in

19  the second row says, "expand pump house for corrosion

20  control."  Can you elaborate for us on what the notes

21  indicate for that particular item on your chart,

22  Exhibit 129?

23      A.    The note says that a 1996 revision of AWR's

24  water system plan indicated that a new or expanded pump

25  house would be required.  That relates back to the

00268

1  exhibit we are looking at here.

2      Q.    There is a reference to June 25, 1999, in a

3  parenthetical "I."  Turning to Tab "I" in your

4  notebook, Exhibit 129-I, can you indicate for us what

5  this is and the date on that?

6      A.    The date is June 25th, 1996.  I believe our

7  chart says 1999.

8      Q.    So the description in the column tiled "date

9  DOH notified AWR that items required" the date of June

10  25th, 1999 should read 1996?

11      A.    Correct.  The actual document that's in the

12  notebook is part of the capital improvement program

13  prepared by the Company.

14      Q.    I would like you to refer at this point then

15  to the document that is behind Tab J in Exhibit 129.

16  What I'd like to do is flip back and forth between Item

17  J and Item M.  Why don't we start with M.

18      A.    Okay.

19      Q.    Item M, at least if we have the copies

20  correctly, is a letter dated February 22nd, 1999, to

21  Mr. Jim Ward on Howard, Godat, Pantier and Associate

22  stationary; is that correct?

23      A.    Yes.

24      Q.    Specifically, I would like you to turn back

25  to the attachments to the letter.  The letter itself

00269

1  consists of three pages, and then there are various

2  attachments.  In particular, I'd like to look at the

3  last six or seven pages.  The heading on the first page

4  is "American Water Resources, Inc., table" and my hole

5  punch has knocked out the number, but "capital

6  improvement program 1/25/99 update"; do you have that?

7      A.    Yes, I do.

8      Q.    The first system name on this is Pleasant

9  Valley?

10      A.    Yes.

11      Q.    Can you indicate for me what your

12  understanding of this document is?

13      A.    I'm reading it to refresh my memory here.

14  The document supports the letter prepared by the

15  Company's engineer, and it has to do with recommended

16  capital improvements.  The engineer is summarizing

17  through the attachments the recommended capital

18  improvements, and it's broken out by system, start

19  date, estimated costs, etcetera.

20      Q.    Is this a document prepared by the Company?

21      A.    The letter is prepared by the consulting

22  engineer working for the Company.

23      Q.    More properly, this is not a Department of

24  Health created document?

25      A.    No.  It isn't clear who prepared this.  I

00270

1  suspect it was prepared by the engineer working for the

2  Company.

3      Q.    Looking at the first page of this chart with

4  Pleasant Valley at the top, do you recall discussions

5  about adding generators to the systems?

6      A.    I personally wasn't involved in discussions

7  with the Company regarding generators.  I know that

8  that was a point of discussion with the Company.

9      Q.    Then going down just reviewing the list, I

10  notice there are many more systems or projects listed

11  than were actually included in the surcharge.  Would

12  you agree with that?

13      A.    Yes.

14      Q.    Do you know whether any of these other items

15  the Department of Health had issued a departmental

16  order or any other direction to the Company related to

17  any of these items?

18      A.    I haven't studied the table, but I know the

19  Department had extensive correspondence with the

20  Company regarding improvements, and I know the required

21  improvements and recommendations applied to more

22  systems than were part of the surcharge.

23      Q.    If you could turn back two pages earlier in

24  Exhibit 129-M, there is a document that the subheading

25  on it is "priority list."

00271

1      A.    Yes.

2      Q.    Do you have that document now?

3      A.    Yes, I do.

4      Q.    This indicates there is under order for

5  chlorination for certain projects and others are on the

6  list.

7      A.    Yes.

8      Q.    Do you know whether the priority or the order

9  that these were put in, was that something that you

10  participated in or your agency participated in?

11      A.    Our agency did participate in this.

12      Q.    So this was then a whittling down of the

13  projects that were to be funded by the surcharge?

14      A.    Yeah.  That's my understanding that the

15  spreadsheets that we were looking at earlier would be

16  the long list prepared by the Company of improvements,

17  some of which the Department either recommended or

18  required, and then the table dated February 25th, 1999,

19  is the list that I believe was prepared by the

20  Department which said, "Here are the most critical

21  improvements."

22      Q.    We've been looking at a letter from the

23  Company's engineer dated February 22nd, '99, and if you

24  could turn back now to the Tab J.  Can you identify

25  this document for us?

00272

1      A.    This is a letter prepared by my office signed

2  by the planner working in the office, Sean Orr, dated

3  March 15th, 1999, addressed to Virgil Fox, and it

4  represents our review of the capital improvement

5  program that was a part of the water system plan that

6  was submitted for our review.

7      Q.    Does this letter reiterate the priority list

8  from the Department of Health's perspective?

9      A.    Yes.

10      Q.    In addition in this letter, are various

11  elements discussed for each of the systems that are

12  listed on the priority list?

13      A.    The letter lists 12 systems that are part of

14  the priority list and then has specific comments that

15  relate to those systems.

16      Q.    I'd like you to refer to Page 3 of this

17  letter at the top, the reference to the Loma Vista

18  system.  This indicates, doesn't it, that the water

19  system plan for Loma Vista has been approved and

20  doesn't need to be further revised?

21      A.    It says, "The water system plan element is

22  now considered approved, and the construction documents

23  for the permanent chlorination system have been

24  approved.  No further revision of the water system plan

25  is required."

00273

1      Q.    So in terms of the Loma Vista system not

2  being included on this chart, this letter is at least

3  reflecting that the Department of Health has already

4  approved any engineering or construction documents for

5  construction on the Loma Vista system; correct?

6      A.    That's correct.

7      Q.    I would like you to refer at this point to

8  the chart, Exhibit 129, on Page 3 of 5, and the

9  reference is to the Crescent Park system in the middle

10  of the page.  In the second column, the statement is

11  that chlorine treatment design work required.  Can you

12  walk us through what it is in the Department of Health

13  letters or your documentation as to when that chlorine

14  treatment design work was required?

15      A.    Yes.  It looks like the first piece of

16  correspondence we cite is in Tab Q.

17      Q.    And the date on that?

18      A.    The date is May 30th, 1996.  This is a

19  sanitary survey report prepared by Ryan Boye, a public

20  health adviser in the Northwest regional office.  Let

21  me scan this and find the section that deals with

22  chlorination.  On the third page in under Section VII,

23  entitled "recommendations and directions," Item 7 says,

24  "Obtained DOH approval of chlorination disinfection

25  system.  Contact district engineer."

00274

1      Q.    Then were there subsequent times when the

2  Company was also reminded or once again given direction

3  relating to chlorine treatment design work?

4      A.    Yes.  If you turn to Tab R, which is dated --

5  it's a letter from the Department dated March 26th,

6  1998, and in Item 2 of the letter, it indicates that an

7  as-built evaluation of the installed disinfection

8  systems must be provided.  "In a summary analysis, the

9  operation of these systems provided..."  It goes on to

10  talk about complaints from customers regarding chlorine

11  levels in the Crescent Park water system.  It indicates

12  that the Department had not been able to locate

13  approved designs for the chlorination facilities, nor

14  have we received the monthly chlorine residual reports

15  that the Company is required to provide.

16            Unfortunately, we don't have the second page

17  of this letter, so I'm not sure who in the Northwest

18  office signed it, but it's clearly a letter from the

19  Department to the Company speaking to the need to

20  obtain approval for disinfection at the Crescent Park

21  water system.

22      Q.    This was obviously before May of 1999;

23  correct?

24      A.    The date is March 26th, 1998, yes.

25      Q.    Let's go down to the next row, the Tolmie

00275

1  Park system.  I'm referring to the chart, Exhibit 129,

2  Page 3.

3      A.    I might add before we move to Tolmie, there

4  are other citations for Crescent Park.  Tolmie Park, J?

5      Q.    My question is, do you know whether this

6  March 15th, 1999, letter referenced here is the first

7  time that there was a reference to hydraulic analysis

8  for Tolmie Park or whether it even contains that

9  analysis?

10      A.    The letter is dated March 15th, 1999.  Which

11  system?

12      Q.    Tolmie Park.

13      A.    The letter states that the Company's engineer

14  in conjunction with field staff should review on-site

15  facility conditions, and it goes on to list a number of

16  things that must be evaluated, including the

17  distribution system, and asks that all improvements be

18  justified by an evaluation.  So there are issues that

19  deal with the design of the water system, including

20  storage and booster pump facilities and distribution,

21  which would require that a hydraulic analysis be

22  prepared.

23      Q.    That was what I was looking for.  It doesn't

24  say hydraulic analysis.  Is that included within this?

25      A.    No.  But in my opinion, in order to do a

00276

1  credible job of assessing adequacy of pumping capacity

2  in the installed booster pumps that there would be need

3  for some level of hydraulic analysis conducted.

4      Q.    Looking still at Page 5 of this Exhibit

5  129-J, the Tolmie Park, the letter description, the

6  first sentence states the WSP is approved, but some of

7  the improvements outlined in the CIP are not listed or

8  justified by the WSP.  What does this mean to you?

9  What does it mean if the water system plan is approved,

10  but some of the improvements in the CIP aren't listed

11  or justified in the water system plan?

12      A.    We found that the water system plan

13  discussion for Tolmie Park was approvable.  However,

14  the capital improvement program laid out improvements

15  that weren't justified in the discussion or the plan.

16  Apparently, there was a disconnect between the analysis

17  and the plan and the capital improvements that were

18  recommended and approved.

19      Q.    So portions of the water system plan might

20  include the construction improvement plan, but you are

21  saying in this case for this system, the two didn't

22  match up.

23      A.    Correct.

24      Q.    Yesterday, we had some discussion of the

25  updating of the water system plan.  Is that something

00277

1  you directly supervised, or would that be someone else

2  who handles that?

3      A.    There is a number of people that are involved

4  with the update.  It's complicated in this case because

5  the Company has individual systems that are in two

6  separate regions.  So we've worked directly with the

7  Northwest region to lay out water system plan

8  requirements and to review submittals.  At times, we

9  have had independent review letters, and at times we

10  have had coordinated review letters.

11            The situation has evolved to the point where

12  my office is taking the lead for water system plan

13  review matters, so right now, that is under my

14  supervision.

15      Q.    You use the term "the issue has evolved to

16  the point..."  Has there been a lot of interaction

17  between the Department and AWR on this issue?

18      A.    That's the understatement of the day.

19      Q.    Could you elaborate?

20      A.    A lot has happened between the winter of '97

21  when I first met Mr. Fox and today.  The Company has

22  acquired a large number of systems.  We have been

23  working with the Company to make sure that they

24  understood our requirements.  Some of the systems that

25  were acquired had acute public health concerns, and we

00278

1  took special actions to work with the Company to

2  address those.

3            We've been working on an update of a water

4  system plan.  That's been a difficult endeavor for both

5  parties.  There has been questions regarding what our

6  planning requirements were.  We've not always been

7  satisfied with the quality of work that the Company has

8  provided.  So all of that has triggered a large amount

9  of correspondence.  We literally have three or four

10  feet of notebooks that contain water system plan

11  analyses that the Company has provided.  We've had many

12  discussions.  There has been a lot of back and forth.

13            There have been compliance actions that have

14  been taken, including dealing with acute coliform risk,

15  while water advisories have been issued.  One of the

16  exhibits cites the SMA revocation or suspension.  We've

17  gotten to know the Company reasonably well.

18      Q.    At this point, is the Company in compliance

19  with all the Department of Health requirements, or is

20  this an ongoing issue?

21      A.    Well, I think the Company is doing as good a

22  job today as they've ever done.  I think we've worked

23  our way through a large number of issues.  Some of the

24  past problems have been put to rest.  There are still

25  matters for the Company to address.  They are making

00279

1  progress.  We have the water system plan in our office

2  today.  It's under review.  We know that the Company

3  intends to do further upgrades and improvements.  Some

4  of them are public health recommended.  It's really

5  hard to generalize when a company has, I think, over

6  140 individual systems if everyone is in compliance,

7  every system, but I think the Company is doing a

8  reasonably good job right now.

9      Q.    If you could refer to Tab N, as in Nancy, of

10  Exhibit 129, this appears to be a Department of Health

11  order issued to American Water Resources, or it

12  references several systems.  Can you tell us what this

13  relates to and what the issues were here?

14      A.    Yes.  This is an order the Department issued

15  on February 8th, 1999, and it pertained to three

16  systems in Thurston County  - Crowder Road, Loma Vista,

17  Prairie Villa.  These were not good days.  The Company

18  was not doing well with respect to compliance in

19  dealing with public health issues.  Let me read through

20  the order and see what the specific problems were.

21            The Company had exceeded maximum contaminant

22  levels for coliform bacteria, which, in our view,

23  creates an acute risk to public health.  If people

24  drink that water, they are at risk of becoming ill.

25  They failed to monitor for lead and copper, which are

00280

1  corrosion by-products.  The monitoring data is used to

2  determine if there is a need for treatment to reduce

3  the corrosivity of the water.  The Company had failed

4  to monitor for organic chemicals.  They had not

5  maintained adequate source protection at Crowder Road

6  and Prairie Villa.  They failed to monitor and report

7  chlorine residuals.

8            So because of these concerns, we issued the

9  order, and the order required that the Company employ a

10  professional engineer with expertise in design,

11  operation, and maintenance of water systems, and that

12  that was to be completed within 20 days of receipt of

13  the order, and that the Company working through their

14  engineer should produce reports and construction

15  documents for each of the water systems.  That would

16  bring the system into compliance with our requirements

17  and address deficiencies that we had specified in a

18  previous letter dated February 1, 1999.

19            There is a deadline to do this engineering

20  work, 60 days from receipt of the order.  The

21  facilities were to be installed within 120 days, and

22  the specific improvements that we were looking for

23  included installing disinfection equipment at Loma

24  Vista, installing disinfection equipment at Valley

25  Meadows, Crowder Road, and Prairie Villa; to operate

00281

1  and maintain the disinfection equipment; to submit the

2  corrosion control recommendation report; to monitor for

3  bacteriological quality; to submit a coliform

4  monitoring plan, which is the document that shows how

5  the company will sample for coliform bacteria; to

6  conduct pathological contamination follow-up; to sample

7  for lead and copper; to monitor for organic chemicals;

8  to conduct organic chemical contamination follow-up; to

9  make sure that they used approved methods for the

10  chemical analyses; and if required or violations

11  occurred, to notify the consumers.

12      Q.    Was issuance of this order the first step the

13  Department of Health had taken to attempt to get the

14  Company in compliance with these health issues?

15      A.    No.  We almost never issue an order as the

16  first step to deal with compliance.

17      Q.    Could you describe kind of what your normal

18  process is?  How does the Department attempt to work

19  with companies?

20      A.    We work with all water systems in the same

21  way, whether they are regulated or not, but we are a

22  public health agency, and our philosophy is that if

23  purveyors or owners of water systems understand the

24  public health issues that are at stake, then they will

25  take the steps necessary to correct the problem.  So

00282

1  what we generally do is provide technical assistance

2  and advice, and in issues like this, that advice, it

3  was back to what the public health issues are, and we

4  helped the owner figure out the most pragmatic way to

5  fix the problems.

6      Q.    Is the sanitary survey report one of the

7  methods the Department uses to provide technical

8  assistance?

9      A.    Absolutely.

10      Q.    Has there been ongoing contact between the --

11  I don't know what the title of the person for DOH is in

12  the region supervising the Company.  Is that an

13  engineer or others?

14      A.    There have been many people in the Department

15  that have provided advice and direction to the Company.

16  Would you like me to list or speak to those?

17      Q.    Yes, I would please.

18      A.    Each of our offices, Northwest and Southwest,

19  has a staff person who oversees coliform water body

20  data.  So there has been an ongoing dialogue between

21  those individuals and the Company on issues pertaining

22  to coliform monitoring.  We also have staff to deal

23  with chemical monitoring, and there has been advice and

24  direction provided on how and when to sample for

25  chemicals.

00283

1            There is an engineer assigned to each county,

2  and that engineer over the years has provided a lot of

3  technical assistance, inspecting systems, preparing

4  reports, providing on-site advice and direction,

5  reviewing engineering documents, working with the

6  system's consultant.  Each of our offices has a

7  planner, and we've worked at length with the Company

8  and their consultant to scope and define the content of

9  the water system plan.

10      Q.    Mr. Liechty, when there is a matter that the

11  Company has been directed by the Department of Health

12  to do, such as a departmental order, what's the process

13  for resolving that closure.  Is there an approval

14  process after work is done, and how does that work?

15      A.    Certainly if the Company or the system is

16  ordered to construct something, there is a very formal

17  approval process that's prescribed by our WAC's, our

18  underlying authority, and that requires our

19  professional engineer to prepare engineering documents,

20  submit them to the Department for our review and

21  approval, and with that approval, the system in this

22  case, the Company is authorized to go forth and build

23  the improvements that have been approved.

24      Q.    Then is there a process after the

25  construction documents are approved?  After the

00284

1  construction is done, is there another process?

2      A.    Yes, there is.  After the construction has

3  been completed, the Company is required to produce an

4  estimate of completion, which is a document stamped and

5  prepared by the professional engineer that certifies

6  that the improvements were constructed in accordance

7  with the plans that were approved by the Department.

8      Q.    Do you know what the typical time line is

9  from the time that that is prepared to when the

10  Department reviews and stamps it or finalizes it?

11      A.    The time that it takes to construct a

12  project; is that the question?

13      Q.    I'll need to rephrase the question.  From the

14  time that a project is completed until the Department

15  of Health releases it or does its final approval, is

16  there a typical time line?  Are we talking 18 months or

17  two weeks?  Assuming the construction is done and the

18  engineer submitted engineering documents to Department

19  of Health within a couple of days of that --

20      A.    What's the time lag from completion of the

21  project to certification that it's complete?

22      Q.    Yes.

23      A.    It varies with the type of project, but I

24  would think that for routine type construction without

25  public health issues and concerns, we might see a

00285

1  two-month time lag.  If there are improvements that are

2  critical to solving a public health problem --

3  installing a disinfection system, putting up a storage

4  tank that's required -- I'd say the turnaround is

5  hours.  Often times, it requires our receipt of that

6  certificate of completion in order to release a

7  well-water advisory and declare the public health issue

8  has been addressed properly.

9      Q.    I would like you to refer at this time to

10  Exhibit 129-M and the chart that is the fourth page of

11  that exhibit or the list.  There are six items on this

12  list that say they are under DOH order, I'm

13  understanding this to mean.  Do you know if all of

14  these projects have been completed and approved at this

15  time?

16      A.    I believe they have.  One of these systems,

17  Clerget, is in the Northwest office, and I would have

18  to look at some records to make sure that that has been

19  completed.  The systems in my region do have

20  chlorination facilities installed.

21            MS. TENNYSON:  Might I have a moment?

22      Q.    Yesterday during the hearing, Mr. Fox

23  testified on behalf of the Company, and in response to

24  my question about why the total costs of these

25  surcharge projects are higher than the estimated costs,

00286

1  one of the reasons he stated was that the Department of

2  Health was pushing him to get the jobs completed, and I

3  think the phrased he used was, "DOH was all over me."

4            Based on this Exhibit 129, it appears that

5  many or all of the projects that we are talking about

6  have been issues with the Department of Health for some

7  period of time.  Did all of these projects become

8  critical so the Department of Health pushed the Company

9  to complete the projects in a short time frame in 1999,

10  or what's your view of the history here?

11      A.    I think from a public health perspective, we

12  are more critical than others.  We reviewed the

13  departmental order, which dealt with installation of

14  disinfection facilities.  In our view, those were very

15  critical.  Public health issues were at stake.  So I

16  don't think it's accurate to state that all of these

17  projects  were viewed in the same sense of priority.

18      Q.    Mr. Fox also testified that some of the

19  projects had temporary chlorination systems in there.

20  From the Department's view, what's the difference

21  between a permanent and temporary chlorinator?

22      A.    For chlorine to be effective against the

23  pathogens that are potentially in drinking water, the

24  chlorine needs time to react with the water and the

25  pathogens --

00287

1      Q.    So you just can't spray chlorine at water and

2  have it work?

3      A.    No.  It takes time to work.  When the Company

4  was asked to install disinfection, in several instances

5  they installed the chlorinator; however, there wasn't

6  adequate contact time, which meant that the disinfected

7  water was served to customers before the water had been

8  properly disinfected.  So even though there was

9  chlorine in the water, viral pathogens in particular

10  would still be able to survive.  Even though the

11  chlorinator was present and functioning, the public

12  health risk, in our view, had not been abated.

13      Q.    You had indicated that the Department

14  normally provides technical assistance to the

15  companies.  Was AWR provided an opportunity to correct

16  problems after technical assistance before the

17  Department issued the 1999 order?

18      A.    Yes.  We spent a lot of time with the Company

19  trying to get the disinfection facilities installed in

20  a timely manner.

21      Q.    Would you say that you and your staff have

22  spent more time with this company than other regulated

23  companies in the level of assistance, higher, lower,

24  different?

25      A.    Definitely on the high end.  This has been a

00288

1  unique relationship, and one of the things that made it

2  unique is the large number of systems and the

3  extraordinary amount of time we have spent managing and

4  regulating the Company.

5      Q.    In all the time you have been working with

6  the Company, in your view, why didn't the work get done

7  in a timely fashion?  Were you given reasons by the

8  Company?

9      A.    We were asking those questions of the

10  Company, and one of the answers that we consistently

11  heard is, "I'm running at a loss.  I'm financially not

12  able to make the improvements.  We need rate

13  concessions from UTC in order to raise the revenue in

14  order to make the improvements."

15      Q.    At some point in working with the Company,

16  did you eventually consult with the representatives of

17  the UTC staff?

18      A.    Yes, we did.

19      Q.    Could you describe that interaction, why you

20  started talking with UTC.

21      A.    We are certainly not rate experts, but after

22  hearing from the Company that acute public health risk

23  problems couldn't be resolved without concessions from

24  UTC, we felt it would be appropriate to have

25  representatives from UTC in the room as we were

00289

1  negotiating schedules and steps to address the public

2  health issues.  So we asked that a representative from

3  UTC do that very thing.

4      Q.    Did that occur?

5      A.    Yes, it did.

6      Q.    What did you discover out of that working

7  relationship?

8      A.    I think that the discussion that I recall

9  resulted in notes being made on a white board, and

10  those notes laid out steps, schedules, requirements,

11  that were acceptable to the Company, that were

12  reasonable from UTC's point of view, and led to the

13  deadlines that were part of a compliance order.

14      Q.    So the order that you issued in February of

15  '99 came out of those discussions with the Company and

16  UTC?

17      A.    Correct.

18      Q.    Were those deadlines that were included in

19  that order, were they complied with?

20      A.    No, not all of those deadlines.

21      Q.    Do you know why that happened?

22      A.    I would have to look at each situation.

23  There were a lot of complicating factors from the

24  Company's view, including a desire to intertie a couple

25  of the systems and an inability to obtain easements.

00290

1      Q.    There were some issues with water rights and

2  Department of Ecology also?

3      A.    Yes, I believe there were.

4            MS. TENNYSON:  I don't have any further

5  questions for Mr. Liechty at this time.

6            JUDGE BERG:  Mr. Fox, why don't you go ahead.

7            MR. FOX:  Thank you, Your Honor.

8

9                     CROSS-EXAMINATION

10  BY MR. FOX:

11      Q.    I guess first maybe let me ask that the

12  general crux of all of the 13 projects would you say

13  was pretty much to cure chlorination issues and some

14  other -- what would I say -- important but lesser

15  important health issues?

16      A.    Several of the systems required

17  disinfection, and that's clearly a very high priority

18  for us.  I believe there were other improvements that

19  were also proposed and negotiated and agreed to.

20      Q.    I guess a part at least to the point of my

21  question was relative to such things as repairing the

22  pump house that was falling apart, the roof was falling

23  in, the insulation was falling out and rat infested,

24  different things like that.  Those are things you

25  obviously would say should be fixed if you went out and

00291

1  made a sanitary inspection in most cases relating to

2  those surcharge projects.  That was not your focus at

3  that time.

4      A.    Well, I don't know that I could agree with

5  that.  I can't imagine the Department overlooking a

6  pump house in the condition you described.

7      Q.    Would you tell me then what pump houses were

8  inspected and found to be in that condition and

9  comments were made about them?

10      A.    I'd have to go through the notebook and

11  information.  I can't from the top of my head answer

12  that.

13      Q.    You said that a part of the problem with the

14  whole process here was the number of systems that we

15  have.  Do you know how many systems that we have?

16      A.    Today?

17      Q.    Today or when we were going through all this

18  process, which is very near the same number.

19      A.    I asked Mitch this morning how many systems,

20  and I think the answer was 146 systems, and I think 26

21  Group A.

22      Q.    During the process, as you pointed out, there

23  was a great deal of discussion, virtually from day one,

24  about various problems with the systems, and one of the

25  concerns that we discussed was with the very large

00292

1  number of systems that we had, and as you related, my

2  conversations about cost and not having money to do all

3  the things that should be done.  Part of this concern

4  that I believe was discussed and I asked your help or

5  input was to help UTC understand that the cost and work

6  of taking care of 150 systems spread over seven

7  counties was considerably more work intensive than

8  taking care of the same number of systems in one spot

9  or the number of customers in one system.  Do you

10  remember those kind of conversations?

11      A.    I remember discussions and have read

12  correspondence that discussed the fact that there was a

13  lot of travel involved to service the various systems

14  that the Company owned and that you had a limited

15  number of staff that were able to do that, and that

16  just the sheer logistics of inspecting and maintaining

17  systems was very difficult.

18      Q.    All of that, would you say, relates to the

19  cost of what it take to operate those systems?

20      A.    Absolutely.

21      Q.    As far as the condition of the systems, you

22  said that you are pretty well aware of various systems

23  around.  I imagine through your career, you have been

24  out and looked at a lot of the systems yourself, not

25  necessarily ours, but other systems in your region?

00293

1      A.    I've inspected several water systems, yes.

2      Q.    I'd like you to look at the pictures -- do we

3  have an extra copy that Mr. Liechty can look at?

4            JUDGE BERG:  He can look at one of the Bench

5  copies.

6      Q.    I've presented here a few random pictures.

7  I'll kind of flip through them and talk about them a

8  bit and then ask you some questions about them.  The

9  first page is the Crowder Road system, which is one of

10  the ones that we have been most concerned with and has

11  been very heavily discussed in these proceedings.

12  These pictures are the Page 1, Page 2, Page 3, are of

13  the Crowder system.

14            MS. TENNYSON:  Your Honor, if Mr. Fox is

15  going to refer to these now -- although, we talked

16  about doing it at a later time -- perhaps it might be

17  appropriate for him to put on the record at this point

18  his description of what these pictures represent,

19  whether they are before or after what systems,

20  etcetera, and then formally admit it into the record so

21  we are clear with what we are talking about.

22            MR. FOX:  That's fine with me.

23            JUDGE BERG:  My only concern is I suppose

24  there is no objection over his description constituting

25  testimony --

00294

1            MS. TENNYSON:  That's what I'm proposing,

2  essentially.  Although Mr. Liechty is the witness on

3  the stand that we switch for a moment and put Mr. Fox

4  as the witness so he can testify to it rather than have

5  him attempt to ask questions and describing without

6  really testifying.

7            JUDGE BERG:  Are you going to want to cross

8  him on these photos then before we return to

9  Mr. Liechty?

10            MS. TENNYSON:  I will not ask additional

11  questions.  I would just like to have a description,

12  unless I feel the need to clarify any information.

13            JUDGE BERG:  Let's take a slight segue in the

14  proceeding.  Mr. Fox, at this point, I'll remind you

15  that you are still subject to the oath you took

16  earlier.  I would like you to just walk everyone

17  through these 11 pages of photographs, and I know from

18  looking at the photographs that some of the photographs

19  have date stamps.  Some of them appear to be Polaroids

20  without date stamps.  If you would just go through this

21  set and as directly as possible, make reference to the

22  photograph, the position on each page by number, the

23  date which it was taken, and what it purports to show,

24  and go photograph by photograph, and also indicate if

25  you know the person who took each of these photographs.

00295

1            MR. FOX:  Thank you, Your Honor.  First off,

2  let me comment about the date and the photograph.  A

3  lot of these photographs were taken with my camera, and

4  the date in my camera was all messed up, so I would not

5  count much on those.  They may or may not be correct.

6            Page 1, the photograph with the pump house

7  and the individuals in the picture -- the individuals

8  being Dave Doern my service man.  The other two are

9  interior pictures of the Crowder pump house.  These are

10  all three taken prior to -- at this point, we had only

11  done very minor routine repair type work.  We hadn't

12  done any of the work in the surcharge.

13            JUDGE BERG:  Approximately what time frame

14  would that be?

15            MR. FOX:  This was very early on in our

16  ownership of the system, so to give you a real good

17  date, I would have to look back at our purchase

18  documents, which I don't have with me, but I'm sure

19  these were either taken when I was looking at the

20  system just before we purchased them or shortly

21  thereafter.  In this case, the '96 in the photograph

22  may very well be right, but I certainly wouldn't

23  certify that without looking at my records.

24            Page 2 is again interior photos of one of the

25  Crowder pump houses.  If you notice on Page 1, there is

00296

1  two little pump houses that are separated from each

2  other.  You see that better on Page 3.  So the top one

3  is the two pump houses.  The bottom two are again

4  interior shots of those pump houses.

5            Going to Page 4, we have on the left two

6  exterior photos of the Crowder pump house taken just a

7  day or two ago, and on the right, two interior photos

8  of the pump house taken at the same time, yesterday, I

9  guess.

10            MS. TENNYSON:  Mr. Fox, before we go on, is

11  there now one or two pump houses on the Crowder system?

12            MR. FOX:  Yes.  In rebuilding the system, we

13  totally demolished the two deteriorated pump houses and

14  built one new pump house.

15            MS. TENNYSON:  So the two pictures we have on

16  Page 4 are --

17            MR. FOX:  Are different views of the same

18  pump house, yes.

19            Page 5 is again interior photos of the

20  Crowder pump house showing the source meter and other

21  improvements after the reconstruction, and the photo on

22  the right is showing the chlorine tank and chlorine

23  feeders and various of the electrical equipment.  On

24  Page 6 is after reconstruction photos of the Loma Vista

25  pump house, the top left being obviously the exterior

00297

1  view, and others are various interior views showing the

2  piping, the sand filter, the chlorination equipment and

3  various equipment.

4            On No. 7, we have pictures of the Valley

5  Meadow system before any reconstruction.  The one on

6  the right showing the tank is the outside of the pump

7  house and the pressure tank, which is largely outside

8  and the one end of it inside.  The other two are just

9  interior photos of various electrical equipment and

10  piping, and if yours is like mine, one picture is

11  upside down on the bottom.

12            JUDGE BERG:  Would you give me an approximate

13  time frame when you think these photographs might have

14  been taken?

15            MR. FOX:  These should have been taken in the

16  same general time frame as the Crowder ones because I

17  bought the systems in the same general time frame.  I

18  have the impression, however, if the photo date is

19  right, I notice a couple of these interior ones have

20  '99, so it's possible these were taken shortly before

21  we did the reconstruction, but obviously, they were

22  before the reconstruction.

23            JUDGE BERG:  The non Polaroid photographs,

24  were those taken by you?

25            MR. FOX:  Most of the non Polaroid

00298

1  photographs were taken by me.  Not in all cases,

2  however.  Dave Doern took some and possibly some other

3  one of our service people might have taken some, but I

4  took the bulk of them.

5            On Page 8, we have exterior views of the

6  Pleasant Valley system prior to any reconstruction.  On

7  Page 9, we have on the top a picture of the new well

8  head that had been discussed yesterday whether just

9  what had to be done there, and I commented a totally

10  new pump house had to be built, which it was.  This is

11  the before, and the one in the center is, again, the

12  sloppily constructed pre refurbishing and the same at

13  the bottom.

14            Page 10 is the Forest Creek system.  That's

15  one that we haven't been discussing here, but the

16  reason I included these pictures was again to show the

17  general condition of systems in general, obviously, the

18  exterior of the old cedar storage tank, and the other

19  two are of the various pumps and piping and disarray on

20  the interior.  Sheet 11 has another page of the same

21  kind of thing, the hodgepodge interior of Forest Creek

22  system.

23            MS. TENNYSON:  Mr. Fox, if I might inquire

24  about those last pictures of the Forest Creek system,

25  you indicated it was not one we've been discussing.

00299

1  Any work on that system was included in the surcharge

2  funding request, was it?

3            MR. FOX:  That is correct.

4            JUDGE BERG:  Anything further about these

5  photographs?

6            MR. FOX:  No.  I think that pretty well

7  describes them.

8            JUDGE BERG:  In that case, that will close

9  your portion of additional direct testimony regarding

10  these photographs, and we'll go back to

11  cross-examination of Mr. Liechty.

12            MR. FOX:  Thank you, Your Honor.

13      Q.    (By Mr. Fox)  So my question then,

14  Mr. Liechty, is viewing all these before photographs,

15  would you say that these systems are either pretty

16  typical or a little poorer than the general system you

17  find out in the countryside today?

18      A.    Unfortunately, I think they are somewhat

19  typical of the small Mom and Pop water system.

20      Q.    Would you generally agree also that we

21  usually find the Group B systems -- which you have

22  overall authority for but don't deal with directly; is

23  that correct?

24      A.    In most counties, that's the case.

25      Q.    Would you agree that the B systems are

00300

1  generally found in a little poorer shape yet than the A

2  systems?

3      A.    Probably.  When you are dealing with small

4  water systems that aren't owned and run by water

5  professionals, there is a lot of variation, and often

6  times you find old, poorly maintained systems.

7  Probably age is the most critical factor as opposed to

8  who owns it or what size.

9      Q.    Do you recall our discussions, one of the

10  many you described, that I pointed out and emphasized

11  that my objective was to take all these crummy derelict

12  systems and slowly bring them into a status of a very

13  good repair and very good management?

14      A.    I heard you say it on several occasions that

15  when you made improvements, you would do it right and

16  bring them up to an accepted standard.

17      Q.    Would you say that when I have made

18  improvements, I have done that?

19      A.    That was the general view of our engineers is

20  that when the Company decided to make upgrades that

21  they did a quality job.

22      Q.    Early on, when the issue of the surcharge

23  approach to financing improvements was being discussed,

24  we started out discussing a list which we've seen here

25  somewhere which was close to 90 systems that I

00301

1  advocated should have worked under the surcharge

2  approach.  Do you remember that discussion?

3      A.    I was aware of those, Mr. Fox, but I wasn't

4  directly involved in taking the long list and making

5  the short list.  I was generally aware of those

6  discussions.

7      Q.    Do you know of any other small water company

8  that has a similar amount of systems?

9      A.    There is at least one other company now that

10  has as many systems, and that would be Washington Water

11  Service Company.

12      Q.    I guess I would view them as a smaller

13  company, but they certainly have a number of systems.

14  I guess maybe I should define what I call small?

15      A.    Okay.

16      Q.    I would say owners, companies, who have,

17  let's say, under eight- or ten-thousand connections?

18      A.    Okay.  That's a small company.

19      Q.    That's what I'm defining as a small company,

20  which in my mind, Washington Water is --

21      A.    Large.

22      Q.    -- regional and tremendously bigger.

23      A.    Right.

24      Q.    My question was, of the other companies I'm

25  defining as smaller, who do you know of that has a

00302

1  similar amount of systems as we do?

2      A.    I know no company comes to mind with as many

3  individual systems that meet your definition of small.

4      Q.    Would you think it fair to characterize then

5  that we've bit off a pretty big chunk and put a lot of

6  effort into trying to handle that big chunk?

7      A.    I think it's fair to say that the Company

8  grew very rapidly and went to a large number of systems

9  in a very short period of time.

10      Q.    To your knowledge, is there any test

11  requirement that we don't have up-to-date today out of

12  those 150 systems?

13      A.    Water quality monitoring testing

14  requirements?

15      Q.    IOC, BOC, bacti (phonetic), lead and copper,

16  any of the tests, radio nucleoid, whatever?

17      A.    You know, I don't know the answer to that

18  problem.  There are no orders issued to address failure

19  to monitor, but I honestly don't know the status for

20  each system.

21      Q.    Since you supervise the various engineers and

22  people involved, it would be pretty likely that it

23  would be brought to your attention if we were out of

24  compliance, particularly in view of all the discussions

25  that have been going on.  Wouldn't you say that to be

00303

1  true?

2      A.    Yes.

3      Q.    As far as the discussions about the timing

4  and the pressure of getting things done, up until the

5  time that the health issues related primarily to Loma

6  Vista and Crowder, the ones that needed chlorination,

7  Prairie Villa, up until those things began to, what

8  should I say, really become a big issue, would you say

9  that there was really a very good relationship between

10  DOH and American Water, LCUC, at that time, Lewis

11  County Utility?

12      A.    I think there were two separate

13  relationships.  One with Southwest, my region, and a

14  separate one with Northwest.  And I think that probably

15  the working relationship and the Department's overall

16  assessment of the Company was probably initially a

17  little better with Southwest than with Northwest.  I

18  think there was some history that Northwest had that I

19  didn't fully appreciate until I read some of the

20  information that got compiled.

21      Q.    Northwest being primarily Chris McMeen as far

22  as the district engineer?

23      A.    In the -- department, Tacoma Pierce.

24      Q.    We had a number of discussions about

25  generators through the process of dealing with getting

00304

1  the surcharge set up, and do you remember a discussion

2  that we had that I related to you that it was Chris

3  McMeen's viewpoint that every system should have a

4  generator because that addressed the question of

5  reliability or always having water that the DOH rules

6  said, and as I recall your comment, you said, "Well,

7  that's Chris's idea."  Do you remember that

8  conversation?

9      A.    I don't specifically remember that

10  conversation, but I do recall discussions regarding the

11  Department's reliability standards and how to interpret

12  them, and I think there are individual differences

13  amongst the engineers in the offices.

14      Q.    One of the things that because primarily of

15  Chris's advocating the generators had to be there, I

16  asked for the cost of generators to be a part of the

17  surcharge process that we were building.  Do you

18  remember that?

19      A.    Again, I wasn't directly involved with the

20  big CIP list and the surcharge, so I heard talk about

21  generators, but I wasn't directly involved with that.

22      Q.    Mary asked a question about was Clerget

23  system now approved, and you said that because that's

24  in Chris's area, you didn't know for sure; is that

25  correct?

00305

1      A.    Correct.

2      Q.    But it is, again, would you say highly likely

3  that you would know if it wasn't?

4      A.    I think I have some information here that I

5  might be able to figure out what the current status of

6  Clerget is.

7      Q.    If you choose, that's fine.

8      A.    According to our records, the Clerget system

9  has a red operating permit, which indicates that there

10  are still unresolved issue and could be viewed as

11  unapproved or not meeting public health standards.

12      Q.    Do you know what that issue is?

13      A.    No, I don't.

14      Q.    The current WFI or operating permit that we

15  received indicated Clerget as being red.  We inquired

16  as to why, and the reason we were given was because the

17  WSP was not yet finalized and approved.  Do you believe

18  that would be an accurate reply from DOH?

19      A.    I know that the water system plan is not

20  approved.  That's a fact.

21      Q.    Right, and would that be a point that would

22  keep the permit in the red status?

23      A.    It could be.

24      Q.    Particularly since it was a part of the

25  order?

00306

1      A.    Correct.

2      Q.    That's what we were told, but you don't know.

3  You can't verify that's what we were told?

4      A.    No.  I can't verify what you heard from

5  someone over in the Northwest office.

6      Q.    How many of the smaller systems, A's or B's,

7  in the Pacific Northwest or in your region would you

8  expect have chlorination on them, percentage wise or

9  some kind of a way to give us a feeling.

10      A.    I'd say somewhere between 15 and 25 percent

11  of the sources would be disinfected, and most of those

12  would be chlorination.

13      Q.    I recognize that the DOH rules say that you

14  are to get daily readings on those chlorine residuals.

15  How many of those systems do you get daily readings?

16      A.    In my region, I would say probably 75 percent

17  of the systems report.

18      Q.    I recall at earlier discussions with

19  particularly Chris McMeen, Jim McCauley about chlorine

20  daily readings, and I recall the discussion of the cost

21  involved to sending someone every day to get a chlorine

22  reading, and I was told that the general policy was

23  that as long as you are getting enough chlorine

24  readings here and there, that it felt pretty confident

25  that things are working right, that that was

00307

1  acceptable.  Was that an unwritten policy, or was that

2  kind of an everyday policy, at least a year or two or

3  three ago if not today?

4            MS. TENNYSON:  Your Honor, I would object.  I

5  was hoping we might come to something relevant so I

6  didn't object earlier, but Mr. Fox is asking questions

7  about taking daily chlorine readings, chlorination on

8  other systems, percentages of systems that have

9  chlorination.  We are talking about a surcharge.  Daily

10  chlorine readings and those sorts of things are not

11  covered by the surcharge, so unless he can tie it in

12  somehow to this case, I would object to further

13  questioning on this.

14            JUDGE BERG:  I'm going to overrule the

15  objection and allow the questions to be asked.  When

16  you ask a question like this, Mr. Fox, you need to

17  first confirm whether this witness has any personal

18  knowledge of the matters that you are referring to.  As

19  you are presenting it, it sounds as if you are

20  testifying.  So before you get to the point where you

21  want to ask this witness whether or not something is

22  true or not, you need to present it in such a way that

23  you are confirming whether he's aware of certain

24  positions or discussions that have occurred.

25            MR. FOX:  I will try to pay attention to

00308

1  that, Your Honor.  Thank you.

2            JUDGE BERG:  I do expect that this is being

3  tied into the quality of service on AWR systems.

4            MR. FOX:  Thank you.  I believe that it is.

5            JUDGE BERG:  I understand.  I know that's why

6  you are asking the question, but I expect that you will

7  also ask a question of this witness that will reflect

8  back on your systems the same way you were asking

9  questions regarding whether or not there were other

10  systems like, for example, that compared in size to

11  AWR.

12            MR. FOX:  Thank you, Your Honor.

13      Q.    (By Mr. Fox)  Mr. Liechty, you commented

14  about meetings we had at your office and the white

15  board description that you gave about steps and

16  deadlines.  The most important of the discussion at

17  this time, was that Crowder?

18      A.    I think we had three systems that we were

19  working with.

20      Q.    Maybe I characterized it wrong.  I agree with

21  you.  We are talking about Crowder, Loma Vista, and

22  Prairie Villa, but the reason I said was Crowder the

23  most important -- let me ask another question first.

24  Were you getting heat, if we will use the term, from

25  Kevin O'Neil and other public people about getting that

00309

1  job done quickly?

2      A.    First of all, Kevin O'Neil was one of your

3  consultants.

4      Q.    Excuse me.  Kevin O'Sullivan, one of the

5  county commissioners.

6      A.    We had inquiries from a number of people.

7  The concern was, why is the boil-water still in effect,

8  and when is it going to be lifted.

9      Q.    I agree.  We then had a meeting at your

10  office about that, and the white board discussion

11  followed that you referred to.  I remember you putting

12  dates on that board, and we discussed whether they were

13  doable or not.  We finally arrived at dates that I said

14  was terribly aggressive but doable; do you remember

15  that?

16      A.    Yes.

17      Q.    Do you remember that I did meet that date?

18      A.    We had dates for different systems, and it's

19  complex enough that I can't recall, first of all, what

20  the schedule was and the outcome.  I would have to go

21  back and do more research.  I think some dates were

22  met, others weren't.

23      Q.    Mary asked questions concerning the time for

24  certification, when a job was completed and the

25  engineer had given you certification it was complete,

00310

1  and you said that can sometimes be like two months, and

2  I believe that you said in the case of Loma Vista or

3  Crowder that it was extremely quick.

4      A.    What I recall saying is that if the stakes

5  were high, for example, if completing the project would

6  lift a boil-water, that project would be certified as

7  being complete in a matter of hours.

8      Q.    Yes.  And on those projects, do you remember

9  when those projects were completed, the engineer

10  hand-carried certification to you and that you did

11  certify it virtually in hours?

12      A.    I recall fast-tracking review, approval,

13  processing of your certification.

14      Q.    Just for information, my caption on Page 33

15  was wrong, the pitless adapter.  Page 33 is not a

16  pitless adapter.  It's the other type.  The document

17  was referred to here about suspension of our SMA

18  status.

19            JUDGE BERG:  Excuse me, Mr. Fox.  Would you

20  make specific reference to that document so the record

21  will reflect exactly what you are speaking to?

22            MR. FOX:  Exhibit 128.

23      Q.    (By Mr. Fox)  While we received this document

24  about intent to suspend our SMA status, do you recall

25  that there was subsequent discussions and that our SMA

00311

1  status was not suspended?

2      A.    As I recall, you voluntarily offered to

3  remove yourself from the list of approved SMA's.

4      Q.    Thank you.  You discussed the difference

5  between permanent and temporary chlorination.  When

6  there is a hit, we chlorinate.  That's the normal

7  thing; right?  And then retest and see if you have

8  rectified the problem.  Is that the normal process?

9      A.    Each one is handled case by case, but often

10  times, there is a need to disinfect, flush the system,

11  and retest.

12      Q.    What that doesn't solve the problem, the next

13  step is...

14      A.    If flushing isn't resolving the problem, then

15  we move onto trying to find out where the problem is

16  coming from.  It often times is the source itself, or

17  it may be contamination after the water is in the

18  pipes.  It's honestly unusual that we can pin down the

19  source of the problem.

20      Q.    Is it fair to say that when the problem

21  cannot be pinned down, the next thing that's done is

22  temporary chlorination?

23      A.    No.  If we conclude that there is chronic

24  contamination and that the system needs to be

25  disinfected on a permanent basis, then we require that

00312

1  there be a properly designed and constructed

2  disinfection system.  We want the facilities to be

3  adequate, including contact time.

4      Q.    I understand that, but in the interim,

5  because the permanent chlorination can't be designed or

6  approved by DOH or installed within a matter of a day

7  or so, isn't it normal that temporary chlorination is

8  done?

9      A.    I can recall instances where a chlorinator

10  was put on, which we would call that the temporary

11  chlorinator.  We would leave a boil-water advisory in

12  effect.  That temporary chlorination certainly isn't

13  hurting the situation, but it doesn't meet all of the

14  public health standards and isn't used as an adequate

15  solution.

16      Q.    Not viewed as being as good.

17      A.    It doesn't assure the water is safe.

18      Q.    When temporary chlorination is installed, is

19  it DOH's rule that the water purveyor who installed the

20  temporary chlorination needs to get the approval and/or

21  concurrence of the regional engineer?

22      A.    Generally, yes.

23      Q.    After that temporary chlorination is

24  installed, more tests are taken; is that correct?

25      A.    Well, sure, more tests are taken.

00313

1      Q.    If after taking those additional tests it is

2  shown that the problem has at least been temporarily

3  satisfied or cured, as you said, the result then is not

4  as good as permanent chlorination, but it does, would

5  you say, greatly alleviate the degree of potential for

6  problems?

7      A.    Let me put it this way:  The risk hasn't been

8  reduced to the point where we feel the water meets our

9  standards, and if a boil-water advisory were in effect,

10  it would remain in effect, regardless of what the test

11  results indicated.  That's standard practice in both

12  offices.

13      Q.    Right.  But wouldn't you agree that the risk

14  has been greatly diminished because we are now getting

15  good tests, whether or not it's been totally satisfied?

16      A.    Bear with me.  The tests are for bacteria, an

17  indicator organism.  An indicator organism is killed

18  very effectively by the levels of chlorine that the

19  temporary chlorinator would introduce.  So the

20  indicator organism would show the water would meet the

21  public health standard.

22            However, the level of chlorine that a

23  temporary chlorinator would inject is not sufficient to

24  address viral contaminants that do cause disease and

25  which are typically encountered in water.  It's not

00314

1  practical to test for the viral contaminants.  So in

2  our view as a public health regulator, there is two

3  factors to take into account:  the performance

4  standard, the design criteria that are applied to put

5  the chlorine in the water, contact time in this case,

6  as well as satisfactory test results, and we've got to

7  have both before we are confident that the water will

8  meet the public health standards.

9      Q.    What you want to see is a relatively constant

10  chlorine residual at the user's house; right?

11      A.    That's a piece of it.  We also want to make

12  sure that there is adequate contact time, that the

13  water has had a chance to react with the chlorine for a

14  certain amount of time before the people drink it.

15      Q.    You commented about, I believe, it was in

16  129-J, Loma Vista, about lead and copper testing.

17  There was guidelines set out -- I'm not sure whether it

18  was by the State or by EPA or which agency, but when

19  lead and copper testing come into being, there was

20  guidelines set out of when lead and copper testing

21  needing to be accomplished; is that correct?

22      A.    That's correct.

23      Q.    To my knowledge, American Water complied with

24  all of those deadlines.  Do you agree or disagree with

25  that?

00315

1      A.    For which system?

2      Q.    For every system.

3      A.    I can't speak to every system.  The ones that

4  I'm familiar with were the south county, Crowder Road,

5  Loma Vista, Prairie Villa situations, and there was a

6  lot of concern about compliance with corrosion

7  monitoring of treatment, and the Company was performing

8  within the schedules prescribed by the law.  We knew

9  there was a problem.  However, the law allowed a

10  certain period of time to fix that problem.

11      Q.    That's correct.  Thank you.  One of the

12  issues involved in the order and the WSP surcharge

13  process was completion or revision of our WSP; is that

14  correct?

15      A.    Say that again?

16      Q.    A part of the order that we were complying

17  with and a part of the surcharge money was to be used

18  to update our WSP; is that correct?

19      A.    Which order are we speaking of here?

20      Q.    The order that your department issued.

21      A.    There were several.

22      Q.    There was two, one concerning Crowder, Loma

23  Vista, Pleasant Valley.

24      A.    Let's go to the actual order.

25            JUDGE BERG:  I believe one order is located

00316

1  at Tab N to Exhibit 129, and I don't recall any

2  reference to another Department of Health DO, but if

3  you know of the inclusion of another order into those

4  tabs, Mr. Liechty, please make reference to it.

5            THE WITNESS:  The Order Docket 99007, which

6  is Tab N, and it applies to Crowder, Loma Vista, and

7  Prairie Villa.  I don't believe it includes the water

8  system plan.

9      Q.    (By Mr. Fox)  I apparently don't have a copy

10  of the other order here.  At any rate, I don't want to

11  spend too much time on that issue, but the updating of

12  our water system plan, whether it's by the order or

13  however, is something that you have demanded; right?

14      A.    That is correct.

15      Q.    We did finish the updating of that water

16  system plan and submit it to you somewhere between 30

17  and 45 days ago; is that correct?

18      A.    That's correct.

19      Q.    With respect to the 13 projects that were on

20  the list that was to be completed under the surcharge,

21  you said some of those discussions you were in and some

22  you weren't.  The latter ones that pretty much reached

23  a conclusion, I think you were pretty much in.  Is that

24  reasonable to say?

25      A.    I don't think so.  My involvement with

00317

1  delineating the projects on the part of the surcharge

2  was mostly having other staff in the office let me know

3  that were trying to short-list the list of capital

4  improvements and agree on critical projects and that

5  there will be a surcharge that revolves around those.

6      Q.    There was a meeting fairly earlier -- well,

7  when we are getting close to having the surcharge, what

8  was and wasn't going to be done boiled out, I remember

9  a meeting in your office.  It was one day I looked up

10  here, but it was March 29th, '99.  Sean Orr was there.

11  Peter Beaton was there.  I think maybe Sandy

12  Brentlinger.  I'm not sure.  I questioned whether Gene

13  might have been there.  Were you at that meeting?

14      A.    That doesn't ring a bell.  No, I don't recall

15  that meeting.

16      Q.    I asked you about the water tests.  Do you

17  know of any deficiencies of any kind that American

18  Water has today?

19      A.    Well, we talked about Clerget being --

20      Q.    But the issue there is the water system plan

21  which has been submitted?

22            MS. TENNYSON:  I will object to the form of

23  the question.  Mr. Fox testified in essence that was

24  the problem, but Mr. Liechty said he was not aware of

25  the reasons.

00318

1            THE WITNESS:  I have a table that shows the

2  operating permit classification for various systems,

3  and it looks like several systems are red, which means

4  that there are deficiencies, and there are several that

5  are yellow, which means the status is unknown, and I

6  can't -- I don't know the status of water quality

7  monitoring for all of the systems.

8      Q.    Your list, I take it, doesn't identify the

9  reason for the red or the yellow?

10      A.    No, it doesn't.

11      Q.    What other reasons might be there be?

12      A.    To be red, in substantial noncompliance,

13  there would need to be a documented public health

14  deficiency; for example, water quality violations, or

15  failure to comply with an order that had been issued,

16  and you missed a deadline specified by the order.

17      Q.    I just don't have that other order, but if

18  the reason for that being red was something other than

19  administrative, such as the WSP being completed or

20  whatever, if it was some kind of a coliform or some

21  kind of health related issue, wouldn't you expect that

22  your staff would have brought that to your attention,

23  because we would be long beyond what should have been

24  done at this point.

25      A.    Are we talking about Clerget?

00319

1      Q.    We are talking about Clerget specifically but

2  any system in general.

3      A.    And the question is what?

4      Q.    The question is, if there were any health

5  related or substantive issue other than paperwork that

6  was not up-to-date and causing a permit to be red,

7  wouldn't you expect that your staff would have brought

8  that to your attention?

9      A.    Yeah.  I think it's reasonable to say that if

10  there was a public health concern, I would know about

11  it.

12      Q.    Thank you.

13            MR. FOX:  I don't believe I have any other

14  further questions, Your Honor.

15            JUDGE BERG:  I have some questions for

16  Mr. Liechty, but I think we will take just a short

17  break, and we will be back on the record at 11:30.

18            (Recess.)

19            JUDGE BERG:  Back on the record.

20

21                   E X A M I N A T I O N

22  BY JUDGE BERG:

23      Q.    Mr. Liechty, I have several questions, and

24  most of my questions are going to focus on the document

25  at Tab M, which is the priority list with the

00320

1  designation "UTC meeting, 2/25/99" of Exhibit 129, and

2  then also, I'd like you to have close at hand the cover

3  document to 129, the AWR surcharge hearing research

4  insert, and if you can, the document marked as 107.

5            Just to put in context, all of my questions

6  are going to focus on the priority list of water

7  systems numbered 1 through 12 and also the South

8  Prairie water system, which subsequently was included

9  with the water projects to be covered by the surcharge

10  approved by the Commission.  Would you confirm for me

11  whether the document at 129-M, the priority list, was

12  prepared by you or under your direction?  I should say

13  whether it was prepared by you or under your direction.

14      A.    It was not prepared by me, and I'm reasonably

15  certain that it was prepared by Sean Orr, who was the

16  planner in our office at that time.

17      Q.    Then there is some handwritten notes on this

18  version of this document indicating that those projects

19  1 through 6 under order for chlorination and

20  miscellaneous improvements are handwritten notation "A

21  plus" and the project 7 through 12 is "A."  Do you

22  understand what the "A plus" or "A" designations mean?

23      A.    No.

24      Q.    One of the stated purposes of the surcharge

25  was to provide a cost-covering mechanism for water

00321

1  system improvements that were required by Department of

2  Health.  In looking at this list of 1 through 12, I

3  think it's easy to understand that improvements related

4  to 1 through 6 that are the subject of a DO would be

5  considered requirements.  To the extent that other

6  projects have been approved for surcharge, that being 7

7  through 12 or other projects that were not subject to a

8  DO, how would that requirement that improvements be

9  made be documented or otherwise established?

10      A.    Made apparent to the Company?

11      Q.    Yes, certainly made apparent to the Company.

12      A.    In the most general sense, we've got a set of

13  regulations and design standards which all companies

14  and water systems are expected to comply with.  So

15  that's just a general standard that's out there.  How

16  those various requirements apply to any, say, Elk

17  Heights through Terry Lane, we would have to go back

18  and take a look at our records, sanitary surveys, and

19  other information in our files that would note any

20  issues, problems, concerns.  So there is one source,

21  and we've cited some of that in the notebook.

22            Secondly, when systems are acquired, there is

23  an assessment done by the perspective owner to just

24  evaluate the condition of those systems, so that's

25  standards practice.  So I would think the Company, and

00322

1  particularly their consulting engineer or their field

2  person, would have field notes and documentation

3  regarding the condition of the systems.

4      Q.    So at the time that AWR was acquiring

5  systems, possibly as early as 1996, and continuing on

6  through the period of time after you became aware of

7  Mr. Fox's action plan, these projects -- again, we are

8  talking about these 13 projects.  Are you aware that

9  these projects had documented problems preexisting

10  their acquisition, or are those problems that were then

11  determined at the point of acquisition?

12      A.    By the Company?  You know, the dates on

13  acquisition and the dates that go back to surcharge, I

14  don't know those.  What I am --

15      Q.    Let me put it another way then.  I'm sure I

16  presented the question in a confusing way.  With

17  regards to these projects, are you aware whether there

18  were long-term or long-known problems associated with

19  any of these systems or the systems within your region

20  prior to acquisition?

21      A.    Well, again, I don't know when the system was

22  acquired, but in the notebook, there is documentation

23  where we've attempted to notify the Company of issues

24  and concerns, so that information has a date on it, and

25  where that sits with respect to acquisition, I'm not

00323

1  sure.

2      Q.    The purpose of the question is to determine

3  whether or not this was a problem that was inherited or

4  a problem that was created by AWR.

5      A.    In my opinion, a large number of the problems

6  were inherited.  Systems with physical deficiencies and

7  deficiencies that had been noted by the Department to

8  the owner, the previous owner, were purchased by AWR,

9  so they bought systems with problems.

10      Q.    Turning to the cover document for 129, that

11  being the document with the heading "AWR surcharge

12  hearing research," the second column, "items AWR claims

13  not included in original scope of work," was that

14  information taken literally from what's marked as

15  Exhibit 107, or did DOH in any way develop that

16  information independent from 107?

17      A.    We used information that was provided to us

18  by Commission staff, and that was described as

19  information that the Company's attorney had provided.

20      Q.    How was that presented to you?  Were you

21  given a document, if you know?

22      A.    Yes, we were given a document.  I didn't

23  bring all my background information.  It may very well

24  have been Exhibit 107.

25            MS. TENNYSON:  If I might interject, there

00324

1  was a document that I had prepared containing

2  additional information and summary information that I

3  also gave to Mr. Liechty, so it may have been a

4  combination of Exhibit 107 and other information that I

5  had put together.  If you would like to have a copy of

6  it for the record, I do have it, but since it was a

7  document I prepared and for my own use and tracking

8  information, I didn't include it as an exhibit.

9            JUDGE BERG:  That won't be necessary,

10  Ms. Tennyson.  I appreciate the explanation.  To the

11  extent this was a document prepared by DOH, I just want

12  him to further investigate whether or not they had

13  independently developed any of that information, and to

14  the extent they are relying on other information,

15  whether there was any source other than 107, but I

16  don't think it's necessary to go any further than that.

17            THE WITNESS:  I can just unequivocally state

18  the intent was to use information developed by the

19  Company, and we no in no way assumed or fabricated or

20  created anything other than what we felt the Company

21  had created.

22      Q.    (By Judge Berg)  Based upon the work that

23  AWR -- by "work," I mean based upon the water system

24  plan improvements or the capital improvement plan of

25  AWR that was being required with relation to these 13

00325

1  projects, does DOH have an opinion as to whether or not

2  any of the work that is listed under that column was,

3  in fact, necessary or unnecessary to comply with

4  Department of Health requirements?

5      A.    I believe there is.  I recall something

6  relating to landscaping for one of the systems.

7      Q.    That's at Elk Heights on Page 3?  Let's

8  approach it this way.  Let's just go down the list, and

9  I understand in some instances you may not be able to

10  state an agency position with regards to certain items,

11  but if we could go down the list, and if you just want

12  to say to the best of your ability whether it would be

13  related, unrelated, or don't know, I would find that

14  helpful.

15      A.    Starting with Pleasant Valley source

16  approval, I think there is a clear record that we were

17  seeking source approval, that that was an expectation

18  that we had for the Company.  Replace not repair the

19  pump house, I think it was our understanding that that

20  was the right thing to do, that their engineer had

21  repaired a CIP that included reconstruction.  In my

22  mind, that's equivalent to replacement.

23            Additional plumbing, that's a real general

24  term.  I don't have an opinion.  Crowder Road

25  blow-off's, that was standard practice for the Company.

00326

1  They had specifications dated '96 that called for

2  blow-off's, standard practice, the right thing to do.

3  Expand pump house for corrosion control, there is

4  documentation from the Department that required the

5  Company to cover all controls and equipment and that

6  this was a requirement that wasn't specific to

7  corrosion control, but it required that there be

8  improvements to the pump house.  Their plan in '96

9  indicated that a new or expanded pump house would be

10  done, would be required.  Coliform monitoring plan,

11  that was part of an order.  That is a standard

12  requirement that all systems were expected to have, so

13  the requirement certainly was created when the order

14  was issued.  We included that in the order because of

15  problems with coliform monitoring, and we felt that

16  would improve their ability to monitor for coliform.

17            Obtain easements and covenants, that's often

18  times a requirement in order to construct facilities,

19  run distribution lines.  We expect owners to have legal

20  access to the property they run their facilities and

21  facilities on.  Hydraulic analysis, standard practice

22  when you are analyzing water systems.  It looks like

23  there was a letter written in March which spoke to

24  hydraulic analysis for Crowder.  Clerget, blow-off's

25  and valving, again, standard practice for the Company.

00327

1  New and expanded pump house, a 1998 sanitary survey

2  performed by the Department recommended well house

3  improvements.  We further noted unsanitary conditions

4  at the pump house in '98.

5            Additional engineering for joining the

6  systems, we noted that the systems were connected prior

7  to AWR taking ownership and found a letter from the

8  consultant that said they would be able to perform the

9  engineering to verify that there was a proper

10  connection and see if there were any improvements

11  required.  That service was offered in '97 by the

12  consultant.

13      Q.    Before you go on to Valley Meadows, there is

14  that one short line on top of Clerget, the addition to

15  distribution system?

16      A.    There is nothing in our files that we were

17  able to find that said this was an expectation of the

18  Department, and I don't know what addition to the

19  district system means.

20            Valley Meadows, coliform monitoring plan, an

21  item in the departmental order, and again, not a new

22  requirement, simply one that we emphasize because of

23  need.  Upgrade Well No. 1, we didn't find any

24  information that we had that related to upgrading Well

25  1.  Refurbish well heads to pitless adapters, the only

00328

1  reference to pitless adapters was found in a February

2  water system plan review letter.  That would be one the

3  Department wrote.  We refuted AWR's claims that such

4  adapters were present on the Elk Heights system but did

5  not specifically direct AWR to install them.  So that

6  apparently was a decision the Company made.  Refurbish

7  wiring and plumbing, there is a letter reference to

8  wiring being up to code.  I guess I have to look at

9  that letter to understand what that means.

10      Q.    Exhibit 129, Tab O?

11      A.    This letter is prepared by the Department.

12  Two of our engineers inspected the systems in the

13  subject line there, including Valley Meadows, and they

14  recommended that electrical wiring must meet local

15  electrical codes.  So apparently, there were problems

16  noted with the condition of the wiring.

17            Prairie Villa, expand pump building.  We

18  don't have documentation that directs them to expand

19  the pump building.  We view that as a contingency that

20  should have been factored into the bid that was

21  prepared to address Prairie Villa deficiencies.

22  Likewise, with additional plumbing.  I'm not sure what

23  additional plumbing involves, but in our view, that is

24  a contingency that should have been accounted for.  Elk

25  Heights landscaping, not a DOH requirement, so we don't

00329

1  prescribe landscaping.  Additional site preparation,

2  again not a DOH requirement.  However, their

3  consultants did advise AWR that a geotechnical report

4  is required to provide the basis to design a reservoir,

5  so perhaps that includes additional site preparation.

6            New source meters, no records in our files

7  that relate specifically back to require source meters

8  for Elk Heights.  It is a requirement that we support.

9  It isn't standard practice, but we certainly like to

10  see source meters on all wells.  Refurbish well heads

11  to pitless adapters, we require well-head seal and

12  don't specifically mandate pitless adapters.  It's a

13  way of properly constructing a well head; however, it

14  is not a prescribed way of doing it.  It's more of an

15  option that the company may choose to follow.

16            Plumbing, I don't what plumbing means.  In

17  our view, that's a contingency that should have been

18  factored in.  Crescent Park, formerly called the H2O

19  Water Company, chlorine treatment and design work.  We

20  go back to '96 noting the need to do engineering

21  analysis for a chlorination system and have a series of

22  letters that speak to that requirement.  Tolmie Park,

23  hydraulic analysis required, a letter, J, so I presume

24  in letter J there was a requirement that hydraulic

25  analysis be conducted.  This is one that we previously

00330

1  spoke about, but in order to evaluate such things as

2  booster pumping facilities, storage capacity, pumping

3  capacity, a hydraulic analysis would be a standard

4  practice.

5            Connection research should have been a

6  contingency factor.  Lazy Acres, repair existing wells.

7  It was identified in a December '98 revision to the

8  water system plan that we cite, and we cite an excerpt

9  from the plan.  Install source meters, that was

10  identified by the Company in their December '98

11  revision to the plan.  Same thing for minor

12  improvements to the pump house, the new water right

13  application, the record search that was required.

14      Q.    When you make reference to them being

15  identified in the revision of the WSP, is that

16  tantamount to a requirement?  Is that the same thing as

17  it being required?

18      A.    That's the Company's conclusion after

19  comparing existing conditions with our regulatory

20  requirements.  So in the professional opinion of the

21  engineer that prepared the plan, that would be an

22  improvement that was necessary.

23      Q.    Does the Department of Health accept that as

24  complying with their requirement?

25      A.    Well, in this specific case, I would need to

00331

1  go back and determine if that water system plan had

2  been approved.  I don't believe -- I don't want to

3  speculate.  If the plan had been approved and these

4  were elements that were within the plan, then we would

5  accept that as an appropriate improvement.

6      Q.    So a party is required to comply with an

7  approved plan?

8      A.    It's our expectation, yes.  Often times,

9  plans lay out a number of capital improvements and lay

10  out the way that those improvements will be financed,

11  and they are staged over time.  If something is very

12  low on the capital improvement priority list, they may

13  be deferred for 15 or 20 years.  It just depends upon

14  the criticality of the improvement.  Can we go to Terry

15  Lane?

16      Q.    Yes, sir.

17      A.    Chlorine treatment design, there is a letter.

18  We requested as-built drawings and calculations for a

19  chlorination system.  Apparently, there had been a

20  number of complaints from the customers regarding

21  chlorine level.  New roof on storage tank, nothing that

22  we could cite that showed that that was a requirement

23  or expectation.  We do expect storage tanks to have

24  roofs, and if the Company concluded that the existing

25  roof was in poor condition, I can't imagine us

00332

1  disputing that conclusion.  South Prairie/View Royal,

2  substantial additional engineering work required.

3  November '97 letter from the consultant offering to

4  review source storage calculations and fire-flow

5  capacity, so there apparently was a desire to

6  understand the design capacity of the system.

7            Then AWR in a January '99 CIP identified

8  replacement of some eight-inch main, and our note or

9  comment is, "depending upon factors that required

10  reengineering, this may be justifiable or should have

11  been a contingency cost factor in the estimate prepared

12  by AWR."  We did note that a '94 capital improvement

13  list for this system identified projects with cost

14  estimates ranging from 43 to 55 thousand.  I don't know

15  if the item listed by the Company is one of those four

16  main projects or not.  Continuing with South Prairie,

17  water system plan update.  The only cost recoverable

18  from the surcharge must be inked to the 13 critical

19  projects.  Insufficient information provided to

20  determine if these costs are linked to the appropriate

21  projects.

22      Q.    I notice also that that note applies to

23  engineering that follows in the next row, and there is

24  an additional note to engineering or amounts for

25  engineering for the '98 CIP and WSP work that also have

00333

1  that same note.

2      A.    Correct.

3      Q.    I may have made your job just a little bit

4  tougher by limiting you to 129.  As you were talking, I

5  was comparing some of the items in that same column

6  under discussion with a similar column in 107, and I

7  just want to take one last look to see if on some of

8  these items that were too generic, such as plumbing,

9  whether there is additional information that would be

10  relevant.

11            There are some other notes that I don't think

12  are necessary to inquire about.  Two last questions:

13  There were two or three projects where new storage

14  tanks were installed.  Do you have -- if you need more

15  specific reference, we can provide that, but do you

16  have any knowledge that those storage tanks were

17  installed as part of a DOH requirement?

18      A.    We'd have to look at the individual system,

19  and I would have to look at the records.

20      Q.    Let me just refer you to the Clerget project.

21  If you look at Exhibit 107, for example, under the

22  contract amount, it shows that there is a cost of a

23  storage tank included in the contract amount, and

24  then --

25            MS. TENNYSON:  Your Honor, if I might

00334

1  suggest, if you wanted to look at the last page of

2  Exhibit 102, which is attached to the Commission's

3  order on the surcharge, there is a listing of work that

4  was contemplated to be done with the surcharge funds.

5  I believe Exhibit 107 was sort of an expectation or

6  addition to this work that was originally contemplated.

7            JUDGE BERG:  Very good.  That satisfies all

8  my questions on that point.

9      Q.    (By Judge Berg)  My last question to you,

10  sir, what is the difference between an "A" system and a

11  "B" system?

12      A.    Size.  The "A" system is a system that has 25

13  or more people being served or 15 or more connections.

14  It's a federal definition, and we delineate between

15  those systems and smaller systems; the smaller systems

16  being B's, so that the A's are subject to the federal

17  water quality standards.  So it's a federally defined

18  distinction of size, and in this state, we not only

19  regulate the A's but the B's as well.

20            JUDGE BERG:  Thank you very much.

21  Ms. Tennyson?

22

23                   REDIRECT EXAMINATION

24  BY MS. TENNYSON:

25      Q.    In addition to the question about A and B

00335

1  systems, there was some discussion of red, green, and

2  yellow in terms of operating status, and that caused me

3  to realize we didn't specifically identify one document

4  that is actually in the notebook of the attachments to

5  the chart that has been admitted as Exhibit 129, but it

6  wasn't behind the tab.  It was in front of the tab.  So

7  we do have one document in there that is a chart that

8  is dated 12/21/00, and if you could identify that for

9  us.  What is this chart, if you know?  Who prepared it,

10  and then what does the red, green, and yellow mean?

11      A.    This was prepared by my office on December

12  21st.  What we did is look at systems that were under

13  the ownership of AWR, and we tried to summarize

14  information that we thought might be relevant, and it

15  contains the name of the system, the ID number, which

16  is just the number that we've assigned to that system,

17  the county in which the system is located, the date

18  that our records indicate the system was acquired by

19  AWR, the number of connections that the system is

20  approved for, and if it changes, we noticed the date

21  that the change occurred.  If we had any past or

22  current enforcement actions, they were listed, SHO

23  means "state health order."

24      Q.    How about SNV?

25      A.    That's a particular type of violation.

00336

1      Q.    Or a notice of violation?  I don't know what

2  it stands for.

3      A.    Actually it is.  It's a "state notice of

4  violation," and it's issued for certain types -- this

5  is all information that we could download off the

6  computer, so we just built this to kind of give us a

7  snapshot of the Company, and SNV is one thing we can

8  download, and then the final column is operating permit

9  history.  We administer an operating permit program

10  that requires that for Group A systems we make a

11  determination of adequacy, determine whether they are

12  in compliance with our requirements.  So this lists the

13  operating permit history.  This table is only for Group

14  A systems.  It doesn't address B's.

15            So if there is a green permit, that's

16  equivalent to being in substantial compliance.  It

17  doesn't mean every single item but substantial

18  compliance.  Red would mean substantial noncompliance,

19  and yellow means we simply don't have enough

20  information to make a determination.  So Group A

21  systems are issued operating permits annually.  Each

22  permit is assigned a status.

23      Q.    What is the effect on the operator of the

24  system of a red status?  Do they have to stop providing

25  water or stop connecting new people?

00337

1      A.    Yes.  If a system is red, we feel that it

2  would be inappropriate to expand or grow that system.

3  So if consulted by local government that issues

4  permits, we advise them not to grow that system.

5            I need to go back and correct something.  As

6  I was explaining the colors, I didn't give you the

7  right definition of a yellow permit.  A yellow permit

8  means that there is some issue that we are concerned

9  about.  Generally, it has to do with compliance with

10  operation certification requirements.  It's kind of a

11  warning sign.  So it's a flag that there is something

12  generally operator certification compliance that is not

13  right with the system.  Blue, that's where we simply

14  don't have enough information to determine the

15  compliance status.  I got my colors mixed up.

16      Q.    In answering some of Mr. Fox's questions,

17  there was reference to a coliform monitoring plan.

18  What does a coliform monitoring plan consist of?

19      A.    It's a working document that's prepared by

20  the water system, and it is a guide to assist them in

21  collecting coliform samples from representative points

22  in the system.  So it's basically a workbook that steps

23  the owner through development of a sampling program for

24  coliform.

25      Q.    So it's a schedule of when and where samples

00338

1  will be taken, essentially?

2      A.    Yes.  In our opinion, it's a very useful

3  document that helps one comply with the coliform

4  monitoring requirements and also helps them to

5  understand what's required if they have a noncomplying

6  sample.

7      Q.    You also had indicated that the pictures that

8  are in Exhibit 10 were typical of a Mom and Pop water

9  system.  Would you say they are typical of a water

10  company with approximately 2,000 customers?

11      A.    No.

12            MS. TENNYSON:  I have no further questions.

13  Thank you.

14            JUDGE BERG:  Mr. Fox, any other questions of

15  this witness?

16            MR. FOX:  I guess Ms. Tennyson's last

17  question would prompt a question.

18

19                 FURTHER CROSS-EXAMINATION

20  BY MR. FOX:

21      Q.    Are most of the systems we took over what you

22  would consider Mom and pop systems?

23      A.    I think the B's -- first of all, I've not

24  personally inspected any of your facilities --

25      Q.    I think she was referring to the pictures.

00339

1  Maybe we can talk about what those pictures would lead

2  one to believe; is that okay?

3      A.    What's the question?

4      Q.    What these pictures would lead one to believe

5  what a system looks like you said was pretty typical of

6  a Mom and Pop system; right?

7      A.    I think "Mom and Pop" is kind of a cavalier

8  term.  Let me define what I mean by Mom and Pop.  That

9  would be something that's owned by someone who is not a

10  water professional, certainly not owned by a

11  municipality or a regulated company.  It simply would

12  be a layperson who happens to have the unfortunate

13  situation of living on a homeowner water association.

14  There are many, many systems in this state where the

15  developer built the system, deeded it over to the

16  property owners.  In my vernacular, that's a Mom and

17  Pop water system.

18      Q.    The question Ms. Tennyson asked was you would

19  expect Mom and Pop systems to look like this, but would

20  you expect systems owned by -- I don't know whether she

21  used this specific term, but I would say an experienced

22  or something water purveyor to look like this, and you

23  said the small system, Mom and Pop systems.  My

24  question then was would you categorize most of the

25  systems that I took over when I took them over as Mom

00340

1  and Pop systems as opposed to those that were operated

2  by a qualified, experienced operator?

3      A.    I think you had a mix.  I think that you

4  acquired systems from other regulated companies.  I

5  think you acquired systems from homeowner associations.

6  I think you had a mixed bag.

7      Q.    Some of the systems that I acquired from,

8  let's say companies, would be View Royal that I

9  acquired from Dennis Ridgeway, the systems that I

10  inquired from Satellite, would you say that those

11  systems were well-managed before I took them over?

12      A.    You know, I think both of those were outside

13  of my region.  I don't have direct personal experience

14  with either of those systems.

15      Q.    You testified that, if I understood you

16  correctly, that one of your primary foundations for

17  making this list, 129, was from the information

18  provided to you by UTC; is that correct?

19      A.    Which one is 129?

20      Q.    129 is the DOH list surcharge hearing

21  research.

22            MS. TENNYSON:  I would object to the form of

23  question.  I believe he mischaracterized the testimony

24  as a primary source of information.

25            JUDGE BERG:  I think we are focused on that.

00341

1  Let's narrow it down.  I understand what you are

2  getting at.  What you are referring to is the one

3  column that I asked questions about.

4            MR. FOX:  Most particularly that column.

5            JUDGE BERG:  If you want to inquire the

6  source of the other information, I don't think that's

7  been determined on the record at this point.

8      Q.    (By Mr. Fox) The column that is titled,

9  "items AWR claims not included in original scope of

10  work," the information for that column, if I understood

11  you correctly, was derived primarily from the

12  information that was provided, actually done by

13  Mr. Finnigan, but came to you through the UTC; is that

14  correct?

15      A.    Correct.

16      Q.    I guess relative to the red and green and

17  yellow, the permit status on 129 before A, your date on

18  that printout says 12/21.  Do you believe that that

19  information provided really has been posted up-to-date

20  or is really reflective of the 12/21 status, or could

21  it be from some earlier status that had not yet been

22  corrected?

23      A.    I believe it's the information we downloaded

24  on the 21st.  Whether all of this information was

25  current, I can't certify or attest to that.  It's what

00342

1  our records indicated.

2      Q.    I guess I'm not sure how to ask without

3  sounding like I'm putting words in your mouth, but we

4  reviewed that status recently, and we are quite sure

5  that there are only one or two reds, and the reason is

6  the WSP approval issue.  Do you have reason to

7  disbelieve that I might be right, or how could we get

8  between the two interpretations?

9      A.    I haven't indicated why I thought any of

10  these systems was red.

11      Q.    I understand that, but there is a great many

12  red or yellow, which we don't believe to be the case,

13  and I'm trying to find out if you have any information

14  that would say that we are wrong rather than that is

15  that the list might be just a little behind and isn't

16  caught up yet.

17      A.    I don't know how to respond.

18            MS. TENNYSON:  I believe the question has

19  been asked and answered.

20            JUDGE BERG:  I think you made that point as

21  well as you did earlier, Mr. Fox.

22            MR. FOX:  I don't believe I have any other

23  questions.

24            JUDGE BERG:  I don't have any questions.

25  Ms. Tennyson?

00343

1            MS. TENNYSON:  None, thank you.

2            JUDGE BERG:  Can this witness be excused?

3            MS. TENNYSON:  Yes.

4            JUDGE BERG:  I apologize for keeping you here

5  so long, but I do want you to know that your testimony

6  here has been very valuable and I think essential to

7  this case.  Thank you, very much.  We will be off the

8  record.

9              (Lunch recess taken at 12:30.)

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

00344

1                     AFTERNOON SESSION

2                        (1:40 p.m.)

3            JUDGE BERG:  Ms. Tennyson, would you call

4  your next witness?

5            MS. TENNYSON:  I will call Jim Ward to the

6  stand, please.

7            (Witness sworn.)

8

9                    DIRECT EXAMINATION

10  BY MS. TENNYSON:

11      Q.    Mr. Ward, would you state your name and spell

12  your name for the record?

13      A.    Jim Ward, W-a-r-d.

14      Q.    Can you tell us your current work status, job

15  assignment?

16      A.    Currently, I'm assigned to the utility

17  section of the Commission.  I work in the water

18  division.

19      Q.    How long have you worked for the Commission?

20      A.    Eleven-and-a-half years.

21      Q.    Have you always worked in the water section?

22      A.    No.  I've worked in water for about

23  ten-and-a-half years.

24      Q.    Your current job title?

25      A.    Revenue requirement specialist.

00345

1      Q.    Were you the staff assigned to review the

2  filing that is at issue in this case?

3      A.    Yes, I was.

4      Q.    Could you describe the filing for us again,

5  what's the Company asking for?

6      A.    In this filing, which is Docket No.

7  UW-000405, what the Company is asking for is an

8  extension of a surcharge that was approved last year

9  for capital improvements.  They are asking to extend

10  it, I believe, by 15 months.

11      Q.    Could you describe for us what a surcharge

12  is, who pays it, what the purpose is?

13      A.    A surcharge is essentially an individual item

14  added on to a customer's bill.  It's typically put

15  there to repay a certain item or to cover a certain

16  expense.  In this case, there was a list of 13 critical

17  items developed by the Department of Health and the

18  Company that the surcharge is to cover.  The surcharge

19  rate now is $4.54 per month per customer.  That's to

20  return for a period, I believe, of five years or until

21  the sum of money was collected.

22      Q.    I would like you to look at some of the

23  documents that have been previously admitted.  I want

24  you to look at Exhibit 101, the last page.  Can you

25  tell us where this document came from?

00346

1      A.    This document was part of the original filing

2  for the extension of the surcharge.

3      Q.    So it was prepared by the Company?

4      A.    It was prepared by the Company, yes.

5      Q.    What does this reflect?  How do we know what

6  the Company is asking for?

7      A.    Essentially, if you look at the upper

8  right-hand corner of it is where it starts.  You are

9  looking at the initial loan, which was $380,350.  They

10  did pay some of the improvements done by facility

11  charge, and they had some overages for the total amount

12  of the surcharge needed to cover all of these projects.

13            What the Company did here was then to go

14  through and figure out, based on the overage amount,

15  how long would they need to run the extra $4.54 per

16  month per customer in order to collect that amount, and

17  it comes out down there at the bottom where they were

18  trying to get to the time frame for the expiration date

19  of the surcharge.

20      Q.    That's where we see the revised expiration of

21  8/30/2005?

22      A.    Yes.

23      Q.    Referring again to the upper right-hand

24  column, the numbers in the upper right-hand corner of

25  this document, is it your understanding that the

00347

1  Company is requesting extension of the surcharge to

2  collect an additional $113,447.80 plus interest and

3  taxes?

4      A.    Yes.

5      Q.    So the Company actually did pay some of the

6  expenses out of other capital funds it had on hand.

7      A.    Yes.

8      Q.    Items that are covered by a surcharge, is

9  there another way a company can pay for those if they

10  don't go to a surcharge?

11      A.    A company can pay for those initially from

12  funds either through a loan the company may get or

13  through funds the company itself may invest.  That can

14  be through retained earnings or additional investment

15  of stockholders.

16      Q.    In the collection of facilities charges, what

17  are those normally used for?

18      A.    Facility charges are normally used to

19  basically pay for new plant that will be coming on line

20  at some future point.

21      Q.    That would be a capital item?

22      A.    Yes.

23      Q.    You recommended that the Commission suspend

24  this filing to investigate the request.

25      A.    Yes, that was my recommendation.

00348

1      Q.    What information did you request from the

2  Company?

3      A.    I essentially requested what they had spent

4  the money on not only to include the overage but the

5  original amount of the $380,000.  I requested copies of

6  vendor invoices, time cards, receipts of that nature to

7  substantiate the entire amount they were asking for.

8      Q.    I'd like you to look at the group of exhibits

9  that we have marked for presentation through your

10  testimony starting with Exhibit 120.  What is Exhibit

11  120?

12      A.    Exhibit 120 was originally prepared by the

13  water company as part of the filing for the initial

14  surcharge back in 1999.  All of the handwritten items

15  on here are my notes that were put on there.

16      Q.    Looking at the Pleasant Valley row, the first

17  row on this document, there is a number 15 written in

18  the first column to the left.  What does that

19  represent?

20      A.    That would represent the number of customers

21  on that system.

22      Q.    And these are numbers that you have added to

23  the document?

24      A.    Yes.

25      Q.    Reading across on the Pleasant Valley row,

00349

1  there is a number in the far right-hand column,

2  $24,968.  What does this represent?

3      A.    That represents the final cost that was

4  proposed by the water company.

5      Q.    Similarly, if we went down the rest of the

6  numbers, those are numbers that you added to this

7  document?

8      A.    Yes, they are.

9      Q.    If you could turn to Exhibit 121 --

10            MS. TENNYSON:  I will note for the record

11  that the description of the document that this

12  represents is on the list of exhibits that I provided,

13  and I have described it as it is compiled, which is,

14  "Staff informal Data Request 1, dated March 31st, 2000,

15  and a letter in response dated April 6th, 2000, with

16  Exhibit A removed."  It has on this form, "see exhibits

17  blank." That would be 104 through 106 for samples of

18  Exhibit A.  Rather than put all of this information in

19  the record, it is also in the record in Mr. Fox's

20  Exhibit 5 as copies of the contracts for the various

21  projects.

22            JUDGE BERG:  Point me where that reference is

23  again in 121.

24            MS. TENNYSON:  It is on the copy of the

25  exhibit list I've prepared.  If we go to the actual

00350

1  first page of Exhibit 121, the first request is,

2  "Please provide a complete copy of bids, contracts,

3  cost sheets, invoices, or receipts for each of the 13

4  water systems showing all work done on each project."

5            The second page is in response from the

6  Company, which refers to Item 1, a complete copy of all

7  bids, etcetera, for each of the 13 water systems as

8  attached as Exhibit A, and those documents, the exhibit

9  A documents, they prepared a separate Exhibit A for

10  each project.  Those are not included as part of this

11  exhibit because they are duplicated elsewhere in the

12  record, not representing that this was the Company's

13  complete response.

14      Q.    (By Ms. Tennyson)  With those qualifications,

15  Mr. Ward, can you tell us what is included in Exhibit

16  121?

17      A.    Exhibit 121 is essentially my data request of

18  the Company dated March 31, 2000.  This was the first

19  data request asking for additional information.

20  Attached to that would be the Company's response and

21  some of the information they provided along with that

22  response.

23      Q.    Turning to the Company's response then, there

24  is a document that's labeled Exhibit B in the upper

25  right-hand corner.  It's similar to Exhibit 120.

00351

1      A.    Yes.

2      Q.    But all of the information on this was

3  prepared by the Company; correct?

4      A.    Yes.

5      Q.    Turning then to the next document, Exhibit C,

6  this was also presented to you by the Company.

7      A.    Yes.

8      Q.    Exhibit D, titled "invoice history"?

9      A.    This was prepared by the Company also, and

10  the handwriting on it is the Company's.

11      Q.    And the final page of that exhibit?

12      A.    Was prepared by the Company, and all the

13  handwriting is the Company's.

14      Q.    This is a letter or invoice -- it's hard to

15  determine -- that looks like it was Robert, but the R

16  is cut off.  It's o-b-e-r-t, W. Droll, Landscape

17  Architect; correct?

18      A.    Yes.  This is an invoice.  It says invoice

19  No. 1.

20      Q.    Could we look to Exhibit 122 and identify

21  that?

22      A.    Exhibit 122 is Staff data request dated April

23  10th, 2000.  Attached to that is the Company's answer

24  along with a schedule the Company prepared, two

25  schedules the Company prepared.

00352

1      Q.    Your questions 2 and 3 in this case asked for

2  Department of Health approval of the projects and the

3  criteria used to award contracts for construction.

4  That is not included in this exhibit, is it?

5      A.    I don't believe so.

6      Q.    You did receive, however, letters relating to

7  the Department of Health approval of the projects?

8      A.    At a very late date, yes.

9      Q.    The criteria used to award contracts?

10      A.    I did not receive that.

11      Q.    Did you at some point receive a copy of

12  AWRI's general construction standards dated June of

13  1999?

14      A.    Not as part of this filing.  I had received

15  that earlier.

16      Q.    If we look then to the second to last page of

17  Exhibit 122, what does that represent?

18      A.    This essentially represents a time line of

19  the surcharge projects, wanting to know when things

20  occurred, such as the bid announcement, the bid dead

21  line, the bid extension, when a bid was awarded, when a

22  contract was signed, when did the work start, when was

23  the work completed, and when was the DOH review

24  completed.

25      Q.    So you asked for the information from the

00353

1  Company in this form?

2      A.    Yes, I prepared the blank of this form.

3      Q.    Do you know whose handwriting this is filling

4  in the dates on the form?

5      A.    I believe it was Herta Ingram.

6      Q.    She was an employee of the Company at that

7  time?

8      A.    Yes, she was.

9      Q.    The final page of this exhibit...

10      A.    Is a summary table provided by the Company of

11  essentially from the start of when this surcharge

12  started, what work was necessary, what was the original

13  estimate, some dates along with that, also who the

14  parties were that bid, what bid amounts they offered,

15  what was the final award amount.

16      Q.    There is some summary information then?

17      A.    Yes.

18      Q.    Turning to what's been admitted as Exhibit 5,

19  do you have a copy of that?

20      A.    No.  I have a copy of Exhibit 5 now.

21      Q.    Looking at Exhibits 5, can you indicate for

22  us what information in this -- I don't want you to go

23  through every sheet, but the type of information that's

24  included here that you saw for the first time upon

25  viewing Exhibit 5?

00354

1      A.    The new information that I seen when I

2  reviewed this was the summary cover for each one of the

3  items, also a notice to proceed, which was with each

4  item.  There was a notice of award with each item.

5  Those were the new documents I had not seen before.

6      Q.    So you had previously been provided, if I'm

7  understanding you correctly, with a copy of the bid

8  from VR Fox Company and the contract award for the

9  actual signed contract?

10      A.    Yes, I did receive those earlier.

11      Q.    Had you seen copies of bids from any other

12  bidders?

13      A.    No, I had not.

14      Q.    Those are included in this packet?

15      A.    Yes.

16      Q.    You did have the summary information provided

17  in Exhibit 122.

18      A.    Yes.

19      Q.    Turning to Exhibit 123, can you describe what

20  this is for us?

21      A.    This is my Data Request No. 3, dated April

22  28th, year 2000, and attached to it is a letter from

23  the Company along with DOH approval for the

24  construction projects for some of the items and some

25  other information in support.

00355

1      Q.    Exhibit 124?

2      A.    Exhibit 124 is my Data Request No. 4, dated

3  May 18th, 2000.  Attached to it is the Company's

4  response with no attachments.

5            MS. TENNYSON:  I would move the admission of

6  Exhibits 120 through 124.

7            JUDGE BERG:  Any objection, Mr. Fox?

8            MR. FOX:  No.

9            JUDGE BERG:  Exhibits 120 through 124 are

10  admitted.

11      Q.    (By Ms. Tennyson)  At this point, I would

12  like you to refer back to documents which should be in

13  the pile on your table, in particular, Exhibit 110.

14      A.    I have a copy.

15      Q.    This is a letter from you to Herta Ingram of

16  AWR, and can you tell us what the purpose of your

17  letter was?

18      A.    Yes.  This is a letter here, acknowledge and

19  receipt of one of their quarterly reports for the

20  capital improvement surcharge along with some questions

21  I had for that quarterly report.

22      Q.    Did you ask the Company to provide any

23  documentation relating to the surcharge project at that

24  time?

25      A.    Yes, I did.  Down in Paragraph No. 3, Line 2,

00356

1  "Please provide a detailed breakdown of each water

2  system project including copies of all vendor invoices

3  and time logs for all labor."

4      Q.    Were you provided those documents or that

5  information in response to this request?

6      A.    No, I was not.

7      Q.    Did the Company indicate that they would

8  provide that information to you?

9      A.    Yes, they did.  In their response, which was

10  Page 2 of this attachment, it talks on Line 2 at the

11  end, "A detailed breakdown of all costs and invoices is

12  being submitted as part of capital improvement

13  surcharge extension requested filed on March 20th,

14  2000."

15      Q.    Did you receive that information that is

16  indicated in that letter would be provided with the

17  surcharge extension request?

18      A.    I did not receive the information.

19      Q.    Looking again then at Exhibit 121, in the

20  first item, it appears you've asked for the same

21  information again for the water system's showing the

22  work done.

23      A.    Yes, I did, Item No. 1.

24      Q.    In Exhibit 123, Item No. 4.

25      A.    Yes.  Once again, the same vendor invoices.

00357

1      Q.    Looking at Exhibit 124, Item No. 2.

2      A.    Yes.  Once again, Item No. 2 and also Item

3  No. 3.

4      Q.    Why did you keep asking for this information?

5      A.    Because up to this point, I had not received

6  it.

7      Q.    Did you receive that information prior to

8  starting the hearing in this case?

9      A.    No, I did not.

10      Q.    At this point, we have admitted in this case

11  the copies of the invoices from the engineer; correct?

12      A.    Yes.

13      Q.    Before seeing those documents in response to

14  the data request, had you received copies of those?

15      A.    No, I had not.

16      Q.    When, approximately, did you see those

17  documents?

18      A.    When they were presented yesterday.

19      Q.    Could it have been the week prior in response

20  to the data request?

21      A.    It might have been, yes.

22      Q.    At some point, did the Company tell you they

23  didn't have the information you were asking for, that

24  it wasn't available, didn't exist?

25      A.    Yes.  In both forms, I was told they didn't

00358

1  have it available, and I was told that it didn't exist

2  in some cases.

3      Q.    Looking at what's been admitted in this case

4  as Exhibit 6, had you ever seen this information prior

5  to yesterday at the start of the hearing?

6      A.    No, I had not.

7      Q.    Were you surprised to see this sort of

8  detailed information?

9      A.    Yes, I was.

10      Q.    If you had received this information in

11  response to your data request in either November of '99

12  or March of 2000, what would you have done at that

13  point?

14      A.    I would have been able to start the process

15  of analyzing what costs were attributed to what

16  projects under this surcharge.

17      Q.    Would you have accepted just this item cost

18  detail as proof of this information?

19      A.    No.  As I pointed out in my data request, I

20  was looking for original vendor invoices.

21      Q.    So what might you have done to follow up on

22  this sort of information?

23      A.    Recognizing this information and the amount

24  of information that it does, in fact, contain, what I

25  would have done is ask for some form of sampling to go

00359

1  through one of the projects to see how it was recorded

2  on the books and records, what format they used to

3  separate out the information, and how it was all coded.

4      Q.    So why would do you that kind of follow-up?

5      A.    It would be a sampling to have some validity

6  to this information that there was backup documentation

7  available in the form of original vendor invoices.

8      Q.    Is that the sort of work you normally do in

9  your job as a revenue requirement specialist?

10      A.    Yes, it is.

11      Q.    You have worked with American Water Resources

12  on filings they've made in the past; correct?

13      A.    Yes.

14      Q.    Did your work on previous cases cause you to

15  have some concerns about the form of information or

16  accuracy of information provided?

17      A.    Both form and accuracy in that in previous

18  cases, some of that information was totally missing or

19  it was miscoded in the accounting records.

20      Q.    So would you say that you have more or less

21  confidence in records presented to you by American

22  Water than some other companies?

23      A.    With the history I've had with this company,

24  I would have less confidence.

25      Q.    That is again because of...

00360

1      A.    Because of the history I have seen in the

2  filings that have been done before that information was

3  missing or miscoded.

4      Q.    In the experience you've had in working with

5  this company, I'd like to take you back to 1998.  Did

6  the Company file a request for a general rate increase

7  in 1998?

8      A.    Yes, I believe it was.

9      Q.    There were several other filings as well?

10      A.    Yes.  I believe there was an adjustment to

11  their facility charge.  They were adding water systems

12  to their tariff, and I think there was one other one at

13  the time.

14      Q.    Did those matters go to a hearing?

15      A.    Yes, they did.

16      Q.    Do you recall what some of Staff's issues in

17  that hearing were?

18      A.    Essentially lack of information or miscoding

19  of the information that we did find.

20      Q.    So the detail and the accuracy of the

21  information?

22      A.    Right, was not there.

23      Q.    Are you aware of when the Company first

24  planned to do some of the work that has now been funded

25  by the surcharge request?

00361

1      A.    Yes.  There was an original time line put out

2  by the water company when they filed for the surcharge

3  back in '99.

4      Q.    So the schedule in 1999 for the surcharge

5  filing was approved in --

6      A.    -- 1999.

7      Q.    So the Company at that point had a schedule

8  for the work?

9      A.    Yes, they did.

10      Q.    Was that schedule in general complied with?

11      A.    Not to my knowledge, no.

12      Q.    Had the Company previously asked for some of

13  the work on these projects to be included in its rate

14  base in the 1998 rate request?

15      A.    Yes.  Part of that request included what was

16  looked at earlier, which was a list of, I believe, 88

17  items in their capital improvement plan.  They wanted

18  to include all of that in the rate base as a pro forma

19  adjustment in that 1998 rate case.

20      Q.    Had that work been performed at that time?

21      A.    No, it had not.

22      Q.    Was that work or the money represented by it

23  included in rate base in the course of the case?

24      A.    No, it was not.

25      Q.    Why was that?

00362

1      A.    It was felt inappropriate at that time since

2  the Company had no firm estimates of cost and they had

3  no schedule to do any of that work.

4      Q.    Was the work used and useful or the

5  construction used and useful at that time?

6      A.    No, it was not.

7      Q.    I would like to skip ahead at this point to

8  what's marked as Exhibits 127.

9      A.    Yes.

10      Q.    Can you identify for us what this is?

11      A.    This is a copy of a transcript of the open

12  meeting, April 26th, the year 2000, in which the

13  extension for surcharge was asked for.

14      Q.    You were present at that meeting?

15      A.    Yes, I was.

16      Q.    Did the Company have a representative

17  present?

18      A.    Yes, they did.

19      Q.    At that meeting, did the Company present

20  information or statements as to why they were unable to

21  complete the work for the amounts estimated in the

22  estimates used to compute the original surcharge?

23      A.    Yes, they did.

24      Q.    What were those?

25      A.    Without reading the exact line, as I recall,

00363

1  it was essentially that they had some cost overruns

2  based on unknown work that had to be done and also the

3  time crunch that they were under to get the work done.

4            MS. TENNYSON:  Before I ask him to go

5  further, I would like to move the admission of what's

6  marked as Exhibit 127.

7            MR. FOX:  That's fine.

8            JUDGE BERG:  Exhibit 127 is admitted.

9      Q.    (By Ms. Tennyson)  Was one of the reasons

10  provided by the Company representative at that time

11  that there was landscaping costs that created

12  additional costs for the Company?

13      A.    That was one of the items they mentioned as

14  being unknown when they originally started, yes.

15      Q.    Did you then ask for copies of invoices

16  relating to landscaping costs?

17      A.    Yes, I did.

18      Q.    What did you receive?

19      A.    We did receive that one.  It was in one of my

20  earlier exhibits.  That was a Robert W. Droll Landscape

21  Architects.  I believe the amount on that invoice was

22  for $450.

23      Q.    Were there any other landscaping invoices

24  you were presented with?

25      A.    No.

00364

1      Q.    One of the other reasons that I believe you

2  stated was that there was a time crunch or timing

3  issues.  What information do you have or what view do

4  you have of the time crunch issue?

5      A.    That was one of the questions I kept asking.

6  One of my earlier exhibits had that table with all the

7  time outlines in it.  That was why I requested that

8  information was trying to establish what was there

9  about these projects that did require a time crunch.

10      Q.    Did you also receive information about when

11  the Company first knew about a need to conduct some of

12  the work?

13      A.    I did through Department of Health

14  information, yes, that some of the work was required

15  earlier, and also, the Company was aware of that

16  earlier when they actually did the surcharge filing

17  that some of the information was already there.

18      Q.    Do you believe it was necessary for the

19  Company to have this surcharge approved before

20  beginning work on any of the projects?

21      A.    I don't know if it was necessary.  It's one

22  of the forms that we allow.  The Company at that time

23  claimed they had no money to do the projects, and this

24  was one method to provide funding for that.  What the

25  Company had proposed at the original surcharge filing

00365

1  was to get a loan from a bank, and the surcharge would

2  essentially make the payments on that loan, and there

3  was a condition by the bank that they would not loan

4  the money until the Commission had approved a surcharge

5  filing for repayment.

6      Q.    So in that sense, it may have been required.

7      A.    Yes.

8      Q.    In Mr. Fox's testimony earlier -- you have

9  been present throughout the hearing; correct?

10      A.    Yes.

11      Q.    -- he also stated or suggested that the

12  Company did not have money to do any of these projects

13  before receiving the surcharge funding.  Have you

14  reviewed any documents or records that might indicate

15  otherwise?

16      A.    Yes.  Some of these items were known back in

17  1998.  As I said earlier, back in 1998 in the original

18  rate request in 1998, the Company had this capital

19  improvement schedule.  Some of these items were listed

20  in that capital improvement schedule as being required.

21  So during that process of that rate hearing, we did do

22  a review of all the expenses and the revenue of the

23  Company.  I also performed a cash flow analysis of the

24  Company.

25      Q.    So you did a cash flow analysis of the

00366

1  Company back in 1998.  What did you find at that time?

2      A.    What we found at that time were there were

3  several loans outstanding to the Company stockholders

4  at that time.  There was also a bank note or two, and

5  the Company did, in fact, receive an additional loan --

6  I think it was in the middle of '98 -- to refinance

7  some of the stock loans.

8      Q.    Those stockholder loans, were the payments on

9  those interest only, or were there payments of

10  principle at that time?

11      A.    I believe there was both, some interest only

12  and some interest and principle, so I believe there was

13  four notes at the time.  They were later consolidated

14  into three.

15      Q.    Did the Company then make any payments on

16  those loans that you found unusual?

17      A.    Yes.  What happened at some point was some of

18  these loans that had no mandatory payoff were, in fact,

19  paid off early eliminating any kind of monthly item.

20  In fact, in one case, there was a bank loan secured,

21  which part of this surcharge funding came under that

22  bank loan, and also the Company used the remainder of

23  that bank loan to pay off stockholder loans.

24      Q.    In terms of paying off the stockholder loans

25  that you referenced, was that payment required at that

00367

1  time under the terms of the note?

2      A.    No, they were not required at that time.

3      Q.    Mr. Fox has also provided us as an exhibit in

4  this case an American Water Resources' profit and loss

5  year-to-date comparison for the year 2000.  Does that

6  provide you with any information that is helpful to you

7  in analyzing the issues in this case?

8      A.    No, it does not.

9      Q.    Why is that?

10      A.    The issues in this case are the costs

11  associated with these 13 projects, both engineering,

12  material, and labor.  I don't see that reflected in the

13  year 2000 income statement.

14      Q.    Do you have any experience in reviewing

15  unaudited income statements for American Water

16  Resources?

17      A.    Yes.

18      Q.    Would that experience cause you to have any

19  concerns about using this document for any purpose?

20      A.    I see no purpose in this document for items

21  that were completed in the year 1999.

22      Q.    Do you accept AWR's income statement as

23  accurate?

24      A.    As represented by the Company, yes.

25      Q.    But that's their representation.

00368

1      A.    That's their representation.  It has not been

2  audited by anyone.

3      Q.    In your past experience in working with this

4  company, has the auditing of the statement changed the

5  information on it or caused it to be changed?

6      A.    Typically, yes.  In the past, we have found

7  miscodings with regard to the Company's records.

8      Q.    I'd like to go to what's been marked as

9  Exhibits 125 and 126.

10      A.    Yes.

11      Q.    Can you identify 125 for us?

12      A.    Item 125 is part of a filing that was done by

13  Aquarius Utilities, LLC.  This filing was what we call

14  a single item general rate case where the Company had

15  done capital improvements.  What this filing represents

16  or the portion I have here is some of the level of the

17  detail work the Company has prepared in making their

18  filing.  Also, it shows copies of some of the original

19  vendor invoices that the Company used to support their

20  filing.

21      Q.    Is this documentation that was provided to

22  you by the Company, or had you asked for it to be

23  provided after the filing?

24      A.    In this case, the Company provided it at the

25  time of the filing.

00369

1      Q.    Just to give us an idea of the volume or

2  amount of information they provided, it was one-inch

3  thick, two-inches thick?

4      A.    Almost two-inches thick.

5      Q.    In this case, there was a project done.  Did

6  they have contractors do work on the project?

7      A.    Yes, they did.

8      Q.    Did you receive invoices or receipts,

9  information relating to the work by the contractor?

10      A.    Yes, I did.

11      Q.    If you might kind of direct us to where that

12  might be in this.  I won't swear it's in here since I

13  excerpted this from the full filing.

14      A.    You did, and this is mainly the calculations

15  that the Company used and also the summary information

16  that the Company used.  I don't see any original vendor

17  invoices in this set of information.

18      Q.    Did you receive those from the Company with

19  this filing?

20      A.    Yes.  In this case of this filing, yes, I

21  did.

22      Q.    There is reference to supplies and materials.

23  Did you receive copies of receipts or invoices

24  detailing that information?

25      A.    Yes, I did.  In fact, there were receipts all

00370

1  the way down to just several dollars worth, copies of

2  those receipts that were added into this.

3      Q.    Did you prepare any of this information?  Are

4  any of these adding machine tapes, are those yours or

5  provided by the Company?

6      A.    These were all Company generated.

7      Q.    I apologize for not numbering these pages,

8  but the fourth and fifth pages from the back of the

9  document --

10      A.    What are they titled?

11      Q.    The first one I'm looking at has a received

12  stamp with handwritten "7/11/00, pay request

13  itemization  - final pay request."

14      A.    Yes, I have that.  Sheet No. 11-A of 19 in

15  the upper right-hand corner.

16      Q.    I'm actually looking at the previous page to

17  that.  This appears to be a listing of expenses and

18  requests for payment from a contractor to the water

19  company?

20      A.    Yes, it does.  So this might be, in fact, an

21  original vendor type invoice.

22      Q.    This is a fair amount of detail on it;

23  correct?

24      A.    Yes, it is.  Listing out the items, the

25  quantity of items, the cost.

00371

1      Q.    Is this the type of documentation you

2  normally expect to see from the Company?

3      A.    Yes.

4      Q.    If you didn't receive it, you would request

5  it?

6      A.    Yes.

7      Q.    You testified that this is the type of

8  information you would require.  Are you familiar with

9  the practices of other members of Commission staff?

10      A.    Yes.

11      Q.    Would other staff have different methods, or

12  would they also require this kind of documentation?

13      A.    To my knowledge, they would require the same

14  level of information.

15      Q.    Can we refer then to Exhibit 126.

16      A.    Yes.

17      Q.    Can you identify this for us?

18      A.    This is part of a contract filed by Stroh's

19  Water Company in which this is part of the cost that

20  they are proposing in the contract to the customer.

21  This is outside work being done by a third party.

22      Q.    So this is, in essence, a bid?

23      A.    It's a bid and/or an invoice.

24      Q.    Does this include detail of number of units

25  of things that are to be used in the project or were

00372

1  used in the project?

2      A.    Yes.  It provides a description, the amount

3  of, a total amount.  It also goes onto Page 2.  There

4  is a labor breakout on that amount, and back onto Page

5  1, there is a total with tax added to come up with a

6  final total.  That's the handwritten information.

7      Q.    Referring to both Exhibits 125 and 126, do

8  you know if either of these projects were performed by

9  a construction company that was affiliated with the

10  water company?

11      A.    In the case of Aquarius Utilities, there was

12  no affiliation with the water company there.  In the

13  case of Stroh's water, there was no affiliation with

14  the Company there.

15      Q.    Do you have a greater concern with obtaining

16  documentation for work done for water company when

17  there is an affiliated company doing the work?

18      A.    Yes, I do.

19      Q.    Why is that?

20      A.    Because typically what I have found in my

21  experience is the recordkeeping gets somewhat lax when

22  it's the same person or the same company doing the

23  work.

24      Q.    Are you aware of whether American Water

25  Resources has an affiliated interest filing on file

00373

1  with the Commission?

2      A.    Yes, they do.

3      Q.    Do you know if it specifies labor rates for

4  work that the affiliated interest company will perform?

5      A.    Yes.  That was part of the original filing

6  for the affiliated interest.

7      Q.    In this case, the affiliated interest company

8  is VR Fox Company; correct?

9      A.    Yes.

10            MS. TENNYSON:  I would move the admission of

11  Exhibits 125 and 126.

12            MR. FOX:  No objection.

13            JUDGE BERG:  Exhibits 125 and 126 are

14  admitted.

15      Q.    (By Ms. Tennyson)  Mr. Ward, we've already

16  established that the Company's original surcharge

17  request was approved in 1999.  Do you remember what

18  month?

19      A.    It would have been, I believe, April 29th,

20  effective May 1st of the year 1999.

21      Q.    You were the staff person who reviewed that?

22      A.    Yes.

23      Q.    Did you calculate any estimates of work

24  costs, or where did the numbers in this filing come

25  from?

00374

1      A.    That was provided in my Exhibit 120, which is

2  a redraft that I did the information on.  The Company

3  provided all information as to the cost.

4      Q.    Did you question or scrutinize those costs

5  and tell them they were too high?

6      A.    No, we did not.

7      Q.    You didn't reduce them in any way.

8      A.    No.

9      Q.    Are you aware of any change in the work that

10  was done in the course of the projects that are under

11  question here that is to be funded by the surcharges?

12      A.    Yes, I am aware of changes that were done.

13      Q.    Could you tell us what those are?

14      A.    Not all of them.  That's one of the questions

15  I have.  I'm aware that in one of the water systems

16  there was an intertie performed in the City of

17  Spanaway.  I believe that's the Terry Lane system or

18  possibly the Crescent Park.  I'm nor sure which system

19  it was, but there was an intertie done there.  There

20  was some other projects that I'm aware of they reduced

21  the scope of.  They did not install service meters.

22      Q.    I'm trying to find a listing of -- Exhibit

23  120 might be one we could refer to.  If we could refer

24  to Exhibit 120 and just review that and indicate for us

25  what work you are aware of that wasn't done.

00375

1      A.    Down under the Crescent Park, you will notice

2  there are some checkmarks next to the items in Column B

3  called, "project, rebuild pump house, new reservoir,

4  service meters."  As I said, there was an intertie done

5  on that system, and I was not aware they rebuilt the

6  pump house.  I believe they were able to refurbish it

7  or somehow repair it.  Service meters they did not

8  install at all.

9            Lazy Acres, there is a checkmark next to

10  service meters.  Once again, they did not install that.

11  Terry Lane, service meters once again on that one.  I

12  know there was other items, but I don't know exactly

13  which items for which water systems.  That was part of

14  the information I was requesting.

15      Q.    Referring to the Crescent Park system in the

16  second column, the writing "intertie," that's your

17  handwriting; correct?

18      A.    Yes, it is.

19      Q.    You have a checkmark by "new reservoir."  Am

20  I understanding correctly that because of the intertie

21  that a new reservoir or new storage tank was not

22  required to be purchased or installed?

23      A.    That's what I was told, yes.

24      Q.    At this point, has the Company provided an

25  explanation to your satisfaction for the difference in

00376

1  the amount spent on the surcharge projects?

2      A.    No, they have not.

3      Q.    The service meters, not installing those,

4  would have been a reduction in costs?

5      A.    Yes.

6      Q.    Yet the total amount is greater at this

7  point; correct?

8      A.    The total amount of all 13 projects is

9  greater, yes.

10      Q.    So some of the projects because of the

11  reduced scope of work was actually a lesser amount than

12  the original estimate?

13      A.    Yes.

14      Q.    Before the hearing, did you receive adequate

15  information to establish the costs of the projects that

16  the Company is asking to have funded by the surcharge?

17      A.    No, I did not receive adequate documentation.

18      Q.    At this point, what you have seen as evidence

19  introduced in this proceeding and what you've been able

20  to review of that, do you have adequate documentation,

21  in your mind, at this point?

22      A.    No, I do not.

23      Q.    Have you received all the data that you asked

24  for?

25      A.    No, I have not.

00377

1      Q.    Has some of the information that the Company

2  submitted as exhibits that you've looked at raised

3  further questions in your mind?

4      A.    Yes, it has.

5      Q.    Why is that?

6      A.    For instance, the information provided

7  yesterday on the engineering cost, that has raised more

8  questions in my mind than it has answered in my mind,

9  since the Company is attempting to include the year

10  2000 engineering costs for projects that were performed

11  in 1999.

12      Q.    Have you found any inconsistencies in the

13  data?

14      A.    I haven't had enough time to analyze

15  everything at this point, but yes, I have found some

16  inconsistencies in what the Company has, even in its

17  own exhibits.  Some of the information they provided

18  does not correlate with their own information.

19            Also, yesterday we did review the engineering

20  documents.  That one page was an invoice, I believe,

21  from the engineer for 16 thousand and some odd dollars.

22  That number didn't even tie back to the calculation you

23  could make on that page based on the number of hours

24  and cost for hour worked.

25      Q.    We referred to the affiliated interest filing

00378

1  and the fact that it sets out labor rates.  Do you know

2  what labor rates AWR was charged for labor rates used

3  in preparing the estimates of work that was done by VR

4  Fox Company?

5      A.    In the original estimates, no.

6      Q.    Do you know if VR Fox actually used the labor

7  rates set forth in the approved affiliated interest

8  filing?

9      A.    No, I do not.

10      Q.    Did you request information from the Company

11  on labor costs?

12      A.    Yes.  I believe I did in those different data

13  requests that I covered earlier.

14      Q.    I think we did cover that, and you hadn't

15  seen any of that documentation or even the detail until

16  seeing the exhibits yesterday; correct?

17      A.    Right.

18      Q.    In Exhibit 6 that is breakdown of costs by

19  project, are there labor rates shown in that

20  information?

21      A.    No, there is not.

22      Q.    You had indicated that earlier in your trying

23  to get information from the Company back last spring in

24  March and April that the Company had told you some of

25  the information was not available.  At any point, has

00379

1  the Company offered to allow you -- has VR Fox offered

2  to allow you to come and look at the information in

3  their records?

4      A.    Yes.  I believe there was an offer made

5  December 28th, I believe, the date was.  It was a

6  Thursday.  It was the prehearing conference date.

7  After that, we had a meeting with Mr. Fox, and at that

8  point, he offered us to allow us to the look at the

9  records.

10      Q.    So that was last week?

11      A.    That would have been last week, yes.

12      Q.    Did Mr. Fox indicate at that point why he

13  hadn't provided the information to you earlier?

14      A.    Yes.  Essentially, he said they didn't keep

15  it in the form that we would want, and that the form

16  they kept it in would be too confusing for me to

17  review.

18            MS. TENNYSON:  Thank you.  I have no further

19  questions at this time.

20            JUDGE BERG:  Mr. Fox?

21

22                     CROSS-EXAMINATION

23  BY MR. FOX:

24      Q.    The question Ms. Tennyson asked about, I

25  believe you said some records didn't exist.  Did I say

00380

1  the record didn't exist, or did I say that they didn't

2  exist in a format that was findable or findable without

3  a great deal of work and was confusing?

4      A.    As I recall on the December 28th, your latter

5  that you just said; that it was in a form confusing.

6      Q.    With reference to the, I believe it's Exhibit

7  125, which I think of as the how-to-do-it exhibit, this

8  is a piece of what was an inch-and-a-half or more

9  thick, the whole package; right?

10      A.    Yes.  I have the entire package over at my

11  table.

12      Q.    That's the package that over the last few

13  days Gene waved in my face several times and said,

14  "This is how we want it done"; right?

15      A.    I don't know that.

16      Q.    Was that package or something similar given

17  to me at any earlier date than -- I believe Gene

18  originally gave that package to Rick Finnigan to relate

19  to me, something in the general vicinity of two,

20  possibly as much as three weeks ago?

21      A.    Yes.  It would have been the first part of

22  December.

23      Q.    Was that package or anything similar ever

24  given to me prior to that?

25      A.    Not that I'm aware of.

00381

1      Q.    Back when we first started discussing and

2  trying to figure out what the surcharge was supposed to

3  look like, at that time, did you or anyone that you

4  know of give me any similar information that would

5  indicate that you expected this kind of detail?

6      A.    No.

7      Q.    In the last two or three years, how many

8  water surcharge projects would you guesstimate UTC has

9  approved or dealt with?

10      A.    Probably half a dozen in the last two or

11  three years.

12      Q.    Not very many then.

13      A.    No.

14      Q.    It's not an everyday thing.

15      A.    No.

16      Q.    The information such as the computations that

17  you are doing and the things that you showed me here,

18  this is all public record type information once it's

19  presented and in the record; is that right?

20      A.    Yes.

21      Q.    So if I'm to go back and look at every one of

22  those surcharges that have been dealt with, are you

23  telling me that I will find that degree of detail in

24  every one of these surcharges?

25      A.    You may not find that degree of detail in

00382

1  every one of these surcharges, but you may find some

2  degree.  We have a difference of degree level right

3  here in the two I've presented today.  Each surcharge

4  is different.  Each company is different.

5      Q.    Of these surcharge submissions that have been

6  processed, how many of them would you say have been

7  done, let's say, in-house versus by an outside

8  contractor?

9      A.    Most surcharge requests are typically done by

10  an outside contractor.  If they were done in-house, the

11  company would simply use that as investment.  It's

12  typically for that larger item that the company doesn't

13  have the ability or the money to do at that time.

14      Q.    It was rather unclear to me.  Looking at 125,

15  it seems to address two projects, the Lynchco project

16  and the Diamond Point project.

17      A.    Yes.

18      Q.    Are those both projects that were put out to

19  public bid?

20      A.    I don't know.

21      Q.    But you have characterized this information

22  as what you do receive and expect to receive on bid

23  projects.  So how do you --

24      A.    I didn't say on bid projects.  I said on

25  surcharge or capital improvement type projects I expect

00383

1  this level of detail.

2      Q.    So these may well have been done in-house?

3      A.    No, they were not done in-house.

4      Q.    So they were put out to bid?

5      A.    I don't know if they were put out to bid.

6      Q.    Is there another option?

7      A.    I don't know the process by which the Company

8  picked the vendor they did use.

9      Q.    In other words, the option would be that they

10  had them do it on a cost-plus basis.  They had them do

11  it on some other kind of a basis than a lump-sum bid;

12  is that what you are saying?

13      A.    I don't know that.  I know in the case of

14  Aquarius Water, this is the information they provided

15  with a third-party vendor doing the work.  In the case

16  of Stroh's Water, this is the information they've

17  provided with a third party doing the work.  How they

18  picked that third party, I don't know.

19      Q.    Isn't it general practice in the construction

20  industry that projects are done either on a lump-sum

21  basis, on a cost-plus basis, or on a TNM basis or a

22  unit-price basis.  They are done on some kind of a

23  basis that the parties know what they are dealing with?

24      A.    I believe so, but I'm not in the construction

25  business, and I don't know what is the industry

00384

1  standard.

2      Q.    It puzzles me that if you don't know under

3  what conditions this job was done how you relate this

4  degree of information as being the example that I

5  should follow.  I'm lost on that.

6      A.    I didn't say it was the example to follow.

7  What I provided here was two examples of what other

8  companies have filed to support their request for

9  increased rates.

10      Q.    In other words, from what you are telling me,

11  this example could be totally irrelevant to me?

12      A.    I think it's relevant in the fact that it

13  shows the level of detail that I'm seeking in your case

14  as by example in the level of detail I received from

15  other cases.

16      Q.    I recognize that that's the level of detail

17  you are asking for.  However, this has been offered, as

18  far as I understand, as the example of how I'm supposed

19  to have done things.

20            MS. TENNYSON:  I would object to Mr. Fox's

21  characterization of the document.  We have offered the

22  exhibit precisely as Mr. Ward has indicated,

23  information he receives from other companies and type

24  of information he would expect to be available for

25  audit when there is a surcharge request.

00385

1            JUDGE BERG:  And I would sustain that.

2  Mr. Fox, I would indicate that you have made clear the

3  point regarding the method that you used and your lack

4  of awareness of a preferred form.

5            MR. FOX:  Okay.  Then I guess maybe I need to

6  say nothing more about this.  I don't know.

7            JUDGE BERG:  I'm not suggesting that you cut

8  off questions that you think are important to ask.  I

9  just want you to know that I understand that that

10  particular point that you are making about the

11  difference between, for example, when this information

12  came to you, the first time you saw Exhibit 125, 126,

13  in relationship to your business practices.

14            MR. FOX:  Thank you.  I guess my most

15  important question is how am I supposed -- other than

16  this is the information you would like to see, how am I

17  supposed to relate this example to me.  Is that what

18  you are saying, Judge, is understood?

19            JUDGE BERG:  The question I hear you saying

20  now is how would you know to use that level of detail

21  without receiving direction from the Commission.

22            MR. FOX:  Yes, that certainly is my question.

23            JUDGE BERG:  Mr. Ward, if you can.

24            THE WITNESS:  Could I have you reask the

25  question?

00386

1      Q.    (By Mr. Fox)  How would I know that this is

2  the level of information that you expected to see if I

3  had not received this example or some explanation

4  similar to this example prior to me having the need to

5  compile the information?

6      A.    In the same way that this company, Aquarius

7  Utility, received that information, and that is they

8  asked me what was necessary, and I said all copies of

9  vendor invoices, time cards, materials necessary to do

10  the job.  That's how they created this document.

11      Q.    So it's your testimony that prior to us doing

12  the surcharge jobs that you told me that those things,

13  all time cards, all invoices, would be required?

14      A.    It has always been my position that any time

15  a company asked for an increase in rates the company be

16  able to substantiate the increase in rates by providing

17  original copies of vendor invoices, time sheets, things

18  of that nature.  I believe that is also part of the RCW

19  and the WAC's that the company be responsible to

20  support the filing they have.

21      Q.    You did know that we were doing these jobs or

22  putting them out on a lump-sum bid basis.

23      A.    I knew you were bidding these items.

24      Q.    And you informed me of these requirements,

25  required to go with those bids.

00387

1      A.    No.  The order required that when you did

2  certain projects over certain dollar amounts that a bid

3  process be done.

4      Q.    Are you saying then that you didn't brief me

5  with this kind of information that would be required on

6  those bid jobs?  Did you or did you not?

7      A.    In the specific instance of that conversation

8  or whatever it is you are referring to, did I

9  specifically say you would need this level of detail?

10  No, I don't believe it was done in that manner, but

11  I've always maintained that when a company needs to

12  file for rates, they need to be able to support those

13  rates.

14      Q.    You are, I believe, quite familiar with Herta

15  Ingram and her capabilities, whatever they might be in

16  your mind; would that be true?

17      A.    Yes.

18      Q.    What do you believe my purpose was in hiring

19  her?

20      A.    I don't know.

21      Q.    Would you suppose that my purpose might have

22  been to try to do a better job of supplying the

23  information that UTC was asking of me at various times?

24      A.    It might be, yes.

25      Q.    You have commented on a number of the data

00388

1  requests that she prepared for me.  Do you think that

2  that purpose was accomplished, being that that was my

3  purpose?

4            MS. TENNYSON:  I would object to this

5  questioning on a continuing supposition or asking the

6  witness to speculate as to what your purpose was in

7  hiring a particular person and to whether your purposes

8  were accomplished in how she did her work.

9            JUDGE BERG:  I'll sustain the objection.

10  Mr. Fox, I do recall you testifying that one of the

11  reasons why Ms. Ingram was hired was because of her

12  familiarity with the practices at the Commission.

13            MR. FOX:  Thank you.

14      Q.    (By Mr. Fox)  You mentioned -- I'm not sure

15  the precise context, but the '98 schedule provided for

16  improvements.  You were talking about some of the

17  surcharge improvements are earlier CIP, and you said

18  that our earlier rate case provided for funding of

19  those projects?

20      A.    In the 1998 general rate case that went to

21  hearing, you had proposed to include the entire capital

22  improvement project as a pro forma adjustment, yes.

23      Q.    The funding for some of those projects was

24  provided for then, you said?

25      A.    Not of the general rate case, no.

00389

1      Q.    I misunderstood you then.  Our 2000 in-house

2  Exhibit 10, P&L, was discussed here earlier.  I stated

3  when I introduced this that this was done in-house and

4  it was preliminary and hadn't been reviewed or

5  corrected, if you will, by an accountant, but viewing

6  it as it is, does it give you some concept of where we

7  are financially at the moment?

8      A.    It gives me a concept of where you are in the

9  year 2000, yes.

10      Q.    Earlier, we looked at Exhibit 2, which shows

11  our accounts payable age and summary and shows that we

12  have about $143,000 past due.  From these exhibits,

13  would you conclude that paying for these debts relating

14  to the surcharge is virtually impossible without an

15  extension?

16      A.    No, I would not conclude that.

17      Q.    Can you give me something about how it would

18  be paid then?

19      A.    I don't know.  I don't have any further

20  analysis.

21      Q.    You mentioned in response to one of Mary's

22  questions that there was a schedule that I didn't

23  comply with.  Do you recall what schedule you were

24  referring to?

25      A.    It was originally with the original filing

00390

1  back in 1999.  It's not part of the exhibits here.  It

2  was a schedule, I believe, prepared by the Company at

3  that time outlining when they were going to start and

4  complete projects.  It was a very simple schedule, one

5  page.

6      Q.    But we don't have that schedule here to look

7  at or to discuss.

8      A.    It's in my backup work papers in

9  documentation that I have, but it's not part of the

10  exhibits, I don't believe, and it was a schedule

11  prepared by the Company.

12      Q.    Virtually all of the discussion here, I

13  believe, and the data requests and various information

14  that's been bandied about make me wonder, is your

15  primary concern with information relative to Fox

16  Company work and/or interaction and/or invoices?

17      A.    My understanding of the information requested

18  is to the list of 13 water systems and the cost of the

19  capital improvements, whoever did those capital

20  improvements.  In this case, you've alluded to VR Fox

21  Company.  They are the ones that did the entire 13

22  projects.  So yes, I'm asking for information from VR

23  Fox Company to substantiate the cost.

24      Q.    I guess said differently, my question would

25  be, except for the Fox Company relationship and

00391

1  information, are you pretty satisfied that we have

2  given what we should have?

3      A.    No, I am not.

4      Q.    What other information then outside of that

5  would you feel we haven't given?

6      A.    As I stated earlier, the information for

7  engineering, I now have less confidence in that

8  information now that it's been presented, and we have

9  found numerous errors in that information.

10      Q.    You discussed the affiliated company

11  agreement and the rates involved in that.  Do you

12  recall or have information readily available to tell us

13  what those rates are?

14      A.    No, I do not.  That's in our work paper files

15  downstairs.

16      Q.    Is the rates contained in that primarily an

17  hourly type rate that you charge as if you were going

18  to do a TNM job, like a plumber would charge you $60 or

19  whatever an hour, but as opposed to the actual labor

20  costs paid to the individual?

21      A.    As I recall, the affiliated interest has

22  various types of work that will be performed at various

23  levels per hour of compensation.

24      Q.    Which would be similar to what I'm referring

25  to as the plumber's rate.  They would be the marked-up

00392

1  rate for that hour of that kind of work?

2      A.    I don't know what those are based on.  I

3  don't know if they are marked-up rate or what.  All I

4  know is that in the affiliated interest, there was an

5  established per hour rate for various work.

6      Q.    Would it be reasonable then on these bid jobs

7  that the labor should all be paid for according to

8  those rates?

9      A.    I don't know what you mean by "these bid

10  jobs."

11      Q.    The 13 jobs, the surcharge jobs that were bid

12  out.

13      A.    That's what you had said in the affiliated

14  interest was work done by the affiliated interest would

15  be billed at these rates.  That's what you've proposed.

16      Q.    So you think the other bidders and/or Fox

17  Company bid all labor at those rates.

18      A.    I have no idea what they bid at those rates

19  because I didn't receive --

20      Q.    Your expectation would be that they should

21  have?

22      A.    My expectation would be yes, that VR Fox

23  would do the work at those established rates per the

24  affiliated interests that they submitted that they

25  would do them.

00393

1      Q.    I offered yesterday Exhibits 8 and 9.

2      A.    I don't have those.

3      Q.    I'll let you borrow mine if that's

4  appropriate.

5      A.    What exhibit is the photos?

6      Q.    Excuse me, 7 and 8.

7            JUDGE BERG:  Exhibit 7 and 8, I believe, are

8  the two sets of resumes; is that correct?

9            MR. FOX:  That's correct, Your Honor.

10            THE WITNESS:  I have copies of 7 and 8.  They

11  are listed here as 7-A and B.

12      Q.    (By Mr. Fox)  Have you reviewed what those

13  are at all?

14      A.    Essentially, yes, I looked at them yesterday.

15      Q.    Would those give you any indication as to my

16  experience or credibility in terms of bidding

17  construction jobs and doing construction jobs?

18      A.    Not knowing the construction industry, I

19  can't say.

20      Q.    A great amount of that information does not

21  necessarily relate to the construction industry.  Can

22  you comment on the general characterization of those?

23            MS. TENNYSON:  I would object to further

24  questions along this line.  Whether or not Mr. Ward

25  feels Mr. Fox has credibility in the construction

00394

1  industry really doesn't relate to Mr. Ward's job with

2  auditing information that's provided.

3            MR. FOX:  That's fine.

4            JUDGE BERG:  Thank you, Mr. Fox.

5      Q.    (By Mr. Fox)  With regard to the surcharge

6  projects, I kind of think about that as Phase 1, the

7  original thing that was approved and done as opposed to

8  what we are now discussing, the extension.  Can we kind

9  of think about things that way for a moment?  In other

10  words, what I'm saying, there was an original surcharge

11  approved.  The surcharge was done.  UTC approved the

12  payments.  The payments were made from the bank to the

13  Fox Company from the surcharge loan.  That part was

14  done and closed out; is that correct?

15      A.    Not to my knowledge, no.  Not to my

16  understanding, no.

17      Q.    What part of that --

18      A.    The cost has not been substantiated for the

19  original amount.  Yes, a loan was approved.  Yes the

20  surcharge was approved.  Yes, the loan was disbursed.

21  Yes, work was accomplished, but I have not seen any

22  documentation to support the original $380,000.

23      Q.    But you did approve the payout of the

24  original $380,000?

25      A.    Yes, we did.

00395

1      Q.    Is it unreasonable for me to believe that

2  since you authorized the payment of that amount that

3  you were at least reasonably satisfied with things at

4  that point?

5      A.    No.

6      Q.    Why did you approve that if you were not?

7      A.    How would you have accomplished the work and

8  gotten the receipts if the money had not been approved

9  to be released by the bank?

10      Q.    What happens when we apply that same thinking

11  to the second part?

12      A.    What do you mean by "that same thinking"?

13      Q.    The second part, the work has all been done,

14  not just the first part.  The first part and the second

15  part, the work has all been done.  The engineering has

16  all been done, so how do you segregate that $380,000 or

17  whatever the exact number is should be paid and the

18  other part shouldn't be paid?

19      A.    By the way that the surcharge was proposed as

20  a funding mechanism up front before the work was done,

21  and that now that the work is completed, you should

22  have the documentation to support not only the

23  extension request but the original request.

24            MR. FOX:  I don't think I have any further

25  questions.

00396

1            JUDGE BERG:  We are going to take a 10-minute

2  break, and there will be some questions from the Bench.

3            (Recess.)

4            JUDGE BERG:  Back on the record.  I don't

5  have any additional questions for Mr. Ward.

6  Ms. Tennyson?

7            MS. TENNYSON:  I just have a couple

8  follow-ups, thank you.

9

10                   REDIRECT EXAMINATION

11  BY MS. TENNYSON:

12      Q.    You had testified that you had previously had

13  requested on several occasions the detail of the

14  invoices for labor and materials from the Company, and

15  they were not provided; correct?

16      A.    Yes.

17      Q.    Were you told that they weren't available in

18  the form that you asked for or that they just weren't

19  available?

20      A.    I was told they were not available.

21      Q.    It was only recently last week that you were

22  told they weren't available in the form you were

23  looking for; correct?

24      A.    Right.

25      Q.    In the information that you've seen in

00397

1  Exhibit 6 in the testimony that Ms. Woods gave

2  yesterday, does it appear that that level of detail you

3  were asking for may be available?

4      A.    Yes, it does appear that.

5      Q.    And for the information and labor, you still

6  haven't seen the cost information on that, have you?

7      A.    No, I have not seen that.

8      Q.    In Ms. Ingram's response -- I believe it is

9  in Exhibit 110 -- you had asked for detailed breakdown

10  of each water system project including copies of vendor

11  invoices and time logs for all labor, and then

12  Ms. Ingram had responded that you would be receiving

13  some detailed breakdown?

14      A.    Yes.  That would be part of the surcharge

15  extension filing that they would file on March 20th,

16  2000.

17      Q.    That kind of detail is the kind of

18  information you would have expected to receive?

19      A.    Yes.  At this point, all the work would have

20  been done and the receipts would be available.

21      Q.    So we wouldn't be relying on estimates

22  anymore but actual documents.

23      A.    Right.

24      Q.    So basically what I'm gathering is you

25  consistently asked for the detail and were told it's

00398

1  not available, and you found out as of yesterday that

2  it may well be available.

3      A.    Yes, that's true.

4      Q.    So even though Mr. Fox in his questioning of

5  you implied how is he to know to keep the records the

6  level of the detail that VR Fox may well have kept the

7  records to that same level of detail as represented in

8  the exhibits relating  to the information you received

9  from Aquarius and Stroh Water.

10      A.    Yes, it may exist.

11      Q.    You haven't directed AWR or VR Fox Company to

12  keep their records, have you?

13      A.    No.

14      Q.    If you are asked for information from

15  companies on what kind of information you are going to

16  expect, do you provide that?

17      A.    Yes.

18      Q.    In fact, is it your testimony that Aquarius

19  did ask you for that information?

20      A.    Yes, they did.

21      Q.    Do you know when they asked that before

22  beginning the work or at what point?

23      A.    I would believe it was before the work was

24  performed.

25      Q.    So they anticipated there might be a need to

00399

1  document what was done.

2      A.    Yes, and they have been through general rate

3  cases also where that level of detail was expected in a

4  general rate case.

5      Q.    Likewise, has AWR been through a general rate

6  case where similar level of detail was demanded?

7      A.    Yes, several times.

8            MS. TENNYSON:  I don't have anything further

9  at this time, thank you.

10            JUDGE BERG:  Any additional questions, Mr.

11  Fox?

12            MR. FOX:  May I talk to my associate for a

13  second?

14            JUDGE BERG:  Certainly.

15            MR. FOX:  I'm sorry, Your Honor.

16

17                 FURTHER CROSS-EXAMINATION

18  BY MR. FOX:

19      Q.    Mr. Ward, you said that if people ask you for

20  advice about how records should be kept, you would

21  offer information to help them; is that correct?

22      A.    Yes.

23      Q.    Do you recall a week or two ago that Mitch

24  from our office called you and asked your input as to

25  how a bid document might be put together?

00400

1      A.    Yes.

2      Q.    Do you recall what your response was?

3      A.    Yes.

4      Q.    That was what?

5      A.    That I would not help him in that case on how

6  to put a bid document together.

7      Q.    Is that different than -- that's how records

8  are to be kept, right?  Isn't that part of the record?

9      A.    I see it as two different things.  The bid

10  document is something that goes out to people, and what

11  I'm after is the actual invoices from the original

12  vendors when work is completed.

13      Q.    Isn't it reasonable to think we are going to

14  get better information if we ask for the right

15  information in the beginning?

16      A.    Yes.

17      Q.    Wouldn't you suppose that was his purpose in

18  asking you?

19      A.    I don't know what his purpose in asking me

20  was.

21            MR. FOX:  Thank you, Your Honor.  That's the

22  only questions I have.

23            JUDGE BERG:  Off the record.

24            (Discussion off the record.)

25            JUDGE BERG:  One question, Mr. Ward, just so

00401

1  that I understand Staff's opposition to the requested

2  surcharge extension.  I know we've focused quite a bit

3  on the level of supporting detail that has been

4  provided, but it seemed to me that Staff also had

5  concerns about the bid process that was followed in

6  light of the affiliated relationship; is that correct?

7            THE WITNESS:  No, I don't believe it is.  I

8  don't believe in my testimony I've talked about the bid

9  process as being a problem.

10            MS. TENNYSON:  Your Honor, are you finished?

11  I would follow-up on that, just a similar point.

12  Mr. Ward, the order approving the surcharge that did

13  include a requirement of dollar amounts for situations

14  in which a competitive bid would be required, that did

15  not specify or direct the Company how to conduct that

16  bid process or whether they should be seeking lump-sum

17  bids or time and materials or other basis, did it?

18            THE WITNESS:  No, it did not.

19            MS. TENNYSON:  Nothing further.

20            JUDGE BERG:  Anything else, Mr. Fox?

21            MR. FOX:  I guess that question prompts one

22  more.  In your opinion, was the fact that we sought to

23  do these jobs on a lump-sum basis a wrong or bad

24  decision?

25            THE WITNESS:  I don't know.

00402

1            JUDGE BERG:  No further questions here.

2            MS. TENNYSON:  This witness may be excused.

3            JUDGE BERG:  You are excused.  Thank you very

4  much for testifying here today.  Any other witnesses

5  you would like to call, Ms. Tennyson?

6            MS. TENNYSON:  No, we don't have any

7  additional witnesses.

8            JUDGE BERG:   With that, it appears that both

9  parties have completed their presentation of evidence

10  in this case.  Is there any disagreement or difference

11  of opinion on that point?

12            MR. FOX:  Not in my mind.

13            JUDGE BERG:  Are there any other matters that

14  the parties believe need to be addressed on the record

15  other than some of the follow-up briefing details?

16            MS. TENNYSON:  We do have follow-up briefing

17  details.  I did want to raise a point.  The initial

18  order of suspension does have a provision that the

19  Company may be required to pay the costs of Staff's

20  investigation to the extent allowed under statute, and

21  that is something we would be seeking in this case, but

22  I don't know whether it's something you would like

23  addressed in briefing or after a decision or at what

24  point we should raise that issue.

25            JUDGE BERG:  I'd like to see that occur as

00403

1  sort of a separate follow-up proceeding.  There may be

2  some purpose for conducting additional hearings in the

3  case there is some question as to the reasonableness of

4  the costs incurred in the investigation as part of the

5  overall process, so I think that would be sort of an

6  independent petition that would be filed in the case

7  upon which the Commission could then schedule and

8  notice follow-up proceedings.

9            MS. TENNYSON:  That would be my view as well.

10  It's similar to a civil rights case if there is a

11  request for attorneys' fees, a follow-up discussion can

12  be had, but I just wanted to clarify that we had the

13  same view that it wasn't something we would need to

14  include as briefing in this case.

15            JUDGE BERG:  I think that does put all

16  parties on notice that that's Staff's intent.  Let's go

17  off the record for a moment.

18            (Discussion off the record.)

19            JUDGE BERG:  Ms. Tennyson, I understand there

20  is a motion you wish to bring at this time.

21            MS. TENNYSON:  Yes, Your Honor.  Although we

22  had made it yesterday after hearing Mr. Fox's

23  testimony, I would like to renew Staff's motion to

24  dismiss the request for the surcharge at this point.

25  Despite Staff's numerous efforts, as Mr. Ward has

00404

1  testified and the exhibits do reveal dating back to

2  November of '99 and the Company's various stories about

3  whether the information existed or they would or would

4  not provide it, we still today do not have sufficient

5  information as to what costs were incurred by the

6  Company in the course of completing the surcharge

7  projects, and there is a lot of questions about that

8  information that has been submitted.  We do have data

9  submitted in exhibit form and on cross-examination,

10  which shows that the information was received as

11  inconsistent and incomplete, in some cases inconsistent

12  and contradictory.  I guess they are synonyms.  We

13  still do not have the detailed data on whether or not

14  the labor costs, how they were calculated, whether or

15  not the affiliated interest agreement was complied with

16  in that respect.

17            We found out as of yesterday with the

18  submission of exhibits in Ms. Woods' testimony that

19  information Staff had previously been told did not

20  exist does, in fact, exist, and despite the request in

21  the data requests, the formal data requests submitted

22  to the Company in early December for information and

23  offering to have Mr. Ward review the information at the

24  Company's offices, that information wasn't presented,

25  and as Mr. Ward testified, no explicit offer to allow

00405

1  him to review the data in VR Fox Company's offices was

2  made until December 28th.

3            If there is a dismissal, it need not be with

4  prejudice.  The Company could refile at any time it has

5  compiled sufficient backup data to support the filing,

6  but at this point, it is our view that the Company has

7  failed to carry its burden of proof.  There is no basis

8  for the Commission to make a decision on what costs

9  were actually incurred for what projects, what work was

10  done with the surcharge money.  A surcharge isn't just

11  a blank check.  There does need to be follow-up and

12  justification of how the money was spent, and in this

13  case, when they are asking for an additional extension

14  of that surcharge, then we feel it is very important to

15  adequately document that the money was spent in a

16  prudent fashion.

17            Because of the Company's actions and a

18  failure to provide information, Staff feels also it has

19  been prevented from really presenting an effective case

20  on its own in this case, has contributed substantially

21  to costs incurred by the Staff in attempting to

22  determine what AWR spent for what and why it was spent.

23  As I stated earlier, we don't believe it would be

24  possible to determine whether customers should pay

25  additional money to the Company based on records we

00406

1  have today.

2            If the Company can demonstrate that it has

3  the backup documentation and can present that to Staff,

4  it would be free to refile, or it could recover this

5  through including the expenses and the rate base

6  depreciation and the return on that.  Rate base

7  treatment here would be more preferable for this

8  company because of the difficulties we've had in the

9  past with its capital structure.  I would ask that and

10  we will include references in any briefing if our

11  motion is not granted, but to the rate case orders in

12  the 1998 rate case as terms of the Company's capital

13  structure and the coaching, if you will, they have been

14  provided in the past by the Commission and by the Staff

15  on recordkeeping detail the kind of information this

16  agency requires in order to approve expenses to be

17  passed on to customers.  It is a regulated company, and

18  a primary reason for the regulation is the oversight

19  that this agency provides.  So we would ask that the

20  matter be dismissed prior to requiring any briefing and

21  final decision.  Thank you.

22            JUDGE BERG:  Mr. Fox, anything you want to

23  add to the statements and positions you took in

24  opposition at the half time?

25            MR. FOX:  Only that I very strongly disagree

00407

1  that I never said that the information wasn't

2  available.  I said that the information was very

3  difficult to sort out because of the fact that it

4  wasn't kept in a manner that could make it readily

5  available because we didn't know that there was such a

6  need.  I did say in the data request to Ms. Tennyson

7  that I was perfectly willing to swear that the

8  information was accurate, and I did say in that letter

9  that if I knew where to find sufficient funds for an

10  independent auditor or anyone else to perform an audit

11  to ferret through all of that that I would be proven to

12  be 100-percent accurate, so that particular statement,

13  I believe, is 100 percent wrong.

14            I do recognize that we haven't supplied the

15  degree of information that was requested.  I have tried

16  to explain the reasons for why we haven't done that.

17  Probably the most important one being that it was my

18  understanding all along that we were dealing on a

19  lump-sum bid basis, and I had never had an expectation,

20  as Mr. Ward said, that it wasn't somehow explained to

21  me that that kind of information should be supplied on

22  a lump-sum bid basis.

23            So no question about it.  I can see at this

24  point that I haven't supplied all the information they

25  would have liked, but there was certainly no intent to

00408

1  withhold information or to change information or --

2  I've tried to supply the information that would allow

3  you to believe that I'm trying to be fair and honest

4  and present what I can.  So I think that I can only say

5  that, as I said yesterday, that I clearly recognize

6  that the matter is in your hands.  You are the one with

7  the job of making a decision, I guess.  I don't know

8  what more I can say.

9            JUDGE BERG:  I can understand why a decision

10  on the motion would be helpful to the parties before

11  they would begin briefing on issues.  My initial

12  reaction is that my understanding of the case is that

13  Staff's briefing on a case in chief would probably be

14  substantially the same as its briefing on a motion to

15  dismiss.  But that's just my first perception, and the

16  situation hasn't changed much from yesterday in that

17  there is still a lot of information here.  At this

18  point, I would again take the manner under advisement,

19  but what I will do is try and come up with a somewhat

20  expedited decision as to whether or not further

21  briefing is still required.  If briefing is required,

22  I'll indicate to the parties that I would look for the

23  parties to brief their positions on the motion to

24  dismiss as well as the case in chief as that might be

25  perceived.

00409

1            What that means, Mr. Fox, this goes back to

2  one of the comments I made early on before we started

3  that part of the process is first, you tell the judge

4  what you are going to tell him.  Then you tell him.

5  Then you tell him what you told him.  The briefing part

6  is essentially the what-we-told-him phase, and it's an

7  opportunity for the parties to gather all the

8  information that has been presented during the course

9  of a hearing and organize it in a written document that

10  restates their position with the support.  My decision

11  now is that I'll report back to the parties -- let's be

12  off the record for a moment.

13            (Discussion off the record.)

14            JUDGE BERG:  I'll let the parties know

15  whether briefing is required on the motion to dismiss

16  on or before Tuesday, January the 9th, and I'll just

17  make it clear that if it is my decision that briefing

18  should occur that is not to be taken as any indication

19  of whether or not I will rule one way or the other.  It

20  only means that I feel whatever decision I make will be

21  a better decision as the result of reviewing the

22  briefs, but I understand that there is a time and

23  expense associated that the parties are seeking to

24  responsibly manage.  Let's be off the record again.

25                 (Discussion off the record.)

00410

1            JUDGE BERG:  There has been a revision to the

2  previously scheduled briefing schedule.  Pending

3  notification, and I will notify the parties one way or

4  the other before the end of Tuesday, January the 9th,

5  and I will do that notification by facsimile

6  transmission followed up with an a mailed copy of the

7  notice, but tentatively, the briefs would be due on

8  January the 25th, Thursday, January the 25th, on or

9  before the end of the day.  Let's be off the record.

10            (Discussion off the record.)

11            JUDGE BERG:  It appears that there is no

12  other substantive procedural matters to address.  The

13  hearing will be adjourned.

14

15             (Hearing adjourned at 3:50 p.m.)

16

17

18

19

20

21

22

23

24

25