## Sheet1
Facility Name | Abbreviation | Serves non-Avista customers | Connected Generation | City | State | Rated Capacity (MVA) | Peak load (MW) | Year of Peak Load | 2016 Peak Load (MW) | 2017 Peak Load (MW) | 2018 Peak Load (MW) | 2019 Peak Load (MW) | 2020 Peak Load (MW) | Radially Served | Substation Ties | Full or Partial Load Offload Capabilities | Seasonal Constraints | Avista Customers as 12/30/2019
Airway Heights 115kV | AIR | Yes, IPL | No | Airway Heights | WA | 40 | 31.721 | 2018 | 29.85 | 29.02 | 31.721 | 30.203 | 31.69 | No | SUN, SLK | Full But w/ Seasonal Constraints | Yes | 3903
Arden 115kV | ARD | No | No | Colville | WA | 9.375 | 7 | 2019 | 6.531 | 6.531 | 5.943 | 7 | 6.825 | No | ORI | Partial But w/ Seasonal Constraints | Yes | 945
Barker Road 115kV | BKR | No | No | Spokane Valley | WA | 20 | 20.33 | 2016 | 20.33 | 14.51 | 14.355 | 13.065 | 11.93 | No | BLD, GRA, LIB | Full But w/ Seasonal Constraints | Yes | 3815
Beacon 230kV | BEA | No | No | Spokane | WA | 60 | 44.1 | 2018 | 42.84 | 42.945 | 44.1 | 42 | 43.26 | No | MIL, 9CE, ROS, 3HT, NE | Full But w/ Seasonal Constraints | Yes | 7797
Boulder 230kV | BLD | No | No | Spokane Valley | WA | 30 | 7 | 2020 | 0 | 0 | 0 | 4.91 | 7 | No | BKR, LIB | Full But w/ Seasonal Constraints | Yes | 679
Chester 115kV | CHE | No | No | Spokane Valley | WA | 40 | 24 | 2020 | 19.12 | 19.5 | 20.25 | 23 | 24 | No | MIL, 9CE, GRA | Full But w/ Seasonal Constraints | Yes | 6024
Chewelah 115kV | CHW | Yes, City of Chewelah | No | Chewelah | WA | 20 | 15.358 | 2020 | 13.795 | 15.057 | 12.974 | 14.063 | 15.358 | Yes | None | None |  | 2336
Colbert 115kV | COB | No | No | Colbert | WA | 20 | 17.58 | 2018 | 16.43 | 16.97 | 17.58 | 16.76 | 17.36 | No | MEA, MLN | Full But w/ Seasonal Constraints | Yes | 4320
College & Walnut 115kV | C&W | No | No | Spokane | WA | 60 | 40.7 | 2017 | 39.137 | 40.7 | 39.3 | 39.225 | 38.3 | No | ROS, 3HT, SUN, FWT, PST | Full But w/ Seasonal Constraints | Yes | 11844
Colville 115kV | CLV | No | No | Colville | WA | 49.375 | 32.571 | 2018 | 28.664 | 28.664 | 32.571 | 23.947 | 29.387 | No | ORI | Partial But w/ Seasonal Constraints | Yes | 5496
Critchfield 115kV | CFD | No | No | Clarkston | WA | 20 | 12.499 | 2020 | 11.7 | 11.8 | 12.3 | 11.539 | 12.499 | No | PDL | Partial But w/ Seasonal Constraints | Yes | 2922
Davenport 115kV | DVP | No | No | Davenport | WA | 9.375 | 5.795 | 2016 | 5.795 | 5.708 | 5.309 | 5.561 | 5.774 | No | RDN | Partial But w/ Seasonal Constraints | Yes | 1163
Deer Park 115kV | DEP | Yes, IPL | No | Deer Park | WA | 20 | 15.8 | 2019 | 13.3 | 14.83 | 13.67 | 15.8 | 12.08 | No | MLN, LOO | Full But w/ Seasonal Constraints | Yes | 3533
Diamond 115kV | DIA | No | No | Colfax | WA | 4.687 | 3.61 | 2019 |  |  | 3.6 | 3.61 | 3.04 | No | EWN | Partial But w/ Seasonal Constraints | Yes | 966
Dry Gulch 115kV | DRY | No | No | Clarkston | WA | 20 | 10.843 | 2019 | 7.545 | 8.825 | 9.342 | 10.843 | 8.972 | No | PDL | Full But w/ Seasonal Constraints | Yes | 1403
East Colfax 115kV | ECL | Yes, IPL | No | Colfax | WA | 20 | 11.4 | 2016 | 11.4 | 10.991 | 10.4 | 10.843 | 9.022 | No | TUR | Partial But w/ Seasonal Constraints | Yes | 2024
East Farms 115kV | EFM | No | No | Newman Lake | WA | 20 | 14.46 | 2017 | 12.345 | 14.46 | 11.5 | 11.7 | 11.7 | No | LIB, PVW | Full But w/ Seasonal Constraints | Yes | 2543
Ewan 115kV | EWN | Yes, IPL | No | St. John | WA | 4.687 | 4.12 | 2016 | 4.12 | 3.62 | 3.41 | 3.8 | 3.5 | No | DIA | Partial But w/ Seasonal Constraints | Yes | 423
Ford 115kV | FOR | No | No | Ford | WA | 9.375 | 4.31 | 2020 | 3.192 | 3.528 | 3.192 | 3.36 | 4.31 | No | L13 | Partial But w/ Seasonal Constraints | Yes | 625
Francis & Cedar 115kV | F&C | No | No | Spokane | WA | 60 | 50.3 | 2018 | 42.8 | 44.7 | 50.3 | 46.71 | 48.89 | No | L&S, NW, INT, WAK | Full But w/ Seasonal Constraints | Yes | 13493
Ft Wright 115kV | FWT | No | No | Spokane | WA | 40 | 29.221 | 2019 | 22.654 | 27.384 | 26.634 | 29.221 | 24.521 | No | C&W, SUN, NW | Full But w/ Seasonal Constraints | Yes | 7279
Garfield 115kV | GAR | No | No | Garfield | WA | 4.687 | 3.376 | 2017 | 3.28 | 3.376 | 3.04 | 3.216 | 2.452 | No | TKO | Partial But w/ Seasonal Constraints | Yes | 601
Gifford 115kV | GIF | No | No | Gifford | WA | 16.687 | 12.57 | 2020 | 9.618 | 10.3 | 11.23 | 9.972 | 12.57 | Yes | None | None |  | 2632
Glenrose 115kV | GLN | No | No | Spokane | WA | 20 | 18.14 | 2020 | 15.854 | 16.15 | 17.2 | 16.57 | 18.14 | No | 9CE, SE, 3HT | Full But w/ Seasonal Constraints | Yes | 5227
Greenacres 115kV | GRA | No | No | Spokane Valley | WA | 30 | 20.7 | 2019 | 18.08 | 17.78 | 19.06 | 20.7 | 20.46 | No | BKR, LIB, SIP, CHE | Full But w/ Seasonal Constraints | Yes | 5117
Greenwood 115kV | GRN | No | Yes | Kettle Falls | WA | 20 | 9.728 | 2016 | 9.728 | 9.6 | 6.8 | 8 | 7.774 | No | KET | Partial But w/ Seasonal Constraints | Yes | 2071
Hallett & White 115kV | H&W | No | No | Spokane | WA | 60 | 24.4 | 2019 | 16.16 | 15.323 | 15.643 | 24.4 | 20.31 | No | SUN, SLK | Full But w/ Seasonal Constraints | Yes | 723
Harrington 115kV | HAR | No | No | Harrington | WA | 4.688 | 1.38 | 2017 | 1.27 | 1.38 | 1.12 | 1.17 | 1.145 | Yes | None | None |  | 358
Indian Trail 115kV | INT | No | No | Spokane | WA | 20 | 16.1 | 2017 | 12.3 | 16.1 | 13.5 | 13.286 | 14.223 | No | NW, F&C, WAK | Full But w/ Seasonal Constraints | Yes | 3416
Kettle Falls 115kV | KET | No | No | Kettle Falls | WA | 20 | 12.84 | 2020 | 10.836 | 11.844 | 11.088 | 10.836 | 12.84 | No | GRN | Partial But w/ Seasonal Constraints | Yes | 965
Latah Jct. 115kV | LAT | No | No | Fairfield | WA | 7.5 | 4.209 | 2018 | 3.567 | 3.7 | 4.209 | 4.2 | 3.698 | No | ROK, TKO | Partial But w/ Seasonal Constraints | Yes | 746
Lee & Reynolds 115kV | L&R | Yes, BBEC | No | Othello | WA | 60 | 24.62 | 2020 | 18.4 | 21.3 | 17.7 | 20.13 | 24.62 | No | OTH, SOT | Partial But w/ Seasonal Constraints | Yes | 883
Leon Junction 115kV | LEO | No | No | Uniontown | WA | 7.5 | 5.4 | 2017 | 5 | 5.4 | 4 | 4.6 | 4.6 | Yes | None | None |  | 1317
Liberty Lake 115kV | LIB | No | No | Liberty Lake | WA | 40 | 35.97 | 2018 | 31.752 | 27.216 | 35.97 | 31.248 | 28.224 | No | BLD, BKR, GRA | Full But w/ Seasonal Constraints | Yes | 5245
Lind 115kV | LIN | No | Yes | Lind | WA | 20 | 19.41 | 2017 | 1.729 | 1.829 | -15.53 | -19.2 | -19.41 | Yes | None | None |  | 405
Little Falls 115kV | LTF | No | No | Reardan | WA | 12 | 5.2 | 2017 | 4.6 | 5.2 | 5 | 4.7 | 4.8 | Yes | None | None |  | 453
Long Lake 115/13kV | L13 | No | No | Reardan | WA | 4.687 | 3.39 | 2019 | 2.98 | 3.08 | 3.12 | 3.39 | 3.063 | No | FOR | Partial But w/ Seasonal Constraints | Yes | 476
Loon Lake 115kV | LOO | No | No | Loon Lake | WA | 7.5 | 6 | 2020 | 5.239 | 5.703 | 5.559 | 5.698 | 6 | No | VAL, DEP | Full But w/ Seasonal Constraints | Yes | 1830
Lyons & Standard 115kV | L&S | No | No | Spokane | WA | 60 | 36.234 | 2018 | 35.404 | 33.296 | 36.234 | 32.704 | 34.712 | No | NE, ROS, F&C, WAK | Full But w/ Seasonal Constraints | Yes | 9547
Marengo 115kV | MGO | Yes, BBEC | No | Ritzville | WA | 3.75 | 2.04 | 2020 | 1.18 | 1.37 | 1.37 | 1.3 | 2.04 | Yes | None | None |  | 0
Mead 115kV | MEA | No | No | Mead | WA | 30 | 17.908 | 2016 | 17.908 | 16.472 | 13.272 | 12.656 | 17.087 | No | NE, WAK, COB | Full But w/ Seasonal Constraints | Yes | 2912
Metro 115kV | MTR | No | No | Spokane | WA | 40 | 30.46 | 2019 | 20.34 | 23.457 | 29.3 | 30.46 | 19.24 | No | PST, 3HT | Full But w/ Seasonal Constraints | Yes | *
Milan 115kV | MLN | Yes, IPL | No | Chattaroy | WA | 40 | 9.78 | 2017 | 9.04 | 9.78 | 8.77 | 8.23 | 7.48 | No | COB, DEP | Full But w/ Seasonal Constraints | Yes | 1781
Millwood 115kV | MIL | No | No | Millwood | WA | 65 | 38.255 | 2018 | 33.084 | 35.632 | 38.255 | 36.294 | 37.957 | No | OPT, SIP, BEA, 9CE, CHE | Full But w/ Seasonal Constraints | Yes | 7308
Ninth & Central 115kV | 9CE | No | No | Spokane Valley | WA | 60 | 29.3 | 2020 | 26.78 | 27.315 | 28.9 | 28.15 | 29.3 | No | MIL, CHE, GLN, BEA, 3HT | Full But w/ Seasonal Constraints | Yes | 6215
Northeast 115kV | NE | No | No | Spokane | WA | 40 | 29.682 | 2017 | 28.486 | 29.682 | 27.757 | 28.791 | 29.532 | No | ROS, BEA, L&S, WAK, MEA | Full But w/ Seasonal Constraints | Yes | 6312
Northwest 115kV | NW | No | No | Spokane | WA | 40 | 28.533 | 2020 | 23.588 | 26.949 | 26.366 | 26.56 | 28.533 | No | FWT, F&C, INT | Full But w/ Seasonal Constraints | Yes | 7121
Odessa 115kV | ODS | No | No | Odessa | WA | 4.687 | 2.875 | 2019 | 2.54 | 2.6 | 2.707 | 2.875 | 2.64 | Yes | None | None |  | 802
Opportunity 115kV | OPT | Yes, MEWCO | No | Spokane Valley | WA | 20 | 14.67 | 2016 | 14.67 | 14.6 | 14 | 12.9 | 12.4 | No | SIP, MIL | Full But w/ Seasonal Constraints | Yes | 2828
Orin 115kV | ORI | No | No | Colville | WA | 9.375 | 5.758 | 2020 | 5.5 | 4.8 | 4.5 | 5.2 | 5.758 | No | ARD, CLV | Full But w/ Seasonal Constraints | Yes | 2075
Othello 115kV | OTH | No | No | Othello | WA | 40 | 24.465 | 2020 | 23.1 | 23.448 | 22.948 | 23.096 | 24.465 | No | SOT, L&R | Partial But w/ Seasonal Constraints | Yes | 1144
Palouse 115kV | PAL | No | No | Palouse | WA | 8.437 | 4.662 | 2017 | 4.41 | 4.662 | 4.536 | 4.41 | 3.78 | Yes | None | None |  | 1038
Post St. 115kV | PST | No | Yes | Spokane | WA | 60 | 41.709 | 2016 | 41.709 | 29.98 | 37.796 | 18.049 | 18.201 | No | PST, MTR, ROS, C&W | Full But w/ Seasonal Constraints | Yes | 520**
Pound Lane 115kV | PDL | No | No | Clarkston | WA | 40 | 27.54 | 2016 | 27.54 | 25.935 | 25.635 | 26.712 | 27.479 | No | DRY, CFD, SLW | Full But w/ Seasonal Constraints | Yes | 5999
Reardan 115kV | RDN | No | No | Reardan | WA | 7.5 | 4.788 | 2016 | 4.788 | 4.788 | 3.906 | 4.788 | 3.906 | No | DVP | Partial But w/ Seasonal Constraints | Yes | 908
Ritzville 115kV | RIT | Yes, BBEC | No | Ritzville | WA | 9.375 | 4.5 | 2017 | 3.735 | 4.5 | 4.4 | 3.9 | 4.326 | Yes | NA | None |  | 1180
Rockford 115kV | ROK | No | No | Rockford | WA | 7.5 | 2.321 | 2020 | 1.775 | 1.89 | 1.991 | 2.265 | 2.321 | No | LAT | Partial But w/ Seasonal Constraints | Yes | 330
Rosalia 115kV | RSA | Yes, IPL | No | Rosalia | WA | 9.375 | 6.2 | 2019 | 4.65 | 4.7 | 5.2 | 6.2 | 5.45 | Yes | None | None |  | 656
Ross Park 115kV | ROS | No | No | Spokane | WA | 57 | 56.74 | 2016 | 56.74 | 44.74 | 44.83 | 49.25 | 51.451 | No | BEA, 3HT, C&W, PST, NE, L&S | Full But w/ Seasonal Constraints | Yes | 12114
Roxboro 115kV | ROX | Yes, BBEC | No | Lind | WA | 40 | 23.76 | 2016 | 23.76 | 23.76 | 18.144 | 21.6 | 19.872 | Yes | None | None |  | 74
Silver Lake 115kV | SLK | No | No | Medical Lake | WA | 20 | 14.782 | 2018 | 13.985 | 13.8 | 14.782 | 14.142 | 13.132 | No | AIR, H&W | Full But w/ Seasonal Constraints | Yes | 3106
South Othello 115kV | SOT | No | No | Othello | WA | 20 | 16.898 | 2020 | 13.5 | 15.3 | 13.7 | 10.375 | 16.898 | No | OTH, L&R | Full But w/ Seasonal Constraints | Yes | 2712
South Pullman 115kV | SPU | No | No | Pullman | WA | 50 | 30.3 | 2016 | 30.3 | 29.466 | 26.9 | 27.5 | 27.729 | No | TUR, TVW | Full But w/ Seasonal Constraints | Yes | 3725
Southeast 115kV | SE | No | No | Spokane | WA | 60 | 41.5 | 2017 | 40.361 | 41.5 | 41 | 41.077 | 41.5 | No | GLN, SUN, 3HT | Full But w/ Seasonal Constraints | Yes | 12010
Spangle 115kV | SPA | Yes, IPL | No | Spangle | WA | 7.5 | 7.56 | 2019 | 6.93 | 7.434 | 7.182 | 7.56 | 6.426 | Yes | None | None |  | 244
Spirit 115kV | SPI | No | Yes | Colville | WA | 9.375 | 5.213 | 2020 | 4 | 4.412 | 3.8 | 4.005 | 5.213 | Yes | None | None |  | 1196
Spokane Ind. Park 115kV | SIP | No | No | Spokane Valley | WA | 44.687 | 33.431 | 2016 | 33.431 | 33.08 | 31.487 | 30.638 | 32.426 | No | OPT, GRA, MIL | Full But w/ Seasonal Constraints | Yes | 2592
Sprague 115kV | SPR | No | No | Sprague | WA | 3.75 | 1.89 | 2016 | 1.89 | 1.73 | 1.32 | 1.62 | 1.4 | Yes | None | None |  | 457
Sunset 115kV | SUN | No | No | Spokane | WA | 55 | 42.5 | 2017 | 41.45 | 42.5 | 37 | 38.5 | 39.5 | No | SE, C&W, 3HT, FWT, AIR, H&W | Full But w/ Seasonal Constraints | Yes | 11661
Tekoa 115kV | TKO | No | No | Tekoa | WA | 9.375 | 4.9 | 2018 | 4.268 | 3.4 | 4.9 | 4.5 | 4.45 | No | GAR, LAT | Partial But w/ Seasonal Constraints | Yes | 862
Terre View 115kV | TVW | No | No | Pullman | WA | 20 | 9.368 | 2020 | 7.9 | 8.974 | 7.7 | 8.8 | 9.368 | No | TUR, SPU | Full But w/ Seasonal Constraints | Yes | 1982
Third & Hatch 115kV | 3HT | No | No | Spokane | WA | 90 | 56.49 | 2018 | 51.3 | 52.53 | 56.49 | 54.421 | 49.448 | No | SE, GLN, ROS, BEA, 9CE, C&W, SUN, MTR | Full But w/ Seasonal Constraints | Yes | 9436
Turner 115kV | TUR | No | No | Pullman | WA | 60 | 18.655 | 2017 | 17.3 | 18.655 | 15.6 | 16.4 | 15.16 | No | ECL, SPU, TVW | Full But w/ Seasonal Constraints | Yes | 9713
Valley 115kV | VAL | No | No | Valley | WA | 9.375 | 9.643 | 2018 | 8.424 | 7.677 | 9.643 | 8.811 | 9.201 | No | LOO | Partial But w/ Seasonal Constraints | Yes | 2226
Waikiki 115kV | WAK | No | No | Spokane | WA | 40 | 36.26 | 2019 | 29.232 | 29.988 | 33.768 | 36.26 | 31.03 | No | L&S, F&C, INT, NE, MEA | Full But w/ Seasonal Constraints | Yes | 6941
Washtucna 115kV | WAS | No | No | Washtucna | WA | 3.75 | 1.9 | 2016 | 1.9 | 1.5 | 1.7 | 0.21 | 1.043 | No | Franklin PUD K-1 | Full But w/ Seasonal Constraints | Yes | 234
Wilbur 115kV | WIL | No | No | Wilbur | WA | 7.5 | 8.933 | 2017 | 8.193 | 8.933 | 7.936 | 8.437 | 7.452 | Yes | None | None |  | 1329
*Downtown Network Service Customers Only.
**Not including Downtown Network Customrers served.