## REDACTED
This file contains confidential information
Shaded information is designated as confidential per WAC 480-07-160
REDACTED VERSION

## Green H2 for 2023 IRP
From E3 Pathways worksheet:
| 2018 $/GJ | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050
| Levelized Electricity and Heat Input Cost, Net of Heat Recovery Turbine-Generated Electricity (2018$/GJ) | 10.2061 | 7.7964 | 7.4535 | 6.827 | 6.3199 | 5.8264 | 5.3461
| Levelized Electrolyzer Capital Cost (2018$/GJ) | 18.0944 | 17.4408 | 15.6061 | 13.9594 | 11.9 | 10.4937 | 9.0448
| Levelized CO2 Capture Capital Cost (excludes CO2 cost if waste CO2 used) (2018$/GJ) | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Levelized Thermochemical Conversion Equipment Cost (2018$/GJ) | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Levelized Other Capital Costs (Heat Recovery to Electricity Turbine, Pipeline Blending, Interconnection) (2018$/GJ) | 0.02548 | 0.02548 | 0.02548 | 0.024772 | 0.024433 | 0.024103 | 0.023782
| Levelized H2 Storage and Pipeline Costs (2018$/GJ) | 3.39 | 3.39 | 3.39 | 3.39 | 3.39 | 3.39 | 3.39
| Non-electricity O&M Costs (includes CO2 cost if waste CO2 used) (2018$/GJ) | 3.9683 | 3.9683 | 3.9683 | 3.858 | 3.8052 | 3.7538 | 3.7037
| 2018$/GJ of fuel output, total (HHV) | 35.6843 | 32.621 | 30.4433 | 28.0593 | 25.4395 | 23.488 | 21.5084
| 2022$/MMBtu | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050
| Levelized Electricity and Heat Input Cost, Net of Heat Recovery Turbine-Generated Electricity (2018$/GJ) | 11.833 | 9.0392 | 8.6416 | 7.9153 | 7.3273 | 6.7551 | 6.1982
| Levelized Electrolyzer Capital Cost (2018$/GJ) | 20.9787 | 20.2209 | 18.0938 | 16.1846 | 13.7969 | 12.1664 | 10.4866
| Levelized CO2 Capture Capital Cost (excludes CO2 cost if waste CO2 used) (2018$/GJ) | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Levelized Thermochemical Conversion Equipment Cost (2018$/GJ) | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Levelized Other Capital Costs (Heat Recovery to Electricity Turbine, Pipeline Blending, Interconnection) (2018$/GJ) | 0.029542 | 0.029542 | 0.029542 | 0.028721 | 0.028328 | 0.027945 | 0.027572
| Levelized H2 Storage and Pipeline Costs (2018$/GJ) | 3.9304 | 3.9304 | 3.9304 | 3.9304 | 3.9304 | 3.9304 | 3.9304
| Non-electricity O&M Costs (includes CO2 cost if waste CO2 used) (2018$/GJ) | 4.6008 | 4.6008 | 4.6008 | 4.473 | 4.4117 | 4.3521 | 4.2941
| 2018$/GJ of fuel output, total (HHV) | 41.3724 | 37.8208 | 35.2961 | 32.532 | 29.4946 | 27.232 | 24.9368
| 2022$/MMBtu | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050
| Capital Cost | 24.9386 | 24.1809 | 22.0537 | 20.1437 | 17.7556 | 16.1247 | 14.4445
| O&M | 16.4338 | 13.64 | 13.2424 | 12.3883 | 11.739 | 11.1072 | 10.4923
| Green H2 without Max. PTC | 41.3724 | 37.8208 | 35.2961 | 32.532 | 29.4946 | 27.232 | 24.9368
|  |  | 18.418 | 16.0018 | 12.8126 | 8.4375 | 4.4397 | 0
| Using Max. PTC (assumes PTC extended) | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
| Capital Cost | 24.6063 | 24.1809 | 23.7554 | 23.33 | 22.9046 | 22.4791 | 22.0537 | 21.6717 | 21.2897 | 20.9077 | 20.5257 | 20.1437 | 19.6661 | 19.1885 | 18.7109 | 18.2333 | 17.7556 | 17.4295 | 17.1033 | 16.7771 | 16.4509 | 16.1247 | 15.7887 | 15.4527 | 15.1166 | 14.7806 | 14.4445
| O&M | 13.7195 | 13.64 | 13.5605 | 13.4809 | 13.4014 | 13.3219 | 13.2424 | 13.0716 | 12.9008 | 12.7299 | 12.5591 | 12.3883 | 12.2584 | 12.1286 | 11.9987 | 11.8689 | 11.739 | 11.6126 | 11.4863 | 11.3599 | 11.2336 | 11.1072 | 10.9843 | 10.8613 | 10.7383 | 10.6153 | 10.4923
| Green H2 without Max. PTC | 38.3258 | 37.8208 | 37.3159 | 36.8109 | 36.306 | 35.801 | 35.2961 | 34.7433 | 34.1904 | 33.6376 | 33.0848 | 32.532 | 31.9245 | 31.3171 | 30.7096 | 30.1021 | 29.4946 | 29.0421 | 28.5896 | 28.137 | 27.6845 | 27.232 | 26.773 | 26.3139 | 25.8549 | 25.3959 | 24.9368
| Using Max. PTC (assumes PTC extended) | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
| Capital Cost | 25.852 | 26.0401 | 26.2215 | 26.3957 | 26.5623 | 26.7206 | 26.8703 | 27.065 | 27.2526 | 27.4327 | 27.6048 | 27.7683 | 27.7877 | 27.7906 | 27.7764 | 27.7441 | 27.6927 | 27.8636 | 28.0257 | 28.1785 | 28.3214 | 28.4539 | 28.5574 | 28.6484 | 28.726 | 28.7896 | 28.8384
| O&M | 14.0625 | 13.981 | 13.8995 | 13.818 | 13.7365 | 13.655 | 13.5735 | 13.3984 | 13.2233 | 13.0482 | 12.8731 | 12.698 | 12.5649 | 12.4318 | 12.2987 | 12.1656 | 12.0325 | 11.903 | 11.7734 | 11.6439 | 11.5144 | 11.3849 | 11.2589 | 11.1328 | 11.0067 | 10.8807 | 10.7546
| Green H2 Cost | 39.9145 | 40.0211 | 40.121 | 40.2137 | 40.2987 | 40.3756 | 40.4437 | 40.4633 | 40.4759 | 40.4809 | 40.4779 | 40.4663 | 40.3526 | 40.2224 | 40.0751 | 39.9096 | 39.7252 | 39.7666 | 39.7992 | 39.8225 | 39.8359 | 39.8388 | 39.8163 | 39.7812 | 39.7327 | 39.6703 | 39.593
| Maximum PTC $3.0/kG | -21.0762 | -21.6031 | -22.1431 | -22.6967 | -23.2641 | -23.8457 | -24.4419 | -25.0529 | -25.6793 | -26.3212 | -26.9793 | -27.6537 | -28.3451 | -29.0537 | -29.7801 | -30.5246 | -31.2877 | -32.0699 | -32.8716 | -33.6934 | -34.5357 | -35.3991 | -36.2841 | -37.1912 | -38.121 | -39.074 | -40.0509
| Green H2 Net Cost with Max. PTC | 18.8383 | 18.418 | 17.9779 | 17.517 | 17.0346 | 16.5298 | 16.0018 | 15.4104 | 14.7966 | 14.1597 | 13.4986 | 12.8126 | 12.0075 | 11.1687 | 10.295 | 9.3851 | 8.4375 | 7.6967 | 6.9276 | 6.1291 | 5.3001 | 4.4397 | 3.5322 | 2.5899 | 1.6117 | 0.59624 | 0
LEVELIZED PTC CALCULATION WITH TAX: |  | 2024: Sources for Hydrogen in IRA:
(assume PTC are extended at same rate through 2050) |  | 2024: https://www.perkinscoie.com/en/news-insights/client-update-the-inflation-reduction-act-and-the-rise-of-clean-hydrogen.html
|  | 0.94782 | GJ to MMBtu (Dth)
|  | 3 | per kg H2 PTC incentive
|  | 0.1345 | MMBtu (or Dth) per kg
|  | 22.3048 | per MMBtu incentive
|  | 0.21 | Corporate tax rate
|  | 28.234 | Gross PTC per Dth in 2023
|  | 10 | years duration of PTC
|  | 2.5% | Inflation rate
|  | 28.9398 | Gross PTC per Dth in 2024
|  | 6.8% | WACC
|  | 226.7944 | NPV of PTC in 2024
|  | 20 | Life of Plant in Months
|  | 21.0762 | Monthly PMT of PTC in 2024 ($/Dth)
|  | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060
| Inflation adjusted NPV in project start year | 28.9398 | 29.6633 | 30.4049 | 31.165 | 31.9441 | 32.7427 | 33.5613 | 34.4003 | 35.2604 | 36.1419 | 37.0454 | 37.9715 | 38.9208 | 39.8939 | 40.8912 | 41.9135 | 42.9613 | 44.0354 | 45.1362 | 46.2646 | 47.4213 | 48.6068 | 49.822 | 51.0675 | 52.3442 | 53.6528 | 54.9941 | 56.369 | 57.7782 | 59.2227 | 60.7032 | 62.2208 | 63.7763 | 65.3707 | 67.005 | 68.6801 | 70.3971
| Levelized PTC in project start year | 21.0762 | 21.6031 | 22.1431 | 22.6967 | 23.2641 | 23.8457 | 24.4419 | 25.0529 | 25.6793 | 26.3212 | 26.9793 | 27.6537 | 28.3451 | 29.0537 | 29.7801 | 30.5246 | 31.2877 | 32.0699 | 32.8716 | 33.6934 | 34.5357 | 35.3991 | 36.2841 | 37.1912 | 38.121 | 39.074 | 40.0509
SENDOUT INPUTS:
Rmx H2 2028 |  | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
| $/Dth | 17.0346 | 17.0346 | 17.0346 | 17.0346 | 17.0346 | 17.0346 | 17.0346 | 17.0346 | 17.0346 | 17.0346 | 17.0346 | 17.0346 | 17.0346 | 17.0346 | 17.0346 | 17.0346 | 17.0346 | 17.0346 | 17.0346 | 17.0346 | 1.6117 | 0.59624 | 0
PMT | 68138334.0775 | 2028: Annual Cost; 2033: 14.8
Daily Cost | 186680.3673 | 2028: Daily $
Plant Capacity | 4000000 | 2028: Annual Dth
MDQ | 10.9589 | 2028: daily MDth
Rate D1 | 17.0346 | 2028: Fixed Cost $/Dth/Day
(Use Monthly Multiplier "DayPerMonth")
Rmx H2 2030 |  | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
| $/Dth |  |  | 16.0018 | 16.0018 | 16.0018 | 16.0018 | 16.0018 | 16.0018 | 16.0018 | 16.0018 | 16.0018 | 16.0018 | 16.0018 | 16.0018 | 16.0018 | 16.0018 | 16.0018 | 16.0018 | 16.0018 | 16.0018 | 16.0018 | 16.0018 | 0
PMT | 64007365.0728 | (Use Monthly Multiplier "DayPerMonth") 2028: Annual Cost
Daily Cost | 175362.644 | (Use Monthly Multiplier "DayPerMonth") 2028: Daily $
Plant Capacity | 4000000 | (Use Monthly Multiplier "DayPerMonth") 2028: Annual Dth
MDQ | 10.9589 | (Use Monthly Multiplier "DayPerMonth") 2028: daily MDth
Rate D1 | 16.0018 | (Use Monthly Multiplier "DayPerMonth") 2028: Fixed Cost $/Dth/Day
(Use Monthly Multiplier "DayPerMonth")
Rmx H2 2032 |  | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052
| $/Dth |  |  |  |  | 14.7966 | 14.7966 | 14.7966 | 14.7966 | 14.7966 | 14.7966 | 14.7966 | 14.7966 | 14.7966 | 14.7966 | 14.7966 | 14.7966 | 14.7966 | 14.7966 | 14.7966 | 14.7966 | 14.7966 | 14.7966 | 14.7966 | 14.7966
PMT | 59186493.9334 | (Use Monthly Multiplier "DayPerMonth") 2028: Annual Cost
Daily Cost | 162154.7779 | (Use Monthly Multiplier "DayPerMonth") 2028: Daily $
Plant Capacity | 4000000 | (Use Monthly Multiplier "DayPerMonth") 2028: Annual Dth
MDQ | 10.9589 | (Use Monthly Multiplier "DayPerMonth") 2028: daily MDth
Rate D1 | 14.7966 | (Use Monthly Multiplier "DayPerMonth") 2028: Fixed Cost $/Dth/Day
(Use Monthly Multiplier "DayPerMonth")
Comparison of H2 with NG with CCA Expected Price:

## Costs for IRP Book
Cost in $/MMBtu for Green H2 with IRA PTCs | 2028 | 2030 | 2032
Capital Cost | 26.5623 | 26.8703 | 27.2526
O&M | 13.7365 | 13.5735 | 13.2233
Green H2 Cost | 40.2987 | 40.4437 | 40.4759
Maximum PTC $3.0/kG | -23.2641 | -24.4419 | -25.6793
Green H2 Net Cost with Max. PTC | 17.0346 | 16.0018 | 14.7966
Capital Costs: Levelized Electrolyzer Capital Cost, Pipeline, Storage, Blending and Interconnection.
O&M Costs: Electricity

## EastWest Cascades Med
| East Side | West Side
| PowerPlant East of Cascades Delivery Point | PowerPlant West of Cascades Delivery Point
| Med | Med
YEAR | East Side-Med | West Side-Med
|  | 2016$ | 2022$
2020 | 2.5391 | 2.7368 | 3.1454
2021 | 2.7289 | 2.9167 | 3.3521
2022 | 2.6725 | 2.8633 | 3.2908
2023 | 2.8657 | 3.0464 | 3.5012
2024 | 3.017 | 3.2172 | 3.6976
2025 | 3.1023 | 3.3135 | 3.8083
2026 | 3.1879 | 3.4102 | 3.9194
2027 | 3.2735 | 3.5069 | 4.0305
2028 | 3.17 | 3.39 | 3.8962
2029 | 3.3116 | 3.5499 | 4.0799
2030 | 3.4531 | 3.7097 | 4.2636
2031 | 3.3301 | 3.5708 | 4.104
2032 | 3.5124 | 3.7766 | 4.3405
2033 | 3.6946 | 3.9824 | 4.577
2034 | 3.6124 | 3.8896 | 4.4704
2035 | 3.7303 | 4.0227 | 4.6233
2036 | 3.8481 | 4.1558 | 4.7763
2037 | 3.7353 | 4.0283 | 4.6298
2038 | 3.8928 | 4.2063 | 4.8343
2039 | 4.0504 | 4.3842 | 5.0388
2040 | 3.9601 | 4.2822 | 4.9216
2041 | 4.1163 | 4.4586 | 5.1243
2042 | 4.2725 | 4.6351 | 5.3271
2043 | 4.1395 | 4.4848 | 5.1544
2044 | 4.2103 | 4.5648 | 5.2463
2045 | 4.2811 | 4.6448 | 5.3382
2046 | 4.1159 | 4.4582 | 5.1238
2047 | 4.2285 | 4.5854 | 5.27
2048 | 4.3412 | 4.7126 | 5.4162
2049 | 4.1891 | 4.5408 | 5.2188
2050 | 4.2624 | 4.6236 | 5.3139

## deflator data
Source: Woodmac Spring 2022
Wood Mackenzie + PSE CPI Deflator
Spring 2022
DEFLATOR
(2022=1.00)
2000 | 0.62394
2001 | 0.64141
2002 | 0.65167
2003 | 0.66666
2004 | 0.68466
2005 | 0.70794
2006 | 0.73059
2007 | 0.75178
2008 | 0.78035
2009 | 0.77801
2010 | 0.79046
2011 | 0.81496
2012 | 0.83207
2013 | 0.84456
2014 | 0.85807
2015 | 0.85893
2016 | 0.87009
2017 | 0.88836
2018 | 0.90968
2019 | 0.92606
2020 | 0.93717
2021 | 0.97466
2022 | 0.99903
2023 | 1.024
2024 | 1.0496
2025 | 1.0758
2026 | 1.1027
2027 | 1.1303
2028 | 1.1586
2029 | 1.1875
2030 | 1.2172
2031 | 1.2476
2032 | 1.2788
2033 | 1.3108
2034 | 1.3436
2035 | 1.3772
2036 | 1.4116
2037 | 1.4469
2038 | 1.4831
2039 | 1.5201
2040 | 1.5581
2041 | 1.5971
2042 | 1.637
2043 | 1.6779
2044 | 1.7199
2045 | 1.7629
2046 | 1.807
2047 | 1.8521
2048 | 1.8984
2049 | 1.9459
2050 | 1.9945
2051 | 2.0444
2052 | 2.0955
2053 | 2.1479
2054 | 2.2016
2055 | 2.2566
2056 | 2.3131
2057 | 2.3709
2058 | 2.4302
2059 | 2.4909
2060 | 2.5532

## Cover
E3 Electrolysis Pathways Calculator
Version: | 6
Date Updated: | 2021-03-31
Research Background
Overview
This workbook contains cost estimates for generating:
(a) hydrogen via electrolysis
(b) synthetic methane production via Sabatier reaction (taking in atmospheric or waste CO2 + hydrogen from electrolysis)
(c) synthetic diesel via Fischer-Tropsch reaction (taking in atmospheric or waste CO2 + hydrogen from electrolysis)
Sources
This workbook leverages research by Brendan P. Shaffer and Blake Lane of UC Irvine for H2 and CH4.
- Solid Oxide Electrolyzers (SOEC)
- Polymer Electrolyte Membranes (PEM)
- Alkaline Electrolyzers (AEC)
- Methanation equipment (for Sabatier reaction)
Direct Air Capture (DAC) costs are aligned with assumptions Clea Kolster of E3 developed for 2050
John Stevens developed a calculation of synthetic diesel pathways
Tab Formatting
Tabs in Bright Green are the calculation of the levelized cost of fuel in $/GJ HHV. Each column refers to a combination of fuel, input resource, production year and conversion pathway
Tabs in orange-yellow are reference for energy costs specific to client
Tabs in lavendar are reference for capital costs and efficiency, as well as citations and conversion constants
- Capital costs and efficiencies were derived from literature and theoretical limits (for SOECs in latter years)
- Two learning curves—10% and 14%—were used as "conservative" and "base case" scenarios, respectively

## Pathways
Electrolysis Pathways Calculations
|  | Electrolysis Pathways | [21 empty] | Notes
|  | Case Description | Pacific Northwest Hydrogen | Pacific Northwest Hydrogen | Pacific Northwest Hydrogen | Pacific Northwest Hydrogen | Pacific Northwest Hydrogen | Pacific Northwest Hydrogen | Pacific Northwest Hydrogen | Pacific NW Synthetic Methane with DAC | Pacific NW Synthetic Methane with DAC | Pacific NW Synthetic Methane with DAC | Pacific NW Synthetic Methane with DAC | Pacific NW Synthetic Methane with DAC | Pacific NW Synthetic Methane with DAC | Pacific NW Synthetic Methane with DAC | Pacific NW Methane with Waste CO2 Pathway | Pacific NW Methane with Waste CO2 Pathway | Pacific NW Methane with Waste CO2 Pathway | Pacific NW Methane with Waste CO2 Pathway | Pacific NW Methane with Waste CO2 Pathway | Pacific NW Methane with Waste CO2 Pathway | Pacific NW Methane with Waste CO2 Pathway | These are the "standard" pathways, though other options are feasible. Changing the input electricity/heat CF and LCOE can be done for all pathways. Please contact John Stevens if you want to model other differences.
Toggles
|  | Select Year | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | This chooses what energy prices, capital costs and system efficiencies. Data are selected from the input heat/electricity cost tables below and the data in the Cost and Efficiency tab, depending on what year is chosen.
|  | Fuel Product | Hydrogen | Hydrogen | Hydrogen | Hydrogen | Hydrogen | Hydrogen | Hydrogen | Methane | Methane | Methane | Methane | Methane | Methane | Methane | Methane | Methane | Methane | Methane | Methane | Methane | Methane | Selecting Hydrogen, Diesel or Methane specifies the efficiencies of energy conversion and also specifies some of the themochemical equipment you'll need.
|  | Hydrogen Production Pathway | AEC | AEC | AEC | AEC | AEC | AEC | AEC | FFI | FFI | FFI | FFI | FFI | FFI | FFI | AEC | AEC | AEC | AEC | AEC | AEC | AEC | Options: Alkaline Electrolyzer (AEC), polymer electrolyte membrane electrolyzer (PEMEC), solide oxide electrolyzer without aux or waste heat (SOEC) or with waste heat (SOEC + Heat). AEC is default assumption, most mature, lowest cost. PEM offer some real-world advantages vs. AECs, but are more expensive. SOECs are potentially lowest cost in future, but not technologically mature, and thus typically are not modeled.
|  | Electrolyzer Powered with Aux Heat? | No Heat | No Heat | No Heat | No Heat | No Heat | No Heat | No Heat | No Heat | No Heat | No Heat | No Heat | No Heat | No Heat | No Heat | No Heat | No Heat | No Heat | No Heat | No Heat | No Heat | No Heat | If you choose AEC or PEM, use "no heat." If you choose SOEC, then use "aux heat" or "waste heat". Only choose "waste heat" if the heat cost is below the cost of input electricity, otherwise it's cheaper to use electricity and take the efficiency hit of not having input heat.
|  | CO2 Capture Pathway | None | None | None | None | None | None | None | DAC | DAC | DAC | DAC | DAC | DAC | DAC | Biofuel Synthesis Waste CO2 | Biofuel Synthesis Waste CO2 | Biofuel Synthesis Waste CO2 | Biofuel Synthesis Waste CO2 | Biofuel Synthesis Waste CO2 | Biofuel Synthesis Waste CO2 | Biofuel Synthesis Waste CO2 | If you make methane or diesel, you need input CO2 to combine with H2 to make hydrocarbons. Direct air capture (DAC) is standard assumption if you don't have waste CO2. Waste CO2 is often less expensive than DAC. Typically we don't use E-CEM (seawater CO2 capture) nor flue gas CO2 capture (PCC), due to the uncertainty over the former and the non carbon-neutral nature of the latter.
|  | Hydrogen Production Feedstock | solar_new_PNW | solar_new_PNW | solar_new_PNW | solar_new_PNW | solar_new_PNW | solar_new_PNW | solar_new_PNW | solar_new_PNW | solar_new_PNW | solar_new_PNW | solar_new_PNW | solar_new_PNW | solar_new_PNW | solar_new_PNW | solar_new_PNW | solar_new_PNW | solar_new_PNW | solar_new_PNW | solar_new_PNW | solar_new_PNW | solar_new_PNW | Has no effect on calculation, used as a label to keep track of input assumptions
|  | CO2 Cost/tonne Override ($/tonne) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | If you choose "Waste CO2", then enter a cost of CO2. Typical waste CO2 cost from biomass refining of $50/tonne.
|  | Cost Trajectory | conservative | conservative | conservative | conservative | conservative | conservative | conservative | conservative | conservative | conservative | conservative | conservative | conservative | conservative | conservative | conservative | conservative | conservative | conservative | conservative | conservative | Chooses capital and O&M costs of electrolyzer, CO2 capture and themochemical equipment. Typically choose both and take average of the two trajectories.
|  | Efficiency Trajectory | conservative | conservative | conservative | conservative | conservative | conservative | conservative | conservative | conservative | conservative | conservative | conservative | conservative | conservative | conservative | conservative | conservative | conservative | conservative | conservative | conservative | Chooses efficiency of electrolyzer, CO2 capture and thermochemical equipment. Typically choose "optimistic."
|  | System Input Size (MW) | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | Specifies size of plant in input power capacity. The interconnection and (in the case of H2 production) blending costs are fixed on a $/plant basis, so larger plants have lower levelized blending and interconnection costs. Beyond a few MW, the blending/interconnection costs are very small relative to other costs.
|  | Total New H2 Pipeline Distance (mi) | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Specifies total length of dedicated H2 pipeline that must be built (from electrolyzer to storage to end use). Cost is for transmission-level, high pressure pipeline, and omits any distribution costs. Set to zero for methane or diesel.
|  | Input Energy Resource Cap. Factor (%) | 26.21% | 26.21% | 26.21% | 26.21% | 26.21% | 26.21% | 26.21% | 26.21% | 26.21% | 26.21% | 26.21% | 26.21% | 26.21% | 26.21% | 26.21% | 26.21% | 26.21% | 26.21% | 26.21% | 26.21% | 26.21% | Specifies capacity factor of input electricity sources, as well as the electrolyzer, CO2 capture and thermochemical equipment. Set to maximum of 90% for grid-tied, or set to electricity source CF.
|  | New Underground H2 Storage? | No | Yes | Yes | Yes | Yes | Yes | Yes | No | No | No | No | No | No | No | No | No | No | No | No | No | No | Cost of typical geological natural gas storage, multiplied by 3 due to difference in volumetric energy density between methane and hydrogen at typical pressures in underground storage formations.
|  | Discount Rate | 6.8% | 6.8% | 6.8% | 6.8% | 6.8% | 6.8% | 6.8% | 6.8% | 6.8% | 6.8% | 6.8% | 6.8% | 6.8% | 6.8% | 6.8% | 6.8% | 6.8% | 6.8% | 6.8% | 6.8% | 6.8% | Discount rate for levelizing capital costs.
|  | Electrochemical System Lifetime (yrs) | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | Lifetime of electrolyzer
|  | Thermochemical System Lifetime (yrs) | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | Lifetime of DAC and thermochemical equipment (if applicable)
Electricity & Heat Cost Projections
Levelized Cost of Electricity ($/MWh)
|  | 2020 | 25.7194 | 25.7194 | 25.7194 | 25.7194 | 25.7194 | 25.7194 | 25.7194 | 25.7194 | 25.7194 | 25.7194 | 25.7194 | 25.7194 | 25.7194 | 25.7194 | 25.7194 | 25.7194 | 25.7194 | 25.7194 | 25.7194 | 25.7194 | 25.7194 | Enter levelized, $/MWh cost of input electricity. Data typically sourced from E3 Pro Forma
|  | 2025 | 19.647 | 19.647 | 19.647 | 19.647 | 19.647 | 19.647 | 19.647 | 19.647 | 19.647 | 19.647 | 19.647 | 19.647 | 19.647 | 19.647 | 19.647 | 19.647 | 19.647 | 19.647 | 19.647 | 19.647 | 19.647
|  | 2030 | 18.7828 | 18.7828 | 18.7828 | 18.7828 | 18.7828 | 18.7828 | 18.7828 | 18.7828 | 18.7828 | 18.7828 | 18.7828 | 18.7828 | 18.7828 | 18.7828 | 18.7828 | 18.7828 | 18.7828 | 18.7828 | 18.7828 | 18.7828 | 18.7828
|  | 2035 | 17.6957 | 17.6957 | 17.6957 | 17.6957 | 17.6957 | 17.6957 | 17.6957 | 17.6957 | 17.6957 | 17.6957 | 17.6957 | 17.6957 | 17.6957 | 17.6957 | 17.6957 | 17.6957 | 17.6957 | 17.6957 | 17.6957 | 17.6957 | 17.6957
|  | 2040 | 16.6086 | 16.6086 | 16.6086 | 16.6086 | 16.6086 | 16.6086 | 16.6086 | 16.6086 | 16.6086 | 16.6086 | 16.6086 | 16.6086 | 16.6086 | 16.6086 | 16.6086 | 16.6086 | 16.6086 | 16.6086 | 16.6086 | 16.6086 | 16.6086
|  | 2045 | 15.5215 | 15.5215 | 15.5215 | 15.5215 | 15.5215 | 15.5215 | 15.5215 | 15.5215 | 15.5215 | 15.5215 | 15.5215 | 15.5215 | 15.5215 | 15.5215 | 15.5215 | 15.5215 | 15.5215 | 15.5215 | 15.5215 | 15.5215 | 15.5215
|  | 2050 | 14.4344 | 14.4344 | 14.4344 | 14.4344 | 14.4344 | 14.4344 | 14.4344 | 14.4344 | 14.4344 | 14.4344 | 14.4344 | 14.4344 | 14.4344 | 14.4344 | 14.4344 | 14.4344 | 14.4344 | 14.4344 | 14.4344 | 14.4344 | 14.4344
[Optional] Levelized Cost of Heat ($/MWh)
|  | 2020 | 25.7194 | 25.7194 | 25.7194 | 25.7194 | 25.7194 | 25.7194 | 25.7194 | 25.7194 | 25.7194 | 25.7194 | 25.7194 | 25.7194 | 25.7194 | 25.7194 | 25.7194 | 25.7194 | 25.7194 | 25.7194 | 25.7194 | 25.7194 | 25.7194 | Enter levelized, $/MWh cost of input heat. Data typically sourced from E3 Pro Forma. Only used for SOEC + Heat pathway.
|  | 2025 | 19.647 | 19.647 | 19.647 | 19.647 | 19.647 | 19.647 | 19.647 | 19.647 | 19.647 | 19.647 | 19.647 | 19.647 | 19.647 | 19.647 | 19.647 | 19.647 | 19.647 | 19.647 | 19.647 | 19.647 | 19.647
|  | 2030 | 18.7828 | 18.7828 | 18.7828 | 18.7828 | 18.7828 | 18.7828 | 18.7828 | 18.7828 | 18.7828 | 18.7828 | 18.7828 | 18.7828 | 18.7828 | 18.7828 | 18.7828 | 18.7828 | 18.7828 | 18.7828 | 18.7828 | 18.7828 | 18.7828
|  | 2035 | 17.6957 | 17.6957 | 17.6957 | 17.6957 | 17.6957 | 17.6957 | 17.6957 | 17.6957 | 17.6957 | 17.6957 | 17.6957 | 17.6957 | 17.6957 | 17.6957 | 17.6957 | 17.6957 | 17.6957 | 17.6957 | 17.6957 | 17.6957 | 17.6957
|  | 2040 | 16.6086 | 16.6086 | 16.6086 | 16.6086 | 16.6086 | 16.6086 | 16.6086 | 16.6086 | 16.6086 | 16.6086 | 16.6086 | 16.6086 | 16.6086 | 16.6086 | 16.6086 | 16.6086 | 16.6086 | 16.6086 | 16.6086 | 16.6086 | 16.6086
|  | 2045 | 15.5215 | 15.5215 | 15.5215 | 15.5215 | 15.5215 | 15.5215 | 15.5215 | 15.5215 | 15.5215 | 15.5215 | 15.5215 | 15.5215 | 15.5215 | 15.5215 | 15.5215 | 15.5215 | 15.5215 | 15.5215 | 15.5215 | 15.5215 | 15.5215
|  | 2050 | 14.4344 | 14.4344 | 14.4344 | 14.4344 | 14.4344 | 14.4344 | 14.4344 | 14.4344 | 14.4344 | 14.4344 | 14.4344 | 14.4344 | 14.4344 | 14.4344 | 14.4344 | 14.4344 | 14.4344 | 14.4344 | 14.4344 | 14.4344 | 14.4344
[Optional, for Accounting Only] Capital Cost of Electricity Source ($/kW)
|  | 2020 | 1263.844 | 1263.844 | 1263.844 | 1263.844 | 1263.844 | 1263.844 | 1263.844 | 1263.844 | 1263.844 | 1263.844 | 1263.844 | 1263.844 | 1263.844 | 1263.844 | 1263.844 | 1263.844 | 1263.844 | 1263.844 | 1263.844 | 1263.844 | 1263.844 | Enter $/kW capital cost of electricity source. Only used to report the total capital outlay per GJ/year fuel production capacity, if desired. Does not affect levelized $/GJ fuel costs reported below in "Results"
|  | 2025 | 1027.4146 | 1027.4146 | 1027.4146 | 1027.4146 | 1027.4146 | 1027.4146 | 1027.4146 | 1027.4146 | 1027.4146 | 1027.4146 | 1027.4146 | 1027.4146 | 1027.4146 | 1027.4146 | 1027.4146 | 1027.4146 | 1027.4146 | 1027.4146 | 1027.4146 | 1027.4146 | 1027.4146
|  | 2030 | 790.9851 | 790.9851 | 790.9851 | 790.9851 | 790.9851 | 790.9851 | 790.9851 | 790.9851 | 790.9851 | 790.9851 | 790.9851 | 790.9851 | 790.9851 | 790.9851 | 790.9851 | 790.9851 | 790.9851 | 790.9851 | 790.9851 | 790.9851 | 790.9851
|  | 2035 | 677.8722 | 677.8722 | 677.8722 | 677.8722 | 677.8722 | 677.8722 | 677.8722 | 677.8722 | 677.8722 | 677.8722 | 677.8722 | 677.8722 | 677.8722 | 677.8722 | 677.8722 | 677.8722 | 677.8722 | 677.8722 | 677.8722 | 677.8722 | 677.8722
|  | 2040 | 592.0448 | 592.0448 | 592.0448 | 592.0448 | 592.0448 | 592.0448 | 592.0448 | 592.0448 | 592.0448 | 592.0448 | 592.0448 | 592.0448 | 592.0448 | 592.0448 | 592.0448 | 592.0448 | 592.0448 | 592.0448 | 592.0448 | 592.0448 | 592.0448
|  | 2045 | 539.9858 | 539.9858 | 539.9858 | 539.9858 | 539.9858 | 539.9858 | 539.9858 | 539.9858 | 539.9858 | 539.9858 | 539.9858 | 539.9858 | 539.9858 | 539.9858 | 539.9858 | 539.9858 | 539.9858 | 539.9858 | 539.9858 | 539.9858 | 539.9858
|  | 2050 | 498.642 | 498.642 | 498.642 | 498.642 | 498.642 | 498.642 | 498.642 | 498.642 | 498.642 | 498.642 | 498.642 | 498.642 | 498.642 | 498.642 | 498.642 | 498.642 | 498.642 | 498.642 | 498.642 | 498.642 | 498.642
Intermediate Calculations
|  | Electricity Price ($/MWh) | 25.7194 | 19.647 | 18.7828 | 17.6957 | 16.6086 | 15.5215 | 14.4344 | 25.7194 | 19.647 | 18.7828 | 17.6957 | 16.6086 | 15.5215 | 14.4344 | 25.7194 | 19.647 | 18.7828 | 17.6957 | 16.6086 | 15.5215 | 14.4344 | Selected for year input by user from electricity cost entered by user
|  | Heat Price ($/MWh) | 25.7194 | 19.647 | 18.7828 | 17.6957 | 16.6086 | 15.5215 | 14.4344 | 25.7194 | 19.647 | 18.7828 | 17.6957 | 16.6086 | 15.5215 | 14.4344 | 25.7194 | 19.647 | 18.7828 | 17.6957 | 16.6086 | 15.5215 | 14.4344 | Selected for year input by user from heat cost entered by user
|  | Capital Cost of Electricity Source ($/kW) | 1263.844 | 1027.4146 | 790.9851 | 677.8722 | 592.0448 | 539.9858 | 498.642 | 1263.844 | 1027.4146 | 790.9851 | 677.8722 | 592.0448 | 539.9858 | 498.642 | 1263.844 | 1027.4146 | 790.9851 | 677.8722 | 592.0448 | 539.9858 | 498.642 | Selected for year input by user from electricity cost entered by user
|  | Electrohemical Cost ($/kW) | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Selected for year/scenario input by user from electrolyzer costs on Cost and Efficiency Data tab
|  | CO2 Capture Capital Cost ($/ton/day) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 482184.2105 | 482184.2105 | 482184.2105 | 482184.2105 | 482184.2105 | 482184.2105 | 482184.2105 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Selected for year/scenario input by user from CO2 capture costs on Cost and Efficiency Data tab
|  | Themochem. Conversion Capital Cost ($/kW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 339.1803 | 330.6773 | 305.084 | 284.9048 | 251.8645 | 233.048 | 211.9543 | 339.1803 | 330.6773 | 305.084 | 284.9048 | 251.8645 | 233.048 | 211.9543 | Selected for year/scenario input by user from methane and diesel plant capital costs on Cost and Efficiency Data tab
|  | Pipeline Levelized Capital Cost ($/mi-GJ delivered H2) | 0.0031886 | 0.0031886 | 0.0031886 | 0.0031886 | 0.0031886 | 0.0031886 | 0.0031886 | 0.0031886 | 0.0031886 | 0.0031886 | 0.0031886 | 0.0031886 | 0.0031886 | 0.0031886 | 0.0031886 | 0.0031886 | 0.0031886 | 0.0031886 | 0.0031886 | 0.0031886 | 0.0031886 | Cost per GJ per mile for hydrogen. Based on high pressure transmission natural gas pipeline cost.
|  | Underground Storage Levelized Capital Cost ($/GJ delivered H2) | 0 | 2.3697 | 2.3697 | 2.3697 | 2.3697 | 2.3697 | 2.3697 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Cost per GJ for hydrogen. Based on underground storage cost for natural gas.
|  | Steam Turbine Capital Cost ($/kW) | 682 | 682 | 682 | 682 | 682 | 682 | 682 | 682 | 682 | 682 | 682 | 682 | 682 | 682 | 682 | 682 | 682 | 682 | 682 | 682 | 682 | Selected for year/scenario input by user for steam turbine that turns waste heat from thermochemical process into electricity to power electrolyzer
|  | Electrochemical Capital Recovery Factor (%) | 9.293% | 9.293% | 9.293% | 9.293% | 9.293% | 9.293% | 9.293% | 9.293% | 9.293% | 9.293% | 9.293% | 9.293% | 9.293% | 9.293% | 9.293% | 9.293% | 9.293% | 9.293% | 9.293% | 9.293% | 9.293% | Calculated from user inputs
|  | Thermochemical Capital Recovery Factor (%) | 7.327% | 7.327% | 7.327% | 7.327% | 7.327% | 7.327% | 7.327% | 7.327% | 7.327% | 7.327% | 7.327% | 7.327% | 7.327% | 7.327% | 7.327% | 7.327% | 7.327% | 7.327% | 7.327% | 7.327% | 7.327% | Calculated from user inputs
|  | Electrochemical Efficiency (HHV) (%) | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Selected for year/scenario input by user from electrolyzer efficiency on Cost and Efficiency Data tab
|  | Thermochemical Heat Recovery Turbine/Generator Efficiency (%) | 67% | 67% | 67% | 67% | 67% | 67% | 67% | 67% | 67% | 67% | 67% | 67% | 67% | 67% | 67% | 67% | 67% | 67% | 67% | 67% | 67% | Selected for year/scenario input by user from turbine efficiency on Cost and Efficiency Data tab
|  | Themochem. CO Utilization Eff (%) | [7 empty] | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | Selected for year/scenario input by user from thermochemical efficiency on Cost and Efficiency Data tab | bar: 2020 to 2050
|  | Thermochem. Eff. Normalized by theoretical maximum efficiency (%) | [7 empty] | 79% | 79% | 79% | 79% | 79% | 79% | 79% | 79% | 79% | 79% | 79% | 79% | 79% | 79% | Selected for year/scenario input by user from thermochemical efficiency on Cost and Efficiency Data tab | bar: 2020 to 2050
|  | Electrical Power in [kW] | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | Pipeline blending cost is invariant, this is used to determine relative ratio of pipeline blending to other costs
|  | H2 produced [kW] | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | Add'l EC Heat Power in from high temperature heat sources [kW] | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | H2 produced [kg/d] | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | Hydrocarbon produced [kg/d] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | Hydrocarbon produced [kW] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | CO2 needed [kg/d] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | Electricity Requirement for CO2 [kW] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Net Heat rejected [kW] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | Heat for CO2 Sorbent Regeneration to Be Supplied by Electricity [kW] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Heat for CO2 Sorbent Regeneration to Be Supplied by Auxiliary Sources [kW] (i.e. a high temperature source) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Electricity from Heat Recovery Steam Turbine [kW] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | Total Heat In From Auxiliary Sources (kW) | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | Total Net Electricity Power In (kW) | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | Total Net Power In (including Aux Heat) (kW) | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | Total Power out (kW) | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | Electrolyzer capital cost [$] | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | CO2 capture capital cost [$] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | Thermochemical Conversion Equipment capital cost [$] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | Steam turbine capital cost [$] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | Pipeline blending capital cost [$] | 660000 | 660000 | 660000 | 660000 | 660000 | 660000 | 660000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Interconnection capital cost [$] | 4100000 | 4100000 | 4100000 | 4100000 | 4100000 | 4100000 | 4100000 | 4100000 | 4100000 | 4100000 | 4100000 | 4100000 | 4100000 | 4100000 | 4100000 | 4100000 | 4100000 | 4100000 | 4100000 | 4100000 | 4100000
|  | FOM Thermochemical Process [$/kW-yr] | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | VOM Electrolyzer [$/MWh] | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | VOM Air CO2 Capture Process ($/MWh) | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | Waste CO2 Price ($/GJ_out) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | $ Capital/GJ_out | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | VOM ($/GJ_out) | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | FOM ($/GJ_out) | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | $/GJ_out Electricity Input | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | $/GJ_out Heat Input | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Results
|  | Levelized Electricity and Heat Input Cost, Net of Heat Recovery Turbine-Generated Electricity (2018$/GJ) | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Levelized $ of electricity plant capital per GJ of fuel delivered
|  | Levelized Electrolyzer Capital Cost (2018$/GJ) | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Levelized $ of electrolyzer capital per GJ of fuel delivered
|  | Levelized CO2 Capture Capital Cost (excludes CO2 cost if waste CO2 used) (2018$/GJ) | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Levelized $ of CO2 capture equipment capital per GJ of fuel delivered
|  | Levelized Thermochemical Conversion Equipment Cost (2018$/GJ) | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Levelized $ of diesel or methane production thermochemical plant equipment capital per GJ of fuel delivered
|  | Levelized Other Capital Costs (Heat Recovery to Electricity Turbine, Pipeline Blending, Interconnection) (2018$/GJ) | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Levelized $ of other capital per GJ of fuel delivered
|  | Levelized H2 Storage and Pipeline Costs (2018$/GJ) | 1.0203 | 3.39 | 3.39 | 3.39 | 3.39 | 3.39 | 3.39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Levelized $ of pipeline and storage costs for hydrogen
|  | Non-electricity O&M Costs (includes CO2 cost if waste CO2 used) (2018$/GJ) | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Levelized $ of O&M from electrolyzer, CO2 capture and thermochemical equipment
|  | 2018$/GJ of fuel output, total (HHV) | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Total levelized cost per GJ of fuel output
1 GJ = 0.947817 MMBTU
Other Results
|  | Total H2 or Hydrocarbon Conversion Efficiency | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Total Energy Out/Energy In for Process Including aux heat and electricity for CO2 capture and/or high temp electrolyzer, Net of gain from waste heat to electricity
|  |  | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050
|  | 2018$/Mmbtu of fuel output, total (HHV) | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| E3 | Production Cost | 34.0723 | 30.8403 | 28.5428 | 26.0275 | 23.2635 | 21.2045 | 19.1159
|  | With Storage | 36.5724 | 33.3404 | 31.0429 | 28.5276 | 25.7636 | 23.7046 | 21.616
|  | With Storage and pipeline | 37.6489 | 34.417 | 32.1194 | 29.6041 | 26.8401 | 24.7811 | 22.6925
| FFI | Production Cost | 34.0723 | 27.2137 | 22.5144 | 20.0546 | 17.9706 | 16.5808 | 15.2987
|  | With Storage | 36.5724 | 29.7138 | 25.0146 | 22.5547 | 20.4707 | 19.0809 | 17.7989
|  | With Storage and pipeline | 37.6489 | 30.7903 | 26.0911 | 23.6313 | 21.5472 | 20.1574 | 18.8754
Note on AB32: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Where do these values come from now? I don’t know of LCOEs in this range from the pro forma

## PNW_solar_cost_data
Data from WRI RESOLVE on new Resource CF and Cost
| solar_existing_ERCOT | solar_existing_CAISO | solar_existing_NWPP | solar_existing_PNW | solar_existing_RMPP | solar_existing_AZNM | solar_new_ERCOT | solar_new_CAISO | solar_new_NWPP | solar_new_PNW | solar_new_RMPP | solar_new_AZNM | solar_DG_ERCOT | solar_DG_CAISO | solar_DG_NWPP | solar_DG_PNW | solar_DG_RMPP | solar_DG_AZNM | wind_existing_ERCOT | wind_existing_CAISO | wind_existing_NWPP | wind_existing_PNW | wind_existing_RMPP | wind_existing_AZNM | wind_new_ERCOT | wind_new_CAISO | wind_new_NWPP | wind_new_PNW | wind_new_RMPP | wind_new_AZNM | wind_offshore_new_AZNM | wind_offshore_new_CAISO | wind_offshore_new_ERCOT | wind_offshore_new_NWPP | wind_offshore_new_PNW | wind_offshore_new_RMPP | solar_existing_FRCC | solar_existing_PJM-E | solar_existing_PJM-W | solar_existing_ISONE | solar_existing_NYISO | solar_existing_SERC | solar_existing_VACAR | solar_existing_TVA | solar_existing_SPP | solar_existing_MISO-E | solar_existing_MISO-W | solar_existing_MISO-S | solar_new_FRCC | solar_new_PJM-E | solar_new_PJM-W | solar_new_ISONE | solar_new_NYISO | solar_new_SERC | solar_new_VACAR | solar_new_TVA | solar_new_SPP | solar_new_MISO-E | solar_new_MISO-W | solar_new_MISO-S | solar_DG_FRCC | solar_DG_PJM-E | solar_DG_PJM-W | solar_DG_ISONE | solar_DG_NYISO | solar_DG_SERC | solar_DG_VACAR | solar_DG_TVA | solar_DG_SPP | solar_DG_MISO-E | solar_DG_MISO-W | solar_DG_MISO-S | wind_existing_FRCC | wind_existing_PJM-E | wind_existing_PJM-W | wind_existing_ISONE | wind_existing_NYISO | wind_existing_SERC | wind_existing_VACAR | wind_existing_TVA | wind_existing_SPP | wind_existing_MISO-E | wind_existing_MISO-W | wind_existing_MISO-S | wind_new_FRCC | wind_new_PJM-E | wind_new_PJM-W | wind_new_ISONE | wind_new_NYISO | wind_new_SERC | wind_new_VACAR | wind_new_TVA | wind_new_SPP | wind_new_MISO-E | wind_new_MISO-W | wind_new_MISO-S | wind_offshore_new_FRCC | wind_offshore_new_PJM-E | wind_offshore_new_PJM-W | wind_offshore_new_ISONE | wind_offshore_new_NYISO | wind_offshore_new_SERC | wind_offshore_new_VACAR | wind_offshore_new_TVA | wind_offshore_new_SPP | wind_offshore_new_MISO-E | wind_offshore_new_MISO-W | wind_offshore_new_MISO-S
Actual CF in Shape | 24.43% | 27.42% | 25.85% | 22.17% | 26.3% | 30.89% | 33.02% | 32.67% | 28.14% | 26.21% | 27.74% | 33.12% | 19.34% | 21% | 19.42% | 17.32% | 18.95% | 22.41% | 39.33% | 35.24% | 31.31% | 31.56% | 35.3% | 29.59% | 47.84% | 31.98% | 44.89% | 31.26% | 48.04% | 45.88% | 0% | 43.8% | 47.35% | 0% | 46.98% | 0% | 22.47% | 18.72% | 19.16% | 18.7% | 17.79% | 19.92% | 20.77% | 21% | 23.49% | 19.64% | 20.83% | 19.87% | 25.74% | 23.96% | 23.92% | 21.67% | 21.47% | 25.24% | 24.13% | 24.5% | 31.23% | 24.73% | 24.67% | 25.17% | 19.41% | 17.45% | 17.18% | 18.97% | 16.23% | 17.93% | 18.79% | 19% | 20.43% | 16.69% | 16.86% | 17.88% | 25.07% | 35.58% | 37.31% | 37.17% | 36.03% | 38.37% | 26.25% | 36.32% | 41.02% | 36.21% | 38.13% | 35.13% | 30.82% | 38.3% | 44.03% | 47.97% | 44.92% | 30.88% | 38.14% | 31.21% | 49.13% | 43.67% | 48.79% | 39.08% | 42.25% | 46.58% | 45.51% | 51.02% | 47.48% | 42.3% | 46.4% | 0% | 0% | 0% | 0% | 42.38%
2018 $/kW-yr total LFC costs by vintage
Resource Name | CF | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055
solar_new_PNW | 26.21% | 59.0612 | 56.3175 | 53.5737 | 51.473 | 47.2271 | 45.1166 | 55.1774 | 52.7384 | 49.6233 | 46.4213 | 43.1322 | 42.6328 | 42.1335 | 41.6343 | 41.135 | 40.6358 | 40.1365 | 39.6372 | 39.1379 | 38.6386 | 38.1394 | 37.6401 | 37.1408 | 36.6416 | 36.1423 | 35.643 | 35.1437 | 34.6444 | 34.1452 | 33.6459 | 33.1466

## Cost and Efficiency Data (R)
Item | Type | Conservative | Optimistic |  | Shaded information is designated as confidential per WAC 480-07-160
Learning Rate | Non-Electrochemical | 0.1 | 0.14
Progress Ratio | Non-Electrochemical | 90% | 86%
alpha | Non-Electrochemical | 0.152 | 0.21759
Learning Rate | Electrochemical | 14% | 25% |  |  |  |  | REDACTED VERSION
Progress Ratio | Electrochemical | 86% | 75%
alpha | Electrochemical | 0.21759 | 0.41504
Conservative Assumptions | [14 empty] | Optimistic Assumptions
| Assumed Cumulative Deployed GW of Electrolyzers (Denoted "Pt") | [14 empty] | Assumed Cumulative Deployed GW (Pt) of Electrolyzers
| Total | AEC | PEMEC | SOEC + Heat | SOEC | [10 empty] | Total | AEC | PEMEC | SOEC + Heat | SOEC | [9 empty] | Rough Scales used to Estimate GW of Electrolyzer Scale
Year | Conservative | Conservative | Conservative | Conservative | Conservative | [9 empty] | Year | Optimistic | Optimistic | Optimistic | Optimistic | Optimistic | [9 empty] | CA NG Consumption | 2200000 | million cubic feet
2019 | 12.501 | 7.5 | 5 | 0.001 | 0.001 | [9 empty] | 2019 | 12.501 | 7.5 | 5 | 0.001 | 0.001 | [9 empty] | CA NG Consumption | 251141.5525 | MMBtu/hr
2020 | 12.7011 | 7.6 | 5.1 | 0.0011 | 0.0011 | [9 empty] | 2020 | 12.7011 | 7.6 | 5.1 | 0.0011 | 0.0011 | [9 empty] | CA NG Consumption | 73.6054 | GW
2025 | 15.01 | 9 | 6 | 0.01 | 0.01 | [9 empty] | 2025 | 41 | 24 | 16 | 1 | 1 | [9 empty] | US NG consumption | 28.4 | quadrillion btu
2030 | 25.5 | 15 | 10 | 0.5 | 0.5 | [9 empty] | 2030 | 99 | 47.52 | 31.68 | 19.8 | 19.8 | [9 empty] | US NG consumption | 3242009.1324 | MMBtu/hr
2035 | 40 | 22 | 14 | 4 | 4 | [9 empty] | 2035 | 300 | 144 | 96 | 60 | 60 | [9 empty] | US NG consumption | 950.1785 | GW
2040 | 90 | 43 | 29 | 18 | 18 | [9 empty] | 2040 | 699 | 335.52 | 223.68 | 139.8 | 139.8 | [9 empty] | World NG Consumption | 120 | quadrillion btu
2045 | 150 | 72 | 48 | 30 | 30 | [9 empty] | 2045 | 1500 | 720 | 480 | 300 | 300 | [9 empty] | World NG Consumption | 13698630.137 | MMBtu/hr
2050 | 280 | 134 | 90 | 56 | 56 | [9 empty] | 2050 | 2736 | 1313.28 | 875.52 | 547.2 | 547.2 | [9 empty] | World NG Consumption | 4014.8388 | GW
|  | Electrolyzer | CO2 Capture | Methanator | ST medium | Boiler | Blending | Interconnection | [8 empty] | Electrolyzer | CO2 Capture | Methanator | ST medium | Boiler | Blending | Interconnection
| Pt [GW] of Electrolyzers | Scale Factor | Scale Factor | Scale Factor | Scale Factor | Scale Factor | Scale Factor | Scale Factor | [7 empty] | Pt [GW] of Electrolyzers | Scale Factor | Scale Factor | Scale Factor | Scale Factor | Scale Factor | Scale Factor | Scale Factor
Year | Conservative | Conservative | Conservative | Conservative | Conservative | Conservative | Conservative | Conservative | [6 empty] | Year | Optimistic | Optimistic | Optimistic | Optimistic | Optimistic | Optimistic | Optimistic | Optimistic
2019 | 12.501 | 1.6668 | 0.22028 | 7.4842 | 5.6271 | 1.3998 | 12.501 | 12.501 | [6 empty] | 2019 | 12.501 | 1.6668 | 0.22028 | 7.4842 | 5.6271 | 1.3998 | 12.501 | 12.501
2020 | 12.7011 | 1.6712 | 0.22381 | 7.604 | 5.7172 | 1.4222 | 12.7011 | 12.7011 | [6 empty] | 2020 | 12.7011 | 1.6712 | 0.22381 | 7.604 | 5.7172 | 1.4222 | 12.7011 | 12.7011
2025 | 15.01 | 1.6678 | 0.26449 | 8.9863 | 6.7565 | 1.6807 | 15.01 | 15.01 | [6 empty] | 2025 | 41 | 4.5556 | 0.72247 | 24.5462 | 18.4556 | 4.5909 | 41 | 41
2030 | 25.5 | 1.7 | 0.44934 | 15.2665 | 11.4785 | 2.8553 | 25.5 | 25.5 | [6 empty] | 2030 | 99 | 6.6 | 1.7445 | 59.2701 | 44.5634 | 11.0854 | 99 | 99
2035 | 40 | 1.8182 | 0.70485 | 23.9475 | 18.0054 | 4.479 | 40 | 40 | [6 empty] | 2035 | 300 | 13.6364 | 5.2864 | 179.6063 | 135.0407 | 33.5922 | 300 | 300
2040 | 90 | 2.093 | 1.5859 | 53.8819 | 40.5122 | 10.0777 | 90 | 90 | [6 empty] | 2040 | 699 | 16.2558 | 12.3173 | 418.4827 | 314.6447 | 78.2698 | 699 | 699
2045 | 150 | 2.0833 | 2.6432 | 89.8032 | 67.5203 | 16.7961 | 150 | 150 | [6 empty] | 2045 | 1500 | 20.8333 | 26.4319 | 898.0316 | 675.2033 | 167.961 | 1500 | 1500
2050 | 280 | 2.0896 | 4.9339 | 167.6326 | 126.0379 | 31.3527 | 280 | 280 | [6 empty] | 2050 | 2736 | 20.4179 | 48.2117 | 1638.0096 | 1231.5708 | 306.3609 | 2736 | 2736
| Capital Costs Non-Electrolyzer Costs | [14 empty] | Capital Costs Non-Electrolyzer Costs
| Cost [$/ton/day] | [6 empty] | Cost [$/kW] |  |  | Cost ($/GJ-km) |  | Cost [$/Plant] |  |  | Cost [$/ton/day] | [5 empty] | Cost [$/kW] |  |  |  | Cost ($/GJ-km) | Cost ($/GJ) | Cost [$/Plant]
| E-CEM | PCC | None | DAC - UCI | DAC - NAS | DAC | Methane | Diesel | Steam Turbine | Boiler | H2 Pipeline Cost | H2 Underground Storage Cost | Pipeline Blending | Pipeline Interconnection |  | E-CEM | PCC | None | DAC - UCI | DAC - NAS | DAC | Methane | Diesel | Steam Turbine | Boiler | H2 Pipeline Cost | H2 Underground Storage Cost | Pipeline Blending | Pipeline Interconnection
Year | Conservative | Conservative | Conservative | Conservative | Conservative | Conservative | Conservative | Conservative | Conservative | Conservative | Conservative | Conservative | Conservative | Conservative | Year | Optimistic | Optimistic | Optimistic | Optimistic | Optimistic | Optimistic | Optimistic | Optimistic | Optimistic | Optimistic | Optimistic | Optimistic | Optimistic | Optimistic
2019 | 1820411.8227 | 63630.0595 | 0 | 456250 | 482184.2105 | 482184.2105 | 340 | 1774.345 | 682 | 400 | 0.0031886 | 2.3697 | 660000 | 4100000 | 2019 | 1820411.8227 | 43719.7917 | 0 | 315725 | 259342.1053 | 315725 | 340 | 1105.605 | 682 | 400 | 0.0031886 | 2.3697 | 330000 | 500000
2020 | 1816023.0053 | 63476.6543 | 0 | 455150.0303 | 482184.2105 | 482184.2105 | 339.1803 | 1774.345 | 682 | 400 | 0.0031886 | 2.3697 | 660000 | 4100000 | 2020 | 1814132.5286 | 43568.9854 | 0 | 314635.9442 | 259342.1053 | 314635.9442 | 338.8272 | 1105.605 | 682 | 400 | 0.0031886 | 2.3697 | 330000 | 500000
2025 | 1770496.7717 | 61885.3457 | 0 | 443739.7857 | 482184.2105 | 482184.2105 | 330.6773 | 1774.345 | 682 | 400 | 0.0031886 | 2.3697 | 660000 | 4100000 | 2025 | 1405812.7473 | 33762.6023 | 0 | 243818.5822 | 259342.1053 | 259342.1053 | 262.5649 | 1105.605 | 682 | 400 | 0.0031886 | 2.3697 | 330000 | 500000
2030 | 1633466.3227 | 57095.6297 | 0 | 409395.8303 | 482184.2105 | 482184.2105 | 305.084 | 1774.345 | 682 | 400 | 0.0031886 | 2.3697 | 660000 | 4100000 | 2030 | 1160438.9702 | 27869.6004 | 0 | 201261.9284 | 259342.1053 | 259342.1053 | 216.7363 | 1105.605 | 682 | 400 | 0.0031886 | 2.3697 | 330000 | 500000
2035 | 1525423.9787 | 53319.1541 | 0 | 382317.1667 | 482184.2105 | 482184.2105 | 284.9048 | 1774.345 | 682 | 400 | 0.0031886 | 2.3697 | 660000 | 4100000 | 2035 | 911706.5232 | 21895.9352 | 0 | 158122.7602 | 259342.1053 | 259342.1053 | 170.2803 | 1105.605 | 682 | 400 | 0.0031886 | 2.3697 | 330000 | 500000
2040 | 1348521.0707 | 47135.7497 | 0 | 337979.9729 | 482184.2105 | 482184.2105 | 251.8645 | 1774.345 | 682 | 400 | 0.0031886 | 2.3697 | 660000 | 4100000 | 2040 | 758440.5773 | 18215.0344 | 0 | 131540.9229 | 259342.1053 | 259342.1053 | 141.6546 | 1105.605 | 682 | 400 | 0.0031886 | 2.3697 | 330000 | 500000
2045 | 1247774.3119 | 43614.2815 | 0 | 312729.8025 | 482184.2105 | 482184.2105 | 233.048 | 1774.345 | 682 | 400 | 0.0031886 | 2.3697 | 660000 | 4100000 | 2045 | 642340.3084 | 15426.7205 | 0 | 111404.9532 | 259342.1053 | 259342.1053 | 119.9705 | 1105.605 | 682 | 400 | 0.0031886 | 2.3697 | 330000 | 500000
2050 | 1134835.8648 | 39666.6692 | 0 | 284424.0281 | 482184.2105 | 482184.2105 | 211.9543 | 1774.345 | 682 | 400 | 0.0031886 | 2.3697 | 660000 | 4100000 | 2050 | 563596.656 | 13535.5792 | 0 | 97747.9667 | 259342.1053 | 259342.1053 | 105.2635 | 1105.605 | 682 | 400 | 0.0031886 | 2.3697 | 330000 | 500000
| Electrolyzer Capital Cost (2019$/kW input) | [13 empty] | Electrolyzer Capital Cost (2019$/kW input)
| AEC | PEMEC | SOEC + Heat | SOEC | FFI | [10 empty] | AEC | PEMEC | SOEC + Heat | SOEC
Year | Conservative | Conservative | Conservative | Conservative | Conservative | [9 empty] | Year | Optimistic | Optimistic | Optimistic | Optimistic
2019 | 1130 | 1700 | 9700 | 9700 | XXX | [9 empty] | 2019 | 1130 | 1700 | 9700 | 9700
2020 | 1126.748 | 1692.6907 | 9500.9064 | 9500.9064 | XXX | [9 empty] | 2020 | 1123.8051 | 1686.0852 | 9323.7843 | 9323.7843
2025 | 1086.0487 | 1633.8785 | 5877.333 | 5877.333 | XXX | [9 empty] | 2025 | 697.3042 | 1049.0417 | 551.6444 | 551.6444
2030 | 971.8 | 1462 | 2508.9903 | 2508.9903 | XXX | [9 empty] | 2030 | 525.1642 | 790.07 | 191 | 191
2035 | 894.0969 | 1358.7863 | 1595.8583 | 1595.8583 | XXX | [9 empty] | 2035 | 331.4823 | 498.6901 | 191 | 191
2040 | 772.7794 | 1159.6676 | 1150.4318 | 1150.4318 | XXX | [9 empty] | 2040 | 233.3425 | 351.0462 | 191 | 191
2045 | 690.7878 | 1039.2382 | 1029.4103 | 1029.4103 | XXX | [9 empty] | 2045 | 169.9658 | 255.7008 | 191 | 191
2050 | 603.4544 | 906.3843 | 898.6833 | 898.6833 | XXX | [9 empty] | 2050 | 132.4422 | 199.2494 | 191 | 191
Electrolyzer and Thermochemical Equipment O&M Costs
| AEC | PEMEC | SOEC + Heat | SOEC | DAC | Methane | Diesel | FFI | [7 empty] | AEC | PEMEC | SOEC + Heat | SOEC | DAC | Methane | Diesel
| Conservative | Conservative | Conservative | Conservative | Conservative | Conservative | Conservative | Conservative | [7 empty] | Optimistic | Optimistic | Optimistic | Optimistic | Optimistic | Optimistic | Optimistic
VOM ($/MWh input electricity) | 10 | 10 | 10 | 10 | 14.5161 | 0 | 0 | XXX | [7 empty] | 10 | 10 | 10 | 10 | 12.3404 | 0 | 0
FOM ($/kW-yr input electricity | 0 | 0 | 0 | 0 | 0 | 0 | 120.287 | XXX | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 120.287
Efficiency (%) |  |  |  |  | Efficiency (kj/kg CO2) | [9 empty] | Efficiency (%) |  |  |  |  | Efficiency (kj/kg CO2)
Methane HHV vs. Thermodynamic Limit | Diesel HHV vs. Thermodynamic Limit | Methane CO Utilization Efficiency | Diesel CO Utilization Efficiency | Steam Turbine Efficiency | E-CEM Electricity | DAC Electricity | DAC Heat | [7 empty] | Methane HHV vs. Thermodynamic Limit | Diesel HHV vs. Thermodynamic Limit | Methane CO Utilization Efficiency | Diesel CO Utilization Efficiency | Steam Turbine Efficiency | E-CEM Electricity | DAC Electricity | DAC Heat
Conservative | Conservative | Conservative | Conservative | Conservative | Conservative | Conservative | Conservative | [7 empty] | Optimistic | Optimistic | Optimistic | Optimistic | Optimistic | Optimistic | Optimistic | Optimistic
79.04% | 89.82% | 100% | 94.4% | 67% | 1080 | 1789.4737 | 11263.1579 | [7 empty] | 79% | 89.82% | 100% | 94.4% | 67% | 1080 | 795.7895 | 8109.4737
| Electrolyzer HHV Efficiency | [13 empty] | Electrolyzer HHV Efficiency
| AEC | PEMEC | SOEC + Heat | SOEC | Aux Heat | FFI | [9 empty] | AEC | PEMEC | SOEC + Heat | SOEC | Aux Heat
Year | Conservative | Conservative | Conservative | Conservative | Conservative | Conservative | [8 empty] | Year | Optimistic | Optimistic | Optimistic | Optimistic | Optimistic
2019 | 70% | 66% | 75% | 70% | 7.143% | XXX | [8 empty] | 2019 | 70% | 66% | 75% | 73% | 2.74%
2020 | 70% | 66% | 75% | 70% | 7.143% | XXX | [8 empty] | 2020 | 70% | 66% | 75% | 73% | 2.74%
2025 | 70% | 67% | 76% | 70% | 8.571% | XXX | [8 empty] | 2025 | 71% | 67% | 76% | 74% | 2.703%
2030 | 70% | 70% | 78% | 72% | 8.333% | XXX | [8 empty] | 2030 | 72% | 70% | 78% | 75% | 4%
2035 | 72% | 72% | 81% | 74% | 9.459% | XXX | [8 empty] | 2035 | 74% | 72% | 80% | 78% | 2.564%
2040 | 73% | 73% | 85% | 76% | 11.84% | XXX | [8 empty] | 2040 | 76% | 74% | 85% | 80% | 6.25%
2045 | 74% | 74% | 88% | 78% | 12.82% | XXX | [8 empty] | 2045 | 78% | 77% | 88% | 82% | 7.317%
2050 | 75% | 75% | 92% | 80% | 15% | XXX | [8 empty] | 2050 | 80% | 80% | 93% | 83% | 12.05%

## Fischer Tropsch Data
Fischer Tropsch Pathway for making Diesel Analysis
Approach: Use combination of data from various studies of making Fischer-Tropsch Diesel from Biomass. Sources:
Hannula et al ("Liquid transportation fuels via large-scale fluidised bed gasification of lignocellulosic biomass" https://www.vtt.fi/inf/pdf/technology/2013/T91.pdf)
Tremel et al ("Techno-economic analysis for the synthesis of liquid and gaseous fuels based on hydrogen production via electrolysis", https://www.sciencedirect.com/science/article/abs/pii/S0360319915001652), https://doi.org/10.1016/j.ijhydene.2015.01.097)
Zhu et al ("Techno-economic Analysis for the thermochemical conversion of biomass to liquid fuels", 2011, https://www.pnnl.gov/main/publications/external/technical_reports/pnnl-19009.pdf)
Ruth et al ("The Economic Potential of Two Nuclear-Renewable Hybrid Energy Systems", 2016, https://www.nrel.gov/docs/fy16osti/66073.pdf)
Assumption: Because FT rxn is highly exothermic, produces 147 kJ heat per reacted carbon atom, that this waste heat could technically be recycled via on-site steam turbines to power ancillary compressors, pumps, etc. Small auxiliary energy need powered by hydrogen. This is assumed in Hannula et al, and represents the "high efficiency" by 2050 case
Syngas Composition is 2:1 H2 to CO (2H2:CO) |  | Hannula p. 18, Section 2.2
2013 usd to 2013 euro | 1.2771 | From IRS
2015 USD to 2015 euro | 1.0672 | From IRS
2017 USD to 2013 USD | 1.06 | From BLS
2017 USD to 2015 USD | 1.05 | From BLS
Fischer Tropsch Capital Costs Section
Capital costs for FT plant from Hannula (See p 82, Table 26, LTFT Design 3), Note this Ignores Biomass Gasification Steps since We'd Introduce CO2 and H2 Directly to WGS Reactor
Buildings | 18.8 | million 2013 Euro |  |  | Process flow of FT System in Hannula et al
Reverse WGS shift | 6.6 | million 2013 Euro
Syngas cooling | 10.2 | million 2013 Euro
Compression | 8.9 | million 2013 Euro
Acid gas removal | 36.8 | million 2013 Euro
Power island | 23.9 | million 2013 Euro
Fischer-Tropsch synthesis | 80.9 | million 2013 Euro
FT reactor | 43.4 | million 2013 Euro
HC recovery plant | 8.6 | million 2013 Euro
H2 production (PSA system) | 1.5 | million 2013 Euro
Wax hydrocracking | 26.9 | million 2013 Euro
FT recycle compressor | 0.5 | million 2013 Euro
Total | 267 | million 2013 Euro
Total 2017 USD | 361.4559 | million 2017 USD
Output MW, Diesel (C13H24) | 171 | MW | See table 22, p. 75 for Design 3
Efficiency, Reverse water gas shift rxn | 100% | Assume can be done with waste heat from FT rxn (mildly endothermic to go from CO2 + H2 -> CO + H2O) (see heat of reaction listed below, on order of 2% of heat of rxn)
Capital Cost of gasoline plant from Ruth et al | 12810 | $/kg/hr gasoline output
FOM Cost of gasoline plant from Ruth et al | 1537 | $/kg output/hr-yr
HHV per kg of gasoline | 46 | MJ/kg
Seconds/Hr | 3600 | s/hr
Capital Cost of gasoline plant from Ruth et al | 1002521.7391 | $/MW Capacity Output
FOM Cost of gasoline plant from Ruth et al | 120286.9565 | $/MW Output-yr
Total 2017 USD/MW output diesel, Hannula et al | 2.1138 | million 2017 USD
Size of Hannula et al plant | 171 | MW diesel
Total 2017 USD/MW output diesel, Tremel et al | 1.6809 | million 2017 USD, taken from fig 4 of Tremel et al for 100 MW product output plant (add FT diesel and syncrude costs, are these are concurrent outputs of same plant)
Size of Tremel et al plant | 200 | MW combined syncrude + diesel
Total 2017 USD/MW of output gasoline, Ruth et al | 1.0627 | million 2017 USD, see Table 2 and they use 2013 dollars, so convert to 2017
Size of Ruth et al gasoline plant | 2199.8687 | MW
Assumed scaling coefficient for thermochemical plants | 0.6 | This is a standard value used to normalized scale plant cost as an f(plant size), and is also from Tremel et al, C(s) = C(s_o)*(S(s)/S(s_o))^0.6
Target comparison power plant | 1000 | MW diesel output
Normalized cost/1000 MW of capacity, Hannula et al | 0.73258 | million 2017 USD
Normalized cost/1000 MW of capacity, Tremel et al | 0.63997 | million 2017 USD
Normalized cost/1000 MW of capacity, Ruth et al | 1.7054 | million 2017 USD | Conservative | Ruth's design involves a lot of extra capital to render high fuel throughput vs. the other designs, which produce diesel + syncrude. Given cost of getting CO2, choose Ruth's design
Normalized cost/1000 MW of capacity, Ruth et al | 1.0627 | million 2017 USD | Optimistic | Ruth's design involves a lot of extra capital to render high fuel throughput vs. the other designs, which produce diesel + syncrude. Given cost of getting CO2, choose Ruth's design
Fischer Tropsch Efficiency Section
Heat of reaction, CO + H2O -> CO2 + H2 | -6.34 | kJ/mol
Heat of combustion: H2, LHV | -242 | kJ/mol
Heat of combustion: H2, HHV | -286 | kJ/mol
Heat of combustion: CO | -283.24 | kJ/mol
Heat of combustion: Syngas | -255.7467 | kj/mol
Process input heat kJ/mol of Reverse WGS Syngas | 2.479%
Heat of combustion: Diesel, LHV | 42.6 | MJ/kg
Heat of combution: Diesel, HHV | 44.8 | MJ/kg
Molar mass of diesel | 0.17902 | kg/mol
Conversion constant | 0.00094709 | MMBTU/MJ
Heat of combustion: Diesel, LHV | 7.6263 | MJ/mol
Heat of combustion: Diesel, HHV | 8.0201 | MJ/mol
Mol H2 per mol product | 11.95 | (https://www.sciencedirect.com/topics/engineering/diesel-fuel). Using this ratio assumes all products are diesel
Mol CO per mol diesel | 12.9 | (https://www.sciencedirect.com/topics/engineering/diesel-fuel). Using this ratio assumes all products are diesel
Mol H2 per mol CO2 in Reverse WGS (CO2 + nH2 -> CO + nH2O) | 1 | Assumes 100% CO2 + H2 conversion to CO + H2O in Reverse WGS Rxn
Mol H2 per mol CO in Syngas | 1 | Assumes that 2:1 ratio of H2:CO in syngas from above holds true
Mol CO2 per mol CO | 1 | Assumes 100% CO2 + H2 conversion to CO + H2O in Reverse WGS Rxn
Input H2 mol per output mol of diesel | 37.75
Ratio of LHV of H2 to LHV of diesel | 1.1979
Ratio of HHV of H2 to HHV of diesel | 1.3462
Implied LHV efficiency via molar balance from input H2 and CO2 to Diesel product | 83.48% | This is the implied LHV efficiency of the reaction if the reaction proceeeds with 100% efficiency. Less than unity due to reduction in efficiency from exothermic nature of H2 + CO2 -> Diesel Reaction
Implied HHV efficiency via molar balance from input H2 and CO2 to Diesel product | 74.28% | This is the implied HHV efficiency of the reaction if the reaction proceeeds with 100% efficiency. Less than unity due to reduction in efficiency from exothermic nature of H2 + CO2 -> Diesel Reaction
Current efficiency of Conversion process, LHV basis | Conservative | 45.6% | See Table 4-2 says 45.6% in Zhu et al, but this includes inefficiencies due to biomass gasification. Using 70% carbon utilization efficiency and the max efficiency of 83% based on the ratio of HHV quoted in Zhu et al gives about the same number, so stick with this to be conservative.
Future Efficiency of Conversion process, HHV basis | Optimistic | 66.73% | This is derived from numbers for nuclear heat + natural gas -> Gasoline used by Ruth et al. See table 5.
Ratio of HHV efficiency to LHV efficiency | Constant | 88.99% | Ratio of LHV eff to HHV eff for Diesel
Current efficiency of Conversion process normalized by max possible conversion, HHV basis | Conservative | 54.62%
Future Efficiency of Conversion process normalized by max possible conversion efficiency, HHV basis | Optimistic | 89.82%
Utilization rate of reactants per mol of input CO in Syngas | Conservative | 70% | See Table 4-1, Zhu et al
Utilization rate of reactants per mol of input CO in Syngas | Optimistic | 94.4% | See Table 22, Hannula et al. This is about 90% in Ruth et al, so call it close enough.

## DAC data
| NAS Report Assumptions - Liquid Sorbent DAC for 1MT CO2 capture per year |  | Value | Unit | Reference and Assumption
| Conversion Constant |  | 3.6 | GJ per MWh
| Conversion Constant |  | 365 | Days/Year
| CO2 Capture rate (kg Sequestered/kg Captured) - 98% purity |  | 0.95 |  | NAS Report Assumes 0.75-0.98 tCO2 avoided per tCO2 captured, so choose 0.9 as higher range
Energy Requirement | Thermal input - Low | Optimistic | 2.14 | MWh/tCO2 captured | NAS Report 2018 lower bound - 7.7 GJ/tCO2
| Electrical input - Low | Optimistic | 0.21 | MWh/tCO2 captured | NAS Report 2018 lower bound - 0.74 GJ/tCO2
| Thermal input - High | Conservative | 2.9722 | MWh/tCO2 captured | NAS Report 2018 upper bound - 10.7 GJ/tCO2
| Electrical input - High | Conservative | 0.47222 | MWh/tCO2 captured | NAS Report 2018 upper bound - 1.7 GJ/tCO2
| Low - Capital Cost of DAC System | Optimistic | 675000000 | 2018$ per MtCO2/yr Capture | NAS Report - Lower bound CAPEX
| High - Capital Cost of DAC System | Conservative | 1255000000 | 2018$ per MtCO2/yr Capture | NAS Report - Higher bound CAPEX
| Low VOM (maintenance, labor, makeup and waste removal) | Optimistic | 29 | $M/MtCO2 | NAS Report
| High VOM (maintenance, labor, makeup and waste removal) | Conservative | 50 | $M/MtCO2 | NAS Report
| FOM (fixed costs) |  | 0 | $M/tCO2 | No data was provided, so put in placeholder
| Capital Recovery Factor |  | #REF! | year^-1 | Calculation
| Annualized Low Fixed Cost (w/o energy requirements) |  | #REF! | $/tCO2 | Calculation
| Annualized High Fixed Cost (w/o energy requirements) |  | #REF! | $/tCO2 | Calculation
| Low - Total energy requirement | Optimistic | 2.35 | MWh/tCO2 captured
| High - Total energy requirement | Conservative | 3.4444 | MWh/tCO2 captured
| Low VOM (maintenance, labor, makeup and waste removal) | Optimistic | 12.3404 | $/MWh
| High VOM (maintenance, labor, makeup and waste removal) | Conservative | 14.5161 | $/MWh
| FOM | All Cases | 0 | $/MWh
| Electricity Input per kg Sequestered CO2 | Optimistic | 795.7895 | kJ/kg CO2
| Heat Input per kg sequestered CO2 | Optimistic | 8109.4737 | kJ/kg CO2
| Electricity Input per kg Sequestered CO2 | Conservative | 1789.4737 | kJ/kg CO2
| Heat Input per kg sequestered CO2 | Conservative | 11263.1579 | kJ/kg CO2
| CAPEX - includes oxy-fired calciner requiring natural gas | Optimistic | 259342.1053 | $/ton/day
| CAPEX - includes oxy-fired calciner requiring natural gas | Conservative | 482184.2105 | $/ton/day
Comparison of Clea's data to UCI's old Data (Not Used in Calc)
| UCI kJ el/kg Sequestered CO2 |  | 590 | kJ/kg CO2
| UCI kJ heat/kg Sequestered CO2 |  | 6100 | kJ/kg CO2
| UCI "Optimistic" 2050 CapEx for DAC |  | 97747.9667 | $/ton_CO2/day
| UCI "Conservative" 2050 CapEx for DAC |  | 284424.0281 | $/ton_CO2/day
| Ratio of UCI data to Clea's assumed electricity, Optimistic |  | 1.3488
| Ratio of UCI data to Clea's assumed heat, Conservative |  | 1.3294
| Ratio of UCI data to Clea's Capital, Optimistc |  | 2.6532
| Ratio of UCI data to Clea's Capital, Conservative |  | 1.6953

## BNEF H2 and Syngas Cost
*Source-Bloomberg, October 2021 | Green | [5 empty] | Blue |  |  |  | Blue | Green | Direct Air Capture and Methanation | Total Cost of Syngas | Max Blending | Max Hydrogen including pure hydrogen
Year | Alkaline Electrolysis Chinese ($/kg) | PEM Electrolysis ($/kg) | PEM Electrolysis ($/kg) | Alkaline Electrolysis Chinese ($/mmbtu) | PEM Electrolysis ($/mmbtu) | PEM Electrolysis - Chart ($/mmbtu) | High ($/kg) | Low ($/kg) | High ($/mmbtu) | Low ($/mmbtu) | Average | Average |  | Syngas | 7% of Energy | 20% of Energy
2022 | 2.3328 | 3.9151 | 4.4528 | 20.4822 | 34.3749 | 39.096 | 1.6211 | 1.09 | 12.0608 | 8.1096 | 10.0852 | 27.4285 | 7.3684 | 34.7969
2023 | 2.192 | 3.6664 | 3.9861 | 19.2454 | 32.1909 | 34.9983 | 1.6246 | 1.0913 | 12.0871 | 8.1189 | 10.103 | 25.7182 | 7.2556 | 32.9738
2024 | 2.0511 | 3.4176 | 3.5194 | 18.0087 | 30.0069 | 30.9007 | 1.6281 | 1.0925 | 12.1133 | 8.1282 | 10.1208 | 24.0078 | 7.1429 | 31.1507
2025 | 1.9102 | 3.1689 | 3.0527 | 16.7719 | 27.8229 | 26.8031 | 1.6317 | 1.0938 | 12.1396 | 8.1375 | 10.1385 | 22.2974 | 7.0301 | 29.3275
2026 | 1.7694 | 2.9202 | 2.586 | 15.5352 | 25.639 | 22.7054 | 1.6352 | 1.095 | 12.1658 | 8.1468 | 10.1563 | 20.5871 | 6.9173 | 27.5044
2027 | 1.6285 | 2.6714 | 2.1193 | 14.2984 | 23.455 | 18.6078 | 1.6387 | 1.0962 | 12.192 | 8.1561 | 10.1741 | 18.8767 | 6.8045 | 25.6812
2028 | 1.4877 | 2.4227 | 1.6526 | 13.0617 | 21.271 | 14.5101 | 1.6422 | 1.0975 | 12.2183 | 8.1654 | 10.1918 | 17.1663 | 6.6917 | 23.8581
2029 | 1.3468 | 2.1739 | 1.1859 | 11.8249 | 19.087 | 10.4125 | 1.6458 | 1.0987 | 12.2445 | 8.1747 | 10.2096 | 15.456 | 6.5789 | 22.0349
2030 | 1.2059 | 1.9252 | 0.71923 | 10.5882 | 16.903 | 6.3149 | 1.6493 | 1.1 | 12.2708 | 8.184 | 10.2274 | 13.7456 | 6.4662 | 20.2118
2031 | 1.1789 | 1.8651 | 0.68619 | 10.3508 | 16.3756 | 6.0247 | 1.653 | 1.092 | 12.2983 | 8.1245 | 10.2114 | 13.3632 | 6.3534 | 19.7166
2032 | 1.1519 | 1.805 | 0.65314 | 10.1135 | 15.8481 | 5.7346 | 1.6567 | 1.084 | 12.3259 | 8.065 | 10.1954 | 12.9808 | 6.2406 | 19.2214
2033 | 1.1249 | 1.7449 | 0.6201 | 9.8762 | 15.3206 | 5.4444 | 1.6604 | 1.076 | 12.3534 | 8.0054 | 10.1794 | 12.5984 | 6.1278 | 18.7262
2034 | 1.0978 | 1.6849 | 0.58705 | 9.6389 | 14.7931 | 5.1543 | 1.6641 | 1.068 | 12.381 | 7.9459 | 10.1635 | 12.216 | 6.015 | 18.231
2035 | 1.0708 | 1.6248 | 0.554 | 9.4015 | 14.2657 | 4.8641 | 1.6678 | 1.06 | 12.4086 | 7.8864 | 10.1475 | 11.8336 | 5.9023 | 17.7359
2036 | 1.0438 | 1.5647 | 0.52096 | 9.1642 | 13.7382 | 4.574 | 1.6715 | 1.052 | 12.4361 | 7.8269 | 10.1315 | 11.4512 | 5.7895 | 17.2407
2037 | 1.0167 | 1.5046 | 0.48791 | 8.9269 | 13.2107 | 4.2839 | 1.6752 | 1.044 | 12.4637 | 7.7674 | 10.1155 | 11.0688 | 5.6767 | 16.7455
2038 | 0.9897 | 1.4446 | 0.45486 | 8.6895 | 12.6833 | 3.9937 | 1.6789 | 1.036 | 12.4913 | 7.7078 | 10.0995 | 10.6864 | 5.5639 | 16.2503
2039 | 0.96267 | 1.3845 | 0.42182 | 8.4522 | 12.1558 | 3.7036 | 1.6826 | 1.028 | 12.5188 | 7.6483 | 10.0836 | 10.304 | 5.4511 | 15.7551
2040 | 0.93564 | 1.3244 | 0.38877 | 8.2149 | 11.6283 | 3.4134 | 1.6863 | 1.02 | 12.5464 | 7.5888 | 10.0676 | 9.9216 | 5.3383 | 15.2599
2041 | 0.90861 | 1.2643 | 0.35573 | 7.9776 | 11.1008 | 3.1233 | 1.69 | 1.012 | 12.5739 | 7.5293 | 10.0516 | 9.5392 | 5.2256 | 14.7648
2042 | 0.88158 | 1.2043 | 0.32268 | 7.7402 | 10.5734 | 2.8331 | 1.6938 | 1.004 | 12.6015 | 7.4698 | 10.0356 | 9.1568 | 5.1128 | 14.2696
2043 | 0.85454 | 1.1442 | 0.28963 | 7.5029 | 10.0459 | 2.543 | 1.6975 | 0.996 | 12.6291 | 7.4102 | 10.0197 | 8.7744 | 5 | 13.7744
2044 | 0.82751 | 1.0841 | 0.25659 | 7.2656 | 9.5184 | 2.2528 | 1.7012 | 0.988 | 12.6566 | 7.3507 | 10.0037 | 8.392 | 4.8872 | 13.2792
2045 | 0.80048 | 1.024 | 0.22354 | 7.0282 | 8.9909 | 1.9627 | 1.7049 | 0.98 | 12.6842 | 7.2912 | 9.9877 | 8.0096 | 4.7744 | 12.784
2046 | 0.77345 | 0.96395 | 0.1905 | 6.7909 | 8.4635 | 1.6726 | 1.7086 | 0.972 | 12.7117 | 7.2317 | 9.9717 | 7.6272 | 4.6617 | 12.2888
2047 | 0.74642 | 0.90387 | 0.15745 | 6.5536 | 7.936 | 1.3824 | 1.7123 | 0.964 | 12.7393 | 7.1722 | 9.9557 | 7.2448 | 4.5489 | 11.7937
2048 | 0.71939 | 0.8438 | 0.1244 | 6.3163 | 7.4085 | 1.0923 | 1.716 | 0.956 | 12.7669 | 7.1126 | 9.9398 | 6.8624 | 4.4361 | 11.2985
2049 | 0.69236 | 0.78372 | 0.091358 | 6.0789 | 6.8811 | 0.80212 | 1.7197 | 0.948 | 12.7944 | 7.0531 | 9.9238 | 6.48 | 4.3233 | 10.8033
2050 | 0.66533 | 0.72364 | 0.058312 | 5.8416 | 6.3536 | 0.51198 | 1.7234 | 0.94 | 12.822 | 6.9936 | 9.9078 | 6.0976 | 4.2105 | 10.3081
[12 empty] | 2018$/GJ | 2018$/MMBtu
[10 empty] | 2020 |  | 89.6373 | 94.5723 |  |  | 94.5723
[10 empty] | 2025 |  | 83.3773 | 87.9678
[10 empty] | 2030 |  | 79.3528 | 83.7217
[10 empty] | 2035 |  | 75.0014 | 79.1306
[10 empty] | 2040 |  | 70.1344 | 73.9957
[10 empty] | 2045 |  | 66.5135 | 70.1755 |  |  | 87.9678
[10 empty] | 2050 |  | 62.8246 | 66.2835
83.7217
79.1306
73.9957
70.1755
66.2835

## References
Technology Type | Technology Info | Author | Source Info | Instant cost ($/kW) | FOM ($/kW-yr) | VOM ($/MWh) | HR (MMBtu/MWh) | HR Degradation | Capacity Degradation | Efficiency (%) | CO2 Cost ($/tonCO2/day) | Energy for CO2 (kJ/kgCO2) | Heat for CO2 (kJ/kgCO2)
H2 production | SOEC | Schell et al. | P2G NPV Model | 889.7859 | 29.8968 | 13.0045 | 0.0368 | 0.02 | 0.008
|  | US DOE | https://www.hydrogen.energy.gov/pdfs/16014_h2_production_cost_solid_oxide_electrolysis.pdf | 918 |  | 62.4 | 0.0509 |  | 0.832
|  | US DOE | https://www.hydrogen.energy.gov/pdfs/review16/pd124_petri_2016_o.pdf | [6 empty] | 83.9
|  | Ouweltjes et al. | http://ecst.ecsdl.org/content/7/1/933.full.pdf+html | [6 empty] | 87, 95, 79
|  | Pan et al. | https://www.scopus.com/record/display.uri?eid=2-s2.0-85012088626&origin=resultslist&sort=plf-f&src=s&st1=solid+oxide+electrolyzer+efficiency&st2=&sid=076434423864b2b7332086b93dded973&sot=b&sdt=b&sl=50&s=TITLE-ABS-KEY%28solid+oxide+electrolyzer+efficiency%29&relpos=14&citeCnt=5&searchTerm= | [6 empty] | 73 |  |  | 1000000
|  | Paakkonen et al. | https://www.sciencedirect.com/science/article/pii/S096014811730993X | [6 empty] | 95 |  |  | 1000000
| PEMEC | Millet et al. | https://ac.els-cdn.com/S036031990901386X/1-s2.0-S036031990901386X-main.pdf?_tid=e0a9b69e-f267-11e7-a8e2-00000aab0f26&acdnat=1515191542_13d8c3c07c64648fe495bd82eabc1e55 | [6 empty] | 71-72.5 |  |  | 1000000
|  | Gibson and Kelly | https://ac.els-cdn.com/S0360319908006526/1-s2.0-S0360319908006526-main.pdf?_tid=34f77b36-f269-11e7-8ec9-00000aab0f6b&acdnat=1515192113_8c2b6658f54ac8e40387d66460f0ef62 | [6 empty] | 75-77 |  |  | 1000000
|  | Siracusano et al. | https://ac.els-cdn.com/S0360319910006166/1-s2.0-S0360319910006166-main.pdf?_tid=c550d6d6-f26a-11e7-a8e2-00000aab0f26&acdnat=1515192785_223997b483ca71335ea72adfc609e413 | [6 empty] | 70 |  |  | 1000000
|  | Paakkonen et al. | https://www.sciencedirect.com/science/article/pii/S096014811730993X | [6 empty] | 70 |  |  | 1000000
|  | Bertuccioli et al. | http://www.fch.europa.eu/sites/default/files/study%20electrolyser_0-Logos_0_0.pdf | 250-1270 | [8 empty] | 1000000
|  | Hamdan | https://www.osti.gov/scitech/servlets/purl/1091385 | 350 | [8 empty] | 1000000
|  | Fraunhofer ISE et al. | http://elib.dlr.de/94979/1/2014_DLR_ISE_KBB_LBST_PlanDelyKaD.pdf | 430.92 | [8 empty] | 1000000
|  | Godula-Jopek et al. | http://onlinelibrary.wiley.com/doi/10.1002/9783527676507.ch2/summary | 665 | [8 empty] | 1000000
| AEC | Campanari et al. | https://www.sciencedirect.com/science/article/pii/S0378775308018934 | [6 empty] | 60-90 |  |  | 1000000
|  | Bolat et al. | http://www.sciencedirect.com/science/article/pii/S0360319914008623?via%3Dihub | [6 empty] | 61-79 |  |  | 1000000
|  | Paakkonen et al. | https://www.sciencedirect.com/science/article/pii/S096014811730993X | [6 empty] | 70 |  |  | 1000000
|  | Mansilla et al. | http://www.sciencedirect.com/science/article/pii/S0360319914008623?via%3Dihub#bib214 | 1464.1814 | [8 empty] | 1000000
|  | DOE H2A | http://www.sciencedirect.com/science/article/pii/S0360319914008623?via%3Dihub#bib214 | 834.3907 | [8 empty] | 1000000
|  | Krewitt and Schmid | http://www.sciencedirect.com/science/article/pii/S0360319914008623?via%3Dihub#bib214 | 445.6917 | [8 empty] | 1000000
Heat Sink |  | NRC | http://www.sciencedirect.com/science/article/pii/S0360319914008623?via%3Dihub#bib214 | 1643.7702 | [8 empty] | 1000000
|  | GE | http://apps.geindustrial.com/publibrary/checkout/GEA-13450A?TNR=Service%20and%20Maintenance¦GEA-13450A¦generic |  |  |  |  | 0.004 | 0.058286 |  |  |  | 1000000
| Steam turbine, 3,000 kW | US DOE | https://energy.gov/sites/prod/files/2016/09/f33/CHP-Steam%20Turbine.pdf | 682 |  | 9 | 69.3333 | [5 empty] | 1000000
|  | GE | http://apps.geindustrial.com/publibrary/checkout/GEA-13450A?TNR=Service%20and%20Maintenance¦GEA-13450A¦generic |  |  |  |  | 0.004 | 0.058286 |  |  |  | 1000000
| Steam turbine, 15,000 kW | US DOE | https://energy.gov/sites/prod/files/2016/09/f33/CHP-Steam%20Turbine.pdf | 666 |  | 6 | 46.6733
|  | GE | http://apps.geindustrial.com/publibrary/checkout/GEA-13450A?TNR=Service%20and%20Maintenance¦GEA-13450A¦generic |  |  |  |  | 0.004 | 0.058286
| Boiler, 1,000 HP | Michigan | https://www.michigan.gov/documents/Vol2-36UIP12MiscellaneousIndustrialCosts_121081_7.pdf | 462.4665 |  | 3.2414
| Boiler, 6,000 HP | Michigan | https://www.michigan.gov/documents/Vol2-36UIP12MiscellaneousIndustrialCosts_121081_7.pdf | 341.8231 |  | 3.2414
CO2 Source | E-CEM, Lockheed Martin | Willauer et al. | http://www.dtic.mil/cgi-bin/GetTRDoc?Location=U2&doc=GetTRDoc.pdf&AD=ADA539765 | 7500 | 375 |  | 0.047892
| E-CEM, Sea Solar Power | Willauer et al. | http://www.dtic.mil/cgi-bin/GetTRDoc?Location=U2&doc=GetTRDoc.pdf&AD=ADA539765 | 4500 | 225 |  | 0.047892
| E-CEM, CO2 only | Willauer et al. | http://www.dtic.mil/cgi-bin/GetTRDoc?Location=U2&doc=GetTRDoc.pdf&AD=ADA539765 | 277145.1484 | [6 empty] | 1820411.8227 | 589.8134
| PCC, MEA, 500 MW | Calera | https://www.arb.ca.gov/cc/etaac/meetings/102909pubmeet/mtgmaterials102909/basicsofcaleraprocess.pdf | 2137.97 | [6 empty] | 63630.0595
| PCC, Calera, 500 MW | Calera | https://www.arb.ca.gov/cc/etaac/meetings/102909pubmeet/mtgmaterials102909/basicsofcaleraprocess.pdf | 800 | [6 empty] | 23809.5238
| DAC |  | https://www.nap.edu/catalog/25259/negative-emissions-technologies-and-reliable-sequestration-a-research-agenda
FT Liquids | Plant Cost and Efficiency |  | https://doi.org/10.1016/j.ijhydene.2015.01.097
| Plant Cost and Efficiency |  | https://www.pnnl.gov/main/publications/external/technical_reports/pnnl-19009.pdf
| Plant Cost and Efficiency |  | https://www.nrel.gov/docs/fy16osti/66073.pdf
| Plant Cost and Efficiency |  | https://www.vtt.fi/inf/pdf/technology/2013/T91.pdf

## Dropdowns
Years | Learning Rates | Electricity Supply | Input Energy Feedstock | Products | CO2 sources | Heat sinks | Hydrogen Production Pathway | Heat Source | Yes/No
2020 | conservative | Solar Off Grid | Methane | Hydrogen | E-CEM | Steam turbine | AEC | No Heat | Yes
2025 | optimistic | Solar On Grid | Solar | Methane | PCC | Boiler | PEMEC | Aux Heat | No
2030 |  | FONG Optimistic Off Grid Wind | Wind | Diesel | DAC | None | SOEC | Waste Heat
2035 |  | Wind Off Grid |  |  | None |  | SOEC + Heat
2040 |  |  |  |  | Biofuel Synthesis Waste CO2 |  | SMR+CCS
2045 | [6 empty] | FFI
2050

## Conversion Constants
Chemistry Conversion Constants
kJ CH4 / kg CH4 (HHV) | 55000
kJ H2 / kg H2 (HHV) | 142000
kJ Diesel/kg Diesel (HHV) | 45600
kJ H2 / mol H2 (HHV) | 286
kJ CH4 / mol CH4 (HHV) | 890
kj Diesel/mol Diesel (HHV) | 731.424
kg H2/kmol H2 | 2.02
kg CO2 / kmol CO2 | 44.01
kg CH4 / kmol CH4 | 16.04
Assumed Mols C per mol Diesel | 12.9
Assumed Mols H per mol Diesel | 23.9
kg Diesel/ kmol Diesel | 179.0202
Mol H2 Reactant/Mol CH4 Product in Sabatier Rxn | 4
Mol H2 Reactant/Mol Diesel Product FT Rxn | 37.75
Cp, Water (kJ/kg-deg C) | 4.184
kJ heat rejected per mole Sabatier rxn | 165
kJ free heat rejected per mole FT rxn | 0
Other Conversion Constants
kJ/kW-d | 86400
kWh/GJ | 277.7778
Assume ST Boiler Feedstock Water T, deg C | 20
Assumed H2O Tboil, deg C | 100
GJ/MMBTU | 1.055