00043

1   BEFORE THE WASHINGTON UTILITIES AND TRANSPORTATION

2                        COMMISSION

3  WASHINGTON UTILITIES AND    )

TRANSPORTATION COMMISSION   )

4            Complainant,      ) Hearing No. UW-951483

vs.                  ) Volume III

5  ROSARIO UTILITIES, LLC,     ) pages 43 - 299

Respondent,       )

6  ----------------------------)

7            A hearing in the above matter was held on

8  August 15, 1996 at 10:57 a.m., at 1 School Road,

9  Eastsound, Washington, before Administrative Law Judge

10  C. ROBERT WALLIS.

11            The parties were present as follows:

12            WASHINGTON UTILITIES AND TRANSPORTATION

COMMISSION by JEFFREY D. GOLTZ, Assistant Attorney

13  General, 1400 South Evergreen Park Drive Southwest,

Olympia, Washington, 98504.

14

ROSARIO UTILITIES by DAN DONAHOE, 5141 North

15  40th Street, Suite 200, Phoenix, Airizona, 85018.

16            ORCAS HIGHLANDS ASSOCIATION, VUSARIO

MAINTENANCE ASSOCIATION, ROSARIO HOMEOWNERS ASSOCIATION

17  by ROBERT E. LUNDGAARD, Attorney at Law, 1400 Bristol

Court Southwest, Olympia, Washington, 98502.

18

CASCADE HARBOR INN by DAVID MORRISON, 4100

19  Moorpark Avenue, Suite 201, San Jose, California,

95117.

20

21

22

23

24

Margaret Bustos, CSR

25  Court Reporter

00044

1                          I N D E X

2  WITNESS:      DIRECT  CROSS   REDIRECT  RECROSS  EXAM

3  VIERTHALER     48     49/59      69      70/73    76

4  CAVALLI        80     82/104    138     130/144

5                                          146/146

6  DRAHN         149    152/185    209     211/215

7  KIDD          219    228/232

8  STUPKE        235

9  WATSON        237

10  HARRIS        239

11  NERLAND       244    248/249

12  LIEBMANN      250      253

13  VAUGHN        254      263

14  MARCIN        267    269/274

15                       275

16  ALDORT        276

17  SIMMONS       280

18  MORRISON      283    286/286

19  BLANEY-TULLY  288      290

20  DAWSON        291      293

21  EILAND        295      297

22

23

24

25

00045

1                  I N D E X (Continued)

2  EXHIBIT      MARKED    ADMITTED

3    1            47         49

4    2            47         49

5    3            63         64

6    4            81         81

7    5            81        130

8    6            82         83

9    7           148        150

10    8           148        151

11    9           148        151

12   10           148        151

13   11           148        151

14   12           217        218

15   13           234        ---

16

17

18

19

20

21

22

23

24

25

00046

1                     P R O C E E D I N G S

2

3             JUDGE WALLIS:  Let's be on the record,

4  please.  This hearing will please come to order.  This

5  is the hearing before the Washington Utilities and

6  Transportation Commission in the matter of Rosario

7  Utilities LLC, Docket No. UW-951483.

8             This hearing is being held on August 15,

9  1996 at Eastsound, Washington before Administrative

10  Law Judge C. Robert Wallis upon due and proper notice

11  to all interested parties.

12             I'm going to ask that we begin with

13  appearances of counsel, and at this time I'm going

14  to ask each representative for the record just to

15  state his name and business address and the name of

16  the entity that you're representing today beginning

17  with the respondent, Mr. Donahoe.

18             MR. DONAHOE:  My name is Dan Donahoe, and

19  my address is 5141 North 40th Street, Phoenix,

20  Arizona.  I'm here representing Rosario Utilities,

21  LLC.

22             JUDGE WALLIS:  The interveners?

23             MR. LUNDGAARD:  Robert Lundgaard, Attorney,

24  2400 Bristol Court Southwest, Olympia, Washington,

25  98502, representing the interveners Orcas Highlands

00047

1  Association, Rosario Maintenance Association, and the

2  Rosario Homeowners Association.

3             MR. GOLTZ:  And my name is Jeff Goltz, and

4  I'm an Assistant Attorney General representing the

5  Staff of the Utilities and Transportation Commission

6  in this matter.  My address is 1400 South Evergreen

7  Park Drive southwest, Olympia, 98504.

8             JUDGE WALLIS:  Thank you, very much.

9             Is there anything of a preliminary nature

10  that anyone wants to put on the record?

11             (No audible response.)

12             JUDGE WALLIS:  Let the record show that

13  there is no response.

14             Let's begin with the company's

15  presentation.  The company has indicated that it

16  wishes to call Christine Vierthaler as the first

17  witness.  I'll ask Ms. Vierthaler to step forward at

18  this time and be sworn.

19             As she is stepping forward, I would like to

20  mark a document designated CDV-1 as Exhibit 1 for

21  identification and CDV-2 as Exhibit 2 for

22  identification.

23             (Marked Hearing Exhibits 1 and 2.)

24

25

00048

1  Whereupon,

2                  CHRISTINE VIERTHALER,

3   having been first duly sworn, was called as a witness

4    herein and was examined and testified as follows:

5             JUDGE WALLIS:  Mr. Donahoe.

6

7                    DIRECT EXAMINATION

8  BY MR. DONAHOE:

9       Q.    Would you please state your name and

10  business address for the record.

11       A.    My name is Christine D. Vierthaler.

12  Business address is 1 Rosario Way, Eastsound,

13  Washington, 98245.

14       Q.    You have a copy of the exhibit containing

15  your pre-filed testimony which has been marked for

16  identification as Exhibits 1 and 2?

17       A.    Yes.

18       Q.    If I were to ask the questions stated in

19  this exhibit, would your answers be the same as the

20  answers set forth in the exhibit?

21       A.    Yes.

22       Q.    Now, was this exhibit, which we referred

23  to, prepared by you or under your supervision?

24       A.    Yes.

25       Q.    To the best of your knowledge, is this

00049

1  exhibit correct and accurate?

2       A.    Yes.

3             MR. DONAHOE:  And, your Honor, I move

4  for the admission of these exhibits.

5             JUDGE WALLIS:  Is there any objection?

6             (No audible response.)

7             JUDGE WALLIS:  Let the record show that

8  there is no objection, and the exhibits are received

9  in evidence.

10             (Admitted Hearing Exhibits 1 and 2.)

11             MR. DONAHOE:  The witness is available for

12  cross-examination.

13             JUDGE WALLIS:  Mr. Goltz.

14

15                    CROSS-EXAMINATION

16  BY MR. GOLTZ:

17       Q.    Good morning.

18       A.    Good morning.

19       Q.    You're employed as the administrative

20  manager for the Rosario Resort; is that correct?

21       A.    For Rosario Utilities.

22       Q.    Just for Rosario Utilities.  Are those your

23  only responsibilities?

24       A.    At this time, yes.

25       Q.    On page -- I was going to say on page 1,

00050

1  but that's actually marked as page 2.  But the only

2  page of your testimony says, I am employed at Rosario

3  Resort as an administrative manager.

4             MR. DONAHOE:  Your Honor, I think --

5             THE WITNESS:  I think that's a typo.

6             MR. DONAHOE:  I didn't know.  You said you

7  wanted typos corrected on the exhibits themselves, so

8  we didn't bother to bring that up.

9             MR. LUNDGAARD:  Your Honor, that to me seems

10  more substantive.

11             JUDGE WALLIS:  I know it's difficult to

12  draw a line between substance and mere typographical.

13  We'll just let the witness correct that through her

14  testimony now.

15             And maybe I'll ask if there are any other

16  similar corrections that might affect the substance

17  of your testimony?

18             THE WITNESS:  Not that I'm aware of.

19             JUDGE WALLIS:  Thank you.

20             Mr. Goltz.

21       Q.    So you are employed by the utility?

22       A.    Yes.

23       Q.    And your paycheck is written by the

24  utility?

25       A.    The utility?

00051

1       Q.    Who signs your paycheck?  Let me ask it

2  that way.

3       A.    My paycheck at this point is by the resort.

4  The utility has them do it.

5       Q.    And so --

6             JUDGE WALLIS:  I didn't catch that.  The

7  utility is what?

8             THE WITNESS:  The utility has the resort do

9  the utility's payroll.

10             MR. LUNDGAARD:  I'm sorry, I can't hear you

11  either.

12             THE WITNESS:  The utility has the resort do

13  the payroll.

14             JUDGE WALLIS:  Let's be off the record.

15             (Discussion off the record.)

16             JUDGE WALLIS:  Back on the record, please.

17       Q.    I believe you just testified that the

18  resort does the payroll for the utility at this point;

19  is that correct?

20       A.    Yes.

21       Q.    Okay.  And so who signs your paycheck?

22       A.    The resort manager.

23       Q.    And that is who?

24       A.    Christopher French.

25       Q.    And where is -- where are you physically

00052

1  located?  Where is your -- do you have an office?

2       A.    The office is at the resort.

3       Q.    The office is at the resort.  If I were to

4  call you, would you answer your own phone, or would it

5  go somewhere else?

6       A.    The utilities has its own phone.

7       Q.    Has its own phone?

8       A.    Uh-huh.

9       Q.    And a separate line?

10       A.    Yes.

11       Q.    And is it connected to the resort in any

12  way, resort phone system?

13       A.    No.

14       Q.    Do you have a separate office from the

15  resort?

16       A.    Yes.

17       Q.    All right.  Now, you've testified that

18  you've worked at the resort since June, 1978; is that

19  correct?

20       A.    Yes.

21       Q.    And when within that time period did you

22  start performing some functions on behalf of the

23  utility?

24       A.    1985.

25       Q.    And is that when the utility was -- who

00053

1  owned the utility then?

2       A.    Geiser Land Company.

3       Q.    Geiser Land Company.  And prior to 1985 who

4  owned the utility?

5       A.    Geiser Land Company.

6       Q.    So you had no utility functions prior to

7  1985?

8       A.    Correct.

9       Q.    Okay.  Now, during the -- in this rate

10  case, there's a term called the test year.  Are you

11  familiar with what that means?

12       A.    Uh-huh.

13       Q.    And do you have an understanding of what

14  the test year is?

15       A.    Yes.

16       Q.    And could you describe what that is very

17  briefly?

18       A.    It's the operation of the utility from, I

19  believe it was, December, 1984 through November, 1985.

20             MR. GOLTZ:  Would you accept it as October,

21  1994 through September, 1995?

22             MR. DONAHOE:  Let me think.  I think that's

23  my understanding, yes.

24             THE WITNESS:  Okay.

25       Q.    Do you accept that subject to later check?

00054

1       A.    Uh-huh.

2       Q.    Okay.  Now, and during that test year, were

3  you -- at all times during that were you employed by

4  the utility?

5       A.    Yes.

6       Q.    And at all times during that test year did

7  you perform any non-utility functions?

8       A.    Yes.

9       Q.    And what were those functions that you

10  performed?

11       A.    Administrative assistant to the general

12  manager.

13       Q.    General manager of the resort?

14       A.    Of the resort.

15       Q.    And so you split your time between your

16  utility duties and your resort duties?

17       A.    Yes.

18       Q.    Correct?

19       A.    (Nodding head.)

20       Q.    And what were your duties during that test

21  year on behalf of the resort?

22       A.    Correspondence, coordinating with

23  departments, working with data bases, whatever the

24  manager needed.

25       Q.    And your title was administrative assistant

00055

1  to the manager?

2       A.    Uh-huh.

3             JUDGE WALLIS:  Could you answer yes or no.

4             THE WITNESS:  Yes.  Yes.

5             JUDGE WALLIS:  Just so that we have in the

6  record a clear indication of what your response is.

7       Q.    Now, you prepared what has been introduced

8  as Exhibit No. 2, which is the exhibit of your written

9  testimony, and you have that in front of you?

10       A.    Uh-huh.

11       Q.    And that is your --

12             JUDGE WALLIS:  Could you answer yes?

13             THE WITNESS:  Yes.

14       Q.    And that is your estimate of the hours per

15  week that you did perform during the test year on

16  behalf of the utility; is that what that is?

17       A.    No.

18       Q.    Could you describe what that exhibit is?

19       A.    This is more current.

20       Q.    Is that what you estimate your hours are on

21  behalf of the utility at the current time?

22       A.    For the water section, yes.

23       Q.    Okay.  For the water section of the

24  utility?

25       A.    Yes.

00056

1       Q.    Okay.  And are there other sections to the

2  utility?

3       A.    Yes.

4       Q.    And what are those?

5       A.    There's the sewer section.  There's the

6  hydro section.  And we have an irrigation section.

7       Q.    What's the difference between the water

8  section and the hydro section?

9       A.    Hydro power.  Excuse me.

10       Q.    Hydro power?

11       A.    Uh-huh.

12       Q.    And approximately how many hours per --

13  have you done an analysis similar to that in your

14  exhibit relating to other sections of the utility?

15       A.    No.

16       Q.    But basically you have one full-time job;

17  you work full time for the utility?

18       A.    Yes.

19       Q.    Okay.  Now, during the test year, the water

20  utility functions were handled by some people in

21  addition to yourself?

22       A.    Yes.

23       Q.    Okay.  I should say the administrative

24  manager functions were handled by some people in

25  addition to yourself?

00057

1       A.    Yes.

2       Q.    And can you describe very briefly how many

3  -- or how many other people performed the functions

4  that you have listed in your Exhibit 2?  I mean, do

5  you understand my question?

6       A.    In addition to myself?

7       Q.    In addition to yourself.  I don't need

8  their names.  I just want to know how many.

9       A.    At least three.

10       Q.    At least three?

11       A.    Uh-huh.

12       Q.    Perhaps four?

13       A.    Uh-huh.

14             JUDGE WALLIS:  You have to say yes.

15             THE WITNESS:  Yes.

16       Q.    Now, all those functions are consolidated

17  into your position?

18       A.    Yes.

19       Q.    Am I correct that there is currently a

20  moratorium on new hook-ups within the service area of

21  the utility?

22       A.    Yes.

23       Q.    And that moratorium is imposed by whom or

24  what entity?

25       A.    San Juan County.

00058

1       Q.    San Juan County.  And so am I also correct

2  then that therefore there have been no hook-ups, new

3  connections, during the test year?

4       A.    No, that's not correct.

5       Q.    There had been some connections during the

6  test year?

7       A.    Yes.

8       Q.    But at the current time there are no new

9  connections being made?

10       A.    Correct.

11       Q.    So if I wanted -- if I were a lot owner

12  within the service area of the utility, and I wanted a

13  connection, if I called you, you would tell me sorry?

14       A.    Yes.

15       Q.    Okay.  And so does the description

16  contained on your Exhibit 2 include time for customer

17  connection inquiries?

18       A.    Yes.

19       Q.    How many of those would you say you receive

20  in a given week?  Month?  Year?

21       A.    Five or six calls a month.

22       Q.    Five or six calls a month?

23       A.    Uh-huh.

24             MR. GOLTZ:  I have no further questions.

25             JUDGE WALLIS:  Mr. Lundgaard?

00059

1             MR. LUNDGAARD:  Yes.

2

3                    CROSS-EXAMINATION

4  BY MR. LUNDGAARD:

5       Q.    Good morning.  How many -- you say you

6  receive calls regarding connections five or six a

7  month.  Aren't the home owners actually aware of this

8  moratorium?

9       A.    Yes.

10       Q.    So if that's pretty much common knowledge

11  that there is a moratorium, why would people be

12  calling five or six times a month regarding a

13  moratorium that they already know about?

14       A.    They're not homeowners.  They don't live

15  here.

16       Q.    So these are people just --

17       A.    They call -- or they call to find out when.

18       Q.    If they're not a homeowner, why would they

19  care whether there's a moratorium or not?

20       A.    I'm not sure how to say this.  A property

21  owner and a homeowner is different in my mind.

22       Q.    Okay.  So what you're talking about then

23  would be somebody that owns property within the

24  service area that has not built here yet?

25       A.    That's correct.

00060

1       Q.    Did I notice that the name of -- the name

2  is Rosario Utilities, plural, LLC?

3       A.    Yes.

4       Q.    And it was your testimony that Rosario

5  Utilities, LLC represents the three utilities; the

6  water company -- the water section, the sewer section,

7  and the hydro power; is that correct?

8       A.    Correct.

9       Q.    And you've also indicated that your Exhibit

10  2 is not a projection of your time during the test

11  year?

12       A.    Correct.

13       Q.    So what it represents is your estimate of

14  what your time will be and what the amount of work

15  will be for these categories in 1996?

16       A.    This is current.

17       Q.    Okay.  When did that change take place?

18       A.    Mid June.

19       Q.    Mid June of '96?

20       A.    Yes, for my position.

21       Q.    Do you recall in responding to a request

22  for the hours during the test year of the various

23  people who worked for Rosario Utilities that you were

24  listed as having worked for the Rosario Utilities a

25  yearly number of hours of 374?  Does that ring a bell

00061

1  with you?

2       A.    I don't recall exactly.  It's written down.

3       Q.    Okay.  Subject to check, would you agree

4  with that figure?

5       A.    Subject to verification, yes.

6       Q.    And, do you recall, were you the one that

7  -- as the administrative assistant, that assembled

8  those hours?

9       A.    I typed that page, yes.

10       Q.    And were there time records kept for each

11  employee during the test year that would verify their

12  hours?

13       A.    Not on a daily basis, no.

14       Q.    Were you previously secretary to Dirk

15  Oldenburg?

16       A.    I was his administrative assistant.

17       Q.    Have you seen the water system plan?  Are

18  you familiar with it?

19       A.    A little, yes.

20       Q.    Okay.  Are you familiar with the minutes of

21  a meeting held January 6th of 1995, which is appendix

22  G to the water system plan, where you were referred to

23  as the secretary to Dirk Oldenburg?

24       A.    I don't recall that exact meeting.  Prior

25  to being Mr. Oldenburg's administrative assistant, I

00062

1  was the executive secretary to him, yes.

2       Q.    And was he manager of the resort?

3       A.    Yes.

4       Q.    And when did he leave?

5       A.    March, '96.

6       Q.    When did he start?

7       A.    August, '94.

8       Q.    You indicate that you have two and a half

9  years of college.  What was the name of the college?

10       A.    University of Washington.

11       Q.    Okay.  What was your major?

12       A.    Arts and Sciences.

13       Q.    Do you recall preparing a document and

14  sending to Ann Rendahl a fax message regarding

15  invoices that you had found?

16       A.    I did.

17       Q.    Okay.  Do you recall if that was in

18  response to my data request wherein we asked for the

19  historical documentation used to accumulate each

20  figure shown in the asset column in Exhibit DET-3,

21  which was Mrs. Thorson's exhibit, including all

22  receipts and invoices showing dates of service and who

23  sold the product, et cetera?

24       A.    I'm not familiar with what you're referring

25  to.

00063

1       Q.    Okay.

2       A.    We supplied information to the Utilities

3  Commission on their request.

4       Q.    And who asked you to assemble that

5  material?

6       A.    I don't remember.

7             MR. LUNDGAARD:  I would like to have this

8  marked for identification.

9             JUDGE WALLIS:  Marking as Exhibit 3 for

10  identification a multipage document consisting of a

11  fax message addressed to Ann Rendahl dated August 5,

12  1996.

13             (Marked Hearing Exhibit 3.)

14       Q.    Showing you a copy of what's been marked

15  for identification as Exhibit 3.

16       A.    Yes.

17       Q.    Would you take a look at that and see if

18  that includes invoices that you assembled?

19       A.    Yes.

20       Q.    And were those all of the invoices that

21  you could find in the records of the utilities?

22       A.    Yes.

23       Q.    Do you recall where you got the invoices?

24       A.    In the company files.

25       Q.    And you've worked for the resort since '78?

00064

1       A.    Yes.

2       Q.    And I take it you've maintained these type

3  of records while you've been either the secretary or

4  administrative assistant?

5       A.    Some of them, yes.

6             MR. LUNDGAARD:  I would offer Exhibit 3.

7             JUDGE WALLIS:  Is there any objection?

8             (No audible response.)

9             JUDGE WALLIS:  Let the record show that

10  there is no objection, and Exhibit 3 is received.

11             (Admitted Hearing Exhibit 3.)

12       Q.    You've indicated that -- subject to check

13  that you've spent approximately 374 hours during the

14  test year for the water company?

15       A.    Uh-huh.

16       Q.    Do you have an estimate of what other

17  entities you were spending your time on during the

18  test year?

19       A.    You mean did I keep track of them?

20       Q.    Yes.

21       A.    No.  No, I did not track them.

22       Q.    Would it be fair to say that the majority

23  of your time would have been spent for the resort?

24       A.    Over half, yes.

25       Q.    And some of your time would have been

00065

1  devoted to the sewer utility?

2       A.    Yes.

3       Q.    Would that be approximately the same amount

4  of time that you spent on the water company?

5       A.    Not as much time.

6       Q.    You would have billings to send out to the

7  customers on the sewer facility?

8       A.    Yes, there are some sewer bills.

9       Q.    And does that sewer facility provide

10  services to the homeowners?

11       A.    Yes.

12       Q.    And does it provide sewer facilities to the

13  resort?

14       A.    Yes.

15       Q.    Are you aware of whether or not there is

16  water that the water system provides to the sewer

17  system?

18       A.    No, I don't know what you mean.

19       Q.    Are you aware that there are non-metered

20  services owned by the resort, such as the employees

21  living quarters?

22       A.    Yes.

23       Q.    And fire station?

24       A.    I don't know that.

25       Q.    Okay.  And, as I mentioned, the sewer --

00066

1  are you aware that there's a line to the sewer

2  facility, a water line to the sewer facility,

3  non-metered?

4       A.    I was not aware of that.

5       Q.    How long have you been in your current

6  office location?

7       A.    June of '96.

8       Q.    And does that office also contain general

9  information regarding the resort?

10       A.    No.

11       Q.    But it contains information regarding the,

12  let's say, three utilities?

13       A.    Yes.

14             MR. LUNDGAARD:  I have no further questions.

15  I do have a motion to make regarding Exhibit 2.

16             JUDGE WALLIS:  Mr. Lundgaard.

17             MR. LUNDGAARD:  I would move to strike

18  Exhibit 2.  She's clearly indicated that this is a

19  forward-looking exhibit from June -- prepared June of

20  this year.  It is not representative of her time during

21  the test year and really clouds the issue.

22             She's already testified that subject to

23  check she had assembled her time during the test year,

24  and it amounted to 374 hours as near as she could

25  tell.

00067

1             JUDGE WALLIS:  Mr. Donahoe, do you have a

2  response to Mr. Lundgaard's motion?

3             MR. DONAHOE:  Yes.  I would oppose his

4  motion based upon the fact that the witness has

5  testified, she says, to the best of her knowledge.

6  And I might like to redirect so we might clear up

7  that point.

8             JUDGE WALLIS:  I don't hear Mr. Lundgaard's

9  objection being addressed to whether or not it's the

10  best of her knowledge but the fact that it is not

11  representative of the test year.  Do you have a

12  response to that element of the objection -- or the

13  motion?

14             MR. DONAHOE:  Again I apologize because

15  I'm not a lawyer.  But as I heard her testimony, she

16  said that it was to the best of her knowledge subject

17  to verification.  It was not done in the test year.  I

18  would like to redirect and clarify that point.

19             JUDGE WALLIS:  Mr. Goltz, do you have a

20  comment on the motion?

21             MR. GOLTZ:  I apologize.  I am a lawyer.  I

22  never heard anyone apologize because they weren't a

23  lawyer before.  That's a first.

24             My comment would be that I believe that it

25  should be -- it should remain in the record.  I think

00068

1  that in effect it is an attempt at -- albeit as you

2  will see from the testimony of our witness Ms. Ingram

3  that it is not quite accurate, it is an attempt in pro

4  forma adjustments to what the actual hours were not

5  just of the witness but of the other three or four

6  people that shared those responsibilities during the

7  test year.

8             And this was an effort made to make an

9  adjustment based on the consolidation of those

10  functions into one of those four or five people --

11  into one person looking forward.

12             I don't think that the Commission is

13  inextricably bound, especially in the context of

14  cases involving small water companies, to look solely

15  at information based on the test year, least in order

16  to do pro forma adjustments forward.

17             JUDGE WALLIS:  Mr. Lundgaard, do you have

18  any response?

19             MR. LUNDGAARD:  Well, I still believe my

20  motion is well taken.  I believe the cases before the

21  Commission -- or the orders that have been issued by

22  the Commission indicate that we should not be confusing

23  non-test year hours if we're talking about expenses

24  within the test year, because you're comparing apples

25  and oranges, and they should be like exhibits.

00069

1             They ought to be test year hours and work

2  and test year expenses.  And this does not qualify for

3  that.  If this exhibit is admitted, I would have

4  some further questions regarding who the other people

5  are that were consolidated into this.

6             But I think she's clearly indicated that

7  this wasn't prepared until June of this year, and that

8  these functions were determined at that time.  And

9  here we are in the middle of August.  We have no way

10  of testing the accuracy of these projections.

11             JUDGE WALLIS:  I'm going to reserve ruling

12  on the motion until the redirect is concluded.  And I

13  will note that the exhibit already has been admitted

14  and its not -- and your motion is to strike rather

15  than an objection to the exhibit proposed for

16  admission.

17             Mr. Donahoe, you have redirect?

18             MR. DONAHOE:  One item, please, your Honor.

19

20                   REDIRECT EXAMINATION

21  BY MR. DONAHOE:

22       Q.    And that is:  Mrs. Vierthaler, was there,

23  to the best of your knowledge, a company or a

24  partnership or any formal vehicle in place when the

25  Geisers owned the property, the entire resort, that

00070

1  would separate the utility business from the resort

2  itself?

3       A.    No.

4       Q.    To the best of your knowledge, was the

5  utility -- were the utility's records or books kept

6  in the same general office area of the resort?

7       A.    They were kept with resort records, yes.

8       Q.    And, to the best of your knowledge, are you

9  aware of a new company being formed after the new

10  ownership purchased the resort which attempted to

11  separate the actual utility business from the resort?

12       A.    Yes.

13             MR. DONAHOE:  Thank you.  That's all I have

14  now.

15             JUDGE WALLIS:  Is there additional

16  cross-examination?

17             MR. GOLTZ:  I just have one that I noticed

18  from looking at your exhibit.

19

20                    RECROSS-EXAMINATION

21  BY MR. GOLTZ:

22       Q.    You indicated that payroll is currently

23  being done by the resort on behalf of the utility?

24       A.    We're in transition.

25       Q.    But as of right now, you have no payroll

00071

1  responsibilities; is that correct?

2       A.    Not today.

3       Q.    Okay.  But at some point in the future you

4  think you may?

5       A.    Yes.

6       Q.    So looking at your Exhibit 2, about the

7  fourth -- fifth line from the bottom, payroll, slash,

8  personnel files, 1.5 hours per month -- do you have

9  that exhibit in front of you?

10       A.    Yes.

11       Q.    In effect your testimony would be now that

12  you aren't performing those functions?

13       A.    It's an estimate.

14       Q.    Of what you will be doing at some point in

15  the future?

16       A.    Yes.

17       Q.    But this month -- let's change that.  Last

18  month you didn't perform those functions?

19       A.    Correct.

20       Q.    Okay.  And now when you take over the

21  payroll responsibilities, you will be doing those

22  responsibilities for the entire utility, correct?

23       A.    Yes.

24       Q.    And we know that for the water section of

25  the utility at least, correct me if I'm wrong, that

00072

1  the two employees would be you and Mr. Cavalli; is

2  that true?

3       A.    Yes.

4       Q.    And no other ones?

5       A.    Correct.

6       Q.    And does Mr. Cavalli also work for the

7  other sections of the utility?

8       A.    Yes.

9       Q.    And are there any other people that work

10  for other sections of the utilities, or are the two of

11  you the whole show?

12       A.    Two at this time.

13       Q.    Okay.  So between you and Mr. Cavalli, you

14  are responsible -- And Mr. Lundgaard was talking about

15  three sections, but you said there's four sections,

16  correct?

17       A.    Yes.

18       Q.    There's the sewer, the water, the hydro,

19  and the irrigation?

20       A.    Yes.

21       Q.    Okay.  So your payroll/personnel duties

22  would be for two people?

23       A.    Yes.

24             MR. GOLTZ:  I have no -- thank you.  I have

25  no further questions.

00073

1             JUDGE WALLIS:  Mr. Lundgaard?

2

3                   RECROSS-EXAMINATION

4  BY MR. LUNDGAARD:

5       Q.    And the fourth one that I had not mentioned

6  being irrigation, that irrigation you're referring to

7  is irrigation of the resort facilities, the grounds?

8       A.    Yes, the resort is a customer.

9       Q.    And I believe -- going through your

10  categories of work that you may do in the future, did

11  I understand you to say that there -- your payroll --

12  you're now being paid by the resort, and that there

13  are no bank accounts in the name of the utility?

14       A.    That's not correct.  We have our own bank

15  account.

16       Q.    And you say we.  Who are you referring to?

17       A.    We, the utility company.

18       Q.    But your pay -- you're currently being paid

19  not from that account, but you're being paid from

20  the resort account?

21       A.    Yes.

22       Q.    Okay.  And when you're referring to bank

23  account reconciliation the one hour a month and bank

24  deposits, are you referring to work that includes work

25  for the resort?

00074

1       A.    No.

2       Q.    When you refer to escrow and building

3  permits, that appears to be work that you would be

4  performing for the resort; would it not?

5       A.    No, for the utility company.

6       Q.    Does the utility -- what permits would the

7  -- does the utility company -- what building permits

8  does the utility company require?

9       A.    We have forms to sign off for the county

10  in order for a property owner to get a building

11  permit.

12       Q.    So there's a moratorium on, so you're not

13  signing on any at this time; are you?

14       A.    If there's a remodel, yes, they're also

15  required.

16       Q.    What other functions that are listed in

17  your Exhibit 2 are you not performing at this time?

18       A.    That's it.

19       Q.    Pardon?

20       A.    The payroll is the only one.

21       Q.    You mentioned there that you've consolidated

22  at least the work of three others in this planned

23  reorganization that is shown by Exhibit 2?

24       A.    Uh-huh.  Yes.

25       Q.    And you had mentioned earlier Chris French

00075

1  as being -- is he currently the manager of the resort?

2  Or is it a woman or man?

3       A.    Christopher French is the current resort

4  manager.

5       Q.    And you recall during the test year that

6  Christopher French was referred to as a utilities

7  agent?

8       A.    Dirk Oldenburg was the utilities agent

9  during the test year.

10       Q.    So those people whose functions were

11  consolidated into your Exhibit 2, did they include the

12  work of the bookkeeper, Minnie Tuck?

13       A.    Yes.  I'm doing the books.

14       Q.    And does it include the work of --

15  previously done by Christopher French as utilities

16  agent?

17       A.    I'm not the agent for the utility, no.

18       Q.    What work would -- did -- you're familiar

19  with that position during the test year?

20       A.    I can't tell you what all the agent

21  position would encompass.

22       Q.    Okay.  And you now under this new plan

23  would be performing the work of the comptroller?

24       A.    Yes.

25       Q.    That was previously Dave Douglass?

00076

1       A.    Yes.

2       Q.    So we have you under Exhibit 2 doing the

3  work of Dave Douglass and the bookkeeper and your own

4  work as administrative assistant?

5       A.    Yes.

6       Q.    Any others?

7       A.    And some of the duties performed by the

8  general manager of the resort.

9       Q.    Okay.  Was John Cavalli the general manager

10  during the test year?

11       A.    John Cavalli was the manager of the

12  utilities plant and operations.

13       Q.    And when you use the term utilities, we're

14  talking about these four categories?

15       A.    Yes.

16             MR. LUNDGAARD:  I have no further recross.

17  I would renew my motion to strike.

18             JUDGE WALLIS:  Mrs. Vierthaler, I want to

19  ask you just one or two questions here.

20

21                       EXAMINATION

22  BY JUDGE WALLIS:

23       Q.    Does Exhibit 2 represent -- based on your

24  knowledge of utility operations, both during the test

25  year and at present and looking into the near-term

00077

1  future when rates might be expected to be in effect as

2  a result of this proceeding, does Exhibit No. 2

3  reflect accurately to the best of your knowledge and

4  belief the number of hours that were spent on water

5  company -- water utility operations regulated -- as

6  regulated by the Commission during the test year?

7       A.    To my knowledge, yes.

8       Q.    And I understand you correctly then, do I,

9  that there is no change in the number of hours; it's

10  just that they're consolidated into your position?

11       A.    I can't recall the total hours previous,

12  but, yes, they've been consolidated.

13             JUDGE WALLIS:  On the basis that, first of

14  all, the exhibit appears to be an estimate of time

15  spent during the test year, and also on the basis

16  that, as Mr. Goltz indicated, it could be considered a

17  pro forma to look to the expected future operations,

18  I'm going to deny the motion, and Exhibit 2 stands.

19             Is there anything further from this

20  witness?

21             (No audible response.)

22             JUDGE WALLIS:  Let the record show that

23  there is no response.

24             Ms. Vierthaler, you may be excused from

25  the stand.  Thank you for appearing today.

00078

1             JUDGE WALLIS:  Let's be off the record

2  while the next witness steps forward.

3             (Discussion off the record.)

4             JUDGE WALLIS:  Let's be back on the record,

5  please.

6             During the break between the witnesses,

7  we've engaged in some administrative discussions, and

8  I would like to state those for the record.

9             First of all, we've asked that corrected

10  exhibits -- exhibits including typographical

11  corrections made by the witness be marked, shown to

12  other counsel, and then given to me no later than the

13  end of the day so that we have a corrected copy for

14  the official record.

15             We've asked that subject-to-check questions

16  be checked by the witness, and that the witness at

17  the conclusion of the day indicate -- or the party at

18  the conclusion of the day indicate if there are any

19  problems, or if there are any responses that could not

20  be checked, and we'll establish a deadline for making

21  those checks.

22             We've also established that one of the

23  parties granted intervention, the Morrisons,

24  wasn't present this morning.  And I would like to ask

25  for an appearance at this time.

00079

1             Mr. Morrison, would you state your name and

2  business address for us, please.

3             MR. MORRISON:  David Morrison, 4100,

4  Moorpard Avenue, Suite 201, San Jose, California.

5             JUDGE WALLIS:  And you've indicated, is

6  it correct, that you have no witnesses to present, and

7  you don't intend to engage in cross-examination?

8             MR. MORRISON:  That's correct, your Honor.

9             JUDGE WALLIS:  Thank you for making your

10  appearance today.  And I'm going to ask that you -- if

11  you have a business card, please give that to the

12  court reporter, so she's sure her information is

13  correct for the record, and if you could check with

14  her on the break to make sure she has correct

15  spellings.

16             MR. MORRISON:  All right.

17             JUDGE WALLIS:  Thank you, very much.

18             The respondent is presenting witness John

19  Cavalli at this time.

20  Whereupon,

21                      JOHN CAVALLI,

22   having been first duly sworn, was called as a witness

23    herein and was examined and testified as follows:

24

25                    DIRECT EXAMINATION

00080

1  BY MR. DONAHOE:

2       Q.    Would you please state your name and

3  business address for the record.

4       A.    Name is John C. Cavalli.  Business address

5  is Box 1, Rosario Road, Eastsound, Washington.

6       Q.    Do you have a copy of the exhibit

7  containing your pre-filed testimony which has been

8  marked for identification as JC 1 and 2?

9       A.    Yes, I do.

10       Q.    If I were to ask you the questions stated

11  in this exhibit, would your answers be the same as the

12  answers set forth in this exhibit?

13       A.    Yes, they would.

14       Q.    Is the exhibit referred to prepared by you

15  or under your supervision?

16       A.    Yes, it was.

17       Q.    To the best of your knowledge, is this

18  exhibit correct and accurate?

19       A.    Yes.

20             MR. DONAHOE:  I move, your Honor, for the

21  admission of these exhibits.

22             JUDGE WALLIS:  I'm marking exhibit

23  designated JCC-1 as Exhibit 4 for identification and

24  the document designated JCC-2 as Exhibit 5 for

25  identification.

00081

1             (Marked Hearing Exhibits 4 and 5.)

2             JUDGE WALLIS:  Let me ask if there are any

3  objections to those documents?

4             MR. LUNDGAARD:  Your Honor, I may have an

5  objection to Exhibit JCC-2 on the same grounds that I

6  previously objected to the exhibit of Ms. Vierthaler,

7  but that will be -- that will be dependent on what

8  information I get on cross.  I would rather do it on

9  cross than on voir dire at this time.

10             JUDGE WALLIS:  You have no objection to

11  Exhibit 4 for identification?

12             MR. LUNDGAARD:  No.

13             JUDGE WALLIS:  Mr. Goltz?

14             MR. GOLTZ:  No objection.

15             JUDGE WALLIS:  Exhibit 4 is received, and

16  we'll reserve ruling on Exhibit 5.

17             (Admitted Hearing Exhibit 4.)

18             JUDGE WALLIS:  Is there any further direct?

19             MR. DONAHOE:  No.  The witness is available

20  for cross-examination.

21             JUDGE WALLIS:  Mr. Goltz, cross?

22             MR. GOLTZ:  Yes.  I have an exhibit that I

23  would like marked.  And I believe this witness can put

24  it in mainly for the purpose of perhaps use in his

25  testimony and by a number of witnesses through the

00082

1  hearing, and that's a map of the service area.  We

2  have a copy that's up on the board, and I have other

3  copies of this.

4             JUDGE WALLIS:  I'm marking as Exhibit 6 for

5  identification a document that purports to be a map of

6  the service area of Rosario water system.  And I'll

7  note that it is folded to approximately 8 1/2 by 11

8  size.

9             (Marked Deposition Exhibit 6.)

10             MR. GOLTZ:  Your Honor, this was exhibit?

11             JUDGE WALLIS:  Six.

12

13                    CROSS-EXAMINATION

14  BY MR. GOLTZ:

15       Q.    Mr. Cavalli, I'm showing you what has been

16  marked as Exhibit 6.  Can you identify that?  Does

17  that appear to be the service area for the water

18  utility?

19       A.    Yes.

20       Q.    And it contains -- the exhibit as introduced

21  is two sheets, and together they are the service area?

22       A.    Yes.

23       Q.    Okay.  And looking at the board up there,

24  that is, is it not, these two sheets basically

25  combined so they're on one piece of paper?

00083

1       A.    That's correct, to the best of my

2  knowledge.

3             MR. GOLTZ:  I would like to offer Exhibit

4  6.

5             JUDGE WALLIS:  Is there objection?

6             (No audible response.)

7             JUDGE WALLIS:  Let the record show that

8  there is no objection, and Exhibit 6 is received.

9             (Admitted Hearing Exhibit 6.)

10       Q.    It's pronounced Cavalli?

11       A.    That's correct.  Misspelled but pronounced

12  Cavalli.

13       Q.    Mr. Cavalli, how long have you been

14  associated with the water utility at the resort?

15       A.    Since late 1981, early 1982.

16       Q.    And you state in your testimony on page 2,

17  line 13, that you've worked at the resort since

18  August, 1981?

19       A.    That's correct.

20       Q.    And have you always been associated with

21  the water utility?

22       A.    Not when I first started but shortly

23  thereafter.

24       Q.    Within several months?

25       A.    Yes.

00084

1       Q.    And have you also been associated with the

2  sewer utility?

3       A.    Yes.

4       Q.    Okay.  And with the hydro utility?

5       A.    Yes.

6       Q.    And the irrigation utility?

7       A.    Yes, sir.

8       Q.    And since late -- in addition, since you

9  came to the resort, have you performed other functions

10  besides utility functions?

11       A.    Yes, I have.

12       Q.    And what would those be?

13       A.    Director of maintenance.

14       Q.    And you list your current title as

15  facilities manager for the Rosario resort?

16       A.    Yes.

17       Q.    And the resort currently employs you?

18       A.    Yes, they do.

19       Q.    And the resort currently writes your

20  paycheck?

21       A.    Excuse me.  The utilities employs me.

22  I'm sorry.

23       Q.    And do you have any resort functions at

24  this time -- pardon me, non-utility functions at this

25  time?

00085

1       A.    No.

2       Q.    And when was the last time that you

3  performed a resort-related function -- I should say a

4  non-utility resort-related function?

5       A.    Six weeks to two months ago I would guess.

6  I'm guessing.  I don't --

7       Q.    So just this summer you've been transitioning

8  to the utility functions full time?

9       A.    That's correct.

10       Q.    Okay.  And is the -- as facilities manager

11  for the utility, do you also perform maintenance --

12  you perform maintenance functions for the utility

13  property?

14       A.    For the utility, yes, I do.

15       Q.    Okay.  And included in that, is there a --

16  within those functions, is that maintenance for pipes

17  and other water or sewer plant functions within the

18  resort proper?

19       A.    Yes.

20       Q.    And is that considered part of the utility?

21       A.    Yes, it is.

22       Q.    Okay.  So the pipe from -- let me go back.

23  Is the water that goes to the resort metered at some

24  point?

25       A.    Yes, it is.

00086

1       Q.    Okay.  And it's true, isn't it, that there

2  are several meters that measure water used by the

3  resort?

4       A.    That's correct.

5       Q.    Okay.  And on the resort side of the

6  meters, that is also utility property?

7       A.    Yes.

8       Q.    And where does the utility property end?

9  And you can be generic if you can't be specific.

10       A.    It would end at the entrance to the

11  building.

12       Q.    Okay.  So the pipe from the meter to the --

13  what's called the mansion would be utility property?

14       A.    The mansion would -- I would -- there --

15  from the meter to the mansion?

16       Q.    Yes.

17       A.    No.

18       Q.    Okay.  Is that because the meter is close

19  to the mansion?

20       A.    Yes.

21       Q.    Pipes from the meter to the various outlying

22  guest rooms would be utility property?

23       A.    Yes.

24       Q.    And so you currently maintain that as well?

25       A.    Right.

00087

1       Q.    I'm going to show you what's been -- what

2  hasn't been marked as an exhibit, but it's an attachment

3  to the pre-filed testimony of Mr. Eschenbrenner.  And

4  it is the next to the last page.  It's attachment 1 to

5  -- what is this?

6             JUDGE WALLIS:  Off the record for just a

7  minute, please.

8             (Discussion off the record.)

9             JUDGE WALLIS:  We're back on the record.

10             MR. GOLTZ:  It's the next to the last page

11  of what's been pre-filed as Exhibit 4, GPE-4.

12       Q.    And are you familiar with that?  Have you

13  seen that before?

14       A.    Not this one I don't believe.

15       Q.    Okay.  But --

16       A.    No, I haven't seen this one.

17       Q.    Would you accept, subject to check, that

18  that is a schematic of the various components of the

19  water utility with meters being indicated?

20       A.    Well, it's kind of.

21       Q.    It's kind of.  Okay.  Let me then ask you

22  some specific questions related to that.

23             JUDGE WALLIS:  Would there be any concerns

24  among counsel if we marked that document as an

25  exhibit?

00088

1             MR. GOLTZ:  My only thought is that it's

2  going to become an exhibit later.  I just -- it's

3  going to become an exhibit later assume, and then

4  it will become an exhibit twice is the only concern.

5             JUDGE WALLIS:  Let's proceed then.

6             MR. GOLTZ:  I have no problem just

7  referring to it as GPE-4.

8             JUDGE WALLIS:  Very well.

9             MR. GOLTZ:  And if it gets excluded later

10  on, then so be it.

11       Q.    On the bottom row of boxes on that exhibit,

12  I see a number of boxes that indicate various resort

13  components?

14       A.    Yes.

15       Q.    And am I correct that there are meters to

16  every part of the resort?

17       A.    Yes.

18       Q.    Excepted from that would be employee

19  housing?

20       A.    That's correct.

21       Q.    Is there any reason why the consumption by

22  the resort cannot be accurately measured?

23       A.    Part of the flow to the resort -- let's

24  see.  Let me think.  I'm going to have to think about

25  this just a minute.

00089

1       Q.    That's fine.

2       A.    There are houses on part of the meter tree

3  that are on the resort meter as well -- or on the

4  meters that go to the resort.

5       Q.    And --

6       A.    So those would have to be -- those are not

7  metered.  The houses aren't metered.  So they would

8  not -- the meter that meters the resort also meters

9  some of these -- the water also goes to some houses

10  that are coming off the same meter is what I'm trying

11  to say.

12       Q.    I understand.  And those would correspond to

13  which of the boxes on this chart, if you can tell?

14       A.    It would be the meter that's on Cascade Way

15  that goes to the resort-condo satellite hall, that

16  meter.

17       Q.    It's indicated in the chart as No. 8?

18       A.    No. 7.

19       Q.    No. 7.  Okay.

20       A.    That's one place.

21       Q.    And there are non-resort residences that

22  are behind that meter?

23       A.    Yes.

24       Q.    And how many houses are there?

25       A.    Two that I can think of right offhand.

00090

1       Q.    And are those just normal residences?

2       A.    Just residences, yes.

3       Q.    Are there any other houses that are on --

4  that are behind the resort meters?

5       A.    Yes.  There is one house that I can think

6  of that's behind a resort meter, one more.

7       Q.    And which one is that?

8       A.    That would be on villa three.

9       Q.    So that's behind what's on this chart as

10  No. 3?

11       A.    Yes.  It would be a house.

12       Q.    That would be behind the meter which is

13  labeled No. 3?

14       A.    Yes.

15       Q.    Okay.  Are there any others?

16       A.    At this point I can't think of any more.

17       Q.    Okay.  Other than that, is there any reason

18  why the -- let me go back.  There's no meter to the

19  employee housing; is that correct?

20       A.    That's correct.

21       Q.    Other than the employee housing, is there

22  -- and those three houses, is there any reason why the

23  water usage to the resort cannot be accurately

24  measured by the meters in place?

25       A.    No.

00091

1       Q.    And do you read those meters?

2       A.    Yes, I do.

3       Q.    How frequently do you read them?

4       A.    Once a month.

5       Q.    And you've been doing that for how long?

6       A.    Four years.  Three years, four years, five

7  years.  I don't --

8       Q.    Now, since you've been with the resort

9  since 19 --

10       A.    -- 81.

11       Q.    -- 81, has the resort expanded?

12       A.    Yes.

13       Q.    Has it changed physically between the

14  beginning of the test year and today, meaning has it

15  expanded?

16       A.    No.

17       Q.    No new additions to --

18       A.    No.

19       Q.    -- the plant?

20       A.    No.

21             JUDGE WALLIS:  I am going to ask the

22  witness to wait until the question is concluded before

23  you start your answer.

24             The court reporter, even though she has

25  two hands, needs both of them to take each person,

00092

1  and it is hard for her when we step on the remarks of

2  the prior speaker.

3             So if both counsel and the witness would

4  please be conscious of that, try to be kind to our

5  court reporter just in case we have a long day

6  today, and I'm sure she'll appreciate that this

7  evening.

8       Q.    Now, let me ask you now also about your

9  experience with the water utility over the years since

10  you came to start doing utility functions in late

11  1981.  Has the system expanded since 19 -- since late

12  '81?  Have there been new hook-ups since 1981?

13       A.    Oh, yes.

14       Q.    But there currently is a moratorium?

15       A.    Correct.

16       Q.    Okay.  And have there -- when did -- when

17  was the last new hook-up; do you recall?

18       A.    The last hook-ups that had already been

19  approved were made three months ago.

20       Q.    And have there been any other times when

21  there have been moratoriums on the system other than

22  the present time?

23       A.    No.

24       Q.    Were there hook-ups on the system between

25  19 -- late 1981 and 1985; do you recall?

00093

1       A.    Were there hook-ups on the system?

2       Q.    Yes.  Did you --

3       A.    I don't recall.

4       Q.    Can you describe to me the facilities or

5  the property of the utility.  What in general terms

6  does it consist of?

7       A.    The facility -- the property of?

8       Q.    Of the water utility.

9       A.    The water utility?

10       Q.    Yes.

11       A.    What does it consist of?

12       Q.    Yes.

13       A.    It consists of a raw water pump that pumps

14  water to the treatment facility with some storage

15  tanks.

16       Q.    And the source of the water is Cascade

17  Lake?

18       A.    That's correct.

19       Q.    And the pump is then at Cascade Lake?

20       A.    Yes.

21       Q.    Okay.  And --

22       A.    And then --

23       Q.    Go ahead.

24       A.    Then it pumps to a treatment facility,

25  flows from there into some storage tanks, and then it

00094

1  runs throughout the distribution system into the area

2  that we cover.

3       Q.    And so the plant of the utility consists of

4  the pumps, which are located at Cascade Lake?

5       A.    Yes.

6       Q.    And are they located on property owned by

7  the utility company?

8       A.    No.

9       Q.    They're owned by the state park?

10       A.    The property is, yes.

11       Q.    The property, the real property?

12       A.    Yes.

13       Q.    Okay.  And you have an easement from the

14  state park?

15       A.    Yes.

16       Q.    And that is an easement in the name of the

17  utility or the resort?

18       A.    I don't know that.

19       Q.    Okay.  And then you -- there are pipes that

20  are owned by the utility that flow from the park to

21  the treatment plant?

22       A.    We pump from the park to the treatment

23  plant, yes.

24       Q.    And the treatment plant is on land which is

25  owned by whom?

00095

1             MEMBER OF THE AUDIENCE:  Nook and Cranny.

2             THE WITNESS:  There you go.  Nook and

3  Cranny.

4             JUDGE WALLIS:  I am going to ask folks to

5  -- I know it's sometimes tempting to be helpful to the

6  witness, but the witness is sworn to tell the truth as

7  he knows it, and if he doesn't know it, even though

8  it may seem like an insignificant element, that may be

9  important.  So we have to confine the witness'

10  testimony to his own knowledge and recollection as

11  best we can.  And so, therefore, I'm going to ask

12  folks to not provide help for the witness.

13             THE WITNESS:  It's Ben Marcin's property.

14       Q.    Ben Marcin?

15       A.    Marcin, M A R C I N, I believe.

16       Q.    And does the utility have an easement from

17  Mr. Marcin?

18       A.    Yes.

19       Q.    And that is the name of the -- I mean, a

20  real property easement from Mr. Marcin?

21       A.    I don't know.

22       Q.    And is it --

23       A.    That's -- I don't know.

24       Q.    Okay.  And then from the treatment facility

25  the water flows to various components of the water

00096

1  system's service area?

2       A.    Yes.

3       Q.    And these are in buried pipes generally?

4       A.    Yes.

5       Q.    And in addition to the pipes and the

6  facilities that you have mentioned, now, there's a

7  number of so-called master meters?

8       A.    Yes.

9       Q.    And are these the meters that are purported

10  to be described on the document that I showed you

11  earlier, attachment 4 to Mr. Eschenbrenner's testimony?

12       A.    Something -- can I see --

13       Q.    Sure.  Did I take that from you?  No.

14  It's right there.  (Indicating.)

15       A.    Okay.  And the question again, please.

16       Q.    Are the so-called master meters then

17  indicated on this exhibit -- first of all, are they

18  called master meters?  Is that a proper term?

19       A.    That would be an acceptable term, yes.

20       Q.    Master meters as opposed to individual

21  meters at homeowner's establishments?

22       A.    Yes.

23       Q.    Those meters are owned by the water

24  utility?

25       A.    Yes.

00097

1       Q.    Now, also are there meters on any individual

2  homes in addition to this?

3       A.    Yes, we have installed some.

4       Q.    And how many have you installed?

5       A.    Seven.

6       Q.    And how long have they been in operation?

7       A.    About four months now I believe.

8       Q.    Now, is the pipe and the treatment -- now,

9  you've already testified about the treatment plant,

10  but the pipe -- the real property in which the pipe is

11  located, that belongs to whom?

12       A.    The pipe -- the main lines are you

13  referring to?  The pipe -- I don't understand the

14  question.

15       Q.    Okay.  The pipe that leads from the

16  treatment plant to the master meters --

17       A.    Belongs to the utilities.

18       Q.    The pipe does.  And the land under which

19  the pipes go?

20       A.    May be an easement.

21       Q.    An easement to the utility?

22       A.    To the utilities.

23       Q.    Do you know that?

24       A.    That the utilities have an easement?

25       Q.    Yes.

00098

1       A.    I know they have easements.  I don't have

2  -- I don't know every easement.

3       Q.    I understand.  Okay.  Now, the main purpose

4  of your testimony is to present your duties as

5  facilities manager, correct?

6       A.    Yes.

7       Q.    Now, you perform as facilities manager for

8  the sewer utility and all the other utilities?

9       A.    Yes.

10       Q.    And so you -- you described your duties on

11  JCC-2, which has been admitted as Exhibit 5; is that

12  correct?

13       A.    Yes.

14       Q.    And are those the duties which were

15  performed -- let me strike that and go back.  During

16  the test year -- and are you familiar with what I mean

17  when I say test year?

18       A.    Yes, sir.

19       Q.    During the test year, were you the only

20  person that performed these duties which you have

21  listed?

22       A.    No.

23       Q.    And how many other people performed those

24  duties?

25       A.    One other person.

00099

1       Q.    And who was that?

2       A.    Roy Light.

3       Q.    Is he performing any of these duties now?

4       A.    No.

5       Q.    And Mr. Light is employed by whom now?

6       A.    Eastsound Sewer.

7       Q.    So he's not associated with the resort at

8  all?

9       A.    No.

10       Q.    Who performs these duties when you're on

11  vacation, assuming you get a vacation?

12       A.    I haven't had one yet.

13       Q.    Okay.  False assumption on my part.

14             Would this be a reasonable description of

15  the duties that were performed by you and Mr. Light

16  during the test year?

17       A.    Yes.

18       Q.    And, to the best of your knowledge, is this

19  a reasonable description of the hours performed on

20  water utility matters during the test year?

21       A.    Yes.

22       Q.    So the number of hours performed during the

23  test year, yearly hours, would be approximately the

24  same as the number of hours per year that you will

25  perform, say, next year?

00100

1       A.    I would hope so.

2       Q.    Now, in the course -- and so currently you

3  go to the -- I see daily you monitor water quality --

4       A.    Yes.

5       Q.    -- at the treatment plant?

6       A.    Yes.

7       Q.    And that takes approximately three-quarters

8  of an hour every day?

9       A.    Yes.

10       Q.    So you work seven days a week?

11       A.    Yes, I do.

12       Q.    And so you go to the treatment plant every

13  day?

14       A.    Yes, I do.

15       Q.    Do you also go to the -- where else do you

16  go every day in the course of your job?

17       A.    Sewer treatment facility, office.

18       Q.    And I believe there's something called the

19  yard; is that true?

20       A.    Yes.

21       Q.    Describe the yard.  I'm now curious.

22       A.    Well, it's just an area that we store a

23  bunch of stuff.

24       Q.    Okay.  And does that have a backhoe there?

25       A.    Sometimes it does, yes.

00101

1       Q.    And do you go there every day?

2       A.    To the yard?

3       Q.    Yes.

4       A.    Yes, because to get to the sewer ponds, I

5  have to go past the yard.

6       Q.    Okay.  Now, looking at Exhibit 6 to the

7  service area of the water utility -- and, by the way,

8  is that basically also the service area for the sewer

9  utility?

10       A.    The sewer utility is a much smaller area

11  than that.

12       Q.    Okay.  What would be included or excluded,

13  whichever is easier?

14       A.    Our sewer area is a localized area in the

15  resort proper area.  It does not include the Vusario

16  or the Highlands.  They're not in this area.  And a

17  lot of the property in the resort area is not

18  included.

19       Q.    So it is only within the resort?

20       A.    Yes.  The majority of it, yes.

21       Q.    Okay.  During the course of a week, would

22  you be around the entire utility service area?

23       A.    Quite possibly, yes.

24       Q.    And that's for the purpose of reading

25  master meters?

00102

1       A.    I read master meters once a month, but I am

2  in the area more often than that.

3       Q.    Just your normal day-to-day operations for

4  whatever --

5       A.    Day-to-day operations.

6       Q.    -- take you there?

7       A.    (Nodding head.)

8             JUDGE WALLIS:  I'm again going to ask the

9  witness to wait until the question is complete.

10       Q.    And do you read the individual meters that

11  have been installed to date?

12       A.    Once a month.

13       Q.    Are there plans to install individual

14  meters?

15       A.    Yes, there is.

16       Q.    And will that be part of your job description

17  then, to read individual meters?

18       A.    Possibly.

19       Q.    Okay.  During the test year, there was --

20  am I correct that there was -- well, you've already

21  testified there were two people that performed these

22  functions.  Was one of them entitled certified

23  operator?  Did you have job titles, you and Mr. Light?

24       A.    We were both certified operators.

25       Q.    And were you -- but were you the facilities

00103

1  manager?

2       A.    Yes.  I didn't have a title that -- that

3  title at that time.  Director of maintenance.

4       Q.    Okay.  And do you believe that by

5  consolidating those two positions into your position

6  looking forward, that there will be some efficiency?

7       A.    Yes.

8       Q.    Okay.  Over the past -- you stated you

9  haven't had a vacation yet.  Do you have an

10  understanding or a contract that describes how much

11  vacation you will get?

12       A.    Yes.  I don't have a contract.  I have

13  an understanding.

14       Q.    And your understanding is that you will

15  indeed get a vacation?

16       A.    I think so.

17       Q.    And so you'll take, what, a couple weeks

18  off every year?

19       A.    Yes.

20       Q.    And who's going to pinch hit for you while

21  you're gone?

22       A.    If I can, I will have Roy Light fill in for

23  me since he's still a certified operator, and he

24  knows the system.

25       Q.    And could you estimate how many hours a

00104

1  week that you work currently?

2       A.    A week that I work?

3       Q.    Yes.

4       A.    Sixty or eighty.  Now, if -- that's work.

5  Okay?

6             MR. GOLTZ:  Excuse me for one second while

7  I track something down.

8             I don't have any other questions.

9             JUDGE WALLIS:  Off the record for just a

10  moment.

11             (Discussion off the record.)

12             JUDGE WALLIS:  Back on the record.

13             Mr. Lundgaard?

14

15                    CROSS-EXAMINATION

16  BY MR. LUNDGAARD:

17       Q.    Mr. Cavalli, you recognize the map of --

18  the large map that has been put up here in the

19  foreground of the meeting room?

20       A.    Yes.

21       Q.    And do you recognize that the dark bold

22  line encompasses the service area?  The line I'm

23  following, is that the service area within there?

24  (Indicating.)

25       A.    Yes.

00105

1       Q.    And you're talking of the service area of

2  the water system; is that correct?

3       A.    Yes.

4       Q.    And there is a difference between the

5  service area of the water system and the service area

6  of the sewer; is there not?

7       A.    There is a difference between the water

8  area service area?

9       Q.    The location -- I'm asking you if there

10  is -- is the sewer -- do you provide sewer system

11  services to all of the areas in the bold area of the

12  water system?

13       A.    I don't know that we do.

14       Q.    Okay.  And I wasn't sure if you were

15  implying that Vusario and the Highlands systems are

16  within your -- within the service area that is

17  outlined in the dark line.

18       A.    No.  They're both --

19       Q.    They're both outside of the service area?

20       A.    Yes.

21       Q.    And you're familiar with the fact that

22  they get their water from the water system by reason

23  of contracts or agreements?

24       A.    Yes.

25       Q.    And generally would the Vusario area be

00106

1  above this dotted line that's an open area as shown on

2  this exhibit?

3       A.    I don't know.

4       Q.    Okay.  Are you familiar with the water

5  system plan?

6       A.    Somewhat familiar, yes.

7       Q.    And the exhibit that is attachment 1 to Mr.

8  Eschenbrenner's testimony that you looked at, Exhibit

9  4, that map, do you recognize that that map came from

10  the water system plan -- no, excuse me.  I'm referring

11  -- not the map.

12             The chart of all of the locations of the

13  meters, attachment 1 to Eschenbrenner's testimony,

14  Exhibit 4, do you recognize that as having come from

15  the water system plan?

16       A.    I don't recognize it.

17       Q.    Okay.  You made a reference earlier to

18  being director of maintenance.  Were you referring to

19  the resort when you described that title?

20       A.    Yes, sir.

21       Q.    And how long have you held that title?

22       A.    Probably over the last -- in the last six

23  or seven years I would guess.  I was the maintenance

24  supervisor -- yes, six or seven years.

25       Q.    And do you continue to hold that title now?

00107

1       A.    No.

2       Q.    When did that change?

3       A.    Two months ago I guess.

4       Q.    So during the test year, you were the

5  maintenance -- the director of maintenance for the

6  resort?

7       A.    Yes.

8       Q.    In your pre-filed testimony, you state that

9  I am employed by Rosario Resort as facilities manager.

10  That was true then up until two months ago?

11       A.    Excuse me?

12       Q.    Your pre-filed testimony, which you said

13  was prepared under your supervision and direction --

14  and I assume you've read that before it was presented

15  to the Commission?

16       A.    Yes.  Uh-huh.

17       Q.    And in it you state that, I am employed by

18  Rosario Resort as facilities manager?

19       A.    Yes, sir.

20       Q.    And is that an accurate statement?

21       A.    Yes, I was.

22       Q.    Until two months ago then?

23       A.    Yes.

24       Q.    And so when you referred to facilities

25  manager, you were referring to the resort facilities?

00108

1       A.    Yes.

2       Q.    Okay.  Now, you say you've worked for the

3  resort since August, '81.  Has that been continuous

4  since that time?

5       A.    No.

6       Q.    What period were you not working for them?

7       A.    Somewhere in the '90 -- '89, '90.

8       Q.    Okay.  Now, you've stated that to your

9  knowledge there have been no other moratoriums other

10  than the current one.  If I can refresh your memory,

11  wasn't there a moratorium in about 1984?

12       A.    Yes.  I was thinking about --

13       Q.    For about two years?

14       A.    I don't remember the length of time.

15       Q.    Was that before the steel tanks were put

16  in?

17       A.    Yes.

18       Q.    Okay.  And by reason of the steel tanks

19  being put in the moratorium was lifted?

20       A.    Yes.

21       Q.    When did the current moratorium start?

22       A.    The current moratorium now?

23       Q.    Yes.

24       A.    I don't remember the date.  It's been just

25  recently.

00109

1       Q.    Now, during --

2       A.    In the last year.

3       Q.    Excuse me.

4             During the test year, did you keep a daily

5  log of your time and the jobs that you performed?

6       A.    No.

7       Q.    Did you put together any summary at the end

8  of the month?

9       A.    No.

10       Q.    How long have you been working seven days a

11  week?

12       A.    Last two months.

13       Q.    And prior to that, what was your normal

14  work load?

15       A.    Six days a week.

16       Q.    Okay.  And who performed the functions on

17  the seventh day of testing and checking the treatment

18  plant?

19       A.    Roy Light.

20       Q.    Okay.  To your knowledge have there been

21  any new subdivisions added to the water system since

22  '81 when you came on?

23       A.    I don't know that answer.

24       Q.    You indicated that it was approximately six

25  weeks ago that you last did some work for the resort?

00110

1       A.    Approximately, yes.

2       Q.    What was the nature of that work?

3       A.    They had some electrical problems, and I

4  advised them on what they needed to do.

5       Q.    Was it just a matter of giving advice, or

6  did you do the work or supervise the work?

7       A.    No, I gave advice.

8       Q.    Weren't you supervising the construction of

9  a new road that's going along up the hill in the

10  vicinity of the water line?

11       A.    I was responsible for overseeing the

12  installation of our flow line to our generating plant,

13  yes.

14       Q.    And as part of that, wasn't there a road

15  constructed there?

16       A.    I was told that it was for the ditch for

17  the pipe.

18       Q.    Isn't it actually a road leading up to the

19  area where the owner of the resort plans to build

20  additional condominiums?

21       A.    You'd have to ask the owner that.

22       Q.    Why would you need a road of that

23  substantial nature merely for the flume?

24       A.    You got me.  I don't have an answer.

25       Q.    You're familiar with the line that comes

00111

1  from the Rosario Utilities facilities that services

2  the Highlands?

3       A.    Yes.

4       Q.    Okay.  And are you -- do you recall what

5  the distance is from the meter on the utility property

6  to the -- to Horseshoe Highway?

7       A.    I don't know.  I could guess, but I don't

8  know offhand.

9       Q.    Would it be fair to say that it's half a

10  mile to 3,000 feet?

11       A.    Half a mile -- to the Horseshoe Highway

12  Road?

13       Q.    Yes.

14       A.    I would say less than half a mile.

15       Q.    And where that line exists up to the

16  Horseshoe Highway, it's on resort property; is it

17  not?

18       A.    Not to my knowledge.

19       Q.    Whose property is it in your opinion?

20       A.    I don't know.  It's on an easement of some

21  type.

22       Q.    And is that easement owned by the utility?

23       A.    I don't know.

24       Q.    Do you know that -- after the line crosses

25  Horseshoe Highway, do you know what the approximate

00112

1  distance is from there to the pump house and meter of

2  the Highlands?

3       A.    Maybe another thousand feet.  I'm guessing.

4  I don't know.  It's just a guess.

5       Q.    Just a guess.  Okay.  And when you refer to

6  the irrigation utility or system, you're referring to

7  the irrigation system that services the resort

8  grounds; is that correct?

9       A.    That's correct.

10       Q.    And is that generally provided by raw water

11  through the flume that you were describing?

12       A.    That's correct.

13       Q.    And was there a time recently when that

14  flume was damaged or washed out?

15       A.    Yes.

16       Q.    And did you provide water to irrigate the

17  grounds of the resort with potable water?

18       A.    No, we didn't.

19       Q.    How did --

20       A.    I'm sorry.  They did some.

21       Q.    Okay.  How long were you out of the raw

22  water, or how long was it before the flume was

23  repaired?

24       A.    90 days.  I'm guessing.  90 days maybe,

25  120.

00113

1       Q.    And do you recall when that occurred?

2       A.    When what occurred?

3       Q.    When the flume was out of service the 90

4  to 120 days, what period on the calendar was that?

5       A.    It was repaired late the end of last month,

6  so it would have been prior to that three months.

7       Q.    Are you familiar with the employee housing

8  area?

9       A.    Yes.

10       Q.    Would you describe what is located there,

11  please.

12       A.    There is a modular employee housing unit.

13       Q.    How many living quarters are there in

14  that modular?

15       A.    I don't recall.

16       Q.    What else is there?

17       A.    There's three trailers.

18       Q.    And they're each a living quarter?

19       A.    I believe they are.  I'm not sure right now

20  if they are or not.

21       Q.    Any other living quarters there?

22       A.    Not to my knowledge.

23       Q.    And isn't it true that that area is not

24  metered?

25       A.    That's true.

00114

1       Q.    And that is part of the facilities of the

2  resort?

3       A.    Yes.

4       Q.    Isn't it also true that the fire station is

5  not metered?

6       A.    Just like a lot of the other homes there.

7  The fire station itself is not metered, correct.

8       Q.    And there are fire trucks -- the pump

9  trucks get their water there?

10       A.    Not at the fire station, sir.

11       Q.    Okay.  Where is the hook-up that delivers

12  water to the sewage treatment plant?

13       A.    The hook-up that delivers water to the

14  sewage treatment plant?

15       Q.    Yes.

16       A.    Is at the entrance to the utility track.

17       Q.    Can you be more specific?

18       A.    It's on the main line that is dumping down

19  from the treatment facility above the fire station

20  approximately 120 yards.

21       Q.    And is that line metered?

22       A.    No.  Well, yes, in a sense it is now.

23       Q.    What do you mean by now?

24       A.    I fill a chlorine barrel every other day

25  with 30 gallons of water.  I guess that could be a

00115

1  metering device.

2       Q.    How long has that been going on?

3       A.    Five months, six months.

4       Q.    And prior to that it was unmeasured?

5       A.    Correct.

6       Q.    And what water do you provide to the sewer

7  from that line?

8       A.    What -- what type water?

9       Q.    What?

10       A.    What water?

11       Q.    What's the purpose of the water that you

12  provide to the sewer?

13       A.    Right now it's just for -- we mix a

14  chlorine barrel, and we inject it into the -- our

15  outfall of the sewer plant.

16       Q.    And again what was it prior to that, being

17  the only purpose?

18       A.    That was it.

19       Q.    Haven't --

20       A.    Just for chlorine injection.

21       Q.    Is there any dilution of the water that's

22  in the lagoons?

23       A.    With the treated water?

24       Q.    Yes.

25       A.    No, sir.

00116

1       Q.    With raw water?

2       A.    Raw water, no, sir.

3       Q.    When you indicate that you're currently

4  working 60 to 80 hours a week, I take it that's not

5  all for the water system; is it?

6       A.    That's true.

7       Q.    And is any of that work for the resort?

8       A.    No.

9       Q.    Is it also for the sewer system?

10       A.    No.

11       Q.    The 60 to 80 hours work you conceded that

12  that was not solely for the water system?

13       A.    That's correct.

14       Q.    What other functions do you perform during

15  -- have you been performing 60 to 80 hours a week?

16       A.    Oh, I've got my own life that I work, too.

17       Q.    Oh, okay.  So you're not saying that that's

18  -- you're on payroll 60 to 80 hours a week?

19       A.    No way.

20       Q.    And how much time are you on the payroll of

21  the resort?

22       A.    Forty hours a week is what I get paid for.

23       Q.    And this yard you referred to, that's just

24  on your way -- you go through the yard to get to the

25  sewer plant?

00117

1       A.    That's correct.

2       Q.    So there's no special trip that you make to

3  the yard?

4       A.    Normally?

5       Q.    Normally.

6       A.    Not unless I have to pick something up

7  there.

8       Q.    You mentioned there have been some recent

9  hook-ups made?

10       A.    Yes.

11       Q.    Do you recall whether there was already a

12  meter box in place to those properties?

13       A.    Meter box, no, sir.  No meter box.

14       Q.    Was the line already extended to the

15  property line of those properties?

16       A.    No.

17       Q.    What did -- the contractor who was laying

18  the pipe and digging the ditch from the house to the

19  property line, did he also dig the line to make the

20  connection?

21       A.    No.

22       Q.    Who did that?

23       A.    I did.

24       Q.    Okay.  Is that always the case?

25       A.    No.

00118

1       Q.    So there are times when the contractors

2  will dig that?

3       A.    Yes.

4       Q.    And aren't there a substantial number of

5  connections or service lines that are already laid to

6  the property line on the system that were put in

7  presumably at the time that the water system was put

8  in place?

9       A.    There may be.  I don't know of any, and I

10  would have trouble finding them if there is.

11       Q.    Aren't there a substantial number of meter

12  boxes that are already in place?

13       A.    Yes.

14       Q.    So if there is a meter box there, it would

15  -- wouldn't it be logical that there is already a

16  connection to that box?

17       A.    Oh, I'm thinking of the ones that I've put

18  in.  I don't know of any other meter boxes that are

19  there already that I know offhand.

20       Q.    Okay.  I would like to refer you to

21  Exhibit 5.

22       A.    Yes.

23       Q.    I think you've made it clear that that does

24  not represent your work during the test year?

25       A.    That's correct.

00119

1       Q.    Okay.  During the test year, how many

2  education credits did you obtain?

3       A.    I don't know offhand.  I could check.  I

4  don't know offhand.  I have to have continuing

5  education units, and I maintain those to be certified.

6  So whatever it is to be certified is what I have.

7       Q.    And you're required to have 18 within a

8  year period?

9       A.    I don't know that for a fact.

10       Q.    Well, looking at your exhibit under yearly,

11  you have education credits to maintain certification,

12  18?

13       A.    Okay.  Wait a minute.  Education.  Oh,

14  that's hours?

15       Q.    I don't know.  It's your exhibit.

16       A.    It says time up there.  Hours.  Eighteen

17  hours.

18       Q.    What do you understand that exhibit to

19  represent?

20       A.    That represents I went to school for 18

21  hours.

22       Q.    Does it in fact -- you've indicated this

23  was not a document that represents what you did during

24  the test year.  This is more of a hypothetical or a

25  planned work for the future; is it not?

00120

1       A.    I did this last year.  It wasn't the test

2  year.  The test year was a different year.  I did this

3  last year.

4       Q.    When you refer to last year, you mean in

5  1995 you did take 18 hours?

6       A.    Yes, sir.

7       Q.    This exhibit would indicate that you are

8  required to do that three times a year for a total of

9  54 hours per year.  Is that really what is required?

10             MR. GOLTZ:  Your Honor, I think there's

11  some misunderstanding of what that says.  And just --

12  I'm sorry to interject, but it says including travel

13  time.  So maybe we can get that clear.

14             MR. LUNDGAARD:  That has nothing to do with

15  whether it's three times a year or not.  It may affect

16  the 18 hours.

17             MR. GOLTZ:  That's right.

18             JUDGE WALLIS:  Does the witness have the

19  question in mind?

20             THE WITNESS:  Eighteen hours is what I

21  spent.  I don't have an answer for that.

22       Q.    Okay.  Did you prepare this exhibit, or was

23  it prepared by somebody else for you?

24       A.    No, I assisted in preparing this exhibit.

25       Q.    Who did you assist?

00121

1       A.    I assisted the secretary.

2       Q.    And the secretary being Chris?

3       A.    Yes, sir.

4       Q.    Now, when you -- you indicate that you

5  maintain and repair the diversionary -- maintain and

6  repair Cascade Creek diversionary aqueduct.  Maintain

7  and repair.  That really benefits the resort as well

8  as the utility; does it not?

9       A.    It benefits the utility in that we need to

10  maintain that for our water rights.

11       Q.    And don't you also receive your water

12  through the flume for the irrigation of the resort

13  area from that same place?

14       A.    Yes, it would be.

15       Q.    And isn't it also the source of water for

16  your hydro power?

17       A.    Yes.

18       Q.    So all of those systems would be benefitted

19  by that time?

20       A.    Uh-huh.

21       Q.    Likewise, the check and record dam

22  levels/structure, summer, three months and check and

23  record dam levels/structures/run-off in the off season

24  of nine months, and you have a total there of 42 hours,

25  those functions would also benefit the hydro plant and

00122

1  the resort irrigation system; would they not?

2       A.    Anybody that could use the information it

3  would benefit.

4       Q.    And really as far as the level of the lake

5  goes, you don't have much control over that; do you?

6       A.    Yes, I do.

7       Q.    How do you control it?

8       A.    If I wanted to, I could lower it.

9       Q.    If you wanted to, you could open a valve

10  and lower it?

11       A.    That's correct.

12       Q.    But that happens very infrequently; does it

13  not?

14       A.    Yes.

15       Q.    And there's an automatic overflow area, so

16  if the level gets too high, it just automatically runs

17  out, I guess, to the bay; isn't that correct?

18       A.    That's correct.

19       Q.    Yet it's your testimony that twice -- is it

20  just a matter of driving by that and observing that

21  it's functioning?

22       A.    I'll take you sometime.  No, it's not.  You

23  have to get out.  You have to walk up.  The gauge is

24  on the inside of the dam.

25       Q.    What difference does it make that it is on

00123

1  the inside of the dam?

2       A.    It tells us how much water is running off.

3  If we want to calculate it, it lets us know how much

4  the lake is going down.

5       Q.    How much is going over really doesn't --

6  what effect does that have on the utility?

7       A.    (Shrugging shoulders.)

8       Q.    Nothing, does it?

9       A.    (No response.)

10       Q.    You also indicate that you are taking -- I

11  take it you didn't have an answer for that last

12  question?

13       A.    No.

14       Q.    You're indicating that you take the copper

15  and the lead testing samples to a lab in Mount Vernon

16  and that you also take the VOC and SOC test to the lab

17  in Mount Vernon; is that correct?

18       A.    I mail them.

19       Q.    You mail those?

20       A.    Uh-huh.

21       Q.    All of those tests?

22       A.    The lead and copper, yes, I do.

23       Q.    Then on your second sheet of Exhibit 5,

24  subsection 2, where it says copper and lead testing,

25  twelve hours to test, seven hours travel to lab in

00124

1  Mount Vernon, that seven hours is inaccurate; is it

2  not?

3       A.    That's correct.

4       Q.    Correct, it is inaccurate?

5       A.    That's correct.

6       Q.    I'm not sure we're on the same wavelength.

7  I thought you just told me --

8       A.    Yes, I mail them.  It didn't take seven

9  hours to deliver them.  I'm sorry.

10       Q.    And you mail the bacteriological testing?

11       A.    Yes.

12       Q.    And if you were to -- was there a time when

13  you were mailing the VOC and SOC test?

14       A.    Yes.  No.  I'm sorry, mailing?  You said

15  mailing?

16       Q.    Yes.

17       A.    No, I've always delivered those.

18       Q.    Are you aware that other water systems mail

19  those in?

20       A.    Yes, I am now.

21       Q.    And so are you planning to now mail those

22  in and avoid that extra seven hours?

23       A.    That's possible.

24       Q.    Okay.  You show the VOC testing to occur

25  four times a year.  Haven't you been given at least a

00125

1  partial waiver by DOH so that you only have to do that

2  once a year?

3       A.    Yes.

4       Q.    So that really ought to be eight hours

5  including travel time to the lab rather than

6  thirty-two?

7       A.    Uh-huh.

8       Q.    And that would be the same for the SOC and

9  the --

10       A.    I have to look that up.  I'm not -- I'm not

11  exactly familiar with that right offhand.

12       Q.    During the test year, do you have an

13  estimate of the time that you spent working on sewer

14  treatment plant duties?

15       A.    During the test year?

16       Q.    Yes.

17       A.    A mental one, but that's it.  I don't have

18  anything written down, or at least I can't remember

19  it.

20       Q.    Do you recall that there was submitted to

21  us your hours for the test year of 16 hours a week or

22  yearly hours of 1832 hours?

23       A.    Okay.  Is that --

24       Q.    Do you recall that?

25       A.    I don't recall that offhand.

00126

1       Q.    Would you agree with that subject to check?

2       A.    I would agree to check.

3       Q.    Do you -- you say you read the meters once

4  a month?

5       A.    Yes, sir.

6       Q.    Do you recall then that you have been

7  reading the -- I'm looking for that chart.  The meter

8  -- meter No. 7 says resort-condo satellite hall -- is

9  that satellite hall?  I'm not sure if I understand

10  what --

11       A.    Yes.

12       Q.    And the laundry?

13       A.    Yes.

14       Q.    When did you last read that meter?

15       A.    That meter has failed.  I have to replace

16  that meter.

17       Q.    And so that meter has not been operative

18  since when?  Sometime in May?

19       A.    Two months.  I have the meter in.  It will

20  be replaced.

21       Q.    If there has been an outage or a break in

22  the line that has occurred, are you the person that's

23  contacted to repair that?

24       A.    Yes.

25       Q.    Would that be true in the test year as

00127

1  well?

2       A.    Possibly.

3       Q.    Under supervisory on your Exhibit 5, you

4  list contract work, nine hours a year.  Would you

5  describe what that refers to.

6       A.    If we have to do a road crossing, we would

7  contract that out.

8       Q.    So what would take you nine hours of

9  somebody else performing a contract?

10       A.    I would watch to be sure that it's done

11  correctly.

12       Q.    And under coordination you have the

13  category of communication with administrative manager.

14  Are you referring there to the resort manager?

15       A.    Yes.

16       Q.    So you indicate that you spend two hours a

17  week communicating with the resort manager?

18       A.    I had in the past, yes.

19             MR. LUNDGAARD:  I have no further questions

20  of this witness.

21             I would move to strike Exhibit 2 on the

22  same grounds that I've previously stated, that he's

23  acknowledged this is not an indication of his tasks

24  during the test year.

25             He's further indicated that he did not --

00128

1  oh, I'm sorry.  I said 2.  It's JCC-2, but it's

2  Exhibit 5.  And he's indicated that he did not keep a

3  log or keep any compilation of his time records for

4  the test year.

5             I think this exhibit is obviously

6  misleading in terms of representing the work that he

7  performed during the test year.

8             JUDGE WALLIS:  Mr. Donahoe, Mr. Goltz, do

9  you want to make a response?

10             MR. DONAHOE:  Yes, your Honor.

11             John Cavalli has worked for the resort in

12  several capacities for many years.  He has his own

13  work habits.  He's got a very good memory.  He's got a

14  very good mind.

15             He's on the witness stand now trying to

16  answer to the best of his knowledge, and I think if he

17  had thought about it a little bit more, he would

18  understand the question a little bit better.  I can't

19  respond to his -- obviously his talent in that area.

20             I think the main thing here is that Mr.

21  Cavalli did give estimates.  He gave -- working with

22  the administrative manager Chris Vierthaler, he worked

23  diligently.

24             We worked in conjunction with the staff of

25  the UTC to, in our best manner possible, get an

00129

1  accurate description of his time spent on the water

2  division.

3             I think the fact that he did not keep daily

4  logs or in his mind -- or as he stated -- as he

5  testified a specific monthly summary does not preclude

6  the fact that he's very familiar with and knows pretty

7  much what he's doing every day.

8             And it's from that basis that the

9  worksheets and the estimates and, above all, the

10  presentation and testimony were prepared.

11             And I would submit it is in fact an

12  accurate description of what he has done in the past

13  as well as what, with only one person alone since Mr.

14  Light is no longer with the company, he will be doing

15  in the future.

16             So I oppose striking this from the record.

17             JUDGE WALLIS:  Mr. Goltz.

18             MR. GOLTZ:  Basically I have the same

19  response as to the last exhibit with one change.

20  This time I asked the question whether it reflected

21  the hours that he spent during the test year along

22  with Mr. Light, and he answered yes.

23             And then he also answered these were also

24  the duties and the hours that would be respectively in

25  effect even if -- we will propose some adjustments to

00130

1  this.  We list these as -- I think I said pro forma

2  adjustments.  I meant restating adjustments.  But I

3  think this is a relevant document for all of these

4  reasons, so it should not be stricken.

5             JUDGE WALLIS:  I believe that the

6  circumstances are analogous to the earlier exhibit.  I

7  believe it is relevant, he is sufficiently qualified,

8  and the purposes for which it is offered are clear,

9  and it purports to be an accurate representation of

10  the circumstances at that time, and consequently I'm

11  going to deny the objection and receive Exhibit 5 for

12  identification.

13             (Admitted Hearing Exhibit 5.)

14             JUDGE WALLIS:  And let me ask if there is

15  anything further for this witness?

16             MR. GOLTZ:  I have a few quick follow-up

17  questions.

18             JUDGE WALLIS:  Very well.

19

20                   RECROSS-EXAMINATION

21  BY MR. GOLTZ:

22       Q.    First of all, Mr. Cavalli, just a side

23  comment.  I think you deserve a vacation.

24       A.    Thank you.

25       Q.    Second, referring to the map that's been

00131

1  admitted as an exhibit, you may have misstated

2  something.  I wanted to clarify it.

3             Referring to the map, what is zone five

4  up in the upper, right-hand corner, not within the

5  solid line but within what appears to be some sort of

6  a dashed and dotted line, is that the area of the

7  Vusario Maintenance Corporation?

8       A.    I believe that is.

9       Q.    And Vusario Maintenance Corporation is

10  served by the water utility; is it not?

11       A.    Yes.

12       Q.    As is the Rosario Highlands Association,

13  which is indicated on the map as zone 3 and zone 4?

14       A.    Yes.

15       Q.    Now, regarding the irrigation utility --

16       A.    Yes.

17       Q.    The irrigation water is used for the

18  landscaping irrigation needs of the resort?

19       A.    Yes, sir.

20       Q.    And that is the only purpose for which it

21  is used?  Let me -- that's not the question I wanted

22  to ask.  Are there -- the landscaping needs of the

23  resort are only served by the irrigation utility with

24  the exception of the time when there was some treated

25  water being pumped out?

00132

1       A.    That's correct.

2       Q.    And you described that in response to

3  questions from Mr. Lundgaard?

4       A.    Yes.

5       Q.    Now, in addition to the rooms and the

6  restaurant at the resort, there is a marina?

7       A.    Yes, sir.

8       Q.    And that uses some water?

9       A.    Yes.

10       Q.    And that water is provided by the water

11  utility?

12       A.    Part of it is provided by the hydro -- or

13  how would I say it?  The water -- the grounds water,

14  the irrigation water.  It's non-potable.

15       Q.    But there is also potable water --

16       A.    Yes.

17       Q.    -- that is available at the marina?

18       A.    Yes, sir.

19       Q.    And there is -- there are also -- is there

20  one swimming pool or two at the resort?

21       A.    Three.

22       Q.    There's three.  And the source of that

23  water is what?

24       A.    Treated water.

25       Q.    And is there one restaurant or --

00133

1       A.    I have a correction to your last question.

2  Two treated with treated water, one with non-potable

3  water.

4       Q.    Is that the kid's pool?

5       A.    Yeah.  Once it's chlorinated -- no.

6       Q.    How many restaurants are there at the

7  resort?

8       A.    Two.  Two.  Yes, two.

9       Q.    There is one inside the mansion?

10       A.    Yes.

11       Q.    And there is one exterior from the mansion?

12       A.    That's correct.

13       Q.    And those are both supplied by what utility?

14       A.    The water utility.

15       Q.    Okay.  Referring to your list of duties,

16  there is some confusion about the 18 -- about the

17  education credits --

18       A.    Yes.

19       Q.    -- to maintain certification?

20       A.    Yes.

21       Q.    Am I correct that that was 18 hours, three

22  times a year, for a total of 54 hours, and that time

23  included travel time to GRCC, which I assume is Green

24  River Community College?

25       A.    I have to check that.  It doesn't look

00134

1  right to me.  I don't have an answer for that.

2       Q.    You mean --

3       A.    We were going to Lynn Benton Community

4  College in Oregon, but now we're going to go to Green

5  River Community College.

6       Q.    I see.

7       A.    That's where I had been going to class.

8  That's where classes were held.

9       Q.    Okay.  And how many hours of class, not

10  including travel time, are you required to have a year

11  to maintain certification?

12       A.    I need CEU's.  So I can do a number of

13  classes a year to maintain the C -- the credits.

14       Q.    CEU means?

15       A.    Continued education units.  And I have to

16  maintain so many units.  If I can get a three day

17  class, 18 hours total, which normally ends up being

18  -- well, that's another story.  So I try to go to

19  continuing education classes once a year, and if I

20  miss one, then I got to lump them together and do

21  them in a big class.

22       Q.    But do you have a yearly hourly requirement?

23       A.    Yes.

24       Q.    And what is that yearly hourly requirement

25  for credits?

00135

1       A.    I believe it's one CEU a year, three for

2  three years.  I don't have the correct answer.  I'm

3  talking off of --

4       Q.    I don't want to hear CEU's.  I want to hear

5  hours.

6       A.    Eighteen hours a year.

7       Q.    Eighteen hours of class a year?

8       A.    Right.

9       Q.    Okay.  So the hourly estimate here would

10  include the hours plus the travel time?

11       A.    It should, yes.

12       Q.    And those classes are not available on

13  Orcas Island?

14       A.    No, they're not.

15       Q.    Is the nearest place that you're aware of

16  Green River Community College?

17       A.    Yes.

18       Q.    When you refer to the administrative

19  manager in this exhibit, to whom are you referring?

20       A.    Where on the exhibit?  Excuse me.

21       Q.    It's under coordination?

22       A.    Oh, okay.  That would be -- that would have

23  been the general manager.  Excuse me.  It says

24  administrative manager?

25       Q.    Yes.  Is that --

00136

1       A.    That would be Chris Vierthaler.

2       Q.    So the administrative manager of the

3  utility?

4       A.    Yes.  Yes.  I'm sorry.

5       Q.    The last question is:  You testified that

6  you are kind of all over the area that the utility

7  services in the course of a week, and you've been

8  doing this for a number of years.  So would you say

9  you're quite familiar with the terrain and the area?

10       A.    Somewhat familiar, yes.

11       Q.    And if a customer had a problem with a

12  pipe, a leak, pressure and called up, in general

13  would you be fairly familiar with where that customer

14  is located despite the customer's name?

15       A.    Possibly.

16       Q.    And familiar with the house specifically?

17       A.    More than likely.

18       Q.    And the conditions of the terrain around

19  that house?

20       A.    Uh-huh.

21             MR. GOLTZ:  I have no further questions.

22  Wait.

23       Q.    Do you know how long you've been serving

24  Vusario and Highlands?

25       A.    Ever since I've been here.

00137

1       Q.    So they've been a customer of the water

2  utility every since you've been here?

3       A.    Yes, sir.

4       Q.    And have you ever had service problems with

5  them that you've been called upon to maintain?

6       A.    Not really maintain.  They've asked some

7  questions sometimes --

8       Q.    And so some of your time --

9       A.    -- for some assistance, yes.

10       Q.    So some of your time is spent dedicated to

11  them?

12       A.    A small amount.  If they need help, I would

13  certainly help them.

14       Q.    But they are referred to as bulk users?

15       A.    Yes, sir.

16       Q.    And that's because the pipes behind their

17  meters are owned and operated by their respective

18  subdivisions?

19       A.    Yes.

20       Q.    And other than that, is there any

21  distinction between them and the other residential

22  properties within the utility's service area?

23       A.    Not to my knowledge.

24       Q.    Okay.  Basically are they all single family

25  dwellings in the Highlands and Vusario subdivisions?

00138

1       A.    I believe they all are.

2       Q.    And so they're very -- are they distinctive

3  in any other way from the general Rosario residential

4  area?

5       A.    No.

6       Q.    They aren't just cabins or anything up

7  there?

8       A.    No.  No.

9       Q.    So they're full-time residential units?

10       A.    I believe so.  All the ones that I know of.

11       Q.    And so they are -- except for the fact

12  that they're bulk users, they're served the same way

13  that the other residential areas are served?

14       A.    Yes, sir.

15             MR. GOLTZ:  I have no further questions.

16             JUDGE WALLIS:  Mr. Donahoe?

17             MR. DONAHOE:  I know we're all in a hurry.

18  I just have a couple, please.

19

20                   REDIRECT EXAMINATION

21  BY MR. DONAHOE:

22       Q.    Mr. Cavalli, you mentioned at the beginning

23  of your testimony that as your testimony is stated

24  -- excuse me, that you worked for Rosario Resort.  I

25  would ask if that is a correct statement, or was it an

00139

1  error that you work for Rosario Resort, or do you work

2  for Rosario Utilities?

3       A.    I work for Rosario Utilities.

4       Q.    All right.  The question was about the

5  flume being out of service.  Was the flume in service

6  over the 4th of July of this year, the long weekend?

7       A.    I'm trying to remember.  Yes, I believe it

8  was back in service.

9       Q.    Is it correct to say that it was not too

10  many days prior to the 4th of July that you cut the

11  line in preparation for the excavation?

12       A.    I believe it was.  I don't remember.

13       Q.    You didn't cut it a month before the 4th of

14  July?

15       A.    No.

16       Q.    Did you cut it two weeks before the 4th of

17  July, or was it just before the 4th of July?

18       A.    I have to go back over some dates.  I don't

19  remember.

20       Q.    Fine.  Do you recall a meeting between

21  myself and John Thompson when I rushed to Rosario on

22  July 15th down by the hydro plant and where we looked

23  at the line which had been interfered with because you

24  found out that the flume was cattywampus?

25       A.    Yes.  Yes.

00140

1       Q.    Was that approximately a couple of weeks

2  into the work by -- work with -- was that -- I believe

3  I said -- I hope I said two weeks into the work that

4  Island excavating and John Thompson were involved

5  in the project?  And the answer was?

6       A.    Yes.

7       Q.    Do you recall a meeting with myself and

8  John Thompson on the 16th, the next day after we

9  started that work, to find the wandering flume line,

10  where it was decided to go up -- we had to go --

11  continue up the road because we could not locate the

12  line, and that involved the destruction of some rock

13  and some woods?

14       A.    Yes, I remember that.

15       Q.    That was quite a busy day, as I recall

16  myself.  Do you recall whether or not the line was

17  finished at that time, on that day, we completed the

18  line on that day.

19       A.    The last day that --

20       Q.    Which was the 16th, when you and I were

21  personally on the job.

22       A.    Yes.

23       Q.    All right.  So basically if you take that

24  time frame just before the 4th, and you -- until the

25  16th of July, those were 22 days that the line was out

00141

1  of service?

2       A.    I would think that would be pretty accurate.

3       Q.    I'm asking that question, because I think

4  you had indicated it might have been out of service 90

5  days.

6       A.    Oh, no.

7       Q.    And I don't think that was correct.  I

8  wanted to make sure that that was clarified.

9             Next to the last question.  Are you a

10  salaried employee of Rosario Utilities?

11       A.    Yes, I am.

12       Q.    And does that mean that you're not an

13  hourly worker?

14       A.    That's correct.

15       Q.    Does that mean you're exempt from a 40 hour

16  week?

17       A.    Yes.

18       Q.    And that means that your estimate earlier

19  of 60 to 80 hours a week is in fact what you do work --

20       A.    That's --

21       Q.    -- on seven days a week?

22       A.    Yes, it can be.  I try not to work that

23  many, but it can be.

24       Q.    Well, I understand.  But I wanted it to be

25  cleared up, because I think there's some confusion on

00142

1  the part of Mr. Lundgaard, because there are 168 hours

2  in the week, and since you only work 70, that gives you

3  98 hours to be at home.  I just want to clear that up.

4       A.    That's correct.

5       Q.    I think there was a misunderstanding.

6             And, lastly, two things, please.  In the

7  exhibit that is referred to that you outlined your

8  time, it was stated earlier -- and you have testified

9  that that was worked on between yourself and the

10  administrative manager.

11             And would you say it's a correct statement

12  that those hours that you relate -- that are stated

13  there are directly related to the water division only

14  and do not relate to work that you do on the flume or

15  on the sewer?

16       A.    The flume meaning the flume line?

17       Q.    Yeah.

18       A.    That's correct.

19       Q.    All right.  And this was based upon the

20  fact that we together as a utility were cooperating

21  with Staff to convert from our -- what was done

22  before, which has been entered in testimony, with

23  three or four people in the resort proper using pro

24  rata pieces of their time going over to the two of

25  you, Mr. Vierthaler and yourself, as permanent

00143

1  employees?

2       A.    (Nodding head.)

3       Q.    Okay.  The last question --

4             JUDGE WALLIS:  I'm sorry.  We need to have

5  the witness state the answer.

6             THE WITNESS:  Yes.

7       Q.    Okay.  The last question.  The dam itself,

8  the water level in the lake that you said that you

9  spent some time measuring, is it true that your

10  responsibilities also include reporting information on

11  these levels to the Department of Ecology?

12       A.    I don't know that answer.  I don't have an

13  answer.

14       Q.    All right.

15       A.    I haven't --

16       Q.    That's fine.  You take the measurements for

17  some reason.  Who do you turn those measurements in

18  to?

19       A.    I fill out paperwork with the measurements

20  on them.

21       Q.    And do you have any idea where they go?

22       A.    No, I don't.

23       Q.    Would the administrative manager know that?

24       A.    Possibly.

25             MR. DONAHOE:  Okay.  Thank you.  I have no

00144

1  further questions.

2             JUDGE WALLIS:  Is there anything further,

3  Mr. Lundgaard?

4             MR. LUNDGAARD:  Yes.

5

6                   RECROSS-EXAMINATION

7  BY MR. LUNDGAARD:

8       Q.    If you recall there are really four places

9  where food is served in the resort area; is there not,

10  meaning the resort itself, the lodge or the large

11  lodge area, the cafe, and isn't there also food served

12  in the marina in two places where there's a bar and

13  then a restaurant in the marina?  Or there is food

14  served in a bar in the resort, and then there's also

15  food served at the marina?

16       A.    The marina has a restaurant, yes.

17       Q.    Okay.  And then food is served in the

18  mansion?

19       A.    There's two rooms in the mansion, but it's

20  all served from the same place.

21       Q.    And then there is also the Discovery House?

22       A.    Yes.

23       Q.    And instead of the two that you responded

24  to Mr. Goltz, there's actually three or four if you

25  include the bar and the mansion?

00145

1       A.    I don't know if they serve food in the bar

2  or not.

3       Q.    You don't know when the flume was first out

4  of service; do you?

5       A.    Not exactly.  I might be able to go over

6  some paperwork I have, but I don't have an answer.  I

7  mean, exactly the date, I can't give you the date.

8       Q.    And your first comment to me or testimony

9  to me was it was 90 to 120 days?

10       A.    Yes.  It wasn't out 90 to 120 days, but I

11  don't have an accurate number.  That was my mistake.

12  I'm in trouble.

13       Q.    Now, the marina has potable water and

14  non-potable water at the present time?

15       A.    Right.

16       Q.    How long has it had non-potable water?

17       A.    Sixty days.

18       Q.    So that prior to that --

19       A.    I'm guessing.  It was supposed to have

20  been.  Yes.

21       Q.    Prior to that it was only potable water?

22       A.    Yes.

23       Q.    So if they washed down their boat, they

24  were using potable water?

25       A.    Right.

00146

1             MR. LUNDGAARD:  That's all.  Nothing

2  further.

3             JUDGE WALLIS:  Is there anything further?

4

5                   RECROSS-EXAMINATION

6  BY MR. GOLTZ:

7       Q.    There are two kitchens, correct, at the

8  resort?

9       A.    Two kitchens, yes.

10             MR. GOLTZ:  Nothing else.  I have no

11  further questions.

12             JUDGE WALLIS:  Anything further?

13

14                   RECROSS-EXAMINATION

15  BY MR. LUNDGAARD:

16       Q.    I hate to belabor the point, but isn't

17  there a kitchen in the marina for that restaurant?

18       A.    Yes.

19       Q.    And there's one at the mansion?

20       A.    Yes.

21       Q.    And there's one at the other cafe?

22       A.    What other cafe?

23       Q.    Discovery house.

24       A.    They don't have a full kitchen there.

25             MR. LUNDGAARD:  Okay.

00147

1             JUDGE WALLIS:  Now is there anything

2  further?

3             (No audible response.)

4             JUDGE WALLIS:  Last chance.  It appears

5  that there is not.  Thank you, very much for appearing

6  today.  You're excused from the stand.

7             At this time let's be off the record for a

8  moment to discuss scheduling.

9             (Discussion off the record.)

10             JUDGE WALLIS:  Back on the record.

11             We've decided that we will resume at

12  approximately 2:15.

13             (Lunch recess at 1:23 p.m.)

14

15

16

17

18

19

20

21

22

23

24

25

00148

1                    AFTERNOON SESSION

2                       (2:47 p.m.)

3

4             (Marked Hearing Exhibits 7, 8, 9, 10,

5              and 11.)

6             JUDGE WALLIS:  Let's be back on the record,

7  please, following our noon recess.

8             The respondent is calling Mr. Drahn to the

9  stand at this time.

10             Let me mark these exhibits for

11  identification.  Mr. Drahn's testimony is Exhibit 7

12  for identification.  A packet including a letter dated

13  August 7th on letterhead of MPD and signed by Daniel

14  S. Drahn, PE is marked as Exhibit 8 for identification.

15  A document designated DET-9 is marked as Exhibit 9 for

16  identification.  DET-4 is marked as Exhibit 10 for

17  identification.  And DET-3 is marked as Exhibit 11 for

18  identification.

19  Whereupon,

20                     DANIEL S. DRAHN,

21   having been first duly sworn, was called as a witness

22  herein and was examined and testified as follows:

23             JUDGE WALLIS:  Now Mr. Donahoe.

24

25

00149

1                    DIRECT EXAMINATION

2  BY MR. DONAHOE:

3       Q.    Would you please state your name and

4  business address for the record.

5       A.    My name is Daniel S. Drahn, and I work with

6  Metke, Parrish and Drahn, P. O. Box 897, Friday

7  Harbor, 98250.

8       Q.    Do you have a copy of the exhibit that

9  we've just referred to containing your pre-filed

10  testimony which has been marked for identification?

11       A.    Yes.

12       Q.    If I were to ask you the questions stated

13  in this exhibit, would your answers be the same as the

14  answers set forth in the exhibit?

15       A.    Yes, they would.

16       Q.    Were these exhibits prepared by you or

17  under your supervision?

18       A.    Yes.

19       Q.    To the best of your knowledge, are these

20  exhibits correct and accurate?

21       A.    Yes, they are.

22             MR. DONAHOE:  I move for the admission of

23  these exhibits.

24             JUDGE WALLIS:  By that, are you referring

25  to Exhibit 7 or all of the exhibits that have been

00150

1  identified?

2             MR. DONAHOE:  The exhibits that are

3  contained in his testimony in addition to those four

4  that we asked to be included in Mr. Drahn's testimony.

5             JUDGE WALLIS:  Let's be off the record for

6  just a minute.

7             (Discussion off the record.)

8             JUDGE WALLIS:  Let's be back on the record.

9             It's been clarified that the testimony does

10  not contain additional exhibits, so let me ask if

11  there are objections to Exhibit 7 for identification?

12             (No audible response.)

13             JUDGE WALLIS:  Let the record show there is

14  no response, and Exhibit 7 is received.

15             (Admitted Hearing Exhibit 7.)

16             MR. DONAHOE:  The witness is available for

17  cross-examination.

18             JUDGE WALLIS:  Mr. Donahoe, do you want to

19  offer the other exhibits at this time, the letter and

20  the formal attachments to the other pre-filed

21  testimony?

22             MR. DONAHOE:  Yes, your Honor, I would like

23  to offer for this testimony DET-9, DET-4, and DET-3,

24  as well as the letter dated August 7th, which I

25  believe has been identified as Exhibit 8.

00151

1             JUDGE WALLIS:  Mr. Drahn, as to those

2  documents, did you prepare those, or were they

3  prepared under your direction or supervision?

4             THE WITNESS:  They all appear to be

5  documents that were transmitted directly to Dan

6  Donahoe by MPD on MPD letterhead or the spread sheet

7  is very similar to a spread sheet that we've talked

8  about, and I checked to make sure that that was

9  identical.

10             JUDGE WALLIS:  To the best of your

11  knowledge and belief, those are documents from your

12  firm then?

13             THE WITNESS:  Yes.

14             JUDGE WALLIS:  On that basis, is there any

15  objection to those documents?

16             THE WITNESS:  No.

17             MR. LUNDGAARD:  No.

18             JUDGE WALLIS:  That's a question for

19  counsel.

20             JUDGE WALLIS:  There are no objections, and

21  Exhibits 8 through 11 are received.

22             (Admitted Hearing Exhibits 8, 9, 10,

23              and 11.)

24             JUDGE WALLIS:  And the witness is available

25  for cross-examination.

00152

1                    CROSS-EXAMINATION

2  BY MR. GOLTZ:

3       Q.    Good afternoon.

4       A.    Good afternoon.

5       Q.    Did you work on the water system plan which

6  was prepared for the water utility and submitted to

7  the Department of Health by Rosario Resorts?

8       A.    Yes, I was the project manager for

9  assembling the water system plan.

10       Q.    And there is a term that is being -- that's

11  been used in your pre-file testimony.  Well, it's in a

12  number of pre-file testimonies.  R.E.U.  Can you

13  define what that term means.

14       A.    I understand that to mean the residential

15  equivalent unit.  Or if you have a bulk metered use,

16  you divide that bulk metered use by some value that

17  you assign as one E.R.U., and that tells you how many

18  houses worth of water went through that meter.

19       Q.    But I also see it called E.R.U. in some

20  places.  Is there any difference between those?

21       A.    There is no difference.  For a time the

22  Department of Health preferred to use E.R.U. rather

23  than R.E.U.  That would be equivalent residential

24  unit.

25       Q.    And is the purpose of -- would one

00153

1  calculate that -- if one were giving water to a group

2  of single family dwellings, would there be a need to

3  make that calculations?

4       A.    Usually not.  E.R.U.'s are generally system

5  specific, in other words, from one water system to

6  another.  You generally would calculate an E.R.U.

7  based on the use -- the average use that you find in

8  that system.

9       Q.    But in order to make that calculation, you

10  have to -- you basically have to find a set of

11  residences and calculate the use by those residences,

12  and then you simply in effect try to calculate what

13  the equivalent is for those which are not residences?

14       A.    Yeah.

15       Q.    So you might use it for a commercial center

16  of some sort?

17       A.    Yeah.  On the Rosario water system, there's

18  two types of uses that would utilize the concept of

19  E.R.U.  One is the commercial, which is the resort,

20  that goes through those master meters.

21       Q.    Let me just interrupt you for just a

22  second.  Is that the only commercial use within the

23  water system?

24       A.    Yes.  That's the only one that I'm aware

25  of.

00154

1       Q.    Go ahead.

2       A.    And, secondly, the bulk water purchase,

3  which would be two areas, the Highlands, Orcas

4  Highlands, and Vusario.  Both those buy water through

5  a master meter.  And so some of the discussion has

6  been about how to convert that master meter reading

7  into a number of residences.

8       Q.    But why couldn't you simply count the

9  number of residences behind that master meter?  Is

10  there something magical about the master meter that

11  makes -- all of a sudden you put in a master meter

12  serving individual residences, and then it's no longer

13  appropriate to go count the houses?

14       A.    Typically when a utility sells water in

15  bulk either to a commercial user or to bulk water

16  purchasers, they actually use a rate that is based on

17  a per-gallon basis.

18       Q.    I understand that.  But so do single family

19  dwellings?

20       A.    That's true.

21       Q.    And so if you -- if I had a house next to

22  yours, and you were really more prudent with your

23  water use than I was, and I over-watered my lawn, and

24  I used twice as much water than you did, and we both

25  had meters, I mean, wouldn't the utility count us

00155

1  each as one, or would they count me as two and you as

2  one?

3       A.    When you install residential meters, then

4  you no longer use E.R.U.'s or R.E.U.'s.  At that point

5  each individual house becomes a metered use.  But at

6  this point neither Rosario residential nor bulk water

7  purchase areas are metered individually.

8       Q.    I understand why at Rosario you have to

9  calculate E.R.U.'s because there is no single family

10  dwellings there?

11       A.    There's no metered single family dwellings.

12       Q.    Right.  And, as a matter of fact -- I mean,

13  what you're trying to do is make an apples-and-apples

14  comparison between the resort and this neighborhood of

15  single family dwellings that is also served by the

16  water utility?

17       A.    Yes.

18       Q.    And so it's appropriate, indeed necessary,

19  to have some sort of conversion and do E.R.U.'s to

20  compare usage by the resort with a group of single

21  family dwellings?

22       A.    Yes, it's handy.

23       Q.    Okay.  And in the course of the water

24  system plan that you are project manager for, you

25  undertook that effort on behalf of the utility?

00156

1       A.    No, that's not correct.  The effort was

2  started for the resort in early '94, and the utility

3  was established in early '95.

4       Q.    I understand.  For the resort you undertook

5  to do that?

6       A.    Yeah.  Okay.

7       Q.    And what you -- the raw material then that

8  you -- that -- the raw material for what was later to

9  become the water system plan is contained in part in

10  what has been admitted as Exhibit 9?

11       A.    A portion of the back-up or the raw material

12  that went into trying to understand and analyze the

13  resort and the Rosario system as a whole fills a legal

14  box back at my office.  But some of it ended up in the

15  appendix, some of the important pieces, yes.

16       Q.    And then more recently there was a -- now,

17  did you personally make that E.R.U. calculation for

18  the water system plan?

19       A.    I supervised the calculation for the water

20  system plan in '94, yeah.

21       Q.    And could you turn to your Exhibit 9.

22             MR. DONAHOE:  DET-9?

23             MR. GOLTZ:  DET-9.

24             THE WITNESS:  (Witness complies.)

25       Q.    Does yours have a fax machine code at the

00157

1  top?

2       A.    Yeah, it does.

3       Q.    What is the date of that?

4       A.    It says January 19th, 1994.  And that's

5  an error.

6       Q.    So when was this document prepared?

7       A.    7/30/96.

8       Q.    You mean 7/29/96?

9       A.    You're referring to a memo from me dated

10  7/30/96?

11       Q.    No, I'm referring to a document that I

12  thought was DET-9.

13             JUDGE WALLIS:  Let's be off the record for

14  a moment.

15             (Discussion off the record.)

16             (Remarked Hearing Exhibit 9.)

17             JUDGE WALLIS:  Let's be back on the record,

18  please.

19             To clarify, during a brief period off the

20  record, it's been determined that Exhibit 9 is the

21  document that was pre-distributed to the parties.  It

22  bears an exhibit number stamp dated July 29, 1996

23  and consists of a memo dated July 29, '96 from Dan

24  Drahn, two page document.

25             Mr. Goltz?

00158

1             Does the witness recall the question?

2             THE WITNESS:  No, sir.

3             JUDGE WALLIS:  Does Mr. Goltz recall the

4  question?

5             MR. GOLTZ:  No.  Let's just move on here.

6       Q.    Was Exhibit DET-9, which has been admitted

7  as Exhibit 9, prepared by you?

8       A.    Yes.

9       Q.    And it was at the request of Rosario

10  Utilities?

11       A.    Yes.

12       Q.    And did you personally do the work --

13  pardon me.  In Exhibit 9 you make two references to

14  two items.  Reference one is the analysis in the water

15  system plan.  And you're familiar with that work?

16       A.    Yes.  I supervised that calculation in late

17  '94.

18       Q.    Okay.  And you personally did the

19  calculation under reference two; is that true?

20       A.    No.  That was done by my partner, Tom Metke.

21       Q.    But are you familiar with that?

22       A.    Yes.

23       Q.    And am I correct that essentially it's

24  simply based on updated calculations?

25       A.    The difference --

00159

1       Q.    New data I should say?

2       A.    You're asking -- you're asking about the

3  difference between the water system plan --

4       Q.    Yes.

5       A.    -- R.E.U. calculation --

6       Q.    Yes.

7       A.    -- and the data?

8       Q.    Yes.

9       A.    When we looked at it, the difference

10  between R.E.U.'s between the two reports was only the

11  difference in the meter data.  The '94 data differed

12  from the test year.  And in general in the test year

13  residential use went up and resort use went down

14  according to that document.

15       Q.    And the -- but the calculation for the

16  water system plan in your opinion was an accurate

17  one?

18       A.    Yes.

19       Q.    Okay.  And you stand by that?

20       A.    Yes.  Yeah.

21       Q.    Now, let me ask you this:  In looking at

22  DET-9 or Exhibit 9, you say that it's based on 310

23  gallons per day residential unit; is that correct?

24       A.    I looked at the 1994 data and the 1995

25  meter data and depending on what assumptions you make

00160

1  about unaccounted for water, which has been an issue --

2       Q.    Which is what?

3       A.    It has been discussed between engineers

4  over the past months.  Depending on the assumption

5  that you make for unaccounted for water, if you give

6  a zero percent or a no allowance for unaccounted water

7  in the residential area, then in the 1994 year

8  residences used an average of 344 gallons per day per

9  connection.  In 1995 that increased to 400 gallons

10  per day per connection.

11       Q.    Okay.  So the 310 figure is -- you have a

12  10 percent discount unaccounted for water?

13       A.    Right.  If you assume that there was a 10

14  percent unaccounted for water past the master meters.

15       Q.    Past the master meters?

16       A.    Right.  Keep in mind that there's -- all

17  these residences on a string let's say, and there's a

18  master meter that is measuring a group of residences.

19  So these numbers that were calculated are from master

20  meters that pick up chains of residences.

21             So what I'm saying is unaccounted for water

22  would be water that passes a residential master meter

23  and yet is not used in the house.

24       Q.    How do you know it's not used in the house

25  if the house itself is not metered?

00161

1       A.    Well, I think you don't.

2       Q.    Then why would you assume a 10 percent

3  unaccounted for water?

4       A.    Systems that do meter typically track

5  unaccounted for water because it's the difference

6  between what they make and what they bill for in all

7  the meters.

8             And that will vary between 5 and 20 percent

9  from system to system and vary during the year,

10  because you've got losses related to treatment, like

11  backwash.  And then inside the system you have normal

12  losses that would be like flushing for trying to clean

13  lines, construction, or fire draws from areas.  All

14  that water would pass through a master meter, but it

15  would not be used in the home.  And also leaks.

16       Q.    So this unaccounted for water is on the

17  residential side of the master meter or the resort

18  side of the master meter?

19       A.    The unaccounted for water that we're

20  talking about is we know how much water goes through

21  the residential master meters, but we don't know how

22  much beyond that point.  Because the residences are

23  not metered, we don't know how much would be lost or

24  unaccounted for at this time.

25       Q.    So the 344 gallons per day is that which is

00162

1  actually measured at the master meters?

2       A.    Right, residential master meters.

3       Q.    And the resort master meter as well or not?

4       A.    No.

5       Q.    So your calculation in 1994 did not measure

6  water from the resort -- or, pardon me, going to the

7  resort?

8       A.    Yes, it did.

9       Q.    And how was that measured?

10       A.    The resort use is tracked using six master

11  meters.  Those are added together to determine the

12  resort use.  It's already been discussed that there

13  are a couple of houses that served beyond the resort

14  master meters.

15       Q.    And did you account for those in your

16  1994 cal --

17       A.    No, we ignored those residences.

18       Q.    Did you ignore those as well in your 1996

19  calculations?

20       A.    Yes.

21       Q.    The 300 and -- and so am I correct then the

22  R.E.U.'s for the resort are simply taking the sum

23  of the water that goes through the six master meters

24  to the resort and divide that total -- you divide 344

25  into that total?

00163

1       A.    If you're talking about 1994, you would

2  take the total that went through the master meters and

3  divide it by 310, because in the water system plan,

4  we assumed that there was a 10 percent loss across the

5  board, in other words, a 10 percent unaccounted for

6  water in residential, a 10 percent unaccounted for

7  water in the commercial, a 10 percent unaccounted for

8  water in bulk purchase areas.

9             So to do that calculation in 1994, you

10  would use -- you would divide the adjusted meter

11  readings, in other words, the meter readings less 10

12  percent, divide that by 310 to get an R.E.U.

13       Q.    Or another way to do it would be to not

14  subtract unaccounted for water and divide by 344?

15       A.    Exactly.

16       Q.    And would that give you the same result?

17       A.    Yes.

18       Q.    Okay.  So in 1994 were there any assumed

19  leakages in the system other than what you described

20  to me as potential leakages and unaccounted water?

21       A.    In 1994 we assumed a 10 percent across the

22  board unaccounted for water.  In other words, all

23  three types of users, being bulk water, commercial,

24  residential, we assumed all those.

25       Q.    That's all the user side of the master

00164

1  meters?

2       A.    (Nodding head.)

3       Q.    Is there anything on the utility side of

4  the master meters that impacted that?

5       A.    We also -- off the top we took 3 percent or

6  3.8 percent for backwash, which was an average of

7  tracked backwashes that we watched through the

8  previous year.

9       Q.    That's subtracted off the top, so in effect

10  it's allocated through all user types?

11       A.    Right.

12       Q.    And that same system was used for your 1996

13  data?

14       A.    For the 1995 test year are you talking

15  about?

16       Q.    No.  Your reference 2 in Exhibit --

17  your 1996 MPD Engineers Report, which is Exhibit 10,

18  DET-4.

19       A.    The same technique was used.  Similar.

20       Q.    Except you didn't go through this little

21  drill with unaccounted for water?

22       A.    In the '96 work, we did it exactly -- we

23  used another alternative and assumed a zero percent

24  unaccounted for water and then used the higher

25  residential, in other words, what actually came

00165

1  through the meter.

2       Q.    If you had done the 10 percent unaccounted

3  for water, the result would be the same?

4       A.    Yes.

5       Q.    So am I correct that then based on the

6  major difference -- then you came up with different

7  numbers for R.E.U.'s for the resort in 1996 than you

8  did in the water system plan?

9       A.    Yes.

10       Q.    And essentially the reason for that is the

11  residential use went up?

12       A.    Yes.  Per the data of the test year,

13  residential use went up, and resort use went down

14  during the year.

15       Q.    The resort use just went down by a little

16  bit; didn't it?  In other words, isn't the main reason

17  that you have, I guess, a fairly significant difference

18  of numbers is that the residential use went up?

19       A.    The drop in residential use was significant.

20       Q.    You mean the increase in residential use?

21       A.    No.  Keep in mind that reference one has

22  already discounted 10 percent.

23       Q.    I understand, without the discount of

24  344 gallons per day.  In 1996 they're using 400

25  gallons per day.

00166

1       A.    In reference one in the water system plan,

2  we calculated that the resort used 33,870 gallons per

3  day average during that year.  And the note attached

4  to that says that it's already been discounted 10

5  percent for unaccounted for water.

6       Q.    I was talking about residential use going

7  up, and you were talking about resort use going down.

8  Let's go to the resort.  Go ahead.

9       A.    Resort use going down over that period is

10  significant.  It has dropped significantly.

11       Q.    But the 10 percent unaccounted for water

12  system wide was 11,680 gallons per day; is that right?

13       A.    Yeah.  That would be 10 percent of the

14  total production less backwash.

15       Q.    And roughly one third of that would be

16  presumably attributable to the resort?

17             MR. LUNDGAARD:  Excuse me, Counsel.  Which

18  exhibit are you referring to?

19             MR. GOLTZ:  Nine.

20             JUDGE WALLIS:  Off the record for a moment.

21             (Discussion off the record.)

22             JUDGE WALLIS:  Let's be back on the record,

23  please.

24       Q.    Referring to Exhibit 9, reference 1,

25  unaccounted for water, the figure is 11,680, correct?

00167

1       A.    Correct.

2       Q.    Approximately one third of that would be

3  attributable to the resort; is that correct?

4       A.    Correct.  It would be 3,380 gallons.

5       Q.    So you would add that -- to make an

6  apples-to-apples comparison between reference 1 and

7  reference 2, you would have 36,000-plus-something use

8  by the resort?

9       A.    37,000-plus, yeah.

10       Q.    37,000-plus.  Okay.  And then you would

11  compare that to the 35,650 -- I believe that's 650 --

12  for the resort in reference 2?

13       A.    Right.

14       Q.    And that is the scope of the decrease --

15  wait -- the decrease in resort use?

16       A.    Yes.

17       Q.    Okay.  And then the increase in residential

18  use is from 344 gallons per day to 400 gallons

19  per day on apples-to-apples comparison?

20       A.    Yes.

21       Q.    And those two items explain the difference?

22       A.    Yes.

23       Q.    Referring over now to Exhibit 10, which

24  is DET-4, that was prepared by your partner, correct?

25       A.    Give me a second.  Yes, it was.

00168

1       Q.    Now, there your engineering firm used two

2  methods to get to the R.E.U. calculation for the

3  resort?

4       A.    That's correct.

5       Q.    And are both of these what you may term

6  standard methods for determining R.E.U.'s for a

7  commercial area?

8       A.    Yes.  Calculation one was based on the test

9  year meter data, and No. 2 was a check using

10  theoretical use values for both resort use and

11  residential use.

12       Q.    And my question was:  Are these both

13  standard in the engineering profession for calculating

14  R.E.U.'s?

15       A.    Yes, I think so.

16       Q.    The assumption to my last question was

17  there is some sort of a standard way of doing it.  Is

18  this something that someone learns in engineering

19  school for example?

20       A.    Probably not.

21       Q.    Is there a textbook that describes standard

22  methods for doing this or -- this isn't just an MPD

23  idea; is it?

24       A.    No.  I think, of course, we're using our

25  experience, but it's -- I would say that it's standard

00169

1  because it would be accepted by the Department of

2  Health in their standard calculations of E.R.U.'s from

3  meter readings.  And then also they would use those

4  references for a theoretical check I would say.

5       Q.    But either one of these independently

6  could be a way to do it?

7       A.    Yes.  I think I would -- I would lean

8  towards using the actual meter readings.

9       Q.    Now, let me ask you this:  You mentioned

10  -- in your calculation No. 1 on Exhibit 10 you state

11  for the rooms, used 9,314 gallons.  And those are

12  based on those meters which are upstream from the

13  various guest rooms at the resort?

14       A.    That's a breakout of detail of some of the

15  six independent master meters used at the resort.

16       Q.    Okay.  And then restaurants refers to the

17  -- I think we've now established the restaurants

18  are associated with two kitchens at the resort?

19       A.    Yes.

20       Q.    Whatever number of restaurants that may be?

21       A.    Yes.

22       Q.    And the marina includes then this water

23  used at the marina?

24       A.    The meter would pick up water used at the

25  marina restaurant facility, and also if people were to

00170

1  use potable water to wash their boats, that would go

2  through their master meter.

3       Q.    And what about the pools, where do those

4  fall out in this?

5       A.    I couldn't tell you without looking at a

6  plan and talking to John Cavalli.

7       Q.    Now, referring down to calculation No. 2,

8  this measures waste water flows, typical waste water

9  flows from commercial sources.  And I imagine this is

10  an EPA manual that makes some generalizations about

11  waste water flows at various types of commercial

12  establishments?

13       A.    Yes.

14       Q.    And you excerpted from that what the EPA

15  says is typical for a hotel and for a restaurant?

16       A.    Yes.

17       Q.    And for the hotel, they give an estimate

18  for a per-room use?

19       A.    Yes.

20       Q.    And is it EPA assumption that there is two

21  guests per room, or is that your assumption?

22       A.    I would -- I don't know.  I think it could

23  be either way.  In the manual it could tell you what

24  to assume for a number of guests, or it's just as

25  likely that Tom Metke could have thought there might

00171

1  be two guests per room.

2       Q.    But in either case, that was Mr. Metke's

3  best professional judgment as to what would be the

4  appropriate way to do it?

5       A.    Yes.  And he's been a water engineer in

6  this county for 17 years.

7       Q.    And then now for the restaurant, apparently

8  the typical usage is 2.6 gallons per day per meal; is

9  that correct?

10       A.    Right.

11       Q.    And the 149 meals served at the restaurant,

12  that is -- how did he come to that figure; do you

13  know?

14       A.    I don't know.

15       Q.    What would be the typical way that a

16  competent engineer like Mr. Metke would have done

17  that?

18       A.    To either call Dan Donahoe or the manager

19  and find out how many meals they serve a day.

20       Q.    And so according to what Mr. Metke did,

21  that results in 387 gallons per day attributable to

22  the restaurant?

23       A.    Yes.

24       Q.    Referring up to calculation No. 1, you list

25  3.382 million gallons per day for the restaurants?

00172

1       A.    Yes.

2       Q.    And you testified that that is -- now, if

3  one were to divide that -- I'm sorry, that's a yearly

4  figure.  Right, that would be a yearly figure.  That

5  would be a yearly figure of 3,382,000.

6             So if one were to divide 365 into 380 --

7  into 3,382,000 would you accept subject to check that

8  that comes out to be 9,265 gallons per day?  That

9  can't be right.

10             MR. LUNDGAARD:  Are you speaking only of the

11  restaurant?

12             MR. GOLTZ:  I'm speaking of the restaurant

13  in calculation No. 1.

14       Q.    Would you accept subject to check that

15  that's approximately 9,265 gallons per day?

16       A.    I think you're not comparing apples to

17  apples.

18       Q.    Okay.  Tell me --

19       A.    Because the meters -- or the master meters

20  for the resort that pick up the kitchen flows also

21  serve a bunch of other facilities and buildings and

22  clusters of buildings.  So the metered use is a more

23  accurate representation of what actually gets used at

24  the resort.

25             If the kitchen facilities and the

00173

1  restaurant were a stand-alone building, then I think

2  that you might be able to do the type of comparison

3  that you're trying to do.

4       Q.    The kitchen facilities, including what --

5  or the kitchen facilities are in the main mansion,

6  correct?

7       A.    (Nodding head.)

8       Q.    One of the kitchen facilities is in the

9  main mansion?

10       A.    Right.

11       Q.    And what else is in the main mansion that

12  uses water?

13       A.    There is at least three floors of offices

14  and other uses in the resort.  And also conference

15  rooms and public restrooms.  And I just don't think

16  that that comparison would work.

17       Q.    The EPA data is used for -- do you know the

18  purpose for which the EPA manual is used generally?

19       A.    It was designed to be a guideline for waste

20  water generation.

21       Q.    And Mr. Metke just picked this as a check

22  on what he was doing?

23       A.    He didn't just pick it.  I think that is

24  the standard reference for potable water estimates.

25  If you don't have any meter records, and you're trying

00174

1  to estimate how much water will be used, that is the

2  current reference in Washington state per Department

3  of Health.

4       Q.    Okay.  But basically your estimate of --

5  would you believe that this number, 387 in

6  calculation 2, 387 gallons per day for the restaurant,

7  is even a ballpark -- is a correct figure?  Doesn't

8  that seem low to you?  Let's be more direct.  Doesn't

9  that seem low to you?

10       A.    Yes, it does.  And keep in mind that the

11  same EPA method for generating residential use on the

12  next page uses 240 gallons per day per residence,

13  which is what they thought whenever they wrote that

14  manual was some type of an average across a few

15  states.

16             Both residential and commercial uses seem

17  low when compared to Rosario.  But if you're going to

18  go into Fairyland of this waste water estimating

19  category, then --

20       Q.    That's F A I R Y?

21       A.    -- then you have to stick with their

22  numbers for both estimating your commercial uses and

23  your residential.  And what that showed us is that

24  when you did, if you transformed yourself into the

25  world of EPA waste water, that they would predict that

00175

1  the resort would use about as much water as the

2  proportion as the meter readings were showing.

3       Q.    What's the conversion factor to convert

4  gallons per day into cubic feet?  Or how many cubic

5  feet in a gallon?

6       A.    There's 7.48 gallons per cubic foot.

7       Q.    Did you have an opportunity to review the

8  E.R.U. analysis, or as he called it the R.E.U.

9  analysis, performed by Mr. Eschenbrenner?

10       A.    Yes, I reviewed that at one time.

11       Q.    And I'm looking at what has been filed

12  as Exhibit 4 to Mr. Eschenbrenner -- GPE-4.  Is that

13  what you reviewed?  Do you have a copy of that?  It's

14  a letter dated June 9, 1996 to Mr. Lundgaard from Mr.

15  Eschenbrenner.  It says revised July 6th, 1996.

16       A.    Yes, I have that.

17       Q.    Okay.  Have you done any analysis -- and he

18  concluded that there's 146 R.E.U. for the resort.  Is

19  that your recollection?

20       A.    Yes, I see that he concludes there's 146

21  R.E.U.

22       Q.    And do you have an opinion as to whether

23  that's an accurate figure?

24       A.    There are some problems with the methods

25  that he is using to calculate the R.E.U.  And the

00176

1  principle -- the fundamental question is:  In the

2  Rosario system, how much water are residences actually

3  using?  Mr. Eschenbrenner is assuming arbitrarily that

4  all houses -- all these unmetered houses use 250

5  gallons per day per connection.

6       Q.    When you say 250 gallons per day, is that a

7  figure you derived from the thousand square foot per

8  month figure that he uses?

9       A.    He states that -- he uses the assumption

10  of 1,000 cubic feet per month.

11       Q.    Is that approximately 250 gallons per day?

12       A.    Yes.

13       Q.    I'm sorry.  Go ahead.

14       A.    So the fundamental difference is -- in this

15  R.E.U. calculation is trying to decide how much water

16  these houses are actually using.  We have the evidence

17  of water going through these master residential meters

18  that would show a very high use per residence.

19       Q.    I mean, comparatively higher than 250

20  gallons per day?

21       A.    Right.  And with what we think about for

22  unaccounted for water, closer to 400 gallons per day

23  per unit in the test year.  So there's the difference.

24             The primary difference is whether houses

25  use 400 gallons per day or some small measure less or

00177

1  whether they use 250 gallons per day, and somewhere

2  everything else is leaking away.

3       Q.    Are there master meters at the Morrison

4  condominium?

5       A.    I can't answer that just because I'm

6  unfamiliar.

7       Q.    Do you know if the Morrison condominiums

8  are also known as Cascade Harbor Inn?

9       A.    Cascade Harbor Inn?

10       Q.    If you don't know, that's fine.

11       A.    I don't know.

12       Q.    Do you see any other problems with Mr.

13  Eschenbrenner's analysis?

14       A.    You want to limit that to the discussion of

15  R.E.U.'s?

16       Q.    Yes.

17       A.    No, I don't.

18       Q.    So it's that major assumption of 1,000

19  cubic feet per month or approximately 250 gallons per

20  day that you would take issue with?

21       A.    Yes.

22       Q.    Because that's not -- that is not based on

23  a real-world reading of the use of water?

24       A.    Yes.  And the fundamental question is

25  whether you can apply some type of an average, whether

00178

1  it's multi-state or eastern Washington or whatever,

2  into a new situation and assume that the water use is

3  going to be the same.

4             And the answer is:  In San Juan County, you

5  can't make that assumption because we've tracked real

6  domestic uses above 1,000 gallons per day per connection

7  before irrigation.

8       Q.    You mean before lawn watering?

9       A.    Even where irrigation was not allowed,

10  we've seen domestic uses above 1,000 gallons per day

11  per unit in San Juan County in some circumstances.

12       Q.    They take lots of showers in San Juan

13  County?  Why is it so different?

14       A.    I don't know.  But it varies from location

15  to location.

16       Q.    Are you aware of any leaks within the areas

17  served by the water utility?

18       A.    Currently I've not been made aware of any

19  leaks.

20       Q.    Now, did you -- switching subjects.  Did

21  you or your firm provide Mr. Al Jones of the Utilities

22  and Transportation Commission with a list of facilities

23  and their original cost?

24       A.    A cost history analysis?

25       Q.    Yes.

00179

1       A.    Yes.

2       Q.    And how did you come to the figures in that

3  list, that is -- let me --

4       A.    Let me clarify that we did the basic

5  estimates for the historical utility's cost,

6  transmitted those to Rosario Utilities, and then I

7  went on vacation for a bit of time, and Tom Metke took

8  over my responsibilities.

9             MR. DONAHOE:  Excuse me.  Is that the item

10  that we've had this problem with back and forth that

11  is now Exhibit 8?

12             MR. GOLTZ:  I don't think so.

13             JUDGE WALLIS:  Let's be off the record.

14             (Discussion off the record.)

15             JUDGE WALLIS:  Let's be back on the record,

16  please.

17       Q.    Mr. Drahn, I've handed you what's been --

18  one of the pre-filed exhibits, AHA-3, which is an

19  exhibit to the pre-file testimony of Mr. Jones, who we

20  will hear from later.  Does that look familiar to you?

21       A.    The form and most of the content is

22  familiar.  We did the estimating basically for

23  historical facilities, water facilities, at Rosario.

24       Q.    Okay.  And you provided that to Mr. Jones?

25       A.    Actually we provided it to Dan Donahoe.

00180

1       Q.    Okay.

2       A.    And also gave them a file, an electronic

3  file.

4       Q.    And the materials that you provided to Mr.

5  Donahoe then, how did you -- what sort of records did

6  you go through to come to the -- why is it that you

7  had records of facilities, pipes, other equipment that

8  would have been included in the assets of the utility?

9       A.    When we started the water system plan in

10  1994, the Department of Health asked us to collect all

11  the receipts and existing information about

12  infrastructure and prepare a financial package.

13             The accounts of the resort were co-mingled

14  with the water utility, and, in fact, the water

15  expenses were coming out of at least three separate

16  accounts.

17             We determined at that time that it would be

18  very difficult, if not impossible, to reconstruct the

19  actual cost of the facilities based on invoices or

20  records.  And the Department of Health administrators

21  agreed that as far as they were concerned, invoices

22  and records for this utility did not exist at the end

23  of 1994.  So that was the first step that we took.

24             The second was we looked for contractor

25  bids or involvement of our company, which has served

00181

1  the Rosario area for 16 years, going back through our

2  files and seeing of all the major infrastructure

3  improvements where we might have been involved where

4  we would pick up bids or partial payments or contract

5  documents, and we found no documents like that.

6             Next we went to historical estimates, where

7  an engineer from MPD under different names might have

8  calculated at that time how much it was going to cost

9  to build the infrastructure, and we picked up a couple

10  pieces of historical information that way.

11       Q.    If I can stop you right there.  That means

12  you would go out and look at a piece of equipment,

13  and say this looks to me like it's -- based on my

14  professional judgment this was installed from

15  approximately 1980 or 1985 or whatever?

16       A.    No.

17       Q.    No?

18       A.    The step that you're talking about is how

19  did we decide what pieces were built when, and the

20  answer to that is that we have the Rosario water

21  system plan and also the plat development, in other

22  words, when pieces of property were platted and

23  developed for sale.  That's usually the time when the

24  infrastructure was built for those pieces.

25             So we used information that was provided to

00182

1  us by Sarah Geiser in the water system plan to create

2  a starting place.  We sat down and spent a day with

3  John Cavalli clarifying breakpoints and actual

4  construction dates of some of the big pieces of

5  infrastructure.

6             We divided all that apart based on the year

7  so that we could move the cost and time.  And then we

8  attached the estimates to those.  So that's how we

9  figured out when pieces were built.

10       Q.    Okay.  So, for example, if one were to look

11  down -- and this exhibit was sponsored by Mr. Jones.

12  But in AAJ-3 in the left-hand column there's a column

13  that's -- on the top of which is the number sign, and

14  then it goes down to 331, which is transmission and

15  distribution mains, I look down there and see a whole

16  number of dates.  And those are presumably dates where

17  certain transportation distribution mains would have

18  been added?

19       A.    That's correct.

20       Q.    And those dates were then sort of derived

21  by your firm in conjunction with people that had long

22  memories, so to speak?

23       A.    That's correct.

24       Q.    Okay.  So you were able to -- for example,

25  I see one that says 1978.  You were able to ascertain

00183

1  that in 1978 there was an addition to physical plant

2  of a transmission or distribution main?

3       A.    That's correct.

4       Q.    And presumably then in that time period

5  there was new additions to this water system?

6       A.    Right.  Normally it would be the

7  infrastructure related to adding a subdivision or a

8  new area of development, so you get mains of all

9  different sizes and other infrastructure.

10             Those are tabulated separately by year

11  on a backup sheet so that we can bring it together

12  and say, okay, this is the cost of all distribution

13  mains for a particular year.

14       Q.    Okay.  And then you came to an original

15  cost for those facilities based on your firm's

16  professional judgment?

17       A.    Our method of last resort, which we used

18  extensively, was to estimate how much it would cost to

19  build those mains or other facilities today, and then

20  take that cost and move it back in time using a

21  construction cost index in the engineering newsletters,

22  which is carried from -- 1900 is the start date.

23       Q.    So you made your best estimate as to -- say

24  if it was a 1978 addition, as to -- you figured out --

25  you estimated what that would cost today, and then

00184

1  through standard references you would in effect learn

2  what it would have cost in 1978?

3       A.    Yes.

4       Q.    And that was, in your judgment, the best,

5  indeed the only means, to make -- sort of, supply

6  the data that had been requested of you?

7       A.    To the best of our knowledge, it was the

8  best way.

9       Q.    The resort was transferred from the Geisers

10  -- the Geisers sold the resort at what time?

11       A.    I'm not familiar with the details of the

12  sale.

13       Q.    You are not familiar with the details?

14       A.    No, sir.

15       Q.    Were you or your firm involved in any

16  aspect of that sale?

17       A.    No, we were not.

18       Q.    Are you familiar at all with the allocation

19  of value between the resort and the utility in the

20  course of that sale?

21       A.    No, I have no knowledge of that.

22       Q.    You were not asked to be part of that

23  allocation?

24       A.    No.

25             MR. GOLTZ:  I have no further questions.

00185

1  Thank you.

2             JUDGE WALLIS:  Mr. Lundgaard?

3

4                    CROSS-EXAMINATION

5  BY MR. LUNDGAARD:

6       Q.    Thank you.  I guess I'll start where he

7  left off with a reference to Exhibit 11 to Thorson's

8  testimony.  That's DET-3.  Do you have that before

9  you?

10       A.    He just took that back.

11       Q.    I would like to have you look at that and

12  also look at Al Jones Exhibit 3.

13             JUDGE WALLIS:  Do you have it now?

14             THE WITNESS:  Yes.  I've got both those.

15       Q.    Now, looking at Al Jones Exhibit 3, it has

16  -- it's two pages; is it not?

17       A.    Yes.

18       Q.    And if you would look at the second page,

19  there's a category of work in 1959 that has a total

20  cost per year of 499?

21       A.    Yes.

22       Q.    And then that figure is shown then under

23  number -- on the first page, No. 331, transmission and

24  distribution, 1959.  Then in column of asset cost of

25  499; is that correct?

00186

1       A.    Yes.

2       Q.    And if you go back then -- I'll just go

3  through a couple these.  Go back to the second page

4  again.  Then the next one is for the time period of

5  1972.  There's a total there of 76,641; is that

6  correct?

7       A.    I don't see that.

8       Q.    Oh, $74,641?

9       A.    Yes, I see it.

10       Q.    And then if you look at the first page,

11  that's the next item under transmission and

12  distribution mains 1972 under asset cost, 74,641?

13       A.    Okay.

14       Q.    And if we went down the rest of these

15  numbers on the first page under category 331,

16  transmission and distribution mains, we would find on

17  page 2 those same numbers -- the following three

18  numbers, 32,045, 11,577, and 69,811; would we not?

19       A.    I suppose so.

20       Q.    Now, those numbers appear both on Al Jones

21  Exhibit 3 and on the exhibit that's been admitted as

22  Exhibit 11, DET-3; do they not?

23       A.    It appears that they do.

24       Q.    And those came from your calculations?

25       A.    Yes.  My calculations should be attached to

00187

1  our August 7th, 1996 letter, which I believe is DSD-2.

2  Or it might --

3       Q.    That's Exhibit 8, your letter to Dan

4  Donahoe?

5       A.    Yeah.  Does it have attachments with it?

6       Q.    No.  It has attachments, but those do

7  not include anything that looks like the graph that is

8  Exhibit 11 or Al Jones Exhibit 3.

9       A.    There's a spread sheet.  It should be first

10  attachment labeled at the top piping.

11       Q.    Our problem with page 2 of Exhibit 8 is

12  that -- that's the first page after your letter.  It's

13  just totally illegible.  I see your copy is much more

14  legiable?

15       A.    Right.

16       Q.    So you're saying that what is referred

17  to as page 1 at the bottom --

18       A.    Piping at the top.

19       Q.    -- and piping at the top is information

20  from your office that you used to prepare the chart

21  that's been identified as Exhibit 11 and also as shown

22  on Al Jones Exhibit 3?

23       A.    That's correct.

24             MR. GOLTZ:  Is there a way we can get a

25  legible copy?

00188

1             MR. LUNDGAARD:  It certainly would be nice

2  to have that.

3             JUDGE WALLIS:  Let's be off the record.

4             (Discussion off the record.)

5             (Short recess.)

6             JUDGE WALLIS:  Let's be back on the record

7  please following a brief recess.

8             Mr. Lundgaard.

9             MR. LUNDGAARD:  Thank you, your Honor.

10       Q.    Now, the next items on the asset cost list

11  that are below the figure of 69,811 all -- didn't

12  the rest of those figures all come from Mr. Jones'

13  worksheet when he developed the figure of $47,362?

14       A.    I've got a problem.  I've lost the

15  reference.  It went away to be copied somewhere during

16  the break, so I don't know -- I'm not following you.

17       Q.    Okay.  What you're referring to was the

18  better readable copy of your Exhibit 8?

19       A.    Oh, you're right.  You're right.

20       Q.    But I'm referring you to the chart?

21       A.    Okay.  I didn't have it, but I have it now.

22             MR. GOLTZ:  The chart which is what?

23             MR. LUNDGAARD:  The chart -- it's both on

24  Exhibit 11, which is DET-3, and it's on AJ -- or AAJ-3.

25  All of the numbers after 69,811 in the asset cost

00189

1  column under transmission and distribution mains are

2  the figures that were pulled together by Al Jones.

3             And if you would accept, subject to check,

4  that the numbers starting with $10,625.60 down to the

5  last one under transmission and distribution mains of

6  3,820.08, total $47,362, which is the amount that Al

7  Jones indicated that he could verify that had occurred

8  from 1985 through 1995?

9       A.    I can't confirm or deny that only because I

10  don't have my piping estimates that we used to

11  generate these numbers.

12       Q.    Okay.  But we can establish that Exhibit 11

13  was prepared by your office, which is DET-3, and it

14  shows a fax from Red Rock Resorts on July 30th, 1996?

15       A.    The framework of DET-3 was assembled at our

16  office, and all the estimates are included on this

17  August 7th letter as backup, all the estimates that

18  we did.

19       Q.    That's not my question.  Is there anything

20  in Exhibit 8, your August 7th letter to Mr. Donahoe,

21  that includes the numbers that I've just told you I

22  attribute to Al Jones' worksheet?

23       A.    Okay.  According to this information?

24       Q.    What information?

25       A.    The August 7th letter, No. 8.

00190

1       Q.    Okay.

2       A.    The last piping that we calculated was

3  1984.  The last transmission main should be 1984.

4       Q.    Which is the number I read to you as being

5  the last number that you had, which is 69,811; is that

6  correct?

7       A.    Subject to verification, yes.

8       Q.    Okay.  Now, those dollar figures in the

9  asset cost column were strictly estimates by you, and

10  they are not based on invoices?

11       A.    That's correct.

12       Q.    Okay.  Now, looking at Exhibit 8, your

13  letter of August 7th to Mr. Donahoe, you start out

14  by saying, we discussed the June 7, '96 MPD water

15  infrastructure inventory -- or as we discussed the

16  June 7, 1996 MPD infrastructure inventory was based on

17  the following hierarchy of information.  No. 1,

18  receipts and invoices not available.  Is that correct?

19       A.    Yes.

20       Q.    Okay.  Likewise contractor bids were not

21  available?

22       A.    Correct.

23       Q.    And that was after you had examined your

24  own company's back research and anything that was made

25  available to you by the resort --

00191

1       A.    Right.

2       Q.    -- people?  Okay.

3             Now, wouldn't it be safe to say that if you

4  had the invoices, it would be a much more accurate

5  way of developing what those costs were than to take

6  an estimate today of what it would cost to build today

7  and using a national manual to back that value or cost

8  to a year of '72 for example?

9       A.    Yes.

10       Q.    And you refer to that, this method that you

11  used using the ENR manual, as the method of last

12  resort?

13       A.    Yes.

14       Q.    Okay.  And is that adjustment on a national

15  average without giving you adjustments for the

16  northwest or for the Seattle area or things of that

17  nature?

18       A.    That's a national average.  In the past it

19  has tracked to the Seattle area very closely.

20       Q.    Now, towards the end of your questioning by

21  Mr. Goltz, you made a comment to the effect that you

22  were not familiar with the terms of the purchase price

23  of the resort?

24       A.    That's correct.

25       Q.    You did, however, prepare the water system

00192

1  plan?

2       A.    Right.

3       Q.    And do you happen to have a copy of that

4  with you?

5       A.    No, I don't.

6       Q.    Okay.  I'll show you a copy.  Let's see if

7  you -- this is page G-3 of the water system plan.  And

8  the top of it has K S and M.  And this was the name of

9  your engineering firm in 1994; was it not?

10       A.    Yes.

11       Q.    And if you would look at that and indicate

12  whether or not that's a record of a meeting that you

13  attended along with others?

14       A.    Yes, it is.

15       Q.    Okay.  And this is a record of that meeting

16  that was attended by Sarah Geiser, Dan Drahn, Dirk

17  Oldenburg, John Cavalli, and Roy Light; is that

18  correct?

19       A.    Yes.

20       Q.    And on the second page under paragraph 4,

21  did you indicate that the water system value assumed

22  to be a purchase price of $65,000?

23       A.    Yes.

24       Q.    And you just hadn't reviewed that recently

25  and had not recalled that meeting and that discussion

00193

1  I take it?

2       A.    Well, I didn't recall that meeting.  Keep

3  in mind that in the water system plan, we have to go

4  through this exercise one full time previous.

5             In other words, the UTC and the people who

6  actually set rates are not involved, but at the same

7  time the Department of Health is requiring us to

8  submit financial information, historical cost of water

9  systems, and develop a tentative rate structure for --

10  based on projected capital improvements.  So --

11       Q.    Like --

12       A.    So that meeting -- any discussion about a

13  system value at that time with Sarah Geiser, the

14  previous owner, would be related to what we would

15  assume in the water system plan that would develop the

16  theoretical rates for the Department of Health.

17       Q.    And you saw fit to include that, that was a

18  meeting held in December 22nd, 1994?

19       A.    It was an appendix to the water system plan.

20       Q.    I would like to refer you back again to

21  Exhibit 8, which is the August 7th letter from you to

22  Dan.  Do you have that before you?

23       A.    Yes.

24       Q.    If you would look -- in the second page of

25  attachments to that letter, ther's a reference to

00194

1  structures and improvements.  You have a reference

2  there to the treatment plant.  And you're referring to

3  the treatment plant concrete block -- 16 by 30

4  concrete block building?

5       A.    Right.

6       Q.    That is the -- you're referring now to the

7  treatment -- the existing treatment plant that's owned

8  by the utility?

9       A.    That's right.

10       Q.    Okay.  And you have a current cost of that

11  building of $16,800; is that correct?

12       A.    Yeah.  That's the shell.  It wouldn't

13  include anything inside the building.

14       Q.    Right.  And that's your estimate of the

15  current cost of that?

16       A.    Yes.  If we were to build a little concrete

17  block building like that, we thought that it would

18  cost about $35 a square foot.

19       Q.    That doesn't necessarily represent what it

20  actually cost to build the treatment plant building

21  that's out there now?

22       A.    No.

23       Q.    In fact, the building that is out there is

24  a wooden building; is it not?

25       A.    You may be right.

00195

1       Q.    And wouldn't it have been more accurate to

2  have estimated the cost of the same type of construction?

3       A.    I don't think it would make a difference.

4       Q.    Okay.

5       A.    The building is a piece of junk.

6       Q.    If you take the next page, under F you

7  have a 60,000 gallon concrete tank.  And is your

8  figure there an indication that it's your opinion it

9  would cost $50,000 to build that new?

10       A.    Yes, sir.

11       Q.    And then you use that figure and then

12  applied your ENR backup to arrive at a lower value

13  for the years that that tank was put in?

14       A.    That's correct.

15       Q.    And you've indicated that that tank under

16  Exhibit 11, that that tank was put in in 1973?

17       A.    I believe that's true.

18       Q.    You mentioned that you had tracked the

19  various subdivisions that had been put in and knew

20  those dates, and then assumed that they needed a

21  certain amount of piping and whatever, and so that's

22  how you arrived at some of these estimantes of

23  quantities of material I take it?

24       A.    Yes.

25       Q.    Were you also aware that the Geisers had

00196

1  developed Orcas Highlands?

2       A.    Yes, I had heard that they did.

3       Q.    And at the time that they put in the

4  development, they put in the water system that

5  ultimately was transferred to the homeowners?

6       A.    This is -- that's new knowledge to me, but

7  I believe it.

8       Q.    Okay.  And do you have any way of

9  determining whether or not the material that went

10  into that system may actually be in your Exhibit 11?

11       A.    It's not.  You start with the subdivisions

12  that are listed in the water system plan, and their

13  year of construction is also listed.  Then you go to

14  this map that shows -- not only does it show all the

15  different subdivisions, the legal property divisions,

16  in that legend down in the corner, but also it shows

17  lengths and sizes of pipe that are put into those

18  different pieces.

19             So it wasn't -- it was an accurate estimate

20  based on a map like that corrected by John Cavalli in

21  terms of the actual dates of construction, the

22  division points between subdivisions, and the types

23  of materials installed.

24       Q.    Continuing on with this same exhibit -- and

25  I don't -- these pages aren't numbered, but the one I

00197

1  want to refer you to next is one that has a caption

2  Rosario Water System Preliminary Construction Estimate

3  and Time Sequencing, June 27, '94.  Do you have that

4  sheet?

5       A.    Yes, I do.

6       Q.    And were those just preliminary estimates

7  at that time of what it would cost to put in the steel

8  storage buildings?

9       A.    Yes, they were.

10       Q.    And you have no records of what it actually

11  cost to put in those steel tanks?

12       A.    No, I don't.

13       Q.    I may have said storage buildings.  There

14  are two steel storages tanks; are there not?

15       A.    Correct.

16       Q.    The estimate here, however, is just for one

17  tank; is it not?

18       A.    Well, it's for 250,000 gallons of storage,

19  and the two tanks that were built I believe are

20  146,000 each.

21       Q.    Okay.  Now, I would like to address the

22  issue of the R.E.U.'s.  Again in the water system

23  plan you had the equivalent resort use of 109

24  E.R.U.'s; did you not?

25       A.    Correct.

00198

1       Q.    And that did not include any unmetered

2  water that was used by the resort facilities?

3       A.    Correct.  That's from the six master

4  meters.

5       Q.    Okay.  And you're aware that the employee

6  housing is not metered?

7       A.    Yes.

8       Q.    Referring you now to Exhibit 10 of -- which

9  is also DET-4, your engineering report dated June

10  12th, 1996 -- do you have that in front of you?

11       A.    Yes.

12       Q.    Okay.  Referring you to the first

13  calculation, the figure of 13,013,000 gallons per year

14  is an actual amount based on those master meters; is

15  it not?

16       A.    That's my understanding.

17       Q.    And again it would not include the

18  non-metered areas such as the employee housing?

19       A.    Correct.

20       Q.    Okay.  And calculation No. 2 is -- I think

21  you described as Fairyland?

22       A.    Yes, I did.

23       Q.    Okay.  And so when you were talking with or

24  answering questions by Mr. Goltz, and there was a

25  reference to 50 gallons a day for 179 rooms, there was

00199

1  no actual measurement of 50 gallons a day for those

2  179 rooms?

3       A.    No.  The EPA manual would give you a unit

4  use for a certain type of facility.

5       Q.    Likewise, there was no actual measurement

6  of the use by the employees or the meals in the

7  restaurants that were served?

8       A.    That's correct.

9       Q.    And those estimates are for waste water

10  flow rather than water useage?

11       A.    Yes.

12       Q.    Okay.  Now, if you take -- going back to

13  the actual meter readings going back to calculation

14  one, if you took the figure of 13,013,000 gallons per

15  year and divided that by 365 days, would you accept

16  that that figure would be 35,000 gallons per day?

17       A.    35,650.

18       Q.    Okay.  And on the second page where you

19  used the residential average of 240 gallons per day

20  for residents, you divided that figure into the

21  theoretical gallons per day from the EPA of 19,489 to

22  arrive at your 83 R.E.U.'s -- actually you arrived at

23  81.2; is that correct?

24       A.    Yeah, divide real values by real values and

25  theoretical values and theoretical.

00200

1       Q.    So if we go back to the real values then

2  and divide the 35,560 gallons per day by 240 gallons

3  per day per residence, would you agree with me that

4  that would -- that calculaiton would develop 148.6

5  R.E.U.'s?

6       A.    Are you suggesting that we divide the

7  actual values by the theoretical?

8       Q.    I'm asking you to use the residential usage

9  of 240 that came from your calculation No. 2.

10       A.    Well, I don't accept that 240 gallons per

11  day per residence is a good estimate of real use.

12       Q.    Are you aware that that's a figure that has

13  been accepted as a state average in the state of

14  Washington?

15       A.    Certainly.

16       Q.    Okay.  And when you were using a figure

17  of 400 gallons per day per residence, that was not

18  based on any actual meter reading; was it?

19       A.    Yes, it was based on the master meters,

20  the master residential meters, divided by the number

21  of units served.

22       Q.    When you say master meter readings, you

23  were taking all of the master readings for the resort,

24  subtracting them from the total amount of water that

25  came down from the source, and then attributing all of

00201

1  the rest of it to the residences?

2       A.    There are a number of master meters

3  scattered through the system, and they're tracked

4  using a meter tree.  There are some meters that

5  measure blocks of residences.

6       Q.    Are you referring to the condos?

7       A.    No.

8       Q.    What meters are you referring to that

9  measure the residential units?

10       A.    I would be glad to outline those if I could

11  get a copy of the meter tree in the water system plan.

12       Q.    That's in the water system plan, right?

13             MR. GOLTZ:  Your Honor, I believe that

14  meter tree is an exhibit to Mr. Eschenbrenner's

15  testimony, GPE No. 4, which is the one we were

16  referring to this morning.

17       Q.    But that has not been -- I've been handed

18  what you referred to as a meter tree that was a part

19  of the water system plan and which also is Exhibit 4

20  to the testimony of Mr. Eschenbrenner?

21       A.    Right.  And looking back at this, I would

22  say that apart from the six master meters that

23  comprise the resort and the two master meters that

24  comprise the two bulk water purchasers, we have one,

25  two, three, four -- eleven other master meters.

00202

1       Q.    There's a master -- there's a meter that

2  Orcas Highlands has for their facilities?

3       A.    That's correct.

4       Q.    Did you use that?

5       A.    No.  I'm saying apart from the resort use,

6  the commercial use, those six meters, and the two bulk

7  water purchase meters, there are eleven other meters

8  on the system that are tracking various stages of

9  residential use.

10       Q.    Would you identify those?

11       A.    Cascade Way Estates Two, Rosario

12  Palisades, Palisades South, Entrance West, Tomihi,

13  Rosario Road Estate Three, Cascade Way Estate Two,

14  10,000 gallon tank meter, Rosario Shores, and Rosario

15  Estates.

16             MR. BACON:  Could you repeat those, please.

17             THE WITNESS:  Rosario Palisades, Palisades

18  South, Entrance West, Tomihi, Rosario Road Estates

19  Three, Cascade Way Estate Two, 10,000 gallon tank

20  meter, Rosario Shores, and Rosario Estates.

21       Q.    The 10,000 gallon tank, doesn't that

22  provide water to the bath house in the marina?

23       A.    Yes, sir.

24       Q.    So that's not an accurate measurement of

25  residential use then; is it?

00203

1       A.    Well, if you subtract the resort meter use

2  from the 10,000 tank meter reading, you'll get an idea

3  of what the residences are using on that lane or the

4  leakage.

5       Q.    But there is no separate meter to the

6  marina; is there?

7       A.    The marina is a complex.  It's a group of

8  buildings.

9       Q.    But it doesn't have a separate meter?

10       A.    But it is metered.

11       Q.    But it's not metered separately?

12       A.    You have a 10,000 gallon tank meter, and

13  then it splits out into a bunch of uses.  One of those

14  meters serves the marina.  So the resort passes

15  through the 10,000 gallon tank.  If you subtracted the

16  marina reading from the resort -- or from the 10,000

17  gallon tank, you would know what the difference was.

18       Q.    But it's a mixture of the resort and the

19  bath house and the marina; isn't that what the chart

20  indicates?

21       A.    Water that passes through the 10,000 gallon

22  tank serves a bunch of resort facilities and also ten

23  units out of Rosario Shores and fourty-one units at

24  Rosario Estates at the end of 1994.

25       Q.    And so that all comes out of that one

00204

1  meter?

2       A.    Yes.  But if you subtract what goes through

3  that meter, if you subtract the resort master meters

4  down underneath, then you'll know what is used either

5  by the residences or lost.

6       Q.    Or lost?

7       A.    Yes.

8       Q.    Now, are you familiar with the location of

9  the meter -- the utility's meter on the line that

10  serves Orcas Highlands?

11       A.    Only on maps.

12       Q.    Okay.  And are you familiar with the

13  location of Orcas Highlands's meter?

14       A.    Isn't that the same question?

15       Q.    No, I asked you first the meter -- the

16  master meter owned by the utility on the line that

17  serves Orcas Highlands.  They have -- the utility has

18  a meter after their tank on the line that serves

19  Orcas Highlands; do they not?

20       A.    They did in 1994.  I believe they still do.

21       Q.    Okay.  And Orcas Highlands has its own

22  meter at its pump house?

23       A.    I wasn't aware of that.

24       Q.    Okay.  Are you aware of where the pump

25  house and meter are that are owned by Orcas Highlands?

00205

1       A.    No.

2       Q.    If I were to tell you that there is a

3  distance of approximately a half mile to 3,000 feet

4  between the utility's meter and the meter of Orcas

5  Highlands, would you -- would you accept that?  I

6  think somebody else thought it was less than a half

7  mile, but in that vicinity.  You weren't here this

8  morning, but Mr. Cavalli said that he thought it was

9  less than a half mile.

10             JUDGE WALLIS:  Mr. Lundgaard, I think the

11  witness has said that he doesn't even know there was

12  even a meter.  You might phrase that in terms of

13  ahypothetical question if you're leading up to that as

14  a predicate for some other question.

15             MR. LUNDGAARD:  I don't think there's any

16  point in doing that.

17       Q.    You're not -- since you're not aware of

18  that meter, you're not aware of any discrepancies

19  between the meter owned by the utility and a meter

20  owned by Orcas Highlands?

21       A.    I heard that there was a big discrepancy

22  and a leak somewhere on the Orcas Highlands system,

23  and I did understand that there are two meters

24  somehow, but I'm not familiar with how that came

25  about.

00206

1       Q.    And you don't know who the owner is of that

2  land between the most -- for the most part, the land

3  between those two meters?

4       A.    No.

5       Q.    Okay.  So if there is any leaks there, you

6  wouldn't know on whose property they might be?

7       A.    No.

8       Q.    Okay.  Referring to your testimony, page 3,

9  line 22, you state that the resort absorbed all costs

10  of water production and distribution in exchange for

11  use of water at the resort.  Are you aware that there

12  is payment by the customers for their water?

13       A.    Yes.

14       Q.    Well, then the resort is not absorbing all

15  of the cost; are they?

16       A.    No.

17       Q.    Referring you to the next page, you seem to

18  quarrel with a statement by Mr. Eschenbrenner,

19  referring you to line 23 where you refer to his

20  conclusion.  It appears to be based on the assumption

21  that the utility system is fully automated.  Isn't it

22  true that that system is fully automated with the

23  exception that the back-flushing is not automated?

24       A.    No.  I think it's not true.  And unfortunately

25  for many systems, particularly big systems that we rely

00207

1  on surface water treatment, they're realizing more and

2  more the amount of effort and attention that it takes

3  to produce clean water to the standards that the state

4  is requiring today.  So I think, no, it is not automated.

5  It requires a tremendous amount of time and attention.

6       Q.    Well, the system itself runs automatically;

7  doesn't it?  There are automatic shut-offs and

8  start-ups when ever there is -- a tank is low, it

9  automatically fills up, if that tank is full, it goes

10  on to the next tank; the pump to the first tank

11  automatically shuts off, and it goes to the second

12  tank and so on; isn't that true?

13       A.    The operator's attention required in the

14  pump house daily under current regulations is that he

15  be there to adjust the chemicals as they come in to

16  help treat the water.

17             And then on the downstream side, he's

18  measuring and taking recordings and whatnot and

19  adjusting the treatment process.  He's taking chlorine

20  residuals and some other measurements in the pump

21  house.

22             Then he has to go out to two or three

23  isolated points in the system and take samples

24  at people's taps, and take chlorine residuals, pH

25  measurements, temperatures.  Come back to the office

00208

1  and calculate a chlorine contact time for that day.

2             So it's not -- even though he's not there

3  to turn on and off the pumps when the tanks get low,

4  I don't think that it could be considered an automated

5  system.

6       Q.    He doesn't go out to the homeowners and

7  test on a daily basis?

8       A.    He has to test the first tap in any main

9  that he has coming from his storage tanks.  And there

10  are two mains that leave the storage tanks at Rosario.

11  So he has at least two residents that he has to get

12  into their bathroom sink preferably on a daily basis

13  and take a chlorine temperature pH measurement.

14       Q.    Have you heard -- you haven't been here,

15  but was there any testimony of that type to your

16  knowledge that that's testing that is done on a daily

17  basis?

18       A.    Well, I'm sure that it is, because that's

19  law, and that's what we agreed to with the Department

20  of Health as part of the water system plan.  It wasn't

21  done in the past.  But this is part of the changing

22  requirements with surface water treatment.

23       Q.    Are you familiar with the treatment

24  facility?

25       A.    Yes.

00209

1       Q.    And isn't it true that that water is so

2  clear that they have to put something in -- some

3  material in the system to make sure that the filter is

4  actually filtering because the water is so clear they

5  can't find that it's filtering anything, so they

6  put something in to prove that the filtering system is

7  working?

8       A.    The Department of Health prior to 1994 was

9  going to require them to do that, but they never

10  actually did that.  And during the water system plan,

11  one of the things that we hammered out with the State

12  is that that would be contrary to State law, and they

13  backed off.  They do not have to add contaminants or

14  turbidity into their water and then treat it.

15       Q.    So you're saying that that did not occur?

16       A.    Did not occur.

17             MR. LUNDGAARD:  I have nothing further.

18             JUDGE WALLIS:  Mr. Donahoe, do you have any

19  redirect?

20

21                    REDIRECT EXAMINATION

22  BY MR. DONAHOE:

23       Q.    For the record, I don't think there's any

24  way that the witness could have known this, but the

25  utility has two commercial customers, Rosario Resort

00210

1  and Cascade Harbor Inn.  Two commercial customers.  He

2  wasn't aware of that.

3             JUDGE WALLIS:  Just phrase that as a

4  question and maybe ask if the witness is aware of

5  that?

6             THE WITNESS:  The witness is not aware of

7  that.

8             JUDGE WALLIS:  All right.

9       Q.    And I believe you testified that the

10  customers -- or rather the question was presented that

11  under the old regime the customers did, in fact,

12  contribute monies for their monthly service; is that

13  correct?

14       A.    Right.

15       Q.    And I believe a question was asked of you

16  questioning your statement that the resort has carried

17  all of the operating expenses.  Do you know for a fact

18  where the dollars went -- went into the resort from

19  the old regime?  Do you know for a fact that all of

20  the dollars that came from the customers went to

21  maintain the system?

22       A.    No.  To my knowledge, there were at least

23  three different resort accounts that those monies

24  would come into and be disbursed, so there was no

25  direct tracking of, say, a bill -- a monthly water

00211

1  bill getting paid and that that went back to water.  I

2  don't think there was any way to track that.

3             MR. DONAHOE:  Thank you.  No further

4  questions.

5             JUDGE WALLIS:  All right.

6             Are there any other further questions?

7             MR. GOLTZ:  I have two.  Current count.

8

9                   RECROSS-EXAMINATION

10  BY MR. GOLTZ:

11       Q.    You stated, I believe, and this may be as

12  close to a quote as I can get it -- or the question

13  was:  Has 240 gallons per day been accepted as a State

14  average, and you answered yes.

15             My question is:  Is that your testimony,

16  and if so, by whom has it been accepted, and what's

17  the basis for your statement, if the answer was yes?

18       A.    I may have misspoke.  What I meant to say

19  -- what I'm trying to say is that 240 gallons per

20  day per residence is accepted by the State Department

21  of Health as an estimate -- a reasonable estimate of

22  usage, residential usage, if you don't have metered

23  records that would show differently referring back

24  to the EPA manual, that they accept.

25       Q.    I'm sorry.

00212

1       A.    The 240 comes from the EPA waste water

2  design manual.

3       Q.    So again that's a measure of effluent?

4       A.    It's a measure of effluent.  And in

5  general, unless there's irrigation, what comes in

6  goes out.

7       Q.    So that would be excluding lawn watering?

8       A.    Right.

9       Q.    And is that meant in effect to be a proxy

10  for a metered rate?

11       A.    That's --

12       Q.    If you know?

13       A.    I don't know exactly how they use that,

14  but they accept that as the standard for theoretical

15  usage when you don't have meter records available or

16  you're not tracking your production or whatever.

17       Q.    And I guess is that based on -- if you

18  know again, is that based on their records for

19  metered residences?

20       A.    Simple answer is I don't know.

21       Q.    The last question I have is maybe just a

22  clarification.  Was it your testimony that in general

23  it is more complicated and more labor intensive to

24  maintain water systems which rely on surface water

25  than water systems which rely on ground water?

00213

1       A.    Definitely.

2       Q.    And the reason for that is what?

3       A.    The 1992 Federal Surface Water Treatment

4  Rule has spread out to the states.  And we have our

5  own state surface water treatment rule.  It's being --

6  the last three or four years it's being applied more

7  heavily, at least in San Juan County.  And there's a

8  lot of attention to making people comply with this

9  rule.  It's very difficult and expensive to meet that

10  standard.

11       Q.    And examples of that would be the addition

12  of, is it, alum to the water?  Is that where the alum

13  addition requirement comes in?

14       A.    The alum is the standard treatment

15  technique that they use.  The Surface Water Treatment

16  Rule looks critically at the equipment and would

17  require future capital improvements to change the

18  types of treatment.  And it requires the measurement,

19  recording, and daily analysis of chlorine content in

20  the system, which is supposed to guarantee that any

21  little bugs that might get through are killed.

22       Q.    And that's the basis of your statement

23  that it's more expensive to maintain?

24       A.    Nationwide the Surface Water Treatment Rule

25  has broad ramifications cost-wise for utilities.  And

00214

1  one article that I was reading last month indicated

2  that for utilities that were treating in methods

3  that are similar to what Rosario is treating with,

4  its direct or conventional treatment, their cost

5  of operations and maintenance equalled their cost for

6  retiring the capital of new systems.

7             So it was -- it's very substantial.  And

8  the effort nationwide, the effort to operate and

9  maintain these systems in compliance with current

10  regulations, is expensive.

11       Q.    And that is a development that is inherent

12  to any surface water utility just since 1992?

13       A.    That's correct.

14       Q.    Or, unfortunately, perhaps later in some

15  cases?

16       A.    Right.

17       Q.    But certainly in the 1990s, the 1980s there

18  was not that reality?

19       A.    No.  And many municipal systems that used

20  surface water, pumped and used it directly, which is

21  much cheaper.

22             MR. GOLTZ:  Thank you.  Nothing further.

23  No further questions.

24             JUDGE WALLIS:  Anything further?

25             MR. LUNDGAARD:  Just a couple of questions.

00215

1                   RECROSS-EXAMINATION

2  BY MR. LUNDGAARD:

3       Q.    With the existing system and its operation,

4  to your knowledge haven't the State health standards

5  been met?

6       A.    Yes.

7       Q.    Okay.  And when you referred to the resort

8  as having lower usage in '94 than -- or was it '95

9  versus '94, that would probably be directly related to

10  the occupancy of the resort; would it not?

11       A.    I have no idea.

12       Q.    Okay.  And so I take it from that that you

13  don't know if the occupancy was -- fell or increased

14  in those years, '94 to '95 or '95 to '96?

15       A.    I don't know.

16             MR. LUNDGAARD:  Nothing further.

17             JUDGE WALLIS:  Mr. Drahn, it appears there

18  are no further questions for you.  Thank you for

19  appearing today.  You're excused from the stand at

20  this time.

21             Off the record for a scheduling discussion.

22             (Discussion off the record.)

23             (Dinner break at 5:07 p.m.)

24

25

00216

1                     EVENING SESSION

2                       (6:59 p.m.)

3

4             JUDGE WALLIS:  Let's be on the record,

5  please for our evening session set for the purpose of

6  receiving evidence from members of the public.

7             The parties are represented as earlier

8  except that the company has a different representative

9  this evening.

10             Would you state your name and your

11  affiliation with the company for the record, please.

12             MS.  VIERTHALER:  My name is Chris

13  Vierthaler, and I'm the administrative manager for

14  Rosario Utilities.

15             JUDGE WALLIS:  Thank you, very much.

16             By way of preliminary matters, I understand

17  that there is a proposed exhibit consisting of

18  information or communications from members of the

19  public.  Is that right, Mr. Goltz?

20             MR. GOLTZ:  Yes, your Honor.  As is typical

21  in all rate cases before the Utilities and

22  Transportation Commission, the Commission receives and

23  solicits comments from the public, and a number of

24  those will be heard tonight orally.

25             But in addition the Commission has received

00217

1  what is bordering on a ream of paper from the public

2  consisting of letters, typewritten, handwritten,

3  faxes, and messages sent by electronic mail via the

4  internet, and those have all been duplicated in hard

5  copy.

6             And we would -- I've already distributed a

7  copy to the interveners and to the company.  And I

8  will -- I have a copy here and would like to give a

9  duplicate original to you for inclusion in the

10  official file and offer it for illustrative purposes.

11             JUDGE WALLIS:  Very well.  I will mark that

12  multipage document as Exhibit 12 for identification.

13             (Marked Hearing Exhibit 12.)

14             JUDGE WALLIS:  And let me ask if there is

15  any objection to its receipt in evidence?

16             MS. VIERTHALER:  No objection.

17             MR. LUNDGAARD:  No.  I would just like to

18  make one comment.  That those are letters that came in

19  basically prior to the open agenda meeting in January

20  when the tariff was suspended.

21             MR. GOLTZ:  Most of them are dated, and Mr.

22  Lundgaard is correct that a number of them did.  I do

23  notice that some came in in February, and maybe there's

24  some more recent ones, too.  But this is the complete

25  packet as of Wednesday of this week.

00218

1             JUDGE WALLIS:  Yesterday.

2             MR. GOLTZ:  As of yesterday is another way

3  of putting it.

4             JUDGE WALLIS:  Very well.  There is no

5  objection, and Exhibit 12 is received in evidence.

6             (Admitted Hearing Exhibit 12.)

7             JUDGE WALLIS:  Now, Mr. Goltz is going to

8  call the names of folks who signed up.  When we get

9  through the list of folks who signed up already, we

10  will also catch any people that came in beyond this

11  point, and we'll ask whether anyone who is here who

12  hadn't signed up earlier would like to offer testimony.

13             When Mr. Goltz asks you to step forward, I

14  would like you to come up here.  I'll stand, I'll ask

15  you to raise your right hand, and we'll administer the

16  oath.  Then you can be seated and be comfortable.

17             And then Mr. Goltz will ask you for your

18  name and any affiliation you may have.  And then

19  you'll be asked to tell your story.  And again please

20  keep your volume up so that everyone in the room can

21  hear what you're saying.

22             MR. GOLTZ:  Okay.  And I might just add

23  that generally it's perfectly acceptable if someone

24  makes one statement, and you wish to say the same

25  thing, to simply incorporate someone else's remarks

00219

1  into yours for purposes of brevity.

2             So I will start as they were provided to

3  me, which I assume is the order in which they signed

4  up.  So the first person on the list is Mr. Jim Kidd,

5  K I D D.

6  Whereupon,

7                      JAMES W. KIDD,

8   having been first duly sworn, was called as a witness

9    herein and was examined and testified as follows:

10

11                    DIRECT EXAMINATION

12  BY MR. GOLTZ:

13       Q.    Could you please state your full name and

14  spell your last name, please.

15       A.    My full name is James W. Kidd, K I D D.

16       Q.    And what is your address?

17       A.    P. O. Box 478, Eastsound, 98245.

18       Q.    And are you testifying on behalf of

19  yourself or some organization?

20       A.    No, I am simply a concerned Rosario

21  property owner.

22       Q.    Okay.  Please proceed with your statement.

23       A.    Please bear with me.  I intend to read my

24  statement because it is somewhat lengthy.

25             There are two issues that I plan to

00220

1  address.  These are, one, water usage as it pertains

2  to the calculation residential equivalent units,

3  E.R.U.'s, and, two, I would like to read into the

4  record certain facts about the validity and veracity

5  of some of the information and data provided by

6  Rosario Utilities.  It's possible that some of this

7  information is not widely known and understood, and/or

8  it may not have been covered in today's hearings.

9             First the subject of water usage.  This

10  topic is not only mind-numbing, but it readily lends

11  itself to endless interpretation.  Witness the many

12  submissions that have been made in an attempt to

13  justify an ever decreasing number of E.R.U.'s.

14             I should mention that these E.R.U.'s have

15  importance because they will form a considerable part

16  of the base on which the water rates will be determined.

17  Once the number of E.R.U.'s is established and

18  incorporated into the rate, I feel that it's highly

19  unlikely that the number and resultant ratios will ever

20  be changed at any point in the future.

21             Beginning with the water system plan

22  developed by KS and M, water consumption and the

23  allocation of usage has been made confusingly

24  questionable.  But rather than bore this audience with

25  the restatement of endless arcane mathematical

00221

1  calculations, allow me to suggest to you that there are

2  two figures worthy of consideration.

3             First there is the estimated resort usage

4  of 33,870 gallons per day.  And even that does not

5  seem to be constant.  And second there is a statement

6  on page 8 of the water system report which says,

7  quote, residential water use in San Juan County is

8  estimated at between 160 and 250 gallons per day per

9  household.

10             There is a growing body of solid evidence

11  which supports the probability that the average

12  Rosario Utilities residential connection accounts for

13  less than 200 gallons per day.  This fact is in sharp

14  contrast to the 400 gallons used in the MPD engineer's

15  report of June 12.

16             As cases in point, Vusario with eight

17  connections has averaged less than 150 gallons per day

18  over a five year period.  Master meter measurements

19  taken between April 30 and July 31st of this year show

20  average daily use of 108 gallons per day in Rosario

21  Shores -- that constitutes twelve homes down there --

22  and six functioning residential meters installed by

23  the utility on or about March 31st show an average

24  usage of 169 gallons per connection.

25             Some note parenthetically that a seventh

00222

1  residential meter which showed consistently high and

2  unrealistic consumption was finally replaced on the

3  12th of this month, so I have left this out of my

4  calculations.

5             But taken together, these three examples

6  total 26 homes or more than 10 percent of the total

7  residential connections.  Most polling organizations

8  that I know of would consider a 10 percent sampling to

9  be statistically significant.

10             These facts inevitably lead to the

11  conclusion that there are huge unaccounted for water

12  losses.  Currently, and in the MPD calculations, these

13  losses are in fact being attributed solely to the

14  homeowners.

15             The fallacy of this unwarranted attribution

16  can easily be seen by reducing the equation to a micro

17  level and by considering a known area which is

18  monitored in its entirety by a single company-provided

19  submeter.  And the area in this case is my own

20  neighborhood which is served by the Palisades south

21  meter.

22             There are 15 active connections which are

23  monitored by this single meter.  Ten of these

24  connections provide service to ninteen full-time

25  residents who live in those ten houses, two of the

00223

1  connections belong to vacation rental properties,

2  which are occupied 20 to 30 percent of the time, and

3  another connection provides service to a vacant house,

4  which is for sale and has never been occupied, and

5  another connection provides service to a vacation home

6  which hasn't been occupied since November of '95,

7  and the fifteenth connection is to a house occupied by

8  a single person three nights a week.

9             I have visited each of these properties and

10  know that none have extensive gardens, swimming pools,

11  ponds, or any other readily apparent facilities known

12  to consume large quantities of water.

13             During the period from April 30th through

14  July 31st of this year, the Palisades South submeter

15  recorded usage -- total usage of 1,150,000 gallons.

16  Based on the gross number of connections, fifteen if

17  you will remember, this equates to a daily usage of

18  833 gallons per connection.

19             However, if the unoccupied houses as well

20  as my own -- incidentally I was privileged to get one

21  of the company-provided residential meters, and since

22  they were installed I have averaged 228 gallons per

23  day.  Thank you, very much.

24             But if you subtract all that out the total

25  rises to 1,016 gallons per day.  And then if you

00224

1  factor in the vacation rentals and the part-time

2  residents, I don't know how you would calculate that,

3  but obviously the total would be significantly higher.

4             Quite obviously something is badly amiss,

5  and that something must be placed squarely on the

6  shoulders of the utility, not on the homeowners.

7  Either this meter is defective, or there's an

8  undetected leak of monstrous proportions.

9             In either way, whatever the discrepancy,

10  that's the sole responsibility of the company, the

11  utility.  I urge the commission to take these remarks

12  into consideration when you determine the number of

13  E.R.U.'s.

14             Now possibly to a more inflammatory

15  subject.  As previously mentioned, the second part of

16  my statement has to do with the accuracy, reliability,

17  and acceptability of the data submitted by Rosario

18  Utilities.

19             Never in my experience have I encountered a

20  situation where it was so nearly impossible to obtain

21  enough data on a timely basis to enable an intelligent

22  evaluation of a claim and then to arrive at a

23  conclusion.

24             The situation is analogous to that of a

25  salesman who is willing to tell a prospective client

00225

1  about the pricing of its product but nothing about the

2  functionality.

3             On pages 17 and 19 of her testimony, Mrs.

4  Ingram hints at difficulties of dealing with Rosario

5  Utilities.  It's certainly reassuring to know that

6  others have shared in this frustration.

7             As interveners, we have supplied the

8  Commission with information which properly questioned

9  the utility's claims for:  One, allocation of asset

10  cost; two, property taxes; three, employee

11  compensation; four, transportation cost; and, five,

12  material costs.

13             On a separate but parallel path, the

14  Commission Staff questioned additional items

15  including:  One, unmetered sales; two, employee

16  pension benefits; three, chemicals and testing; four,

17  contractual engineering; five, regulatory fees; and

18  eleven additional items.

19             As a result, a lengthy series of changes

20  euphemistically called adjustments and restatements

21  were made to the original filing.  These efforts and

22  changes were detailed in a May 28, 1996 letter from

23  Ms. Ingram to the utility.

24             And in this letter, Ms. Ingram called

25  attention to and discussed deficiencies found in the

00226

1  company's tariff filing and presented a revised tariff

2  based on known and provable facts.

3             Since May 28th however, the company has

4  slowly and grudgingly provided more and more

5  essentially undocumented information.  To my dismay

6  and consternation, this information has led to the

7  Commission staff's endorsement and acceptance of a

8  rate base in excess of $550,000.

9             But before this figure is carved in stone,

10  I would like to raise a few points about the validity.

11  Let's take the depreciation schedule.

12             Among other things, this schedule claims a

13  cost of $17,940 for the 60,000 gallon concrete tank.

14  It's strange because I have an invoice, and the

15  documented cost of this tank is in reality $6,825,

16  plus the cost of site preparation.

17             Further, they claim two 146,000 gallon

18  lined steel tanks, and they list them as having cost

19  $63,787 each.  I have a series of invoices which

20  covers this which establishes the total cost for the

21  two tanks as being $61,015.82.

22             Three, undocumented claims for transmission

23  and distribution mains, from '59 through '84 totalling

24  $188,393 are based on exaggerated speculation and

25  conjecture.  Established, reputable island contractors

00227

1  who are familiar with the Rosario system estimate

2  that the actual cost of this work would have been 25

3  to 50 percent less than stated.

4             In a fourth point, in a summary of capital

5  expenditures made from 1985 to 1995, Mr. Jones of the

6  Commission staff confirmed total expenditures of

7  $47,362; however, and strangely, to date the company

8  can only provide invoices that support $19,365 of that

9  amount.

10             Considering the history of this filing, it

11  is not understandable, at least not to me, that any

12  claim would be allowed without suitable and complete

13  documentation.

14             Based on the information provided in the

15  proceeding four points and on other equally compelling

16  evidence presented today and previously in writing, it

17  is my belief that the Commission should limit this

18  process and proceed to unilaterally develop a rate

19  structure based solely on the provable substantiated

20  facts.  Thank you.

21             JUDGE WALLIS:  Are there any questions?

22             Mr. Goltz?

23             MR. GOLTZ:  Yes.

24

25

00228

1                    CROSS-EXAMINATION

2  BY MR. GOLTZ:

3       Q.    Mr. Kidd, you are a customer of the water

4  utility?

5       A.    Yes, I am.

6       Q.    And are you -- you are a customer of the

7  utility?

8       A.    Yes, I am.

9       Q.    And you fall into which category of

10  customer?

11       A.    I live in the entrance west area, which is

12  roughly down here.  Right -- this is my parcel right

13  here.  (Indicating.)

14             MEMBER OF THE AUDIENCE:  Down there.

15             JUDGE WALLIS:  I'm going to interject here

16  and ask the folks to give us a hand with giving the

17  Commission a full, complete, and accurate record.

18             One of the things I'm going to ask is that

19  the members of the audience don't say anything unless

20  you're up here on the stand.

21             I know it's very tempting if the witness

22  doesn't know exactly what it is -- the words or the

23  exact thing that he or she is talking about to offer

24  that, but that does hurt the record that the

25  commissioners get.  We want the witnesses to testify

00229

1  from their own information.

2             Second thing that I'm going to ask is if

3  people refer to the map, when the commissioners read

4  the transcript, they're not going to know where this

5  point is or down here.  So if you do refer to the map,

6  if you could please -- I understand that there are

7  zones identified.  At least give us the zone or the

8  approximate location on the map.

9             Mr. Kidd, you indicated an area that is

10  down at the lower right-hand corner of the map; is

11  that correct?

12             THE WITNESS:  That's correct.

13             JUDGE WALLIS:  Now, Mr. Goltz.

14             MR. GOLTZ:  And I just might add for the

15  record that this map is Exhibit 6, a copy of Exhibit

16  6, which is in the record.

17       Q.    And you are a member of the Rosario

18  Property Owners Association; is that correct?

19       A.    Yes, I am.

20       Q.    And have you provided these invoices to the

21  attorney representing the Property Owners Association?

22       A.    Yes, I have.  And I have seven copies of my

23  statement along with copies of those invoices for

24  presentation here.

25       Q.    Okay.  Could I see that?

00230

1       A.    Sure.  Do you want all seven copies?

2       Q.    No.

3             JUDGE WALLIS:  Let's be off the record for

4  just a minute.

5             (Discussion off the record.)

6             JUDGE WALLIS:  Let's be back on the record.

7       Q.    Have you been asked for these invoices or

8  other documents in the past?

9       A.    Excuse me?

10       Q.    Have you been asked for these by anybody?

11       A.    Not by -- these only arrived in my hands

12  within the past week.

13       Q.    Where did you get them?

14       A.    One came from Rosario itself.  I think that

15  they inadvertently included one.  And the second came

16  directly from Down Island Trading Company.  They

17  researched their files and found, No. 1, a quotation

18  for the job dating back to the fall of '94, and then

19  there, as you can -- if you take the time to read it,

20  you will see a lot of handwritten notes which document

21  really the invoices subsequently submitted by Rosario.

22       Q.    So you didn't come to these through any

23  personal -- I mean, you aren't involved in the

24  construction business or anything like that?

25       A.    No.  I'm a concerned citizen.

00231

1       Q.    I understand.

2             MR. GOLTZ:  Okay.  I have no further

3  questions.

4             JUDGE WALLIS:  Mr. Lundgaard, do you have

5  any questions?

6             MR. LUNDGAARD:  No, I have no questions.

7  But I think the witness wanted to have his statement

8  put in the record.

9             THE WITNESS:  I would like to have these

10  statements put in the record, if I may.

11             JUDGE WALLIS:  I'm certainly going to ask

12  that a copy be provided to the court reporter, Mr.

13  Kidd.  Maybe if you have the copy that you read from,

14  that would be most helpful.

15             THE WITNESS:  That does not include the

16  invoices.

17             JUDGE WALLIS:  Yes.

18             And would there be any objection to

19  receiving that document for illustrative purposes.

20             MR. GOLTZ:  I have no objection to

21  receiving it as an illustrative exhibit.  Just the

22  mere receipts don't tell me very much about the

23  receipts.  In fact, I haven't really had a chance to

24  review these.

25             JUDGE WALLIS:  It would illustrate the

00232

1  basis for the witness' testimony when he addressed the

2  topics in his comments.

3             MR. GOLTZ:  On that basis I have no

4  objection to including it as -- either including it in

5  the public packet or as a separately-numbered exhibit

6  is fine.

7             JUDGE WALLIS:  Mr. Lundgaard?

8             MR. LUNDGAARD:  May I see one of these?  I

9  think I would like -- there is some question about the

10  invoices.

11

12                    CROSS-EXAMINATION

13  BY MR. LUNDGAARD:

14       Q.    Referring to your exhibit from Mount Baker

15  Silo Company, how did you -- how did you obtain that?

16       A.    That was obtained through one of my

17  associates, Mr. Eschenbrenner, who contacted those

18  people because he knows them.  They've done work for

19  him I believe up in Vusario, so he had ready access

20  there.

21       Q.    How did you obtain the exhibits from Down

22  Island Trading Company?

23       A.    Two sources.  One -- the first source was

24  Rosario itself, who sent this along with other

25  transmissions to someone, and I ended up with that in

00233

1  my hands.

2             I also pursued Down Island Trading Company

3  directly, who were the people that installed this

4  tank, and pleaded with them to provide me with

5  invoices, which they did.

6             The first one, two three -- the first four

7  pages of my Exhibit 2 came from Down Island Trading

8  Company.  The remaining pages came from Rosario itself

9  except -- excuse me, the last page from Marley's Tanks

10  should have -- is out of place.  It should have been

11  part of the Down Island Trading Company submission.

12             MR. LUNDGAARD:  I have nothing further.

13             JUDGE WALLIS:  Ms. Vierthaler, do you wish

14  to be heard on the question of admission of the

15  proposed document?

16             MS. VIERTHALER:  Since I haven't seen them,

17  is there any way to verify --

18             JUDGE WALLIS:  I'm sorry.  Can we have a

19  copy provided to Ms. Vierthaler.

20             MS. VIERTHALER:  I think the company would

21  like a chance to verify them before they're admitted,

22  and if that would be possible this evening --

23             THE WITNESS:  I'm sure they would.

24             JUDGE WALLIS:  I'm going to reserve a

25  ruling.  I will mark this document, if I could have

00234

1  one for the official record.  We will mark this as

2  Exhibit 13 for identification.

3             (Marked Hearing Exhibit 13.)

4             JUDGE WALLIS:  And I will reserve ruling on

5  it.

6             Mr. Lundgaard, could I ask you to make sure

7  that we are directed back to this tomorrow, and we'll

8  give the company an opportunity to look at it, and then

9  we'll rule on it.

10             MR. GOLTZ:  If I just might note, your

11  Honor, that the last three pages appear to have been

12  faxed to Mr. Kidd.

13             THE WITNESS:  That's correct.

14             MR. GOLTZ:  From Mr. Lundgaard's office, and

15  so if this is evidence submitted by the interveners, it

16  should be submitted by the interveners and not through

17  a public witness.

18             JUDGE WALLIS:  Very well.  Thank you for

19  the comment.

20             MR. GOLTZ:  And maybe it's already been

21  submitted.  I don't know.  But we can take it up

22  tomorrow.

23             JUDGE WALLIS:  Very well.

24             Is there anything further for Mr. Kidd.

25             (No audible response.)

00235

1             JUDGE WALLIS:  It appears that there's

2  not.

3             MR. GOLTZ:  The next person who is signed

4  up -- and I just might reinforce that any of you who

5  wish to read your statement and would prefer to just

6  leave that written statement as a record and then

7  summarize it orally, that's acceptable also.

8             Ms. Audrey Stupke.

9  Whereupon,

10                      AUDREY STUPKE,

11   having been first duly sworn, was called as a witness

12    herein and was examined and testified as follows:

13             THE WITNESS:  My name is Audrey Stupke.

14

15                    DIRECT EXAMINATION

16  BY MR. GOLTZ:

17       Q.    Could you state your name, please, for the

18  record and your address.

19       A.    Audrey Stupke.  I live in the Palisades

20  south.  My address is Post Office Box 1334, Eastsound,

21  Washington.

22       Q.    And are you a customer of the water

23  utility?

24       A.    I am.

25       Q.    And do you live --

00236

1       A.    Palisades.

2       Q.    -- in one of residential areas?

3       A.    I live in Palisades south.

4       Q.    And your last name is spelled S T U P K E?

5       A.    That's correct.  Yes.

6       Q.    Please proceed with your statement.

7       A.    I simply have a question, your Honor.

8  Yesterday many of us read in the paper about Rosario

9  wanting to have more condos, and our concern is this.

10  When there are capital improvements to the processing

11  plant, when that finally happens, who will have

12  priority in regards to the increased water supply,

13  the resort, who wishes to have the increased number of

14  condos, or the property owners who progressively are

15  involved with that moratorium and are not being

16  allowed to build on their property?  That's simply my

17  question.  We're concerned about who will have

18  priority from this increased water supply.

19             JUDGE WALLIS:  Any questions for Mrs.

20  Stupke?

21             MS. VIERTHALER:  No questions.

22             JUDGE WALLIS:  Mrs. Stupke, thank you very

23  much for appearing this evening.

24             MR. GOLTZ:  The next person to sign up is

25  Ms. Emily Watson.

00237

1             JUDGE WALLIS:  As Ms. Watson steps forward,

2  I am going to ask people to make sure that Mr. Goltz

3  or any of the other representatives finishes their

4  question before you start answering.

5             I pointed out this morning that even though

6  our court reporter has two hands, she needs both of

7  them to take one person, and it's really difficult

8  when two people are talking at the same time.

9  Whereupon,

10                      EMILY WATSON,

11   having been first duly sworn, was called as a witness

12    herein and was examined and testified as follows:

13

14                    DIRECT EXAMINATION

15  BY MR. GOLTZ:

16       Q.    Could you state your full name and your

17  address, please.

18       A.    Emily K. Watson.  My address is 577 Klamath

19  Drive, La Conner, Washington.  I own a house in

20  Rosario Palisades on lot 30.

21       Q.    And you are a customer of the utility?

22       A.    Yes, I am.

23       Q.    Please proceed with your statement.

24       A.    I really just have a comment.  My husband

25  and I have owned the property for almost five years.

00238

1  During that time, we have only had the pleasure of

2  using it no more than two weeks out of the year.

3             When we first heard of the rate increase,

4  which is -- which was in the range of $50 a month, we

5  were horrified at the thought of having to pay more

6  for water in a house that we use two weeks out of

7  the year than at our permanent residence, where we

8  water a large yard and carry on all the normal

9  activities.

10             And we would just respectfully request that

11  in the rate plan, that there be some provision made

12  for those of us who use very little water, whether

13  it's the installation of a meter or some other means

14  of controlling our expense.  Thank you.

15             JUDGE WALLIS:  Are there any questions?

16             MR. GOLTZ:  None.  Thank you, very much.

17             JUDGE WALLIS:  Thank you, very much for

18  appearing.  You're excused from the stand, Ms. Watson.

19             MR. GOLTZ:  The next person to sign up is

20  Mrs. Barrbara Harris.

21  Whereupon,

22                     BARRBARA HARRIS,

23   having been first duly sworn, was called as a witness

24    herein and was examined and testified as follows:

25

00239

1                    DIRECT EXAMINATION

2  BY MR. GOLTZ:

3       Q.    Good evening.

4       A.    Good evening.

5       Q.    Could you please state your name and

6  address, please.

7       A.    My name is Barrbara Harris.  I live at

8  entrance west, which is not indicated on the chart

9  but is part of Rosario as one of the plats.

10       Q.    And you are -- it is not on the chart?

11       A.    That's correct.  I can see where it's

12  folded under where my property is.  But it's not

13  listed on plat list.  However I am president of

14  the Rosario Property Owners Association.

15       Q.    And are -- excuse me, are you a customer of

16  the water utility?

17       A.    I am.

18       Q.    And so you're currently served by the

19  utility?

20       A.    Yes, I am.

21       Q.    And are you testifying on behalf of

22  yourself or on behalf of an organization?

23       A.    I am testifying, if I can, in both regards

24  as a water user as well as on behalf of the many

25  residents who couldn't attend this evening or who are

00240

1  living out of state and are property owners.

2       Q.    And the Rosario Property Owners Association

3  is represented here by counsel, Mr. Lundgaard?

4       A.    Yes.  Correct.

5       Q.    Please proceed.

6       A.    I would like to make a point of the fact

7  that originally a water committee was developed with

8  the intent of having knowledge and being made aware of

9  the water utility by the previous owner, Geiser Land,

10  and subsequent ownership by Red Rock Resort doing

11  business as Rosario Resort.

12             And we made it clear to the new owners, Red

13  Rock Resort, that our prime concern at that time was

14  the availability of information and the viability of

15  the water system.

16             We had had a major failure in 1991, and

17  there were residents that went two weeks without any

18  water.  This was a result of a major storm that

19  knocked down power.  As a result there was no pumping

20  of water from the lake into the filtration system.

21             At that time the concerned citizens, and I

22  was one of those along with Mr. Kidd and the Stupkes

23  and a few others, came together to Geiser Land and

24  said we would like to have a generator or some back-up

25  system in place so we could have water for our health

00241

1  and safety.  Two weeks is too long to go without

2  water.  Up to today there is no back-up generator

3  available or in place.

4             The question was raised to Red Rock Resort

5  as one of our major concerns when we were first

6  introduced to them as the new owners, and we were told

7  that they wanted our communication, they wanted our

8  input, and we were very clear in going in and saying

9  this was our major No. 1 concern, that and the major

10  leaks that we had been encountering with stoppage of

11  water, not only during storm conditions but in just

12  abrupt line breaks.

13             We had a series of these subsequently since

14  January.  When the Utility Commission became involved,

15  it was mandated to the utility that they would

16  announce if the water system was going to be turned

17  off if there was going to be any repair done.

18             I personally have experienced water being

19  shut off without being told that it was going to

20  be since January of this year.  Other homeowners have

21  also experienced this.

22             This is just one of the points that I

23  wanted to make clear in this particular hearing; that

24  no provision has been made for any back-up nor has any

25  provision been made on a consistent basis for advising

00242

1  homeowners when water is going to be turned off.  It's

2  been mainly a bandaid approach in the last year and a

3  half.

4             Additionally, in contacting the utility, we

5  had a very difficult time in communicating with the

6  utility company when Red Rock Resort d/b/a Rosario

7  Resort took over.  It has been very difficult to find

8  anybody that would help us when we would call and say

9  we were out of water; what can we do.  No one seemed

10  to know.  No one was available.

11             UTC has mandated that a separate office

12  be placed in a situation to allow us to be communicating

13  and to have response.  This has been better, but not in a

14  situation of health and safety, to be the best yet.  We

15  are still experiencing some problems in being able to

16  communicate.

17             I do concur with Mr. Kidd's testimony today

18  in several issues that he pointed out in dealing

19  with frustrations, because I represent many property

20  owners that aren't here tonight, and I have to speak

21  on their behalf whether they own property that is

22  improved or unimproved.  There are many considerations

23  in this fact.

24             We are faced with a moratorium, of course,

25  and we have people with capital gains meters running

00243

1  who can't build, and there are impacts in that

2  respect.  To those homeowners who own homes here and

3  are not able to be on the island at the moment, we

4  need to communicate with them, and the utility company

5  does not provide that.

6             The only communication we've had recently

7  was a notice in our water bill for July that

8  admonished us for watering our lawns.  We as a

9  collective group at Rosario don't have lawns.  The

10  gardens that we do have are very small.  We don't

11  waste water.

12             There are probably 10 percent of us who

13  have granted property to the San Juan Preservation

14  Trust, an environmental institution or facility.

15  We're very well aware of environmental issues, and we

16  do not waste water or our resources.

17             We did note that there was a break in the

18  irrigation line from the lake to the irrigation of the

19  Rosario landscape and some of their hard-scape.  And

20  as a result of that break, Rosario was using some

21  filtered water to irrigate their lawns.  This at a

22  time when they were sending their communication to us

23  to not water our lawns.  Thank you.

24             JUDGE WALLIS:  Thank you.

25             Are there questions for Ms. Harris?

00244

1             MR. GOLTZ:  I have no questions.

2             MR. LUNDGAARD:  No questions.

3             MS. VIERTHALER:  No questions.

4             JUDGE WALLIS:  It appears that there are

5  not.

6             Thank you, very much for appearing here

7  this evening.

8             MR. GOLTZ:  Next is Merit Nerland.

9  Whereupon,

10                      MERIT NERLAND,

11   having been first duly sworn, was called as a witness

12    herein and was examined and testified as follows:

13

14                    DIRECT EXAMINATION

15  BY MR. GOLTZ:

16       Q.    Could you state and spell your name for the

17  record please and give us your address.

18       A.    Yes.  My name is Merit Nerland.  It's

19  spelled M E R I T.  The last name is N E R L A N D.

20  And my address is P. O. Box 275, Orcas, Washington,

21  98280.  And my husband and I, through his company,

22  currently own several lots in the Rosario area and one

23  lot in the Rosario Highlands -- Orcas Highlands area.

24       Q.    And are you a resident -- are you a

25  customer of the water utilities yourselves?

00245

1       A.    Not as yet.  These lots have not been built

2  on.

3       Q.    And is that because of the moratorium?

4       A.    Yes.  We own a small construction firm,

5  and we're anxious to go ahead and build on some of

6  these lots and keep our employees working and paying

7  taxes.  And we're very anxious to see this moratorium

8  ended.  And we hope the Commission proceeds as quickly

9  as possible to solve the rate case so that things can

10  get going.

11       Q.    Is that resolution of the rate proceeding

12  important for ending the moratorium?

13       A.    I'm not clear on that.  I think it has a

14  lot to do with it.  It can influence the ending of the

15  moratorium and getting on with building of a new

16  filtration plant, which I understand is the holdup on

17  the moratorium.

18       Q.    Do you have -- continue on with your

19  statement.

20       A.    Okay.  Well, I'm here to talk mainly about

21  our lots in particular.  Our firm sells in the Rosario

22  area mostly to retired people and people who are

23  part-time owners who eventually plan to live in their

24  homes full time.  And, in fact, all the homes that

25  we've built in the area that is the case.

00246

1             And I was absolutely flabbergasted when we

2  found out what the -- what Rosario Resort was asking

3  for the water rates to be increased to.  The $51 is

4  absolutely phenomenal for retirees or part-time

5  residents to pay.

6             And I'm very glad that the Commission has

7  come up with a compromise that is much more

8  reasonable.  I hope they proceed with that particular

9  rate area.

10             Also I might make one other comment about

11  when we were building a couple of homes in -- I

12  believe in 1994 in the Rosario area, the resort went

13  ahead and charged us $4,100 for hook-ups for these two

14  homes.

15             I do admit that we have finally received a

16  refund.  We understand that it was not filed with the

17  State of Washington Utilities Commission, and without

18  the help of the Rosario Property Owners Association,

19  we would have never known about this oversight on the

20  resort's part.  And fortunately we did receive a

21  refund.

22             But it just seems to me that we need to

23  keep these rates down so that people can build on

24  their property and that we can keep our employees

25  employed.  And that's about all I have to say this

00247

1  evening.  I think that's it.

2       Q.    The refund you're referring to is you were

3  originally charged $4,100 and --

4       A.    And their stated rate -- I'm sorry.

5       Q.    -- you received a refund of 1,600 as the

6  stated rate was 2,500?

7       A.    That's right.

8       Q.    And when you and your husband's company

9  construct homes, do you normally install pipe from

10  the building site to the main distribution main?

11       A.    Well, we have a company that installs it

12  for us, yes.

13       Q.    And that is charged back to the purchaser

14  obviously?

15       A.    Charged to whom?

16       Q.    That is part of your charge to the

17  purchaser of the house?

18       A.    Well, these are homes that are built to

19  spec, so we pay the cost -- we pay all the cost, and

20  eventually it's reflected in the cost of the home.

21             MR. GOLTZ:  I have no further questions.

22             MR. LUNDGAARD:  I have a question on the

23  hook-ups.

24

25

00248

1                    CROSS-EXAMINATION

2  BY MR. LUNDGAARD:

3       Q.    So you're saying that you engaged somebody,

4  and you pay for the cost of providing the hook-up to

5  the water system?

6       A.    Yes.

7       Q.    And in those cases where you received the

8  hook-ups for these two houses, what did the company

9  do, if anything, to make the hook-up?

10       A.    The company referring to our company?

11       Q.    Meaning the utility, the water company.

12       A.    Nothing.  The Rosario Utilities company?

13       Q.    Yes.

14       A.    They didn't do much.

15       Q.    Okay.

16       A.    We employed a firm on excavating, a

17  contracting firm, that installs all the piping and

18  runs it down to the road.  They dig up the road if

19  necessary.  And I think that the resort -- I'm not

20  clear on all of this.  I think the resort basically

21  sends someone to make sure that it's connected

22  properly.  And other than that I'm not sure if they

23  have any working responsibility there.

24       Q.    But in those two instances, they did not

25  engage any contractor or --

00249

1       A.    No.

2       Q.    -- use any of their own employees to assist

3  in the --

4       A.    No.

5       Q.    -- hook-up?

6       A.    No.  Other than having someone, you know --

7       Q.    Inspect?

8       A.    -- make sure that it was connected to the

9  line -- to their main line proper.

10             MR. GOLTZ:  I have one follow-up on that.

11

12                    CROSS-EXAMINATION

13  BY MR. GOLTZ:

14       Q.    The actual tapping into the main

15  distribution main owned by the utility is not done by

16  you or your contractors?

17       A.    I'd have to check with my husband on that.

18  I know positively that, you know, we run a line from

19  the house.  If it needs to go across the road, we do

20  all that.  And as far as the actual tying on that

21  line, I'd have to check with my husband on that but --

22       Q.    As I understand --

23       A.    -- 99 percent of the work is done by us or

24  our subcontractor.

25       Q.    When there's no moratorium?

00250

1       A.    When there's no moratorium.  Right.

2             MR. GOLTZ:  I understand.  Thank you.

3             JUDGE WALLIS:  Ms. Vierthaler, do you have

4  any questions?

5             MS. VIERTHALER:  No, no questions.

6             JUDGE WALLIS:  Thank you, very much.

7  You're excused.

8             MR. GOLTZ:  The next person on the list is

9  Mr. Robert Liebmann.

10  Whereupon,

11                     ROBERT LIEBMANN,

12   having been first duly sworn, was called as a witness

13    herein and was examined and testified as follows:

14

15                    DIRECT EXAMINATION

16  BY MR. GOLTZ:

17       Q.    Mr. Liebmann, could you state and spell

18  your last name for the record, please.

19       A.    My name is Robert Liebmann, L I E B M A N N.

20       Q.    And what is your address?

21       A.    20031 Northeast 39th Street, Redmond,

22  Washington.

23       Q.    And are you a property owner with -- that

24  is served by the water utility?

25       A.    Yes.  Me and my wife own lot B, Vusario.

00251

1       Q.    You're in the Vusario subdivision?

2       A.    That's what they call it.

3       Q.    Okay.  And do you currently have a home

4  there or just a lot?

5       A.    No, we just have a lot at this time.  It's

6  undeveloped.

7       Q.    Okay.  But you plan on developing it

8  sometime in the future?

9       A.    That is correct.

10       Q.    And are you just testifying on behalf

11  of yourself?

12       A.    On behalf of myself or any other property

13  owner that may want to put a home on their property in

14  the near future.

15       Q.    Please proceed.

16       A.    We became aware in January of 1995 that

17  capacity complications would prevent any more homes

18  from being hooked up to the Rosario water system.

19  This is a problem I heard that existed probably for

20  many years and had just come to the surface as this

21  rate issue came up.

22             As a result, of course, as I said before,

23  we're unable to obtain building permits even though we

24  were guaranteed water rights when we purchased the

25  property.  I guess part of the value of the property

00252

1  is based on that.

2             But Rosario's expansion didn't take into

3  account that there are people like us at this time

4  that have property that can't hook up.  They just go

5  ahead and expand and forget about us.  So this is the

6  main issue that I'm addressing here.

7             This has become a highly personal,

8  emotional issue because most of us have alot invested

9  in this property.  As I mentioned, some have crucial

10  timelines cash-wise that require them to build pretty

11  soon.

12             We don't want to fix blame in this issue.

13  We're just asking counsel and the Commission to make

14  sure that the property priorities are placed on who

15  gets water when there is expansion and other capacity

16  issues come up.  So that's basically my bottom line is

17  please watch out for us.

18             And though I'm not 100 percent sure how

19  the rate and the capacity issue do match together,

20  I'm sure that there is some oversight required, and we

21  would sure appreciate something.  Our interests need

22  to be looked out for.

23             JUDGE WALLIS:  Did you come up here from

24  Redmond just for this hearing?

25             THE WITNESS:  Right.  Now, sir, we're

00253

1  camping on our property, which is about all we can do

2  right now.  We're enjoying the beautiful view and the

3  wonderful island that we have and looking forward

4  to moving here.

5       Q.    When you're camping, your neighbors, do

6  they let you use the water?

7       A.    They allow us to put water in our little

8  jugs, yes.

9             MR. GOLTZ:  Thank you, very much.

10             JUDGE WALLIS:  Are there any other

11  questions for Mr. Liebmann.

12

13                    CROSS-EXAMINATION

14  BY MR. LUNDGAARD:

15       Q.    Mr. Liebmann, have you made it known to the

16  utility company that you want to build?

17       A.    Not yet, no.  No, sir.

18       Q.    Do you know if they have a list of those

19  that want to build?

20       A.    That I don't know.

21             MR. LUNDGAARD:  Okay.  Thank you.

22             JUDGE WALLIS:  Mr. Liebmann, thank you for

23  appearing here this evening.

24             MR. GOLTZ:  The next person on the list is

25  Mr. Gary Vaughn.

00254

1  Whereupon,

2                       GARY VAUGHN,

3   having been first duly sworn, was called as a witness

4    herein and was examined and testified as follows:

5

6                    DIRECT EXAMINATION

7  BY MR. GOLTZ:

8       Q.    Could you state your name and spell your

9  last name, please.

10       A.    My name is Gary Vaughn, V A U G H N.

11       Q.    And your address?

12       A.    Star Route, Box 11, Eastsound, Washington.

13       Q.    And are you a customer of the water

14  utility?

15       A.    Yes, I am.

16       Q.    And in what area do you reside within the

17  area served by the water company?

18       A.    In the area called Rosario Estates.

19       Q.    Okay.  And please proceed with your

20  statement.

21       A.    Okay.  As we --

22       Q.    I'm sorry.  Are you speaking on behalf of

23  yourself or an organization?

24       A.    Myself.

25             As many of you may know, I was employed

00255

1  by Rosario Resort since 1980 until 1994, 12 of those

2  years in the capacity of being the resident manager

3  directly responsible to the owner/manager of the

4  resort and so had a great deal of knowledge in regards

5  to that operation, as well as the operation of the

6  then water utility under the auspices of Geiser Land

7  Company.

8             In today's testimony, Mr. Drahn in his

9  Exhibit No. 9 stated that the residential consumption

10  of water had risen, and that the consumption by the

11  resort had dropped in years 1994 versus '95 and '96.

12  And I wish to call attention to the fact that nobody

13  questioned or had answers to occupancy in regards to

14  that.

15             I have personal knowledge of occupancy in

16  the previous 14 years and have personal knowledge of

17  the occupancy, at least in a general nature, since

18  that time.  And if you ask any number of business

19  people here on the island as to the occupancy and how

20  it has affected the island and I'm sure the water

21  consumption, you'll find that the occupancy has

22  dropped, and thus the nature of his statement in that

23  the residents were using more and the resort was using

24  less might be a little misconstrued if these facts and

25  figures weren't brought out.

00256

1             The other determining factor in that regard

2  is that the new ownership has over the past year and a

3  half completed a number of renovation projects, thus

4  taking rooms out of service, thus decreasing the

5  occupancy, thus decreasing the water consumption on

6  the part of the resort.

7             I would hesitate to guess that it is the

8  plan of the resort to increase their occupancy over

9  the period of years; otherwise, they, like any other

10  business on the island, won't be in business for very

11  long.

12             And so if you are basing your E.R.U.,

13  R.E.U., U.E.R.'s or whatever we want to call it, on

14  the -- not the test year but some compilation of

15  years, we ask that you take into consideration that

16  we're not necessarily comparing apples to oranges here

17  in regards to occupancy and consumption.

18             I believe that there's probably enough

19  intelligence both within the staff and the utility

20  company and the interveners to draw some conclusions

21  in regards to water usage due to occupancy instead of

22  using the national average of consumption for resorts

23  throughout the nation.

24             I was also involved in the budgeting of the

25  revenues and expenses for Geiser Land Company in

00257

1  regards to water and have knowledge of what Mr. Drahn

2  alluded to in the fact that they couldn't draw any

3  conclusions as to where the monies went, how they were

4  spent, and so we just had to guess at all of these

5  facts and figures in regards to piping, pumps, et

6  cetera.

7             I believe that if you would look into the

8  issue further, you would find that receipts were in

9  fact deposited with Geiser Land.  And, yes, there may

10  have been funds that went back and forth between

11  Geiser Land and the hotel operating company based on

12  cash flows.  But as far as my knowledge is concerned

13  those were tradeoffs in that the resort might have to

14  pay for a bill and borrow money, in essence, from

15  Geiser land, Geiser Land might have to borrow money

16  from the resort, and so tracking was done in that

17  manner.

18             I also had knowledge of the labor involved

19  in regards to running the water system being friends

20  and neighbors with all the employees that worked at

21  the resort, including Mr. Cavalli, who is now the

22  facilities manager.

23             And during my tenure up until 1994, which

24  is I believe two years past the indicated date for

25  surface water treatment, that for the most part duties

00258

1  could be performed within a two to three hour period

2  per day in regards to the water system.  And it is my

3  belief from looking at some of the pre-filed testimony

4  that hours have been exaggerated.

5             I think we heard statements today, one from

6  Ms. Vierthaler in fact, stating that, no, she did not

7  do payroll even though it was noted on the pre-filed

8  testimony.  We also heard a statement from Mr. Cavalli

9  that no, he, in fact, really didn't drive to Mount

10  Vernon all the time to take his samples, and, yes, a

11  lot of the work in the area of the dam, the flume,

12  that type of thing did not specifically address the

13  water utility.

14             So I would ask that the staff, the

15  commissioners, take heed of those specific instances

16  and others where they may be overstated and reevaluate

17  those figures in that respect.

18             Currently I am a licensed real estate

19  person, salesperson if you will, in the state of

20  Washington and also perform property management for

21  various homeowners on the island.

22             I would like to address the fact that not

23  only because of the moratorium but because of the

24  water rate issue, through the process of full disclosure

25  to your clients, whether you are representing a seller,

00259

1  whether you're representing a buyer, you have to fully

2  disclose all of the knowledge that you have in regards

3  to that particular property.

4             This applies both to vacant land for those

5  persons wishing to sell, of which I have clients,

6  those persons wishing to purchase, of which I have

7  clients, in the service area.  And I can tell you from

8  direct experience that neither one are doing anything.

9  The sellers aren't selling, and the buyers aren't

10  buying.

11             Because of the moratorium and the fact that

12  nobody knows when, if, or how this will be resolved,

13  when, if it will be two years, if it will be ten

14  years, there is a great hesitancy on the part of

15  prospective purchasers to peruse sales agreements on

16  homes in the Highlands or Vusario area when they have

17  no idea what their water rates will be in the future

18  under present circumstances, let alone what that rate

19  will be once the capitalizations are involved in

20  regards to upgrading the system.

21             I'm also the vice-president of the Rosario

22  Property Owners Association and have lived in the

23  Rosario area for ten years.  And I think a number of

24  facts aren't coming out in regards to the residents in

25  that area.

00260

1             We have taken a poll over the past six

2  months trying to determine how many occupants there

3  are per household.  And I don't know the nationwide

4  figures or state-wide figures, but I'm going to assume

5  that there are two adults and 1.5 kids and 3.2 dogs;

6  whereas, the occupancy in our area is more like 1/8

7  persons per household.

8             We also have a non-typical area in regards

9  to the fact that many of our homeowners are either

10  part-time or absentee owners, thus affecting usage

11  overall, thus affecting the E.R.U., R.E.U. formula.

12  And that's what I have to say.

13       Q.    You testified that you were the resident

14  manager of the resort from 1980 through 1994?

15       A.    I was employed by the resort from 1980 to

16  1994.  I became the resident manager approximately in

17  1982.

18       Q.    Are you familiar with the operations of

19  the resort from 1980 through sometime in 1994?

20       A.    Through August 24th, 1994.

21       Q.    Okay.  And during the period 1980 through

22  the date in August you mentioned in 1994, were you in

23  effect in your capacity also -- excuse me, did

24  you manage the water utility?

25       A.    Not directly, no.

00261

1       Q.    Not directly?

2       A.    Not directly.

3       Q.    Okay.  But indirectly?

4       A.    But indirectly.

5       Q.    So was there a manager of the water utility

6  that reported to you?

7       A.    There was.  The owner was in essence the

8  manager.  John Cavalli was the direct supervisor, if

9  you want to put titles on things.

10       Q.    And was it your testimony that in fact an

11  attempt to clarify that was discussed this afternoon

12  or this morning; that although there were hook-up fees

13  assesed by the company throughout that period, indeed

14  although there may have been some, in fact, quote,

15  co-mingling of funds, the money that came in from

16  these hook-up fees eventually found its way back into

17  the utility?

18       A.    Well, there was not a utility company.  It

19  was Geiser Land.

20       Q.    I understand.

21       A.    Okay.

22       Q.    But basically the hook-up fees that were

23  assessed, the money would come in, and it may be

24  transferred in effect to different accounts, but

25  eventually that sum of money did then get applied to

00262

1  utility operations?

2       A.    I can't tell you that it went into Geiser

3  Land, because there was no separate utility account.

4       Q.    And did -- Geiser Land, was that the same

5  company as the resort?

6       A.    Geiser Land -- to simplify the process,

7  Geiser Land owned the property.  Rosario Resort

8  -- Rosario Hotel, Inc. was the operating company that

9  operated the resort, et cetera, for the owner.

10       Q.    Okay.  But throughout the period that you

11  were associated, 1980 through '94, there were

12  the -- I'm using the term utility meaning utility

13  operations --

14       A.    Okay.

15       Q.    -- of Geiser?

16       A.    Okay.

17       Q.    That there were additions being made to the

18  system all throughout that period?

19       A.    Additions or replacements, pipes breaking,

20  et cetera.  You also have to take into consideration

21  that there was a separate entity from 1980 until 1984.

22       Q.    What was that entity?

23       A.    That was the Rosario Development

24  Corporation, Moran House, Inc.  Separate ownership.

25       Q.    And did that organization control the

00263

1  utility?

2       A.    Yes.

3       Q.    I'm sorry I'm getting into this.

4       A.    Yes.  Don't ask unless you want to know,

5  because I'll tell you.

6       Q.    You said you're vice-president of the

7  homeowner association?

8       A.    Rosario Homeowners.

9       Q.    Rosario Homeowners?

10       A.    Or Property Owners Association.

11       Q.    And your property association is represented

12  by Mr. Lundgaard in this proceeding?

13       A.    Correct.

14       Q.    And you're working with the association in

15  the preparation of this case?

16       A.    (Nodding head.)

17             JUDGE WALLIS:  Was the answer yes?

18             THE WITNESS:  Yes.  I'm sorry.

19             MR. GOLTZ:  I have no further questions.

20             JUDGE WALLIS:  Mr. Lundgaard?

21

22                    CROSS-EXAMINATION

23  BY MR. LUNDGAARD:

24       Q.    Mr. Vaughn, do you recall when the last

25  subdivision went in while you were working as a

00264

1  manager?

2       A.    No, I don't know.

3       Q.    Would it have been in the early '80s?

4       A.    A wild guess would be '82 to '84.

5       Q.    Okay.  And do you know whether or not the

6  -- Geiser Land was doing the developing then?

7       A.    No.  That was Rosario Development Company.

8       Q.    And who owned that?

9       A.    A consortium of three persons, Manfred

10  Cieslik, Jim Roberts, and Gerdta Foust.

11       Q.    And did you have any association with them?

12       A.    Oh, yeah.

13       Q.    Okay.  And were you -- when they put -- did

14  they put in some subdivisions then that are presently

15  part of the Rosario service area -- utility service

16  area?

17       A.    They were responsible for building the

18  units which are now Cascade Harbor Inn, the Morrison,

19  units.  And they were also in the process of trying to

20  develop other undeveloped land into various projects.

21       Q.    Was it Geiser Land that developed some of

22  the subdivisions then that we've heard about that are

23  within the service area of the utility?

24       A.    Yes.

25       Q.    And do you recall whether they expensed

00265

1  -- when they built those subdivisions, did they put in

2  the water system at the time they put in the

3  subdivisions?

4       A.    A great many of those subdivisions were put

5  in before my time.

6       Q.    Okay.  But those that were put in after

7  1980.

8       A.    They generally would be part of the

9  development process and expensed off at the time of

10  that development and then through some magical means

11  built into the price of the land.

12       Q.    Okay.  So the water system would be

13  expensed out, and the sales of the land would reflect

14  the fact that that land or those lots would have water

15  to them?

16       A.    That's typical, yes.

17       Q.    And you were there and are familiar with

18  the duties that were performed by Mr. Cavalli and the

19  people that worked on the water system up until

20  August -- August 24th of '94?

21       A.    That is correct.

22       Q.    Had there really been any change in the

23  water system itself from, say '90 -- start of '90

24  through August of '94?

25       A.    There weren't a great many changes other

00266

1  than repairs and general maintenance.

2       Q.    Okay.  And, to your knowledge, has that

3  basically continued on the same to date?

4       A.    To the best of my knowledge, yes.

5       Q.    And it's your testimony that the duties of

6  performing all of the water system functions could

7  be done in two to three hours a day?

8       A.    That is correct.

9             MR. LUNDGAARD:  I have nothing further.

10             JUDGE WALLIS:  Ms. Vierthaler?

11             MS. VIERTHALER:  No questions.

12             JUDGE WALLIS:  Is there anything further?

13             (No audible response.)

14             JUDGE WALLIS:  It appears that there is

15  not.  Thank you for appearing this evening.  You're

16  excused from the stand.

17             The reporter is fading fast on us here

18  and needs a moment to re-energize herself, so let's

19  take at least a five to seven minute break.

20             (Short recess.)

21             JUDGE WALLIS:  Let's be back on the

22  record, please.

23             Mr. Goltz, please call the next witness.

24             MR. GOLTZ:  The next witness is Mr. Ben

25  Marcin.

00267

1  Whereupon,

2                       BEN MARCIN,

3   having been first duly sworn, was called as a witness

4    herein and was examined and testified as follows:

5

6                    DIRECT EXAMINATION

7  BY MR. GOLTZ:

8       Q.    Go ahead and state your name and spell your

9  last name for the record.

10       A.    Ben Marcin, M A R C I N.

11       Q.    And your address, please.

12       A.    Box 1316, Eastsound.

13       Q.    And are you representing yourself or an

14  organization?

15       A.    An organization, Nook and Cranny.

16       Q.    Okay.

17       A.    The owners.

18       Q.    And could you describe that organization?

19       A.    It's a holding company that owns 60 acres --

20       Q.    And --

21       A.    -- in Rosario.

22       Q.    And within the area served by the water

23  company?

24       A.    Yes, sir.

25       Q.    And do you live within the area served by

00268

1  the water company?

2       A.    I live on a property.

3       Q.    Please proceed.

4       A.    I would like to address a few comments to

5  some missing water, and basically it's the water

6  that's not unaccounted for from the point that its

7  pumped to a point that it reaches the master meters.

8             Now, taking the data that is represented in

9  their presentation book and the data from about

10  February '94 to November '94, their daily average of

11  water pumped was about 160,000 gallons.  The master

12  meters indicated that 131,000 were being used.  And

13  there's a missing 29,000 gallons daily.

14             Now, I'm sure the expense associated with

15  pumping the water and treating it is included in the

16  figures that they've used to show the expenses.  But

17  the water usage, except for a limited amount for

18  backwash and the residential people, housing for

19  Rosario and possibly the fire house, that quantity

20  probably accounts for about 3 to 4,000 gallons a day.

21  So there's still an unaccounted amount of about 25,000

22  gallons.

23             I don't believe there is any significant

24  leaks on the transmission line, the major transmission

25  lines, because more than 70 percent of those lines are

00269

1  on our property, and I don't see any leaks.  So the

2  difference can't be accounted for by leakage.

3             Also if you examine that drawing, there is

4  a line indicated from -- as Tomihi tie-in running

5  through the sewer, but I'm not aware of any more

6  detail other than represented on that drawing.

7             Mr. Cavalli this morning said that only 30

8  gallons a day was being used in the treatment plant,

9  so it shouldn't be hard to find 25,000 gallons in

10  about half a mile.  It's doing something.  So I think

11  this could be sloppy operation or distributing free

12  water to some end use.

13             And I think that ought to be confirmed one

14  way or the other, and the cost associated with this

15  water be reflected in what they're expensing out.

16  That's all I have to say.

17             MR. GOLTZ:  I have no questions.

18

19                    CROSS-EXAMINATION

20  BY MR. LUNDGAARD:

21       Q.    When you say expensing out, are you

22  indicating that the electricity used to pump this

23  water is part of the company's expense?

24       A.    Yes.

25       Q.    And the treatment of that water is part of

00270

1  the company's expense?

2       A.    Right.

3       Q.    And the company is asking to recover those

4  expenses by the rates they're asking to be paid?

5       A.    That's correct.  But the -- there's no

6  indication that there's any income or real end usage

7  of the 25,000 gallons per day.

8       Q.    And the water is free, it comes out of the

9  lake, so there's no charge for the water?

10       A.    That's correct.

11       Q.    So the expenses are already being paid by

12  the users that pay monthly rates?

13       A.    Correct.

14       Q.    How much of the main transmission line is

15  on your property?

16       A.    Well, I have a sketch here.  Up to this

17  point.  The rest of it is on our property.

18       Q.    Can you relate your diagram to the exhibit?

19       A.    Can I put it up there?

20       Q.    That is on the board.

21             JUDGE WALLIS:  Exhibit No. 6.

22       Q.    So Exhibit No. 6.

23       A.    Well, I spent a little time trying to

24  match up the scale a little bit.

25       Q.    If you could identify those specific areas.

00271

1  The property that you own first.

2       A.    Well, it's going to go on here.

3  (Indicating.)

4       Q.    Okay.

5       A.    Maybe it's on this one.  It's kind of an

6  odd shape.  It runs down in here.  (Indicating.)

7       Q.    Is it in the area that is identified as

8  zone 2?

9       A.    Yes, it is.

10       Q.    And is there -- do you know, does this

11  represent a road, or does this represent a

12  transmission line and refer --

13       A.    It's an easement on our property.

14       Q.    Who is the -- who holds that easement?

15       A.    At this time I would have to look at the

16  document.  I don't really remember whether it's

17  Rosario or Geiser.

18       Q.    Who is -- and what type of easement?  Is it

19  an easement for a transmission line?

20       A.    It's also an easement for travel to the

21  various other properties in here besides the water.

22  So it's a 60 foot easement through here.  (Indicating.)

23       Q.    So it's an easement for ingress and egress?

24       A.    Yes.

25       Q.    That is shown with three lines and runs

00272

1  generally in an east-to-west direction?

2       A.    I think the third line is their water line.

3  And then this line here that ties into that center

4  line.  (Indicating.)

5             And for identification that starts at the

6  northwest corner of Tomora S P and runs on to --

7       A.    No, I'm sorry.  It starts -- it's this slot

8  in here.  (Indicating.)

9       Q.    I'm trying to have you identify the line

10  that starts at the northwest corner of Tomora S P and

11  runs across the top of Tomihi.

12       A.    That's not on our property.

13       Q.    Oh, okay.  Well, after it passes Tomihi and

14  proceeds easterly just below zone 6A, that's then on

15  your property?

16       A.    Yes.  All the way to the -- (Indicating.)

17       Q.    All the way over to --

18       A.    All the way over to the county road.

19       Q.    Is that the dark black line?

20       A.    Yes.

21       Q.    What is the name of that county road?

22       A.    I think it's Rosario Way.

23       Q.    Is that Horseshoe Highway?

24       A.    Rosario Way.

25       Q.    Rosario Way.

00273

1       A.    Horseshoe Highway is up here.

2  (Indicating.)

3       Q.    So that is Rosario Way; did you say?

4       A.    Yes, sir.

5       Q.    That is also a boundary line of the service

6  area, an easterly boundry of the water system service

7  area?

8       A.    But it's also the boundry line of the main

9  transmission lines.  And there are meters in this

10  area.

11       Q.    And showing you what is identified on the

12  map as Rosario Road county road, and there are some

13  lots that are -- lot No. 1 where the county road

14  Rosario Road reaches the easterly boundry of the

15  service area, you say there's a pump at that location?

16       A.    No, meter.  One of the master meters is

17  here.  And there's two more at this location.

18  (Indicating.)

19       Q.    Now, the record won't make it clear when

20  you say at this location.  So the first one you

21  pointed out was at the northwest corner of lot one

22  just on the south side of the Rosario county road?

23       A.    Okay.  Yeah.

24       Q.    And the other one was down --

25       A.    Two of them are --

00274

1       Q.    Two of them are down at the southeast

2  corner?

3             JUDGE WALLIS:  I'm going to interject here

4  and ask the witness to not talk when counsel is

5  talking and vice versa.

6       Q.    The other two are down at a lot that is

7  identified as PRV?

8       A.    Right.  It's in the vicinity of the dam.

9       Q.    Okay.  Fine.

10             JUDGE WALLIS:  Do you have anything further,

11  Mr. Lundgaard?

12             MR. LUNDGAARD:  No I guess not, your Honor.

13             JUDGE WALLIS:  Mr. Goltz?

14

15                    CROSS-EXAMINATION

16  BY MR. GOLTZ:

17       Q.    What lead to you testifying here tonight?

18       A.    Well, I would like the proposed rates to be

19  equitable to the users.  And I really don't have

20  anything more than that other than a good bit of the

21  activity is on our property including the treatment

22  plant.

23       Q.    Were you asked to testify tonight, or did

24  you just come here on your own?

25       A.    No.  No.  Well, I'm part of the water

00275

1  committee.

2       Q.    The Property Owners Association?

3       A.    Well, yes.

4       Q.    And were you asked by the association to

5  come here?

6       A.    No.  No.  Well, I don't know how to the

7  committee was formed, but I was asked to join the

8  committee.

9       Q.    I understand.  So you weren't asked

10  especially to present testimony tonight?

11       A.    No, other than examine information related

12  to the water system.  I do have a background in it.

13       Q.    I understand.  Okay.  Thank you.

14             JUDGE WALLIS:  Is there anything further

15  for this witness?

16             MS. VIERTHALER:  No.

17

18                    CROSS-EXAMINATION

19  BY MR. LUNDGAARD:

20       Q.    I didn't ask you to come here tonight

21  and testify; did I?

22       A.    No you didn't.

23             MR. LUNDGAARD:  Thank you.

24             JUDGE WALLIS:  Mr. Marcin, thank you for

25  appearing.  You're excused from the stand.

00276

1             MR. GOLTZ:  Mr. Harvey Aldort.

2  Whereupon,

3                      HARVEY ALDORT,

4   having been first duly sworn, was called as a witness

5    herein and was examined and testified as follows:

6

7                    DIRECT EXAMINATION

8  BY MR. GOLTZ:

9       Q.    Good evening.  Could you state your name

10  and spell your last name for the record.

11       A.    It's Harvey Aldort, A L D O R T.

12       Q.    And your address.

13       A.    Star Route, Box 277, Eastsound.

14       Q.    And are you a customer of the water

15  utility?

16       A.    Yes.  I live in the Highlands.  I own

17  property in the Highlands.

18       Q.    And would you proceed.

19       A.    I don't really have testimony.  You know,

20  I've been watching this from when this started, and at

21  first I thought that they asked for a huge increase

22  because they figured, well, we'll ask for this, and

23  the utility will just -- you guys will slash it in

24  half, and I didn't realize really how far out they

25  were.

00277

1             And I think what I would like to say here

2  is that I request that you grant no increase except

3  the future costs.  In other words, if they spend a

4  million dollars to build a new plant, and the

5  amortization that is typical is 30 years or whatever,

6  whatever that breaks out, that's what should be added

7  to the existing rates.

8             These people operated this utility for -- I

9  don't know.  I mean, I'm a recent person here.  And

10  they've been collecting $2,500 dollars to tie people

11  on, and it's taking their employee an hour.

12             I don't know where they're putting the

13  2,400 extra that they've been getting on every one of

14  these things, but supposedly that money is out of

15  their pocket.  It isn't.  I mean, it's been banked.

16  It's gone.

17             And, you know, this individual -- this

18  organization that has bought the resort and bought the

19  property or whatever, I don't really know all the

20  legal finagling, you know, decided I think that if he

21  went public with this, that he could get you guys to

22  grant the big increase, hide behind the law.  And the

23  whole thing is like a red herring.

24             His number -- you know, he's constantly

25  back-pedaling on his numbers.  You're -- in all due

00278

1  respect to the Commission, you're falling into his

2  trap, because even though he started with a huge

3  number, and the Commission feels they're making a

4  rational recommendation with the recommendations here,

5  how did they operate for all these -- forever with the

6  revenue they've got.

7             And if they need revenue to improve the

8  system, why don't they improve the system and look at

9  what that costs and ask for the rate increase after

10  the improval.

11             Plus they have approximately 140 units

12  at the resort.  I mean, you can't really separate one

13  from the other.  I mean, even though they're separate

14  legal entities, it's the same people.

15             They want to add 70 condos, which means

16  their own consumption, whatever the numbers are, is

17  going to increase by 50 percent.  Does that mean

18  that all the homeowners are going to take a reduction

19  offset by their increased revenue, because the revenue

20  -- the water is free?

21             I mean, their costs are just totally

22  artificial, I mean, their out of pocket.  Their

23  employees is probably -- direct water-related it's

24  peanuts.  I mean, this is like a balloon.  They've

25  blown up a big balloon, and the Commission is falling

00279

1  in.

2             And I would request that you don't grant

3  them anything, and let them make their improvements,

4  which they want to do for their own purposes, and then

5  say, look we just spent a million dollars, and we want

6  to recoup it over 30 years or 50 or whatever is common

7  in the industry.  They're big people.  They don't need

8  you to protect them.

9             JUDGE WALLIS:  Just a moment.

10       Q.    May I just indicate that you understand

11  that the recommendation that has been made here --

12  the recommendations by the witnesses for the

13  commission staff is in fact a separate entity, and we

14  are not communicating directly with the commissioners.

15             There's three commissioners, and they are

16  making a decision based on the evidence presented by

17  the interveners, the company, and the commission

18  staff.

19             So I guess I'm just asking you -- I guess I

20  need to make a statement or clarification that this is

21  not -- the proposal is not a Commission proposal.  It

22  is a Commission Staff recommendation, and the

23  Commission will be making an independent decision.

24       A.    I understand.  Are you a member of the

25  staff that is making that decision, or are you just

00280

1  the facilitator between the Staff and --

2       Q.    I'm not a member of the Staff.  I'm with

3  the Attorney General's office, and I am assigned by

4  law to represent the Staff in proceedings before the

5  Commission, so I'm acting as the attorney on behalf of

6  Staff.  And I will not be giving independent legal

7  advice to the Commission on this matter.

8       A.    I see.

9             JUDGE WALLIS:  Are there any other

10  questions for Mr. Aldort?

11             (No audible response.)

12             JUDGE WALLIS:  It appears that there

13  aren't.

14             Thank you, very much for appearing tonight.

15             THE WITNESS:  You're welcome.

16             MR. GOLTZ:  Ms. JoAnn Simmons.

17  Whereupon,

18                      JOANN SIMMONS,

19   having been first duly sworn, was called as a witness

20    herein and was examined and testified as follows:

21

22                    DIRECT EXAMINATION

23  BY MR. GOLTZ:

24       Q.    Would you please state your name and spell

25  your name for the record.

00281

1       A.    JoAnn Simmons, J O, capital, A N N,

2  S I M M O N S.

3       Q.    Okay.  And your address?

4       A.    P. O. Box 387, Eastsound.

5       Q.    And are you testifying on behalf of

6  yourself or an organization?

7       A.    Myself and my husband.

8       Q.    Okay.  And are you a customer of the water

9  utility?

10       A.    Yes, I am.

11       Q.    Okay.  Could you please proceed.

12       A.    Great.  I have a brief statement I would

13  like to read if I may.

14             JUDGE WALLIS:  I'm going to ask you two

15  favors.  No. 1 is read slowly.

16             THE WITNESS:  Uh-huh.

17             JUDGE WALLIS:  And No. 2 is give the court

18  reporter a copy of that.

19             THE WITNESS:  Sure.

20             My name is JoAnn Simmons.  I am currently

21  serving as a director on the board of our homeowners

22  association.

23             As a director I have been involved in the

24  process of Rosario's application for an increase in

25  the water rates since January.  My husband and I have

00282

1  not only witnessed the Rosario Utilities reluctance to

2  supply requested information, we have seen that much

3  of the information they have supplied has not been

4  correct.

5             This misinformation resulted in the three

6  homeowners associations need to combine efforts and

7  resources to gather the correct information necessary

8  to determine a fair and equitiable rate.

9             As a means to this end, we felt it

10  necessary to hire an attorney and accountant

11  specializing in this field in an effort to counter the

12  misinformation generated by the Rosario Utility.

13             As customers of the utility, we are greatly

14  disturbed on two fronts.  We feel the information

15  generated by the utility cannot be trusted without

16  spending extensive time and effort to determine the

17  validity of that information.  This is particulary

18  painful when dealing with something as essential as

19  the water we drink.

20             As members of the homeowners association,

21  we watch our monetary resources dwindle in an effort

22  to determine truth and fairness; truth that should be

23  inherent in a public utility, and fairness which

24  should be determined by the State based on honest

25  facts and data.

00283

1             We resent the financial obligation required

2  to determine the truth necessary for the State to

3  reach a fair decision.  Thank you.

4             JUDGE WALLIS:  Are there questions for Ms.

5  Simmons.

6             MR. GOLTZ:  I have none.

7             MR. LUNDGAARD:  None.

8             JUDGE WALLIS:  Thank you, very much for

9  appearing tonight.

10             Next.

11             MR. GOLTZ:  Mr. David Morrison.

12  Whereupon,

13                     DAVID MORRISON,

14   having been first duly sworn, was called as a witness

15  herein and was examined and testified as follows:

16

17                    DIRECT EXAMINATION

18  BY MR. GOLTZ:

19       Q.    Could you state and spell your last name

20  for record, please.

21       A.    My name is David Morrison.

22       Q.    And your address?

23       A.    19590 Juna Lane, Saratoga, California.

24       Q.    That's J U N A Lane?

25       A.    Yes.

00284

1       Q.    And are you testifing on behalf of an

2  association today?

3       A.    I'm representing myself as owner of the

4  Cascade Harbor Inn.

5       Q.    And you are actually granted intervention

6  as a party in this matter?

7       A.    Yes.

8       Q.    And this morning you were asked if you were

9  going to present any witnesses, and you responded no?

10       A.    That's correct.

11       Q.    Nevertheless you have something you wish to

12  add tonight?

13       A.    Yes, I do.

14       Q.    Please proceed.  Are you currently -- other

15  than in your ownership capacity of the Cascade Harbor

16  Inn, are you a separate customer of the water utility?

17       A.    No, other than the Cascade Harbor Inn.

18       Q.    Please proceed.

19       A.    My wife and I own the -- and manage the

20  Cascade Harbor Inn, which contains 12 legal

21  condominiums and adjoins the Rosario Resort.

22             In May of 1995 Dan Donahoe increased my

23  water rate 400 percent.  I contacted the Utilities

24  Commission and said the rate was increased -- the rate

25  increase was selective and vindictive.  The Utility

00285

1  Commission agreed, and Donahoe was told the increase

2  was not legal.

3             Within two months my water rates were

4  increased again along with everyone else that uses the

5  water.

6             Rosario water installed a master meter a

7  little over a year ago and have found that a

8  condominium, which contains 1600 square feet, uses 600

9  cubic feet of water per month.  That's 160 gallons a

10  day.

11             As an appraiser consultant, I analyze

12  utility expenses on an ongoing basis, and I found that

13  consumer water costs in 99 percent of the cases fall

14  between one cents and two cents per cubic foot.

15             My water cost based on the vast majority of

16  water provided should therefore run about 6 to $12 per

17  month per condo, not the $80 that I'm currently being

18  billed by Rosario Utilities.

19             Mr. Donahoe has told me that he has 25

20  profit centers at Rosario including the water and

21  sewer companies, and that a prospective buyer would

22  like to see a profit from all 25 centers.

23             I believe making a profit is admirable, but

24  I do feel Rosario Utilities is inflating plant,

25  equipment expenses, and salaries in an attempt to

00286

1  justify an $80 per month rate when $10 worth of water

2  is used.  That's the end of my statement.

3             MR. GOLTZ:  Okay.  I have no questions.

4             JUDGE WALLIS:  Are there any questions for

5  Mr. Morrison?

6

7                    CROSS-EXAMINATION

8  BY MR. LUNDGAARD:

9       Q.    When did you say you installed your meter?

10       A.    End of June, 1995.

11       Q.    So you've had approximately a little over a

12  year then of meter readings?

13       A.    That's correct.

14       Q.    So you've had the peak time as well as the

15  off-season time?

16       A.    That's correct.

17       Q.    And your overall average is 160 gallons a

18  day?

19       A.    Yes.

20             MR. LUNDGAARD:  I have nothing further, your

21  Honor.

22

23                    CROSS-EXAMINATION

24  BY MR. GOLTZ:

25       Q.    160 gallons per day per?

00287

1       A.    Per condo.

2       Q.    And you have 12 condominiums?

3       A.    Yes.

4       Q.    And those condominiums are all rented, or

5  are some permanently occupied?

6       A.    They're rented on a daily basis.

7       Q.    On a daily basis.  The occupancy is fairly

8  light?

9       A.    During the summer it's high.  Very low

10  during the winter.

11       Q.    And are they multi-bedroom units?

12       A.    That's correct.

13       Q.    Okay.  And are they rented by families who

14  make use of all the bedrooms?

15       A.    Every bedroom has a bathroom, yes.

16       Q.    And is that the only purpose -- and they

17  all have kitchens?

18       A.    There are 12 kitchens.

19       Q.    Is there any other purpose for which you

20  use water besides the individual condominium unit's

21  kitchen and bathroom facilities?

22       A.    There's very little landscaping, and the

23  laundry is done outside.

24       Q.    You have no pool?

25       A.    No pool.  No spa.

00288

1       Q.    But some modest amount of gardening?

2       A.    That's correct.

3             MR. GOLTZ:  I have no further questions.

4             JUDGE WALLIS:  Mr. Morrison, thank you for

5  appearing.  You're excused from the stand.

6             MR. GOLTZ:  Next is Ms. Carol Blaney-Tully.

7  Whereupon,

8                   CAROL BLANEY-TULLY,

9   having been first duly sworn, was called as a witness

10  herein and was examined and testified as follows:

11

12                    DIRECT EXAMINATION

13  BY MR. GOLTZ:

14       Q.    Good evening.

15       A.    Good evening.

16       Q.    Could you state and spell your last name.

17       A.    My name is Carol Blaney-Tully, B L A N E Y,

18  dash, T U L L Y.

19       Q.    And your address?

20       A.    Post Office Box 1810, Eastsound.

21       Q.    And are you a customer of the water

22  utility?

23       A.    Not yet I am.

24       Q.    Do you own property?

25       A.    I own property.

00289

1       Q.    Within the area which the utility --

2       A.    Yes, in Rosario estates No. 2.

3       Q.    And you're testifying on behalf of

4  yourself?

5       A.    Yes.

6       Q.    Please proceed.

7       A.    I'm one of those persons who has now sold

8  my home and is ready to build in Rosario.  My late

9  husband and I first purchased property in 1975 and

10  another lot in 1979.

11             I have been a member of the Property Owners

12  Association since 1975 and have followed the

13  activities very closely and in 1986 received a letter

14  from Gil Geiser on behalf of Geiser Land Company that

15  said in order to reserve my place in the water system,

16  that it would be advisable to pay my $2,500 water fee

17  at that time, which I did.

18             And the understanding was that when I was

19  ready to build, my place would be there.  And I only

20  am saying at this point that I hope that this water

21  rate situation can be resolved quickly so that this

22  dream that has gone on for so long may be culminated.

23  Thank you.

24       Q.    You said that you paid your hook-up fee for

25  service connection of $2,500 when?

00290

1       A.    1986.

2             MR. GOLTZ:  Thank you, very much.

3             MR. LUNDGAARD:  One question.

4

5                    CROSS-EXAMINATION

6  BY MR. LUNDGAARD:

7       Q.    When did you sell your home?

8       A.    Last month.

9       Q.    So you understand you have two years to --

10       A.    Yes.

11       Q.    -- occupy a new home, or you will have

12  to pay the capital gain; you won't be able to defer

13  it?

14       A.    That's right.

15       Q.    Is that one of your concerns?

16       A.    Somewhat.

17             MR. LUNDGAARD:  I have nothing further.

18             THE WITNESS:  Thank you.

19             JUDGE WALLIS:  Thank you, very much.

20  You're excused from the stand.

21             MR. GOLTZ:  Next is Ms. Shirley Dawson.

22  Whereupon,

23                     SHIRLEY DAWSON,

24   having been first duly sworn, was called as a witness

25    herein and was examined and testified as follows:

00291

1                    DIRECT EXAMINATION

2  BY MR. GOLTZ:

3       Q.    Could you state your name and spell your

4  last name for the record, please.

5       A.    My first name is Shirley, S H I R L E Y,

6  last name is Dawson, D A W S O N.

7       Q.    And your address?

8       A.    Post Office Box 687, Granite

9  Falls, Washington.

10       Q.    And are you a customer of the water

11  utility?

12       A.    Not presently at this time.

13       Q.    You're a lot owner?

14       A.    We're a lot owner in Orcas Highlands.

15       Q.    And are you testifying on behalf of

16  yourself?

17       A.    On behalf of myself and my husband.

18       Q.    Please proceed.

19       A.    Actually most of my testimony is the same

20  as Carol.  My husband and I purchased our lot in 1990.

21  And in 1993 or '94 we were advised that it would be

22  advisable for us to go ahead and pay our water

23  membership, which we did at that time.

24             We were told then that water would be

25  available to us when we were ready to start building.

00292

1  We had plans drawn up last year.  And that was before

2  the moratorium came on.

3             We were not even given the opportunity to

4  find out that there was going to be a moratorium on

5  building, or that there was going to be a limit on

6  water hook-ups.  Nobody bothered to advise us of that.

7             The first time we found out was in January

8  when were contacted by the Orcas Highlands Association

9  asking us to write to the WUTC.

10             What I'm asking the WUTC to do is before

11  Rosario is allowed to build at all, the people that

12  have paid their water memberships should be the first

13  ones that are able to build.

14       Q.    And are you -- does that complete your

15  statement?

16       A.    Yes, sir, I am.

17       Q.    And have you paid your $2,500?

18       A.    Actually ours was only $750.  It did take a

19  rate increase.  We paid before the rate increase in

20  Orcas Highlands.

21       Q.    When did you pay that?

22       A.    In either '93 or '94.  I'm sorry.  I didn't

23  bring the document.  But one thing I would like to

24  reiterate is when we purchased our land, one thing our

25  lawyer asked us to do was to find out if water was

00293

1  going to be available to us, and in fact we did.  And

2  a letter was sent out to us that said, yes, when

3  you're ready to build, it will be there.

4       Q.    From whom did you receive that letter?

5       A.    Sir, since I did -- we found out about this

6  meeting on short notice, so I did not bring that.  I

7  would be happy to send a copy to the WUTC if you

8  provide me with a mailing address.

9       Q.    So you don't recall who sent it to you?

10       A.    No, sir, I do not.

11       Q.    Who did you pay your $750 dollars?

12       A.    To the Orcas Highlands Association.

13       Q.    Okay.  So it was not to the water utility

14  then?

15       A.    No.  No, sir it was not.

16       Q.    And was the letter you received from the

17  Orcas Highlands Association?

18       A.    Yes, sir, it was.

19             MR. GOLTZ:  Okay.  I have no further

20  questions.

21             JUDGE WALLIS:  Are there other questions?

22

23                    CROSS-EXAMINATION

24  BY MR. LUNDGAARD:

25       Q.    Did -- are you sure you didn't -- you say

00294

1  you received that from the Orcas Highlands

2  Association?

3       A.    Received what, sir?

4       Q.    The letter.

5       A.    Yes.  There was a letter dated -- from the

6  association.

7       Q.    But that's the letter that told you to pay,

8  or is that the letter that said water would be

9  available when --

10       A.    That is the letter that said that water

11  would be available.

12       Q.    And you say you have that at home but

13  didn't bring it with you?

14       A.    Yes.  We found out about the meeting on

15  short notice and decided to come, so I did not bring

16  that with me.

17             MR. LUNDGAARD:  Thank you.

18             JUDGE WALLIS:  Is there anything further?

19             MS. VIERTHALER:  No.

20             JUDGE WALLIS:  It appears that there is

21  not.

22             Ms. Dawson, thank you, very much.

23             THE WITNESS:  Thank you.

24             MR. GOLTZ:  On the sheet that was -- some

25  people signed up on during the break, several people

00295

1  didn't indicate whether or not they wished to comment.

2  I'm going to call those names, and if they wish to

3  comment, that's fine.  If not, so indicate.

4             The first person to sign was Emily White.

5             MEMBER OF THE AUDIENCE:  She left.

6             MR. GOLTZ:  Okay.  And the next person to

7  indicate he did want to speak was Mr. John Eiland.

8  Whereupon,

9                       JOHN EILAND,

10   having been first duly sworn, was called as a witness

11    herein and was examined and testified as follows:

12

13                    DIRECT EXAMINATION

14  BY MR. GOLTZ:

15       Q.    Good evening.  If you could state your name

16  and spell your last name for the record.

17       A.    Yes.  John Eiland, last name is E I L A N D.

18       Q.    And what is your address?

19       A.    I live on Orcas Highlands, H C 1, Box 96,

20  Eastsound.

21       Q.    And are you testifying on behalf of

22  yourself or --

23       A.    Just for myself.

24       Q.    Please proceed.

25       A.    There are a couple of the previous people

00296

1  who spoke, Mrs. Stupke and Mr. Aldort, that kind of

2  stimulated my thoughts.

3             This afternoon after hearing some of the

4  testimony this morning, I was in discussion with my

5  wife about the cost of water.  Mrs. Stupke talked

6  about appropriate pricing for retired people.

7             I'm retired and moved here after my

8  retirement in 1988.  Last year I moved part time to

9  Green Valley, Arizona, which is 25 miles south of

10  Tuscon in the middle of the desert.

11             We don't have Cascade Lake to get the water

12  from.  We obtain water from the Green Valley Water

13  Company, which is a private organization.  A private

14  company provides us water.

15             And my wife looked back through our check

16  stubs, and we determined that the largest monthly

17  payment we had made was 12.50 per month.

18       Q.    In Arizona?

19       A.    In Arizona, yes.

20             The Green Water -- Green Valley Water

21  Company obtains its water from an aquifer several

22  hundred feet below the desert floor and pumps it into

23  huge tanks and purveys it to us at that price.  That

24  seems appropriate to me for a retired person's water

25  fee, as mentioned by Mrs. Stupke.

00297

1             When I was informed by my homeowners

2  association about the proposed fee increase, I was

3  incredulous and very angry.  I felt that this was a

4  crime, and I guess the name of the crime was

5  extortion.  The cost of my water would go up

6  approximately 700 percent.

7             And then Mr. Aldort suggested something

8  that kind of put a finish on my thoughts.  He's a

9  business person, and I suppose most business people

10  when they plan an expansion or something, they borrow

11  the money to do so and pay it off over 30 years

12  orsomething like that.  And that kind of seems to

13  explain what extortion means in this case.  That's

14  about all I have to say.

15             MR. GOLTZ:  Thank you, very much.

16

17                    CROSS-EXAMINATION

18  BY MR. LUNDGAARD:

19       Q.    Excuse me, Mr. Eiland.  How many months

20  do you spend at Green Valley?

21       A.    Ten months this past year.

22       Q.    So you're only at your property here in

23  the Orcas Highlands area two months?

24       A.    This year.  But I lived from 1988 through a

25  year ago 12 months a year here.

00298

1       Q.    What is your plans for the future in terms

2  of sharing your time between your two locations?

3       A.    My house is on the market now.  If I can

4  sell it, I'll move down to Green Valley as a full-time

5  resident there probably relocating on the peninsula

6  for two or three months in the summer.

7       Q.    Would a vacation-type rate of -- be of

8  interest to you where you would have a reduced rate

9  for people who only live in their property for less

10  than six months?

11       A.    You mean here --

12       Q.    Yes.

13       A.    -- in Orcas?

14             Well, it wouldn't affect me.  I won't be

15  coming back to Orcas.  I would be living somewhere

16  where I don't have to take the ferry.

17             JUDGE WALLIS:  Thank you for appearing this

18  evening.

19             MR. GOLTZ:  Next -- actually a couple of

20  people signed up without indicating if they wished to

21  comment.  Don and Marilyn Miller.

22             MRS. MILLER:  I thought I put no.  I

23  certainly concur with the comments that have been

24  made.

25             MR. GOLTZ:  The next person who signed up

00299

1  and didn't check the box either way on wishing to

2  comment is Mr. Walt Hanschildt.

3             MR. HANSCHILDT:  I don't have any comment.

4             MR. GOLTZ:  Your Honor, that concludes the

5  people who signed up either prior to the meeting or

6  during the meeting or during the break, so I have no

7  other persons that have indicated any --

8             JUDGE WALLIS:  Let's ask if there is anyone

9  else in the audience who would like to testify this

10  evening?

11             (No audible response.)

12             JUDGE WALLIS:  Let the record show that

13  there is no positive indication.

14             I certainly want to thank everyone who

15  came this evening for coming out.  I want to thank

16  those of you who testified for making your views known

17  to the Commission.

18             And let me ask counsel if there's anything

19  further to be discussed this evening?

20             (No audible response.)

21             JUDGE WALLIS:  It appears that there is not.

22  And we will adjourn tonight's session, and we will resume

23  tomorrow morning in this room promptly at eight o'clock.

24             Thank you, very much.

25             (Hearing adjourned at 8:59 p.m.)