Avista Electric Conservation Potential Assessment Study Final Report. Applied Energy Group, Inc. 500 Ygnacio Valley Road Suite 250 Walnut Creek, CA 94596 510.982.3525 www.appliedenergygroup.com; Avista Corporation. July 22, 2015.

This report was prepared by

Applied Energy Group, Inc. 
500 Ygnacio Valley Blvd., Suite 250
Walnut Creek, CA 94596

Project Director: I. Rohmund 
Project Manager: B. Kester
F. Nguyen

S. Yoshida

Contents

Introduction	1

Abbreviations and Acronyms	2

Analysis Approach and Data Development	4

Overview of Analysis Approach	4

LoadMAP Model	4

Definitions of Potential	6

Market Characterization	6

Baseline Projection	8

Conservation Measure Analysis	8

Conservation Potential	12

Data Development	13

Data Sources	13

Data Application	15

Market Characterization and Market Profiles	23

Energy Use Summary	23

Residential Sector	25

Commercial Sector	32

Industrial Sector	38

Baseline Projection	42

Residential Sector	42

Annual Use	42

Residential Summer Peak Projection	45

Residential Winter Peak Projection	47

Commercial Sector Baseline Projections	48

Annual Use	48

Commercial Summer Peak Demand Projection	51

Commercial Winter Peak Demand Projection	53

Industrial Sector Baseline Projections	55

Annual Use	55

Industrial Summer Peak Demand Projection	57

Industrial Winter Peak Demand Projection	59

Summary of Baseline Projections across Sectors and States	61

Annual Use	61

Summer Peak Demand Projection	62

Winter Peak Demand Projection	62

Conservation Potential	64

Overall Summary of Energy Efficiency Potential	64

Summary of Annual Energy Savings	64

Summary of Conservation Potential by Sector	68

Residential Conservation Potential	69

Commercial Conservation Potential	77

Industrial Conservation Potential	83

Market Profiles	89

Market Adoption (Ramp) Rates	121

Equipment Measure Data	122

Non-Equipment Measure Data	D-123

List of Figures

Figure 2-1	LoadMAP Analysis Framework	5

Figure 2-2	Approach for Conservation Measure Assessment	9

Figure 3-1	Sector-Level Electricity Use in Base Year 2013, Washington	23

Figure 3-2	Sector-Level Electricity Use in Base Year 2013, Idaho	25

Figure 3-3	Residential Electricity Use and Summer Peak Demand by End Use (2013), Washington	27

Figure 3-4	Residential Electricity Use and Summer Peak Demand by End Use (2013), Idaho	28

Figure 3-5	Residential Intensity by End Use and Segment (Annual kWh/HH, 2013), Washington	29

Figure 3-6	Residential Intensity by End Use and Segment (Annual kWh/HH, 2013), Idaho	29

Figure 3-7	Commercial Sector Electricity Consumption by End Use (2013), Washington	33

Figure 3-8	Commercial Sector Electricity Consumption by End Use (2013), Idaho	34

Figure 3-9	Commercial Electricity Usage by End Use Segment (GWh, 2013), Washington	35

Figure 3-10	Commercial Electricity Usage by End Use Segment (GWh, 2013), Idaho	35

Figure 3-11 	Industrial Electricity Use by End Use (2013), All Industries, WA and ID	39

Figure 4-1	Residential Baseline Sales Projection by End Use (GWh), Washington	43

Figure 4-2	Residential Baseline Sales Projection by End Use – Annual Use per Household, Washington	44

Figure 4-3	Residential Baseline Projection by End Use (GWh), Idaho	44

Figure 4-4	Residential Baseline Sales Projection by End Use – Annual Use per Household, Idaho	45

Figure 4-5	Residential Summer Peak Baseline Projection by End Use (MW), Washington	46

Figure 4-6	Residential Summer Peak Baseline Projection by End Use (MW), Idaho	46

Figure 4-7	Residential Winter Peak Baseline Projection by End Use (MW), Washington	48

Figure 4-8	Residential Winter Peak Baseline Projection by End Use (MW), Idaho	48

Figure 4-9	Commercial Baseline Projection by End Use, Washington	50

Figure 4-10	Commercial Baseline Projection by End Use, Idaho	50

Figure 4-11	Commercial Summer Peak Baseline Projection by End Use (MW), Washington	52

Figure 4-12	Commercial Summer Peak Baseline Projection by End Use (MW), Idaho	52

Figure 4-13	Commercial Winter Peak Baseline Projection by End Use (MW), Washington	54

Figure 4-14	Commercial Winter Peak Baseline Projection by End Use (MW), Idaho	54

Figure 4-15	Industrial Baseline Projection by End Use (GWh), Washington	56

Figure 4-16	Industrial Baseline Projection by End Use (GWh), Idaho	56

Figure 4-17	Industrial Summer Peak Baseline Projection by End Use (MW), Washington	58

Figure 4-18	Industrial Summer Peak Baseline Projection by End Use (MW), Idaho	58

Figure 4-19	Industrial Winter Peak Baseline Projection by End Use (MW), Washington	60

Figure 4-20	Industrial Winter Peak Baseline Projection by End Use (MW), Idaho	60

Figure 4-21	Baseline Projection Summary (GWh), WA and ID Combined	61

Figure 4-22	Baseline Summer Peak Projection Summary (MW), WA and ID Combined	62

Figure 4-23	Baseline Winter Peak Projection Summary (MW), WA and ID Combined	63

Figure 5-1	Summary of EE Potential as % of Baseline Projection (Annual Energy), Washington	66

Figure 5-2	Summary of EE Potential as % of Baseline Projection (Annual Energy), Idaho	66

Figure 5-3	Baseline Projection and EE Forecast Summary (Annual Energy, GWh), Washington	67

Figure 5-4	Baseline Projection and EE Forecast Summary (Annual Energy, GWh), Idaho	67

Figure 5-5	Achievable Conservation Potential by Sector (Annual Energy, GWh)	68

Figure 5-6	Residential Conservation Savings as a % of the Baseline Projection (Annual Energy), Washington	70

Figure 5-7	Residential Conservation Savings as a % of the Baseline Projection (Annual Energy), Idaho	71

Figure 5-8	Residential Achievable Savings Forecast (Cumulative GWh), Washington	74

Figure 5-9	Residential Achievable Savings Forecast (Cumulative GWh), Idaho	76

Figure 5-10	Commercial Conservation Savings (Energy), Washington	78

Figure 5-11	Commercial Conservation Savings (Energy), Idaho	79

Figure 5-12	Commercial Achievable Savings Forecast (Cumulative GWh), Washington	81

Figure 5-13	Commercial Achievable Savings Forecast (Cumulative GWh), Idaho	82

Figure 5-14	Industrial Conservation Potential as a % of the Baseline Projection (Annual Energy), Washington	84

Figure 5-15	Industrial Conservation Potential as a % of the Baseline Projection (Annual Energy), Idaho	85

Figure 5-16	Industrial Achievable Savings Forecast (Cumulative GWh), Washington	87

Figure 5-17	Industrial Achievable Savings Forecast (Annual Energy, GWh), Idaho	88

List of Tables

Table 1-1	Explanation of Abbreviations and Acronyms	2

Table 2-1	Overview of Avista Analysis Segmentation Scheme	7

Table 2-2	Example Equipment Measures for Central AC – Single-Family Home	10

Table 2-3	Example Non-Equipment Measures – Single Family Home, Existing	11

Table 2-4	Number of Measures Evaluated	11

Table 2-5	Data Applied for the Market Profiles	16

Table 2-6	Residential Electric Equipment Standards	18

Table 2-7	Commercial Electric Equipment Standards	19

Table 2-8	Industrial Electric Equipment Standards	20

Table 2-9	Data Needs for the Measure Characteristics in LoadMAP	21

Table 3-1	Avista Sector Control Totals (2013), Washington	24

Table 3-2	Avista Sector Control Totals (2013), Idaho	25

Table 3-3	Residential Sector Control Totals (2013), Washington	26

Table 3-4	Residential Sector Control Totals (2013), Idaho	26

Table 3-5	Average Market Profile for the Residential Sector, 2013, Washington	30

Table 3-6	Average Market Profile for the Residential Sector, 2013, Idaho	31

Table 3-7	Commercial Sector Control Totals (2013), Washington	32

Table 3-8	Commercial Sector Control Totals (2013), Idaho	32

Table 3-9	Average Electric Market Profile for the Commercial Sector, 2013, Washington	36

Table 3-10	Average Electric Market Profile for the Commercial Sector, 2013, Idaho	37

Table 3-11	Industrial Sector Control Totals (2013)	38

Table 3-12	Average Electric Market Profile for the Industrial Sector, 2013, Washington	40

Table 3-13	Average Electric Market Profile for the Industrial Sector, 2013, Idaho	41

Table 4-1	Residential Baseline Sales Projection by End Use (GWh), Washington	43

Table 4-2	Residential Baseline Sales Projection by End Use (GWh), Idaho	43

Table 4-3	Residential Summer Peak Baseline Projection by End Use (MW), Washington	45

Table 4-4	Residential Summer Peak Baseline Projection by End Use (MW), Idaho	46

Table 4-5	Residential Winter Peak Baseline Projection by End Use (MW), Washington	47

Table 4-6	Residential Winter Peak Baseline Projection by End Use (MW), Idaho	47

Table 4-7	Commercial Baseline Sales Projection by End Use (GWh), Washington	48

Table 4-8	Commercial Baseline Sales Projection by End Use (GWh), Idaho	49

Table 4-9	Commercial Summer Peak Baseline Projection by End Use (MW), Washington	51

Table 4-10	Commercial Summer Peak Baseline Projection by End Use (MW), Idaho	51

Table 4-11	Commercial Winter Peak Baseline Projection by End Use (MW), Washington	53

Table 4-12	Commercial Winter Peak Baseline Projection by End Use (MW), Idaho	53

Table 4-13	Industrial Baseline Projection by End Use (GWh), Washington	55

Table 4-14	Industrial Baseline Projection by End Use (GWh), Idaho	55

Table 4-15	Industrial Summer Peak Baseline Projection by End Use (MW), Washington	57

Table 4-16	Industrial Summer Peak Baseline Projection by End Use (MW), Idaho	57

Table 4-17	Industrial Winter Peak Baseline Projection by End Use (MW), Washington	59

Table 4-18	Industrial Winter Peak Baseline Projection by End Use (MW), Idaho	59

Table 4-19	Baseline Projection Summary (GWh), WA and ID Combined	61

Table 4-20	Baseline Summer Peak Projection Summary (MW), WA and ID Combined	62

Table 4-21	Baseline Winter Peak Projection Summary (MW), WA and ID Combined	62

Table 5-1	Summary of EE Potential (Annual Energy, GWh), Washington	65

Table 5-2	Summary of EE Potential (Annual Energy, GWh), Idaho	65

Table 5-3	Achievable Conservation Potential by Sector (Annual Use), WA and ID	68

Table 5-4	Residential Conservation Potential (Annual Energy), Washington and Idaho	69

Table 5-5	Residential Conservation Potential (Annual Energy), Washington	69

Table 5-6	Residential Conservation Potential (Annual Energy), Idaho	70

Table 5-7	Residential Top Measures in 2017 (Annual Energy, MWh), Washington and Idaho	72

Table 5-8	Residential Top Measures in 2017 (Annual Energy, MWh), Washington	73

Table 5-9	Residential Top Measures in 2017 (Annual Energy, MWh), Idaho	75

Table 5-10	Commercial Conservation Potential (Energy Savings), Washington and Idaho	77

Table 5-11	Commercial Conservation Potential (Energy Savings), Washington	77

Table 5-12	Commercial Conservation Potential (Energy Savings), Idaho	78

Table 5-13	Commercial Top Measures in 2017 (Annual Energy, MWh), Washington and Idaho	80

Table 5-14	Commercial Top Measures in 2017 (Annual Energy, MWh), Washington	81

Table 5-15	Commercial Top Measures in 2017 (Annual Energy, MWh), Idaho	82

Table 5-16	Industrial Conservation Potential (Annual Energy, GWh), Washington and Idaho	83

Table 5-17	Industrial Conservation Potential (Annual Energy, GWh), Washington	83

Table 5-18	Industrial Conservation Potential (Annual Energy, GWh), Idaho	84

Table 5-19	Industrial Top Measures in 2017 (Annual Energy, GWh), Washington and Idaho	86

Table 5-20	Industrial Top Measures in 2017 (Annual Energy, GWh), Washington	87

Table 5-21	Industrial Top Measures in 2017 (Annual Energy, GWh), Idaho	88

| Section |  |
| --- | --- |

Introduction

Avista Corporation (Avista) engaged Applied Energy Group (AEG, formerly EnerNOC Utility Solutions) to conduct a Conservation Potential Assessment (CPA). The CPA is a 20-year study, performed in accordance with Washington Initiative 937 (I-937), that provides data on conservation resources to support development of Avista’s 2013 Integrated Resource Plan (IRP). The study updates Avista’s last CPA, which AEG performed in 2013.

This study provided enhanced analysis compared to the previous studies.

The base-year for the analysis was brought forward from 2011 to 2013.

For the residential sector, the study incorporated Avista’s GenPOP residential saturation survey from 2012. This provided the foundation for the base-year market characterization and energy market profiles. The recently completed 2014 Residential Building Stock Assessment (RBSA) supplemented the GenPOP survey.

For the commercial sector, the analysis was performed for the major building types in the service territory. Preliminary results from the 2015 Commercial Building Stock Assessment (CBSA) provided useful information for this characterization.

This study also incorporated changes to the list of energy conservation measures, as a result of research by the Regional Technical Forum (RTF). In particular, LED lamps have dropped in price and now provide a significant opportunity for savings.

The study incorporates updated forecasting assumptions that line up with the most recent Avista load forecast.

Measure-adoption rates were developed using the Northwest Power and Conservation Council’s (Council) ramp rates as a starting point and adjusted to reflect Avista program results in recent years.

Finally, in addition to analyzing annual energy savings, the study also estimated the opportunity for reduction of summer peak demand. This involved a full characterization by sector, segment and end use of summer peak demand in the base year.

Compared to the previous study, potential savings decreased. The 10-year potential for Washington and Idaho in this CPA is 65.6 aMW, compared to 72.4 aMW from the previous study. This is a result of lower avoided costs, the expected impact of the most recent wave of appliance standards, the lighting standards in Energy Independence and Security Act (EISA) legislation, and Avista’s recent capture of low-hanging fruit.

## Abbreviations and Acronyms

Throughout the report we use several abbreviations and acronyms. Table 1-1 shows the abbreviation or acronym, along with an explanation.

Table 1-1	Explanation of Abbreviations and Acronyms

| Acronym | Explanation |
| --- | --- |
| aMW | Average annual megawatt |
| ACS | American Community Survey |
| AEO | Annual Energy Outlook forecast developed by EIA |
| AHAM | Association of Home Appliance Manufacturers |
| AMI | Advanced Metering Infrastructure |
| AMR | Automated Meter Reading |
| Auto-DR | Automated Demand Response |
| B/C Ratio | Benefit to Cost Ratio |
| BEST | AEG’s Building Energy Simulation Tool |
| C&I | Commercial and Industrial |
| CAC | Central Air Conditioning |
| CBSA | Commercial Building Stock Assessment |
| CFL | Compact fluorescent lamp |
| CBECS | Commercial Buildings Energy Consumption Survey |
| CHP | Combined Heat and Power |
| Council | Northwest Power and Conservation Council |
| CPA | Conservation Potential Assessment |
| CPP | Critical Peak Pricing |
| CPUC | California Public Utilities Commission |
| DEEM | Database of Energy Efficiency Measures |
| DEER | Database for Energy Efficient Resources |
| DHW | Domestic Hot Water |
| DLC | Direct Load Control |
| DOE | Department of Energy |
| DR | Demand Response |
| DSM | Demand Side Management |
| EE | Energy Efficiency |
| EIA | Energy Information Administration |
| EISA | Energy Independence and Security Act |
| EPA | Environmental Protection Agency |
| EPRI | Electric Power Research Institute |
| EUL | Estimated Useful Life |
| EUI | Energy Use Intensity |
| FERC | Federal Energy Regulatory Commission |
| GWh | Gigawatt-hour |
| HH | Household |
| HID | High intensity discharge lamps |
| HVAC | Heating Ventilation and Air Conditioning |
| KWh | Kilowatt-hour |
| I-937 | Washington Initiative 937 |
| ICAP | Installed Capacity |
| IOU | Investor Owned Utility |
| IRP | Integrated Resource Plan |
| LED | Light emitting diode lamp |
| LoadMAP | AEG’s Load Management Analysis and PlanningTM tool |
| MECS | Manufacturing Energy Consumption Survey |
| MW | Megawatt |
| NAPEE | National Action Plan for Energy-Efficiency |
| NEEA | Northwest Energy Efficiency Alliance |
| NOAA | National Oceanic and Atmospheric Administration |
| NPV | Net Present Value |
| NPCC | Northwest Power and Conservation Council |
| O&M | Operations and Maintenance |
| PCT | Programmable Communicating Thermostat |
| RBSA | Residential Building Stock Assessment |
| RECS | Residential Energy Consumption Survey |
| RTF | Regional Technical Forum |
| RTU | Roof top unit |
| SEER | Seasonal Energy Efficiency Ratio |
| SIC | Standard Industrial Classification |
| Sixth Plan | Sixth Northwest Conservation and Electric Power Plan |
| TRC | Total Resource Cost test |
| UEC | Unit Energy Consumption |
| WH | Water heater |

| Section |  |
| --- | --- |

Analysis Approach and Data Development

This section describes the analysis approach taken for the study and the data sources used to develop the potential estimates.

## Overview of Analysis Approach

To perform the potential analysis, AEG used a bottom-up approach following the major steps listed below. We describe these analysis steps in more detail throughout the remainder of this chapter.

Perform a market characterization to describe sector-level electricity use for the residential, commercial, and industrial sectors for the base year, 2013.

Develop a baseline projection of energy consumption and peak demand by sector, segment, and end use for 2013 through 2035.

Define and characterize several hundred conservation measures to be applied to all sectors, segments, and end uses.

Estimate technical, economic, and achievable potential at the measure level in terms of energy and peak demand impacts from conservation measures for 2015-2035.

### LoadMAP Model

AEG used its Load Management Analysis and Planning tool (LoadMAPTM) version 4.0 to develop both the baseline projection and the estimates of potential. AEG developed LoadMAP in 2007 and has enhanced it over time, using it for the Electric Power Research Institute (EPRI) National Potential Study and numerous utility-specific forecasting and potential studies since that time. Built in Excel, the LoadMAP framework (see Figure 2-1) is both accessible and transparent and has the following key features.

Embodies the basic principles of rigorous end-use models (such as EPRI’s REEPS and COMMEND) but in a more simplified, accessible form.

Includes stock-accounting algorithms that treat older, less efficient appliance/equipment stock separately from newer, more efficient equipment. Equipment is replaced according to the measure life and appliance vintage distributions defined by the user.

Balances the competing needs of simplicity and robustness by incorporating important modeling details related to equipment saturations, efficiencies, vintage, and the like, where market data are available, and treats end uses separately to account for varying importance and availability of data resources.

Isolates new construction from existing equipment and buildings and treats purchase decisions for new construction and existing buildings separately.

Uses a simple logic for appliance and equipment decisions. Other models available for this purpose embody complex decision choice algorithms or diffusion assumptions, and the model parameters tend to be difficult to estimate or observe and sometimes produce anomalous results that require calibration or even overriding. The LoadMAP approach allows the user to drive the appliance and equipment choices year by year directly in the model. This flexible approach allows users to import the results from diffusion models or to input individual assumptions. The framework also facilitates sensitivity analysis.

Includes appliance and equipment models customized by end use. For example, the logic for lighting is distinct from refrigerators and freezers.

Can accommodate various levels of segmentation. Analysis can be performed at the sector level (e.g., total residential) or for customized segments within sectors (e.g., housing type or income level).

Incorporates conservation measures, demand-response options, combined heat and power (CHP) and distributed generation options and fuel switching.

Consistent with the segmentation scheme and the market profiles we describe below, the LoadMAP model provides projections of baseline energy use by sector, segment, end use, and technology for existing and new buildings. It also provides forecasts of total energy use and energy-efficiency savings associated with the various types of potential.

Figure 2-1	LoadMAP Analysis Framework

### Definitions of Potential

In this study, the conservation potential estimates represent gross savings developed for three levels of potential: technical potential, economic potential, and achievable potential. These levels are described below.

Technical Potential is defined as the theoretical upper limit of conservation potential. It assumes that customers adopt all feasible measures regardless of their cost. At the time of existing equipment failure, customers replace their equipment with the most efficient option available. In new construction, customers and developers also choose the most efficient equipment option.

Technical potential also assumes the adoption of every other available measure, where applicable. For example, it includes installation of high-efficiency windows in all new construction opportunities and air conditioner maintenance in all existing buildings with central and room air conditioning. These retrofit measures are phased in over a number of years to align with the stock turnover of related equipment units, rather than modeled as immediately available all at once.

Economic Potential represents the adoption of all cost-effective conservation measures. In this analysis, the cost-effectiveness is measured by the total resource cost (TRC) test, which compares lifetime energy and capacity benefits to the costs of the delivering the measure through a utility program, with incentives not included since they are a transfer payment. If the benefits outweigh the costs (that is, if the TRC ratio is equal to or greater than 1.0), a given measure is included in the economic potential. Customers are then assumed to purchase the most cost-effective option applicable to them at any decision juncture.

Achievable Potential takes into account market maturity, customer preferences for energy-efficient technologies, and expected program participation. Achievable potential establishes a realistic target for the conservation savings that a utility can hope to achieve through its programs. It is determined by applying a series of annual market adoption factors to the economic potential for each conservation measure. These factors represent the ramp rates at which technologies will penetrate the market. To develop these factors, the project team reviewed Avista’s past conservation achievements and program history over the last five years, as well as the Northwest Power and Conservation Council’s (Council) ramp rates used in the Council’s Sixth Plan. Details regarding the market adoption factors appear in Appendix B.

### Market Characterization

Now that we have described the modeling tool and provided the definitions of the potential cases, the first step in the analysis approach is market characterization. In order to estimate the savings potential from energy-efficient measures, it is necessary to understand how much energy is used today and what equipment is currently being used. This characterization begins with a segmentation of Avista’s electricity footprint to quantify energy use by sector, segment, end-use application, and the current set of technologies used. We rely primarily on information from Avista, Northwest Energy Efficiency Alliance (NEEA) and secondary sources as necessary.

#### Segmentation for Modeling Purposes

The market assessment first defined the market segments (building types, end uses, and other dimensions) that are relevant in the Avista service territory. The segmentation scheme for this project is presented in Table 2-1. Note that the low income segment is defined as 200% of the poverty level. Assuming 2.5 people per household, this is approximately annual household income of $35,000. The distribution to residential segment is based on the results of the Avista GenPOP survey.

Table 2-1	Overview of Avista Analysis Segmentation Scheme

| Dimension | Segmentation Variable | Description |
| --- | --- | --- |
| 1 | Sector | Residential, commercial, industrial |
| 2 | Segment | Residential: single family, multi family, manufactured home, low income Commercial: small office, large office, restaurant, retail, grocery, college, school, health, lodging, warehouse, and miscellaneous Industrial: total |
| 3 | Vintage | Existing and new construction |
| 4 | End uses | Cooling, lighting, water heat, motors, etc. (as appropriate by sector) |
| 5 | Appliances/end uses and technologies | Technologies such as lamp type, air conditioning equipment, motors by application, etc. |
| 6 | Equipment efficiency levels for new purchases | Baseline and higher-efficiency options as appropriate for each technology |

With the segmentation scheme defined, we then performed a high-level market characterization of electricity sales in the base year to allocate sales to each customer segment. We used Avista data and secondary sources to allocate energy use and customers to the various sectors and segments such that the total customer count, energy consumption, and peak demand matched the Avista system totals from 2013 billing data. This information provided control totals at a sector level for calibrating the LoadMAP model to known data for the base-year.

#### Market Profiles

The next step was to develop market profiles for each sector, customer segment, end use, and technology. A market profile includes the following elements:

Market size is a representation of the number of customers in the segment. For the residential sector, it is number of households. In the commercial sector, it is floor space measured in square feet. For the industrial sector, it is overall electricity use.

Saturations define the fraction of homes or square feet with the various technologies. (e.g., homes with electric space heating).

UEC (unit energy consumption) or EUI (energy-use intensity) describes the amount of energy consumed in 2013 by a specific technology in buildings that have the technology. For electricity, UECs are expressed in kWh/household for the residential sector, and EUIs are expressed in kWh/square foot for the commercial sector.

Annual Energy Intensity for the residential sector represents the average energy use for the technology across all homes in 2013. It is computed as the product of the saturation and the UEC and is defined as kWh/household for electricity. For the commercial sector, intensity, computed as the product of the saturation and the EUI, represents the average use for the technology across all floor space in 2013.

Annual Usage is the annual energy use by an end-use technology in the segment. It is the product of the market size and intensity and is quantified in gigawatt-hour (GWh).

Peak Demand for each technology, summer peak and winter peak are calculated using peak fractions of annual energy use from AEG’s EnergyShape library and Avista system peak data.

- The market characterization results and the market profiles are presented in Chapter 3.

### Baseline Projection

The next step was to develop the baseline projection of annual electricity use and summer peak demand for 2013 through 2034 by customer segment and end use without new utility programs. The end-use projection includes the relatively certain impacts of codes and standards that will unfold over the study timeframe. All such mandates that were defined as of December 2013 are included in the baseline. The baseline projection is the foundation for the analysis of savings from future conservation efforts as well as the metric against which potential savings are measured.

Inputs to the baseline projection include:

Current economic growth forecasts (i.e., customer growth, income growth)

Electricity price forecasts

Trends in fuel shares and equipment saturations

Existing and approved changes to building codes and equipment standards

Avista’s internally developed sector-level projections for electricity sales

We also developed a baseline projection for summer and winter peak by applying the peak fractions from the energy market profiles to the annual energy forecast in each year.

We present the baseline-projection results for the system as a whole and for each sector in Chapter 4.

### Conservation Measure Analysis

This section describes the framework used to assess the savings, costs, and other attributes of conservation measures. These characteristics form the basis for measure-level cost-effectiveness analyses as well as for determining measure-level savings. For all measures, AEG assembled information to reflect equipment performance, incremental costs, and equipment lifetimes. We used this information, along with Avista’s avoided costs data, in the economic screen to determine economically feasible measures.

#### Conservation Measures

Figure 2-2 outlines the framework for conservation measure analysis. The framework for assessing savings, costs, and other attributes of conservation measures involves identifying the list of measures to include in the analysis, determining their applicability to each market sector and segment, fully characterizing each measure, and performing cost-effectiveness screening. Potential measures include the replacement of a unit that has failed or is at the end of its useful life with an efficient unit, retrofit or early replacement of equipment, improvements to the building envelope, the application of controls to optimize energy use, and other actions resulting in improved energy efficiency.

We compiled a robust list of conservation measures for each customer sector, drawing upon Avista’s measure database, and the Regional Technical Forum (RTF) deemed measures databases, as well as a variety of secondary sources. This universal list of conservation measures covers all major types of end-use equipment, as well as devices and actions to reduce energy consumption. If considered today, some of these measures would not pass the economic screens initially, but may pass in future years as a result of lower projected equipment costs or higher avoided costs.

Figure 2-2	Approach for Conservation Measure Assessment

The selected measures are categorized into two types according to the LoadMAP taxonomy: equipment measures and non-equipment measures.

Equipment measures are efficient energy-consuming pieces of equipment that save energy by providing the same service with a lower energy requirement than a standard unit. An example is an ENERGY STAR refrigerator that replaces a standard efficiency refrigerator. For equipment measures, many efficiency levels may be available for a given technology, ranging from the baseline unit (often determined by code or standard) up to the most efficient product commercially available. For instance, in the case of central air conditioners, this list begins with the current federal standard SEER 13 unit and spans a broad spectrum up to a maximum efficiency of a SEER 24 unit.

Non-equipment measures save energy by reducing the need for delivered energy, but do not involve replacement or purchase of major end-use equipment (such as a refrigerator or air conditioner). An example would be a programmable thermostat that is pre-set to run heating and cooling systems only when people are home. Non-equipment measures can apply to more than one end use. For instance, addition of wall insulation will affect the energy use of both space heating and cooling. Non-equipment measures typically fall into one of the following categories:

Building shell (windows, insulation, roofing material)

Equipment controls (thermostat, energy management system)

Equipment maintenance (cleaning filters, changing setpoints)

Whole-building design (building orientation, passive solar lighting)

Lighting retrofits (included as a non-equipment measure because retrofits are performed prior to the equipment’s normal end of life)

Displacement measures (ceiling fan to reduce use of central air conditioners)

Commissioning and retro commissioning (initial or ongoing monitoring of building energy systems to optimize energy use)

We developed a preliminary list of conservation measures, which was distributed to the Avista project team for review. The list was finalized after incorporating comments and is presented in the appendix to this volume.

Once we assembled the list of conservation measures, the project team characterized measure savings, incremental cost, service life, and other performance factors, drawing upon data from the Avista measure database, the RTF deemed measure workbooks, and simulation modeling. Following the measure characterization, we performed an economic screening of each measure, which serves as the basis for developing the economic and achievable potential.

##### Representative Conservation Measure Data Inputs

To provide an example of the conservation measure data, Table 2-2 and Table 2-3 present examples of the detailed data inputs behind both equipment and non-equipment measures, respectively, for the case of residential central air conditioning (CAC) in single-family homes. Table 2-2 displays the various efficiency levels available as equipment measures, as well as the corresponding useful life, energy usage, and cost estimates. The columns labeled On Market and Off Market reflect equipment availability due to codes and standards or the entry of new products to the market.

Table 2-2	Example Equipment Measures for Central AC – Single-Family Home

| Efficiency Level | Useful Life (yrs) | Equipment Cost | Energy Usage (kWh/yr) | On Market | Off Market |
| --- | --- | --- | --- | --- | --- |
| SEER 13 | 14 to 20 | $2,549 | 1,466 | 2013 | n/a |
| SEER 14 (Energy Star) | 14 to 20 | $3,072 | 1,344 | 2013 | n/a |
| SEER 15 (CEE Tier 2) | 14 to 20 | $3,158 | 1,300 | 2013 | n/a |
| SEER 16 (CEE Tier 3) | 14 to 20 | $3,148 | 1,262 | 2013 | n/a |
| SEER 18 | 14 to 20 | $3,708 | 1,203 | 2013 | n/a |
| SEER 21 | 14 to20 | $4,090 | 1,139 | 2013 | n/a |
| SEER 24 (Ductless, Var. Ref. Flow) | 14 to 20 | $4,946 | 1,094 | 2013 | n/a |

Table 2-3 lists some of the non-equipment measures applicable to CAC in an existing single-family home. All measures are evaluated for cost-effectiveness based on the lifetime benefits relative to the cost of the measure. The total savings and costs are calculated for each year of the study and depend on the base year saturation of the measure, the applicability of the measure, and the savings as a percentage of the relevant energy end uses.

Table 2-3	Example Non-Equipment Measures – Single Family Home, Existing

| End Use | Measure | Saturation in 2013 | Applica- bility | Lifetime (yrs) | Measure Installed Cost | Energy Savings (%) |
| --- | --- | --- | --- | --- | --- | --- |
| Cooling | Insulation - Ceiling | 35% | 50.0% | 45 | $1,134 | 5% |
| Cooling | Insulation - Radiant Barrier | 15% | 75.0% | 15 | $1,245 | 13% |
| Cooling | Ducting - Repair and Sealing | 15% | 50.0% | 20 | $538 | 5% |
| Cooling | Windows - High Efficiency | 20% | 75.0% | 45 | $2,908 | 9% |
| Cooling | Thermostat - Clock/Programmable | 30% | 40.0% | 15 | $230 | 4% |

##### Screening Measures for Cost-Effectiveness

Only measures that are cost-effective are included in economic and achievable potential. Therefore, for each individual measure, LoadMAP performs an economic screen. This study uses the TRC test that compares the lifetime energy and peak demand benefits of each applicable measure with its cost. The lifetime benefits are calculated by multiplying the annual energy and demand savings for each measure by all appropriate avoided costs for each year, and discounting the dollar savings to the present value equivalent. Lifetime costs represent incremental measure cost and annual operations and maintenance (O&M) costs. The analysis uses each measure’s values for savings, costs, and lifetimes that were developed as part of the measure characterization process described above.

The LoadMAP model performs this screening dynamically, taking into account changing savings and cost data over time. Thus, some measures pass the economic screen for some — but not all — of the years in the projection.

It is important to note the following about the economic screen:

The economic evaluation of every measure in the screen is conducted relative to a baseline condition. For instance, in order to determine the kilowatt-hour (kWh) savings potential of a measure, kWh consumption with the measure applied must be compared to the kWh consumption of a baseline condition.

The economic screening was conducted only for measures that are applicable to each building type and vintage; thus if a measure is deemed to be irrelevant to a particular building type and vintage, it is excluded from the respective economic screen.

If multiple equipment measures have benefit to cost ratios (B/C ratios) greater than or equal to 1.0, the most efficient technology is selected by the economic screen.

Table 2-4 summarizes the number of measures evaluated for each segment within each sector.

Table 2-4	Number of Measures Evaluated

| Sector | Total Measures | Measure Permutations w/ 2 Vintages | Measure Permutations w/ Segments |
| --- | --- | --- | --- |
| Residential | 60 | 120 | 480 |
| Commercial | 82 | 164 | 1,804 |
| Industrial | 57 | 114 | 114 |
| Total Measures Evaluated | 199 | 398 | 2,398 |

The appendix to this volume presents results for the economic screening process by segment, vintage, end use and measure for all sectors.

### Conservation Potential

The approach we used for this study to calculate the conservation potential adheres to the approaches and conventions outlined in the National Action Plan for Energy-Efficiency (NAPEE) Guide for Conducting Potential Studies (November 2007). The NAPEE Guide represents the most credible and comprehensive industry practice for specifying conservation potential. As described in Chapter 2, three types of potential were developed as part of this effort: technical potential, economic potential and achievable potential.

Technical potential is a theoretical construct that assumes the highest efficiency measures that are technically feasible to install are adopted by customers, regardless of cost or customer preferences. Thus, determining the technical potential is relatively straightforward. LoadMAP “chooses” the most efficient equipment options for each technology at the time of equipment replacement. In addition, it installs all relevant non-equipment measures for each technology to calculate savings. For example, for central air conditioning, as shown in Table 2-2, the most efficient option is a SEER 24. The multiple non-equipment measures shown in Table 2-3 are then applied to the energy used by the SEER 24 system to further reduce air conditioning energy use. LoadMAP applies the savings due to the non-equipment measures one-by-one to avoid double counting of savings. The measures are evaluated in order of their B/C ratio, with the measure with the highest B/C ratio applied first. Each time a measure is applied, the baseline energy use for the end use is reduced and the percentage savings for the next measure is applied to the revised (lower) usage.

Economic potential results from the purchase of the most efficient cost-effective option available for a given equipment or non-equipment measure as determined in the cost-effectiveness screening process described above. As with technical potential, economic potential is a phased-in approach. Economic potential is still a hypothetical upper-boundary of savings potential as it represents only measures that are economic, but does not yet consider customer acceptance and other factors.

Achievable potential defines the range of savings that is very likely to occur. It accounts for customers’ awareness of efficiency options, any barriers to customer adoption, limits to program design, and other factors that influence the rate at which conservation measures penetrate the market.

The calculation of technical and economic potential is a straightforward algorithm. To develop estimates for achievable potential, we develop market adoption rates for each measure that specify the percentage of customers that will select the highest–efficiency economic option. For Avista, the project team began with the ramp rates specified in the Sixth Plan conservation workbooks, but modified these to match Avista program history and service territory specifics. For specific measures, we examined historic program results for the most recent program results. We then adjusted the 2014 achievable potential for these measures to approximately match the historical results. This provided a starting for 2014 potential that was aligned to historic results. For future years, we increased the potential factors to model increasing market acceptance and program improvements. For measures not currently included in Avista programs, we relied upon the Sixth Plan ramp rates and recent AEG potential studies to create market adoption rates for Avista. The market adoption rates for each measure appear in Appendix B.

Results of all the potentials analysis are presented in Chapter 5.

## Data Development

This section details the data sources used in this study, followed by a discussion of how these sources were applied. In general, data sources were applied in the following order: Avista data, Northwest data and, finally, other secondary sources.

### Data Sources

The data sources are organized into the following categories:

Avista data

Northwest Energy Efficiency Alliance data

Measure data

AEG’s databases and analysis tools

Other secondary data and reports

#### Avista Data

Our highest priority data sources for this study were those that were specific to Avista.

Avista customer data: Avista provided billing data for development of customer counts and energy use for each sector. We also used the results of the Avista GenPOP survey, a residential saturation survey.

Load forecasts: Avista provided an economic growth forecast by sector; electric load forecast; peak-demand forecasts at the sector level; and retail electricity price history and forecasts.

Economic information: Avista Power provided avoided cost forecasts, a discount rate, and line loss factor.

Avista program data: Avista provided information about past and current programs, including program descriptions, goals, and achievements to date.

#### Northwest Energy Efficiency Alliance Data

The Northwest Energy Efficiency Alliance conducts research on an ongoing basis for the Northwest region. The following studies were particularly useful for this study:

Northwest Energy Efficiency Alliance, 2011 Residential Building Stock Assessment Single-Family, Market Research Report, http://neea.org/docs/reports/residential-building-stock-assessment-single-family-characteristics-and-energy-use.pdf?sfvrsn=8

Northwest Energy Efficiency Alliance, 2011 Residential Building Stock Assessment: Manufactured Home, Market Research Report, #E13-249, January, 2013. http://neea.org/docs/default-source/reports/residential-building-stock-assessment--manufactured-homes-characteristics-and-energy-use.pdf?sfvrsn=8

Northwest Energy Efficiency Alliance, Long-Term Northwest Residential Lighting Tracking and Monitoring Study, Market Research Report, 11-228, August, 2011. http://neea.org/research/reports/E11-231_Combinedv2.pdf

Northwest Energy Efficiency Alliance, 2011 Residential Building Stock Assessment: Multifamily, Market Research Report, #13-263, September, 2013. http://neea.org/docs/default-source/reports/residential-building-stock-assessment--multi-family-characteristics-and-energy-use.pdf?sfvrsn=4

Northwest Energy Efficiency Alliance, 2014 Commercial Building Stock Assessment, December 16, 2014, http://neea.org/docs/default-source/reports/2014-cbsa-final-report_05-dec-2014.pdf?sfvrsn=12.

#### Conservation Measure Data

Several sources of data were used to characterize the conservation measures. We used the following regional data sources and supplemented with AEG’s data sources to fill in any gaps.

Northwest Power and Conservation Council Sixth Plan Conservation Supply Curve Workbooks. To develop its Sixth Power Plan, the Council used workbooks with detailed information about measures, available at http://www.nwcouncil.org/energy/powerplan/6/supplycurves/default.htm .

Regional Technical Forum Deemed Measures. The NPCC Regional Technical Forum maintains databases of deemed measure savings data, available at http://www.nwcouncil.org/energy/rtf/measures/Default.asp .

#### AEG Data

AEG maintains several databases and modeling tools that we use for forecasting and potential studies. Relevant data from these tools has been incorporated into the analysis and deliverables for this study.

AEG Energy Market Profiles: For more than 10 years, AEG staff has maintained profiles of end-use consumption for the residential, commercial, and industrial sectors. These profiles include market size, fuel shares, unit consumption estimates, and annual energy use by fuel (electricity and natural gas), customer segment and end use for 10 regions in the U.S. The Energy Information Administration surveys (RECS, CBECS and MECS) as well as state-level statistics and local customer research provide the foundation for these regional profiles.

Building Energy Simulation Tool (BEST). AEG’s BEST is a derivative of the Department of Energy (DOE) 2.2 building simulation model, used to estimate base-year UECs and EUIs, as well as measure savings for heating, ventilation and air conditioning (HVAC)-related measures.

AEG’s EnergyShape™: This database of load shapes includes the following:

Residential – electric load shapes for ten regions, three housing types, 13 end uses

Commercial – electric load shapes for nine regions, 54 building types, ten end uses

Industrial – electric load shapes, whole facility only, 19 2-digit SIC codes, as well as various 3-digit and 4-digit SIC codes

AEG’s Database of Energy Efficiency Measures (DEEM): AEG maintains an extensive database of measure data for our studies. Our database draws upon reliable sources including the California Database for Energy Efficient Resources (DEER), the Energy Information Administration (EIA) Technology Forecast Updates – Residential and Commercial Building Technologies – Reference Case, RS Means cost data, and Grainger Catalog Cost data.

Recent studies. AEG has conducted numerous studies of conservation potential in the last five years. We checked our input assumptions and analysis results against the results from these other studies, which include Tacoma Power, Idaho Power, PacifiCorp, Ameren Missouri, Vectren Energy, Indianapolis Power & Light, Tennessee Valley Authority, Ameren Missouri, Ameren Illinois, and Seattle City Light. In addition, we used the information about impacts of building codes and appliance standards from recent reports for the Edison Electric Institute.

#### Other Secondary Data and Reports

Finally, a variety of secondary data sources and reports were used for this study. The main sources are identified below.

Annual Energy Outlook. The Annual Energy Outlook (AEO), conducted each year by the U.S. Energy Information Administration (EIA), presents yearly projections and analysis of energy topics. For this study, we used data from the 2013 AEO.

Local Weather Data: Weather from NOAA’s National Climatic Data Center for Spokane, WA was used as the basis for building simulations.

EPRI End-Use Models (REEPS and COMMEND). These models provide the elasticities we apply to electricity prices, household income, home size and heating and cooling.

Database for Energy Efficient Resources (DEER). The California Energy Commission and California Public Utilities Commission (CPUC) sponsor this database, which is designed to provide well-documented estimates of energy and peak demand savings values, measure costs, and effective useful life (EUL) for the state of California. We used the DEER database to cross check the measure savings we developed using BEST and DEEM.

Other relevant regional sources: These include reports from the Consortium for Energy Efficiency, the Environmental Protection Agency (EPA), and the American Council for an Energy-Efficient Economy.

### Data Application

We now discuss how the data sources described above were used for each step of the study.

#### Data Application for Market Characterization

To construct the high-level market characterization of electricity use and households/floor space for the residential, commercial and industrial sectors, we used Avista billing data and customer surveys to estimate energy use.

For the residential sector, Avista estimated the numbers of customers and the average energy use per customer for each of the three segments, based on its GenPOP survey, matched to billing data for surveyed customers. AEG compared the resulting segmentation with data from the American Community Survey (ACS) regarding housing types and income and found that the Avista segmentation corresponded well with the ACS data. (See Chapter 3 for additional details.)

To segment the commercial and industrial segments, we relied upon the allocation from the previous energy efficiency potential study. For the previous study, customers and sales were allocated to building type based on standard industrial classification (SIC) codes, with some adjustments between the commercial and industrial sectors to better group energy use by facility type and predominate end uses. (See Chapter 3 for additional details.)

#### Data Application for Market Profiles

The specific data elements for the market profiles, together with the key data sources, are shown in Table 2-5. To develop the market profiles for each segment, we did the following:

- Developed control totals for each segment. These include market size, segment-level annual electricity use, and annual intensity.

Used the Avista GenPOP Survey, NEEA’s RBSA, NEEA’s CBSA and AEG’s Energy Market Profiles database to develop existing appliance saturations, appliance and equipment characteristics, and building characteristics.

Ensured calibration to control totals for annual electricity sales in each sector and segment.

Compared and cross-checked with other recent AEG studies.

Worked with Avista staff to vet the data against their knowledge and experience.

#### Data Application for Baseline Projection

Table 2-5 summarizes the LoadMAP model inputs required for the baseline projection. These inputs are required for each segment within each sector, as well as for new construction and existing dwellings/buildings.

Table 2-5	Data Applied for the Market Profiles

| Model Inputs | Description | Key Sources |
| --- | --- | --- |
| Market size | Base-year residential dwellings, commercial floor space, and industrial employment | Avista billing data Avista GenPOP Survey NEEA RBSA and CBSA AEO 2013 |
| Annual intensity | Residential: Annual use per household Commercial: Annual use per square foot Industrial: Annual use per employee | Avista billing data AEG’s Energy Market Profiles NEEA RBSA and CBSA AEO 2013 Other recent studies |
| Appliance/equipment saturations | Fraction of dwellings with an appliance/technology Percentage of C&I floor space/employment with equipment/technology | Avista GenPOP Survey NEEA RBSA and CBSA AEG’s Energy Market Profiles Avista Load Forecasting |
| UEC/EUI for each end-use technology | UEC: Annual electricity use in homes and buildings that have the technology EUI: Annual electricity use per square foot/employee for a technology in floor space that has the technology | NPCC Sixth Plan and RTF data HVAC uses: BEST simulations using prototypes developed for Idaho Engineering analysis DEEM Recent AEG studies |
| Appliance/equipment age distribution | Age distribution for each technology | NPCC Sixth Plan and RTF data NEEA regional survey data Utility saturation surveys Recent AEG studies |
| Efficiency options for each technology | List of available efficiency options and annual energy use for each technology | AEG DEEM AEO 2013 DEER NPCC workbooks, RTF Previous studies |
| Peak factors | Share of technology energy use that occurs during the peak hour | EnergyShape database |

Table 2-5	Data Needs for the Baseline Projection and Potentials Estimation in LoadMAP

| Model Inputs | Description | Key Sources |
| --- | --- | --- |
| Customer growth forecasts | Forecasts of new construction in residential and C&I sectors | Avista load forecast AEO 2013 economic growth forecast |
| Equipment purchase shares for baseline projection | For each equipment/technology, purchase shares for each efficiency level; specified separately for existing equipment replacement and new construction | Shipments data from AEO AEO 2013 regional forecast assumptions Appliance/efficiency standards analysis Avista program results and evaluation reports |
| Electricity prices | Forecast of average energy and capacity avoided costs and retail prices | Avista forecast |
| Utilization model parameters | Price elasticities, elasticities for other variables (income, weather) | EPRI’s REEPS and COMMEND models AEO 2013 |

In addition, we implemented assumptions for known future equipment standards as of December 2013, as shown in Table 2-6, Table 2-7 and Table 2-8. The assumptions tables here extend through 2025, after which all standards are assumed to hold steady.

Table 2-6	Residential Electric Equipment Standards

Table 2-7	Commercial Electric Equipment Standards

Table 2-8	Industrial Electric Equipment Standards

#### Conservation Measure Data Application

Table 2-9 details the energy-efficiency data inputs to the LoadMAP model. It describes each input and identifies the key sources used in the Avista analysis.

Table 2-9	Data Needs for the Measure Characteristics in LoadMAP

| Model Inputs | Description | Key Sources |
| --- | --- | --- |
| Energy Impacts | The annual reduction in consumption attributable to each specific measure. Savings were developed as a percentage of the energy end use that the measure affects. | Avista measure data NPCC Sixth Plan conservation workbooks BEST AEG DEEM AEO 2013 DEER NPCC workbooks, RTF Other secondary sources |
| Peak Demand Impacts | Savings during the peak demand periods are specified for each electric measure. These impacts relate to the energy savings and depend on the extent to which each measure is coincident with the system peak. | Avista measure data NPCC Sixth Plan conservation workbooks BEST AEG DEEM EnergyShape |
| Costs | Equipment Measures: Includes the full cost of purchasing and installing the equipment on a per-household, per-square-foot, per employee or per service point basis for the residential, commercial, and industrial sectors, respectively. Non-equipment measures: Existing buildings – full installed cost. New Construction - the costs may be either the full cost of the measure, or as appropriate, it may be the incremental cost of upgrading from a standard level to a higher efficiency level. | Avista measure data NPCC Sixth Plan conservation workbooks RTF deemed measure database AEG DEEM AEO 2013 DEER RS Means Other secondary sources |
| Measure Lifetimes | Estimates derived from the technical data and secondary data sources that support the measure demand and energy savings analysis. | Avista measure data NPCC Sixth Plan conservation workbooks RTF deemed measure database AEG DEEM AEO 2013 DEER Other secondary sources |
| Applicability | Estimate of the percentage of dwellings in the residential sector, square feet in the commercial sector, or employees in the industrial sector where the measure is applicable and where it is technically feasible to implement. | Avista measure data NPCC Sixth Plan conservation workbooks RTF deemed measure database AEG DEEM DEER Other secondary sources |
| On Market and Off Market Availability | Expressed as years for equipment measures to reflect when the equipment technology is available or no longer available in the market. | AEG appliance standards and building codes analysis |

#### Data Application for Cost-effectiveness Screening

To perform the cost-effectiveness screening, a number of economic assumptions were needed. All cost and benefit values were analyzed as real 2013 dollars. We applied a discount rate of 4% in in real dollars. All impacts in this report are presented at the customer meter, but electric energy delivery losses of 6.5% were provided by Avista in order to gross up impacts to the generator for economic analysis. The avoided costs provided by Avista were increased by 10% to account for the Power Act’s conservation preference.

#### Achievable Potential Estimation

To estimate achievable potential, two sets of parameters are needed to represent customer decision making behavior with respect to energy-efficiency choices.

Technical diffusion curves for non-equipment measures. Equipment measures are installed when existing units fail. Non-equipment measures do not have this natural periodicity, so rather than installing all available non-equipment measures in the first year of the projection (instantaneous potential), they are phased in according to adoption schedules that generally align with the diffusion of similar equipment measures. The adoption rates for the Avista study were based on ramp rate curves specified in the NPCC Sixth Power Plan, but modified to reflect Avista program history. These adoption rates are used within LoadMAP to generate the Technical and Economic potentials for non-equipment measures.

Adoption rates. Customer adoption rates or take rates are applied to Economic potential to estimate Achievable Potential. These rates were developed by mapping each measure to a ramp rate developed by the Northwest Power and Conservation Council for the Sixth Plan. These rates are then compared with the recent Avista program results and adjustments were made, if necessary. For example, if the program had been running for several years and had achieved higher results in the previous year, the ramp rate started further along in the curve. These rates represent customer adoption of economic measures when delivered through a best-practice portfolio of well-operated efficiency programs under a reasonable policy or regulatory framework. Information channels are assumed to be established and efficient for marketing, educating consumers, and coordinating with trade allies and delivery partners. The primary barrier to adoption reflected in this case is customer preferences. Adoption rates are presented in Appendix B.

| Section |  |
| --- | --- |

Market Characterization and Market Profiles

In this section, we describe how customers in the Avista service territory use electricity in the base year of the study, 2013. It begins with a high-level summary of energy use across all sectors and then delves into each sector in more detail.

## Energy Use Summary

Total electricity use for the residential, commercial, and industrial sectors for Avista in 2013 was 8,081 GWh; 5,555 GWh (WA) and 2,526 GWh (ID). As shown in the tables below, in both states the residential sector accounts for over 45% of the annual energy use, followed by commercial with over 35% of the annual energy use. In terms of summer peak demand, the total system peak in 2013 was 1,459 MW; 1,017 MW (WA) and 442 MW (ID). The total system peak in the winter was 1,417 MW; 973 MW (WA) and 444 MW (ID). In both states, the residential sector contributes over 40% to peak.

Figure 3-1	Sector-Level Electricity Use in Base Year 2013, Washington

Table 3-1	Avista Sector Control Totals (2013), Washington

| Sector | Annual Electricity Use (GWh) | % of Annual Use | Summer Peak Demand (MW) | % of Summer Peak | Winter Peak Demand (MW) | % of Winter Peak |
| --- | --- | --- | --- | --- | --- | --- |
| Residential | 2,546 | 46% | 404 | 40% | 438 | 45% |
| Commercial | 2,086 | 38% | 368 | 36% | 333 | 34% |
| Industrial | 922 | 17% | 245 | 24% | 202 | 21% |
| Total | 5,555 | 100% | 1,017 | 100% | 973 | 100% |

Figure 3-2	Sector-Level Electricity Use in Base Year 2013, Idaho

Table 3-2	Avista Sector Control Totals (2013), Idaho

| Sector | Annual Electricity Use (GWh) | % of Annual Use | Summer Peak Demand (MW) | % of Summer Peak | Winter Peak Demand (MW) | % of Winter Peak |
| --- | --- | --- | --- | --- | --- | --- |
| Residential | 1,207 | 48% | 184 | 42% | 217 | 49% |
| Commercial | 976 | 39% | 167 | 38% | 152 | 34% |
| Industrial | 343 | 14% | 91 | 21% | 75 | 17% |
| Total | 2,526 | 100% | 442 | 100% | 444 | 100% |

## Residential Sector

The total number of households and electricity sales for the service territory were obtained from Avista’s customer database. In 2013, there were 213,640 households in the state of Washington that used a total of 2,546 GWh with a summer peak demand of 404 MW and a winter peak demand of 438 MW. Average use per customer (or household) at 11,919 kWh is about average compared to other regions of the country. We allocated these totals into four residential segments and the values are shown in Table 3-3.

Table 3-4 shows the total number of households and electricity sales in the state of Idaho. . In 2013, there were 107,449 households that used a total of 1,207 GWh with summer peak demand of 184 MW and winter peak demand of 217 MW. Average use per customer (or household) was 11,233.

Table 3-3	Residential Sector Control Totals (2013), Washington

| Segment | Number of Customers | Electricity Use (GWh) | % of Annual Use | Annual Use/Customer (kWh/HH) | Summer Peak (MW) | Winter Peak (MW) |
| --- | --- | --- | --- | --- | --- | --- |
| Single Family | 129,893 | 1,783 | 70% | 13,726 | 296 | 304 |
| Multifamily | 11,964 | 99 | 4% | 8,236 | 13 | 22 |
| Mobile Home | 7,691 | 95 | 4% | 12,354 | 13 | 16 |
| Low Income | 64,092 | 570 | 22% | 8,892 | 82 | 96 |
| Total | 213,640 | 2,546 | 100% | 11,919 | 404 | 438 |

Table 3-4	Residential Sector Control Totals (2013), Idaho

| Segment | Number of Customers | Electricity Use (GWh) | % of Annual Use | Annual Use/Customer (kWh/HH) | Summer Peak (MW) | Winter Peak (MW |
| --- | --- | --- | --- | --- | --- | --- |
| Single Family | 65,329 | 843 | 70% | 12,902 | 133 | 153 |
| Multifamily | 5,265 | 41 | 3% | 7,733 | 6 | 9 |
| Mobile Home | 4,835 | 56 | 5% | 11,599 | 8 | 10 |
| Low Income | 32,020 | 267 | 22% | 8,349 | 38 | 46 |
| Total | 107,449 | 1,207 | 100% | 11,233 | 184 | 217 |

As we describe in the previous chapter, the market profiles provide the foundation for development of the baseline projection and the potential estimates. The average market profile for the residential sector is presented in Table 3-5 (WA) and Table 3-6 (ID). Segment-specific market profiles are presented in Appendix A.

Figure 3-3 (WA) and Figure 3-4 (ID) show the distribution of annual electricity use by end use for all customers. Two main electricity end uses —appliances and space heating— account for approximately 50% of total use. Appliances include refrigerators, freezers, stoves, clothes washers, clothes dryers, dishwashers, and microwaves. The remainder of the energy falls into the water heating, lighting, cooling, electronics, and the miscellaneous category – which is comprised of furnace fans, pool pumps, and other “plug” loads (all other usage not covered by those listed in Table 3-5 and Table 3-6 such as hair dryers, power tools, coffee makers, etc.).

The charts also show estimates of peak demand by end use. Appliances are the largest contributor to summer peak demand, followed by water heating. During the winter, heating is the largest contributor to peak demand, followed by appliances.

Figure 3-5 (WA) and Figure 3-6 (ID) present the electricity intensities by end use and housing type. Single family homes have the highest use per customer at 13,726 kWh/year (WA) and 12,902 kWh/year (ID).

Figure 3-3	Residential Electricity Use and Summer Peak Demand by End Use (2013), Washington

Figure 3-4	Residential Electricity Use and Summer Peak Demand by End Use (2013), Idaho

Figure 3-5	Residential Intensity by End Use and Segment (Annual kWh/HH, 2013), Washington

Figure 3-6	Residential Intensity by End Use and Segment (Annual kWh/HH, 2013), Idaho

Table 3-5	Average Market Profile for the Residential Sector, 2013, Washington

| End Use | Technology | Saturation | UEC | Intensity | Usage |
| --- | --- | --- | --- | --- | --- |
|  |  |  | (kWh) | (kWh/HH) | (GWh) |
| Cooling | Central AC | 36.9% | 1,249 | 461 | 98 |
| Cooling | Room AC | 26.4% | 402 | 106 | 23 |
| Cooling | Air-Source Heat Pump | 6.5% | 1,268 | 82 | 17 |
| Cooling | Geothermal Heat Pump | 0.2% | 1,326 | 2 | 0 |
| Cooling | Evaporative AC | 1.2% | 809 | 10 | 2 |
| Space Heating | Electric Room Heat | 24.3% | 5,302 | 1,288 | 275 |
| Space Heating | Electric Furnace | 13.4% | 9,021 | 1,213 | 259 |
| Space Heating | Air-Source Heat Pump | 6.5% | 10,487 | 677 | 145 |
| Space Heating | Geothermal Heat Pump | 0.2% | 5,564 | 10 | 2 |
| Water Heating | Water Heater (<= 55 Gal) | 50.9% | 3,025 | 1,539 | 329 |
| Water Heating | Water Heater (55 to 75 Gal) | 6.5% | 3,145 | 203 | 43 |
| Water Heating | Water Heater (> 75 Gal) | 0.3% | 4,209 | 12 | 3 |
| Interior Lighting | Screw-in/Hard-wire | 100.0% | 955 | 955 | 204 |
| Interior Lighting | Linear Fluorescent | 100.0% | 114 | 114 | 24 |
| Interior Lighting | Specialty Lighting | 100.0% | 286 | 286 | 61 |
| Exterior Lighting | Screw-in/Hard-wire | 100.0% | 289 | 289 | 62 |
| Appliances | Clothes Washer | 91.8% | 104 | 95 | 20 |
| Appliances | Clothes Dryer | 49.9% | 738 | 368 | 79 |
| Appliances | Dishwasher | 77.1% | 447 | 345 | 74 |
| Appliances | Refrigerator | 100.0% | 829 | 829 | 177 |
| Appliances | Freezer | 55.3% | 669 | 370 | 79 |
| Appliances | Second Refrigerator | 20.7% | 1,010 | 209 | 45 |
| Appliances | Stove | 70.3% | 453 | 318 | 68 |
| Appliances | Microwave | 94.8% | 139 | 132 | 28 |
| Electronics | Personal Computers | 64.3% | 214 | 138 | 29 |
| Electronics | Monitor | 78.6% | 91 | 71 | 15 |
| Electronics | Laptops | 76.3% | 57 | 43 | 9 |
| Electronics | TVs | 177.4% | 255 | 452 | 97 |
| Electronics | Printer/Fax/Copier | 72.6% | 65 | 47 | 10 |
| Electronics | Set top Boxes/DVRs | 143.9% | 128 | 184 | 39 |
| Electronics | Devices and Gadgets | 100.0% | 54 | 54 | 11 |
| Miscellaneous | Pool Pump | 1.9% | 2,514 | 49 | 10 |
| Miscellaneous | Pool Heater | 0.5% | 4,025 | 19 | 4 |
| Miscellaneous | Furnace Fan | 58.7% | 249 | 146 | 31 |
| Miscellaneous | Well pump | 9.3% | 642 | 60 | 13 |
| Miscellaneous | Miscellaneous | 100.0% | 744 | 744 | 159 |
| Total |  |  |  | 11,919 | 2,546 |

Table 3-6	Average Market Profile for the Residential Sector, 2013, Idaho

| End Use | Technology | Saturation | UEC | Intensity | Usage |
| --- | --- | --- | --- | --- | --- |
|  |  |  | (kWh) | (kWh/HH) | (GWh) |
| Cooling | Central AC | 33.4% | 1,134 | 379 | 41 |
| Cooling | Room AC | 18.6% | 416 | 77 | 8 |
| Cooling | Air-Source Heat Pump | 5.3% | 1,282 | 68 | 7 |
| Cooling | Geothermal Heat Pump | 0.0% | 0 | 0 | 0 |
| Cooling | Evaporative AC | 1.5% | 777 | 12 | 1 |
| Space Heating | Electric Room Heat | 24.2% | 6,354 | 1,540 | 165 |
| Space Heating | Electric Furnace | 13.1% | 8,904 | 1,168 | 126 |
| Space Heating | Air-Source Heat Pump | 5.3% | 10,465 | 557 | 60 |
| Space Heating | Geothermal Heat Pump | 0.0% | 0 | 0 | 0 |
| Water Heating | Water Heater (<= 55 Gal) | 49.2% | 2,904 | 1,429 | 154 |
| Water Heating | Water Heater (55 to 75 Gal) | 6.2% | 3,025 | 189 | 20 |
| Water Heating | Water Heater (> 75 Gal) | 0.3% | 3,847 | 11 | 1 |
| Interior Lighting | Screw-in/Hard-wire | 100.0% | 1,041 | 1,041 | 112 |
| Interior Lighting | Linear Fluorescent | 100.0% | 129 | 129 | 14 |
| Interior Lighting | Specialty Lighting | 100.0% | 243 | 243 | 26 |
| Exterior Lighting | Screw-in/Hard-wire | 100.0% | 323 | 323 | 35 |
| Appliances | Clothes Washer | 85.1% | 99 | 84 | 9 |
| Appliances | Clothes Dryer | 60.3% | 754 | 454 | 49 |
| Appliances | Dishwasher | 77.6% | 424 | 329 | 35 |
| Appliances | Refrigerator | 100.0% | 789 | 789 | 85 |
| Appliances | Freezer | 52.3% | 643 | 337 | 36 |
| Appliances | Second Refrigerator | 21.1% | 945 | 199 | 21 |
| Appliances | Stove | 63.6% | 433 | 275 | 30 |
| Appliances | Microwave | 91.2% | 132 | 120 | 13 |
| Electronics | Personal Computers | 56.9% | 200 | 114 | 12 |
| Electronics | Monitor | 69.6% | 85 | 59 | 6 |
| Electronics | Laptops | 79.3% | 53 | 42 | 5 |
| Electronics | TVs | 174.6% | 248 | 434 | 47 |
| Electronics | Printer/Fax/Copier | 66.7% | 61 | 41 | 4 |
| Electronics | Set top Boxes/DVRs | 92.5% | 120 | 111 | 12 |
| Electronics | Devices and Gadgets | 100.0% | 51 | 51 | 5 |
| Miscellaneous | Pool Pump | 1.6% | 2,342 | 38 | 4 |
| Miscellaneous | Pool Heater | 0.4% | 3,750 | 15 | 2 |
| Miscellaneous | Furnace Fan | 59.7% | 239 | 142 | 15 |
| Miscellaneous | Well pump | 12.5% | 598 | 75 | 8 |
| Miscellaneous | Miscellaneous | 100.0% | 356 | 356 | 38 |
| Total |  |  |  | 11,233 | 1,207 |

## Commercial Sector

The total electric energy consumed by commercial customers in Avista’s service area in 2013 was 2,086 GWh (WA) and 976 GWh (ID). Summer peak demand was 368 MW (WA) and 167 MW (ID). Winter peak demand was 333 MW (WA) and 152 MW (ID). Avista billing data, CBSA and secondary data were used to allocate this energy usage to building type segments and to develop estimates of energy intensity (annual kWh/square foot). Using the electricity use and intensity estimates, we infer floor space which is the unit of analysis in LoadMAP for the commercial sector. The values are shown in Table 3-7 (WA) and Table 3-8 (ID).

Table 3-7	Commercial Sector Control Totals (2013), Washington

| Segment | Electricity Sales (GWh) | % of Total Usage | Intensity (Annual kWh/SqFt) | Summer Peak (MW) | Winter Peak (MW) |
| --- | --- | --- | --- | --- | --- |
| Small Office | 280 | 13% | 15.4 | 71 | 48 |
| Large Office | 106 | 5% | 17.5 | 16 | 19 |
| Restaurant | 70 | 3% | 42.4 | 11 | 11 |
| Retail | 285 | 14% | 13.8 | 59 | 43 |
| Grocery | 209 | 10% | 47.3 | 33 | 28 |
| College | 78 | 4% | 13.9 | 13 | 14 |
| School | 117 | 6% | 9.9 | 5 | 13 |
| Health | 271 | 13% | 29.1 | 41 | 39 |
| Lodging | 112 | 5% | 16.1 | 14 | 23 |
| Warehouse | 103 | 5% | 7.5 | 12 | 17 |
| Miscellaneous | 455 | 22% | 13.8 | 93 | 78 |
| Total | 2,086 | 100% | 15.9 | 368 | 333 |

Table 3-8	Commercial Sector Control Totals (2013), Idaho

| Segment | Electricity Sales (GWh) | % of Total Usage | Intensity (Annual kWh/SqFt) | Summer Peak (MW) | Winter Peak (MW) |
| --- | --- | --- | --- | --- | --- |
| Small Office | 134 | 14% | 15.4 | 35 | 23 |
| Large Office | 17 | 2% | 17.5 | 3 | 3 |
| Restaurant | 12 | 1% | 42.4 | 2 | 2 |
| Retail | 168 | 17% | 13.8 | 35 | 25 |
| Grocery | 92 | 9% | 47.3 | 14 | 12 |
| College | 73 | 7% | 13.9 | 12 | 13 |
| School | 109 | 11% | 9.9 | 4 | 12 |
| Health | 106 | 11% | 29.1 | 16 | 15 |
| Lodging | 49 | 5% | 16.1 | 6 | 10 |
| Warehouse | 47 | 5% | 7.5 | 5 | 8 |
| Miscellaneous | 168 | 17% | 13.8 | 34 | 29 |
| Total | 976 | 100% | 14.9 | 167 | 152 |

Figure 3-7 (WA) and Figure 3-8 (ID) show the distribution of annual electricity consumption and peak demand by end use across all commercial buildings. Electric usage is dominated by cooling and lighting, which comprise almost 50% of annual electricity usage. Summer peak demand is dominated by cooling and winter peak demand is dominated by heating.

Figure 3-9 (WA) and Figure 3-10 (ID) presents the electricity usage in GWh by end use and segment. Small offices, retail, and miscellaneous buildings use the most electricity in the service territory. As far as end uses, cooling and lighting are the major uses across all segments. Office equipment is concentrated more in the larger customers.

Figure 3-7	Commercial Sector Electricity Consumption by End Use (2013), Washington

Figure 3-8	Commercial Sector Electricity Consumption by End Use (2013), Idaho

Figure 3-9	Commercial Electricity Usage by End Use Segment (GWh, 2013), Washington

Figure 3-10	Commercial Electricity Usage by End Use Segment (GWh, 2013), Idaho

Table 3-9 (WA) and Table 3-10 (ID) show the average market profile for electricity of the commercial sector as a whole, representing a composite of all segments and buildings. Market profiles for each segment are presented in the appendix to this volume.

Table 3-9	Average Electric Market Profile for the Commercial Sector, 2013, Washington

Table 3-10	Average Electric Market Profile for the Commercial Sector, 2013, Idaho

## Industrial Sector

The total electricity used in 2013 by Avista’s industrial customers was 1,265 GWh; 922 GWh (WA) and 343 GWh (ID). Summer peak demand was 336 MW; 245 MW (WA) and 91 MW (ID). Winter peak demand was 277 MW; 202 MW (WA) and 75 MW (ID). Avista billing data, load forecast and secondary sources were used to develop estimates of energy intensity (annual kWh/employee). Using the electricity use and intensity estimates, we infer the number of employees which is the unit of analysis in LoadMAP for the industrial sector. These are shown in Table 3-11.

Table 3-11	Industrial Sector Control Totals (2013)

| State | Electricity Sales (GWh) | Intensity (Annual kWh/employee) | Summer Peak (MW) | Winter Peak (MW) |
| --- | --- | --- | --- | --- |
| Washington | 922 | 56,846 | 245 | 202 |
| Idaho | 343 | 38,668 | 91 | 75 |

Figure 3-11 shows the distribution of annual electricity consumption and summer and winter peak demand by end use for all industrial customers. Motors are the largest overall end use for the industrial sector, accounting for 54% of energy use. Note that this end use includes a wide range of industrial equipment, such as air compressors and refrigeration compressors, pumps, conveyor motors, and fans. The process end use accounts for 27% of annual energy use, which includes heating, cooling, refrigeration, and electro-chemical processes. Lighting is the next highest, followed by cooling, miscellaneous, heating and ventilation.

Figure 3-11 	Industrial Electricity Use by End Use (2013), All Industries, WA and ID

Table 3-12 (WA) and Table 3-13 (ID) show the composite market profile for the industrial sector.

Table 3-12	Average Electric Market Profile for the Industrial Sector, 2013, Washington

Table 3-13	Average Electric Market Profile for the Industrial Sector, 2013, Idaho

| Section |  |
| --- | --- |

Baseline Projection

Prior to developing estimates of energy-efficiency potential, we developed a baseline end-use projection to quantify what the consumption is likely to be in the future and in absence of any future conservation programs. The savings from past programs are embedded in the forecast, but the baseline projection assumes that those past programs cease to exist in the future. Possible savings from future programs are captured by the potential estimates.

The baseline projection incorporates assumptions about:

Customer population and economic growth

Appliance/equipment standards and building codes already mandated (see Section 2)

Forecasts of future electricity prices and other drivers of consumption

Trends in fuel shares and appliance saturations and assumptions about miscellaneous electricity growth

Although it aligns closely with it, the baseline projection is not Avista’s official load forecast. Rather it was developed to serve as the metric against which conservation potentials are measured. This chapter presents the baseline projections we developed for this study. Below, we present the baseline projections for each sector and state, which include projections of annual use in GWh and summer and winter peak demand in MW. We also present a summary across all sectors.

Please note that the base-year for the study is 2013. Annual energy use and peak demand values reflect actual weather in that year. In future years, energy use and peak demand reflect normal weather, as defined by Avista. In the figures below, the shift from actual to normal weather is apparent in the decrease in energy use and peak demand in 2014 for the residential and commercial sectors. This results from the fact that 2013 was hotter during the summer months or cooler during the winter months than normal.

## Residential Sector

### Annual Use

Table 4-1 (WA) and Table 4-2 (ID) present the baseline projection for electricity at the end-use level for the residential sector as a whole. Overall in Washington, residential use increases from 2,546 GWh in 2013 to 2,761 GWh in 2035, an increase of 8%. Residential use in Idaho increases from 1,207 GWh in 2013 to 1,375 GWh, an increase of 14%. This reflects a modest customer growth forecast in both states. Figure 4-1 (WA) and Figure 4-3 (ID) display the graphical representation of the baseline projection.

Figure 4-2 (WA) and Figure 4-4 (ID) present the baseline projection of annual electricity use per household. Most noticeable is that lighting use decreases throughout the time period as the lighting standards from EISA come into effect. Usage in the cooling decreases over the forecast due to going from actual weather in 2014 to normal weather for the rest of the forecast.

Table 4-1	Residential Baseline Sales Projection by End Use (GWh), Washington

| End Use | 2013 | 2016 | 2017 | 2020 | 2025 | 2035 | % Change ('13-'35) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Cooling | 141 | 92 | 93 | 93 | 93 | 96 | -32% |
| Heating | 681 | 702 | 706 | 713 | 722 | 743 | 9% |
| Water Heating | 375 | 379 | 380 | 381 | 388 | 416 | 11% |
| Interior Lighting | 289 | 244 | 230 | 196 | 151 | 140 | -52% |
| Exterior Lighting | 62 | 51 | 48 | 40 | 30 | 27 | -56% |
| Appliances | 569 | 572 | 571 | 568 | 567 | 585 | 3% |
| Electronics | 211 | 226 | 229 | 239 | 262 | 331 | 57% |
| Miscellaneous | 218 | 238 | 245 | 267 | 311 | 423 | 94% |
| Total | 2,546 | 2,503 | 2,500 | 2,498 | 2,523 | 2,761 | 8.4% |

Table 4-2	Residential Baseline Sales Projection by End Use (GWh), Idaho

| End Use | 2013 | 2016 | 2017 | 2020 | 2025 | 2035 | % Change ('13-'35) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Cooling | 58 | 38 | 38 | 39 | 40 | 42 | -26% |
| Heating | 351 | 366 | 370 | 379 | 392 | 417 | 19% |
| Water Heating | 175 | 179 | 180 | 184 | 190 | 211 | 20% |
| Interior Lighting | 152 | 132 | 126 | 111 | 89 | 87 | -43% |
| Exterior Lighting | 35 | 29 | 28 | 24 | 18 | 17 | -50% |
| Appliances | 278 | 282 | 283 | 286 | 291 | 312 | 12% |
| Electronics | 91 | 99 | 102 | 108 | 122 | 160 | 75% |
| Miscellaneous | 67 | 73 | 76 | 82 | 96 | 129 | 92% |
| Total | 1,207 | 1,199 | 1,203 | 1,213 | 1,238 | 1,375 | 13.9% |

Figure 4-1	Residential Baseline Sales Projection by End Use (GWh), Washington

Figure 4-2	Residential Baseline Sales Projection by End Use – Annual Use per Household, Washington

Figure 4-3	Residential Baseline Projection by End Use (GWh), Idaho

Figure 4-4	Residential Baseline Sales Projection by End Use – Annual Use per Household, Idaho

### Residential Summer Peak Projection

Table 4-3 (WA) and Table 4-4 (ID) present the residential baseline projection for summer peak demand at the end-use level. Overall in Washington, residential summer peak increases from 404 MW in 2013 to 438 MW in 2035, an increase of 8%. In Idaho, the residential summer peak increases from 184 MW to 207 MW, an increase of 13%. All end uses except cooling and lighting show increases in the baseline peak projections. The summer peak associated with electronics and miscellaneous uses increases substantially, in correspondence with growth in annual energy use. Figure 4-5 (WA) and Figure 4-6 (ID) display the graphical representation of the baseline projection for summer peak. Usage in residential cooling decreases over the forecast due to going from actual weather in 2014 to weather-normal weather for the forecast.

Table 4-3	Residential Summer Peak Baseline Projection by End Use (MW), Washington

| End Use | 2013 | 2016 | 2017 | 2020 | 2025 | 2035 | % Change ('13-'35) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Cooling | 46 | 30 | 30 | 30 | 31 | 32 | -30% |
| Heating | - | - | - | - | - | - | 0% |
| Water Heating | 71 | 71 | 71 | 72 | 73 | 78 | 11% |
| Interior Lighting | 49 | 41 | 39 | 33 | 25 | 24 | -52% |
| Exterior Lighting | 10 | 9 | 8 | 7 | 5 | 5 | -56% |
| Appliances | 141 | 141 | 141 | 140 | 140 | 144 | 2% |
| Electronics | 44 | 47 | 48 | 50 | 54 | 69 | 57% |
| Miscellaneous | 44 | 49 | 50 | 55 | 64 | 87 | 95% |
| Total | 404 | 388 | 387 | 386 | 392 | 438 | 8.3% |

Table 4-4	Residential Summer Peak Baseline Projection by End Use (MW), Idaho

| End Use | 2013 | 2016 | 2017 | 2020 | 2025 | 2035 | % Change ('13-'35) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Cooling | 19 | 13 | 13 | 13 | 13 | 14 | -24% |
| Heating | - | - | - | - | - | - | 0% |
| Water Heating | 33 | 34 | 34 | 35 | 36 | 40 | 20% |
| Interior Lighting | 25 | 22 | 21 | 19 | 15 | 15 | -43% |
| Exterior Lighting | 6 | 5 | 5 | 4 | 3 | 3 | -50% |
| Appliances | 68 | 69 | 69 | 69 | 71 | 75 | 11% |
| Electronics | 19 | 21 | 21 | 23 | 26 | 34 | 75% |
| Miscellaneous | 14 | 15 | 16 | 17 | 20 | 27 | 93% |
| Total | 184 | 178 | 179 | 180 | 183 | 207 | 12.6% |

Figure 4-5	Residential Summer Peak Baseline Projection by End Use (MW), Washington

Figure 4-6	Residential Summer Peak Baseline Projection by End Use (MW), Idaho

### Residential Winter Peak Projection

Table 4-5 (WA) and Table 4-6 (ID) present the residential baseline projection for winter peak demand at the end-use level. Overall in Washington, residential winter peak increases from 438 MW in 2013 to 440 MW in 2035, an increase of 0.4%. In Idaho, the residential winter peak increases from 217 MW to 233 MW, an increase of 8%. All end uses except lighting show increases in the baseline peak projections. The winter peak associated with electronics and miscellaneous uses increases substantially, in correspondence with growth in annual energy use. Figure 4-7Figure 4-5 (WA) and Figure 4-8Figure 4-6 (ID) display the graphical representation of the baseline projection for winter peak.

Table 4-5	Residential Winter Peak Baseline Projection by End Use (MW), Washington

| End Use | 2013 | 2016 | 2017 | 2020 | 2025 | 2035 | % Change ('13-'35) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Cooling | - | - | - | - | - | - | 0% |
| Heating | 156 | 161 | 162 | 164 | 165 | 170 | 9% |
| Water Heating | 66 | 67 | 67 | 68 | 69 | 74 | 11% |
| Interior Lighting | 77 | 65 | 61 | 52 | 40 | 37 | -52% |
| Exterior Lighting | 16 | 14 | 13 | 11 | 8 | 7 | -56% |
| Appliances | 89 | 90 | 90 | 89 | 90 | 94 | 5% |
| Electronics | 17 | 18 | 18 | 19 | 21 | 26 | 56% |
| Miscellaneous | 16 | 18 | 18 | 20 | 23 | 32 | 96% |
| Total | 438 | 432 | 429 | 422 | 416 | 440 | 0.4% |

Table 4-6	Residential Winter Peak Baseline Projection by End Use (MW), Idaho

| End Use | 2013 | 2016 | 2017 | 2020 | 2025 | 2035 | % Change ('13-'35) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Cooling | - | - | - | - | - | - | 0% |
| Heating | 80 | 84 | 85 | 87 | 90 | 96 | 19% |
| Water Heating | 31 | 32 | 32 | 33 | 34 | 37 | 20% |
| Interior Lighting | 40 | 35 | 34 | 30 | 24 | 23 | -43% |
| Exterior Lighting | 9 | 8 | 7 | 6 | 5 | 5 | -50% |
| Appliances | 43 | 44 | 44 | 45 | 46 | 49 | 14% |
| Electronics | 8 | 8 | 8 | 9 | 10 | 13 | 75% |
| Miscellaneous | 5 | 6 | 6 | 6 | 8 | 10 | 97% |
| Total | 217 | 216 | 216 | 215 | 215 | 233 | 7.6% |

Figure 4-7	Residential Winter Peak Baseline Projection by End Use (MW), Washington

Figure 4-8	Residential Winter Peak Baseline Projection by End Use (MW), Idaho

## Commercial Sector Baseline Projections

### Annual Use

In Washington, annual electricity use in the commercial sector grows during the overall forecast horizon, starting at 2,086 GWh in 2013, and increasing to 2,282 in 2035, an increase of 9%. In Idaho, annual electricity use grows from 976 GWh in 2013 to 1,063 GWh in 2035, an increase of 9%. The tables and graphs below present the baseline projection at the end-use level for the commercial sector as a whole. Usage in lighting is declining throughout the forecast, due largely to the phasing in of codes and standards such as the EISA 2007 lighting standards. Usage in commercial cooling decreases over the forecast due to going from actual weather in 2014 to weather-normal weather for the forecast.

Table 4-7	Commercial Baseline Sales Projection by End Use (GWh), Washington

| End Use | 2013 | 2016 | 2017 | 2020 | 2025 | 2035 | % Change ('13-'35) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Cooling | 334 | 282 | 282 | 285 | 287 | 293 | -12.3% |
| Heating | 243 | 248 | 250 | 255 | 263 | 277 | 14.3% |
| Ventilation | 209 | 211 | 212 | 215 | 217 | 224 | 6.9% |
| Water Heating | 118 | 119 | 119 | 121 | 125 | 132 | 11.9% |
| Interior Lighting | 474 | 462 | 460 | 455 | 452 | 475 | 0.1% |
| Exterior Lighting | 160 | 146 | 143 | 133 | 122 | 121 | -24.6% |
| Refrigeration | 175 | 186 | 191 | 204 | 227 | 276 | 57.6% |
| Food Preparation | 80 | 83 | 84 | 88 | 94 | 115 | 44.9% |
| Office Equipment | 144 | 136 | 134 | 132 | 134 | 145 | 0.4% |
| Miscellaneous | 149 | 153 | 155 | 166 | 184 | 224 | 51.0% |
| Total | 2,086 | 2,027 | 2,031 | 2,053 | 2,106 | 2,282 | 9.4% |

Table 4-8	Commercial Baseline Sales Projection by End Use (GWh), Idaho

| End Use | 2013 | 2016 | 2017 | 2020 | 2025 | 2035 | % Change ('13-'35) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Cooling | 156 | 131 | 131 | 132 | 133 | 135 | -13.3% |
| Heating | 116 | 119 | 119 | 122 | 125 | 130 | 12.1% |
| Ventilation | 96 | 96 | 97 | 98 | 98 | 101 | 5.5% |
| Water Heating | 53 | 53 | 54 | 54 | 56 | 59 | 10.1% |
| Interior Lighting | 229 | 223 | 222 | 219 | 217 | 226 | -1.4% |
| Exterior Lighting | 83 | 77 | 75 | 71 | 66 | 66 | -20.7% |
| Refrigeration | 77 | 82 | 84 | 90 | 100 | 123 | 61.1% |
| Food Preparation | 34 | 36 | 37 | 39 | 42 | 52 | 50.8% |
| Office Equipment | 66 | 63 | 62 | 61 | 62 | 68 | 2.1% |
| Miscellaneous | 65 | 68 | 70 | 75 | 84 | 104 | 59.1% |
| Total | 976 | 949 | 950 | 960 | 983 | 1,063 | 9.0% |

Figure 4-9	Commercial Baseline Projection by End Use, Washington

Figure 4-10	Commercial Baseline Projection by End Use, Idaho

### Commercial Summer Peak Demand Projection

The tables and charts below present the summer peak baseline projection at the end-use level for the commercial sector as a whole. In Washington, summer peak demand increases during the overall forecast horizon, starting at 368 MW in 2013 and increasing by 4% to 383 MW in 2035. In Idaho, the summer peak demand is 167 MW in 2013 and 173 MW in 2035, an increase of 4%.

Table 4-9	Commercial Summer Peak Baseline Projection by End Use (MW), Washington

| End Use | 2013 | 2016 | 2017 | 2020 | 2025 | 2035 | % Change ('13-'35) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Cooling | 162 | 137 | 137 | 138 | 139 | 143 | -12.2% |
| Heating | 0 | 0 | 0 | 0 | 0 | 0 | 17.5% |
| Ventilation | 26 | 27 | 27 | 27 | 27 | 28 | 7.0% |
| Water Heating | 18 | 18 | 18 | 18 | 19 | 20 | 13.4% |
| Interior Lighting | 74 | 73 | 72 | 72 | 71 | 75 | 0.7% |
| Ext. Lighting | 9 | 8 | 8 | 7 | 7 | 7 | -24.6% |
| Refrigeration | 27 | 28 | 29 | 31 | 35 | 42 | 57.7% |
| Food Prep | 11 | 11 | 11 | 12 | 13 | 16 | 49.6% |
| Office Equip | 19 | 18 | 17 | 17 | 17 | 19 | 1.4% |
| Miscellaneous | 22 | 22 | 23 | 24 | 27 | 33 | 51.6% |
| Total | 368 | 342 | 343 | 347 | 356 | 383 | 4.1% |

Table 4-10	Commercial Summer Peak Baseline Projection by End Use (MW), Idaho

| End Use | 2013 | 2016 | 2017 | 2020 | 2025 | 2035 | % Change ('13-'35) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Cooling | 75 | 63 | 63 | 64 | 64 | 65 | -12.9% |
| Heating | 0 | 0 | 0 | 0 | 0 | 0 | 17.5% |
| Ventilation | 12 | 12 | 12 | 12 | 12 | 13 | 5.5% |
| Water Heating | 7 | 8 | 8 | 8 | 8 | 8 | 12.1% |
| Interior Lighting | 35 | 34 | 34 | 34 | 33 | 35 | -0.3% |
| Ext. Lighting | 5 | 4 | 4 | 4 | 4 | 4 | -20.7% |
| Refrigeration | 11 | 12 | 13 | 14 | 15 | 19 | 62.1% |
| Food Prep | 4 | 4 | 5 | 5 | 5 | 7 | 62.9% |
| Office Equip | 8 | 8 | 8 | 7 | 8 | 8 | 2.6% |
| Miscellaneous | 9 | 10 | 10 | 10 | 12 | 15 | 60.7% |
| Total | 167 | 155 | 156 | 157 | 161 | 173 | 3.8% |

Figure 4-11	Commercial Summer Peak Baseline Projection by End Use (MW), Washington

Figure 4-12	Commercial Summer Peak Baseline Projection by End Use (MW), Idaho

### Commercial Winter Peak Demand Projection

The tables and charts below present the winter peak baseline projection at the end-use level for the commercial sector as a whole. In Washington, winter peak demand increases during the overall forecast horizon, starting at 333 MW in 2013 and increasing by 14% to 380 MW in 2035. In Idaho, the winter peak demand is 152 MW in 2013 and 173 MW in 2035, an increase of 14%.

Table 4-11	Commercial Winter Peak Baseline Projection by End Use (MW), Washington

| End Use | 2013 | 2016 | 2017 | 2020 | 2025 | 2035 | % Change ('13-'35) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Cooling | 10 | 8 | 8 | 8 | 8 | 9 | -11.4% |
| Heating | 90 | 92 | 93 | 95 | 98 | 103 | 14.8% |
| Ventilation | 30 | 31 | 31 | 31 | 31 | 32 | 6.9% |
| Water Heating | 26 | 27 | 27 | 27 | 28 | 30 | 13.0% |
| Interior Lighting | 86 | 84 | 84 | 83 | 82 | 86 | 0.4% |
| Ext. Lighting | 10 | 9 | 9 | 8 | 8 | 7 | -24.6% |
| Refrigeration | 22 | 23 | 24 | 26 | 28 | 35 | 57.2% |
| Food Prep | 12 | 13 | 13 | 14 | 15 | 18 | 49.2% |
| Office Equip | 21 | 20 | 20 | 20 | 20 | 22 | 1.3% |
| Miscellaneous | 25 | 26 | 26 | 28 | 31 | 38 | 51.5% |
| Total | 333 | 332 | 334 | 339 | 350 | 380 | 14.2% |

Table 4-12	Commercial Winter Peak Baseline Projection by End Use (MW), Idaho

| End Use | 2013 | 2016 | 2017 | 2020 | 2025 | 2035 | % Change ('13-'35) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Cooling | 4 | 3 | 3 | 3 | 3 | 3 | -11.7% |
| Heating | 42 | 43 | 43 | 44 | 45 | 48 | 13.0% |
| Ventilation | 14 | 14 | 14 | 14 | 14 | 15 | 5.5% |
| Water Heating | 11 | 11 | 11 | 12 | 12 | 13 | 11.4% |
| Interior Lighting | 41 | 40 | 40 | 40 | 39 | 41 | -0.9% |
| Ext. Lighting | 5 | 5 | 5 | 4 | 4 | 4 | -20.7% |
| Refrigeration | 10 | 10 | 10 | 11 | 13 | 15 | 60.8% |
| Food Prep | 5 | 5 | 5 | 6 | 6 | 8 | 61.7% |
| Office Equip | 9 | 9 | 9 | 9 | 9 | 10 | 2.3% |
| Miscellaneous | 11 | 11 | 12 | 12 | 14 | 17 | 60.0% |
| Total | 152 | 152 | 153 | 155 | 160 | 173 | 13.9% |

Figure 4-13	Commercial Winter Peak Baseline Projection by End Use (MW), Washington

Figure 4-14	Commercial Winter Peak Baseline Projection by End Use (MW), Idaho

## Industrial Sector Baseline Projections

### Annual Use

Annual industrial use increases almost 25% through the forecast horizon, driven primarily by expected customer growth. The tables and graphs below present the projection at the end-use level. Overall in Washington, industrial annual electricity use increases from 922 GWh in 2013 to 1,149 GWh in 2035. In Idaho, annual electricity use increases from 343 GWh in 2013 to 426 GWh in 2035. This comprises an overall increase of 25% over the 23-year period in both states.

Table 4-13	Industrial Baseline Projection by End Use (GWh), Washington

| End Use | 2013 | 2016 | 2017 | 2020 | 2025 | 2035 | % Change ('13-'35) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Cooling | 46 | 41 | 41 | 41 | 42 | 44 | -4% |
| Heating | 20 | 21 | 22 | 22 | 23 | 24 | 23% |
| Ventilation | 19 | 20 | 20 | 19 | 18 | 16 | -18% |
| Interior Lighting | 49 | 52 | 52 | 52 | 53 | 57 | 16% |
| Exterior Lighting | 10 | 10 | 10 | 10 | 10 | 10 | -1% |
| Process | 492 | 534 | 540 | 555 | 578 | 626 | 27% |
| Motors | 251 | 272 | 275 | 282 | 294 | 319 | 27% |
| Miscellaneous | 36 | 40 | 40 | 42 | 46 | 53 | 48% |
| Total | 922 | 989 | 999 | 1,024 | 1,064 | 1,149 | 24.5% |

Table 4-14	Industrial Baseline Projection by End Use (GWh), Idaho

| End Use | 2013 | 2016 | 2017 | 2020 | 2025 | 2035 | % Change ('13-'35) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Cooling | 17 | 15 | 15 | 15 | 16 | 16 | -5% |
| Heating | 7 | 8 | 8 | 8 | 8 | 9 | 23% |
| Ventilation | 7 | 7 | 7 | 7 | 7 | 6 | -18% |
| Interior Lighting | 18 | 19 | 19 | 19 | 20 | 21 | 15% |
| Exterior Lighting | 4 | 4 | 4 | 4 | 4 | 4 | -1% |
| Process | 183 | 198 | 200 | 206 | 215 | 232 | 27% |
| Motors | 93 | 101 | 102 | 105 | 109 | 118 | 27% |
| Miscellaneous | 13 | 15 | 15 | 16 | 17 | 20 | 48% |
| Total | 343 | 367 | 371 | 380 | 395 | 426 | 24.3% |

Figure 4-15	Industrial Baseline Projection by End Use (GWh), Washington

Figure 4-16	Industrial Baseline Projection by End Use (GWh), Idaho

### Industrial Summer Peak Demand Projection

The tables and graphs below present the projection of summer peak demand for the industrial sector. This projection looks similar to the energy forecast largely because the industrial sector has a high load factor.

Table 4-15	Industrial Summer Peak Baseline Projection by End Use (MW), Washington

| End Use | 2013 | 2016 | 2017 | 2020 | 2025 | 2035 | % Change ('13-'35) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Cooling | - | - | - | - | - | - | 0% |
| Heating | - | - | - | - | - | - | 0% |
| Ventilation | 4 | 4 | 4 | 4 | 3 | 3 | -18% |
| Interior Lighting | 13 | 14 | 14 | 14 | 14 | 15 | 16% |
| Exterior Lighting | 1 | 1 | 1 | 1 | 1 | 1 | -1% |
| Process | 144 | 156 | 158 | 162 | 169 | 183 | 27% |
| Motors | 73 | 79 | 80 | 83 | 86 | 93 | 27% |
| Miscellaneous | 10 | 12 | 12 | 12 | 13 | 15 | 48% |
| Total | 245 | 265 | 268 | 275 | 287 | 311 | 26.8% |

Table 4-16	Industrial Summer Peak Baseline Projection by End Use (MW), Idaho

| End Use | 2013 | 2016 | 2017 | 2020 | 2025 | 2035 | % Change ('13-'35) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Cooling | - | - | - | - | - | - | 0% |
| Heating | - | - | - | - | - | - | 0% |
| Ventilation | 1 | 1 | 1 | 1 | 1 | 1 | -18% |
| Interior Lighting | 5 | 5 | 5 | 5 | 5 | 6 | 15% |
| Exterior Lighting | 0 | 0 | 0 | 0 | 0 | 0 | -1% |
| Process | 54 | 58 | 59 | 60 | 63 | 68 | 27% |
| Motors | 27 | 30 | 30 | 31 | 32 | 35 | 27% |
| Miscellaneous | 4 | 4 | 4 | 5 | 5 | 6 | 48% |
| Total | 91 | 99 | 100 | 102 | 106 | 115 | 26.6% |

Figure 4-17	Industrial Summer Peak Baseline Projection by End Use (MW), Washington

Figure 4-18	Industrial Summer Peak Baseline Projection by End Use (MW), Idaho

### Industrial Winter Peak Demand Projection

The tables and graphs below present the projection of winter peak demand for the industrial sector. This projection looks similar to the energy forecast largely because the industrial sector has a high load factor.

Table 4-17	Industrial Winter Peak Baseline Projection by End Use (MW), Washington

| End Use | 2013 | 2016 | 2017 | 2020 | 2025 | 2035 | % Change ('13-'35) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Cooling | - | - | - | - | - | - | 0% |
| Heating | 8 | 9 | 9 | 9 | 9 | 10 | 23% |
| Ventilation | 3 | 3 | 3 | 3 | 3 | 2 | -18% |
| Interior Lighting | 10 | 11 | 11 | 11 | 11 | 12 | 16% |
| Exterior Lighting | 1 | 1 | 1 | 1 | 1 | 1 | -1% |
| Process | 114 | 124 | 125 | 128 | 134 | 145 | 27% |
| Motors | 58 | 63 | 64 | 65 | 68 | 74 | 27% |
| Miscellaneous | 8 | 9 | 9 | 10 | 11 | 12 | 48% |
| Total | 202 | 219 | 221 | 227 | 236 | 256 | 26.63% |

Table 4-18	Industrial Winter Peak Baseline Projection by End Use (MW), Idaho

| End Use | 2013 | 2016 | 2017 | 2020 | 2025 | 2035 | % Change ('13-'35) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Cooling | - | - | - | - | - | - | 0% |
| Heating | 3 | 3 | 3 | 3 | 3 | 4 | 23% |
| Ventilation | 1 | 1 | 1 | 1 | 1 | 1 | -18% |
| Interior Lighting | 4 | 4 | 4 | 4 | 4 | 4 | 15% |
| Exterior Lighting | 0 | 0 | 0 | 0 | 0 | 0 | -1% |
| Process | 42 | 46 | 46 | 48 | 50 | 54 | 27% |
| Motors | 22 | 23 | 24 | 24 | 25 | 27 | 27% |
| Miscellaneous | 3 | 3 | 3 | 4 | 4 | 5 | 48% |
| Total | 75 | 81 | 82 | 84 | 88 | 95 | 26.42% |

Figure 4-19	Industrial Winter Peak Baseline Projection by End Use (MW), Washington

Figure 4-20	Industrial Winter Peak Baseline Projection by End Use (MW), Idaho

## Summary of Baseline Projections across Sectors and States

### Annual Use

Table 4-19 and Figure 4-21 provide a summary of the baseline projection for annual use by sector for the entire Avista service territory. Overall, the projection shows strong growth in electricity use, driven primarily by customer growth forecasts.

Table 4-19	Baseline Projection Summary (GWh), WA and ID Combined

| Sector | 2013 | 2016 | 2017 | 2020 | 2025 | 2035 | % Change ('13-'35) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Residential | 3,753 | 3,703 | 3,703 | 3,711 | 3,761 | 4,136 | 10.2% |
| Commercial | 3,062 | 2,976 | 2,981 | 3,013 | 3,089 | 3,346 | 9.3% |
| Industrial | 1,265 | 1,356 | 1,370 | 1,404 | 1,458 | 1,575 | 24.5% |
| Total | 8,081 | 8,035 | 8,054 | 8,128 | 8,308 | 9,057 | 12.1% |

Figure 4-21	Baseline Projection Summary (GWh), WA and ID Combined

### Summer Peak Demand Projection

Table 4-20 and Figure 4-22 provide a summary of the baseline projection for summer peak demand. Overall, the projection shows steady growth.

Table 4-20	Baseline Summer Peak Projection Summary (MW), WA and ID Combined

| Sector | 2013 | 2016 | 2017 | 2020 | 2025 | 2035 | % Change ('13-'35) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Residential | 588 | 566 | 566 | 566 | 575 | 645 | 9.6% |
| Commercial | 535 | 497 | 498 | 505 | 517 | 556 | 4.0% |
| Industrial | 336 | 364 | 368 | 378 | 393 | 426 | 26.7% |
| Total | 1,459 | 1,427 | 1,432 | 1,448 | 1,486 | 1,627 | 11.5% |

Figure 4-22	Baseline Summer Peak Projection Summary (MW), WA and ID Combined

### Winter Peak Demand Projection

Table 4-21Table 4-20 and Figure 4-23 provide a summary of the baseline projection for winter peak demand. Overall, the projection shows steady growth.

Table 4-21	Baseline Winter Peak Projection Summary (MW), WA and ID Combined

| Sector | 2013 | 2016 | 2017 | 2020 | 2025 | 2035 | % Change ('13-'35) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Residential | 655 | 648 | 645 | 637 | 631 | 673 | 2.8% |
| Commercial | 485 | 485 | 486 | 494 | 509 | 554 | 14.1% |
| Industrial | 277 | 300 | 303 | 311 | 324 | 351 | 26.6% |
| Total | 1,417 | 1,433 | 1,434 | 1,442 | 1,464 | 1,577 | 11.3% |

Figure 4-23	Baseline Winter Peak Projection Summary (MW), WA and ID Combined

| Section |  |
| --- | --- |

Conservation Potential

This section presents the measure-level conservation potential for Avista. This includes every possible measure that is considered in the measure list, regardless of program implementation concerns.

We present the annual energy savings in GWh and aMW for selected years from conservation measures. Year-by-year savings for annual energy and peak demand are available in the LoadMAP model, which was provided to Avista at the conclusion of the study.

This section begins a summary of annual energy savings across all three sectors. Then we provide details for each sector. Please note that all savings are provided at the customer meter.

## Overall Summary of Energy Efficiency Potential

### Summary of Annual Energy Savings

Table 5-1 (WA) and Table 5-2 (ID) summarize the EE savings in terms of annual energy use for all measures for three levels of potential relative to the baseline projection. Figure 5-1(WA) and Figure 5-2 (ID) displays the three levels of potential by year. Figure 5-3 (WA) and Figure 5-4 (ID) display the EE projections.

Technical potential reflects the adoption of all conservation measures regardless of cost-effectiveness. For Washington, first-year savings are 116 GWh, or 2.1% of the baseline projection. Cumulative savings in 2035 are 1,682 GWh, or 27.2% of the baseline. For Idaho, first-year savings are 57 GWh, or 2.2% of the baseline projection. Cumulative savings in 2035 are 824 GWh, or 28.8% of the baseline.

Economic potential reflects the savings when the most efficient cost-effective measures are taken by all customers. For Washington, the first-year savings in 2016 are 45 GWh, or 0.8% of the baseline projection. By 2035, cumulative savings reach 884 GWh, or 14.3% of the baseline projection. For Idaho, the first-year savings in 2016 are 23 GWh, or 0.9% of the baseline projection. By 2035, cumulative savings reach 408 GWh, or 14.2% of the baseline projection.

Achievable potential represents savings that are possible through utility programs. It shows for Washington, 23 GWh savings in the first year, or 0.4% of the baseline and by 2035 cumulative achievable savings reach 746 GWh, or 12% of the baseline projection. This results in average annual savings of 0.5% of the baseline each year. Achievable potential reflects 84% of economic potential throughout the forecast horizon. For Idaho, first year savings are 11 GWh or 0.4% of the baseline and by 2035 cumulative achievable savings reach 344 GWh, or 12% of the baseline.

Table 5-1	Summary of EE Potential (Annual Energy, GWh), Washington

|  | 2016 | 2017 | 2020 | 2025 | 2035 |
| --- | --- | --- | --- | --- | --- |
| Baseline projection (GWh) | 5,520 | 5,530 | 5,575 | 5,693 | 6,192 |
| Cumulative Savings (GWh) |  |  |  |  |  |
| Achievable Potential | 23 | 50 | 159 | 391 | 746 |
| Economic Potential | 45 | 92 | 242 | 499 | 884 |
| Technical Potential | 116 | 231 | 563 | 1,065 | 1,682 |
| Cumulative Savings (aMW) |  |  |  |  |  |
| Achievable Potential | 2.6 | 5.7 | 18.1 | 44.6 | 85.2 |
| Economic Potential | 5.1 | 10.6 | 27.6 | 56.9 | 100.9 |
| Technical Potential | 13.3 | 26.4 | 64.2 | 121.6 | 192.0 |
| Cumulative Savings as a % of Baseline |  |  |  |  |  |
| Achievable Potential | 0.4% | 0.9% | 2.8% | 6.9% | 12.0% |
| Economic Potential | 0.8% | 1.7% | 4.3% | 8.8% | 14.3% |
| Technical Potential | 2.1% | 4.2% | 10.1% | 18.7% | 27.2% |

Table 5-2	Summary of EE Potential (Annual Energy, GWh), Idaho

|  | 2016 | 2017 | 2020 | 2025 | 2035 |
| --- | --- | --- | --- | --- | --- |
| Baseline projection (GWh) | 2,515 | 2,525 | 2,553 | 2,615 | 2,865 |
| Cumulative Savings (GWh) |  |  |  |  |  |
| Achievable Potential | 11 | 24 | 77 | 184 | 344 |
| Economic Potential | 23 | 46 | 118 | 234 | 408 |
| Technical Potential | 57 | 113 | 274 | 516 | 824 |
| Cumulative Savings (aMW) |  |  |  |  |  |
| Achievable Potential | 1.3 | 2.8 | 8.8 | 21.0 | 39.3 |
| Economic Potential | 2.6 | 5.3 | 13.5 | 26.8 | 46.6 |
| Technical Potential | 6.5 | 12.9 | 31.3 | 58.9 | 94.1 |
| Cumulative Savings as a % of Baseline |  |  |  |  |  |
| Achievable Potential | 0.4% | 1.0% | 3.0% | 7.0% | 12.0% |
| Economic Potential | 0.9% | 1.8% | 4.6% | 9.0% | 14.2% |
| Technical Potential | 2.2% | 4.5% | 10.7% | 19.7% | 28.8% |

Figure 5-1	Summary of EE Potential as % of Baseline Projection (Annual Energy), Washington

Figure 5-2	Summary of EE Potential as % of Baseline Projection (Annual Energy), Idaho

Figure 5-3	Baseline Projection and EE Forecast Summary (Annual Energy, GWh), Washington

Figure 5-4	Baseline Projection and EE Forecast Summary (Annual Energy, GWh), Idaho

## Summary of Conservation Potential by Sector

Table 5-3 and Figure 5-5 summarize the range of electric achievable potential by sector, both states combined. The residential and commercial sectors contribute the most savings in the early years, but by 2020 the commercial sector provides the most savings.

Table 5-3	Achievable Conservation Potential by Sector (Annual Use), WA and ID

|  | 2016 | 2017 | 2020 | 2025 | 2035 |
| --- | --- | --- | --- | --- | --- |
| Cumulative Savings (GWh) |  |  |  |  |  |
| Residential | 13 | 30 | 87 | 169 | 274 |
| Commercial | 13 | 28 | 105 | 304 | 617 |
| Industrial | 8 | 16 | 44 | 101 | 199 |
| Total | 34 | 74 | 236 | 574 | 1,090 |
| Cumulative Savings (aMW) |  |  |  |  |  |
| Residential | 1.5 | 3.4 | 9.9 | 19.3 | 31.3 |
| Commercial | 1.5 | 3.2 | 12.0 | 34.7 | 70.5 |
| Industrial | 0.9 | 1.8 | 5.1 | 11.6 | 22.7 |
| Total | 3.9 | 8.5 | 27.0 | 65.6 | 124.5 |

Figure 5-5	Achievable Conservation Potential by Sector (Annual Energy, GWh)

## Residential Conservation Potential

Table 5-4 (Total), Table 5-5 (WA) and Table 5-6 (ID) present estimates for measure-level conservation potential for the residential sector in terms of annual energy savings. Figure 5-6 (WA) and Figure 5-7 (ID) display the three levels of potential by year. For Washington, achievable potential in the first year, 2016 is 9 GWh, or 0.3% of the baseline projection. By 2035, cumulative achievable savings are 181 GWh, or 6.6% of the baseline projection. At this level, it represents over 80% of economic potential. For Idaho, first year achievable savings are 5 GWh or 0.4% of the baseline and by 2035 cumulative achievable savings reach 93 GWh, or 6.8% of the baseline.

Table 5-4	Residential Conservation Potential (Annual Energy), Washington and Idaho

|  | 2016 | 2017 | 2020 | 2025 | 2035 |
| --- | --- | --- | --- | --- | --- |
| Baseline projection (GWh) | 3,703 | 3,703 | 3,711 | 3,761 | 4,136 |
| Cumulative Net Savings (GWh) |  |  |  |  |  |
| Achievable Potential | 13 | 30 | 87 | 169 | 274 |
| Economic Potential | 29 | 60 | 137 | 219 | 334 |
| Technical Potential | 84 | 169 | 400 | 719 | 1,117 |
| Cumulative Net Savings (aMW) |  |  |  |  |  |
| Achievable Potential | 1.5 | 3.4 | 9.9 | 19.3 | 31.3 |
| Economic Potential | 3.3 | 6.9 | 15.6 | 25.0 | 38.1 |
| Technical Potential | 9.6 | 19.3 | 45.7 | 82.1 | 127.5 |
| Cumulative Net Savings as a % of Baseline |  |  |  |  |  |
| Achievable Potential | 0.4% | 0.8% | 2.3% | 4.5% | 6.6% |
| Economic Potential | 0.8% | 1.6% | 3.7% | 5.8% | 8.1% |
| Technical Potential | 2.3% | 4.6% | 10.8% | 19.1% | 27.0% |

Table 5-5	Residential Conservation Potential (Annual Energy), Washington

|  | 2016 | 2017 | 2020 | 2025 | 2035 |
| --- | --- | --- | --- | --- | --- |
| Baseline projection (GWh) | 2,503 | 2,500 | 2,498 | 2,523 | 2,761 |
| Cumulative Net Savings (GWh) |  |  |  |  |  |
| Achievable Potential | 9 | 19 | 56 | 111 | 181 |
| Economic Potential | 19 | 39 | 88 | 145 | 221 |
| Technical Potential | 55 | 110 | 261 | 469 | 721 |
| Cumulative Net Savings (aMW) |  |  |  |  |  |
| Achievable Potential | 1.0 | 2.2 | 6.4 | 12.6 | 20.7 |
| Economic Potential | 2.2 | 4.4 | 10.1 | 16.5 | 25.2 |
| Technical Potential | 6.3 | 12.6 | 29.8 | 53.6 | 82.3 |
| Cumulative Net Savings as a % of Baseline |  |  |  |  |  |
| Achievable Potential | 0.3% | 0.8% | 2.2% | 4.4% | 6.6% |
| Economic Potential | 0.8% | 1.5% | 3.5% | 5.7% | 8.0% |
| Technical Potential | 2.2% | 4.4% | 10.5% | 18.6% | 26.1% |

Table 5-6	Residential Conservation Potential (Annual Energy), Idaho

|  | 2016 | 2017 | 2020 | 2025 | 2035 |
| --- | --- | --- | --- | --- | --- |
| Baseline projection (GWh) | 1,199 | 1,203 | 1,213 | 1,238 | 1,375 |
| Cumulative Net Savings (GWh) |  |  |  |  |  |
| Achievable Potential | 5 | 11 | 31 | 58 | 93 |
| Economic Potential | 10 | 21 | 48 | 75 | 113 |
| Technical Potential | 29 | 59 | 139 | 250 | 395 |
| Cumulative Net Savings (aMW) |  |  |  |  |  |
| Achievable Potential | 0.5 | 1.2 | 3.5 | 6.6 | 10.6 |
| Economic Potential | 1.2 | 2.4 | 5.5 | 8.5 | 12.9 |
| Technical Potential | 3.3 | 6.7 | 15.9 | 28.5 | 45.1 |
| Cumulative Net Savings as a % of Baseline |  |  |  |  |  |
| Achievable Potential | 0.4% | 0.9% | 2.5% | 4.7% | 6.8% |
| Economic Potential | 0.9% | 1.8% | 4.0% | 6.0% | 8.2% |
| Technical Potential | 2.4% | 4.9% | 11.5% | 20.2% | 28.8% |

Figure 5-6	Residential Conservation Savings as a % of the Baseline Projection (Annual Energy), Washington

Figure 5-7	Residential Conservation Savings as a % of the Baseline Projection (Annual Energy), Idaho

Below, we present the top residential measures from the perspective of annual energy use. We first present information for both states, followed by Washington-only results and Idaho-only results.

Table 5-7 identifies the top 20 residential measures from the perspective of annual energy savings in 2017 for Washington and Idaho combined. The top three measures include interior and exterior lighting measures and repair and sealing of ducting. The lighting measures are a result of purchases of LED lamps which are cost effective throughout the forecast horizon.

Table 5-7	Residential Top Measures in 2017 (Annual Energy, MWh), Washington and Idaho

| Rank | Residential Measure | 2017 Cumulative Energy Savings (MWh) | % of Total |
| --- | --- | --- | --- |
| 1 | Interior Lighting - Screw-in/Hard-wire | 13,616 | 46% |
| 2 | Ducting - Repair and Sealing | 5,057 | 17% |
| 3 | Exterior Lighting - Screw-in/Hard-wire | 4,152 | 14% |
| 4 | Water Heater - Pipe Insulation | 2,264 | 8% |
| 5 | Water Heater - Faucet Aerators | 1,037 | 3% |
| 6 | Behavioral Programs | 688 | 2% |
| 7 | Thermostat - Clock/Programmable | 674 | 2% |
| 8 | Insulation - Ducting | 621 | 2% |
| 9 | Water Heater - Low-Flow Showerheads | 419 | 1% |
| 10 | Electronics - Personal Computers | 285 | 1% |
| 11 | Appliances - Freezer | 272 | 1% |
| 12 | Water Heater - Drainwater Heat Recovery | 241 | 1% |
| 13 | Miscellaneous - Pool Pump | 172 | 1% |
| 14 | Appliances - Second Refrigerator | 169 | 1% |
| 15 | Electronics - Laptops | 77 | 0% |
| 16 | Appliances - Refrigerator | 56 | 0% |
| 17 | Water Heating - Water Heater (55 to 75 Gal) | 36 | 0% |
| 18 | Water Heater - Desuperheater | 17 | 0% |
| 19 | Electronics - Monitor | 13 | 0% |
| 20 | Electronics - TVs | 7 | 0% |
| Total | Total | 29,875 | 100.0% |

Table 5-8 identifies the top 20 residential measures from the perspective of annual energy savings in 2017 for Washington. The top three measures include interior and exterior lighting measures and repair and sealing of ducting. The lighting measures are a result of purchases of LED lamps which are cost effective throughout the forecast horizon.

Table 5-8	Residential Top Measures in 2017 (Annual Energy, MWh), Washington

| Rank | Residential Measure | 2017 Cumulative Energy Savings (MWh) | % of Total |
| --- | --- | --- | --- |
| 1 | Interior Lighting - Screw-in/Hard-wire | 8,479 | 44.0% |
| 2 | Ducting - Repair and Sealing | 3,483 | 18.1% |
| 3 | Exterior Lighting - Screw-in/Hard-wire | 2,564 | 13.3% |
| 4 | Water Heater - Pipe Insulation | 1,535 | 8.0% |
| 5 | Water Heater - Faucet Aerators | 699 | 3.6% |
| 6 | Behavioral Programs | 464 | 2.4% |
| 7 | Thermostat - Clock/Programmable | 443 | 2.3% |
| 8 | Insulation - Ducting | 429 | 2.2% |
| 9 | Water Heater - Low-Flow Showerheads | 284 | 1.5% |
| 10 | Electronics - Personal Computers | 199 | 1.0% |
| 11 | Appliances - Freezer | 177 | 0.9% |
| 12 | Water Heater - Drainwater Heat Recovery | 157 | 0.8% |
| 13 | Miscellaneous - Pool Pump | 121 | 0.6% |
| 14 | Appliances - Second Refrigerator | 110 | 0.6% |
| 15 | Electronics - Laptops | 51 | 0.3% |
| 16 | Appliances - Refrigerator | 36 | 0.2% |
| 17 | Water Heating - Water Heater (55 to 75 Gal) | 24 | 0.1% |
| 18 | Water Heater - Desuperheater | 12 | 0.1% |
| 19 | Electronics - Monitor | 9 | 0.0% |
| 20 | Electronics - TVs | 5 | 0.0% |
| Total | Total | 19,280 | 100.0% |

Figure 5-8 presents forecasts of cumulative energy savings for Washington. Lighting savings account for a substantial portion of the savings throughout the forecast horizon. The same is true for exterior lighting. Savings from heating measures and appliances are steadily increasing throughout the forecast horizon.

Figure 5-8	Residential Achievable Savings Forecast (Cumulative GWh), Washington

Table 5-9 identifies the top 20 residential measures from the perspective of annual energy savings in 2017 for Idaho. The top three measures include interior and exterior lighting measures and repair and sealing of ducting. The lighting measures are a result of purchases of LED lamps which are cost effective throughout the forecast horizon.

Table 5-9	Residential Top Measures in 2017 (Annual Energy, MWh), Idaho

| Rank | Residential Measure | 2017 Cumulative Energy Savings (MWh) | % of Total |
| --- | --- | --- | --- |
| 1 | Interior Lighting - Screw-in/Hard-wire | 5,137 | 48.5% |
| 2 | Exterior Lighting - Screw-in/Hard-wire | 1,588 | 15.0% |
| 3 | Ducting - Repair and Sealing | 1,574 | 14.9% |
| 4 | Water Heater - Pipe Insulation | 729 | 6.9% |
| 5 | Water Heater - Faucet Aerators | 337 | 3.2% |
| 6 | Thermostat - Clock/Programmable | 231 | 2.2% |
| 7 | Behavioral Programs | 225 | 2.1% |
| 8 | Insulation - Ducting | 193 | 1.8% |
| 9 | Water Heater - Low-Flow Showerheads | 135 | 1.3% |
| 10 | Appliances - Freezer | 95 | 0.9% |
| 11 | Electronics - Personal Computers | 86 | 0.8% |
| 12 | Water Heater - Drainwater Heat Recovery | 85 | 0.8% |
| 13 | Appliances - Second Refrigerator | 59 | 0.6% |
| 14 | Miscellaneous - Pool Pump | 51 | 0.5% |
| 15 | Electronics - Laptops | 26 | 0.2% |
| 16 | Appliances - Refrigerator | 21 | 0.2% |
| 17 | Water Heating - Water Heater (55 to 75 Gal) | 12 | 0.1% |
| 18 | Water Heater - Desuperheater | 6 | 0.1% |
| 19 | Electronics - Monitor | 4 | 0.0% |
| 20 | Electronics - TVs | 2 | 0.0% |
| Total | Total | 10,595 | 100.0% |

Figure 5-9 presents forecasts of cumulative energy savings for Idaho. Results are similar to Washington.

Figure 5-9	Residential Achievable Savings Forecast (Cumulative GWh), Idaho

## Commercial Conservation Potential

Table 5-10 (Total), Table 5-11 (WA) and Table 5-12 (ID) present estimates for the three levels of conservation potential for the commercial sector from the perspective of annual energy savings. Figure 5-10 (WA) and Figure 5-11(ID) display the three levels of potential by year. For Washington, the first year of the projection, achievable potential is 9 GWh, or 0.4% of the baseline projection. By 2035, savings are 419 GWh, or 18.4% of the baseline projection. Throughout the forecast horizon, achievable potential represents about 85% of economic potential. . For Idaho, first year achievable savings are 4 GWh or 0.4% of the baseline and by 2035 cumulative achievable savings reach 198 GWh, or 18.7% of the baseline.

Table 5-10	Commercial Conservation Potential (Energy Savings), Washington and Idaho

|  | 2016 | 2017 | 2020 | 2025 | 2035 |
| --- | --- | --- | --- | --- | --- |
| Baseline projection (GWh) | 2,976 | 2,981 | 3,013 | 3,089 | 3,346 |
| Cumulative Net Savings (GWh) |  |  |  |  |  |
| Achievable Potential | 13 | 28 | 105 | 304 | 617 |
| Economic Potential | 29 | 60 | 171 | 395 | 728 |
| Technical Potential | 71 | 142 | 353 | 694 | 1,096 |
| Cumulative Net Savings (aMW) |  |  |  |  |  |
| Achievable Potential | 1.5 | 3.2 | 12.0 | 34.7 | 70.5 |
| Economic Potential | 3.3 | 6.8 | 19.5 | 45.1 | 83.1 |
| Technical Potential | 8.1 | 16.2 | 40.3 | 79.2 | 125.1 |
| Cumulative Net Savings as a % of Baseline |  |  |  |  |  |
| Achievable Potential | 0.4% | 1.0% | 3.5% | 9.9% | 18.4% |
| Economic Potential | 1.0% | 2.0% | 5.7% | 12.8% | 21.7% |
| Technical Potential | 2.4% | 4.8% | 11.7% | 22.5% | 32.8% |

Table 5-11	Commercial Conservation Potential (Energy Savings), Washington

|  | 2016 | 2017 | 2020 | 2025 | 2035 |
| --- | --- | --- | --- | --- | --- |
| Baseline projection (GWh) | 2,027 | 2,031 | 2,053 | 2,106 | 2,282 |
| Cumulative Net Savings (GWh) |  |  |  |  |  |
| Achievable Potential | 9 | 19 | 71 | 207 | 419 |
| Economic Potential | 20 | 41 | 116 | 268 | 494 |
| Technical Potential | 49 | 97 | 241 | 473 | 746 |
| Cumulative Net Savings (aMW) |  |  |  |  |  |
| Achievable Potential | 1.0 | 2.2 | 8.1 | 23.6 | 47.8 |
| Economic Potential | 2.3 | 4.6 | 13.3 | 30.6 | 56.4 |
| Technical Potential | 5.5 | 11.0 | 27.5 | 54.0 | 85.2 |
| Cumulative Net Savings as a % of Baseline |  |  |  |  |  |
| Achievable Potential | 0.4% | 1.0% | 3.5% | 9.8% | 18.4% |
| Economic Potential | 1.0% | 2.0% | 5.7% | 12.7% | 21.6% |
| Technical Potential | 2.4% | 4.8% | 11.7% | 22.5% | 32.7% |

Table 5-12	Commercial Conservation Potential (Energy Savings), Idaho

|  | 2016 | 2017 | 2020 | 2025 | 2035 |
| --- | --- | --- | --- | --- | --- |
| Baseline projection (GWh) | 949 | 950 | 960 | 983 | 1,063 |
| Cumulative Net Savings (GWh) |  |  |  |  |  |
| Achievable Potential | 4 | 9 | 33 | 98 | 198 |
| Economic Potential | 9 | 19 | 55 | 127 | 234 |
| Technical Potential | 23 | 45 | 112 | 221 | 349 |
| Cumulative Net Savings (aMW) |  |  |  |  |  |
| Achievable Potential | 0.5 | 1.0 | 3.8 | 11.2 | 22.6 |
| Economic Potential | 1.1 | 2.2 | 6.2 | 14.5 | 26.7 |
| Technical Potential | 2.6 | 5.2 | 12.8 | 25.3 | 39.9 |
| Cumulative Net Savings as a % of Baseline |  |  |  |  |  |
| Achievable Potential | 0.4% | 1.0% | 3.5% | 9.9% | 18.7% |
| Economic Potential | 1.0% | 2.0% | 5.7% | 12.9% | 22.0% |
| Technical Potential | 2.4% | 4.7% | 11.7% | 22.5% | 32.9% |

Figure 5-10	Commercial Conservation Savings (Energy), Washington

Figure 5-11	Commercial Conservation Savings (Energy), Idaho

Below, we present the top commercial measures from the perspective of annual energy use for Washington and Idaho combined, followed by each state on its own.

Table 5-13 identifies the top 20 commercial-sector measures from the perspective of annual energy savings in 2017 for Washington and Idaho combined. The top measure is interior LED replacements for linear-fluorescent style lighting applications. Lighting dominates the top 10 measures. Other measures among the top 10 include chilled water reset, duct repair and sealing, and night covers for open display cases in grocery stores.

Table 5-13	Commercial Top Measures in 2017 (Annual Energy, MWh), Washington and Idaho

| Rank | Commercial Measure | 2017 Cumulative Energy Savings (MWh) | % of Total |
| --- | --- | --- | --- |
| 1 | Interior Lighting - Linear LED | 6,604 | 23.3% |
| 2 | Interior Lighting - Screw-in/Hard-wire | 3,889 | 13.7% |
| 3 | Chiller - Chilled Water Reset | 1,362 | 4.8% |
| 4 | Exterior Lighting - Linear LED | 1,135 | 4.0% |
| 5 | Interior Lighting - High-Bay Fixtures | 1,130 | 4.0% |
| 6 | HVAC - Duct Repair and Sealing | 1,068 | 3.8% |
| 7 | Interior Lighting - Occupancy Sensors | 975 | 3.4% |
| 8 | Interior Lighting - Skylights | 831 | 2.9% |
| 9 | Exterior Lighting - Screw-in/Hard-wire | 702 | 2.5% |
| 10 | Exterior Lighting - HID | 671 | 2.4% |
| 11 | Grocery - Open Display Case - Night Covers | 661 | 2.3% |
| 12 | Insulation - Ducting | 599 | 2.1% |
| 13 | Refrigerator - High Efficiency Compressor | 575 | 2.0% |
| 14 | Cooling - Water-Cooled Chiller | 540 | 1.9% |
| 15 | HVAC - Economizer | 519 | 1.8% |
| 16 | Food Preparation - Dishwasher | 506 | 1.8% |
| 17 | Insulation - Ceiling | 475 | 1.7% |
| 18 | Space Heating - Heat Recovery Ventilator | 468 | 1.7% |
| 19 | Exterior Lighting - Bi-Level Fixture | 458 | 1.6% |
| 20 | Exterior Lighting - Photovoltaic Installation | 453 | 1.6% |
| Total | Total Top 20 | 23,620 | 83.0% |

Table 5-14 identifies the top 20 commercial-sector measures from the perspective of annual energy savings in 2017 in Washington and Table 5-15 shows the top measures for Idaho. For both states, the top measure is interior LED replacements for linear-fluorescent style lighting applications. Lighting dominates the top 10 measures. Other measures among the top 10 include chilled water reset, duct repair and sealing, and night covers for open display cases in grocery stores.

Figure 5-12 (WA) and Figure 5-13 (ID) present forecasts of cumulative energy savings by end use. Lighting savings from interior and exterior applications account for a substantial portion of the savings throughout the forecast horizon. Cooling savings are also substantial throughout the forecast.

Table 5-14	Commercial Top Measures in 2017 (Annual Energy, MWh), Washington

| Rank | Commercial Measure | 2017 Cumulative Energy Savings (MWh) | % of Total |
| --- | --- | --- | --- |
| 1 | Interior Lighting - Linear LED | 4,470 | 23.1% |
| 2 | Interior Lighting - Screw-in/Hard-wire | 2,652 | 13.7% |
| 3 | Chiller - Chilled Water Reset | 924 | 4.8% |
| 4 | HVAC - Duct Repair and Sealing | 793 | 4.1% |
| 5 | Interior Lighting - High-Bay Fixtures | 764 | 4.0% |
| 6 | Exterior Lighting - Linear LED | 688 | 3.6% |
| 7 | Interior Lighting - Occupancy Sensors | 678 | 3.5% |
| 8 | Interior Lighting - Skylights | 561 | 2.9% |
| 9 | Exterior Lighting - Screw-in/Hard-wire | 478 | 2.5% |
| 10 | Grocery - Open Display Case - Night Covers | 459 | 2.4% |
| 11 | Exterior Lighting - HID | 454 | 2.3% |
| 12 | Insulation - Ducting | 408 | 2.1% |
| 13 | Refrigerator - High Efficiency Compressor | 401 | 2.1% |
| 14 | Cooling - Water-Cooled Chiller | 391 | 2.0% |
| 15 | Food Preparation - Dishwasher | 347 | 1.8% |
| 16 | HVAC - Economizer | 345 | 1.8% |
| 17 | Insulation - Ceiling | 337 | 1.7% |
| 18 | Space Heating - Heat Recovery Ventilator | 315 | 1.6% |
| 19 | Exterior Lighting - Bi-Level Fixture | 299 | 1.5% |
| 20 | Exterior Lighting - Photovoltaic Installation | 289 | 1.5% |
| Total | Total Top 20 | 16,053 | 83.0% |

Figure 5-12	Commercial Achievable Savings Forecast (Cumulative GWh), Washington

Table 5-15	Commercial Top Measures in 2017 (Annual Energy, MWh), Idaho

| Rank | Commercial Measure | 2017 Cumulative Energy Savings (MWh) | % of Total |
| --- | --- | --- | --- |
| 1 | Interior Lighting - Linear LED | 2,134 | 23.6% |
| 2 | Interior Lighting - Screw-in/Hard-wire | 1,237 | 13.7% |
| 3 | Exterior Lighting - Linear LED | 448 | 5.0% |
| 4 | Chiller - Chilled Water Reset | 437 | 4.8% |
| 5 | Interior Lighting - High-Bay Fixtures | 366 | 4.1% |
| 6 | Interior Lighting - Occupancy Sensors | 297 | 3.3% |
| 7 | HVAC - Duct Repair and Sealing | 275 | 3.0% |
| 8 | Interior Lighting - Skylights | 270 | 3.0% |
| 9 | Exterior Lighting - Screw-in/Hard-wire | 224 | 2.5% |
| 10 | Exterior Lighting - HID | 217 | 2.4% |
| 11 | Grocery - Open Display Case - Night Covers | 202 | 2.2% |
| 12 | Insulation - Ducting | 191 | 2.1% |
| 13 | Refrigerator - High Efficiency Compressor | 174 | 1.9% |
| 14 | HVAC - Economizer | 174 | 1.9% |
| 15 | Exterior Lighting - Photovoltaic Installation | 164 | 1.8% |
| 16 | Food Preparation - Dishwasher | 159 | 1.8% |
| 17 | Exterior Lighting - Bi-Level Fixture | 158 | 1.8% |
| 18 | Space Heating - Heat Recovery Ventilator | 153 | 1.7% |
| 19 | Cooling - Water-Cooled Chiller | 149 | 1.6% |
| 20 | Refrigerator - Variable Speed Compressor | 140 | 1.6% |
| Total | Total Top 20 | 7,569 | 83.8% |

Figure 5-13	Commercial Achievable Savings Forecast (Cumulative GWh), Idaho

## Industrial Conservation Potential

Table 5-16 (Total), Table 5-17 (WA) and Table 5-18 (ID) present potential estimates at the measure level for the industrial sector, from the perspective of annual energy savings.

Figure 5-14 (WA) and Figure 5-15 (ID) display the three levels of potential by year.

For Washington, achievable savings in the first year, 2016, are 5 GWh, or 0.5% of the baseline projection. In 2035, savings reach 146 GWh, or 12.7% of the baseline projection. For Idaho, achievable savings in the first year, 2016, are 2 GWh, or 0.7% of the baseline projection. In 2035, savings reach 53 GWh, or 12.4% of the baseline projection.

Table 5-16	Industrial Conservation Potential (Annual Energy, GWh), Washington and Idaho

|  | 2016 | 2017 | 2020 | 2025 | 2035 |
| --- | --- | --- | --- | --- | --- |
| Baseline projection (GWh) | 1,356 | 1,370 | 1,404 | 1,458 | 1,575 |
| Cumulative Net Savings (GWh) |  |  |  |  |  |
| Achievable Potential | 8 | 16 | 44 | 101 | 199 |
| Economic Potential | 9 | 19 | 52 | 118 | 231 |
| Technical Potential | 17 | 34 | 84 | 168 | 293 |
| Cumulative Net Savings (aMW) |  |  |  |  |  |
| Achievable Potential | 0.9 | 1.8 | 5.1 | 11.6 | 22.7 |
| Economic Potential | 1.0 | 2.1 | 5.9 | 13.5 | 26.3 |
| Technical Potential | 1.9 | 3.9 | 9.6 | 19.2 | 33.5 |
| Cumulative Net Savings as a % of Baseline |  |  |  |  |  |
| Achievable Potential | 0.6% | 1.2% | 3.2% | 7.0% | 12.6% |
| Economic Potential | 0.7% | 1.4% | 3.7% | 8.1% | 14.7% |
| Technical Potential | 1.3% | 2.5% | 6.0% | 11.5% | 18.6% |

Table 5-17	Industrial Conservation Potential (Annual Energy, GWh), Washington

|  | 2016 | 2017 | 2020 | 2025 | 2035 |
| --- | --- | --- | --- | --- | --- |
| Baseline projection (GWh) | 989 | 999 | 1,024 | 1,064 | 1,149 |
| Cumulative Net Savings (GWh) |  |  |  |  |  |
| Achievable Potential | 5 | 11 | 31 | 73 | 146 |
| Economic Potential | 6 | 13 | 37 | 86 | 169 |
| Technical Potential | 12 | 25 | 61 | 123 | 214 |
| Cumulative Net Savings (aMW) |  |  |  |  |  |
| Achievable Potential | 0.6 | 1.3 | 3.6 | 8.4 | 16.7 |
| Economic Potential | 0.7 | 1.5 | 4.2 | 9.8 | 19.3 |
| Technical Potential | 1.4 | 2.8 | 7.0 | 14.0 | 24.4 |
| Cumulative Net Savings as a % of Baseline |  |  |  |  |  |
| Achievable Potential | 0.5% | 1.1% | 3.1% | 6.9% | 12.7% |
| Economic Potential | 0.6% | 1.3% | 3.6% | 8.0% | 14.7% |
| Technical Potential | 1.3% | 2.5% | 6.0% | 11.5% | 18.6% |

Table 5-18	Industrial Conservation Potential (Annual Energy, GWh), Idaho

|  | 2016 | 2017 | 2020 | 2025 | 2035 |
| --- | --- | --- | --- | --- | --- |
| Baseline projection (GWh) | 367 | 371 | 380 | 395 | 426 |
| Cumulative Net Savings (GWh) |  |  |  |  |  |
| Achievable Potential | 2 | 5 | 13 | 28 | 53 |
| Economic Potential | 3 | 6 | 15 | 33 | 61 |
| Technical Potential | 5 | 9 | 23 | 46 | 79 |
| Cumulative Net Savings (aMW) |  |  |  |  |  |
| Achievable Potential | 0.3 | 0.6 | 1.5 | 3.2 | 6.0 |
| Economic Potential | 0.3 | 0.6 | 1.7 | 3.8 | 7.0 |
| Technical Potential | 0.5 | 1.0 | 2.6 | 5.2 | 9.1 |
| Cumulative Net Savings as a % of Baseline |  |  |  |  |  |
| Achievable Potential | 0.7% | 1.3% | 3.4% | 7.1% | 12.4% |
| Economic Potential | 0.8% | 1.5% | 4.0% | 8.3% | 14.4% |
| Technical Potential | 1.3% | 2.5% | 6.0% | 11.5% | 18.6% |

Figure 5-14	Industrial Conservation Potential as a % of the Baseline Projection (Annual Energy), Washington

Figure 5-15	Industrial Conservation Potential as a % of the Baseline Projection (Annual Energy), Idaho

Below, we present the top industrial measures from the perspective of annual energy use for Washington and Idaho combined, followed by each state.

Table 5-19 identifies the top 20 industrial measures from the perspective of annual energy savings in 2017 for Washington and Idaho. Table 5-20 and Table 5-21 show the top measures for each state individually. For both states, the top measure is optimization and improvements on fan systems. The measure with the second highest savings is variable frequency drive for pumps.

Figure 5-16 (WA) and Figure 5-17 (ID) present forecasts of energy savings by end use as a percent of total annual savings and cumulative savings. Motor-related measures account for a substantial portion of the savings throughout the forecast horizon. The share of savings by end use remains fairly similar throughout the forecast period.

Table 5-19	Industrial Top Measures in 2017 (Annual Energy, GWh), Washington and Idaho

| Rank | Industrial Measure | 2017 Cumulative Energy Savings (MWh) | % of Total |
| --- | --- | --- | --- |
| 1 | Fan System - Optimization and Improvements | 4,524 | 28.3% |
| 2 | Motors - Variable Frequency Drive (Pumps) | 3,020 | 18.9% |
| 3 | Motors - Variable Frequency Drive (Fans & Blowers) | 1,505 | 9.4% |
| 4 | Compressed Air - Air Usage Reduction | 1,247 | 7.8% |
| 5 | Pumping System - Optimization and Improvements | 893 | 5.6% |
| 6 | Interior Lighting - Occupancy Sensors | 703 | 4.4% |
| 7 | Interior Lighting - High-Bay Fixtures | 420 | 2.6% |
| 8 | Fan System - Maintenance | 414 | 2.6% |
| 9 | Interior Lighting - Screw-in/Hard-wire | 403 | 2.5% |
| 10 | Motors - Variable Frequency Drive (Compressed Air) | 399 | 2.5% |
| 11 | HVAC - Duct Repair and Sealing | 362 | 2.3% |
| 12 | Transformer - High Efficiency | 298 | 1.9% |
| 13 | Motors - Variable Frequency Drive (Other) | 272 | 1.7% |
| 14 | Compressed Air - System Optimization and Improvements | 271 | 1.7% |
| 15 | Exterior Lighting - Screw-in/Hard-wire | 240 | 1.5% |
| 16 | Chiller - Chilled Water Reset | 216 | 1.3% |
| 17 | Insulation - Wall Cavity | 143 | 0.9% |
| 18 | Compressed Air - Compressor Replacement | 142 | 0.9% |
| 19 | Interior Lighting - Skylights | 118 | 0.7% |
| 20 | Destratification Fans (HVLS) | 101 | 0.6% |
| Total | Total | 15,692 | 98.1% |

Table 5-20	Industrial Top Measures in 2017 (Annual Energy, GWh), Washington

| Rank | Industrial Measure | 2017 Cumulative Energy Savings (MWh) | % of Total |
| --- | --- | --- | --- |
| 1 | Fan System - Optimization and Improvements | 3,298 | 29.5% |
| 2 | Motors - Variable Frequency Drive (Pumps) | 2,206 | 19.8% |
| 3 | Motors - Variable Frequency Drive (Fans & Blowers) | 1,098 | 9.8% |
| 4 | Compressed Air - Air Usage Reduction | 911 | 8.2% |
| 5 | Pumping System - Optimization and Improvements | 663 | 5.9% |
| 6 | Interior Lighting - Occupancy Sensors | 520 | 4.7% |
| 7 | Motors - Variable Frequency Drive (Compressed Air) | 377 | 3.4% |
| 8 | Interior Lighting - High-Bay Fixtures | 306 | 2.7% |
| 9 | Interior Lighting - Screw-in/Hard-wire | 294 | 2.6% |
| 10 | HVAC - Duct Repair and Sealing | 264 | 2.4% |
| 11 | Transformer - High Efficiency | 217 | 1.9% |
| 12 | Exterior Lighting - Screw-in/Hard-wire | 175 | 1.6% |
| 13 | Motors - Variable Frequency Drive (Other) | 162 | 1.4% |
| 14 | Chiller - Chilled Water Reset | 157 | 1.4% |
| 15 | Insulation - Wall Cavity | 106 | 1.0% |
| 16 | Compressed Air - Compressor Replacement | 104 | 0.9% |
| 17 | Interior Lighting - Skylights | 86 | 0.8% |
| 18 | Chiller - Chilled Water Variable-Flow System | 47 | 0.4% |
| 19 | Exterior Lighting - HID | 44 | 0.4% |
| 20 | Chiller - VSD on Fans | 43 | 0.4% |
| Total | Total | 11,080 | 99.2% |

Figure 5-16	Industrial Achievable Savings Forecast (Cumulative GWh), Washington

Table 5-21	Industrial Top Measures in 2017 (Annual Energy, GWh), Idaho

| Rank | Industrial Measure | 2017 Cumulative Energy Savings (MWh) | % of Total |
| --- | --- | --- | --- |
| 1 | Fan System - Optimization and Improvements | 1,226 | 25.4% |
| 2 | Motors - Variable Frequency Drive (Pumps) | 814 | 16.8% |
| 3 | Fan System - Maintenance | 414 | 8.6% |
| 4 | Motors - Variable Frequency Drive (Fans & Blowers) | 407 | 8.4% |
| 5 | Compressed Air - Air Usage Reduction | 336 | 7.0% |
| 6 | Compressed Air - System Optimization and Improvements | 271 | 5.6% |
| 7 | Pumping System - Optimization and Improvements | 230 | 4.8% |
| 8 | Interior Lighting - Occupancy Sensors | 183 | 3.8% |
| 9 | Interior Lighting - High-Bay Fixtures | 114 | 2.4% |
| 10 | Motors - Variable Frequency Drive (Other) | 110 | 2.3% |
| 11 | Interior Lighting - Screw-in/Hard-wire | 109 | 2.3% |
| 12 | Destratification Fans (HVLS) | 101 | 2.1% |
| 13 | HVAC - Duct Repair and Sealing | 98 | 2.0% |
| 14 | Transformer - High Efficiency | 81 | 1.7% |
| 15 | Exterior Lighting - Screw-in/Hard-wire | 65 | 1.3% |
| 16 | Chiller - Chilled Water Reset | 59 | 1.2% |
| 17 | Compressed Air - Compressor Replacement | 39 | 0.8% |
| 18 | Insulation - Wall Cavity | 37 | 0.8% |
| 19 | Interior Lighting - Skylights | 32 | 0.7% |
| 20 | Motors - Variable Frequency Drive (Compressed Air) | 22 | 0.5% |
| Total | Total | 4,747 | 98.2% |

Figure 5-17	Industrial Achievable Savings Forecast (Annual Energy, GWh), Idaho

| aPPENDIX |  |
| --- | --- |

Market Profiles

This appendix presents the market profiles for each sector and segment for Washington, followed by Idaho.

Table A-1	Residential Single Family Electric Market Profile, Washington

Table A-2	Residential Multifamily Electric Market Profile, Washington

Table A-3	Residential Manufactured Home Electric Market Profile, Washington

Table A-4	Residential Low Income Electric Market Profile, Washington

Table A-5	Small Office Electric Market Profile, Washington

Table A-6	Large Office Electric Market Profile, Washington

Table A-7	Restaurant Electric Market Profile, Washington

Table A-8	Retail Electric Market Profile, Washington

Table A-9	Grocery Electric Market Profile, Washington

Table A-10	College Electric Market Profile, Washington

Table A-11	School Electric Market Profile, Washington

Table A-12	Health Electric Market Profile, Washington

Table A-13	Lodging Electric Market Profile, Washington

Table A-14	Warehouse Electric Market Profile, Washington

Table A-15	Miscellaneous Electric Market Profile, Washington

Table A-16	Industrial Electric Market Profile, Washington

Table A-17	Residential Single Family Electric Market Profile, Idaho

Table A-18	Residential Multifamily Electric Market Profile, Idaho

Table A-19	Residential Manufactured Home Electric Market Profile, Idaho

Table A-20	Residential Low Income Electric Market Profile, Idaho

Table A-21	Small Office Electric Market Profile, Idaho

Table A-22	Large Office Electric Market Profile, Idaho

Table A-23	Restaurant Electric Market Profile, Idaho

Table A-24	Retail Electric Market Profile, Idaho

Table A-25	Grocery Electric Market Profile, Idaho

Table A-26	College Electric Market Profile, Idaho

Table A-27	School Electric Market Profile, Idaho

Table A-28	Health Electric Market Profile, Idaho

Table A-29	Lodging Electric Market Profile, Idaho

Table A-30	Warehouse Electric Market Profile, Idaho

Table A-31	Miscellaneous Electric Market Profile, Idaho

Table A-32	Industrial Electric Market Profile, Idaho

| aPPENDIX |  |
| --- | --- |

Market Adoption (Ramp) Rates

This appendix presents the market adoption rates we applied to economic potential to estimate achievable potential.

| aPPENDIX |  |
| --- | --- |

Equipment Measure Data

Please see measure-level assumptions and details in the file “Avista Appendix- Equipment Measure Data.xlsx”

| aPPENDIX |  |
| --- | --- |

Non-Equipment Measure Data

Please see measure-level assumptions and details in the file “Avista Appendix- Non-Equipment Measure Data.xlsx”

| Applied Energy Group, Inc. 500 Ygnacio Valley Road, Suite 250 Walnut Creek, CA 94596 | P: 510.982.3525 F: 925.284.3147 |
| --- | --- |

The model computes energy and peak-demand forecasts for each type of potential for each end use as an intermediate calculation. Annual-energy and peak-demand savings are calculated as the difference between the value in the baseline projection and the value in the potential forecast (e.g., the technical potential forecast).

The applicability factors take into account whether the measure is applicable to a particular building type and whether it is feasible to install the measure. For instance, attic fans are not applicable to homes where there is insufficient space in the attic or there is no attic at all.

Note that saturation levels reflected for the base year change over time as more measures are adopted.

National Action Plan for Energy Efficiency (2007). National Action Plan for Energy Efficiency Vision for 2025: Developing a Framework for Change. www.epa.gov/eeactionplan.

- AEG staff has prepared three white papers on the topic of factors that affect U.S. electricity consumption, including appliance standards and building codes. Links to all three white papers are provided: http://www.edisonfoundation.net/IEE/Documents/IEE_RohmundApplianceStandardsEfficiencyCodes1209.pdf

- http://www.edisonfoundation.net/iee/Documents/IEE_CodesandStandardsAssessment_2010-2025_UPDATE.pdf.

- http://www.edisonfoundation.net/iee/Documents/IEE_FactorsAffectingUSElecConsumption_Final.pdf

We developed baseline purchase decisions using the Energy Information Agency’s Annual Energy Outlook report (2013), which utilizes the National Energy Modeling System (NEMS) to produce a self-consistent supply and demand economic model. We calibrated equipment purchase options to match manufacturer shipment data for recent years and then held values constant for the study period. This removes any effects of naturally occurring conservation or effects of future EE programs that may be embedded in the AEO forecasts.

The assumptions tables here extend through 2025, after which all standards are assumed to hold steady.

The assumptions tables here extend through 2025, after which all standards are assumed to hold steady.

The assumptions tables here extend through 2025, after which all standards are assumed to hold steady.