## 2022 Savings
*Data taken from 2022 Annual Conversation Report
kWh Savings | MWH Savings | MW Savings
23020657 | 23020.657 | 2.6279

## First Year and Lifetime Savings
*Data taken from third-party contracted ADM (company hired to perfom validation and measurement) workbook, which references Avista's Technical Reference Manual | [5 empty] | Lifespan
Measure | First Tier Annual kWh Savings (per unit) | First Tier Measure Life | Number of units | First Year kWh * Units | Lifetime kWh Savings * Units | Total kWh | Total MWH | Total MW
E Heat Pump Water Heater | 1295.7857 | 13 | 105 | 136057.5 | 1768747.5 | 315761353.5578 | 315761.3536 | 36.0458
E Electric To Air Source Heat Pump | 2306.4026 | 18 | 77 | 177593 | 3196674
E Electric to Ductless Heat Pump | 1027.875 | 15 | 50 | 51393.75 | 770906.25
E Smart Thermostat DIY with Electric Heat | 621.5094 | 15 | 106 | 65880 | 988200 | First Year
E Smart Thermostat Paid Install with Electric Heat | 579.8372 | 15 | 112 | 64941.7647 | 974126.4706 | Total kWh | Total MWH | Total MW
E Ductless Heat Pump with Existing Forced Air Furnace | 2546.5781 | 15 | 64 | 162981 | 2444715 | 23020656.8925 | 23020.6569 | 2.6279
E Attic Insulation With Electric Heat | 2.4247 | 45 | 32250 | 78195.9497 | 3518817.7362
E Energy Star Certified Insulated Door | 617.1917 | 40 | 27 | 16664.175 | 666567
E Floor Insulation With Electric Heat | 1 | 45 | 9197 | 9197 | 413865
E Storm Window with Electric Heat | 1308 | 20 | 1 | 1308 | 26160
E Wall Insulation With Electric Heat | 1.5656 | 45 | 19276 | 30179 | 1358055
E Window Replc from Double Pane W Electric Heat | 4 | 45 | 40 | 160 | 7200
E Window Replc from Single Pane W Electric Heat | 6.6574 | 45 | 19361.5608 | 128898.1845 | 5800418.3014
E Energy Star Home - Manufactured, Furnace | 2894.3457 | 25 | 21 | 60781.2587 | 1519531.4687
E Energy Star Home - Manufactured, Gas & Electric | 24.3333 | 25 | 9 | 219 | 5475
E Energy Star Home - Manufactured, Heat Pump | 1388.6461 | 25 | 4 | 5554.5844 | 138864.6092
E Multifamily Attic Insulation With Electric Heat | 1199.5899 | 45 | 7 | 8397.1292 | 377870.8147
E Multifamily Energy Star Rated Insulated Door With El Heat | 0.91574 | 40 | 61 | 55.86 | 2234.4
E Multifamily Window Replc With Electric Heat | 18.2349 | 45 | 2525.81 | 46057.9517 | 2072607.8262
E Multifamily Wall Insulation With Electric Heat | 8.6024 | 45 | 980 | 8430.3348 | 379365.0678
E Multifamily WIFI Thermostat with Baseboard Electric Heat | 48 | 15 | 5 | 240 | 3600
E Multifamily Ductless Heat Pump Replac Existing Baseboard | 1128.2857 | 15 | 17 | 19180.8571 | 287712.8571
E Multifamily Heat Pump Water Heater | 1314 | 13 | 30 | 39420 | 512460
E Multifamily Smart Thermostat DIY | 486.112 | 15 | 4 | 1944.4482 | 29166.7227
E Multifamily Smart Thermostat Paid install | 939 | 15 | 1 | 939 | 14085
E Multifamily Air Source Heat Pump replac existing baseboard | 4566 | 18 | 1 | 4566 | 82188
E Energy Star Certified Refrigerator and Refrigerator-Freeze | 12.8864 | 15 | 242 | 3118.5 | 46777.5
E Energy Star Certified Upright Freezer | 24.4 | 22 | 46 | 1122.4 | 24692.8
E Energy Star Rated Clothes Dryer | 299.7499 | 12 | 189 | 56652.7222 | 679832.6667
E Energy Star Rated Top Load Washer | 0 | 14 | 17 | 0 | 0
E Energy Star Rated Front Load Washer | 157.5974 | 14 | 136 | 21433.2433 | 300065.4067
E Aerobarrier Rebate | 0.055172 | 15 | 19520 | 1076.9591 | 16154.386
E Air Infiltration | 0.42961 | 15 | 39538 | 16985.86 | 254787.9
E Duct Sealing | 1.4472 | 20 | 750 | 1085.37 | 21707.4
E Ductless Heat Pump | 2396.7129 | 15 | 17 | 40744.12 | 611161.8
E Electric To Air Source Heat Pump | 785.615 | 15 | 2 | 1571.23 | 23568.45
E ENERGY STAR® Doors | 123.4603 | 40 | 79 | 9753.36 | 390134.4
E ENERGY STAR® Refrigerator | 39 | 20 | 1 | 39 | 780
E ENERGY STAR® Windows | 4.061 | 45 | 3907 | 15866.42 | 713988.9
E INS - Attic | 0.45711 | 45 | 15389 | 7034.51 | 316552.95
E INS - Duct | 1.4688 | 45 | 779 | 1144.23 | 51490.35
E INS - Floor | 0.74812 | 45 | 39920 | 29865.07 | 1343928.15
E INS - Wall | 2.3069 | 45 | 1489 | 3434.94 | 154572.3
E To Heat Pump Conversion | 3399.441 | 15 | 40 | 135977.64 | 2039664.6
Health And Safety | 0 | 1 | 47 | 0 | 0
LED Bulbs | 1 | 13 | 116 | 116 | 1508
CEEP Single Family - E Alternative Heat Conversion | 8549.6249 | 15 | 11 | 94045.8743 | 1410688.1143
CEEP Multi Family - E Health & Safety | 0 | 1 | 1 | 0 | 0
CEEP Single Family - E Lighting | 12 | 13 | 2 | 24 | 312
CEEP Single Family - E Windows | 374.48 | 45 | 2 | 748.96 | 33703.2
Screw-in LED lamp (A-line 60W) | 22.4815 | 12 | 13912 | 312762.8133 | 3753153.7596
Screw-in LED lamp (A-line 40W) | 57.4272 | 12 | 18 | 1033.69 | 12404.2805
Screw-in LED lamp (BR30) | 52.4544 | 12 | 401 | 21034.2026 | 252410.4306
Screw-in LED lamp (3.8) | 47.9119 | 12 | 239 | 11450.9485 | 137411.3822
Screw-in LED lamp (G25) | 24.8789 | 12 | 2229 | 55454.9896 | 665459.875
Screw-in LED lamp (PAR30) | 174.0397 | 12 | 5 | 870.1983 | 10442.379
Screw-in LED lamp (PAR38) | 39.832 | 12 | 10 | 398.3204 | 4779.8449
Screw-in LED lamp (4.8) | 63.8066 | 12 | 270 | 17227.7841 | 206733.4091
Faucet aerator (1 GPM) | 42 | 15 | 2674 | 112308 | 1684620
Kitchen Aerator | 39 | 15 | 660 | 25740 | 386100
VendingMiser | 614 | 5 | 1 | 614 | 3070
1000 watt HID Fixture to 400 watt or less LED Fixture | 3207.2905 | 12 | 28 | 89804.1352 | 1077649.6224
1000 watt HID Fixture to 400 watt or less LED Fixture or Retrofit (Ext) | 3434.731 | 12 | 119 | 408732.9847 | 4904795.8159
150 watt HID Fixture to 50 watt or less LED Fixture or Retrofit (Ext) | 691.7428 | 12 | 173 | 119671.4984 | 1436057.9813
175 watt HID Fixture to 100 watt or less LED Fixture (Ext, NC) | 708.42 | 12 | 91 | 64466.2169 | 773594.6026
175 watt HID Fixture to 100 watt or less LED Fixture or Retrofit (Ext) | 679.5093 | 12 | 351 | 238507.7469 | 2862092.9626
2, 3, 4-Lamp T12/T8 Fixture to LED Qualified 2x4 Fixture | 293.8506 | 12 | 2842 | 835123.4471 | 10021481.365
20-50 watt MR16 to MR16 LED 2-9 watt | 76.2882 | 12 | 98 | 7476.248 | 89714.976
250 watt HID Fixture to 140 watt or less LED Fixture (Ext, NC) | 807.1904 | 12 | 13 | 10493.4757 | 125921.7086
250 watt HID Fixture to 140 watt or less LED Fixture or Retrofit (Ext) | 811.8751 | 12 | 431 | 349918.1847 | 4199018.2166
250-watt HID Fixture to 140-watt or less LED Fixture | 661.877 | 12 | 391 | 258793.9016 | 3105526.8192
2-Lamp T12/T8 Fixture to LED Qualified 1x4 Fixture | 127.2449 | 12 | 867 | 110321.3244 | 1323855.8923
2-Lamp T12/T8 Fixture to LED Qualified 2x2 Fixture | 172.2561 | 12 | 1164 | 200506.1167 | 2406073.4006
320 and 400 watt HID Fixture to 160 or less watt LED Fixture (Ext, NC) | 944.3593 | 12 | 120 | 113323.1177 | 1359877.4124
320 watt HID Fixture to 160 watt or less LED Fixture or Retrofit (Ext) | 1086.6223 | 12 | 191 | 207544.8578 | 2490538.2934
400 watt HID Fixture to 175 watt or less LED Fixture | 916.1911 | 12 | 773 | 708215.6936 | 8498588.3237
400 watt HID Fixture to 175 watt or less LED Fixture or Retrofit (Ext) | 1412.826 | 12 | 1082 | 1528677.7831 | 18344133.3972
575 watt HID Fixture to 300 watt or less LED Fixture or Retrofit (Ext) | 1722.084 | 12 | 5 | 8610.42 | 103325.04
70-89 watt HID Fixture to 25 watt or less LED Fixture or Retrofit (Ext) | 338.1244 | 12 | 134 | 45308.6704 | 543704.045
750 watt HID Fixture to 300 watt or less LED Fixture or Retrofit (Ext) | 2959.2363 | 12 | 12 | 35510.8354 | 426130.0243
75-100 watt Incandescent Can to less than 20 watt LED Fixture Retrofit | 178.7952 | 12 | 741 | 132487.2328 | 1589846.7936
90-100 watt HID Fixture to 30 watt or less LED Fixture or Retrofit (Ext) | 458.9485 | 12 | 503 | 230851.0878 | 2770213.0531
DLC Qualified LLLC Fixture | 107.358 | 20 | 1560 | 167478.4925 | 3349569.8496
Four Pin Base CFL to 17 watt or less Plug in LED | 84.3655 | 12 | 1985 | 167465.5736 | 2009586.8832
Occupancy sensors built-in relays | 143.1862 | 20 | 724 | 103666.7752 | 2073335.5042
Sign Lighting | 45.6797 | 10 | 4862.35 | 222110.6042 | 2221106.0425
T12/T8 (2') Lamp to 1-Lamp less than 13 watt T8 TLED | 46.9041 | 12 | 1551 | 72748.312 | 872979.744
T12/T8 (3') Lamp to 1-Lamp less than 17 watt T8 TLED | 76.9083 | 12 | 161 | 12382.24 | 148586.88
T12/T8 (4') Lamp to 1-Lamp less than 23 watt T8 TLED | 58.4717 | 12 | 82850 | 4844381.1094 | 58132573.3123
T12/T8 8' Fixture to 90 watt or less 8' LED fixture | 435.5902 | 12 | 866 | 377221.1451 | 4526653.741
T12/T8 Eight-Foot to LED | 95.5419 | 12 | 2116 | 202166.7232 | 2426000.6784
T12/T8 U-Bend to less than 23 watt T8 LED | 59.4421 | 12 | 1078 | 64078.56 | 768942.72
T5 Lamp to 1-Lamp less than 18 watt T5 TLED | 60.3788 | 12 | 1587 | 95821.232 | 1149854.784
T5HO (4') 4-Lamp to 135 watt of less LED Fixture | 561.7074 | 12 | 408 | 229176.636 | 2750119.632
T5HO (4') 6-Lamp to 160 watt of less LED Fixture | 776.5191 | 12 | 663 | 514832.1568 | 6177985.8816
T5HO Lamp to 1-Lamp less than 29 watt T5HO TLED | 115.5057 | 12 | 12365 | 1428228.1 | 17138737.2
TLED (4') Lamp to TLED (4') Lamp with 5 watt or more reduction | 23.1832 | 12 | 319 | 7395.44 | 88745.28
VFD on Supply Fan or Supply Air Handler | 1022 | 16 | 5.8 | 5927.6 | 94841.6
VFD on VAV Packaged or Rooftop HVAC Unit | 1022 | 17 | 9.5 | 9709 | 165053
Commercial Combination Oven Electric (5-14 pans) | 6427 | 10 | 3 | 19281 | 192810
Commercial Dishwasher High Temp Electric Hot Water | 4110 | 12 | 3 | 12330 | 147960
Low Temp ECM | 764 | 15 | 53 | 40492 | 607380
Med Temp ECM | 551 | 15 | 155 | 85405 | 1281075
Case Light | 52 | 7 | 303 | 15756 | 110292
Attic =< R11 to R30-R44 | 1.02 | 22 | 41450 | 42279 | 930138
Attic =< R11 to R45+ | 1.39 | 22 | 1165 | 1619.35 | 35625.7
Wall =< R4 to 19+ | 4.11 | 22 | 10616 | 43631.76 | 959898.72
50 HP Ind | 2412 | 8 | 1 | 2412 | 19296
75 HP Ind | 1305 | 8 | 1 | 1305 | 10440
150 HP Ind | 7098 | 8 | 1 | 7098 | 56784
200 HP Ind | 3138 | 8 | 1 | 3138 | 25104
250 HP Ind | 3799 | 8 | 1 | 3799 | 30392
Site Specific Program | 6393005 | 15 | 1 | 6393005 | 95895075
Grand Total | 6490791.3921 | 2052 | 403985.0208 | 23020656.8925 | 315761353.5578