STATE OF WASHINGTON

UTILITIES AND TRANSPORTATION COMMISSION

1300 S. Evergreen Park Dr. S.W., P.O. Box 47250 ● Olympia, Washington 98504-7250

(360) 664-1160 ● www.utc.wa.gov

March 14, 2016

Scott L. Morris

Chairman of the Board, President, and Chief Executive Officer

Avista Utilities

1411 East Mission

Post Office Box 3727

Spokane, Washington 99220

Re:	Avista Corporation d/b/a Avista Utilities  
2015 Electric Integrated Resource Plan

Docket UE-143214

Dear Mr. Morris:

The Washington Utilities and Transportation Commission (Commission) has reviewed the 2015 Electric Integrated Resource Plan (IRP) filed by Avista Corporation d/b/a Avista Utilities (Avista) on August 31, 2015, and finds that it meets the requirements of Revised Code of Washington 19.280.030 and Washington Administrative Code 480-100-238.

This acknowledgment does not signal pre-approval for ratemaking purposes of any course of action identified in the IRP. The Commission will review the prudence of the company’s actions at the time of any future request to recover costs of resources in customer rates. The Commission will reach a prudence determination after giving due weight to the information, analyses, and strategies contained in the company’s most recent IRP along with other relevant evidence.

Because an IRP cannot pinpoint precisely the future actions that will minimize a utility’s cost and risks, we expect that the company will update regularly the assumptions that underlie the IRP and adjust its resource acquisition strategies accordingly.

While specific comments regarding its filed IRP are attached, the Commission provides Avista with the following guidance for its next IRP filing:

- Demand-Side Resource Potential – For the 2017 IRP, the Commission expects Avista to work toward reconciling its own demand-side resource potential (including both energy efficiency potential and demand response potential) with that of the region as calculated by the Council.

- Conservation Potential Assessment – The Commission requests that the economic and achievable potentials be calculated within the IRP model itself, rather than within a third-party model.

- Colstrip Units 3 and 4 – For the 2017 IRP, the Commission requests that Avista:

- Incorporate new prospective carbon pricing policies into the expected case stochastic modeling. Avista may consult with its Advisory Group regarding assigning probabilities to these policies; and

- Work toward developing a more complete suite of potential costs to include in a revised, “high-cost” scenario.

- Storage Resources – For the 2017 IRP, the Commission requests that Avista continue to develop the modeling capability for storage by:

- Continuing to acquire the most up to date data related to the operational characteristics of specific storage technologies as well as the costs of purchasing and operating those technologies; and

- Exploring the potential for incorporating the costs and benefits of storage resources to Avista’s distribution system.

- Planning Reserve - For the 2017 IRP, the Commission requests that Avista

- Address the potential over-reliance on the regional capacity surplus for peak planning; and

- Work with regional stakeholders, including the Northwest Power and Conservation Council Staff, to publish information about Avista’s reserve requirements needs.

Consistent with the 2015 IRP and previous IRPs, the Commission expects that any regulatory deliberations or decisions on the economic viability of any specific course of action described within Avista’s next IRP will not be made within the context of the IRP.

Commission Staff will continue to provide additional input as Avista develops its next IRP.  Avista should file its next electric IRP work plan on or before August 31, 2016, and its electric IRP on or before August 31, 2017.

Sincerely,

STEVEN V. KING

Executive Director and Secretary

Attachment