## Exh BGM-6
|  |  | Work Order |  | AWEC-63 Response | AWEC-63 Response | AWEC-65 Response
Note: | Funding Project # | Brief Summary |  | Is project in service? AWEC-62 Response | Removal Cost Estimate (Approved Budget) | Removal Cost Estimate (Working Version) | Amount/Cost of Assets Retired | Cascade Prop. In Service (2020 GRC) | 2020 GRC Cost | Cascade Prop. In Service (2020 GRC) | 2019 GRC Cost | Major Addition? | AWEC Proposed Pro Forma | FERC Account | Depr. Rate | Depr.
Wallula Gate
2 | 302596 | The Wallula Gate Project includes installing a new gate station at the southernmost point of the Company’s Attalia pipeline. The current feed to the Attalia line is to the far north and is undersized to handle the largest load on the line at the southern end. This new gate station and HP pipeline will bring a new feed and HP pipe closer to the large loads in the southern system. | 258025 | No | N/A | N/A | N/A | 2020-08-31 | 5648475 | 2019-12-31 | 4088411.51 |  | 0 | 303 | 12.81% | 723569.6475
7 | 316587 | See FP-302596. | 267792 | No | N/A | N/A | N/A | 2020-08-31 | 1308260.44 | 2019-12-31 | 0 |  | 0 | 378 | 1.97% | 25772.7307
9 | 316670 | See FP-302596. | 265760 | No | 28762.71 | 33626 | Book cost to be retired not calculated yet. | 2020-08-31 | 9795152 | 2019-12-31 | 7244612.32 |  | 0 | 376.2 | 1.52% | 148886.3104
12 | 317535 | See FP-302596. | 266183 | No | N/A | N/A | N/A | 2020-08-31 | 136928 | 2019-12-31 | 0 |  | 0 | 378 | 1.97% | 2697.4816
Walla Walla Gate
4 | 306998 | The Walla Walla Gate Station Project is a reinforcement project designed to eliminate the need for the district to bypass during cold weather events and to address the supply issues presented by the ongoing growth in the southern area of Walla Walla. events. This area is the outer edge of the Walla Walla distribution system, farthest from existing high-pressure pipelines and regulation. | 271257 | No | N/A | N/A | N/A | 2020-11-20 | 746233 |  |  |  | 0 | 303 | 12.81% | 95592.4473
3 | 306988 | See FP-306998. | 260878 | No | N/A | N/A | N/A | 2020-11-30 | 3360413 |  |  |  | 0 | 376.2 | 1.52% | 51078.2776
8 | 316589 | See FP-306998. | 275086 | No | N/A | N/A | N/A | 2020-11-30 | 1160244.89 |  |  |  | 0 | 378 | 1.97% | 22856.8243
19 | 318746 | See FP-306998. | 277843 | No | N/A | N/A | N/A | 2020-11-20 | 124719 |  |  |  | 0 | 378 | 1.97% | 2456.9643
20 | 318747 | See FP-306998. | 277844 | No | N/A | N/A | N/A | 2020-11-20 | 124719 |  |  |  | 0 | 378 | 1.97% | 2456.9643
Walla Walla 6" Distribution
17 | 318690 | The Walla Walla 6” Distribution Project is needed to reinforce the existing 4” gas main that has reached maximum capacity based on current models and historic gas usage. The project includes installing approximately 1,800 feet of new 6” gas main to loop with the 4” main. | 278627 | Yes | N/A | N/A | N/A | 2020-11-30 | 312625 |  |  | No | 0 | 376.1 | 3.56% | 11129.45
Mount Vernon Reg Station
18 | 318742 | The Mount Vernon Reg Station Project includes replacement and relocation of two existing pressure regulation stations and metering equipment in Anacortes, Washington. The replacement of these stations is necessary due to equipment maintenance issues, accessibility of the stations, and the existing facilities being undersized for the increased load in the area. | 276473 | No | 10000 | 25000 | Book cost to be retired not calculated yet. | 2020-10-31 | 352513.6 |  |  | No | 0 | 378 | 1.97% | 6944.5179
Gibralter 4" PE Main
16 | 318588 | The Gibraltar 4” PE Project includes installing approximately 2,800 feet of 4” PE main. The existing 2” steel main is undersized for the area and represents a bottleneck in the system that will be resolved by increasing the pipe size in this area. | 276477 | No | 1500 | 1218 | Book cost to be retired not calculated yet. | 2020-07-31 | 125671.29 |  |  | No | 0 | 376.3 | 2.81% | 3531.3632
Othello Gate
23 | 318987 | The Othello Gate Station Project includes upgrading the gate station equipment to accommodate the increase in the NWP Othello lateral pipe and pressure. These upgrades are required due to insufficient capacity in the lateral and at the gate station to accommodate increased industrial load and overall historical flows. | 274152 | Yes | N/A | N/A | N/A | 2020-11-30 | 4731395 |  |  |  | 4731395 | 303 | 12.81% | 606091.6995
21 | 318808 | See FP-318987 | 274198 | Yes | N/A | N/A | N/A | 2020-11-30 | 858122 |  |  |  | 858122 | 303 | 12.81% | 109925.4282
22 | 318829 | See FP-318987 | 277746 | Yes | 32000 | 12596 | Book cost to be retired not calculated yet. | 2020-11-30 | 464483 |  |  |  | 464483 | 378 | 1.97% | 9150.3151
Bellingham 8" HP
10 | 317060 | The Bellingham 8” HP Project involved relocating the existing 10” HP main attached to the Bellingham State Street Bridge due to the City of Bellingham rebuilding the State Street Bridge. The project was started in early 2019, and the project was completed in January 2020. | 265878 | Yes | 25000 | 15393.58 | Book cost to be retired not calculated yet. | 2020-01-20 | 1526471.05 | 2019-08-26 | 1028640.41 |  | 0 | 376.2 | 1.52% | 23202.36
Kennewick Odorizer
25 | 319063 | Replacing a vintage odorizer with obsolete parts with a new odorizer that performs correctly and can be safely maintained. Kennewick | 280970 | No | 15000 | 16201 | Book cost to be retired not calculated yet. | 2020-08-30 | 144470.2 |  |  | No | 0 | 378 | 1.97% | 2846.0629
Moses Lake Reinforcement
14 | 318482 | The Moses Lake 4” PE project includes installing approximately 1,800 feet of new 4” PE pipe to loop the northwestern Moses Lake system and improving the pressures to above design criteria during peak usage. This system reinforcement will also improve capacity to allow for ongoing growth in this area of Moses Lake. | 277350 | Yes | 30000 | 0 | N/A | 2020-07-30 | 433146.02 |  |  | No | 0 | 376.3 | 2.81% | 12171.4032
Arlington Gate
1 | 300233 | The Arlington Gate Project includes upgrading the existing Arlington Gate station, taking over regulation from NWP, and upgrading the outlet pipe from the station to meet current winter capacities and to accommodate increased gas load in the Arlington system. | 259782 | Not part of AWEC-62 | N/A | N/A | N/A | 2020-06-30 | 2757265.26 |  |  |  | 0 | 376.2 | 1.52% | 41910.432
6 | 316586 | See FP-300233 | 266951 | Not part of AWEC-62 | 25000 | 8999 | Book cost to be retired not calculated yet. | 2020-06-30 | 1015615.47 | 2019-12-31 | 1038473.63 |  | 0 | 378 | 1.97% | 20007.6248
11 | 317322 | See FP-300233 | 259872 | Not part of AWEC-62 | N/A | N/A | N/A | 2020-06-30 | 882417.45 | 2019-06-01 | 965778.4 |  | 0 | 303 | 12.81% | 113037.6753
Bremerton Office
13 | 318352 | The Bremerton Office Project includes remodeling the existing district office located at 6313 Kitsap Way, Bremerton, Washington, 98312. The office remodel is necessary to accommodate added district staff and to reconfigure the outdated space to better meet the current needs of the district operations. | 275134 | Not part of AWEC-62 | 0 | 57276 | Book cost to be retired not calculated yet. | 2020-10-30 | 1064539.08 |  |  |  | 1064539.08 | 390.1 | 1.44% | 15329.3628
Aberdeen HP
5 | 316429 | The Aberdeen 6” HP Project includes installing two miles of 6” HP steel pipe that will provide a second feed to the City of Aberdeen. This project will increase capacity of the Aberdeen system to meet current winter capacity constraints and enable future expansion near the Aberdeen Port. | 251913 | Not part of AWEC-62 | N/A | N/A | N/A | 2020-07-30 | 4257740 | 2019-12-31 | 2282179.72 |  | 0 | 376.2 | 1.52% | 64717.648
Bremerton Reg Station
15 | 318566 | Bremerton Reg Station Project includes installing one new regulator station to eliminate five smaller regulator stations that are difficult to access and maintain and have a history of leaks. | 278450 | Not part of AWEC-62 | 20000 | 431 | Book cost to be retired not calculated yet. | 2020-09-30 | 177166.29 |  |  | No |  | 378 | 1.97% | 3490.1759
Richland Odorizer
24 | 319056 | Replacing a vintage odorizer with obsolete parts with a new odorizer that performs correctly and can be safely maintained. Richland [Project cancelled.] | N/A | Not part of AWEC-62 | 0 | 0 | N/A Project Cancelled | 2020-08-30 | 143033.6 |  |  | No |  | 378 | 1.97% | 2817.7619
|  | Total Major Projects | [6 empty] | 41651818.64 |  |  |  | 7118539.08 |  |  | 2121670.9287
Growth Capital
| 101194 | FP-101194-Reg Station Growth Washingotn | [5 empty] | n/a | 611717 |  |  |  | 0 | 378 | 1.97% | 12050.8249
| 101210 | FP-101210 Gas Meters-Total Company CNGC | [5 empty] | n/a | 2946051.575 |  |  |  | 0 | 381 | 2.61% | 76891.9461
| 317628 | FP-317628 MAIN-GROWTH-WALLA WALLA DISTRICT | [5 empty] | n/a | 639913.04 |  |  |  | 0 | 376.3 | 2.81% | 17981.5564
| 317630 | FP-317630 SERV-GROWTH-WALLA WALLA DISTRICT | [5 empty] | n/a | 951862.52 |  |  |  | 0 | 380.3 | 3.36% | 31982.5807
| 317632 | FP-317632 MAIN-GROWTH-WENATCHEE DISTRICT | [5 empty] | n/a | 79311 |  |  |  | 0 | 376.3 | 2.81% | 2228.6391
| 317634 | FP-317634 SERV-GROWTH-WENATCHEE DISTRICT | [5 empty] | n/a | 133027.99 |  |  |  | 0 | 380.3 | 3.36% | 4469.7405
| 317636 | FP-317636 MAIN-GROWTH-YAKIMA DISTRICT | [5 empty] | n/a | 800173.4 |  |  |  | 0 | 376.3 | 2.81% | 22484.8725
| 317638 | FP-317638 SERV-GROWTH-YAKIMA DISTRICT | [5 empty] | n/a | 1330260 |  |  |  | 0 | 380.3 | 3.36% | 44696.736
| 317640 | FP-317640 MAIN-GROWTH-ABERDEEN DISTRICT | [5 empty] | n/a | 484622.4 |  |  |  | 0 | 376.3 | 2.81% | 13617.8894
| 317642 | FP-317642 SERV-GROWTH-ABERDEEN DISTRICT | [5 empty] | n/a | 447800.6 |  |  |  | 0 | 380.3 | 3.36% | 15046.1002
| 317644 | FP-317644-MAIN-GROWTH-BELLINGHAM DISTRICT | [5 empty] | n/a | 1294473.18 |  |  |  | 0 | 376.3 | 2.81% | 36374.6964
| 317646 | FP-317646 SERV-GROWTH-BELLINGHAM DISTRICT | [5 empty] | n/a | 1568619.36 |  |  |  | 0 | 380.3 | 3.36% | 52705.6105
| 317648 | FP-317648-MAIN-GROWTH-BREMERTON DISTRICT | [5 empty] | n/a | 1396510.12 |  |  |  | 0 | 376.3 | 2.81% | 39241.9344
| 317650 | FP-317650 SERV-GROWTH-BREMERTON DISTRICT | [5 empty] | n/a | 2118035.96 |  |  |  | 0 | 380.3 | 3.36% | 71166.0083
| 317652 | FP-317652 MAIN-GROWTH-LONGVIEW DISTRICT | [5 empty] | n/a | 255366.68 |  |  |  | 0 | 376.3 | 2.81% | 7175.8037
| 317654 | FP-317654 SERV-GROWTH-LONGVIEW DISTRICT | [5 empty] | n/a | 884722.06 |  |  |  | 0 | 380.3 | 3.36% | 29726.6612
| 317656 | FP-317656 MAIN-GROWTH-MT VERNON DISTRICT | [5 empty] | n/a | 613354.97 |  |  |  | 0 | 376.3 | 2.81% | 17235.2747
| 317658 | FP-317658 SERV-GROWTH-MT VERNON DISTRICT | [5 empty] | n/a | 1801553.41 |  |  |  | 0 | 380.3 | 3.36% | 60532.1946
| 317750 | FP-317750 MAIN-GROWTH-KENNEWICK DISTRICT | [5 empty] | n/a | 1417842.72 |  |  |  | 0 | 376.3 | 2.81% | 39841.3804
| 317752 | FP-317752 SERV-GROWTH-KENNEWICK DISTRICT | [5 empty] | n/a | 2952964.66 |  |  |  | 0 | 380.3 | 3.36% | 99219.6126
| 319072 | FP-319072 GR; 6" HP&PE;W.RICH; 1.7mi KEENE RD | [5 empty] | n/a | 1725636 |  |  |  | 0 | 376.2 | 1.52% | 26229.6672
|  | Total Growth Projects | [6 empty] | 24453818.645 |  |  |  | 0
720899.7297
|  | Grand Total | [6 empty] | 41651818.64 |  |  |  | 7118539.08 |  |  | 2842570.6583
0
Formulas:
Cascade Prop. In Service (2020 GRC) = +INDEX('MCP-6 - 2020 Plant Additions'!$J8:J194,MATCH([Funding Project #],'MCP-6 - 2020 Plant Additions'!$M8:M194,0))
Cascade Prop. In Service (2020 GRC) = +[Cascade Prop. In Service (2020 GRC), row above]

## MCP-6 - 2020 Plant Additions
Cascade Natural Gas
Proposed Plant Additions
12 Months ended December 31, 2019
| (A) | (B) | (C) | (D) | ( E ) | (F)=(D)*( E ) | (G) | (H) | (I)
Line No. | Function | Funding Project - Description | Account No. | 2020 Total - The Company's budget and plant accounting software | WA Alloc | WA | Proposed Adjustment | Notes | Estimated In-Service Date |  | FP# |  | Not Descrete
1 | Gas Intangible | FP-101480 UG Implement Maximo Ph 1 CNG Direct | 303 | 205921.33 |  | 205921.33 |  |  | 2020-12-31 |  | 101480 | #N/A | 0
2 | Gas Intangible | FP-200663 UG-GIS Enhancements CNGC | 303 | 87032.79 | 75.17% | 65422.5482 |  |  | 2020-12-01 |  | 200663 | #N/A | 0
3 | Gas Intangible | FP-302596 WALLULA GATE; GTN | 303 | 5648475 |  | 5648475 | 5648475 | 2 | 2020-08-31 |  | 302596 | 1 | 0
4 | Gas Intangible | FP-302621 LV CUSTOMER WEB SITE - DIRECT | 303 | 50930.43 | 75.17% | 38284.4042 |  |  | 2020-12-31 |  | 302621 | #N/A | 0
5 | Gas Intangible | FP-306998 SOUTH WALLA GATE-WILLIAMS COSTS | 303 | 746233 |  | 746233 | 746233 | 4 | 2020-11-20 |  | 306998 | 6 | 0
6 | Gas Intangible | FP-316019 UG GIS ESRI UPGRADE - CNG DIRECT | 303 | 346857.72 | 75.17% | 260732.9481 |  |  | 2022-12-31 |  | 316019 | #N/A | 0
7 | Gas Intangible | FP-316047 UG GIS LANDBASE - CNG DIRECT COST | 303 | 35994.87 | 75.17% | 27057.3438 |  |  | 2020-02-15 |  | 316047 | #N/A | 0
8 | Gas Intangible | FP-316102 UG-GIS Pipeline Inspection System | 303 | 158747.54 | 75.17% | 119330.5258 |  |  | 2020-06-30 |  | 316102 | #N/A | 0
9 | Gas Intangible | FP-316182 UG 2018 CC&B UPGRADE - CNG DIRECT | 303 | 670450.44 | 75.17% | 503977.5957 |  |  | 2019-01-31 |  | 316182 | #N/A | 0
10 | Gas Intangible | FP-316269 UG WEBLOGIC FOR JDE - CNG DIRE | 303 | 21082.9 |  | 21082.9 |  |  | 2020-08-30 |  | 316269 | #N/A | 0
11 | Gas Intangible | FP-316284 GIS High Acc Trans Line Surv Enhanc | 303 | 155972.76 | 75.17% | 117244.7237 |  |  | 2020-12-31 |  | 316284 | #N/A | 0
12 | Gas Intangible | FP-316289 PowerPlan Lease CNG | 303 | -450.01 |  | -450.01 |  |  | 2020-04-30 |  | 316289 | #N/A | 0
13 | Gas Intangible | FP-316361 UG 2018 SCADA ENHANCE-CNG DIRECT | 303 | 69223.05 | 75.17% | 52034.9667 |  |  | 2023-12-31 |  | 316361 | #N/A | 0
14 | Gas Intangible | FP-316451 UG Purch RabMQ Software CNG Direct | 303 | 15422.61 |  | 15422.61 |  |  | 2020-04-30 |  | 316451 | #N/A | 0
15 | Gas Intangible | FP-317101 UG-JDEdwards AS400 to Oracle DB | 303 | 63738.72 | 75.17% | 47912.3958 |  |  | 2020-09-30 |  | 317101 | #N/A | 0
16 | Gas Intangible | FP-317322 ARLINGTON GATE UPGR; WILLIAMS COSTS | 303 | 882417.45 |  | 882417.45 | 882417.45 | 11 | 2020-06-30 |  | 317322 | 30 | 0
17 | Gas Intangible | FP-317617 UG-Migrate Aligne CNG Direct | 303 | 8476.31 | 75.17% | 6371.6422 |  |  | 2020-01-12 |  | 317617 | #N/A | 0
18 | Gas Intangible | FP-318808 GR-OTHELLO-GT-OTHELLO GATE NWP | 303 | 858122 |  | 858122 | 858122 | 21 | 2020-11-30 |  | 318808 | 19 | 0
19 | Gas Intangible | FP-318822 Impl myWorld Leak Survey at CNGC | 303 | 136867.86 |  | 136867.86 |  |  | 2020-05-31 |  | 318822 | #N/A | 0
20 | Gas Intangible | FP-318846 UG-Impl 2Ring Dashboard for CSC-CNG | 303 | 26509.6 | 75.17% | 19927.2663 |  |  | 2020-05-01 |  | 318846 | #N/A | 0
21 | Gas Intangible | FP-318893 UG-Impl GIS Offline Mobile Maps-CNG | 303 | 27529.2 | 75.17% | 20693.6996 |  |  | 2020-10-15 |  | 318893 | #N/A | 0
22 | Gas Intangible | FP-318987 GR-OTHELLO-NWP LAT FA COSTS | 303 | 4731395 |  | 4731395 | 4731395 | 23 | 2020-11-30 |  | 318987 | 18 | 0
23 |  | Total Intangible Plant |  | 14946950.57 |  | 14524477.2003 | 12866642.45 |  |  |  | #VALUE! | #VALUE! | 0
24 | RESULTS OF OPERATIONS SUMMARY SHEET | [9 empty] | #VALUE! | #VALUE! | 0
25 | Gas Distribution | FP-101163 Gas Work Equipment-CNGC | 396.2 | 481087.24 | 75.17% | 361633.2783 |  |  | 2020-12-31 |  | 101163 | #N/A | 0
26 | Gas Distribution | FP-101164 IT Network Equipment-CNG | 397.2 | 290586.04 | 75.17% | 218433.5263 |  |  | 2020-12-31 |  | 101164 | #N/A | 0
27 | Gas Distribution | FP-101191 - MAIN-REINFORCE-WASHINGTON | 376.2 | 36096.4 |  | 36096.4 |  |  | 2020-04-25 |  | 101191 | #N/A | 0
28 | Gas Distribution | FP-101192 - MAIN-RELO-REPL-WASHINGTON | 376 | 55032.54 |  | 55032.54 |  |  | 2020-09-01 |  | 101192 | #N/A | 0
29 | Gas Distribution | FP-101194-Reg Station Growth Washingotn | 378 | 611717 |  | 611717 | 611717 | 27 | 2020-12-31 |  | 101194 | #N/A | 1
30 | Gas Distribution | FP-101196 - R STA-RELO-REPL-WASHINGTON | 378 | 650533.54 |  | 650533.54 |  |  | 2020-10-15 |  | 101196 | #N/A | 0
31 | Gas Distribution | FP-101197 - SERV-GROWTH-WASHINGTON | 380 | 62.76 |  | 62.76 |  |  | 2020-11-01 |  | 101197 | #N/A | 0
32 | Gas Distribution | FP-101200 - IND M&R-GROWTH-WASHINGTON | 385 | 40010.83 |  | 40010.83 |  |  | 2020-12-16 |  | 101200 | #N/A | 0
33 | Gas Distribution | FP-101201 - IND M&R-REMOVE&REPL-WASHINGTON | 385 | 21467.7 |  | 21467.7 |  |  | 2020-05-30 |  | 101201 | #N/A | 0
34 | Gas Distribution | FP-101210 Gas Meters-Total Company CNGC | 381 | 3919185.28 | 75.17% | 2946051.575 | 2946051.575 | 28 | 2020-12-31 |  | 101210 | #N/A | 1
35 | Gas Distribution | FP-101215 Gas Vehicles-CNGC | 392.2 | 2180374.04 | 75.17% | 1638987.1659 |  |  | 2020-12-31 |  | 101215 | #N/A | 0
36 | Gas Distribution | FP-101259 Gas Regulators-Total Company CNGC | 383 | 1320143.48 | 75.17% | 992351.8539 |  |  | 2020-12-31 |  | 101259 | #N/A | 0
37 | Gas Distribution | FP-101275 - SERV-RELO-REPL-WASHINGTON | 380 | 31924.36 |  | 31924.36 |  |  | 2020-11-01 |  | 101275 | #N/A | 0
38 | Gas Distribution | FP-101413GP BUILDINGS - WALLAWALLA | 375.1 | 124289.24 |  | 124289.24 |  |  | 2020-12-31 |  | 101413 | #N/A | 0
39 | Gas Distribution | FP-101416GP TOOLS - WALLAWALLA | 394.1 | 4282.32 |  | 4282.32 |  |  | 2020-12-31 |  | 101416 | #N/A | 0
40 | Gas Distribution | FP-200043 RPL 8" TRANSMISSION BELFAIR | 367.1 | 7616.94 |  | 7616.94 |  |  | 2020-12-31 |  | 200043 | #N/A | 0
41 | Gas Distribution | FP-200662 Personal Computers & Peripherals | 391.3 | 54854.48 | 75.17% | 41234.1126 |  |  | 2020-12-31 |  | 200662 | #N/A | 0
42 | Gas Distribution | FP-300233 - ARLINGTON 6" HP REINFORCEMENT | 376.2 | 2757265.26 |  | 2757265.26 | 2757265.26 | 1 | 2020-06-30 |  | 300233 | 28 | 0
43 | Gas Distribution | FP-302369 - GB - GROUNDBED WASHINGTON | 376.1 | 747641.35 |  | 747641.35 |  |  | 2020-03-01 |  | 302369 | #N/A | 0
45 | Gas Distribution | FP-306980 ERT Replacement 2020 | 381 | 363466.8 | 75.17% | 273217.9936 |  |  | 2020-12-31 |  | 306980 | #N/A | 0
46 | Gas Distribution | FP-306988 - Walla Walla Mains High Press Steel | 376.2 | 3360413 |  | 3360413 | 3360413 | 3 | 2020-11-30 |  | 306988 | 7 | 0
47 | Gas Distribution | FP-309960 Anacortes Upgrade | 367.1 | 2363557.25 |  | 2363557.25 |  |  | 2022-11-30 |  | 309960 | #N/A | 0
48 | Gas Distribution | FP-312009 - RP;R-130 (R-25) BURBANK | 378 | 20008.89 |  | 20008.89 |  |  | 2020-01-31 |  | 312009 | #N/A | 0
49 | Gas Distribution | FP-316027 C/M RPL; 2" HP; NOOKSACK; 732' | 376.2 | 179168.59 |  | 179168.59 |  | C | 2020-12-31 |  | 316027 | #N/A | 1
50 | Gas Distribution | FP-316033 C/M RPL; 3" HP; ZILLAH; 873' | 376.2 | 239545.87 |  | 239545.87 |  | C | 2020-12-31 |  | 316033 | #N/A | 1
51 | Gas Distribution | FP-316034 - MAOP; 8" HP; OTHE; 11,500' W LEE RD | 376.2 | 112657.85 |  | 112657.85 |  |  | 2020-11-30 |  | 316034 | #N/A | 0
52 | Gas Distribution | FP-316035 C/M RPL; 4" HP; ARLINGTON; 4,700' | 376.2 | 1321132.35 |  | 1321132.35 |  | C | 2020-12-31 |  | 316035 | #N/A | 1
53 | Gas Distribution | FP-316043 MAOP; 8" HP; BELLINGHAM; 1,800' | 376.2 | 588710.21 |  | 588710.21 |  |  | 2020-12-01 |  | 316043 | #N/A | 0
54 | Gas Distribution | FP-316044 C/M RPL; 8" HP; BREMERTON; 7,373' | 376.2 | 1714110.95 |  | 1714110.95 |  | C | 2020-12-31 |  | 316044 | #N/A | 1
55 | Gas Distribution | FP-316046 - MAOP; 8" HP; YAKI; 4,500' YAKIMA RI | 376.2 | 490462.48 |  | 490462.48 |  |  | 2020-07-30 |  | 316046 | #N/A | 0
56 | Gas Distribution | FP-316146 RP; R-178 (R-137) FERNDALE | 378 | 17894.23 |  | 17894.23 |  |  | 2020-04-30 |  | 316146 | #N/A | 0
57 | Gas Distribution | FP-316403 CRM; 6" ST; TOPPENISH, 800' | 376.1 | 517249.44 |  | 517249.44 |  | C | 2020-12-01 |  | 316403 | #N/A | 1
58 | Gas Distribution | FP-316429 - RF; 6" HP; ABER; 12,500' BASICH BLV | 376.2 | 4257740 |  | 4257740 | 4257740 | 5 | 2020-07-30 |  | 316429 | 34 | 0
59 | Gas Distribution | FP-316570 C/M RPL; 12" STL HP, LONG/KELSO PH4 | 376.2 | 3462856.75 |  | 3462856.75 |  | C | 2020-11-30 |  | 316570 | #N/A | 1
60 | Gas Distribution | FP-316580 C/M RPL; 2,6,8" HP; ANACORTES; PH3 | 376.2 | 1079817.45 |  | 1079817.45 |  | C | 2020-12-31 |  | 316580 | #N/A | 1
61 | Gas Distribution | FP-316586 - RP; R-187 ARLINGTON GATE | 378 | 1015615.47 |  | 1015615.47 | 1015615.47 | 6 | 2020-06-30 |  | 316586 | 29 | 0
62 | Gas Distribution | FP-316587 - RF; WALLULA GATE; R-127 & O-14 | 378 | 1308260.44 |  | 1308260.44 | 1308260.44 | 7 | 2020-08-31 |  | 316587 | 2 | 0
63 | Gas Distribution | FP-316589 RF; S WALLA GATE; R-4 & O-2 | 378 | 1160244.89 |  | 1160244.89 | 1160244.89 | 8 | 2020-11-30 |  | 316589 | 8 | 0
64 | Gas Distribution | FP-316670 - RF; 12" HP; KENN; WALLULA HP LINE | 376.2 | 9795152 |  | 9795152 | 9795152 | 9 | 2020-08-31 |  | 316670 | 3 | 0
65 | Gas Distribution | FP-316822 - RP; O-4(O-4) LAWR; DIRINJECT | 378 | 77932.33 |  | 77932.33 |  |  | 2020-01-30 |  | 316822 | #N/A | 0
66 | Gas Distribution | FP-316823 - RP; O-12(O-5) DEMI; DIRINJECT | 378 | 77959.74 |  | 77959.74 |  |  | 2020-01-30 |  | 316823 | #N/A | 0
67 | Gas Distribution | FP-316923 -C/M RPL 8" MARCH POINT LINE PHASE 2 | 367.1 | 2438636.93 |  | 2438636.93 |  | C | 2020-11-30 |  | 316923 | #N/A | 1
68 | Gas Distribution | FP-317060 - FRL; 10" HP; BELL; 2900' STATEBRIDG | 376.2 | 1526471.05 |  | 1526471.05 | 1526471.05 | 10 | 2020-01-20 |  | 317060 | 22 | 0
69 | Gas Distribution | FP-317519 RP; 2" ST; SHELTON; 7,034' PH 3 SEC | 376.3 | 441993.69 |  | 441993.69 |  | C | 2020-03-30 |  | 317519 | #N/A | 1
70 | Gas Distribution | FP-317528 RP; 3/4" SL; SHELTON; PH 3 SEC 1 SE | 380.3 | 100949.38 |  | 100949.38 |  | C | 2020-03-30 |  | 317528 | #N/A | 1
71 | Gas Distribution | FP-317535 GR; R-128 BURB;TIE-IN TO ATTAL | 378 | 136928 |  | 136928 | 136928 | 12 | 2020-08-31 |  | 317535 | 4 | 0
72 | Gas Distribution | FP-317609 GR; R-80 ABER; BASICH BLV | 378 | 324.69 |  | 324.69 |  |  | 2020-06-30 |  | 317609 | #N/A | 0
73 | Gas Distribution | FP-317628 MAIN-GROWTH-WALLA WALLA DISTRICT | 376.3 | 639913.04 |  | 639913.04 | 639913.04 | 27 | 2020-12-31 |  | 317628 | #N/A | 1
74 | Gas Distribution | FP-317629 MAIN-REPLACE-WALLA WALLA DISTRICT | 376 | 122698.76 |  | 122698.76 |  |  | 2020-12-31 |  | 317629 | #N/A | 0
75 | Gas Distribution | FP-317630 SERV-GROWTH-WALLA WALLA DISTRICT | 380.3 | 951862.52 |  | 951862.52 | 951862.52 | 27 | 2020-12-31 |  | 317630 | #N/A | 1
76 | Gas Distribution | FP-317631 SERV-REPLACE-WALLA WALLA DISTRICT | 380 | 72198.24 |  | 72198.24 |  |  | 2020-12-31 |  | 317631 | #N/A | 0
77 | Gas Distribution | FP-317632 MAIN-GROWTH-WENATCHEE DISTRICT | 376.3 | 79311 |  | 79311 | 79311 | 27 | 2020-12-31 |  | 317632 | #N/A | 1
78 | Gas Distribution | FP-317633 MAIN-REPLACE-WENATCHEE DISTRICT | 376 | 35499.24 |  | 35499.24 |  |  | 2020-12-31 |  | 317633 | #N/A | 0
79 | Gas Distribution | FP-317634 SERV-GROWTH-WENATCHEE DISTRICT | 380.3 | 133027.99 |  | 133027.99 | 133027.99 | 27 | 2020-12-31 |  | 317634 | #N/A | 1
80 | Gas Distribution | FP-317635 SERV-REPLACE-WENATCHEE DISTRICT | 380 | 75135.57 |  | 75135.57 |  |  | 2020-12-31 |  | 317635 | #N/A | 0
81 | Gas Distribution | FP-317636 MAIN-GROWTH-YAKIMA DISTRICT | 376.3 | 800173.4 |  | 800173.4 | 800173.4 | 27 | 2020-12-31 |  | 317636 | #N/A | 1
82 | Gas Distribution | FP-317637 MAIN-REPLACE-YAKIMA DISTRICT | 376 | 270033.86 |  | 270033.86 |  |  | 2020-12-31 |  | 317637 | #N/A | 0
83 | Gas Distribution | FP-317638 SERV-GROWTH-YAKIMA DISTRICT | 380.3 | 1330260 |  | 1330260 | 1330260 | 27 | 2020-12-31 |  | 317638 | #N/A | 1
84 | Gas Distribution | FP-317639 SERV-REPLACE-YAKIMA DISTRICT | 380 | 65462.16 |  | 65462.16 |  |  | 2020-12-31 |  | 317639 | #N/A | 0
85 | Gas Distribution | FP-317640 MAIN-GROWTH-ABERDEEN DISTRICT | 376.3 | 484622.4 |  | 484622.4 | 484622.4 | 27 | 2020-12-31 |  | 317640 | #N/A | 1
86 | Gas Distribution | FP-317641 MAIN-REPLACE-ABERDEEN DISTRICT | 376 | 149164.2 |  | 149164.2 |  |  | 2020-12-31 |  | 317641 | #N/A | 0
87 | Gas Distribution | FP-317642 SERV-GROWTH-ABERDEEN DISTRICT | 380.3 | 447800.6 |  | 447800.6 | 447800.6 | 27 | 2020-12-31 |  | 317642 | #N/A | 1
88 | Gas Distribution | FP-317643 SERV-REPLACE-ABERDEEN DISTRICT | 380 | 74578.68 |  | 74578.68 |  |  | 2020-12-31 |  | 317643 | #N/A | 0
89 | Gas Distribution | FP-317644-MAIN-GROWTH-BELLINGHAM DISTRICT | 376.3 | 1294473.18 |  | 1294473.18 | 1294473.18 | 27 | 2020-12-31 |  | 317644 | #N/A | 1
90 | Gas Distribution | FP-317645 MAIN-REPLACE-BELLINGHAM DISTRICT | 376 | 126071.52 |  | 126071.52 |  |  | 2020-12-31 |  | 317645 | #N/A | 0
91 | Gas Distribution | FP-317646 SERV-GROWTH-BELLINGHAM DISTRICT | 380.3 | 1568619.36 |  | 1568619.36 | 1568619.36 | 27 | 2020-12-31 |  | 317646 | #N/A | 1
92 | Gas Distribution | FP-317647 SERV-REPLACE-BELLINGHAM DISTRICT | 380 | 74578.68 |  | 74578.68 |  |  | 2020-12-31 |  | 317647 | #N/A | 0
93 | Gas Distribution | FP-317648-MAIN-GROWTH-BREMERTON DISTRICT | 376.3 | 1396510.12 |  | 1396510.12 | 1396510.12 | 27 | 2020-12-31 |  | 317648 | #N/A | 1
94 | Gas Distribution | FP-317649 MAIN-REPLACE-BREMERTON DISTRICT | 376 | 54857.76 |  | 54857.76 |  |  | 2020-12-31 |  | 317649 | #N/A | 0
95 | Gas Distribution | FP-317650 SERV-GROWTH-BREMERTON DISTRICT | 380.3 | 2118035.96 |  | 2118035.96 | 2118035.96 | 27 | 2020-12-31 |  | 317650 | #N/A | 1
96 | Gas Distribution | FP-317651 SERV-REPLACE-BREMERTON DISTRICT | 380 | 74578.68 |  | 74578.68 |  |  | 2020-12-31 |  | 317651 | #N/A | 0
97 | Gas Distribution | FP-317652 MAIN-GROWTH-LONGVIEW DISTRICT | 376.3 | 255366.68 |  | 255366.68 | 255366.68 | 27 | 2020-12-31 |  | 317652 | #N/A | 1
98 | Gas Distribution | FP-317653 MAIN-REPLACE-LONGVIEW DISTRICT | 376 | 100812.24 |  | 100812.24 |  |  | 2020-12-31 |  | 317653 | #N/A | 0
99 | Gas Distribution | FP-317654 SERV-GROWTH-LONGVIEW DISTRICT | 380.3 | 884722.06 |  | 884722.06 | 884722.06 | 27 | 2020-12-31 |  | 317654 | #N/A | 1
100 | Gas Distribution | FP-317655 SERV-REPLACE-LONGVIEW DISTRICT | 380 | 74578.68 |  | 74578.68 |  |  | 2020-12-31 |  | 317655 | #N/A | 0
101 | Gas Distribution | FP-317656 MAIN-GROWTH-MT VERNON DISTRICT | 376.3 | 613354.97 |  | 613354.97 | 613354.97 | 27 | 2020-12-31 |  | 317656 | #N/A | 1
102 | Gas Distribution | FP-317657 MAIN-REPLACE-MT VERNON DISTRICT | 376 | 97392.48 |  | 97392.48 |  |  | 2020-12-31 |  | 317657 | #N/A | 0
103 | Gas Distribution | FP-317658 SERV-GROWTH-MT VERNON DISTRICT | 380.3 | 1801553.41 |  | 1801553.41 | 1801553.41 | 27 | 2020-12-31 |  | 317658 | #N/A | 1
104 | Gas Distribution | FP-317659 SERV-REPLACE-MT VERNON DISTRICT | 380 | 74578.68 |  | 74578.68 |  |  | 2020-12-31 |  | 317659 | #N/A | 0
105 | Gas Distribution | FP-317744 Tools & Minor Work Equip CNG WA | 394 | 88997.82 |  | 88997.82 |  |  | 2020-12-31 |  | 317744 | #N/A | 0
106 | Gas Distribution | FP-317750 MAIN-GROWTH-KENNEWICK DISTRICT | 376.3 | 1417842.72 |  | 1417842.72 | 1417842.72 | 27 | 2020-12-31 |  | 317750 | #N/A | 1
107 | Gas Distribution | FP-317751 MAIN-REPLACE-KENNEWICK DISTRICT | 376 | 145471.8 |  | 145471.8 |  |  | 2020-12-31 |  | 317751 | #N/A | 0
108 | Gas Distribution | FP-317752 SERV-GROWTH-KENNEWICK DISTRICT | 380.3 | 2952964.66 |  | 2952964.66 | 2952964.66 | 27 | 2020-12-31 |  | 317752 | #N/A | 1
109 | Gas Distribution | FP-317753 SERV-REPLACE-KENNEWICK DISTRICT | 380 | 72740.76 |  | 72740.76 |  |  | 2020-12-31 |  | 317753 | #N/A | 0
110 | Gas Distribution | FP-318092 HPSS Replacements CNG WA | 376 | 296950 |  | 296950 |  |  | 2020-12-31 |  | 318092 | #N/A | 0
111 | Gas Distribution | FP-318186 Sys Safety & Integ Main Repl CNG WA | 376.3 | 5004463.92 |  | 5004463.92 |  |  | 2020-12-31 |  | 318186 | #N/A | 0
112 | Gas Distribution | FP-318187 Sys Safety & Integ Svcs Rpl CNG WA | 380 | 4410563.92 |  | 4410563.92 |  |  | 2020-12-31 |  | 318187 | #N/A | 0
113 | Gas Distribution | FP-318325 CRM, RP; 3/4" SL; ANACORT; PH 7 S 2 | 380.3 | 71392.82 |  | 71392.82 |  | C | 2020-01-01 |  | 318325 | #N/A | 1
114 | Gas Distribution | FP-318482 RF; 4"; PE; Moses Lake 1,800' | 376.3 | 433146.02 |  | 433146.02 | 433146.02 | 14 | 2020-07-30 |  | 318482 | 26 | 0
115 | Gas Distribution | FP-318566 RP-Brem-R-Werener&Twin View R-21 | 378 | 177166.29 |  | 177166.29 | 177166.29 | 15 | 2020-09-30 |  | 318566 | 36 | 0
116 | Gas Distribution | FP-318588 RP-GIBRALT-4"PE2125' | 376.3 | 125671.29 |  | 125671.29 | 125671.29 | 16 | 2020-07-31 |  | 318588 | 16 | 0
117 | Gas Distribution | FP-318690 RF-Walla-1800' 6"S/6"PE Larch Ave | 376.1 | 312625 |  | 312625 | 312625 | 17 | 2020-11-30 |  | 318690 | 12 | 0
118 | Gas Distribution | FP-318742 RP-MTVE-R-N TEXAS RD R-47 | 378 | 352513.6 |  | 352513.6 | 352513.6 | 18 | 2020-10-31 |  | 318742 | 14 | 0
119 | Gas Distribution | FP-318746 RF-WALLA-R-OLD MILTON HWY-2" STD | 378 | 124719 |  | 124719 | 124719 | 19 | 2020-11-20 |  | 318746 | 9 | 0
120 | Gas Distribution | FP-318747 RF-WALLA-R-PLAZA WAY-2" STD | 378 | 124719 |  | 124719 | 124719 | 20 | 2020-11-20 |  | 318747 | 10 | 0
121 | Gas Distribution | FP-318829 GR-OTHELLO-GT-OTHELLO GATE RS | 378 | 464483 |  | 464483 | 464483 | 22 | 2020-11-30 |  | 318829 | 20 | 0
122 | Gas Distribution | FP-319029 RP-MTVE-MTR-N TEXAS RD | 385 | 58451 |  | 58451 |  |  | 2020-09-30 |  | 319029 | #N/A | 0
123 | Gas Distribution | FP-319056 RP; O-TBD (O-08); RICH | 378 | 143033.6 |  | 143033.6 | 143033.6 | 24 | 2020-08-30 |  | 319056 | 38 | 0
124 | Gas Distribution | FP-319063 RP; O-TBD (O-03); KENN | 378 | 144470.2 |  | 144470.2 | 144470.2 | 25 | 2020-08-30 |  | 319063 | 24 | 0
125 | Gas Distribution | FP-319072 GR; 6" HP&PE;W.RICH; 1.7mi KEENE RD | 376.2 | 1725636 |  | 1725636 | 1725636 | 26 | 2021-07-30 |  | 319072 | #N/A | 1
126 | Gas Distribution | FP-319086 GR; 4"; PE; WRIC; 2946; PARA | 376.3 | 19400.1 |  | 19400.1 |  |  | 2020-02-28 |  | 319086 | #N/A | 0
127 | Gas Distribution | FP-319095 Odorizer site imprvmts Walla Walla | 378 | 5607.8 |  | 5607.8 |  |  | 2020-10-20 |  | 319095 | #N/A | 0
128 | Gas Distribution | FP-319099 Repl Fence R-1 Reg Stn Walla Walla | 378 | 5845.1 |  | 5845.1 |  |  | 2020-09-20 |  | 319099 | #N/A | 0
129 | Gas Distribution | FP-319106 C/M RPL; 8" HP; YAKIMA; PH2 | 376.2 | 1196019 |  | 1196019 |  | C | 2020-12-30 |  | 319106 | #N/A | 1
130 | Gas Distribution | FP-319111 MAOP MAIN RPL CNG WA | 376 | 1178410 |  | 1178410 |  |  | 2020-12-31 |  | 319111 | #N/A | 0
131 | Gas Distribution | FP-319112 MAOP SERV RPL CNG WA | 380 | 128780 |  | 128780 |  |  | 2020-12-31 |  | 319112 | #N/A | 0
132 | Gas Distribution | FP-319168 Ext Main Noll Rd Poulsbo | 376.3 | 121015.44 |  | 121015.44 |  |  | 2020-04-15 |  | 319168 | #N/A | 0
133 | Gas Distribution | FP-319180 GR; 4" PE; LONG; 4,600' KELSO SCHOO | 376.3 | 169486.67 |  | 169486.67 |  |  | 2020-05-01 |  | 319180 | #N/A | 0
134 | Gas Distribution | FP-319193 MN,ILLAHEE PRESERVE,BREMERTON,WA | 376.3 | 10487.23 |  | 10487.23 |  |  | 2020-05-30 |  | 319193 | #N/A | 0
135 | Gas Distribution | FP-319209 GR; 4" HP; KALA; 2,500' SPENCER CRE | 376.2 | 16510.17 |  | 16510.17 |  |  | 2020-12-30 |  | 319209 | #N/A | 0
136 | Gas Distribution | FP-319238 MN,13559' SOUND VIEW,BREMERTON,WA | 376.3 | 52336.62 |  | 52336.62 |  |  | 2020-05-30 |  | 319238 | #N/A | 0
137 | Gas Distribution | FP-319247 RL;2"ST;YAKI;2,000' | 376.1 | 1145.58 |  | 1145.58 |  |  | 2020-02-01 |  | 319247 | #N/A | 0
138 | Gas Distribution | FP-319256 GR; 2" PE; PROS; 2,500' | 376.3 | -87097.05 |  | -87097.05 |  |  | 2020-11-20 |  | 319256 | #N/A | 0
139 | Gas Distribution | FP-319257 GR;4" SL; PROS; 1500 PATERSON RD | 380.3 | -21795.91 |  | -21795.91 |  |  | 2020-11-20 |  | 319257 | #N/A | 0
140 |  |  |  | 88517757.53 |  | 88517757.53 | 52174455.755 |  |  |  | #VALUE! | #VALUE! | 0
141 | Gas General | FP-101204 - GP TRAN. VEHICLE - WASHINGTO | 392.2 | 219131.38 |  | 219131.38 |  |  | 2020-06-30 |  | 101204 | #N/A | 0
142 | Gas General | FP-101288 Purchase calibration field kit | 394.1 | 1359.54 |  | 1359.54 |  |  | 2020-03-31 |  | 101288 | #N/A | 0
143 | Gas General | FP-101413 REPLACE WAREHOUSE FENCE WALLA WALLA | 390.1 | 36245.61 |  | 36245.61 |  |  | 2020-01-30 |  | 101413 | #N/A | 0
144 | Gas General | FP-306967 District Office Access Control Sys | 391.3 | 27223.01 | 75.17% | 27223.01 |  |  | 2020-05-01 |  | 306967 | #N/A | 0
146 | Gas General | FP-316445 Toughbook Replacements-CNG | 391.1 | 176798.64 | 75.17% | 176798.64 |  |  | 2020-12-31 |  | 316445 | #N/A | 0
147 | Gas General | FP-316832 Office Structure & Eq-Kennewick GO | 391.5 | 50980 | 75.17% | 50980 |  |  | 2020-12-31 |  | 316832 | #N/A | 0
148 | Gas General | FP-316915 Pur replacement display devices | 391.3 | 17333.2 | 75.17% | 17333.2 |  |  | 2020-05-01 |  | 316915 | #N/A | 0
149 | Gas General | FP-317290 Building remodel for Bellingham Dis | 390.1 | 316076 |  | 316076 |  |  | 2020-07-01 |  | 317290 | #N/A | 0
150 | Gas General | FP-317291 - Roof replacement/Parking lot - Bell | 390.1 | 15243.69 |  | 15243.69 |  |  | 2020-11-20 |  | 317291 | #N/A | 0
151 | Gas General | FP-317387 MGP site restoration | 390 | 20392 |  | 20392 |  |  | 2020-06-05 |  | 317387 | #N/A | 0
152 | Gas General | FP-318192 Fixed Network Equipment-CNG | 397 | 509800 | 75.17% | 509800 |  |  | 2020-12-31 |  | 318192 | #N/A | 0
153 | Gas General | FP-318197 Gas SCADA Equipment-CNG | 397 | 1223.52 | 75.17% | 1223.52 |  |  | 2020-12-31 |  | 318197 | #N/A | 0
154 | Gas General | FP-318317 Sensit PMD Trainer | 394.1 | 14274.4 |  | 14274.4 |  |  | 2020-02-01 |  | 318317 | #N/A | 0
155 | Gas General | FP-318319 Sensit GLT Trainer | 394.1 | 6627.4 |  | 6627.4 |  |  | 2020-02-01 |  | 318319 | #N/A | 0
156 | Gas General | FP-318352 Bremerton District Office Remodel | 390.1 | 1064539.08 |  | 1064539.08 | 1064539.08 | 13 | 2020-10-30 |  | 318352 | 32 | 0
157 | Gas General | FP-318706 Repl Cisco VoIP Telephone-CNG | 397 | 158321.16 | 75.17% | 158321.16 |  |  | 2020-11-15 |  | 318706 | #N/A | 0
158 | Gas General | FP-318797 Instl District Strge Fclty Kelso | 390.1 | 620912.7 |  | 620912.7 |  |  | 2020-11-01 |  | 318797 | #N/A | 0
159 | Gas General | FP-318801 Instl Asphalt in Storage Area Kelso | 390.1 | 76470 |  | 76470 |  |  | 2020-07-31 |  | 318801 | #N/A | 0
160 | Gas General | FP-318889 New Transfer Prover | 394.1 | 33646.8 |  | 33646.8 |  |  | 2020-04-30 |  | 318889 | #N/A | 0
161 | Gas General | FP-318904 Transfer Prover Upgrade Bellingham | 394.1 | 23450.8 |  | 23450.8 |  |  | 2020-04-30 |  | 318904 | #N/A | 0
162 | Gas General | FP-318914 Transfer Prover upgrade Longview | 394.1 | 23450.8 |  | 23450.8 |  |  | 2020-06-06 |  | 318914 | #N/A | 0
163 | Gas General | FP-318918 Transfer Prover Upgrade Kennewick | 394.1 | 23450.8 |  | 23450.8 |  |  | 2020-10-31 |  | 318918 | #N/A | 0
164 | Gas General | FP-318957 Two Meter Shop Table Lifts | 394.1 | 8156.8 |  | 8156.8 |  |  | 2020-05-31 |  | 318957 | #N/A | 0
165 | Gas General | FP-318958 Meter Shop Leak Tester | 394.1 | 25490 |  | 25490 |  |  | 2020-04-30 |  | 318958 | #N/A | 0
166 | Gas General | FP-318959 Clamp on Check Meter | 394.1 | 20392 |  | 20392 |  |  | 2020-10-31 |  | 318959 | #N/A | 0
167 | Gas General | FP-319025 Auto Floor Scrubber | 394.1 | 7137.2 |  | 7137.2 |  |  | 2020-04-04 |  | 319025 | #N/A | 0
168 | Gas General | FP-319043 Mueller Equipment | 394 | 76238.35 | 75.17% | 76238.35 |  |  | 2020-06-30 |  | 319043 | #N/A | 0
169 | Gas General | FP-319044 CONST SERV - NEW BLDG ADD - MT VERN | 390.1 | 195305.21 |  | 195305.21 |  |  | 2020-09-30 |  | 319044 | #N/A | 0
170 | Gas General | FP-319045 TAP TRUCK HYDRAULIC SYSTEM | 394 | 11422.98 | 75.17% | 11422.98 |  |  | 2020-03-30 |  | 319045 | #N/A | 0
171 | Gas General | FP-319048 Mueller Equipment | 394 | 13240.14 | 75.17% | 13240.14 |  |  | 2020-06-30 |  | 319048 | #N/A | 0
172 | Gas General | FP-319052 BUILDING UPGARDES | 390 | 67673.91 | 75.17% | 67673.91 |  |  | 2020-03-10 |  | 319052 | #N/A | 0
173 | Gas General | FP-319053 NEW WELDER YAK FAB SHOP | 394 | 5955.01 | 75.17% | 5955.01 |  |  | 2020-03-01 |  | 319053 | #N/A | 0
174 | Gas General | FP-319090 Replace Shop Roof Walla Walla | 390.1 | 23392 |  | 23392 |  |  | 2020-03-30 |  | 319090 | #N/A | 0
175 | Gas General | FP-319091 Repl Asphalt Park Lot Walla Walla | 390.1 | 46705.6 |  | 46705.6 |  |  | 2020-09-20 |  | 319091 | #N/A | 0
176 | Gas General | FP-319092 Replace Roof Old Barn Walla Walla | 390.1 | 18294 |  | 18294 |  |  | 2020-12-20 |  | 319092 | #N/A | 0
177 | Gas General | FP-319093 Rplc Fence 324 Rose St Walla Walla | 390.1 | 13196 |  | 13196 |  |  | 2020-07-02 |  | 319093 | #N/A | 0
178 | Gas General | FP-319094 Instl Electronic Gate Walla Walla | 390.1 | 5607.8 |  | 5607.8 |  |  | 2020-10-20 |  | 319094 | #N/A | 0
179 | Gas General | FP-319098 Rplc Ovrhd Shop Door Walla Walla | 390.1 | 3958.8 |  | 3958.8 |  |  | 2020-11-06 |  | 319098 | #N/A | 0
180 | Gas General | FP-319100 Purch Threading Machine Walla Walla | 394.1 | 4282.32 |  | 4282.32 |  |  | 2020-05-05 |  | 319100 | #N/A | 0
181 | Gas General | FP-319101 Pur Xtndble Squze Tool Walla Walla | 394.1 | 3059.82 |  | 3059.82 |  |  | 2020-05-05 |  | 319101 | #N/A | 0
182 | Gas General | FP-319102 Purch Storage Cabinet Walla Walla | 391.5 | 2447.04 |  | 2447.04 |  |  | 2020-04-10 |  | 319102 | #N/A | 0
183 | Gas General | FP-319120 Instl Cement Floor Barn Walla Walla | 390.1 | 2039.2 |  | 2039.2 |  |  | 2020-11-20 |  | 319120 | #N/A | 0
184 | Gas General | FP-319132 Purch Swamp Cooler Wld Shp Wla Wla | 398 | 2039.2 |  | 2039.2 |  |  | 2020-06-15 |  | 319132 | #N/A | 0
185 | Gas General | FP-319143 Purch 2 Squeeze Tools Walla Walla | 394.1 | 15905.76 |  | 15905.76 |  |  | 2020-11-05 |  | 319143 | #N/A | 0
186 | Gas General | FP-319146 OFFICE REMODEL | 390.1 | 100372.18 |  | 100372.18 |  |  | 2020-02-18 |  | 319146 | #N/A | 0
187 | Gas General | FP-319147 Purchase Air Compressor Walla Walla | 394.1 | 2039.2 |  | 2039.2 |  |  | 2020-05-15 |  | 319147 | #N/A | 0
188 | Gas General | FP-319284 12" Mueller Shell Cutter and Stoppe | 394.1 | 5534.02 | 75.17% | 5534.02 |  |  | 2020-01-15 |  | 319284 | #N/A | 0
189 | Gas General | FP-319289 PURCHASE FUME EXTRACTOR BREMERTON | 394.1 | 6159.1 |  | 6159.1 |  |  | 2020-02-29 |  | 319289 | #N/A | 0
190 |  | Total Distribution Plant |  | 4122994.17 |  | 4122994.17 | 1064539.08
191 |  | Total |  | 107587702.27 |  | 107165228.9003 | 66105637.285
192 | Notes:
193 | [5 empty] | FERC | Budgeted 2019 | Depr. Rate | Depreciation
194 | C | CRM | 12762873.22 |  |  | Acct | Investment | UG-150762 | Expense
195 | [5 empty] | 303 | 12866642.45 | 12.81 | 1648216.8978
196 | [5 empty] | 367 | 0 | 1.82 | 0
197 | [5 empty] | 374 | 0 | 1.88 | 0
198 | [5 empty] | 376 | 0 | 1.25 | 0
199 | [5 empty] | 378 | 5763870.49 | 1.92 | 110666.3134
200 | [5 empty] | 380 | 0 | 3.88 | 0
201 | [5 empty] | 381 | 2946051.575 | 2.27 | 66875.3708
202 | [5 empty] | 382 | 0 | 1.86 | 0
203 | [5 empty] | 383 | 0 | 2.32 | 0
204 | [5 empty] | 385 | 0 | 2.18 | 0
205 | [5 empty] | 390 | 0 | 1.24 | 0
206 | [5 empty] | 391 | 0 | 0.05 | 0
207 | [5 empty] | 392 | 0 | 6.15 | 0
208 | [5 empty] | 394 | 0 | 3.56 | 0
209 | [5 empty] | 396 | 0 | 5.18 | 0
210 | [5 empty] | 397 | 0 | 0.13 | 0
211 |  |  |  |  | Totals |  | 21576564.515 |  | 1825758.582 | 0.084618
212
213 | [6 empty] | 44529072.77

## MCP-6 - 2020 Plant Addi (Depr )
Cascade Natural Gas
Proposed Plant Additions
12 Months ended December 31, 2019
| (A) | (B) | (C) | (D) | ( E ) | (F)=(D)*( E ) | (G) | (H) | (I)
Line No. | Function | Funding Project - Description | Account No. | 2020 Total - The Company's budget and plant accounting software | WA Alloc | WA | Proposed Adjustment | Notes | Estimated In-Service Date
1 | Gas Intangible | FP-101480 UG Implement Maximo Ph 1 CNG Direct | 303 | 205921.33 |  | 205921.33 |  |  | 2020-12-31
2 | Gas Intangible | FP-200663 UG-GIS Enhancements CNGC | 303 | 87032.79 | 75.17% | 65422.5482 |  |  | 2020-12-01
3 | Gas Intangible | FP-302596 WALLULA GATE; GTN | 303 | 5648475 |  | 5648475 | 5648475 | 2 | 2020-08-31
4 | Gas Intangible | FP-302621 LV CUSTOMER WEB SITE - DIRECT | 303 | 50930.43 | 75.17% | 38284.4042 |  |  | 2020-12-31
5 | Gas Intangible | FP-306998 SOUTH WALLA GATE-WILLIAMS COSTS | 303 | 746233 |  | 746233 | 746233 | 4 | 2020-11-20
6 | Gas Intangible | FP-316019 UG GIS ESRI UPGRADE - CNG DIRECT | 303 | 346857.72 | 75.17% | 260732.9481 |  |  | 2022-12-31
7 | Gas Intangible | FP-316047 UG GIS LANDBASE - CNG DIRECT COST | 303 | 35994.87 | 75.17% | 27057.3438 |  |  | 2020-02-15
8 | Gas Intangible | FP-316102 UG-GIS Pipeline Inspection System | 303 | 158747.54 | 75.17% | 119330.5258 |  |  | 2020-06-30
9 | Gas Intangible | FP-316182 UG 2018 CC&B UPGRADE - CNG DIRECT | 303 | 670450.44 | 75.17% | 503977.5957 |  |  | 2019-01-31
10 | Gas Intangible | FP-316269 UG WEBLOGIC FOR JDE - CNG DIRE | 303 | 21082.9 |  | 21082.9 |  |  | 2020-08-30
11 | Gas Intangible | FP-316284 GIS High Acc Trans Line Surv Enhanc | 303 | 155972.76 | 75.17% | 117244.7237 |  |  | 2020-12-31
12 | Gas Intangible | FP-316289 PowerPlan Lease CNG | 303 | -450.01 |  | -450.01 |  |  | 2020-04-30
13 | Gas Intangible | FP-316361 UG 2018 SCADA ENHANCE-CNG DIRECT | 303 | 69223.05 | 75.17% | 52034.9667 |  |  | 2023-12-31
14 | Gas Intangible | FP-316451 UG Purch RabMQ Software CNG Direct | 303 | 15422.61 |  | 15422.61 |  |  | 2020-04-30
15 | Gas Intangible | FP-317101 UG-JDEdwards AS400 to Oracle DB | 303 | 63738.72 | 75.17% | 47912.3958 |  |  | 2020-09-30
16 | Gas Intangible | FP-317322 ARLINGTON GATE UPGR; WILLIAMS COSTS | 303 | 882417.45 |  | 882417.45 | 882417.45 | 11 | 2020-06-30
17 | Gas Intangible | FP-317617 UG-Migrate Aligne CNG Direct | 303 | 8476.31 | 75.17% | 6371.6422 |  |  | 2020-01-12
18 | Gas Intangible | FP-318808 GR-OTHELLO-GT-OTHELLO GATE NWP | 303 | 858122 |  | 858122 | 858122 | 21 | 2020-11-30
19 | Gas Intangible | FP-318822 Impl myWorld Leak Survey at CNGC | 303 | 136867.86 |  | 136867.86 |  |  | 2020-05-31
20 | Gas Intangible | FP-318846 UG-Impl 2Ring Dashboard for CSC-CNG | 303 | 26509.6 | 75.17% | 19927.2663 |  |  | 2020-05-01
21 | Gas Intangible | FP-318893 UG-Impl GIS Offline Mobile Maps-CNG | 303 | 27529.2 | 75.17% | 20693.6996 |  |  | 2020-10-15
22 | Gas Intangible | FP-318987 GR-OTHELLO-NWP LAT FA COSTS | 303 | 4731395 |  | 4731395 | 4731395 | 23 | 2020-11-30
23 |  | Total Intangible Plant |  | 14946950.57 |  | 14524477.2003 | 12866642.45
24 | RESULTS OF OPERATIONS SUMMARY SHEET
25 | Gas Distribution | FP-101163 Gas Work Equipment-CNGC | 396.2 | 481087.24 | 75.17% | 361633.2783 |  |  | 2020-12-31
26 | Gas Distribution | FP-101164 IT Network Equipment-CNG | 397.2 | 290586.04 | 75.17% | 218433.5263 |  |  | 2020-12-31
27 | Gas Distribution | FP-101191 - MAIN-REINFORCE-WASHINGTON | 376.2 | 36096.4 |  | 36096.4 |  |  | 2020-04-25
28 | Gas Distribution | FP-101192 - MAIN-RELO-REPL-WASHINGTON | 376 | 55032.54 |  | 55032.54 |  |  | 2020-09-01
29 | Gas Distribution | FP-101194-Reg Station Growth Washingotn | 378 | 611717 |  | 611717 | 611717 | 27 | 2020-12-31
30 | Gas Distribution | FP-101196 - R STA-RELO-REPL-WASHINGTON | 378 | 650533.54 |  | 650533.54 |  |  | 2020-10-15
31 | Gas Distribution | FP-101197 - SERV-GROWTH-WASHINGTON | 380 | 62.76 |  | 62.76 |  |  | 2020-11-01
32 | Gas Distribution | FP-101200 - IND M&R-GROWTH-WASHINGTON | 385 | 40010.83 |  | 40010.83 |  |  | 2020-12-16
33 | Gas Distribution | FP-101201 - IND M&R-REMOVE&REPL-WASHINGTON | 385 | 21467.7 |  | 21467.7 |  |  | 2020-05-30
34 | Gas Distribution | FP-101210 Gas Meters-Total Company CNGC | 381 | 3919185.28 | 75.17% | 2946051.575 | 2946051.575 | 28 | 2020-12-31
35 | Gas Distribution | FP-101215 Gas Vehicles-CNGC | 392.2 | 2180374.04 | 75.17% | 1638987.1659 |  |  | 2020-12-31
36 | Gas Distribution | FP-101259 Gas Regulators-Total Company CNGC | 383 | 1320143.48 | 75.17% | 992351.8539 |  |  | 2020-12-31
37 | Gas Distribution | FP-101275 - SERV-RELO-REPL-WASHINGTON | 380 | 31924.36 |  | 31924.36 |  |  | 2020-11-01
38 | Gas Distribution | FP-101413GP BUILDINGS - WALLAWALLA | 375.1 | 124289.24 |  | 124289.24 |  |  | 2020-12-31
39 | Gas Distribution | FP-101416GP TOOLS - WALLAWALLA | 394.1 | 4282.32 |  | 4282.32 |  |  | 2020-12-31
40 | Gas Distribution | FP-200043 RPL 8" TRANSMISSION BELFAIR | 367.1 | 7616.94 |  | 7616.94 |  |  | 2020-12-31
41 | Gas Distribution | FP-200662 Personal Computers & Peripherals | 391.3 | 54854.48 | 75.17% | 41234.1126 |  |  | 2020-12-31
42 | Gas Distribution | FP-300233 - ARLINGTON 6" HP REINFORCEMENT | 376.2 | 2757265.26 |  | 2757265.26 | 2757265.26 | 1 | 2020-06-30
43 | Gas Distribution | FP-302369 - GB - GROUNDBED WASHINGTON | 376.1 | 747641.35 |  | 747641.35 |  |  | 2020-03-01
45 | Gas Distribution | FP-306980 ERT Replacement 2020 | 381 | 363466.8 | 75.17% | 273217.9936 |  |  | 2020-12-31
46 | Gas Distribution | FP-306988 - Walla Walla Mains High Press Steel | 376.2 | 3360413 |  | 3360413 | 3360413 | 3 | 2020-11-30
47 | Gas Distribution | FP-309960 Anacortes Upgrade | 367.1 | 2363557.25 |  | 2363557.25 |  |  | 2022-11-30
48 | Gas Distribution | FP-312009 - RP;R-130 (R-25) BURBANK | 378 | 20008.89 |  | 20008.89 |  |  | 2020-01-31
49 | Gas Distribution | FP-316027 C/M RPL; 2" HP; NOOKSACK; 732' | 376.2 | 179168.59 |  | 179168.59 |  | C | 2020-12-31
50 | Gas Distribution | FP-316033 C/M RPL; 3" HP; ZILLAH; 873' | 376.2 | 239545.87 |  | 239545.87 |  | C | 2020-12-31
51 | Gas Distribution | FP-316034 - MAOP; 8" HP; OTHE; 11,500' W LEE RD | 376.2 | 112657.85 |  | 112657.85 |  |  | 2020-11-30
52 | Gas Distribution | FP-316035 C/M RPL; 4" HP; ARLINGTON; 4,700' | 376.2 | 1321132.35 |  | 1321132.35 |  | C | 2020-12-31
53 | Gas Distribution | FP-316043 MAOP; 8" HP; BELLINGHAM; 1,800' | 376.2 | 588710.21 |  | 588710.21 |  |  | 2020-12-01
54 | Gas Distribution | FP-316044 C/M RPL; 8" HP; BREMERTON; 7,373' | 376.2 | 1714110.95 |  | 1714110.95 |  | C | 2020-12-31
55 | Gas Distribution | FP-316046 - MAOP; 8" HP; YAKI; 4,500' YAKIMA RI | 376.2 | 490462.48 |  | 490462.48 |  |  | 2020-07-30
56 | Gas Distribution | FP-316146 RP; R-178 (R-137) FERNDALE | 378 | 17894.23 |  | 17894.23 |  |  | 2020-04-30
57 | Gas Distribution | FP-316403 CRM; 6" ST; TOPPENISH, 800' | 376.1 | 517249.44 |  | 517249.44 |  | C | 2020-12-01
58 | Gas Distribution | FP-316429 - RF; 6" HP; ABER; 12,500' BASICH BLV | 376.2 | 4257740 |  | 4257740 | 4257740 | 5 | 2020-07-30
59 | Gas Distribution | FP-316570 C/M RPL; 12" STL HP, LONG/KELSO PH4 | 376.2 | 3462856.75 |  | 3462856.75 |  | C | 2020-11-30
60 | Gas Distribution | FP-316580 C/M RPL; 2,6,8" HP; ANACORTES; PH3 | 376.2 | 1079817.45 |  | 1079817.45 |  | C | 2020-12-31
61 | Gas Distribution | FP-316586 - RP; R-187 ARLINGTON GATE | 378 | 1015615.47 |  | 1015615.47 | 1015615.47 | 6 | 2020-06-30
62 | Gas Distribution | FP-316587 - RF; WALLULA GATE; R-127 & O-14 | 378 | 1308260.44 |  | 1308260.44 | 1308260.44 | 7 | 2020-08-31
63 | Gas Distribution | FP-316589 RF; S WALLA GATE; R-4 & O-2 | 378 | 1160244.89 |  | 1160244.89 | 1160244.89 | 8 | 2020-11-30
64 | Gas Distribution | FP-316670 - RF; 12" HP; KENN; WALLULA HP LINE | 376.2 | 9795152 |  | 9795152 | 9795152 | 9 | 2020-08-31
65 | Gas Distribution | FP-316822 - RP; O-4(O-4) LAWR; DIRINJECT | 378 | 77932.33 |  | 77932.33 |  |  | 2020-01-30
66 | Gas Distribution | FP-316823 - RP; O-12(O-5) DEMI; DIRINJECT | 378 | 77959.74 |  | 77959.74 |  |  | 2020-01-30
67 | Gas Distribution | FP-316923 -C/M RPL 8" MARCH POINT LINE PHASE 2 | 367.1 | 2438636.93 |  | 2438636.93 |  | C | 2020-11-30
68 | Gas Distribution | FP-317060 - FRL; 10" HP; BELL; 2900' STATEBRIDG | 376.2 | 1526471.05 |  | 1526471.05 | 1526471.05 | 10 | 2020-01-20
69 | Gas Distribution | FP-317519 RP; 2" ST; SHELTON; 7,034' PH 3 SEC | 376.3 | 441993.69 |  | 441993.69 |  | C | 2020-03-30
70 | Gas Distribution | FP-317528 RP; 3/4" SL; SHELTON; PH 3 SEC 1 SE | 380.3 | 100949.38 |  | 100949.38 |  | C | 2020-03-30
71 | Gas Distribution | FP-317535 GR; R-128 BURB;TIE-IN TO ATTAL | 378 | 136928 |  | 136928 | 136928 | 12 | 2020-08-31
72 | Gas Distribution | FP-317609 GR; R-80 ABER; BASICH BLV | 378 | 324.69 |  | 324.69 |  |  | 2020-06-30
73 | Gas Distribution | FP-317628 MAIN-GROWTH-WALLA WALLA DISTRICT | 376.3 | 639913.04 |  | 639913.04 | 639913.04 | 27 | 2020-12-31
74 | Gas Distribution | FP-317629 MAIN-REPLACE-WALLA WALLA DISTRICT | 376 | 122698.76 |  | 122698.76 |  |  | 2020-12-31
75 | Gas Distribution | FP-317630 SERV-GROWTH-WALLA WALLA DISTRICT | 380.3 | 951862.52 |  | 951862.52 | 951862.52 | 27 | 2020-12-31
76 | Gas Distribution | FP-317631 SERV-REPLACE-WALLA WALLA DISTRICT | 380 | 72198.24 |  | 72198.24 |  |  | 2020-12-31
77 | Gas Distribution | FP-317632 MAIN-GROWTH-WENATCHEE DISTRICT | 376.3 | 79311 |  | 79311 | 79311 | 27 | 2020-12-31
78 | Gas Distribution | FP-317633 MAIN-REPLACE-WENATCHEE DISTRICT | 376 | 35499.24 |  | 35499.24 |  |  | 2020-12-31
79 | Gas Distribution | FP-317634 SERV-GROWTH-WENATCHEE DISTRICT | 380.3 | 133027.99 |  | 133027.99 | 133027.99 | 27 | 2020-12-31
80 | Gas Distribution | FP-317635 SERV-REPLACE-WENATCHEE DISTRICT | 380 | 75135.57 |  | 75135.57 |  |  | 2020-12-31
81 | Gas Distribution | FP-317636 MAIN-GROWTH-YAKIMA DISTRICT | 376.3 | 800173.4 |  | 800173.4 | 800173.4 | 27 | 2020-12-31
82 | Gas Distribution | FP-317637 MAIN-REPLACE-YAKIMA DISTRICT | 376 | 270033.86 |  | 270033.86 |  |  | 2020-12-31
83 | Gas Distribution | FP-317638 SERV-GROWTH-YAKIMA DISTRICT | 380.3 | 1330260 |  | 1330260 | 1330260 | 27 | 2020-12-31
84 | Gas Distribution | FP-317639 SERV-REPLACE-YAKIMA DISTRICT | 380 | 65462.16 |  | 65462.16 |  |  | 2020-12-31
85 | Gas Distribution | FP-317640 MAIN-GROWTH-ABERDEEN DISTRICT | 376.3 | 484622.4 |  | 484622.4 | 484622.4 | 27 | 2020-12-31
86 | Gas Distribution | FP-317641 MAIN-REPLACE-ABERDEEN DISTRICT | 376 | 149164.2 |  | 149164.2 |  |  | 2020-12-31
87 | Gas Distribution | FP-317642 SERV-GROWTH-ABERDEEN DISTRICT | 380.3 | 447800.6 |  | 447800.6 | 447800.6 | 27 | 2020-12-31
88 | Gas Distribution | FP-317643 SERV-REPLACE-ABERDEEN DISTRICT | 380 | 74578.68 |  | 74578.68 |  |  | 2020-12-31
89 | Gas Distribution | FP-317644-MAIN-GROWTH-BELLINGHAM DISTRICT | 376.3 | 1294473.18 |  | 1294473.18 | 1294473.18 | 27 | 2020-12-31
90 | Gas Distribution | FP-317645 MAIN-REPLACE-BELLINGHAM DISTRICT | 376 | 126071.52 |  | 126071.52 |  |  | 2020-12-31
91 | Gas Distribution | FP-317646 SERV-GROWTH-BELLINGHAM DISTRICT | 380.3 | 1568619.36 |  | 1568619.36 | 1568619.36 | 27 | 2020-12-31
92 | Gas Distribution | FP-317647 SERV-REPLACE-BELLINGHAM DISTRICT | 380 | 74578.68 |  | 74578.68 |  |  | 2020-12-31
93 | Gas Distribution | FP-317648-MAIN-GROWTH-BREMERTON DISTRICT | 376.3 | 1396510.12 |  | 1396510.12 | 1396510.12 | 27 | 2020-12-31
94 | Gas Distribution | FP-317649 MAIN-REPLACE-BREMERTON DISTRICT | 376 | 54857.76 |  | 54857.76 |  |  | 2020-12-31
95 | Gas Distribution | FP-317650 SERV-GROWTH-BREMERTON DISTRICT | 380.3 | 2118035.96 |  | 2118035.96 | 2118035.96 | 27 | 2020-12-31
96 | Gas Distribution | FP-317651 SERV-REPLACE-BREMERTON DISTRICT | 380 | 74578.68 |  | 74578.68 |  |  | 2020-12-31
97 | Gas Distribution | FP-317652 MAIN-GROWTH-LONGVIEW DISTRICT | 376.3 | 255366.68 |  | 255366.68 | 255366.68 | 27 | 2020-12-31
98 | Gas Distribution | FP-317653 MAIN-REPLACE-LONGVIEW DISTRICT | 376 | 100812.24 |  | 100812.24 |  |  | 2020-12-31
99 | Gas Distribution | FP-317654 SERV-GROWTH-LONGVIEW DISTRICT | 380.3 | 884722.06 |  | 884722.06 | 884722.06 | 27 | 2020-12-31
100 | Gas Distribution | FP-317655 SERV-REPLACE-LONGVIEW DISTRICT | 380 | 74578.68 |  | 74578.68 |  |  | 2020-12-31
101 | Gas Distribution | FP-317656 MAIN-GROWTH-MT VERNON DISTRICT | 376.3 | 613354.97 |  | 613354.97 | 613354.97 | 27 | 2020-12-31
102 | Gas Distribution | FP-317657 MAIN-REPLACE-MT VERNON DISTRICT | 376 | 97392.48 |  | 97392.48 |  |  | 2020-12-31
103 | Gas Distribution | FP-317658 SERV-GROWTH-MT VERNON DISTRICT | 380.3 | 1801553.41 |  | 1801553.41 | 1801553.41 | 27 | 2020-12-31
104 | Gas Distribution | FP-317659 SERV-REPLACE-MT VERNON DISTRICT | 380 | 74578.68 |  | 74578.68 |  |  | 2020-12-31
105 | Gas Distribution | FP-317744 Tools & Minor Work Equip CNG WA | 394 | 88997.82 |  | 88997.82 |  |  | 2020-12-31
106 | Gas Distribution | FP-317750 MAIN-GROWTH-KENNEWICK DISTRICT | 376.3 | 1417842.72 |  | 1417842.72 | 1417842.72 | 27 | 2020-12-31
107 | Gas Distribution | FP-317751 MAIN-REPLACE-KENNEWICK DISTRICT | 376 | 145471.8 |  | 145471.8 |  |  | 2020-12-31
108 | Gas Distribution | FP-317752 SERV-GROWTH-KENNEWICK DISTRICT | 380.3 | 2952964.66 |  | 2952964.66 | 2952964.66 | 27 | 2020-12-31
109 | Gas Distribution | FP-317753 SERV-REPLACE-KENNEWICK DISTRICT | 380 | 72740.76 |  | 72740.76 |  |  | 2020-12-31
110 | Gas Distribution | FP-318092 HPSS Replacements CNG WA | 376 | 296950 |  | 296950 |  |  | 2020-12-31
111 | Gas Distribution | FP-318186 Sys Safety & Integ Main Repl CNG WA | 376.3 | 5004463.92 |  | 5004463.92 |  |  | 2020-12-31
112 | Gas Distribution | FP-318187 Sys Safety & Integ Svcs Rpl CNG WA | 380 | 4410563.92 |  | 4410563.92 |  |  | 2020-12-31
113 | Gas Distribution | FP-318325 CRM, RP; 3/4" SL; ANACORT; PH 7 S 2 | 380.3 | 71392.82 |  | 71392.82 |  | C | 2020-01-01
114 | Gas Distribution | FP-318482 RF; 4"; PE; Moses Lake 1,800' | 376.3 | 433146.02 |  | 433146.02 | 433146.02 | 14 | 2020-07-30
115 | Gas Distribution | FP-318566 RP-Brem-R-Werener&Twin View R-21 | 378 | 177166.29 |  | 177166.29 | 177166.29 | 15 | 2020-09-30
116 | Gas Distribution | FP-318588 RP-GIBRALT-4"PE2125' | 376.3 | 125671.29 |  | 125671.29 | 125671.29 | 16 | 2020-07-31
117 | Gas Distribution | FP-318690 RF-Walla-1800' 6"S/6"PE Larch Ave | 376.1 | 312625 |  | 312625 | 312625 | 17 | 2020-11-30
118 | Gas Distribution | FP-318742 RP-MTVE-R-N TEXAS RD R-47 | 378 | 352513.6 |  | 352513.6 | 352513.6 | 18 | 2020-10-31
119 | Gas Distribution | FP-318746 RF-WALLA-R-OLD MILTON HWY-2" STD | 378 | 124719 |  | 124719 | 124719 | 19 | 2020-11-20
120 | Gas Distribution | FP-318747 RF-WALLA-R-PLAZA WAY-2" STD | 378 | 124719 |  | 124719 | 124719 | 20 | 2020-11-20
121 | Gas Distribution | FP-318829 GR-OTHELLO-GT-OTHELLO GATE RS | 378 | 464483 |  | 464483 | 464483 | 22 | 2020-11-30
122 | Gas Distribution | FP-319029 RP-MTVE-MTR-N TEXAS RD | 385 | 58451 |  | 58451 |  |  | 2020-09-30
123 | Gas Distribution | FP-319056 RP; O-TBD (O-08); RICH | 378 | 143033.6 |  | 143033.6 | 143033.6 | 24 | 2020-08-30
124 | Gas Distribution | FP-319063 RP; O-TBD (O-03); KENN | 378 | 144470.2 |  | 144470.2 | 144470.2 | 25 | 2020-08-30
125 | Gas Distribution | FP-319072 GR; 6" HP&PE;W.RICH; 1.7mi KEENE RD | 376.2 | 1725636 |  | 1725636 | 1725636 | 26 | 2021-07-30
126 | Gas Distribution | FP-319086 GR; 4"; PE; WRIC; 2946; PARA | 376.3 | 19400.1 |  | 19400.1 |  |  | 2020-02-28
127 | Gas Distribution | FP-319095 Odorizer site imprvmts Walla Walla | 378 | 5607.8 |  | 5607.8 |  |  | 2020-10-20
128 | Gas Distribution | FP-319099 Repl Fence R-1 Reg Stn Walla Walla | 378 | 5845.1 |  | 5845.1 |  |  | 2020-09-20
129 | Gas Distribution | FP-319106 C/M RPL; 8" HP; YAKIMA; PH2 | 376.2 | 1196019 |  | 1196019 |  | C | 2020-12-30
130 | Gas Distribution | FP-319111 MAOP MAIN RPL CNG WA | 376 | 1178410 |  | 1178410 |  |  | 2020-12-31
131 | Gas Distribution | FP-319112 MAOP SERV RPL CNG WA | 380 | 128780 |  | 128780 |  |  | 2020-12-31
132 | Gas Distribution | FP-319168 Ext Main Noll Rd Poulsbo | 376.3 | 121015.44 |  | 121015.44 |  |  | 2020-04-15
133 | Gas Distribution | FP-319180 GR; 4" PE; LONG; 4,600' KELSO SCHOO | 376.3 | 169486.67 |  | 169486.67 |  |  | 2020-05-01
134 | Gas Distribution | FP-319193 MN,ILLAHEE PRESERVE,BREMERTON,WA | 376.3 | 10487.23 |  | 10487.23 |  |  | 2020-05-30
135 | Gas Distribution | FP-319209 GR; 4" HP; KALA; 2,500' SPENCER CRE | 376.2 | 16510.17 |  | 16510.17 |  |  | 2020-12-30
136 | Gas Distribution | FP-319238 MN,13559' SOUND VIEW,BREMERTON,WA | 376.3 | 52336.62 |  | 52336.62 |  |  | 2020-05-30
137 | Gas Distribution | FP-319247 RL;2"ST;YAKI;2,000' | 376.1 | 1145.58 |  | 1145.58 |  |  | 2020-02-01
138 | Gas Distribution | FP-319256 GR; 2" PE; PROS; 2,500' | 376.3 | -87097.05 |  | -87097.05 |  |  | 2020-11-20
139 | Gas Distribution | FP-319257 GR;4" SL; PROS; 1500 PATERSON RD | 380.3 | -21795.91 |  | -21795.91 |  |  | 2020-11-20
140 |  |  |  | 88517757.53 |  | 88517757.53 | 52174455.755
141 | Gas General | FP-101204 - GP TRAN. VEHICLE - WASHINGTO | 392.2 | 219131.38 |  | 219131.38 |  |  | 2020-06-30
142 | Gas General | FP-101288 Purchase calibration field kit | 394.1 | 1359.54 |  | 1359.54 |  |  | 2020-03-31
143 | Gas General | FP-101413 REPLACE WAREHOUSE FENCE WALLA WALLA | 390.1 | 36245.61 |  | 36245.61 |  |  | 2020-01-30
144 | Gas General | FP-306967 District Office Access Control Sys | 391.3 | 27223.01 | 75.17% | 27223.01 |  |  | 2020-05-01
146 | Gas General | FP-316445 Toughbook Replacements-CNG | 391.1 | 176798.64 | 75.17% | 176798.64 |  |  | 2020-12-31
147 | Gas General | FP-316832 Office Structure & Eq-Kennewick GO | 391.5 | 50980 | 75.17% | 50980 |  |  | 2020-12-31
148 | Gas General | FP-316915 Pur replacement display devices | 391.3 | 17333.2 | 75.17% | 17333.2 |  |  | 2020-05-01
149 | Gas General | FP-317290 Building remodel for Bellingham Dis | 390.1 | 316076 |  | 316076 |  |  | 2020-07-01
150 | Gas General | FP-317291 - Roof replacement/Parking lot - Bell | 390.1 | 15243.69 |  | 15243.69 |  |  | 2020-11-20
151 | Gas General | FP-317387 MGP site restoration | 390 | 20392 |  | 20392 |  |  | 2020-06-05
152 | Gas General | FP-318192 Fixed Network Equipment-CNG | 397 | 509800 | 75.17% | 509800 |  |  | 2020-12-31
153 | Gas General | FP-318197 Gas SCADA Equipment-CNG | 397 | 1223.52 | 75.17% | 1223.52 |  |  | 2020-12-31
154 | Gas General | FP-318317 Sensit PMD Trainer | 394.1 | 14274.4 |  | 14274.4 |  |  | 2020-02-01
155 | Gas General | FP-318319 Sensit GLT Trainer | 394.1 | 6627.4 |  | 6627.4 |  |  | 2020-02-01
156 | Gas General | FP-318352 Bremerton District Office Remodel | 390.1 | 1064539.08 |  | 1064539.08 | 1064539.08 | 13 | 2020-10-30
157 | Gas General | FP-318706 Repl Cisco VoIP Telephone-CNG | 397 | 158321.16 | 75.17% | 158321.16 |  |  | 2020-11-15
158 | Gas General | FP-318797 Instl District Strge Fclty Kelso | 390.1 | 620912.7 |  | 620912.7 |  |  | 2020-11-01
159 | Gas General | FP-318801 Instl Asphalt in Storage Area Kelso | 390.1 | 76470 |  | 76470 |  |  | 2020-07-31
160 | Gas General | FP-318889 New Transfer Prover | 394.1 | 33646.8 |  | 33646.8 |  |  | 2020-04-30
161 | Gas General | FP-318904 Transfer Prover Upgrade Bellingham | 394.1 | 23450.8 |  | 23450.8 |  |  | 2020-04-30
162 | Gas General | FP-318914 Transfer Prover upgrade Longview | 394.1 | 23450.8 |  | 23450.8 |  |  | 2020-06-06
163 | Gas General | FP-318918 Transfer Prover Upgrade Kennewick | 394.1 | 23450.8 |  | 23450.8 |  |  | 2020-10-31
164 | Gas General | FP-318957 Two Meter Shop Table Lifts | 394.1 | 8156.8 |  | 8156.8 |  |  | 2020-05-31
165 | Gas General | FP-318958 Meter Shop Leak Tester | 394.1 | 25490 |  | 25490 |  |  | 2020-04-30
166 | Gas General | FP-318959 Clamp on Check Meter | 394.1 | 20392 |  | 20392 |  |  | 2020-10-31
167 | Gas General | FP-319025 Auto Floor Scrubber | 394.1 | 7137.2 |  | 7137.2 |  |  | 2020-04-04
168 | Gas General | FP-319043 Mueller Equipment | 394 | 76238.35 | 75.17% | 76238.35 |  |  | 2020-06-30
169 | Gas General | FP-319044 CONST SERV - NEW BLDG ADD - MT VERN | 390.1 | 195305.21 |  | 195305.21 |  |  | 2020-09-30
170 | Gas General | FP-319045 TAP TRUCK HYDRAULIC SYSTEM | 394 | 11422.98 | 75.17% | 11422.98 |  |  | 2020-03-30
171 | Gas General | FP-319048 Mueller Equipment | 394 | 13240.14 | 75.17% | 13240.14 |  |  | 2020-06-30
172 | Gas General | FP-319052 BUILDING UPGARDES | 390 | 67673.91 | 75.17% | 67673.91 |  |  | 2020-03-10
173 | Gas General | FP-319053 NEW WELDER YAK FAB SHOP | 394 | 5955.01 | 75.17% | 5955.01 |  |  | 2020-03-01
174 | Gas General | FP-319090 Replace Shop Roof Walla Walla | 390.1 | 23392 |  | 23392 |  |  | 2020-03-30
175 | Gas General | FP-319091 Repl Asphalt Park Lot Walla Walla | 390.1 | 46705.6 |  | 46705.6 |  |  | 2020-09-20
176 | Gas General | FP-319092 Replace Roof Old Barn Walla Walla | 390.1 | 18294 |  | 18294 |  |  | 2020-12-20
177 | Gas General | FP-319093 Rplc Fence 324 Rose St Walla Walla | 390.1 | 13196 |  | 13196 |  |  | 2020-07-02
178 | Gas General | FP-319094 Instl Electronic Gate Walla Walla | 390.1 | 5607.8 |  | 5607.8 |  |  | 2020-10-20
179 | Gas General | FP-319098 Rplc Ovrhd Shop Door Walla Walla | 390.1 | 3958.8 |  | 3958.8 |  |  | 2020-11-06
180 | Gas General | FP-319100 Purch Threading Machine Walla Walla | 394.1 | 4282.32 |  | 4282.32 |  |  | 2020-05-05
181 | Gas General | FP-319101 Pur Xtndble Squze Tool Walla Walla | 394.1 | 3059.82 |  | 3059.82 |  |  | 2020-05-05
182 | Gas General | FP-319102 Purch Storage Cabinet Walla Walla | 391.5 | 2447.04 |  | 2447.04 |  |  | 2020-04-10
183 | Gas General | FP-319120 Instl Cement Floor Barn Walla Walla | 390.1 | 2039.2 |  | 2039.2 |  |  | 2020-11-20
184 | Gas General | FP-319132 Purch Swamp Cooler Wld Shp Wla Wla | 398 | 2039.2 |  | 2039.2 |  |  | 2020-06-15
185 | Gas General | FP-319143 Purch 2 Squeeze Tools Walla Walla | 394.1 | 15905.76 |  | 15905.76 |  |  | 2020-11-05
186 | Gas General | FP-319146 OFFICE REMODEL | 390.1 | 100372.18 |  | 100372.18 |  |  | 2020-02-18
187 | Gas General | FP-319147 Purchase Air Compressor Walla Walla | 394.1 | 2039.2 |  | 2039.2 |  |  | 2020-05-15
188 | Gas General | FP-319284 12" Mueller Shell Cutter and Stoppe | 394.1 | 5534.02 | 75.17% | 5534.02 |  |  | 2020-01-15
189 | Gas General | FP-319289 PURCHASE FUME EXTRACTOR BREMERTON | 394.1 | 6159.1 |  | 6159.1 |  |  | 2020-02-29
190 |  | Total Distribution Plant |  | 4122994.17 |  | 4122994.17 | 1064539.08
191 |  | Total |  | 107587702.27 |  | 107165228.9003 | 66105637.285
192 | Notes:
193 | [5 empty] | FERC | Budgeted 2020 | Depr. Rate | Depreciation
194 | C | CRM | 12762873.22 |  |  | Acct | Investment | UG-200278 | Expense |  | OR
195 |  |  |  |  | 303 | 303 | 12866642.45 | 12.81% | 1648216.8978 |  | 10
196 |  |  |  |  | 367.1 | 367.1 | 0 | 1.5% | 0
197 |  |  |  |  | 374.2 | 374.2 | 0 | 1.64% | 0
198 |  |  |  |  | 376.1 | 376.1 | 312625 | 3.56% | 11129.45
199 |  |  |  |  | 376.2 | 376.2 | 23422677.31 | 1.52% | 356024.6951
200 |  |  |  |  | 376.3 | 376.3 | 7540384.82 | 2.81% | 211884.8134
201 |  |  |  |  | 378 | 378 | 5763870.49 | 1.97% | 113548.2487
202 |  |  |  |  | 380.1 | 380.1 | 0 | 3.47% | 0
203 |  |  |  |  | 380.3 | 380.3 | 12188846.56 | 3.36% | 409545.2444
204 |  |  |  |  | 381 | 381 | 2946051.575 | 2.61% | 76891.9461
205 |  |  |  |  | 383 | 383 | 0 | 2.16% | 0
206 |  |  |  |  | 385 | 385 | 0 | 1.7% | 0
207 |  |  |  |  | 390.1 | 390.1 | 1064539.08 | 1.44% | 15329.3628
208 |  |  |  |  | 394.1 | 394.1 | 0 | 10.66% | 0
209 |  |  |  |  | 396.2 | 396.2 | 0 | 9.63% | 0
210 |  |  |  |  | 397.2 | 397.2 | 0 | 5.53% | 0
211 |  |  |  |  | Totals |  | 66105637.285 |  | 2842570.6583 | 0.043
212
213 | [6 empty] | 0

## MCP-6 - 2019 Plant Additions
Cascade Natural Gas
Proposed Plant Additions
12 Months ended December 31, 2018
| (A) | (B) | (C) | (D) | ( E ) | (F)=(D)*( E ) | (G) | (H) | (I)
Line No. | Function | Funding Project - Description | Account No. | 2019 Total - Figures exported from "Power Plan" the company's budget and plant accounting software | WA Alloc | WA | Proposed Adjustment | Notes | Estimated In-Service Date
| Gas Intangible | FP-101480 - UG-Work Asset Management | 303 | 1268624.99 | 74.85% | 949565.805 |  |  |  |  | #VALUE! | 101480
2 | Gas Intangible | FP-200064 - UG-Customer Self-Service Web/IVR | 303 | 118850.12 | 74.85% | 88959.3148 | [5 empty] | 200064
3 | Gas Intangible | FP-200663 - UG-GIS Enhancements | 303 | 124010.28 | 74.85% | 92821.6946 | [5 empty] | 200663
4 | Gas Intangible | FP-315865 - UG ThoughtSpot Implementation Project | 303 | 101504.52 | 74.85% | 75976.1332 | [5 empty] | 315865
5 | Gas Intangible | FP-316447 - UG PragmaField Implementation | 303 | 19324.46 | 74.85% | 14464.3583 | [5 empty] | 316447
6 | Gas Intangible | FP-317047 - UG Gas Scada Implement DR System | 303 | 56940.42 | 74.85% | 42619.9044 | [5 empty] | 317047
7 | Gas Intangible | FP-317050 - UG Gas SCADA Upgrade Autosol EFM | 303 | 21160.86 | 74.85% | 15838.9037 | [5 empty] | 317050
8 | Gas Intangible | FP-317101 - UG-JDEdwards AS400 to Oracle DB | 303 | 65552.53 | 74.85% | 49066.0687 | [5 empty] | 317101
9 | Gas Intangible | FP-317103 - UG-PowerPlan Upgrade to 2018.X | 303 | 165560.02 | 74.85% | 123921.675 | [5 empty] | 317103
10 | Gas Intangible | FP-317297 - UG PragmaFIELD/Dispatcher Licences | 303 | 4517.63 | 74.85% | 3381.4461 | [5 empty] | 317297
11 | Gas Intangible | FP-317322 Arlington Gate Upgrade; Williams Costs | 303 | 965778.4 |  | 965778.4 | 965778.4 | 10 | 2019-06-01 |  |  | 317322
#VALUE!
12 |  | Total Intangible Plant |  | 2911824.23 |  | 2422393.7038 | 965778.4 |  |  |  |  | #VALUE!
13 | RESULTS OF OPERATIONS SUMMARY SHEET | [10 empty] | #VALUE!
14 | Gas Distribution | FP-101170 - MAIN-GROWTH-OREGON | 376 | 387566 | [7 empty] | 101170
15 | Gas Distribution | FP-101172 - MAIN-RELO-REPL-OREGON | 376 | 398194.88 | [7 empty] | 101172
16 | Gas Distribution | FP-101176 - SERV-GROWTH-OREGON | 380 | 2844250 | [7 empty] | 101176
17 | Gas Distribution | FP-101177 - SERV-RELO-REPL-OREGON | 380 | 170655 | [7 empty] | 101177
18 | Gas Distribution | FP-101178 - STD M&R-GROWTH-OREGON | 382 | 111676.56 | [7 empty] | 101178
19 | Gas Distribution | FP-101179 - STD M&R-RELO-REPL-OREGON | 382 | 331980.91 | [7 empty] | 101179
20 | Gas Distribution | FP-101180 - IND M&R-GROWTH-OREGON | 385 | 73402.08 | [7 empty] | 101180
21 | Gas Distribution | FP-101181 - IND M&R-REMOVE&REPLACE-OREGON | 385 | 122336.92 | [7 empty] | 101181
22 | Gas Distribution | FP-101184 - GP TRAN.VEHICLE - OREGON | 392 | 729365.6 | [7 empty] | 101184
23 | Gas Distribution | FP-101186 - GP POWER EQUIP - OREGON | 396 | 673288.56 | [7 empty] | 101186
24 | Gas Distribution | PF-101187 - GP COMM EQUIP - OREGON | 397 | 19663.8 | [7 empty] | 101187
25 | Gas Distribution | FP-101190 - MAIN-GROWTH-WASHINGTON | 376 | 2907081.16 |  | 2907081.16 |  | G |  |  |  | 101190
26 | Gas Distribution | FP-101192 - MAIN-RELO-REPL-WASHINGTON | 376 | 2628604.12 |  | 2628604.12 | 2628604.12 | 1 | 2025-12-31 |  |  | 101192
27 | Gas Distribution | FP-101194 - R STA-GROWTH-WASHINGTON | 378 | 113770 |  | 113770 |  | G |  |  |  | 101194
28 | Gas Distribution | FP-101196 - R STA-RELO-REPL-WASHINGTON | 378 | 929537.23 |  | 929537.23 | [5 empty] | 101196
29 | Gas Distribution | FP-101197 - SERV-GROWTH-WASHINGTON | 380 | 12633047.1 |  | 12633047.1 |  | G |  |  |  | 101197
30 | Gas Distribution | FP-101198 - STD M&R-GROWTH-WASHINGTON | 382 | 141074.8 |  | 141074.8 |  | G |  |  |  | 101198
31 | Gas Distribution | FP-101199 - STD M&R-RELO-REPL-WASHINGTON | 382 | 709924.8 |  | 709924.8 |  | G |  |  |  | 101199
32 | Gas Distribution | FP-101200 - IND M&R-GROWTH-WASHINGTON | 385 | 171169.28 |  | 171169.28 |  | G |  |  |  | 101200
33 | Gas Distribution | FP-101201 - IND M&R-REMOVE&REPL-WASHINGTON | 385 | 256050.84 |  | 256050.84 | [5 empty] | 101201
34 | Gas Distribution | FP-101210 - PRE-CAP MTR-GROWTH-INTERSTAT | 381 | 2947488.36 | 74.49% | 2195584.0794 |  | G |  |  |  | 101210
35 | Gas Distribution | FP-101259 - PRE-CAP REG-GROWTH-INTERSTAT | 383 | 669513.72 | 74.49% | 498720.77 |  | G |  |  |  | 101259
36 | Gas Distribution | FP-101275 - SERV-RELO-REPL-WASHINGTON | 380 | 341310 |  | 341310 | [5 empty] | 101275
37 | Gas Distribution | FP-101505 - ARLINGTON GATE UPGRADE | 378 | 967078.48 |  | 967078.48 |  | G |  |  |  | 101505
38 | Gas Distribution | FP-200686 - CRM LONGVIEW PIPE REPLACEMENT | 376 | 575105.22 |  | 575105.22 |  | C |  |  |  | 200686
39 | Gas Distribution | FP-200687 - CRM ANACORTES PIPE REPLACEMENT | 376 | 2802736.39 |  | 2802736.39 |  | C |  |  |  | 200687
40 | Gas Distribution | FP-200688 - BEND PIPE REPL | 376 | 2802736.39 | [7 empty] | 200688
41 | Gas Distribution | FP-300233 - ARLINGTON 6" HP REINFORCEMENT | 376 | 833125.93 |  | 833125.93 | [5 empty] | 300233
42 | Gas Distribution | FP-300363 - CRM SHELTON PIPE REPLACEMENT | 376 | 1791361.95 |  | 1791361.95 |  | C |  |  |  | 300363
43 | Gas Distribution | FP-302369 - GB - GROUNDBED WASHINGTON | 376 | 526983.79 |  | 526983.79 | [5 empty] | 302369
44 | Gas Distribution | FP-302370 - GB - GROUNDBED OREGON | 376 | 291706.28 | [7 empty] | 302370
45 | Gas Distribution | FP-302588 - HILDEBRAND BLVD 6" HP MAIN | 376 | 29284.38 |  | 29284.38 |  | G |  |  |  | 302588
46 | Gas Distribution | FP-302594 - CRM KELSO PIPE REPLACEMENT | 376 | 2401110.4 |  | 2401110.4 |  | C |  |  |  | 302594
47 | Gas Distribution | FP-302596 - WALLULA GATE STATION; GTN | 378 | 4088411.51 |  | 4088411.51 | 4088411.51 | 2 | 2019-12-31 |  |  | 302596
48 | Gas Distribution | FP-306987 - BURLINGTON REIN. @ PETERSON ROAD | 376 | 447715.93 |  | 447715.93 | [5 empty] | 306987
49 | Gas Distribution | FP-306998 - NEW SOUTH WALLA WALLA GATE | 378 | 963378.75 |  | 963378.75 |  | G |  |  |  | 306998
50 | Gas Distribution | FP-307212 - CRM KELSO GRADE ST BRIDGE RELOCATE | 376 | 394191.9 |  | 394191.9 |  | C |  |  |  | 307212
51 | Gas Distribution | FP-307221 - 8" YAKIMA HP PIPELINE | 376 | 2436352.3 |  | 2436352.3 | 2436352.3 | 4 | 2019-12-31 |  |  | 307221
52 | Gas Distribution | FP-308023 - ERT REPLACEMENT 2019 | 381 | 12236196.65 | 74.49% | 9114742.8846 | 9114742.8846 | 5 | 2019-12-31 |  |  | 308023
53 | Gas Distribution | FP-312009 - RP;REG STA R-25 BURBANK | 378 | 103618.58 |  | 103618.58 | [5 empty] | 312009
54 | Gas Distribution | FP-316034 - CRM; 4" HP; OTHELLO; 9,801' | 376 | 2528268.04 |  | 2528268.04 |  | C |  |  |  | 316034
55 | Gas Distribution | FP-316043 - MAOP; 8" HP; BELLINGHAM;1,800' | 376 | 349487.36 |  | 349487.36 | [5 empty] | 316043
56 | Gas Distribution | FP-316045 - MAOP; 8" HP; KALAMA; 600' | 376 | 404455.13 |  | 404455.13 | [5 empty] | 316045
57 | Gas Distribution | FP-316046 - CRM; 8" HP; YAKIMA; 3,727' | 376 | 1276607.46 |  | 1276607.46 |  | C |  |  |  | 316046
58 | Gas Distribution | FP-316153 - MAOP; 4,6"; BELLINGHAM; 407' | 376 | 155443.13 |  | 155443.13 | [5 empty] | 316153
59 | Gas Distribution | FP-316158 - RP; R-TBD(R-4) MONTESANO | 378 | 148367.69 |  | 148367.69 | [5 empty] | 316158
60 | Gas Distribution | FP-316243 - RF; 4" PE; BEND; 1,200' ARCHIE BRIG | 376 | 197024.53 | [7 empty] | 316243
61 | Gas Distribution | FP-316299 -RP; R-154 (R-26) BREMERTON | 378 | 492208.54 |  | 492208.54 | [5 empty] | 316299
62 | Gas Distribution | FP-316401 - RP; 2,4" BRIDGE XINGS, BAKER CITY | 376 | 274270.17 | [7 empty] | 316401
63 | Gas Distribution | FP-316407 - RF; 4" PE; BEND; 1,500' NW NEWPORT | 376 | 184432.46 | [7 empty] | 316407
64 | Gas Distribution | FP-316429 - RF; 6" HP; ABER; 12,500' BASICH BLV | 376 | 2282179.72 |  | 2282179.72 | 2282179.72 | 6 | 2019-12-31 |  |  | 316429
65 | Gas Distribution | FP-316431 - RF; 6" PE; ABER; 1,200' OAK ST | 376 | 277492.69 |  | 277492.69 |  | G |  |  |  | 316431
66 | Gas Distribution | FP-316569 - C/M RPL; 12" STL HP, LONG/KELSO PH3 | 376 | 3387285.01 |  | 3387285.01 | [5 empty] | 316569
67 | Gas Distribution | FP-316573 - RPL; 4" HP, MADRAS PH2 | 376 | 2306938.46 | [7 empty] | 316573
68 | Gas Distribution | FP-316575 - RPL; 6" HP, BEND HP PH2 | 376 | 1620273.71 | [7 empty] | 316575
69 | Gas Distribution | FP-316579 - CRM; 2,6,8" HP; ANACORTES; PH2 | 376 | 1128679.66 |  | 1128679.66 |  | C |  |  |  | 316579
70 | Gas Distribution | FP-316586 - RP; R-TBD ARLINGTON GATE | 378 | 1038473.63 |  | 1038473.63 | 1038473.63 | 7 | 2019-12-31 |  |  | 316586
71 | Gas Distribution | FP-316587 - RF; R-TBD; WALLULA GATE STATION | 378 | 963617.88 |  | 963617.88 |  | G |  |  |  | 316587
72 | Gas Distribution | FP-316670 - RF; 12" HP; KENN; WALLULA HP LINE | 376 | 7244612.32 |  | 7244612.32 | 7244612.32 | 8 | 2019-12-31 |  |  | 316670
73 | Gas Distribution | FP-316822 - RP; O-11(O-4) LAWR; BELLINGHAM | 378 | 142071.15 |  | 142071.15 | [5 empty] | 316822
74 | Gas Distribution | FP-316823 - RP; O-12 (O-5) DEMI; BELLINGHAM | 378 | 142071.15 |  | 142071.15 | [5 empty] | 316823
75 | Gas Distribution | FP-316845 - O-9 Replacement South Hermiston Gat | 378 | 194009.6 | [7 empty] | 316845
76 | Gas Distribution | FP-316865 - RP; 8" HP; CHIC; 30' V-08 & HP MAIN | 376 | 187720.5 |  | 187720.5 | [5 empty] | 316865
77 | Gas Distribution | FP-316923 - CRM RPL 8" MARCH POINT PH 2 | 367 | 2534003.84 |  | 2534003.84 |  | C |  |  |  | 316923
78 | Gas Distribution | FP-316939 - R-1 Burlington Outlet Piping | 376 | 323673 |  | 323673 |  | G |  |  |  | 316939
79 | Gas Distribution | FP-316940 - R-162 Burlington Replacement | 378 | 179104.89 |  | 179104.89 |  | G |  |  |  | 316940
80 | Gas Distribution | FP-316958 - FRL 400' 6" PWX MN, CRESENT HARBOR | 376 | 138053.53 |  | 138053.53 | [5 empty] | 316958
81 | Gas Distribution | FP-316978 - RF; REG STA R-124, STEPTOE, KENN | 378 | 164966.5 |  | 164966.5 |  | G |  |  |  | 316978
82 | Gas Distribution | FP-317060 - FRL; 10" HP; BELL; 2000' | 376 | 1028640.41 |  | 1028640.41 | 1028640.41 | 9 | 2019-08-26 |  |  | 317060
83 | Gas Distribution | FP-317219 - RP; 8" BRIDGE XING, WALLA WALLA | 376 | 213529.89 |  | 213529.89 | [5 empty] | 317219
84 | Gas Distribution | FP-317307 - Repl MN/Bore @Purcell Blvd Bend | 376 | 136401.32 | [7 empty] | 317307
85 | Gas Distribution | FP-317332 - 1780' 4" PE & Steel MN Burbank Simp | 376 | 139882.25 |  | 139882.25 |  | G |  |  |  | 317332
86 |  |  |  | 95786292.17 |  | 77871967.944 | 29862016.8946 |  |  |  |  | #VALUE!
#VALUE!
87 | Gas General | FP-101164 - General Purpose Communication Equip | 397 | 78151 | 74.85% | 58496.0235 | [5 empty] | 101164
88 | Gas General | FP-101204 - GP TRAN. VEHICLE - WASHINGTO | 392 | 1182172.56 |  | 1182172.56 | [5 empty] | 101204
89 | Gas General | FP-101206 - GP POWER EQUIP - WASHINGTON | 396 | 1727285.36 |  | 1727285.36 | [5 empty] | 101206
90 | Gas General | FP-101207 - GP COMM EQUIP - WASHINGTON | 397 | 19663.8 |  | 19663.8 | [5 empty] | 101207
91 | Gas General | FP-101213 - GP BUILDINGS - INTERSTATE | 390 | 15126 | 74.85% | 11321.811 | [5 empty] | 101213
92 | Gas General | FP-101215 - GP TRAN. VEHICLE - INTERSTAT | 392 | 82976.2 | 74.85% | 62107.6857 | [5 empty] | 101215
93 | Gas General | FP-101216 - GP TOOLS - INTERSTATE | 394 | 143849.46 | 74.85% | 107671.3208 | [5 empty] | 101216
94 | Gas General | FP-101237 - GP TOOLS - PENDLETON | 394 | 51529.24 | [7 empty] | 101237
95 | Gas General | FP-101255 - GP TOOLS - ONTARIO | 394 | 16336.08 | [7 empty] | 101255
96 | Gas General | FP-101261 - GP TOOLS - WENATCHEE | 394 | 13815.08 |  | 13815.08 | [5 empty] | 101261
97 | Gas General | FP-101269 - GP OFFICE EQUIP - YAKIMA | 391 | 13109.2 |  | 13109.2 | [5 empty] | 101269
98 | Gas General | FP-101305 - GP OFFICE EQUIP - MT. VERNON | 391 | 15126 |  | 15126 | [5 empty] | 101305
99 | Gas General | FP-101307 - GP TOOLS - MT. VERNON | 394 | 47899 |  | 47899 | [5 empty] | 101307
100 | Gas General | FP-101326 - GP TOOLS _ BREMERTON | 394 | 98924.04 |  | 98924.04 | [5 empty] | 101326
101 | Gas General | FP-101344 - GP TOOLS - LONGVIEW | 394 | 41344.4 |  | 41344.4 | [5 empty] | 101344
102 | Gas General | FP-101362 - GP TOOLS - ABERDEEN | 394 | 29243.6 |  | 29243.6 | [5 empty] | 101362
103 | Gas General | FP-101398 - GP TOOLS - TRI - CITIES | 394 | 38319.2 |  | 38319.2 | [5 empty] | 101398
104 | Gas General | FP-101416 - GP TOOLS - WALLAWALLA | 394 | 25714.2 |  | 25714.2 | [5 empty] | 101416
105 | Gas General | FP-101451 - GP TOOLS - YAKIMA | 394 | 26218.42 |  | 26218.42 | [5 empty] | 101451
106 | Gas General | FP-200661 - Data Center & Network Equipment | 391 | 37815 | 74.85% | 28304.5275 | [5 empty] | 200661
107 | Gas General | FP-200662 - Personal Computers & Peripherals | 391 | 113041.64 | 74.85% | 84611.6675 | [5 empty] | 200662
108 | Gas General | FP-306967 - DISTRICT OFFICE ACCESS CONTROL SYS | 391 | 125738.62 | 74.85% | 94115.3571 | [5 empty] | 306967
109 | Gas General | FP-307020 - Longview - New Operations Bldg 2018 | 390 | 1966245.17 |  | 1966245.17 | 1966245.17 | 3 | 2019-03-01 |  |  | 307020
110 | Gas General | FP-316832 - Office Structures & Equip-GO | 391 | 75630 | 74.85% | 56609.055 | [5 empty] | 316832
111 | Gas General | FP-316853 - Verizon 3G Modem Replacement | 397 | 299529.04 | 74.85% | 224197.4864 | [5 empty] | 316853
112 | Gas General | FP-316915 - Pur replacment display devices | 391 | 49915.8 | 74.85% | 37361.9763 | [5 empty] | 316915
113 | Gas General | FP-317120 - Purch Training Props for Sunnyside | 394 | 58789.72 | 74.85% | 44004.1054 | [5 empty] | 317120
114 | Gas General | FP-317191 - Security System - Yakima facility | 390 | 20168 |  | 20168 | [5 empty] | 317191
115 | Gas General | FP-317290 - Building remodel for Bellingham Dis | 390 | 201680 |  | 201680 | [5 empty] | 317290
116 | Gas General | FP-317291 - Roof replacement/Parking lot - Bell | 390 | 65546 |  | 65546 | [5 empty] | 317291
117 |  | Total Distribution Plant |  | 6680901.83 |  | 6341275.0463 | 1966245.17
118 |  | Total |  | 105379018.23 |  | 86635636.694 | 32794040.4646 |  |  | 0
119 | Notes:
120 | [5 empty] | FERC | Budgeted 2019 | Depr. Rate | Depreciation
121 | C | CRM |  | 15432064.86 |  | Acct | Investment | UG-150762 | Expense
122 | G | Growth |  | 23378850.8094 |  | 303 | 965778.4 | 12.81 | 123716.213
123 |  | Total |  | 38810915.6694 |  | 367 | 0 | 1.82 | 0
124 | [5 empty] | 376 | 15620388.87 | 1.25 | 195254.8609
125 | [5 empty] | 378 | 5126885.14 | 1.92 | 98436.1947
126 | [5 empty] | 380 | 0 | 3.88 | 0
127 | [5 empty] | 381 | 9114742.8846 | 2.27 | 206904.6635
128 | [5 empty] | 382 | 0 | 1.86 | 0
129 | [5 empty] | 383 | 0 | 2.32 | 0
130 | [5 empty] | 385 | 0 | 2.18 | 0
131 | [5 empty] | 390 | 1966245.17 | 1.24 | 24381.4401
132 | [5 empty] | 391 | 0 | 0.05 | 0
133 | [5 empty] | 392 | 0 | 6.15 | 0
134 | [5 empty] | 394 | 0 | 3.56 | 0
135 | [5 empty] | 396 | 0 | 5.18 | 0
136 | [5 empty] | 397 | 0 | 0.13 | 0
137 |  |  |  |  | Totals |  | 32794040.4646 |  | 648693.3722 | 0.019781
138
139 | [6 empty] | 0

## Pro Forma Plant Additions (CA)
Cascade Natural Gas Corporation
UG 20_____
MCP WP-1.15
Pro Forma Plant Additions
Twelve Months Ended December 31, 2019
| A | B | C | D | E
Ln.
1 | Investment from MCP-6 |  |  | 66105637.285
2 | 2019 Property Tax Rate [1] | 1.158%
3 | Property Tax |  |  | 765625.054
4
5 | Total Investment |  | Ln 1 | 66105637.285
6 | Depreciation Expense |  | From Exhibit No. MCP-6 | 2842570.6583 | 2842570.6583
7 | Accumulated Depr. (Avg) |  | Ln 6 / 2 | 1421285.3292
8 | Accum Tax depreciation |  | Ln 5 *3.75% | 2478961.3982
9 | Deferred Tax |  | (Ln 8 - Ln 6) * .21 | -76357.9446
10 | Accum Def Tax (Avg) |  | Ln 9 / 2 | -38178.9723
11 | FIT |  | Ln 6 * .21 |  | 596939.8382
12 | Rate Bate |  |  | 64722530.9281
13 | 2020 New Customer Revenue Adjustment |  |  | 1281027.22
Exhibit IDM-7, Column (Y), Line 584
Notes:
[1] | 2019 Assessment (Final) |  |  | 241152000
| Actual taxes to be paid in 2019 |  |  | 2792984.39
| Effective Tax Rate |  |  | 0.011582

## Pro Forma Plant Additions (A1)
Cascade Natural Gas Corporation
UG 20_____
MCP WP-1.15
Pro Forma Plant Additions
Twelve Months Ended December 31, 2019
| A | B | C | D | E
Ln.
1 | Investment from MCP-6 |  |  | 38777312.615 |  | -27328324.67
2 | 2019 Property Tax Rate [1] | 1.158%
3 | Property Tax |  |  | 449112.7124 |  | -316512.3416
4
5 | Total Investment |  | Ln 1 | 38777312.615 |  | -27328324.67
6 | Depreciation Expense |  | From Exhibit No. MCP-6 | 1678768.7481 | 1678768.7481 | -1163801.9102 |  | -1480314.2518
7 | Accumulated Depr. (Avg) |  | Ln 6 / 2 | 839384.3741 |  | -581900.9551
8 | Accum Tax depreciation |  | Ln 5 *3.75% | 1454149.2231 |  | -1024812.1751
9 | Deferred Tax |  | (Ln 8 - Ln 6) * .21 | -47170.1003 |  | 29187.8444
10 | Accum Def Tax (Avg) |  | Ln 9 / 2 | -23585.0501 |  | 14593.9222
11 | FIT |  | Ln 6 * .21 |  | 352541.4371 |  | -244398.4011
12 | Rate Bate |  |  | 37961513.291 |  | -26761017.6371
13 | 2020 New Customer Revenue Adjustment |  |  | 1281027.22 |  | 0
Exhibit IDM-7, Column (Y), Line 584
Notes:
[1] | 2019 Assessment (Final) |  |  | 241152000
| Actual taxes to be paid in 2019 |  |  | 2792984.39
| Effective Tax Rate |  |  | 0.011582

## Pro Forma Plant Additions (A2)
Cascade Natural Gas Corporation
UG 20_____
MCP WP-1.15
Pro Forma Plant Additions
Twelve Months Ended December 31, 2019
| A | B | C | D | E
Ln.
1 | Investment from MCP-6 |  |  | 33260983.725 |  | -5516328.89
2 | 2019 Property Tax Rate [1] | 1.158%
3 | Property Tax |  |  | 385223.4621 |  | -63889.2503
4
5 | Total Investment |  | Ln 1 | 33260983.725 |  | -5516328.89
6 | Depreciation Expense |  | From Exhibit No. MCP-6 | 1504327.2703 | 1504327.2703 | -174441.4778 |  | -238330.7281
7 | Accumulated Depr. (Avg) |  | Ln 6 / 2 | 752163.6352 |  | -87220.7389
8 | Accum Tax depreciation |  | Ln 5 *3.75% | 1247286.8897 |  | -206862.3334
9 | Deferred Tax |  | (Ln 8 - Ln 6) * .21 | -53978.4799 |  | -6808.3797
10 | Accum Def Tax (Avg) |  | Ln 9 / 2 | -26989.24 |  | -3404.1898
11 | FIT |  | Ln 6 * .21 |  | 315908.7268 |  | -36632.7103
12 | Rate Bate |  |  | 32535809.3298 |  | -5425703.9613
13 | 2020 New Customer Revenue Adjustment |  |  | 1281027.22
Exhibit IDM-7, Column (Y), Line 584
Notes:
[1] | 2019 Assessment (Final) |  |  | 241152000
| Actual taxes to be paid in 2019 |  |  | 2792984.39
| Effective Tax Rate |  |  | 0.011582

## Pro Forma Plant Additions (A3)
Cascade Natural Gas Corporation
UG 20_____
MCP WP-1.15
Pro Forma Plant Additions
Twelve Months Ended December 31, 2019
| A | B | C | D | E
Ln.
1 | Investment from MCP-6 |  |  | 7118539.08 |  | -26142444.645
2 | 2019 Property Tax Rate [1] | 1.158%
3 | Property Tax |  |  | 82445.7957 |  | -302777.6664 |  |  | -1068402.7204
4
5 | Total Investment |  | Ln 1 | 7118539.08 |  | -26142444.645
6 | Depreciation Expense |  | From Exhibit No. MCP-6 | 740496.8056 | 740496.8056 | -763830.4648 |  | -1066608.1312 | -3606401.1231
7 | Accumulated Depr. (Avg) |  | Ln 6 / 2 | 370248.4028 |  | -381915.2324
8 | Accum Tax depreciation |  | Ln 5 *3.75% | 266945.2155 |  | -980341.6742
9 | Deferred Tax |  | (Ln 8 - Ln 6) * .21 | -99445.8339 |  | -45467.354
10 | Accum Def Tax (Avg) |  | Ln 9 / 2 | -49722.917 |  | -22733.677
11 | FIT |  | Ln 6 * .21 |  | 155504.3292 |  | -160404.3976
12 | Rate Bate |  |  | 6798013.5942 |  | -25737795.7356
13 | 2020 New Customer Revenue Adjustment |  |  | 1281027.22
Exhibit IDM-7, Column (Y), Line 584
Notes:
[1] | 2019 Assessment (Final) |  |  | 241152000
| Actual taxes to be paid in 2019 |  |  | 2792984.39
| Effective Tax Rate |  |  | 0.011582