## Legend
Date
Data as/of | 2019-08-23
Year | 2019
Event Begin Date/Time | 2019-07-23 | Event Begin Time
Event End Date/Time | 2019-07-24 | Event End Time
Month Begin | 2019-07-01
Month End | 2019-07-31
Year Begin | 2019-01-01
Year End | 2019-07-31
State | Sunnyside WA
Comments: | Tag | filed

## Customer Analysis
| Sunnyside WA | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by operating area customer counts
|  |  | 2019-07-23 | through | 2019-07-24
| PacifiCorp Major Events Report Customer Analysis* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 10365 | 0.5244% | 420632.582 | 26 | 1976599 | 0 | 10147 | 218 | 0 | 0 | 0 | 0 | 97.9% | 0.21281 | 0.0052439 | 40.582
PP | Pacific Power | 10365 | 1.293% | 420632.582 | 26 | 801840 | 0 | 10147 | 218 | 0 | 0 | 0 | 0 | 97.9% | 0.52458 | 0.012927 | 40.582
WA | Washington | 10365 | 7.578% | 420632.582 | 26 | 136786 | 0 | 10147 | 218 | 0 | 0 | 0 | 0 | 97.9% | 3.0751 | 0.075775 | 40.582
WA | SUNNYSIDE | 10365 | 41.33% | 420632.582 | 26 | 25081 | 0 | 10147 | 218 | 0 | 0 | 0 | 0 | 97.9% | 16.771 | 0.41326 | 40.582
*Only current event specific metric impact shown. Does not include values from other events which may have occurred in other regions during the same time period.
|  | Customer Interrupted by Date |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by state customer counts
|  |  | 2019-07-23 | through | 2019-07-24 |  |  |  | Customers Restored by Intervals
| Date* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
| 2019-07-23 | 10365 | 7.578% | 420632.582 | 26 | 136786 | 0 | 10147 | 218 | 0 | 0 | 0 | 0 | 97.9% | 3.0751 | 0.075775 | 40.582
Data as of
2019-08-23

## SSC by State
| Sunnyside WA | Event |  | 2019-07-23 | through | 2019-07-24 |  | Month |  | 2019-07-01 | through | 2019-07-31 |  | YTD |  | 2019-01-01 | through | 2019-07-31
|  | Major Events Included |  |  | Major Event Excluded |  |  | Major Events Included |  |  | Major Events Excluded* |  |  | Major Events Included |  |  | Major Events Excluded*
| PacifiCorp Major Events Report SSC by State | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 0.7499 | 0.011169 | 67.1434 | 0.5371 | 0.0059248 | 90.6519 | 18.6033 | 0.13486 | 137.9488 | 10.7444 | 0.096203 | 111.6847 | 186.1797 | 0.81658 | 228.0005 | 69.0714 | 0.61848 | 111.6794
PP | Pacific Power | 0.9793 | 0.017356 | 56.4235 | 0.45472 | 0.0044298 | 102.6501 | 16.8424 | 0.16815 | 100.1655 | 9.9452 | 0.098839 | 100.6208 | 309.3776 | 0.96353 | 321.0868 | 66.3173 | 0.59084 | 112.2419
WA | Washington | 3.6399 | 0.077676 | 46.8606 | 0.56483 | 0.0019008 | 297.157 | 10.5768 | 0.1371 | 77.1478 | 7.5016 | 0.061322 | 122.3318 | 77.261 | 0.63911 | 120.8888 | 62.3967 | 0.50162 | 124.3896
WA | SUNNYSIDE | 3.0751 | 0.075775 | 40.582 | 0 | 0 | 0 | 4.2109 | 0.090375 | 46.5942 | 1.1358 | 0.014599 | 77.7994 | 15.576 | 0.17229 | 90.4052 | 12.5 | 0.096508 | 129.5222
WA | WALLA WALLA | 0.0013528 | 2.1932e-05 | 61.6833 | 0.0013528 | 2.1932e-05 | 61.6833 | 3.0294 | 0.015111 | 200.4732 | 3.0294 | 0.015111 | 200.4732 | 9.7316 | 0.092093 | 105.6713 | 9.6946 | 0.091983 | 105.3949
WA | YAKIMA | 0.56348 | 0.0018788 | 299.9057 | 0.56348 | 0.0018788 | 299.9057 | 3.3364 | 0.031611 | 105.5448 | 3.3364 | 0.031611 | 105.5448 | 51.9534 | 0.37472 | 138.6446 | 40.2022 | 0.31313 | 128.3875
*may include other regional major event exclusions during the same period. Operating areas are calculated by the state frozen customer count metrics.
Data as/of
2019-08-23