## Legend
Date
Data as/of | 2019-11-20
Fiscal Year | FY2020
Event Begin Date/Time | 2019-10-28 20:17 | Event Begin Time
Event End Date/Time | 2019-10-29 20:17 | Event End Time
Month Begin | 2019-10-01
Month End | 2019-10-31
Year Begin | 2019-01-01
Year End | 2019-10-31
State | Yakima WA
Comments: | Tag | filed

## Customer Analysis
| Yakima WA | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by operating area customer counts
|  |  | 2019-10-28 20:17 | through | 2019-10-29 20:17
| PacifiCorp Major Events Report Customer Analysis* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 9770 | 0.4943% | 289109.95 | 18 | 1976599 | 0 | 9306 | 464 | 0 | 0 | 0 | 0 | 95.25% | 0.14627 | 0.0049428 | 29.5916
PP | Pacific Power | 9770 | 1.218% | 289109.95 | 18 | 801840 | 0 | 9306 | 464 | 0 | 0 | 0 | 0 | 95.25% | 0.36056 | 0.012184 | 29.5916
WA | Washington | 9770 | 7.143% | 289109.95 | 18 | 136786 | 0 | 9306 | 464 | 0 | 0 | 0 | 0 | 95.25% | 2.1136 | 0.071425 | 29.5916
WA | YAKIMA | 9770 | 11.78% | 289109.95 | 18 | 82913 | 0 | 9306 | 464 | 0 | 0 | 0 | 0 | 95.25% | 3.4869 | 0.11783 | 29.5916
*Only current event specific metric impact shown. Does not include values from other events which may have occurred in other regions during the same time period.
|  | Customer Interrupted by Date |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by state customer counts
|  |  | 2019-10-28 20:17 | through | 2019-10-29 20:17 |  |  |  | Customers Restored by Intervals
| Date* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
| 2019-10-28 | 9691 | 7.085% | 287058.634 | 14 | 136786 | 0 | 9227 | 464 | 0 | 0 | 0 | 0 | 95.21% | 2.0986 | 0.070848 | 29.6212
| 2019-10-29 | 79 | 0.05775% | 2051.316 | 4 | 136786 | 0 | 79 | 0 | 0 | 0 | 0 | 0 | 100% | 0.014997 | 0.00057754 | 25.966
Data as of
2019-11-20

## SSC by State
| Yakima WA | Event |  | 2019-10-28 20:17 | through | 2019-10-29 20:17 |  | Month |  | 2019-10-01 | through | 2019-10-31 |  | YTD | FY2020 | 2019-01-01 | through | 2019-10-31
|  | Major Events Included |  |  | Major Event Excluded |  |  | Major Events Included |  |  | Major Events Excluded* |  |  | Major Events Included |  |  | Major Events Excluded*
| PacifiCorp Major Events Report SSC by State | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 2.151 | 0.019729 | 109.0279 | 1.2206 | 0.0097622 | 125.0284 | 8.8311 | 0.073078 | 120.8453 | 7.5253 | 0.060986 | 123.3932 | 218.6178 | 1.1154 | 195.9933 | 98.5513 | 0.87172 | 113.0534
PP | Pacific Power | 4.5024 | 0.042451 | 106.0612 | 2.2088 | 0.017883 | 123.5172 | 10.5535 | 0.087307 | 120.8787 | 7.3344 | 0.057499 | 127.5577 | 342.4015 | 1.2735 | 268.8597 | 92.0491 | 0.7884 | 116.7546
WA | Washington | 3.8674 | 0.079328 | 48.7518 | 1.7538 | 0.0079029 | 221.92 | 13.5358 | 0.13445 | 100.675 | 6.0066 | 0.032423 | 185.2565 | 113.652 | 0.95489 | 119.0207 | 83.9117 | 0.63909 | 131.298
WA | SUNNYSIDE | 1.4143 | 0.0051979 | 272.0932 | 1.4143 | 0.0051979 | 272.0932 | 1.7794 | 0.0072303 | 246.1062 | 1.7794 | 0.0072303 | 246.1062 | 25.8955 | 0.26792 | 96.6531 | 15.4728 | 0.11585 | 133.5557
WA | WALLA WALLA | 0.23317 | 0.0017399 | 134.0125 | 0.23317 | 0.0017399 | 134.0125 | 6.4426 | 0.036532 | 176.3573 | 1.0269 | 0.005929 | 173.1998 | 19.6161 | 0.1558 | 125.9073 | 14.1634 | 0.12509 | 113.2294
WA | YAKIMA | 2.2199 | 0.07239 | 30.6658 | 0.10631 | 0.00096501 | 110.169 | 5.3138 | 0.090689 | 58.594 | 3.2002 | 0.019264 | 166.1285 | 68.1404 | 0.53117 | 128.2829 | 54.2755 | 0.39815 | 136.3176
*may include other regional major event exclusions during the same period. Operating areas are calculated by the state frozen customer count metrics.
Data as/of
2019-11-20