## Legend
Date
Data as/of | 2022-05-11
Fiscal Year | FY2023
Event Begin Date/Time | 2022-04-11 04:38 | Event Begin Time
Event End Date/Time | 2022-04-12 03:56 | Event End Time
Month Begin | 2022-04-01
Month End | 2022-04-30
Year Begin | 2022-01-01
Year End | 2022-04-30
State | Washington
Comments: | Tag | filed

## Customer Analysis
| Washington | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by operating area customer counts
|  |  | 2022-04-11 04:38 | through | 2022-04-12 03:56
| PacifiCorp Major Events Report Customer Analysis* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 8727 | 0.426% | 1493590.592 | 70 | 2048818 | 190 | 5891 | 2836 | 0 | 0 | 0 | 0 | 67.5% | 0.729 | 0.0042595 | 171.1459
PP | Pacific Power | 8727 | 1.072% | 1493590.592 | 70 | 813940 | 190 | 5891 | 2836 | 0 | 0 | 0 | 0 | 67.5% | 1.835 | 0.010722 | 171.1459
WA | Washington | 8727 | 6.33% | 1493590.592 | 70 | 137857 | 190 | 5891 | 2836 | 0 | 0 | 0 | 0 | 67.5% | 10.8343 | 0.063305 | 171.1459
WA | SUNNYSIDE | 4599 | 18.4% | 788214.218 | 30 | 24993 | 1 | 3557 | 1042 | 0 | 0 | 0 | 0 | 77.34% | 31.5374 | 0.18401 | 171.3882
WA | YAKIMA | 4128 | 4.941% | 705376.374 | 40 | 83549 | 189 | 2334 | 1794 | 0 | 0 | 0 | 0 | 56.54% | 8.4427 | 0.049408 | 170.8761
*Only current event specific metric impact shown. Does not include values from other events which may have occurred in other regions during the same time period.
|  | Customer Interrupted by Date |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by state customer counts
|  |  | 2022-04-11 04:38 | through | 2022-04-12 03:56 |  |  |  | Customers Restored by Intervals
| Date* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
| 2022-04-11 | 7830 | 5.68% | 1360819.209 | 65 | 137857 | 189 | 5103 | 2727 | 0 | 0 | 0 | 0 | 65.17% | 9.8712 | 0.056798 | 173.7956
| 2022-04-12 | 897 | 0.6507% | 132771.383 | 5 | 137857 | 1 | 788 | 109 | 0 | 0 | 0 | 0 | 87.85% | 0.96311 | 0.0065067 | 148.0171
Data as of
2022-05-11

## SSC by State
| Washington | Event |  | 2022-04-11 04:38 | through | 2022-04-12 03:56 |  | Month |  | 2022-04-01 | through | 2022-04-30 |  | YTD | FY2023 | 2022-01-01 | through | 2022-04-30
|  | Major Events Included |  |  | Major Event Excluded |  |  | Major Events Included |  |  | Major Events Excluded* |  |  | Major Events Included |  |  | Major Events Excluded*
| PacifiCorp Major Events Report SSC by State | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 5.5362 | 0.032144 | 172.2321 | 1.7591 | 0.016326 | 107.7474 | 14.8219 | 0.11513 | 128.7363 | 10.5506 | 0.094071 | 112.1548 | 51.553 | 0.35668 | 144.5367 | 26.7241 | 0.24703 | 108.1807
PP | Pacific Power | 9.6721 | 0.040652 | 237.9265 | 0.16446 | 0.00083544 | 196.8585 | 22.0815 | 0.14413 | 153.2072 | 11.3299 | 0.091111 | 124.3524 | 77.4656 | 0.46883 | 165.2316 | 27.6976 | 0.24314 | 113.9169
WA | Washington | 10.8343 | 0.063305 | 171.1459 | 0 | 0 | 0 | 16.8413 | 0.11867 | 141.9216 | 6.007 | 0.055362 | 108.5043 | 31.703 | 0.31251 | 101.4456 | 18.5711 | 0.14559 | 127.5548
WA | SUNNYSIDE | 5.7186 | 0.033368 | 171.3804 | 0 | 0 | 0 | 6.7833 | 0.039454 | 171.9294 | 1.0657 | 0.0060933 | 174.8924 | 8.9061 | 0.12341 | 72.1664 | 2.7183 | 0.016938 | 160.4852
WA | WALLA WALLA | 0 | 0 | 0 | 0 | 0 | 0 | 0.84684 | 0.005143 | 164.6582 | 0.84684 | 0.005143 | 164.6582 | 8.2739 | 0.08606 | 96.141 | 6.4466 | 0.055558 | 116.0338
WA | YAKIMA | 5.169 | 0.030169 | 171.3359 | 0 | 0 | 0 | 9.2112 | 0.07407 | 124.3589 | 4.0945 | 0.044125 | 92.7917 | 14.523 | 0.10304 | 140.9429 | 9.4062 | 0.073097 | 128.6809
*may include other regional major event exclusions during the same period. Operating areas are calculated by the state frozen customer count metrics.
Data as/of
2022-05-11