## Legend
Date
Data as/of | 2023-09-29
Fiscal Year | FY2023
Event Begin Date/Time | 2023-09-20 | Event Begin Time
Event End Date/Time | 2023-09-21 | Event End Time
Month Begin | 2023-09-01
Month End | 2023-09-30
Year Begin | 2023-01-01
Year End | 2023-09-30
State | Washington
Comments: | Tag | filed

## Customer Analysis
| Washington | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by operating area customer counts
|  |  | 2023-09-20 | through | 2023-09-21
| PacifiCorp Major Events Report Customer Analysis* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 3977 | 0.1936% | 281398.036 | 4 | 2054233 | 0 | 3821 | 156 | 0 | 0 | 0 | 0 | 96.08% | 0.13698 | 0.001936 | 70.7564
PP | Pacific Power | 3977 | 0.4895% | 281398.036 | 4 | 812454 | 0 | 3821 | 156 | 0 | 0 | 0 | 0 | 96.08% | 0.34636 | 0.004895 | 70.7564
WA | Washington | 3977 | 2.916% | 281398.036 | 4 | 136387 | 0 | 3821 | 156 | 0 | 0 | 0 | 0 | 96.08% | 2.0632 | 0.02916 | 70.7564
WA | WALLA WALLA | 3977 | 14.12% | 281398.036 | 4 | 28161 | 0 | 3821 | 156 | 0 | 0 | 0 | 0 | 96.08% | 9.9925 | 0.14122 | 70.7564
*Only current event specific metric impact shown. Does not include values from other events which may have occurred in other regions during the same time period.
|  | Customer Interrupted by Date |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by state customer counts
|  |  | 2023-09-20 | through | 2023-09-21 |  |  |  | Customers Restored by Intervals
| Date* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
| 2023-09-20 | 3977 | 2.916% | 281398.036 | 4 | 136387 | 0 | 3821 | 156 | 0 | 0 | 0 | 0 | 96.08% | 2.0632 | 0.02916 | 70.7564
Data as of
2023-09-29

## SSC by State
| Washington | Event |  | 2023-09-20 | through | 2023-09-21 |  | Month |  | 2023-09-01 | through | 2023-09-30 |  | YTD | FY2023 | 2023-01-01 | through | 2023-09-30
|  | Major Events Included |  |  | Major Event Excluded |  |  | Major Events Included |  |  | Major Events Excluded* |  |  | Major Events Included |  |  | Major Events Excluded*
| PacifiCorp Major Events Report SSC by State | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 1.016 | 0.010295 | 98.6855 | 0.87901 | 0.0083593 | 105.1538 | 12.3679 | 0.11932 | 103.6568 | 12.2309 | 0.11738 | 104.1995 | 182.1136 | 1.0136 | 179.6768 | 108.7344 | 0.88557 | 122.785
PP | Pacific Power | 1.4844 | 0.01863 | 79.6772 | 1.138 | 0.013735 | 82.8565 | 17.4961 | 0.19295 | 90.6755 | 17.1497 | 0.18806 | 91.194 | 291.5373 | 1.3191 | 221.0077 | 134.1627 | 1.0835 | 123.8205
WA | Washington | 3.6036 | 0.038823 | 92.821 | 1.5404 | 0.0096637 | 159.4002 | 14.414 | 0.16909 | 85.2431 | 12.3507 | 0.13993 | 88.2619 | 70.5768 | 0.56651 | 124.5828 | 68.5136 | 0.53735 | 127.5037
WA | SUNNYSIDE | 1.3818 | 0.0079186 | 174.5021 | 1.3818 | 0.0079186 | 174.5021 | 2.0282 | 0.02358 | 86.0136 | 2.0282 | 0.02358 | 86.0136 | 12.4317 | 0.086328 | 144.0054 | 12.4317 | 0.086328 | 144.0054
WA | WALLA WALLA | 2.1886 | 0.030531 | 71.6842 | 0.12534 | 0.0013711 | 91.4176 | 3.5382 | 0.045825 | 77.2111 | 1.475 | 0.016666 | 88.5049 | 11.0919 | 0.13162 | 84.2735 | 9.0287 | 0.10246 | 88.1204
WA | YAKIMA | 0.03323 | 0.00037394 | 88.8647 | 0.03323 | 0.00037394 | 88.8647 | 8.8475 | 0.099687 | 88.7531 | 8.8475 | 0.099687 | 88.7531 | 47.0532 | 0.34856 | 134.9934 | 47.0532 | 0.34856 | 134.9934
*may include other regional major event exclusions during the same period. Operating areas are calculated by the state frozen customer count metrics.
Data as/of
2023-09-29