## Exhibit Peak (MTW-3)
[6 empty] | PacifiCorp |  |  |  |  | Exhibit Washington ______ (MTW-3)
Normalized Sources of Peak Capacity
12 Months Ending March 2007
Annual Energy
Line |  |  |  | Winter Peak | % of Total |  | Summer Peak | % of Total |  | % of Total | Line
No. | Description |  |  | December MW | Capacity |  | July MW | Capacity | GWH | Requirement | No.
Company Owned Generation
1 |  | Hydro |  | 1037.8805 | 23.24% |  | 972.0061 | 14.24% | 4129.2352 | 12.09% | 1
2 |  | Thermal (1) (2) |  | 1195.1149 | 26.76% |  | 1164.9676 | 17.06% | 11749.1833 | 34.4% | 2
3 |  | Wind |  | 20.1 | 0.45% |  | 0 | 0% | 146.9887 | 0.4303% | 3
4 | Total Company Owned Generation |  |  | 2253.0954 | 50.45% |  | 2136.9737 | 31.3% | 16025.4071 | 46.92% | 4
Purchased & Exchanges
5 |  | Long Term Firm |  | 476.9823 | 10.68% |  | 554.8811 | 8.128% | 6100.1226 | 17.86% | 5
6 |  |  | Mid Columbia | 476.0353 | 10.66% |  | 475.9693 | 6.972% | 1937.6285 | 5.673% | 6
7 |  | Exchanges |  | 558.3829 | 12.5% |  | 696.9586 | 10.21% | -263.5748 | -0.7716% | 7
8 |  | Short Term Firm Purchases |  | 411.4663 | 9.213% |  | 2958.1828 | 43.33% | 8355.961 | 24.46% | 8
9 |  | System Balancing |  | 290.2896 | 6.5% |  | 4.2181 | 0.06178% | 2002.2737 | 5.862% | 9
Total Purchased Power and
10 | Exchange |  |  | 2213.1564 | 49.55% |  | 4690.2099 | 68.7% | 18132.4111 | 53.08% | 10
11 | Total Resources |  |  | 4466.2518 | 100% |  | 6827.1837 | 100% | 34157.8183 | 100% | 11
12 | Special Sales |  |  | 1160.6812 |  |  | 3919.7345 |  | 13889.4932 |  | 12
13 | System Net of Special Sales |  |  | 3305.5706 |  |  | 2907.4492 |  | 20268.3251 |  | 13
Notes:
| (1) | Includes GP Camas Co-generation
| (2) | After Derates, Maintenance and Reserves
|  |  |  | 2007-01-01 |  |  | 2006-07-01 |  | Hours
|  |  | Match Row in L&R | 15 |  |  | 9 |  | 8760