## tables 5.3 - 5.7
Source: | NERC 2022 Long-Term Reliability Assessment, December 2022
2022_LTRA (nerc.com)
Table 5.3 – NERC LTRA Anticipated Reserve Margin
Anticipated Reserve Margin
U.S. WECC Subregion | Peaking Assumption | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
WPP | Summer | 22.7% | 23.4% | 19.7% | 16% | 15.5% | 14.8% | 12.1% | 10.6% | 7.6% | 4.5%
SRSG | Summer | 29.7% | 32.8% | 30.7% | 29.5% | 27% | 26.1% | 25.9% | 26.3% | 24% | 20%
CAMX | Summer | 38.5% | 27.4% | 26.3% | 22.5% | 20.4% | 19.3% | 16.1% | 14.4% | 11.7% | 10.7%
Table 5.4 – NERC LTRA Prospective Reserve Margin
Anticipated Reserve Margin
U.S. WECC Subregion | Peaking Assumption | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
WPP | Summer | 24.9% | 25.7% | 21.8% | 17.9% | 17.6% | 16.9% | 14.5% | 13.4% | 10.1% | 7.1%
SRSG | Summer | 32.2% | 35.8% | 33.8% | 32.6% | 29.9% | 29% | 28.8% | 29.1% | 26.8% | 22.8%
CAMX | Summer | 39.6% | 28.5% | 26.9% | 23.1% | 20.2% | 19.1% | 15.9% | 14.2% | 11.5% | 10.5%
Table 5.5 – NERC LTRA Reference Reserve Margin
Reference Planning Reserve Margin
U.S. WECC Subregion | Peaking Assumption | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
WPP | Summer | 12.5% | 12.9% | 13.8% | 13.7% | 13.5% | 14% | 12.3% | 12.4% | 13.1% | 12.9%
SRSG | Summer | 13.1% | 13.3% | 12.2% | 12.1% | 11.9% | 11.9% | 12.6% | 12.3% | 11.5% | 11.2%
CAMX | Summer | 19.2% | 17.7% | 19.1% | 18.9% | 18.7% | 17.9% | 18% | 16.9% | 18.2% | 18.1%
Table 5.6 – Planning Reserve Margin Shortfalls by Subregion with Anticipated Resources
Shortfalls Assuming Anticipated Reserve Margin | [11 empty] | note, this is a calculated table
U.S. WECC Subregion | Peaking Assumption | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
WPP | Summer | 10.2% | 10.5% | 5.9% | 2.3% | 2% | 0.8% | -0.2% | -1.8% | -5.5% | -8.4%
SRSG | Summer | 16.6% | 19.5% | 18.5% | 17.4% | 15.1% | 14.2% | 13.3% | 14% | 12.5% | 8.8%
CAMX | Summer | 19.3% | 9.7% | 7.2% | 3.6% | 1.7% | 1.4% | -1.9% | -2.5% | -6.5% | -7.4%
Table 5.7 – Planning Reserve Margin Shortfalls by Subregion with Prospective Resources
Shortfalls Assuming Prospective Reserve Margin | [11 empty] | note, this is a calculated table
U.S. WECC Subregion | Peaking Assumption | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
WPP | Summer | 12.4% | 12.8% | 8% | 4.2% | 4.1% | 2.9% | 2.2% | 1% | -3% | -5.8%
SRSG | Summer | 19.1% | 22.5% | 21.6% | 20.5% | 18% | 17.1% | 16.2% | 16.8% | 15.3% | 11.6%
CAMX | Summer | 20.4% | 10.8% | 7.8% | 4.2% | 1.5% | 1.2% | -2.1% | -2.7% | -6.7% | -7.6%

## tables 5.8
There were no changes in the long-term planning limits from the 2021 IRP
Table 5.8 – Maximum Available Front Office Transactions by Market Hub | [5 empty] | Short-term planning limits are now included in the table
Market Hub | Availability Limit (MW)
| 2023 IRP |  |  | 2021 IRP
| Short-term (2023-2027) | Long-term (2028-2042) |  | Summer | Winter
|  | Summer | Winter
Mid-Columbia (Mid-C) | 1979 | 500 | 350 | 500 | 350
California Oregon Border (COB) | 424 | 0 | 250 | 0 | 250
Nevada Oregon Border (NOB) | 200 | 0 | 100 | 0 | 100
4 Corners (4C) | 398 | 0 | 0 | 0 | 0
Mona | 325 | 0 | 300 | 0 | 300
Total | 3326 | 500 | 1000 | 500 | 1000
2021 IRP
Table 5.8 – Maximum Available Front Office Transactions by Market Hub
Market Hub/Proxy FOT Product Type | Availability Limit (MW)
2021
| Summer | Winter
| (July) | (December)
Mid-Columbia (Mid-C)
Flat Annual or Heavy Load Hour | 350 | 350
Heavy Load Hour | 150 | 0
California Oregon Border (COB)
Flat Annual or Heavy Load Hour | 0 | 250
Nevada Oregon Border (NOB)
Heavy Load Hour | 0 | 100
Mona
Heavy Load Hour | 0 | 300
Total | 500 | 1000

## tables 5.10 - 5.12
Table 5.10 – Change in Summer Coincident Peak Climate Change Scenario vs 2021 IRP Base (Megawatt-hours), at Generation, pre-DSM
Year | Total | OR | WA | CA | UT | WY | ID
2021 | 53 | 10 | 1 | 0 | 17 | 17 | 8
2022 | 53 | 11 | 1 | 0 | 17 | 17 | 8
2023 | 54 | 11 | 1 | 0 | 17 | 17 | 8
2024 | 55 | 11 | 1 | 0 | 17 | 17 | 8
2025 | 53 | 11 | 1 | 0 | 17 | 17 | 7
2026 | 71 | 16 | 3 | 0 | 26 | 18 | 8
2027 | 89 | 22 | 4 | 0 | 35 | 18 | 10
2028 | 107 | 28 | 5 | 0 | 44 | 19 | 11
2029 | 126 | 34 | 7 | 0 | 53 | 19 | 13
2030 | 139 | 41 | 8 | - | 63 | 14 | 14
2031 | 158 | 47 | 10 | 0 | 73 | 14 | 15
2032 | 178 | 54 | 11 | 0 | 82 | 14 | 16
2033 | 198 | 60 | 13 | 0 | 92 | 15 | 18
2034 | 218 | 67 | 14 | 0 | 103 | 15 | 19
2035 | 239 | 74 | 16 | 0 | 113 | 16 | 21
2036 | 245 | 80 | 17 | 0 | 119 | 16 | 14
2037 | 273 | 86 | 19 | 0 | 128 | 16 | 24
2038 | 291 | 91 | 20 | 0 | 137 | 17 | 26
2039 | 301 | 97 | 21 | 0 | 139 | 16 | 28
2040 | 318 | 103 | 22 | 0 | 146 | 16 | 30
Table 5.11 – Change in Winter Coincident Peak Climate Change Scenario vs 2021 IRP Base (Megawatt-hours), at Generation, pre-DSM
Year | Total | OR | WA | CA | UT | WY | ID
2021 | -126 | -90 | -10 | -3 | -15 | -4 | -4
2022 | -127 | -90 | -10 | -3 | -16 | -4 | -4
2023 | -127 | -90 | -10 | -3 | -16 | -4 | -4
2024 | -128 | -90 | -10 | -3 | -16 | -4 | -4
2025 | -130 | -92 | -10 | -2 | -17 | -5 | -4
2026 | -137 | -95 | -12 | -3 | -18 | -5 | -4
2027 | -143 | -97 | -14 | -3 | -19 | -6 | -5
2028 | -150 | -101 | -15 | -3 | -20 | -6 | -5
2029 | -158 | -104 | -17 | -3 | -21 | -8 | -5
2030 | -162 | -107 | -19 | -3 | -22 | -6 | -5
2031 | -167 | -109 | -20 | -3 | -23 | -7 | -6
2032 | -175 | -112 | -22 | -3 | -24 | -8 | -6
2033 | -182 | -115 | -23 | -3 | -25 | -9 | -6
2034 | -189 | -118 | -25 | -3 | -26 | -10 | -6
2035 | -194 | -121 | -27 | -3 | -27 | -10 | -7
2036 | -201 | -124 | -28 | -4 | -28 | -12 | -7
2037 | -247 | -449 | -105 | -14 | 290 | 24 | 7
2038 | -256 | -461 | -106 | -14 | 294 | 24 | 8
2039 | -261 | -472 | -107 | -15 | 300 | 25 | 8
2040 | -259 | -484 | -109 | -15 | 310 | 30 | 9
Table 5.12 – Change in Annual Energy Climate Change Scenario vs 2021 IRP Base (Megawatt-hours), at Generation, pre-DSM
Year | Total | OR | WA | CA | UT | WY | ID
2021 | -129280 | -171850 | -38220 | -13050 | 76330 | -16180 | 33690
2022 | -129790 | -172660 | -38030 | -13070 | 76800 | -16410 | 33580
2023 | -131060 | -173320 | -37820 | -13050 | 76400 | -16710 | 33440
2024 | -131500 | -173790 | -37630 | -13050 | 76560 | -16930 | 33340
2025 | -131870 | -174200 | -37470 | -13060 | 76780 | -17130 | 33210
2026 | -126270 | -175670 | -37980 | -13430 | 83670 | -17590 | 34730
2027 | -120520 | -177100 | -38480 | -13790 | 90660 | -18060 | 36250
2028 | -114500 | -178480 | -38950 | -14170 | 97840 | -18520 | 37780
2029 | -107870 | -179490 | -39360 | -14550 | 105200 | -18950 | 39280
2030 | -101020 | -180590 | -39720 | -14920 | 112780 | -19370 | 40800
2031 | -93880 | -181720 | -40060 | -15310 | 120630 | -19750 | 42330
2032 | -86310 | -182800 | -40350 | -15700 | 128740 | -20090 | 43890
2033 | -78250 | -183760 | -40570 | -16080 | 137110 | -20380 | 45430
2034 | -69710 | -184630 | -40750 | -16460 | 145750 | -20640 | 47020
2035 | -60710 | -185420 | -40880 | -16850 | 154690 | -20850 | 48600
2036 | -54280 | -186550 | -41010 | -17150 | 161400 | -21080 | 50110
2037 | -47420 | -187620 | -41090 | -17450 | 168420 | -21280 | 51600
2038 | -40300 | -188630 | -41130 | -17760 | 175600 | -21470 | 53090
2039 | -32870 | -189600 | -41140 | -18070 | 182980 | -21640 | 54600
2040 | -25190 | -190540 | -41110 | -18380 | 190520 | -21810 | 56130