## Summary
ST Expected Value |  | Portfolio
| Present Value Revenue Requirement (PVRR)($m) | P02
| Low Gas, No CO2 | 22001.1513
| Medium Gas, No CO2 | 22021.7876
| Medium Gas, Medium CO2 | 25821.6674
| High Gas, High CO2 | 27492.431
| Societal Cost of Carbon | 38399.2818
Portfolio
ST Expected Value | Present Value Revenue Requirement (PVRR)($m) | P02 - MM
| Low Gas, No CO2 | 0
| Medium Gas, No CO2 | 0
| Medium Gas, Medium CO2 | 25821.6674
| High Gas, High CO2 | 0
| Societal Cost of Carbon | 0
P02-CETA Results Table vs P02
| Case - LN | ST Value |  |  | Risk Adjusted |  |  | ENS Average Percent of Load |  |  | CO2 Emissions
|  | PVRR ($m) | Change from Lowest Cost Portfolio ($m) | Rank | ST PVRR plus 5% of 95th Stochastic ($m) | Change from Lowest Cost Portfolio ($m) | Rank | Average Annual ENS, 2021-2040 % of Average Load | Change from Lowest ENS Portfolio | Rank | Total CO2 Emissions, 2021-2040 (Thousand Tons) | Change from Lowest Emission Portfolio | Rank
| P02-CETA | 22801.4384 | 800.2871 | 2 | 23001.8065 | 749.4525 | 2 | 0.005405% | 6.326e-05% | 2 | 436414.4158 | 0 | 1
| P02 | 22001.1513 | 0 | 1 | 22252.354 | 0 | 1 | 0.005341% | 0% | 1 | 472867.2381 | 36452.8223 | 2
Case - MN
| P02-CETA | 22632.5502 | 610.7626 | 2 | 22821.084 | 564.7385 | 2 | 0.004938% | 3.352e-05% | 2 | 510115.1634 | 0 | 1
| P02 | 22021.7876 | 0 | 1 | 22256.3455 | 0 | 1 | 0.004904% | 0% | 1 | 540687.9822 | 30572.8188 | 2
Case-MM
| P02-CETA | 25991.2616 | 169.5942 | 2 | 26343.4333 | 164.0982 | 2 | 0.004918% | 4.107e-06% | 2 | 398596.9048 | 0 | 1
| P02 | 25821.6674 | 0 | 1 | 26179.3352 | 0 | 1 | 0.004913% | 0% | 1 | 398953.2877 | 356.3829 | 2
Case-HH
| P02-CETA | 28979.184 | 1486.753 | 2 | 29476.0404 | 1482.8198 | 2 | 0.004881% | 0% | 1 | 368927.0006 | 85082.183 | 2
| P02 | 27492.431 | 0 | 1 | 27993.2206 | 0 | 1 | 0.005558% | 0.0006775% | 2 | 283844.8177 | 0 | 1
Case-SC
| P02-CETA | 39938.2856 | 1539.0038 | 2 | 40961.5994 | 1643.4258 | 2 | 0.01033% | 0.003491% | 2 | 213232.6529 | 29112.109 | 2
| P02 | 38399.2818 | 0 | 1 | 39318.1736 | 0 | 1 | 0.006843% | 0% | 1 | 184120.5439 | 0 | 1
CETA
| Case - SC | ST Value |  |  | Risk Adjusted |  |  | ENS Average Percent of Load |  |  | CO2 Emissions
|  | PVRR ($m) | Change from Lowest Cost Portfolio ($m) | Rank | ST PVRR plus 5% of 95th Stochastic ($m) | Change from Lowest Cost Portfolio ($m) | Rank | Average Annual ENS, 2021-2040 % of Average Load | Change from Lowest ENS Portfolio | Rank | Total CO2 Emissions, 2021-2040 (Thousand Tons) | Change from Lowest Emission Portfolio | Rank
| P02-MM-CETA | 25991.2616 | 0 | 1 | 26343.4333 | 0 | 1 | 0.004918% | 0.000406% | 2 | 398596.9048 | 215011.9812 | 4
| P02-Alt Low Cost | 26197.9011 | 206.6395 | 2 | 26525.2188 | 181.7855 | 2 | 0.004512% | 0% | 1 | 329676.1268 | 146091.2032 | 3
| P02-Max Cust Ben | 42165.1794 | 16173.9177 | 4 | 43309.6051 | 16966.1717 | 4 | 0.02057% | 0.01606% | 3 | 189192.77 | 5607.8465 | 2
| P02-Climate-Change | 39915.5175 | 13924.2559 | 3 | 40904.1006 | 14560.6673 | 3 | 0.03619% | 0.03167% | 4 | 183584.9235 | 0 | 1
P02-MM
No Updated Reserves
ST Value
| Delta | LN | MN | MM | HH | SC
| P02-MM- Alt Price | 0 | 0 | 0 | 0 | 0
| P02a- JB 1-2 No GC | 534.3074 | 495.1384 | 477.1417 | 418.3421 | 352.5591
| P02b- No B2H | 30.1679 | 154.1303 | 387.5667 | 742.0754 | 1450.2969
| P02c- No GWS | -755.4259 | -392.8016 | 127.7768 | 931.891 | 2567.9719
| P02d- NoRFP GWS | -373.7943 | 206.2254 | 1035.5227 | 2371.2739 | 6103.2794
| P02e- No Nuc | -81.6969 | -16.906 | 132.8982 | 333.0497 | 500.7099
| P02f- No Nau 25 | -88.963 | -48.9571 | 53.7977 | 189.0072 | 378.2956
| P02g- CCUS | 268.5685 | 320.3452 | 270.9103 | 152.658 | 123.728
| P02h- JB 3-4 Retire | 379.8965 | 452.2493 | 94.9809 | -175.0049 | -262.2896
P02-MM
No Updated Reserves
ST PVRR plus 5% of 95th Stochastic ($m)
| Delta | LN | MN | MM | HH | SC
| P02-MM- Alt Price | 0 | 0 | 0 | 0 | 0
| P02a- JB 1-2 No GC | 529.0502 | 485.695 | 468.8399 | 404.0859 | 334.578
| P02b- No B2H | 81.0722 | 212.6763 | 453.3374 | 822.2673 | 1557.1253
| P02c- No GWS | -670.0787 | -288.6649 | 259.5607 | 1099.5715 | 2818.7174
| P02d- NoRFP GWS | -216.1587 | 398.3149 | 1265.2056 | 2665.2716 | 6534.9488
| P02e- No Nuc | -69.7641 | -0.3667 | 157.8302 | 364.2514 | 537.2891
| P02f- No Nau 25 | -83.2825 | -44.7501 | 65.5595 | 203.7208 | 402.0702
| P02g- CCUS | 231.7939 | 284.7752 | 235.2523 | 108.7437 | 78.6103
| P02h- JB 3-4 Retire | 358.6758 | 434.9432 | 60.352 | -223.4788 | -316.587

## MM
[12 empty] | AVG Load (gwH) | 81008.6357
2021 to 2040
Study Name - MM | ST PVRR | ST PVRR plus 5% of 95th Stochastic | CO2 emissions (ktons) | CO2 emissions cost ($millions) | Avg Annual Energy Not Served plus Reserve Deficiency (GWh) | Delta PVRR | Delta Risk adjusted
[9 empty] | Case - MM | ST Value |  |  | Risk Adjusted |  |  | ENS Average Percent of Load |  |  | CO2 Emissions
[10 empty] | PVRR ($m) | Change from Lowest Cost Portfolio ($m) | Rank | ST PVRR plus 5% of 95th Stochastic ($m) | Change from Lowest Cost Portfolio ($m) | Rank | Average Annual ENS, 2021-2040 % of Average Load | Change from Lowest ENS Portfolio | Rank | Total CO2 Emissions, 2023-2042 (Thousand Tons) | Change from Lowest Emission Portfolio | Rank
P-MM | 37437.8153 | 37305.3957 | 330442.327 | 3704.9189 | 1.6148 |  |  | -144.8184 | P-MM | 37437.8153 | 0 | 3 | 37305.3957 | 0 | 3 | 0.001993% | 0% | 12 | 330442.327 | 0 | 11
P01-JB3-4 GC | 38030.8855 | 37903.002 | 323314.3971 | 3649.0658 | 0.96668 |  |  | -127.8835 | P01-JB3-4 GC | 38030.8855 | 593.0702 | 8 | 37903.002 | 597.6063 | 8 | 0.001193% | -0.0008% | 1 | 323314.3971 | -7127.9299 | 4
P02-JB3-4 EOL | 38502.6224 | 38357.804 | 342026.2111 | 3874.7687 | 0.99967 |  |  | -142.8847 | P02-JB3-4 EOL | 38502.6224 | 1064.8071 | 11 | 38357.804 | 1052.4083 | 10 | 0.001234% | -0.0007593% | 3 | 342026.2111 | 11583.8841 | 14
P03-Hunter3-SCR | 37705.1918 | 37562.3071 | 346846.8266 | 3931.5951 | 1.5525 |  |  | -132.4197 | P03-Hunter3-SCR | 37705.1918 | 267.3764 | 6 | 37562.3071 | 256.9114 | 6 | 0.001917% | -7.68e-05% | 5 | 346846.8266 | 16404.4997 | 15
P04-Huntington RET28 | 37598.0514 | 37465.2709 | 328688.4175 | 3698.628 | 0.97572 |  |  |  | P04-Huntington RET28 | 37598.0514 | 160.236 | 5 | 37465.2709 | 159.8752 | 4 | 0.001204% | -0.0007888% | 2 | 328688.4175 | -1753.9094 | 9
P05-No NUC | 39086.2581 | 39208.0394 | 355234.1631 | 4119.6517 | 1.1993 |  |  |  | P05-No NUC | 39086.2581 | 1648.4428 | 17 | 39208.0394 | 1902.6438 | 18 | 0.00148% | -0.0005129% | 4 | 355234.1631 | 24791.8362 | 17
P06-No Forward Tech | 38770.6284 | 38875.639 | 353675.7868 | 4083.0148 | 1.5659 |  |  |  | P06-No Forward Tech | 38770.6284 | 1332.8131 | 13 | 38875.639 | 1570.2434 | 13 | 0.001933% | -6.031e-05% | 6 | 353675.7868 | 23233.4598 | 16
P07-D3-D2 32 | 37419.2105 | 37235.2551 | 331884.6885 | 3695.5213 | 1.5811 |  |  |  | P07-D3-D2 32 | 37419.2105 | -18.6048 | 2 | 37235.2551 | -70.1406 | 2 | 0.001952% | -4.161e-05% | 7 | 331884.6885 | 1442.3615 | 13
P08-No D3-D2 | 39211.7603 | 39228.4975 | 361637.4368 | 4209.2751 | 1.6318 |  |  |  | P08-No D3-D2 | 39211.7603 | 1773.945 | 19 | 39228.4975 | 1923.1019 | 19 | 0.002014% | 2.102e-05% | 16 | 361637.4368 | 31195.1099 | 18
P09-No WY OTR | 36807.7907 | 36632.0202 | 362623.4449 | 3796.7223 | 1.5839 |  |  |  | P09-No WY OTR | 36807.7907 | -630.0246 | 1 | 36632.0202 | -673.3754 | 1 | 0.001955% | -3.804e-05% | 8 | 362623.4449 | 32181.1179 | 19
P10-Offshore Wind | 38770.356 | 39018.3919 | 327328.1602 | 3206.8505 | 1.6504 |  |  |  | P10-Offshore Wind | 38770.356 | 1332.5407 | 12 | 39018.3919 | 1712.9962 | 15 | 0.002037% | 4.397e-05% | 18 | 327328.1602 | -3114.1668 | 8
P11-Max NG | 38341.692 | 38466.1 | 369404.4637 | 4298.4683 | 2.3844 |  |  |  | P11-Max NG | 38341.692 | 903.8766 | 10 | 38466.1 | 1160.7044 | 11 | 0.002943% | 0.0009501% | 21 | 369404.4637 | 38962.1367 | 20
P12-RET Coal 30 NG 40 | 41263.1636 | 41209.2648 | 268785.7278 | 2923.6394 | 1.6343 |  |  |  | P12-RET Coal 30 NG 40 | 41263.1636 | 3825.3482 | 21 | 41209.2648 | 3903.8692 | 21 | 0.002017% | 2.415e-05% | 17 | 268785.7278 | -61656.5991 | 1
P13-All EE | 40612.9356 | 40448.8379 | 321444.1289 | 3575.1161 | 1.6057 |  |  |  | P13-All EE | 40612.9356 | 3175.1202 | 20 | 40448.8379 | 3143.4423 | 20 | 0.001982% | -1.12e-05% | 10 | 321444.1289 | -8998.1981 | 3
P14-All GW | 37998.1104 | 37865.4853 | 330334.6767 | 3710.0215 | 1.6144 |  |  |  | P14-All GW | 37998.1104 | 560.295 | 7 | 37865.4853 | 560.0897 | 7 | 0.001993% | -4.317e-07% | 11 | 330334.6767 | -107.6503 | 10
P15-No GWS | 38974.796 | 39127.5604 | 383309.5379 | 4574.2777 | 1.9033 |  |  |  | P15-No GWS | 38974.796 | 1536.9807 | 15 | 39127.5604 | 1822.1647 | 17 | 0.002349% | 0.0003562% | 19 | 383309.5379 | 52867.2109 | 21
P16-No B2H | 39156.2758 | 39021.6421 | 323894.2849 | 3631.9769 | 1.6008 |  |  |  | P16-No B2H | 39156.2758 | 1718.4604 | 18 | 39021.6421 | 1716.2464 | 16 | 0.001976% | -1.722e-05% | 9 | 323894.2849 | -6548.042 | 5
P17-Col3-4 RET25 | 37511.1357 | 37511.1357 | 326892.58 | 3688.0965 | 1.6178 |  |  |  | P17-Col3-4 RET25 | 37511.1357 | 73.3203 | 4 | 37511.1357 | 205.74 | 5 | 0.001997% | 3.723e-06% | 13 | 326892.58 | -3549.7469 | 7
P18-Cluster East | 39004.0681 | 39004.0681 | 307849.1583 | 3384.6732 | 1.6191 |  |  |  | P18-Cluster East | 39004.0681 | 1566.2527 | 16 | 39004.0681 | 1698.6724 | 14 | 0.001999% | 5.312e-06% | 14 | 307849.1583 | -22593.1687 | 2
P19-Cluster West | 38074.9007 | 38074.9007 | 324729.6735 | 3607.4717 | 1.6196 |  |  |  | P19-Cluster West | 38074.9007 | 637.0853 | 9 | 38074.9007 | 769.505 | 9 | 0.001999% | 5.98e-06% | 15 | 324729.6735 | -5712.6535 | 6
P20-JB3-4 CCUS | 38780.8153 | 38780.8153 | 330442.327 | 3704.9189 | 1.9757 |  | 1343 |  | P20-JB3-4 CCUS | 38780.8153 | 1343 | 14 | 38780.8153 | 1475.4197 | 12 | 0.002439% | 0.0004455% | 20 | 330442.327 | 0 | 11
New Load Sensitivity | 41141.7553 | 40846.1312 | 311102.6795 | 3348.9744 | 1.6222 |  |  |  | New Load Sensitivity | 41141.7553 | 3703.94 |  | 40846.1312 | 3540.7356 |  | 0.002003% | 9.201e-06% |  | 311102.6795 | -19339.6474
0%

## LN
[11 empty] | AVG Load (gwH) | 81008.6357
2021 to 2040
Study Name - LN | ST PVRR | ST PVRR plus 5% of 95th Stochastic | CO2 emissions (ktons) | CO2 emissions cost ($millions) | Avg Annual Energy Not Served plus Reserve Deficiency (GWh) | Delta PVRR | Delta Risk adjusted
[8 empty] | Case - LN | ST Value |  |  | Risk Adjusted |  |  | ENS Average Percent of Load |  |  | CO2 Emissions
[9 empty] | PVRR ($m) | Change from Lowest Cost Portfolio ($m) | Rank | ST PVRR plus 5% of 95th Stochastic ($m) | Change from Lowest Cost Portfolio ($m) | Rank | Average Annual ENS, 2021-2040 % of Average Load | Change from Lowest ENS Portfolio | Rank | Total CO2 Emissions, 2021-2040 (Thousand Tons) | Change from Lowest Emission Portfolio | Rank
P-MM | 36181.4153 | 36154.6239 | 306945.3435 | 233.095 | 1.6167 |  |  | P-MM | 36181.4153 | 0 | 2 | 36154.6239 | 0 | 2 | 0.001996% | 0% | 5 | 306945.3435 | 0 | 3
P-LN | 34649.7182 | 34609.582 | 296748.111 | 414.2372 | 1.5058 |  |  | P-LN | 34649.7182 | -1531.6971 | 1 | 34609.582 | -1545.0419 | 1 | 0.001859% | -0.0001369% | 4 | 296748.111 | -10197.2325 | 1
P02-JB3-4 EOL | 37003.748 | 36965.889 | 318019.3645 | 131.6609 | 0.7562 |  |  | P02-JB3-4 EOL | 37003.748 | 822.3328 | 5 | 36965.889 | 811.2652 | 4 | 0.0009335% | -0.001062% | 1 | 318019.3645 | 11074.021 | 4
P11-Max NG | 36502.9852 | 36730.9658 | 342480.018 | 170.8848 | 2.2461 |  |  | P11-Max NG | 36502.9852 | 321.57 | 3 | 36730.9658 | 576.342 | 3 | 0.002773% | 0.0007771% | 6 | 342480.018 | 35534.6745 | 5
P16-No B2H | 37101.6799 | 37069.8784 | 301688.7324 | 276.4981 | 1.3817 |  |  | P16-No B2H | 37101.6799 | 920.2646 | 6 | 37069.8784 | 915.2546 | 5 | 0.001706% | -0.00029% | 2 | 301688.7324 | -5256.6111 | 2
P15-No GWS | 36848.2324 | 37088.2235 | 355714.3427 | 489.6432 | 1.502 |  |  | P15-No GWS | 36848.2324 | 666.8172 | 4 | 37088.2235 | 933.5997 | 6 | 0.001854% | -0.0001415% | 3 | 355714.3427 | 48768.9992 | 6

## MN
[11 empty] | AVG Load (gwH) | 81008.6357
2021 to 2040
Study Name - MN | ST PVRR | ST PVRR plus 5% of 95th Stochastic | CO2 emissions (ktons) | CO2 emissions cost ($millions) | Avg Annual Energy Not Served plus Reserve Deficiency (GWh) | Delta PVRR | Delta Risk adjusted
[8 empty] | Case - MN | ST Value |  |  | Risk Adjusted |  |  | ENS Average Percent of Load |  |  | CO2 Emissions
[9 empty] | PVRR ($m) | Change from Lowest Cost Portfolio ($m) | Rank | ST PVRR plus 5% of 95th Stochastic ($m) | Change from Lowest Cost Portfolio ($m) | Rank | Average Annual ENS, 2021-2040 % of Average Load | Change from Lowest ENS Portfolio | Rank | Total CO2 Emissions, 2021-2040 (Thousand Tons) | Change from Lowest Emission Portfolio | Rank
P-MM | 36257.0992 | 36252.0334 | 313969.9489 | 273.756 | 1.6286 |  |  | P-MM | 36257.0992 | 0 | 2 | 36252.0334 | 0 | 2 | 0.00201% | 0% | 2 | 313969.9489 | 0 | 2
P-MN | 35867.5878 | 35726.0231 | 304969.9069 | 542.8178 | 1.5951 |  |  | P-MN | 35867.5878 | -389.5115 | 1 | 35726.0231 | -526.0102 | 1 | 0.001969% | -4.138e-05% | 1 | 304969.9069 | -9000.042 | 1

## HH
2021 to 2040
Study Name - HH | ST PVRR | ST PVRR plus 5% of 95th Stochastic | CO2 emissions (ktons) | CO2 emissions cost ($millions) | Avg Annual Energy Not Served plus Reserve Deficiency (GWh) | Delta PVRR | Delta Risk adjusted |  |  |  |  | AVG Load (gwH) | 81008.6357
[8 empty] | Case - HH | ST Value |  |  | Risk Adjusted |  |  | ENS Average Percent of Load |  |  | CO2 Emissions
[9 empty] | PVRR ($m) | Change from Lowest Cost Portfolio ($m) | Rank | ST PVRR plus 5% of 95th Stochastic ($m) | Change from Lowest Cost Portfolio ($m) | Rank | Average Annual ENS, 2021-2040 % of Average Load | Change from Lowest ENS Portfolio | Rank | Total CO2 Emissions, 2023-2042 (Thousand Tons) | Change from Lowest Emission Portfolio | Rank
P-MM | 45540.4694 | 45540.4694 | 328142.0535 | 9988.6938 | 1.5934 |  |  | P-MM | 45540.4694 | -1286.005 | 2 | 45540.4694 | -1286.005 | 2 | 0.001967% | 0.001047% | 4 | 328142.0535 | -19554.6189 | 3
P11-Max NG | 48092.1732 | 48092.1732 | 355494.4398 | 11021.785 | 2.0301 |  |  | P11-Max NG | 48092.1732 | 1265.6988 | 5 | 48092.1732 | 1265.6988 | 5 | 0.002506% | 0.001586% | 6 | 355494.4398 | 7797.7674 | 5
P02-JB3-4 EOL | 46826.4744 | 46826.4744 | 347696.6724 | 10711.5093 | 0.74504 |  |  | P02-JB3-4 EOL | 46826.4744 | 0 | 4 | 46826.4744 | 0 | 4 | 0.0009197% | 0% | 1 | 347696.6724 | 0 | 4
P15-No GWS | 49775.6002 | 49775.6002 | 358984.2893 | 11430.7147 | 1.4828 |  |  | P15-No GWS | 49775.6002 | 2949.1258 | 6 | 49775.6002 | 2949.1258 | 6 | 0.00183% | 0.0009108% | 3 | 358984.2893 | 11287.6169 | 6
P16-No B2H | 46267.0231 | 46267.0231 | 324185.539 | 9770.361 | 1.3566 |  |  | P16-No B2H | 46267.0231 | -559.4514 | 3 | 46267.0231 | -559.4514 | 3 | 0.001675% | 0.0007549% | 2 | 324185.539 | -23511.1333 | 2
P-HH | 43781.5418 | 43781.5418 | 305284.5351 | 3807.0333 | 1.5956 |  |  | P-HH | 43781.5418 | -3044.9327 | 1 | 43781.5418 | -3044.9327 | 1 | 0.00197% | 0.00105% | 5 | 305284.5351 | -42412.1373 | 1
-23I.ST.RP.20.PA1_.EP.HH.PP-No GWS.9648 (LT. 9648 - 10370) v103.4.xlsb
-23I.ST.RP.20.PH0_.EP.HH.Base.9557 (LT. 9557 - 9583) v101.8.xlsb
-23I.ST.RP.20.PA1_.EP.HH.PP-D3 29.7359 (LT. 7359 - 9387) v100.9.xlsb
-23I.ST.RP.20.PA1_.EP.HH.Gas Replace.10704 (LT. 10304 - 10790) v103.6.xlsb
-23I.ST.RP.20.PA1_.EP.HH.PP-V2 BG Coal.7367 (LT. 7367 - 10433) v103.4.xlsb
-23I.ST.RP.20.PA1_.EP.HH.PP-No B2H.9647 (LT. 9647 - 10349) v103.4.xlsb

## SC
2021 to 2040
Study Name - SC | ST PVRR | ST PVRR plus 5% of 95th Stochastic | CO2 emissions (ktons) | CO2 emissions cost ($millions) | Avg Annual Energy Not Served plus Reserve Deficiency (GWh) | Delta PVRR | Delta Risk adjusted |  |  |  | AVG Load (gwH) | 81008.6357
[8 empty] | Case - SC | ST Value |  |  | Risk Adjusted |  |  | ENS Average Percent of Load |  |  | CO2 Emissions
[9 empty] | PVRR ($m) | Change from Lowest Cost Portfolio ($m) | Rank | ST PVRR plus 5% of 95th Stochastic ($m) | Change from Lowest Cost Portfolio ($m) | Rank | Average Annual ENS, 2021-2040 % of Average Load | Change from Lowest ENS Portfolio | Rank | Total CO2 Emissions, 2021-2040 (Thousand Tons) | Change from Lowest Emission Portfolio | Rank
P-MM | 58237.9342 | 58191.9318 | 332256.7379 | 23569.1809 | 1.5988 |  |  | P-MM | 58237.9342 | 2722.2097 | 4 | 58191.9318 | 2884.9348 | 5 | 0.001974% | -3.065e-05% | 2 | 332256.7379 | 12250.2996 | 5
P-SC | 55525.2981 | 55329.2991 | 321100.249 | 23110.6942 | 1.6274 |  |  | P-SC | 55525.2981 | 9.5736 | 2 | 55329.2991 | 22.3021 | 2 | 0.002009% | 4.592e-06% | 5 | 321100.249 | 1093.8107 | 4
W-10 SC CETA | 55515.7245 | 55306.997 | 320006.4382 | 23057.8851 | 1.6237 |  |  | W-10 SC CETA | 55515.7245 | 0 | 1 | 55306.997 | 0 | 1 | 0.002004% | 0% | 4 | 320006.4382 | 0 | 3
W-11 CETA No Climate | 56374.374 | 56141.7278 | 318684.506 | 23009.0155 | 1.5148 |  |  | W-11 CETA No Climate | 56374.374 | 858.6495 | 3 | 56141.7278 | 834.7308 | 3 | 0.00187% | -0.0001344% | 1 | 318684.506 | -1321.9323 | 2
W-12 CETA Max Benefit | 58278.6378 | 58111.0651 | 310798.146 | 22375.3961 | 1.6216 |  |  | W-12 CETA Max Benefit | 58278.6378 | 2762.9133 | 5 | 58111.0651 | 2804.0681 | 4 | 0.002002% | -2.58e-06% | 3 | 310798.146 | -9208.2923 | 1
-23I.ST.RP.20.PS0_.EP.SC.Base.9558 (LT. 9558 - 9562) v101.8.xlsb
-23I.ST.RP.20.PS1_.EP.SC.CETA.10305 (LT. 10305 - 10306) v103.1.xlsb
-23I.ST.RP.20.PA1_.EP.SC.PP-D3 29.7359 (LT. 7359 - 9450) v100.9.xlsb
-23I.ST.RP.20.PS1_.EP.SC.CETA No Climate.11191 (LT. 11191 - 11194) v104.4.xlsb
-23I.ST.RP.20.PS1_.EP.SC.CETA Max Benefit.11190 (LT. 11190 - 11215) v104.4.xlsb

## MM CCUS
[11 empty] | AVG Load (gwH) | 81008.6357
2021 to 2040
Study Name - MM | ST PVRR | ST PVRR plus 5% of 95th Stochastic | CO2 emissions (ktons) | CO2 emissions cost ($millions) | Avg Annual Energy Not Served plus Reserve Deficiency (GWh) | Delta PVRR | Delta Risk adjusted
[8 empty] | Case - MM | ST Value |  |  | Risk Adjusted |  |  | ENS Average Percent of Load |  |  | CO2 Emissions
[9 empty] | PVRR ($m) | Change from Lowest Cost Portfolio ($m) | Rank | ST PVRR plus 5% of 95th Stochastic ($m) | Change from Lowest Cost Portfolio ($m) | Rank | Average Annual ENS, 2021-2040 % of Average Load | Change from Lowest ENS Portfolio | Rank | Total CO2 Emissions, 2021-2040 (Thousand Tons) | Change from Lowest Emission Portfolio | Rank
P-MM | 37437.8153 | 37305.3957 | 330442.327 | 3704.9189 | 1.6148 |  | -132.4197 | P-MM | 37437.8153 | 0 | 1 | 37305.3957 | 0 | 1 | 0.001993% | 9.394e-06% | 2 | 330442.327 | 21189.6339 | 2
JB3&4 CCUS | 37785.0189 | 37709.5249 | 309252.693 | 1008.9017 | 1.6071 |  | -75.494 | JB3&4 CCUS | 37785.0189 | 347.2035 | 2 | 37709.5249 | 404.1292 | 2 | 0.001984% | 0% | 1 | 309252.693 | 0 | 1

## Compares
Study Name | ST PVRR ($m) | ST PVRR plus 5% of 95th Stochastic ($m) | ENS Average % of Load | CO2 Emissions 2023-2042 (Thousand Tons) | Study Name | ST PVRR ($m) | ST PVRR plus 5% of 95th Stochastic ($m) | ENS Average % of Load | CO2 Emissions 2023-2042 (Thousand Tons)
P-LN | 36181.4153 | 36154.6239 | 0.001996% | 306945.3435 | P-MM | 37437.8153 | 37305.3957 | 0.001993% | 330442.327
P-MN | 36257.0992 | 36252.0334 | 0.00201% | 313969.9489 | P-LN | 36181.4153 | 36154.6239 | 0.001996% | 306945.3435
P-MM | 37437.8153 | 37305.3957 | 0.001993% | 330442.327 | P-HH | 45540.4694 | 45540.4694 | 0.001967% | 328142.0535
P-HH | 45540.4694 | 45540.4694 | 0.001967% | 328142.0535
P-SC | 58237.9342 | 58191.9318 | 0.002009% | 332256.7379 | P02-MM-JB3-4 EOL | 38502.6224 | 38357.804 | 0.001234% | 342026.2111
[5 empty] | P02-LN-JB3-4 EOL | 37003.748 | 36965.889 | 0.0009335% | 318019.3645
[5 empty] | P02-HH-JB3-4 EOL | 46826.4744 | 37901.8691 | 0.0009197% | 342026.2111
[5 empty] | Changes from P-MM | 1064.8071 | 1052.4083 | -0.0007593% | 11583.8841
[5 empty] | Changes from P-LN | 822.3328 | 811.2652 | -0.001062% | 11074.021
[5 empty] | Changes from P-HH | 1286.005 | -7638.6003 | -0.001047% | 13884.1576
Study Name | ST PVRR ($m) | ST PVRR plus 5% of 95th Stochastic ($m) | ENS Average % of Load | CO2 Emissions 2023-2042 (Thousand Tons) | Study Name | ST PVRR ($m) | ST PVRR plus 5% of 95th Stochastic ($m) | ENS Average % of Load | CO2 Emissions 2023-2042 (Thousand Tons)
P-MM | 37437.8153 | 37305.3957 | 0.001993% | 330442.327 | P-MM | 37437.8153 | 37305.3957 | 0.001993% | 330442.327
P-LN | 36181.4153 | 36154.6239 | 0.001996% | 306945.3435 | P-LN | 36181.4153 | 36154.6239 | 0.001996% | 306945.3435
P-HH | 45540.4694 | 45540.4694 | 0.001967% | 328142.0535 | P-HH | 45540.4694 | 45540.4694 | 0.001967% | 328142.0535
P11-MM-Max NG | 38341.692 | 38466.1 | 0.002943% | 369404.4637 | P15-MM-No GWS | 38974.796 | 39127.5604 | 0.002349% | 383309.5379
P11-LN-Max NG | 36502.9852 | 36730.9658 | 0.002773% | 342480.018 | P15-LN-No GWS | 36848.2324 | 37088.2235 | 0.001854% | 355714.3427
P01-HH-Max NG | 48092.1732 | 48092.1732 | 0.002506% | 355494.4398 | P15-HH-No GWS | 49775.6002 | 49775.6002 | 0.00183% | 358984.2893
Changes from P-MM | 903.8766 | 1160.7044 | 0.0009501% | 38962.1367 | Changes from P-MM | 1536.9807 | 1822.1647 | 0.0003562% | 52867.2109
Changes from P-LN | 321.57 | 576.342 | 0.0007771% | 35534.6745 | Changes from P-LN | 666.8172 | 933.5997 | -0.0001415% | 48768.9992
Changes from P-HH | 2551.7038 | 2551.7038 | 0.000539% | 27352.3864 | Changes from P-HH | 4235.1308 | 4235.1308 | -0.0001365% | 30842.2358
Study Name | ST PVRR ($m) | ST PVRR plus 5% of 95th Stochastic ($m) | ENS Average % of Load | CO2 Emissions 2023-2042 (Thousand Tons)
P-MM | 37437.8153 | 37305.3957 | 0.001993% | 330442.327
P-LN | 36181.4153 | 36154.6239 | 0.001996% | 306945.3435
P-HH | 45540.4694 | 45540.4694 | 0.001967% | 328142.0535
P16-MM-No B2H | 39156.2758 | 39021.6421 | 0.001976% | 323894.2849
P16-LN-No B2H | 37101.6799 | 37069.8784 | 0.001706% | 301688.7324
P16-HH-No B2H | 46267.0231 | 46267.0231 | 0.001675% | 324185.539
Changes from P-MM | 1718.4604 | 1716.2464 | -1.722e-05% | -6548.042
Changes from P-LN | 920.2646 | 915.2546 | -0.00029% | -5256.6111
Changes from P-HH | 726.5536 | 726.5536 | -0.0002924% | -3956.5144