## General Information
Respondent shall complete the template below (all 3 tabs) and return it to PSE as part of their proposal submittal. As described in RFP Part II, Section 8, submission guidelines call for 7 bound copies and one electronic (CD) copy. Note that the CD version must contain a completed copy of this template in Excel format. The template is available for download at the following web address: http://www.pse.com/About/Supply/AllSourceRFP.
General Information
Primary Contact
Contact Name
Name of Company
Address
Phone
E-mail
Alternate Contact
Contact Name
Name of Company
Address
Phone
E-mail
Project
Project Name
Location
Developer(s)
Owners(s)
Expected Date to Begin Construction
Expected Commercial Operation Date
Proposed Commercial Arrangement
Asset Purchase and Sale Agreement
Power Purchase Agreement
Exchange Agreement

## Technical Information
Technical Information
Proposal Technology Type (e.g. gas turbine combined cycle, hydro, boiler type, biomass, coal, etc.)
Nominal Capacity (in MWs) of Generation Source; number and size of units
Incremental capacity (e.g. duct fire) in 10 minutes, if applicable
Estimated Annual Energy (aMW)
Capacity Factor (%)
Winter (Nov-Feb) Energy Production (aMW)
Heat Rate (Btu/kWh, HHV) at ISO conditions
Expected Equivalent Availability Factor (%)
Expected Annual Forced Outage Rate (%) (This should include only forced outages and unplanned maintenance)
Expected Average Annual Planned Maintenance Requirements (days/ year)
Capacity Information
Start up time for hot, warm and cold starts (hours)
| Hot | Warm | Cold
Minumum on-line time (hours)
Minimum down time (hours)
Mininum operating load (MW)
Heat rate (Btu/kWh)
| Minimum | Baseload | w/ Duct Fire
Ten-minute start capability? (Yes/No) If yes, please complete below.
10 Minute Reserve Capability
Time (Minutes) | Fuel Rate (MMBtu/s) | Heat Rate (Btu/kWh) | Power (MWs)
0:00
0:01
0:02
0:03
0:04
0:05
0:06
0:07
0:08
0:09
0:10
Fuel Supply
Fuel Requirements at Nominal Capacity
| MMBtu/hr | MMBtu/lb | cf/s
Fuel Type (primary fuel and backup, if any)
Fuel Transportation (e.g. pipeline, rail, truck, etc)
Is Transportation Secured? %?
Interconnection and Transmission
Interconnection Point
Point of Delivery
Transmission Provider(s)
Transmission Secured?
Permitting
Permits and approvals that have been received
Permits still outstanding
Other
Other Matters of Note

## Cost Information
Cost Information (in USD$; specify valuation year if not $2006)
Capital Costs (Total $)
Estimated EPC Capital Cost (based on Nominal Capacity)
Interest During Construction
Other Financing Costs
Taxes
Development Fee
All Other Capital Costs (including real estate, development, permitting, transmission interconnection and system upgrade costs)
Capital Cost (Total $ and $/kW)
Operating Costs (Total $ and $/MWh)
Estimated Fixed Annual O&M Cost and Escalation
Estimated Variable O&M Cost and Escalation
Estimated Annual Fuel Cost and Escalation
Estimated Annual Property Taxes and Escalation
Estimated Annual Insurance and Escalation
Other Annual Operating Costs and Escalation (include all taxes)
Transmission Estimated Annual Cost (Total $ and $/kW)
Total Energy Cost Delivered to PSE's System
Power Purchase Agreement Price and Proposed Escalation
Exchange Agreement Price