Attachment 1

UE-080826 - PacifiCorp’s 2008 Integrated Resource Plan

At the public meeting held on Thursday, July 16, 2009, the Commission requested that the Company follow-up with some additional information.  That information is provided below:-

1.	2008 IRP Preferred Portfolio

Class 2 Energy Efficiency Targets by State by Year (2009 to 2018)

(average megawatts and megawatt hours)

Commission Question : Please provide spreadsheet of Class 2 energy efficiency targets.

PacifiCorp’s Response : Please refer to Attachment 2, which provides the targets, by state and year and in both average megawatts and megawatt hours, for Class 2 energy efficiency selected in the 2008 IRP's preferred portfolio. The targets represent the minimum assumed acquisitions for planning purposes and would be exceeded or the acquisitions accelerated to the extent possible.

2.	2008 IRP Preferred Portfolio

CO2 Intensity Chart

(Chapter 1 – Executive Summary, page 9 - 2008 IRP document (Volume 1))

Commission Question : With regard to the 2008 IRP Preferred Portfolio CO2 Intensity Chart on page 9 of the 2008 IRP, what is the explanation for the increasing intensity in 2011 and 2012?

PacifiCorp’s Response :  For 2011, coal generation is up by about 5 percent from 2010 levels, driven primarily by increased gas prices and a consequent decrease in gas plant generation. The impact to CO2 emissions was a 1.8 percent increase: 54.53 million tons in 2011 versus 53.59 million tons in 2010. Overall generation was nearly unchanged from the 2010 level, resulting in a higher CO2 intensity for 2011.

For 2012, the amount of coal generation was unchanged from 2011, but overall system generation was down by 2.3 percent due primarily to a jump in acquisition of short-term market purchases ("front office transactions"), and a lesser extent to the loss of the Grant Displacement hydro contract in September 2011. While CO2 emissions were down by 1.2 percent from the 2011 level, the relatively greater decrease in system generation resulted in a higher CO2 intensity for 2012.