## TOTAL FIRST YEAR
Program Year: | CASCADE NATURAL GAS CORPORATION
2021 | COMMERCIAL Program Participant Cost Effectiveness
Measure Mapping | MEASURE | DESCRIPTION | EFFICIENCY TYPE FOR QUALIFICATION | TOTAL MEASURE COUNT | ANNUAL THERM SAVINGS | UNIT | UNITS INSTALLED | TOTAL ANNUAL THERM SAVINGS | MEASURE INCREMENTAL COST | TOTAL INCREMENTAL COST | PARTICIPANT NEBS | TOTAL NET INCREMENTAL COST WITH NEBS | MEASURE LIFE | DISCOUNTED THERM SAVINGS | PROGRAM DELIVERY AND ADMIN | PROGRAM REBATE | CALCULATED REBATE COST | REBATES BASED ON CAPPED INCENTIVES | UTILITY COST | UC W/DELIVERY & ADMIN | LOADED UTILITY BENEFIT TO COST RATIO | TOTAL RESOURCE COST | TRC W/DELIVERY & ADMIN | LOADED SOCIETAL BENEFIT TO COST RATIO
COMBOILERS2-19-19 | Boiler | High-Efficiency-Condensing Boiler | Minimum 90% Thermal Efficiency and 300 kBtu/hr input | 46 | 1.5 | /kBtu/hr in | 78637.8 | 117956.7 | 8.89 | 699090.042 | 0.96808 | 622962.674 | 20 | 1691719.289 | 444511.7775 | 6 | 471826.8 | 0 | 0.2789 | 0.54166 | 2.7213 | 0.36824 | 0.631 | 2.1236
COMBOILSTP-NT | Boiler Steam Trap | Steam Trap fitted to Steam Boiler | Minimum 300 kBtu input and steam pressures at 7psig or greater | 0 | 136.9 | /unit | 0 | 0 | 315 | 0 | 37.8096 | 0 | 7 | 0 | 0 | 125 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMBOILVTD | Boiler Vent Damper | Boiler Vent Damper | Minimum 1,000 kBtu/hr input | 0 | 270 | /unit | 0 | 0 | 1.5 | 0 | 118.1035 | 0 | 12 | 0 | 0 | 1000 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
not offered | Clothes Washer | Commercial Gas Washer | 1.8 MEF | 0 | 90 | /unit | 0 | 0 | 200 | 0 | 33.8527 | 0 | 10 | 0 | 0 | 180 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMFSOVENGROC2-19-19 | Convection Oven (Grocery) | Energy Star | >= 44% Cooking Efficiency,<= 13,000 Btu/hr Idle Rate | 0 | 368 | /oven | 0 | 0 | 900 | 0 | 160.9707 | 0 | 12 | 0 | 0 | 800 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMFSOVENLODGE2-19-19 | Convection Oven (Lodging) | Energy Star | >= 44% Cooking Efficiency,<= 13,000 Btu/hr Idle Rate | 0 | 219 | /oven | 0 | 0 | 900 | 0 | 95.7951 | 0 | 12 | 0 | 0 | 800 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMFSOVENREST2-19-19 | Convection Oven (Restaurant) | Energy Star | >= 44% Cooking Efficiency,<= 13,000 Btu/hr Idle Rate | 4 | 649 | /oven | 6 | 3894 | 900 | 5400 | 283.8859 | 3696.6848 | 12 | 37851.4491 | 14674.2734 | 800 | 4800 | 0 | 0.12681 | 0.51449 | 2.3787 | 0.097663 | 0.48534 | 2.2924
COMFSOVENSCHO2-19-19 | Convection Oven (School) | Energy Star | >= 44% Cooking Efficiency,<= 13,000 Btu/hr Idle Rate | 0 | 141 | /oven | 0 | 0 | 900 | 0 | 61.6763 | 0 | 12 | 0 | 0 | 800 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMDCV-7-17 | DCV | Demand Control Ventilation | Meet JUARC Guidelines for DCV RTUs in 5-20 ton | 8 | 13 | /ton | 55 | 715 | 55 | 3025 | 4.8898 | 2756.0594 | 10 | 5976.4577 | 2694.4287 | 20 | 1100 | 0 | 0.18406 | 0.6349 | 1.8408 | 0.46115 | 0.91199 | 1.165
COMDHWRCTR2-19-19 | DHW Recirculation Controls | Schedule Control for Continuous Operation DHW Recirculation Pump | Add time clock or other schedule control for continuous operation DHW recirculation pump | 0 | 72 | /controller | 0 | 0 | 300 | 0 | 37.5832 | 0 | 15 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
duplicate | DHW Recirculation Controls | Schedule Control for Continuous Operation DHW Recirculation Pump | Add time clock or other schedule control for continuous operation DHW recirculation pump | 0 | 72 | /controller | 0 | 0 | 300 | 0 | 37.5832 | 0 | 15 | 0 | 0 | 200 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMDHWTSCT | Domestic Hot Water Tanks - Condensing | Condensing Tank | Minimum 91% AFUE or 91% Thermal Efficiency | 31 | 0.79 | /kBtu/hr in | 8218.8 | 6492.852 | 6.06 | 49805.928 | 0.41237 | 46416.7318 | 15 | 75315.4716 | 24467.8699 | 2.5 | 20547 | 0 | 0.27281 | 0.59768 | 2.1944 | 0.6163 | 0.94117 | 1.2669
COMFSDOVEN2-19-19 | Double Rack Oven | FSTC Qualified | >=50% Cooking Efficiency, <=35,000 Btu/hr Idle Rate | 1 | 1806 | /unit | 1 | 1806 | 6200 | 6200 | 789.9813 | 5410.0187 | 12 | 17555.1405 | 6805.7878 | 2500 | 2500 | 0 | 0.14241 | 0.53009 | 2.3087 | 0.30817 | 0.69585 | 1.5989
COMESVKTA2-19-19 | Energy Saver Kit A | Low Flow Kitchen Pre Rinse Spray Valve and Bath Aerators | PRSV <=1 gpm / Aerators <=.75 gpm | 1 | 89 | /kit | 2 | 178 | 119 | 238 | 176.6095 | 0 | 5 | 805.9605 | 670.7809 | 0 | 0 | 0 | 0 | 0.83228 | - | 0 | 0.83228 | -
COMESVKTA30 | Energy Saver Kit A - 30 therms | Low Flow Kitchen Pre Rinse Spray Valve and Bath Aerators | PRSV <=1 gpm / Aerators <=.75 gpm | 0 | 30 | /kit | 0 | 0 | 119 | 0 | 59.5415 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMESVKTA59 | Energy Saver Kit A - 59 therms | Low Flow Kitchen Pre Rinse Spray Valve and Bath Aerators | PRSV <=1 gpm / Aerators <=.75 gpm | 0 | 59 | /kit | 0 | 0 | 119 | 0 | 116.1625 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
not offered | Energy Saver Kit B | Low Flow Showerheads | Showerhead <= 1.85 gpm | 0 | 35 | /kit | 0 | 0 | 44 | 0 | 88.3931 | 0 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMFSFRYERGROC2-19-19 | Fryer (Grocery) | Energy Star | >=50% Cooking Efficiency | 0 | 388 | /fryer | 0 | 0 | 1400 | 0 | 169.7191 | 0 | 12 | 0 | 0 | 750 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMFSFRYERLODGE2-19-19 | Fryer (Lodging) | Energy Star | >=50% Cooking Efficiency | 0 | 231 | /fryer | 0 | 0 | 1400 | 0 | 101.0441 | 0 | 12 | 0 | 0 | 750 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMFSFRYERREST2-19-19 | Fryer (Restaurant) | Energy Star | >=50% Cooking Efficiency | 30 | 685 | /fryer | 51 | 34935 | 1400 | 71400 | 299.633 | 56118.7168 | 12 | 339584.0716 | 131650.1644 | 750 | 38250 | 0 | 0.11264 | 0.50032 | 2.4461 | 0.16526 | 0.55294 | 2.0121
COMFSFRYERSCHO2-19-19 | Fryer (School) | Energy Star | >=50% Cooking Efficiency | 0 | 149 | /fryer | 0 | 0 | 1400 | 0 | 65.1756 | 0 | 12 | 0 | 0 | 750 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMFSCVROVEN2-19-19 | Gas Conveyor Oven | FSTC Qualified Gas Fired Conveyor Oven | >=42% Baking Efficiency | 0 | 77 | /oven | 0 | 0 | 1800 | 0 | 42.2226 | 0 | 16 | 0 | 0 | 450 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMFSGRIDGROC-7-17 | Griddle (Grocery) | Energy Star | >=38% Cooking Efficiency,<= 2650 Btu/hr-sq ft Idle Rate | 0 | 155 | /griddle | 0 | 0 | 1048 | 0 | 67.8002 | 0 | 12 | 0 | 0 | 500 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMFSGRIDLODGE-7-17 | Griddle (Lodging) | Energy Star | >=38% Cooking Efficiency,<= 2650 Btu/hr-sq ft Idle Rate | 0 | 92 | /griddle | 0 | 0 | 1048 | 0 | 40.2427 | 0 | 12 | 0 | 0 | 500 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMFSGRIDREST-7-17 | Griddle (Restaurant) | Energy Star | >=38% Cooking Efficiency,<= 2650 Btu/hr-sq ft Idle Rate | 0 | 273 | /griddle | 0 | 0 | 1048 | 0 | 119.4158 | 0 | 12 | 0 | 0 | 500 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMFSGRIDSCHO-7-17 | Griddle (School) | Energy Star | >=38% Cooking Efficiency,<= 2650 Btu/hr-sq ft Idle Rate | 0 | 59 | /griddle | 0 | 0 | 1048 | 0 | 25.8078 | 0 | 12 | 0 | 0 | 500 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMHVACCON2-19-19 | HVAC Unit Heater - Condensing | High Efficiency Condensing | Minimum 92% AFUE | 26 | 1.1 | /kBtu/hr in | 4065 | 4471.5 | 5.23 | 21259.95 | 0.65833 | 18583.819 | 18 | 59469.5774 | 16850.5427 | 5 | 20325 | 0 | 0.34177 | 0.62512 | 2.2492 | 0.31249 | 0.59584 | 2.1452
not offered | HVAC Unit Heater - Non-Condensing | High-Efficiency-Non-Condensing Unit Heater with Electronic Ignition | Minimum 86% AFUE | 0 | 0.61 | /kBtu/hr in | 0 | 0 | 3.26 | 0 | 0.36508 | 0 | 18 | 0 | 0 | 1.5 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMIAT12-19-19 | Insulation - Attic - Tier 1 - Min R-30 | Attic Insulation | Tier 1 / Minimum R-30 | 2 | 0.31 | /sq.ft. | 23975 | 7432.25 | 1.35 | 32366.25 | 0.25981 | 26137.2094 | 30 | 138423.1245 | 28007.9271 | 2 | 47950 | 0 | 0.3464 | 0.54874 | 3.4107 | 0.18882 | 0.39116 | 4.3498
COMIAT22-19-19 | Insulation - Attic - Tier 2 - Min R-45 | Attic Insulation | Tier 2 / Minimum R-45 | 8 | 0.32 | /sq.ft. | 35804 | 11457.28 | 1.63 | 58360.52 | 0.2682 | 48758.0628 | 30 | 213387.9371 | 43175.9781 | 2.5 | 89510 | -31951.32 | 0.41947 | 0.62181 | 3.0099 | 0.22849 | 0.43083 | 3.9492
COMFLOORINS2-19-19 | Insulation - Floor | Floor Insulation | Equal to or greater than R-30 Post and equal to or less than R-11 Pre | 4 | 0.056 | /sq. ft. | 16231 | 908.936 | 1.08 | 17529.48 | 0.057655 | 16593.6803 | 45 | 20795.5492 | 3425.2633 | 0.75 | 12173.25 | 2401.88 | 0.58538 | 0.75009 | 3.57 | 0.79794 | 0.96266 | 2.5289
COMPIPINS1.52-19-19 | Insulation - Pipe - 1.5" | 1.5" Thick Pipe Insulation | Retrofit for T>140F<=200F | 0 | 6 | /LF | 0 | 0 | 8 | 0 | 3.8723 | 0 | 20 | 0 | 0 | 15 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMPIPINS2.52-19-19 | Insulation - Pipe - 2.5" | 2.5" Thick Pipe Insulation | Retrofit for T>200F | 0 | 12 | /LF | 0 | 0 | 18 | 0 | 7.7446 | 0 | 20 | 0 | 0 | 25 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMIRT12-19-19 | Insulation - Roof - Tier 1 - Min R-21 | Roof Insulation | Tier 1 / Minimum R-21 | 3 | 0.35 | /sq.ft. | 8888 | 3110.8 | 1.83 | 16265.04 | 0.29334 | 13657.8484 | 30 | 57937.5903 | 11722.8376 | 2 | 17776 | 0 | 0.30681 | 0.50915 | 3.6759 | 0.23573 | 0.43807 | 3.8839
COMIRT22-19-19 | Insulation - Roof - Tier 2 - Min R-30 | Roof Insulation | Tier 2 / Minimum R-30 | 2 | 0.36 | /sq.ft. | 47884 | 17238.24 | 2.15 | 102950.6 | 0.30172 | 88503.0643 | 30 | 321056.3479 | 64961.1315 | 2.5 | 119710 | 0 | 0.37286 | 0.5752 | 3.2538 | 0.27566 | 0.478 | 3.5595
COMIWT12-19-19 | Insulation - Wall - Tier 1 - Min R-11 | Wall Insulation | Tier 1 / Minimum R-11 | 3 | 0.16 | /sq.ft. | 5571 | 891.36 | 1.5 | 8356.5 | 0.1341 | 7609.4426 | 30 | 16601.2764 | 3359.0294 | 1.25 | 6963.75 | 361.45 | 0.41947 | 0.62181 | 3.0099 | 0.45836 | 0.6607 | 2.5752
COMIWT22-19-19 | Insulation - Wall - Tier 2 - Min R-19 | Wall Insulation | Tier 2 / Minimum R-19 | 4 | 0.19 | /sq. ft. | 16539 | 3142.41 | 1.7 | 28116.3 | 0.15924 | 25482.6158 | 30 | 58526.3158 | 11841.9577 | 1.5 | 24808.5 | 0 | 0.42389 | 0.62622 | 2.9887 | 0.4354 | 0.63774 | 2.6679
COMFSDISDL-7-17 | Low Temp Door Dishwasher | Energy Star | <=.6kW Idle Rate, <= 1.18 gal/rack | 4 | 448 | /unit | 4 | 1792 | 1800 | 7200 | 633.3848 | 4666.4608 | 12 | 17419.0541 | 6753.0298 | 800 | 3200 | 0 | 0.18371 | 0.57139 | 2.1419 | 0.26789 | 0.65557 | 1.6971
COMFSDISML2-19-19 | Low Temp Multi Tank Dishwasher | Energy Star | <=2kW Idle Rate, <=.50 gal/rack | 0 | 645 | /unit | 0 | 0 | 4000 | 0 | 545.3495 | 0 | 20 | 0 | 0 | 2500 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMMTNFCTR | Motion Faucet Controls | Motion Controlled Faucet | <= 1.8 gpm, Watersense Certified | 5 | 136 | /faucet | 34 | 4624 | 315 | 10710 | 66.1974 | 8459.2874 | 5 | 20936.8618 | 17425.2286 | 105 | 3570 | 0 | 0.17051 | 1.0028 | 1.0317 | 0.40404 | 1.2363 | 0.76076
COMOZNLNDRY | Ozone Injection Laundry | Venturi Injection or Bubble Diffusion Ozone Injection Laundry | Minimum 125 lb Total Washer/Extractor Capacity and Pre Approved by CNG | 0 | 1049 | /system | 0 | 0 | 8283 | 0 | 394.5716 | 0 | 10 | 0 | 0 | 2500 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMRADIANT2-19-19 | Radiant Heating | Direct-fired Radiant Heating | None | 48 | 4.33 | /kBtu/hr in | 4960 | 21476.8 | 21 | 104160 | 2.5914 | 91306.4319 | 18 | 285634.8472 | 80933.8558 | 15 | 74400 | -1655.99 | 0.26047 | 0.54382 | 2.5854 | 0.31966 | 0.60301 | 2.1197
COMFSSTM3P-NT | Steamer - 3 Pan | Connectionless Estar or CEE Qualified | >=38% Cooking Efficiency,<= 2083 Btu/hr /pan Idle Rate | 0 | 535 | /unit | 0 | 0 | 2600 | 0 | 234.0199 | 0 | 12 | 0 | 0 | 850 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMFSSTM6P | Steamer - 6 Pan | Connectionless Estar or CEE Qualified | >=38% Cooking Efficiency,<= 2083 Btu/hr /pan Idle Rate | 0 | 912 | /unit | 0 | 0 | 3200 | 0 | 398.9274 | 0 | 12 | 0 | 0 | 1200 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMTANKLESST12-19-19 | Tankless Water Heater | Energy Star | Minimum .87 Energy Factor | 0 | 22 | /gpm | 0 | 0 | 137.9 | 0 | 13.1667 | 0 | 18 | 0 | 0 | 120 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMTANKLESST22-19-19 | Tankless Water Heater - Tier 2 | Energy Star | Minimum .93 Energy Factor | 22 | 38 | /gpm | 150.5 | 5719 | 52.8 | 7946.4 | 24.5246 | 4255.4488 | 20 | 82021.1367 | 21551.6614 | 150 | 22575 | 0 | 0.27523 | 0.53799 | 2.7398 | 0.051882 | 0.31464 | 4.2589
COMFURNACE2-19-19 | Warm-Air Furnace | High-Efficiency Condensing Furnace | Minimum 91% AFUE | 38 | 1.1 | /kBtu/hr in | 5172 | 5689.2 | 6.72 | 34755.84 | 0.65833 | 31350.9324 | 18 | 75664.6136 | 21439.3621 | 5 | 25860 | 0 | 0.34177 | 0.62512 | 2.2492 | 0.41434 | 0.69769 | 1.832
COMWINDOWS2-19-19 | Windows | Single pane to .27 or less (not LoadMAP's .50 to .22) per sq ft | 0.27 or less U | 17 | 1.1 | /sq. ft. | 784.57 | 863.027 | 24.31 | 19072.8967 | 1.1325 | 18184.3628 | 45 | 19745.197 | 3252.2584 | 5 | 3922.85 | 0 | 0.19867 | 0.36338 | 7.3692 | 0.92095 | 1.0857 | 2.2423
COMINSBNDL-7-17 | Bonus - Insulation Bundle A | Insulation Bundle A | Two Insulation Measures, min. 1000 sq. ft.+ | 3 | 0 | /unit | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 500 | 1500 | 0 | 0 | 0 | #N/A | 0 | 0 | -
COMFSBNDLA-7-17 | Bonus - Kitchen Bundle B (2 - measures) | Foodservice Bundle B | Any 2 Kitchen equipment measures | 0 | 0 | /unit | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 150 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMFSBNDLA2-19-19 | Bonus - Kitchen Bundle B (2 - measures) | Foodservice Bundle B | Any 2 Kitchen equipment measures | 7 | 0 | /unit | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 300 | 2100 | 0 | 0 | 0 | #N/A | 0 | 0 | -
COMFSBNDLB-7-17 | Bonus - Kitchen Bundle C (3 or more measures) | Foodservice Bundle C | Any 3 Kitchen equipment measures | 0 | 0 | /unit | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 300 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMFSBNDLB2-19-19 | Bonus - Kitchen Bundle C (3 or more measures) | Foodservice Bundle C | Any 3 Kitchen equipment measures | 5 | 0 | /unit | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 500 | 2500 | 0 | 0 | 0 | #N/A | 0 | 0 | -
COMRECOVBNDL | Bonus - Re-COV-ery D (3 or more measures) | Re-COV-ery Bundle D | Any 3 measures for facilities under 50,000 sq ft | 17 | 0 | /unit | 82775.4 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0.1 | 8277.54 | 0 | 0 | 0 | #N/A | 0 | 0 | -
COMHVACBNS2021 | Bonus - HVAC | HVAC Bonus | Must present coupon | 1 | 0 | /unit | 2 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 100 | 200 | 0 | 0 | 0 | #N/A | 0 | 0 | -
Custom Measures | [11 empty] | 0
| 008420 |  | Custom Other - Laundrey Ozone Injection System | 1 | 6584 | /unit | 1 | 6584 | 30000 | 30000 | 2879.9762 | 27120.0238 | 12 | 63999.4712 | 7746.1564 | 8428 | 8428 |  | 0.13169 | 0.25272 | 4.8426 | 0.42375 | 0.54479 | 2.0422
| 008459 |  | Custom Other - Combi Ovens | 1 | 1470 | /unit | 1 | 1470 | 30000 | 30000 | 767.3236 | 29232.6764 | 15 | 17051.6351 | 1729.473 | 3669 | 3669 |  | 0.21517 | 0.3166 | 4.1427 | 1.7144 | 1.8158 | 0.65665
| 008460 |  | Custom DDC Controls - Custom DDC Controls | 1 | 2695 | /unit | 1 | 2695 | 55000 | 55000 | 1406.7599 | 53593.2401 | 15 | 31261.3311 | 3170.7004 | 6727 | 6727 |  | 0.21519 | 0.31661 | 4.1425 | 1.7144 | 1.8158 | 0.65665
| 008405 |  | Custom Heat Recovery - AHU Heat Recovery | 1 | 7945 | /unit | 1 | 7945 | 60000 | 60000 | 4147.2013 | 55852.7987 | 15 | 92160.0279 | 9347.3895 | 19831 | 19831 |  | 0.21518 | 0.31661 | 4.1426 | 0.60604 | 0.70747 | 1.6854
| 008406 |  | Custom Hood System M/U Air Reduction - CaptiveAire Hood MUA DCV Control | 1 | 7945 | /unit | 1 | 7945 | 60000 | 60000 | 4147.2013 | 55852.7987 | 15 | 92160.0279 | 9347.3895 | 19831 | 19831 |  | 0.21518 | 0.31661 | 4.1426 | 0.60604 | 0.70747 | 1.6854
| 008476 |  | Custom Other - ERV Units | 1 | 510000 | /unit | 1 | 510000 | 685000 | 685000 | 266214.3034 | 418785.6966 | 15 | 5915873.4084 | 600021.2278 | 685000 | 685000 |  | 0.11579 | 0.21722 | 6.0381 | 0.07079 | 0.17222 | 6.9235
| 008477 |  | Custom Other - Custom Air Handling Units | 1 | 5968 | /unit | 1 | 5968 | 37500 | 37500 | 3115.2293 | 34384.7707 | 15 | 69227.3186 | 7021.4249 | 13703 | 13703 |  | 0.19794 | 0.29937 | 4.3811 | 0.49669 | 0.59812 | 1.9935
| 008473 |  | Custom DDC Controls - HVAC Control Optimization | 1 | 848 | /unit | 1 | 848 | 14300 | 14300 | 547.2856 | 13752.7144 | 20 | 12161.9031 | 997.6824 | 2117 | 2117 |  | 0.17407 | 0.2561 | 5.7556 | 1.1308 | 1.2128 | 1.1049
| 008377 |  | Custom Other - DOAS units | 1 | 625 | /unit | 1 | 625 | 10000 | 10000 | 468.6143 | 9531.3857 | 25 | 10413.6501 | 735.3201 | 3230 | 3230 |  | 0.31017 | 0.38078 | 4.3596 | 0.91528 | 0.98589 | 1.5307
TOTAL PROGRAM |  |  |  | 316 |  |  |  | 798874.355 |  | 2286008.7467 |  | 1839015.6574 | 16.5364 | 9860736.0425 | 1600291.91 |  | 1788681.69 | 1757837.71 | 0.17827 | 0.34056 | 3.8896 | 0.1865 | 0.34879 | 3.4526
Nominal interest rate (post tax cost of cap.) | 3.4% | [7 empty] | non-energy | 446993.0893
Inflation rate | 2%
Long term real discount rate | 3.4%
Total 2021 Program Admin. | 1600291.91
Custom Admin. | 640116.764
Prescriptive Admin. | 960175.146
766935
Note on R58: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This is an admin cost, not to be included in rebate total

## APP 2885
CASCADE NATURAL GAS CORPORATION
2018 INTEGRATED RESOURCE PLAN
PORTFOLIO COST APPENDIX 1 TABLE H
45 YEAR RESOURCE SUMMARY COSTS - MELDED COST PER THERM
| YEAR | IRP ANNUAL PORTFOLIO COST PER THERM (PV)* | NOMINAL COST PER THERM | PV OF RESOURCE PORTFOLIO COST/THERM | NON ENERGY BENEFIT | PORTFOLIO COSTS WITH CONSERVATION CREDIT | COST- EFFECTIVENESS LIMIT
2021 | 1 | 0.88445 | 0.88445 | 0.88445 | 10% | 0.9729 | 0.57011
2022 | 2 | 0.81372 | 0.84138 | 1.7258 | 10% | 1.8984 | 0.57616
2023 | 3 | 0.76116 | 0.8138 | 2.5396 | 10% | 2.7936 | 0.58293
2024 | 4 | 0.75798 | 0.83796 | 3.3776 | 10% | 3.7153 | 0.58976
2025 | 5 | 0.77076 | 0.88105 | 4.2586 | 10% | 4.6845 | 0.61456
2026 | 6 | 0.76379 | 0.90277 | 5.1614 | 10% | 5.6775 | 0.62925
2027 | 7 | 0.74933 | 0.9158 | 6.0772 | 10% | 6.6849 | 0.64175
2028 | 8 | 0.72707 | 0.9188 | 6.996 | 10% | 7.6956 | 0.65669
2029 | 9 | 0.71493 | 0.93418 | 7.9302 | 10% | 8.7232 | 0.67136
2030 | 10 | 0.70357 | 0.95058 | 8.8808 | 10% | 9.7688 | 0.70169
2031 | 11 | 0.68515 | 0.95718 | 9.8379 | 10% | 10.8217 | 0.71753
2032 | 12 | 0.67626 | 0.97687 | 10.8148 | 10% | 11.8963 | 0.7354
2033 | 13 | 0.66587 | 0.99457 | 11.8094 | 10% | 12.9903 | 0.75284
2034 | 14 | 0.64881 | 1.002 | 12.8114 | 10% | 14.0926 | 0.77212
2035 | 15 | 0.63836 | 1.0194 | 13.8309 | 10% | 15.2139 | 0.81064
2036 | 16 | 0.62567 | 1.0331 | 14.864 | 10% | 16.3504 | 0.83102
2037 | 17 | 0.61895 | 1.0568 | 15.9208 | 10% | 17.5128 | 0.8533
2038 | 18 | 0.61107 | 1.0788 | 16.9996 | 10% | 18.6995 | 0.87508
2039 | 19 | 0.60375 | 1.1021 | 18.1017 | 10% | 19.9118 | 0.89707
2040 | 20 | 0.59155 | 1.1166 | 19.2182 | 10% | 21.14 | 0.9193
2041 | 21 | 0.58354 | 1.1389 | 20.3571 | 10% | 22.3928 | 0.96256
2042 | 22 | 0.57564 | 1.1617 | 21.5188 | 10% | 23.6706 | 0.98552
2043 | 23 | 0.56784 | 1.1849 | 22.7037 | 10% | 24.974 | 1.0086
2044 | 24 | 0.56015 | 1.2086 | 23.9122 | 10% | 26.3035 | 1.032
2045 | 25 | 0.55257 | 1.2328 | 25.145 | 10% | 27.6595 | 1.0555
2046 | 26 | 0.54509 | 1.2574 | 26.4024 | 10% | 29.0427 | 1.1027
2047 | 27 | 0.53771 | 1.2826 | 27.685 | 10% | 30.4535 | 1.1272
2048 | 28 | 0.53043 | 1.3082 | 28.9932 | 10% | 31.8925 | 1.152
2049 | 29 | 0.52324 | 1.3344 | 30.3276 | 10% | 33.3603 | 1.1771
2050 | 30 | 0.51616 | 1.3611 | 31.6887 | 10% | 34.8575 | 1.2024
2051 | 31 | 0.50917 | 1.3883 | 33.0769 | 10% | 36.3846 | 1.2542
2052 | 32 | 0.50228 | 1.4161 | 34.493 | 10% | 37.9423 | 1.2807
2053 | 33 | 0.49548 | 1.4444 | 35.9374 | 10% | 39.5311 | 1.3076
2054 | 34 | 0.48877 | 1.4733 | 37.4106 | 10% | 41.1517 | 1.3348
2055 | 35 | 0.48215 | 1.5027 | 38.9134 | 10% | 42.8047 | 1.3623
2056 | 36 | 0.47562 | 1.5328 | 40.4462 | 10% | 44.4908 | 1.3902
2057 | 37 | 0.46918 | 1.5634 | 42.0096 | 10% | 46.2106 | 1.4184
2058 | 38 | 0.46283 | 1.5947 | 43.6043 | 10% | 47.9647 | 1.447
2059 | 39 | 0.45656 | 1.6266 | 45.2309 | 10% | 49.754 | 1.476
2060 | 40 | 0.45038 | 1.6591 | 46.89 | 10% | 51.5791 | 1.5054
2061 | 41 | 0.44428 | 1.6923 | 48.5824 | 10% | 53.4406 | 1.5351
2062 | 42 | 0.43827 | 1.7262 | 50.3085 | 10% | 55.3394 | 1.5653
2063 | 43 | 0.43233 | 1.7607 | 52.0692 | 10% | 57.2761 | 1.5958
2064 | 44 | 0.42648 | 1.7959 | 53.8651 | 10% | 59.2516 | 1.6268
2065 | 45 | 0.42071 | 1.8318 | 55.6969 | 10% | 61.2666 | 1.6581
Cascade's Long Term Real Discount Rate: |  |  |  | 3.4%
|  | IRP Discount Rate = |  | 3.4%
|  | Revised Discount Rate= |  | 4.17%
|  | Years 21-45 Escalation = |  | 2% | (EIA Inflation Rate)