and commodity cost components.  This classification is based on the Company's system annual load factor derived on a peak-day basis.  The peak day is determined by the average of the Heating Degree-Days (HDDs) of the observed five highest peaks the Company experienced during February 2002 through January 2004.  This method results in a peak day demand for the Company of approximately 6,962,075 therms based on a 38 HDD level.

Q:	Under the Company's proposed method, what were the weather conditions actually experienced for the five highest peaks in the last three years?

A:	The following table presents this information:

| Date | Average Temperature | HDDs |
| --- | --- | --- |
| January 5, 2004 | 24F | 42 |
| January 4, 2004 | 23F | 41 |
| January 3, 2004 | 29F | 35 |
| January 6, 2004 | 26F | 38 |
| December 29, 2003 | 32F | 32 |
| Average | 27F | 38 |

Q:	Please describe how investment in distribution mains was classified and allocated.

A:	The Company started with an analysis of facilities used to serve its largest customers - Rate Schedules 85, 87, 57 and the special contract customers.  The