## PEAKCRD5
PEAK CREDIT METHOD FOR 2001 COST OF SERVICE STUDY
Peak Credit uses the UE-920499 Methodology
Combined Cycle Plant (Nominal $)
| Capital Cost | Fixed O&M | Variable O&M | Gas | Gas | Total |  |  | Annual
Year | $/MWH Yr | $/MWH | $/MWH | $/MMBTU | $/MWH | $/MWH |  |  | Inflation
2002 | 15.41 | 1.53 | 2.04 | 3.2987 | 22.5433 | 41.5233 |  |  | 2%
2003 | 15.41 | 1.56 | 2.08 | 3.6376 | 22.5433 | 41.5933 |  |  | 2%
2004 | 15.41 | 1.59 | 2.12 | 3.7335 | 24.8595 | 43.9795 |  |  | 2%
2005 | 15.41 | 1.62 | 2.16 | 3.8319 | 25.5147 | 44.7047 |  |  | 2%
2006 | 15.41 | 1.65 | 2.2 | 3.9328 | 26.187 | 45.447 |  |  | 2%
2007 | 15.41 | 1.68 | 2.24 | 4.0364 | 26.8768 | 46.2068 |  |  | 2%
2008 | 15.41 | 1.71 | 2.28 | 4.1426 | 27.5846 | 46.9846 |  |  | 2%
2009 | 15.41 | 1.74 | 2.33 | 4.2517 | 28.3108 | 47.7908 |  |  | 2%
2010 | 15.41 | 1.77 | 2.38 | 4.3636 | 29.056 | 48.616 |  |  | 2%
2011 | 15.41 | 1.81 | 2.43 | 4.4766 | 29.8205 | 49.4705 |  |  | 2%
2012 | 15.41 | 1.85 | 2.48 | 4.5926 | 30.5931 | 50.3331 |  |  | 2%
2013 | 15.41 | 1.89 | 2.53 | 4.7116 | 31.3858 | 51.2158 |  |  | 2%
2014 | 15.41 | 1.93 | 2.58 | 4.8337 | 32.1992 | 52.1192 |  |  | 2%
2015 | 15.41 | 1.97 | 2.63 | 4.959 | 33.0337 | 53.0437 |  |  | 2%
2016 | 15.41 | 2.01 | 2.68 | 5.0876 | 33.8901 | 53.9901 |  |  | 2%
2017 | 15.41 | 2.05 | 2.73 | 5.2195 | 34.7688 | 54.9588 |  |  | 2%
2018 | 15.41 | 2.09 | 2.78 | 5.3549 | 35.6704 | 55.9504 |  |  | 2%
2019 | 15.41 | 2.13 | 2.84 | 5.4938 | 36.5955 | 56.9755 |  |  | 2%
2020 | 15.41 | 2.17 | 2.9 | 5.6363 | 37.5448 | 58.0248 |  |  | 2%
2021 | 15.41 | 2.21 | 2.96 | 5.7826 | 38.5188 | 59.0988 |  |  | 2%
2022 | 15.41 | 2.25 | 3.02 | 5.9327 | 39.5183 | 60.1983 |  |  | 2%
2023 | 15.41 | 2.3 | 3.08 | 6.0866 | 40.5438 | 61.3338 |  |  | 2%
2024 | 15.41 | 2.35 | 3.14 | 6.2446 | 41.5961 | 62.4961 |  |  | 2%
2025 | 15.41 | 2.4 | 3.2 | 6.4068 | 42.6759 | 63.6859 |  |  | 2%
2026 | 15.41 | 2.45 | 3.26 | 6.5731 | 43.7839 | 64.9039 |  |  | 2%
2027 | 15.41 | 2.5 | 3.33 | 6.7439 | 44.9208 | 66.1608 |  |  | 2%
2028 | 15.41 | 2.55 | 3.4 | 6.919 | 46.0875 | 67.4475 |  |  | 2%
2029 | 15.41 | 2.6 | 3.47 | 7.0988 | 47.2846 | 68.7646 |  |  | 2%
2030 | 15.41 | 2.65 | 3.54 | 7.2832 | 48.5129 | 70.1129 |  |  | 2%
2031 | 15.41 | 2.7 | 3.61 | 7.4725 | 49.7734 | 71.4934 |  |  | 2%
2%
Combustion Turbine
Peak
| Capital Cost | Fixed O&M | Variable O&M | Fuel Oil | Fuel Oil | Gas | Total | Credit
Year | $/kW Yr | $/kW Yr | $/kW Yr | $/MMBTU | $/kW Yr | $/kW Yr | $/kW Yr | $/kW Yr | Inflation
2002 | 68.11 | 5.61 | 1.02 | 4.2323 | 2.2668 | 5.3004 | 82.3072 | 50.9762 | 2%
2003 | 68.11 | 5.72 | 1.04 | 4.0175 | 2.1518 | 5.8449 | 82.8667 | 51.4889 | 2%
2004 | 68.11 | 5.83 | 1.06 | 3.8495 | 2.0618 | 5.999 | 83.0608 | 51.6363 | 2%
2005 | 68.11 | 5.95 | 1.08 | 3.6731 | 1.9673 | 6.1571 | 83.2644 | 51.7889 | 2%
2006 | 68.11 | 6.07 | 1.1 | 3.7593 | 2.0135 | 6.3192 | 83.6127 | 52.0862 | 2%
2007 | 68.11 | 6.19 | 1.12 | 3.8476 | 2.0608 | 6.4856 | 83.9664 | 52.3889 | 2%
2008 | 68.11 | 6.31 | 1.14 | 3.938 | 2.1092 | 6.6564 | 84.3256 | 52.6971 | 2%
2009 | 68.11 | 6.44 | 1.16 | 4.0304 | 2.1587 | 6.8316 | 84.7003 | 53.0165 | 2%
2010 | 68.11 | 6.57 | 1.18 | 4.1251 | 2.2094 | 7.0114 | 85.0807 | 53.3417 | 2%
2011 | 68.11 | 6.7 | 1.2 | 4.2396 | 2.2708 | 7.193 | 85.4738 | 53.6795 | 2%
2012 | 68.11 | 6.83 | 1.22 | 4.3574 | 2.3338 | 7.3794 | 85.8732 | 54.0237 | 2%
2013 | 68.11 | 6.97 | 1.24 | 4.4785 | 2.3987 | 7.5706 | 86.2893 | 54.3803 | 2%
2014 | 68.11 | 7.11 | 1.26 | 4.6029 | 2.4653 | 7.7668 | 86.7121 | 54.7436 | 2%
2015 | 68.11 | 7.25 | 1.29 | 4.7308 | 2.5338 | 7.9682 | 87.152 | 55.124 | 2%
2016 | 68.11 | 7.4 | 1.32 | 4.8595 | 2.6028 | 8.1748 | 87.6075 | 55.5158 | 2%
2017 | 68.11 | 7.55 | 1.35 | 4.9918 | 2.6736 | 8.3868 | 88.0704 | 55.9149 | 2%
2018 | 68.11 | 7.7 | 1.38 | 5.1277 | 2.7464 | 8.6043 | 88.5407 | 56.3214 | 2%
2019 | 68.11 | 7.85 | 1.41 | 5.2673 | 2.8212 | 8.8275 | 89.0186 | 56.7356 | 2%
2020 | 68.11 | 8.01 | 1.44 | 5.4107 | 2.898 | 9.0565 | 89.5145 | 57.1635 | 2%
2021 | 68.11 | 8.17 | 1.47 | 5.5189 | 2.9559 | 9.2915 | 89.9974 | 57.5784 | 2%
2022 | 68.11 | 8.33 | 1.5 | 5.6293 | 3.015 | 9.5326 | 90.4876 | 58.0006 | 2%
2023 | 68.11 | 8.5 | 1.53 | 5.7419 | 3.0753 | 9.78 | 90.9954 | 58.4361 | 2%
2024 | 68.11 | 8.67 | 1.56 | 5.8567 | 3.1369 | 10.0339 | 91.5108 | 58.8793 | 2%
2025 | 68.11 | 8.84 | 1.59 | 5.9738 | 3.1996 | 10.2944 | 92.034 | 59.3303 | 2%
2026 | 68.11 | 9.02 | 1.62 | 6.0933 | 3.2636 | 10.5617 | 92.5753 | 59.7951 | 2%
2027 | 68.11 | 9.2 | 1.65 | 6.2152 | 3.3289 | 10.836 | 93.1249 | 60.2681 | 2%
2028 | 68.11 | 9.38 | 1.68 | 6.3395 | 3.3954 | 11.1175 | 93.6829 | 60.7497 | 2%
2029 | 68.11 | 9.57 | 1.71 | 6.4663 | 3.4633 | 11.4063 | 94.2596 | 61.2456 | 2%
2030 | 68.11 | 9.76 | 1.74 | 6.5956 | 3.5326 | 11.7027 | 94.8453 | 61.7505 | 2%
2031 | 68.11 | 9.96 | 1.77 | 6.7275 | 3.6033 | 12.0068 | 95.45 | 62.2703 | 2%
|  |  | Combustion | Peak | CC | Peak
|  |  | Turbine | CT | CT | Credit
| Levelized Cost $/mWh |  |  |  | 53.9895
| Levelized Cost $/kW Yr |  | 94.2916 | 59.2016 | 378.3582 | 15.65%
Assumptions
1 | Fixed Charge Rate CC: |  | 14.4%
2 | Fixed Charge Rate CT: |  | 14.4%
2 | Hours/Year CT Peak Operation |  | 200 |  | Oil (hours): | 50
3 | CCCT Capacity Factor: |  | 80%
4 | Weighted Cost of Capital CC: |  | 10.47%
4 | Weighted Cost of Capital CT: |  | 10.47%
5 | 1/2 of Capital & Fixed O&M For CT Used For Peak Credit Cost
6 | Fixed & variable O&M, gas, and fuel escalation rate beyond 2015: |  |  |  |  | 2.8%
[5 empty] | Capital | Fixed O&M | Var O&M | Heat Rate
[5 empty] | $/kW | $/kW/yr | $ / MWH | BTU/kWh
7 | Combined Cycle Combustion Turbine Plant |  |  |  | 750 | 10.5 | 2 | 6834
8 | Simple Cycle Combustion Turbine Plant |  |  |  | 473 | 5.5 | 5 | 10712
9 | Reserve margin |  | 15%
|  |  |  | Capital Component |  | Ratio | Cost | Wght Cost
|  |  |  | Debt |  | 52.74% | 7.565% | 3.99%
|  |  |  | Trust Preferred |  | 0% | 7.78% | 0%
|  |  |  | Preferred Stock |  | 2.26% | 7.78% | 0.1758%
|  |  |  | Common Equity |  | 45% | 14% | 6.3%
|  |  |  | TOTAL |  | 100% |  | 10.47%
Note on D7: $1.0/kW variable O&M per jay jacobsen 11/19/97 NWPPC data
Note on D84: per chip lambert latest FCR analysis for a combustion turbine using Hadaway FERC witness cost of capital of 9.42%. Also included revenue sensitive taxes (muni and B&O taxes) which were
Note on F95: PA Financing Assumption Note: Chehalis Tractebel plant in the news as $712.87 / KW
Note on F96: PA Financing Assumptions = $ are 2001
Note on G91: used WEFA 2015 data rounded from 2.79% to 2.80% for years 2016 through 2025