BEFORE THE WASHINGTON STATE

UTILITIES AND TRANSPORTATION COMMISSION

| WASHINGTON UTILITIES AND TRANSPORTATION COMMISSION, Complainant, v. SUMMIT VIEW WATER WORKS, Respondent. | DOCKET UW-110107 |
| --- | --- |

TESTIMONY OF

KIRK RATHBUN

ON BEHALF OF

SUMMIT VIEW WATER WORKS, LLC

June 10, 2011

Q.	PLEASE STATE YOUR NAME AND PROVIDE YOUR BUSINESS 	ADDRESS FOR THE RECORD.

A.	My name is Kirk Rathbun.  My address is 8428 W Gage Blvd Ste E, Kennewick WA 99336.

Q.	WHAT IS YOUR RELATIONSHIP TO SUMMIT VIEW WATER WORKS, LLC?

- I am one of the members of the limited liability company.  That also means that I am one of the owners of SVWW.

- ARE YOU AUTHORIZED TO TESTIFY ON BEHALF OF SVWW?

- Yes.

Q.	WHAT WAS FILED IN THIS DOCKET?

A.	SVWW filed both a request for a surcharge and a request to establish a facilities charge.  Copies of the tariff pages are attached as Exhibit ____ (KR-2).  The purpose of the surcharge and the facilities charge are to fund the construction of a new well.

Q.	WHY IS A NEW WELL NEEDED?

A.	A new well is needed for two purposes.  The new well is needed to allow for growth by adding additional customers.  The new well is also needed for reliability for existing customers.  Because it has two purposes, the idea that SVWW used in making its filing is that half of the cost of the well should be paid for through surcharge and half the cost of the well should be paid for through a facilities charge.  The facilities charge would be paid by new customers.  The surcharge would be paid by existing customers.

Q.	WHY IS THE NEW WELL NEEDED FOR RELIABILITY PURPOSES?

A.	The second well is needed to be a backup to the first well.  Customers are one breakdown away from a serious disruption of service.  The existing well is stable, but the pumping components have a limited shelf life.  Due to the location of the pump, which is a submersible pump located 830 feet underground, the Company is not able to monitor its ongoing operations.  The only way the Company will know when the pump is having difficulty is when it fails or begins to pump less water.  This will put customers out of service if it fails and could lead to serious interruptions in service if it malfunctions and pumps less water.  Because of the depth of the pump and the need to order a new pump, it could be quite some time before service is put back in place.  A second well will provide reliability of service for existing customers.

Q.	WHAT IS THE PROPOSED FINANCING FOR THE CONSTRUCTION OF THE NEW WELL?

A.	It is proposed that fifty percent of the well be financed through the surcharge and fifty percent of the well be financed through the facilities charge.  The financing for the surcharge portion is available through a commercial lender.  A copy of the loan commitment is attached as Exhibit ____ (KR-3).  Because a facilities charge is by its nature sporadic in its generation of revenue, a bank is not willing to lend money to SVWW to fund the facilities charge portion of the construction costs.

Therefore, the Company has entered into an arrangement with an affiliated interest, Candy Mountain Limited Liability Company, upon financing of that half of the construction project.  A copy of that Promissory Note is attached as Exhibit ____(KR-4).

Q.	IS THE LOAN COMMITMENT FROM THE COMMERCIAL LENDER STILL VALID?

A.	The initial commitment was available for sixty days from January 14, 2011.  I have checked and the commitment is still open.  However, if interest rates start to rise, the lender may want to change the terms of the commitment.

Q.	HOW IS THE AMOUNT OF THE CONSTRUCTION PROJECT DETERMINED?

A.	SVWW received a proposal from a third party who is reputable in the area for construction of wells.  That documentation is attached as Exhibit ____(KR-5).  Based on this information, the total cost was estimated.

Q.	IS THE PROPOSAL STILL IN PLACE?

A.	It is at the moment.  However, if material and supply costs change, the cost of the project could increase.  It is doubtful that materials and supply costs will decrease in the near future.

Q.	IS CONSTRUCTION OF THE WELL CONSISTENT WITH THE COMPANY'S COMPREHENSIVE PLAN?

A.	Yes.  This well is projected to be constructed under the terms of SVWW's Comprehensive Plan on file with the Washington State Department of Health.

Q.	CAN THE EXISTING WELL SERVE PROJECTED GROWTH?

A.	No.  SVWW currently serves approximately 85 customers.  The existing well has a maximum capacity of 126 customers.  Thus, a new well will be needed for growth.  In addition, as explained above, a new well is needed for continuity of supply to existing customers.

Q.	DOES THAT COMPLETE YOUR TESTIMONY?

A.	For the present time it does.