EXHIBIT NO. ___(WJE-1HCT)
DOCKET NO. UE-07___/UG-07___
2007 PSE GENERAL RATE CASE
WITNESS:  W. JAMES ELSEA

BEFORE THE

WASHINGTON UTILITIES AND TRANSPORTATION COMMISSION

| WASHINGTON UTILITIES AND TRANSPORTATION COMMISSION, Complainant, v. PUGET SOUND ENERGY, INC., Respondent. |  | Docket No. UE-07____ Docket No. UG-07____ |
| --- | --- | --- |

PREFILED DIRECT TESTIMONY (HIGHLY CONFIDENTIAL) OF
W. JAMES ELSEA
ON BEHALF OF PUGET SOUND ENERGY, INC.

REVISED DECEMBER 21, 2007

investor partner and that partnership will effectively reduce the net benefits from PTCs by approximately 14%--or about $3.35/MWh levelized over 20 years.

However, the Hopkins Ridge Wind Infill Project is not a candidate for a tax investor because it is located within a wind farm wholly owned by PSE.  Thus, the Company assumed that PSE would exceed its tax credits, which would then be carried forward.  PSE estimated the carrying cost of this PTC deferral at about $7.30/MWh.

Q.	Please summarize the quantitative analysis of the Hopkins Ridge Wind Infill Project.

A.	Using the Portfolio Screening Model version 8-4 with the August 2006 updated prices, the Hopkins Ridge Infill Wind Project provides a present value $5 million of portfolio benefit over 20 years.  The levelized cost of approximately $███/MWh is competitive with (and over $3/MWh less than) the $███/MWh levelized cost of the Klondike PPA.

## F.	Acquisition of the Sumas Cogeneration Station

Q.	How did PSE evaluate the incremental cost of SCCLP’s breach of the Sumas PPA?

A.	As discussed in the prefiled direct testimony of Mr. Roger Garratt, Exhibit No. ___(RG-1HCT), PSE, in response to the notice of intent to breach received May 7, 2007 from SCCLP, issued a term sheet to solicit bids to replace the

energy, capacity and displacement benefits of the existing PPA.  PSE received bids from two of the four parties solicited and used these bids to assess the direct cost of replacing the SCCLP PPA from July 2007 through the term of the contract, expiring April 2013.

Q.	Did the Company adjust these bids in performing its analysis?

A.	Yes.  PSE made two adjustments to the bids to make them more consistent with, and comparable to, the SCCLP PPA.  First, the Company adjusted the bids to add the costs of transmission of the power to the PSE transmission system.  Second, the Company adjusted the bids to account for the cost of market purchases necessary to cover the difference between the bid amounts of 125 MW and the nominal capacity of the Sumas Cogeneration Station, which is higher than 125 MW in the winter months.

Q.	What was the present value cost of the replacement power?

A.	The Company’s analysis showed that the replacement bids would have a present value cost within the range of ██████████████.  Please see Exhibit No. ___(WJE-20HC) for a summary of the calculation of the potential incremental cost of replacing the SCCLP PPA with identical energy, capacity, displacement and delivery to PSE service territory.

/////

/////

PSE staff notified the EMC of the results of the solicitation and proceeded with replacing the energy as prescribed in the replacement power strategy outlined by the EMC.

Q.	Did PSE compare the cost of replacement power purchased and described in Section IV D above with the energy cost of the SCCLP PPA?

A.	Yes.  The replacement market power was about ███████ less than the price of the SCCLP PPA.  See Exhibit No. ___(WJE-20HC) at 4.

PSE adjusted these market purchases for (i) the costs of transmission of such power to the PSE system and (ii) the displacement options lost with the breach of the SCCLP PPA.  The Company projects that the bottom line impact of the breach, accounting for the ███████ benefit of lower market price, is a present value cost of about ███████.

As discussed in the prefiled direct testimony of Mr. Roger Garratt, Exhibit No. ___(RG-1HCT), PSE and SCCLP agreed to a settlement of the breach whereby SCCLP would sell the Sumas Cogeneration Station to PSE at a significant discount -- approximately ███████ or ███/kW.

Q.	How did PSE’s quantitative team analyze the acquisition of the Sumas Cogeneration Station?

A.	PSE’s quantitative team evaluated the acquisition of the Sumas Cogeneration Station from three perspectives.  First, PSE compared the Sumas Cogeneration

Station with the short list of projects from the 2005 RFP using the Portfolio Screening Model, with the August 2006 price update.  Second, PSE evaluated the Sumas Cogeneration Station value using several approaches, including comparing the plant characteristics to the Goldendale Generating Station in a manner similar to a “real estate comparable” evaluation.  Finally, PSE evaluated the Sumas Generating Station using Portfolio Screening Model version 10-2, which reflects updated 2007 IRP pricing.

Q.	How did the acquisition of the Sumas Cogeneration Station compare with the short list of projects?

A.	PSE evaluated the Sumas project using Portfolio Screening Model version 8-4 in March 2007.  At that time, acquisition of the Sumas Cogeneration Station resulted in a portfolio benefit that would have placed it on the short list, had it been in the 2005 RFP.  Please see Exhibit No. ___(RG-32) and Exhibit No.  ___(RG-33) for presentations to the WUTC staff and EMC, respectively.  The following scatter-plot graph shows that the Sumas Cogeneration Station, with a 16-year life, is reasonable when compared with the other projects evaluated at that time.

/////

/////

/////

Q.	Why did the Company evaluate the acquisition of the Sumas Cogeneration Station in March 2007, before SCCLP notified PSE that it could no longer honor the existing PPA?

A.	As discussed in the prefiled direct testimony of Mr. Roger Garratt, Exhibit No. ___(RG-1HCT), PSE was considering the opportunity to restructure the SCCLP PPA and purchase the Sumas Cogeneration Station at a discount during the period from 2006 to early 2007.  The purchase price at that time was a net ███████, with the potential of a ███████ reduction resulting from PSE’s share of benefits of the contract restructure.

/////

Q.	How did PSE estimate the asset value of the Sumas Cogeneration Station?

A.	PSE used several simple approaches to estimate asset value, including but not limited to (i) evaluation of recent sales of gas fired generation plants, (ii) Portfolio Screening Model results, and (iii) adjustment of the recent Goldendale Generating Station sale for factors of plant efficiency, age, and fixed costs of gas transportation and power transmission.

Q.	What asset values resulted from these approaches?

A.	The survey of market sales of gas fired generation indicated an average price of $415/kw or about $54 million for the 130 MW Sumas Cogeneration Station.  Please see Exhibit No. ___(WJE-21) for the results of the survey of market sales of gas fired generation.

The Portfolio Screening Model methodology (assuming a 20-year remaining life for the Sumas Cogeneration Station) results in an asset value of approximately $50 million.

The adjusted Goldendale Generating Station methodology results in an estimated asset value range for the Sumas Generation Station of between $43 million and $51 million.  Please see Exhibit No. ___(WJE-22HC) for the results of the adjusted Goldendale Generating Station methodology.

/////

Q.	Has the Company updated its quantitative analysis of the Sumas Cogeneration Station acquisition?

A.	Yes.  PSE updated the Portfolio Screening Model for assumptions contained in the 2007 Integrated Resource Plan in May 2007.  Although PSE has not completed all Portfolio Screening Model updates for the anticipated 2008 Request for Proposals, PSE developed an interim model (PSM version 10-2) to evaluate the acquisition of the Sumas Cogeneration Station relative to the acquisition of the Goldendale Generation Station and the Klondike III Wind PPA.  Please see Exhibit No. ___(WJE-23C) for graphs demonstrating the portfolio benefit, levelized cost, and portfolio benefit ratios for each of the Goldendale Generation Station acquisition, the Klondike III Wind PPA, and the Sumas Cogeneration Station acquisition (assuming both a 15-year and a 20-year remaining life).  The results of this analysis is also provided in the following table.

| PSM 10-2 |
| --- |
| Resource Name | Benefit Ratio | Benefit $000 | Levelized $/MWh |
| Goldendale | 0.200 | 199,601 | █████ |
| Sumas 15yr | 0.253 | 64,520 | █████ |
| Sumas 20yr | 0.495 | 162,761 | █████ |
| Klondike III PPA | 0.251 | 30,442 | █████ |

For purposes of the acquisition, PSE assumed that the Sumas Cogeneration Station, a plant that started commercial operations in 1993, has approximately 15 years of remaining economic life.

/////

Assume a remaining economic life of 15 years, the present value of the portfolio benefit of the Sumas Cogeneration Station is over $64 million, and the ratio of portfolio benefit to all in plant cost, including fuel, is 0.253.  A benefit ratio of 0.253 is slightly greater than the benefit ratio of 0.251 associated with the Klondike III Wind PPA.  The Portfolio Screening Model version 10-2 analysis indicates that the Sumas Cogeneration Station acquisition would be among the leaders on the 2005 RFP short list.  The levelized costs for the Goldendale Generating Station and the Sumas Cogeneration Station reflect the fact that the model results in a capacity factor of about 40% for the Goldendale Generation Station and in a capacity factor of about 25% to 30% for the Sumas Cogeneration Station.

# V.	CONCLUSION

Q.	Please summarize your conclusions.

A.	For the 2005 RFP, PSE evaluated approximately 120 different resource alternatives that included unsolicited proposals and offers from the 2005 RFP.  Cost and portfolio benefit measures helped screen these proposals down to 16 projects on the short list.  PSE evaluated the short list projects and portfolio combinations (i) in four different price scenarios and (ii) using a Monte Carlo simulation testing power price, gas price, hydro and wind variability.

All projects on the short list lowered PSE’s portfolio cost relative to the combination of generic resources that were determined in the 2005 LCP to be the

low cost portfolio.  PSE acquired the ██████ PPA and the Klondike III Wind PPA as a result of the 2005 RFP process.

PSE evaluated the purchase of Whitehorn Generating Station Units 2 and 3 at the end of the lease term in February 2009 by comparing such purchase to the capacity resource proposals submitted in the 2005 RFP.  The acquisition of Whitehorn Generating Station Units 2 and 3 was the lowest cost capacity option.

PSE acquired the ████ and Sempra PPAs to replace the fixed price energy that PSE had been purchasing pursuant to the now terminated SCCLP PPA.  The ████ and Sempra PPAs were the lowest cost alternatives resulting from four rounds of competitive bids for replacement power.

The Hopkins Ridge Wind Infill Project was a low cost opportunity to add to PSE’s renewable resource base.

The acquisition of the Sumas Cogeneration Station, when evaluated with the Portfolio Screening Model, compared favorably with the group of short listed projects identified in Phase II of the 2005 RFP.  The purchase price of ██████ represents a significant discount to the recent market sales of gas fired plants and to the recent purchase of Goldendale Generating Station when adjusted for efficiency, age and fixed costs of operation.

Q.	Does that conclude your testimony?

A.	Yes, it does.

# Text boxes

Redacted

Version

Revised December 21, 2007

to remove redactions

Redacted

Version

Redacted

Version

Revised December 21, 2007

to remove redactions

Redacted

Version

Revised December 21, 2007

Redacted

Version

Revised December 21, 2007

Revised December 21, 2007

Redacted

Version

PPA Refresh

CT Aug06 Rev

Quadrant

Bestt

Levelized Cost $/MWh

Portfolio (Cost) Benefit $000

120,000

100,000

80,000

60,000

40,000

20,000

-

$160.0

$140.0

$120.0

$100.0

$80.0

$60.0

$40.0

$20.0

$-

Winter Peak PPA

XXXXXXX

New Gas

XXXXX 15 yr Toll

Sumas $22 20 yr

On-peak PPA

Sumas $22 16-yr

Goldendale

Wind PPA

Geothermal PPA

Wind PPA

New Gas

New Gas

XXXXX w CO2 Risk

Levelized Cost v Portfolio Benefit

Revised December 21, 2007

to remove redactions

Revised December 21, 2007

Redacted

Version

Revised December 21, 2007

Revised December 21, 2007

Highly Confidential per
WAC 480-07-160

Revised December 21, 2007

Revised December 21, 2007

Revised December 21, 2007