## extract-Transm
|  |  | H-W # from most current year | 502 | [5 empty] | H-W # from most current year | 596 | [5 empty] | H-W # from most current year | 525
FERC AC | 354 Towers & Fixtures | [5 empty] | 355 Poles & Fixtures | [6 empty] | 356 OH Conductors
YEAR | Actual $$$ | col, add | corr $$$ | H-W | to '09 | Equiv '09 $$ | Actual $$$ | col, add | retire | correct $$$ | H-W | to '09 | Equiv '09 $$ | Actual $$$ | col, add | retire | corr. $$ | H-W | to '09 | Equiv '09 $$
|  | (est) | [5 empty] | (est) | [6 empty] | (est)
Leave Line 7 blank, insert new line at line 8 when update for new year | [21 empty] | 100 | 100 | 100
2009 | 14714.72 |  | 14714.72 | 502 | 1 | 14714.72 | 3424337.07 |  | -98793.24 | 3325543.83 | 596 | 1 | 3325543.83 | 2428936.64 |  | -17543.73 | 2411392.91 | 525 | 1 | 2411392.91 |  | 354 Towers & Fixtures | 355 Poles & Fixtures | 356 OH Conductors
2008 | 18359.93 |  | 18359.93 | 517 | 0.97099 | 17827.2434 | 2596987.09 |  | -558008.34 | 2038978.75 | 576 | 1.0347 | 2109776.6233 | 3879113.2 |  | -545661.83 | 3333451.37 | 716 | 0.73324 | 2444220.6274 | year | H-W Change | H-W Change | H-W Change
2007 | 10714 |  | 10714 | 498 | 1.008 | 10800.0562 | 25093332.22 |  | -143462.43 | 24949869.79 | 534 | 1.1161 | 27846671.1514 | 26409204.08 |  | -103911.22 | 26305292.86 | 608 | 0.86349 | 22714274.2623 | 1959 | 10.5578 | 8.3893 | 11.8095
2006 | -15320 |  | -15320 | 459 | 1.0937 | -16755.207 | 2987621 |  |  | 2987621 | 522 | 1.1418 | 3411153.4789 | 1583020 |  |  | 1583020 | 568 | 0.9243 | 1463178.6972 | 1969 | 15.5378 | 11.5772 | 15.2381
2005 | 23185 |  | 23185 | 437 | 1.1487 | 26633.5698 | 9267295 |  |  | 9267295 | 503 | 1.1849 | 10980731.2525 | 4538663 |  |  | 4538663 | 489 | 1.0736 | 4872797.6994 | 1979 | 37.251 | 31.7114 | 36.7619
2004 | 1676 |  | 1676 | 422 | 1.1896 | 1993.7251 | 14064350 |  | -485314 | 13579036 | 470 | 1.2681 | 17219373.3106 | 3675602 |  | -493775 | 3181827 | 445 | 1.1798 | 3753840.8427 | 1989 | 57.1713 | 50.5034 | 60.9524
2003 | 4309 |  | 4309 | 389 | 1.2905 | 5560.7147 | 720009 |  | -96277 | 623732 | 456 | 1.307 | 815228.6667 | 633314 |  | -115840 | 517474 | 412 | 1.2743 | 659402.5485 | 1999 | 70.5179 | 70.302 | 67.4286
2002 | 10577 |  | 10577 | 385 | 1.3039 | 13791.3091 | 1979953 |  | -85477 | 1894476 | 448 | 1.3304 | 2520329.6786 | 1292950 |  | -110997 | 1181953 | 406 | 1.2931 | 1528387.5 | 2009 | 100 | 100 | 100
2001 | 9933 |  | 9933 | 377 | 1.3316 | 13226.435 | 1058949 |  | -87098 | 971851 | 432 | 1.3796 | 1340794.4352 | 728455 |  | -109461 | 618994 | 403 | 1.3027 | 806381.7618
2000 | 8231 |  | 8231 | 368 | 1.3641 | 11228.1576 | 3216446 |  | -243836 | 2972610 | 422 | 1.4123 | 4198283.3175 | 1102320 |  | -102127 | 1000193 | 398 | 1.3191 | 1319350.0628
1999 | 8553 |  | 8553 | 354 | 1.4181 | 12128.8305 | 1431247 |  |  | 1431247 | 419 | 1.4224 | 2035854.9212 | 674319 |  |  | 674319 | 354 | 1.4831 | 1000049.3644
1998 | 3725 |  | 3725 | 347 | 1.4467 | 5388.9049 | 1417187 |  |  | 1417187 | 428 | 1.3925 | 1973466.0093 | 531292 |  |  | 531292 | 391 | 1.3427 | 713371.6113
1997 | 9840 |  | 9840 | 341 | 1.4721 | 14485.8651 | 4375370 |  |  | 4375370 | 420 | 1.419 | 6208858.381 | 2988678 |  |  | 2988678 | 379 | 1.3852 | 4139989.314
1996 | 7786 |  | 7786 | 333 | 1.5075 | 11737.4535 | 686675 |  |  | 686675 | 407 | 1.4644 | 1005548.6486 | 260693 |  |  | 260693 | 374 | 1.4037 | 365946.0561
1995 | 6099 |  | 6099 | 322 | 1.559 | 9508.3789 | 4430992 |  |  | 4430992 | 392 | 1.5204 | 6736916.4082 | 1996474 |  |  | 1996474 | 368 | 1.4266 | 2848230.5707
1994 | 52304 |  | 52304 | 312 | 1.609 | 84155.7949 | 4046823 |  |  | 4046823 | 378 | 1.5767 | 6380705.0476 | 1686755 |  |  | 1686755 | 340 | 1.5441 | 2604548.1618
1993 | 106690 | 0 | 106690 | 296 | 1.6959 | 180940.473 | 2845709 | 758 | 98 | 2845049 | 360 | 1.6556 | 4710136.6778 | 2700866 | 10444 | 107 | 2690529 | 330 | 1.5909 | 4280387.0455
1992 | 47 | 0 | 47 | 284 | 1.7676 | 83.0775 | 1085078 | 1942 | 98 | 1083234 | 350 | 1.7029 | 1844592.7543 | 480682 | 40816 | 107 | 439973 | 318 | 1.6509 | 726370.5189
1991 | 3026 | 0 | 3026 | 281 | 1.7865 | 5405.879 | 1267332 | 0 | 98 | 1267430 | 333 | 1.7898 | 2268433.2733 | 791083 | 1336 | 107 | 789854 | 333 | 1.5766 | 1245265.3153
1990 | 295 | 0 | 295 | 288 | 1.7431 | 514.2014 | 1284852 | 581 | 98 | 1284369 | 312 | 1.9103 | 2453474.1154 | 684440 | 0 | 107 | 684547 | 323 | 1.6254 | 1112653.7926
1989 | 819 | 243 | 576 | 287 | 1.7491 | 1007.4983 | 1163037 | 2902 | 98 | 1160233 | 301 | 1.9801 | 2297338.4319 | 487937 | -1462 | 107 | 489506 | 320 | 1.6406 | 803095.7812
1988 | 76894 | 81057 | -4163 | 278 | 1.8058 | -7517.3597 | 1294180 | 48 | 98 | 1294230 | 281 | 2.121 | 2745057.2242 | 626564 | 76723 | 107 | 549948 | 311 | 1.6881 | 928368.8103
1987 | 80403 | 78776 | 1627 | 267 | 1.8801 | 3059.0037 | 2225899 | 210 | 98 | 2225787 | 261 | 2.2835 | 5082640.046 | 1443444 | -10847 | 107 | 1454398 | 243 | 2.1605 | 3142217.9012
1986 | 301692 | 301697 | -5 | 261 | 1.9234 | -9.6169 | 9698392 | 0 | 98 | 9698490 | 258 | 2.3101 | 22404263.7209 | 4592976 | 278335 | 107 | 4314748 | 252 | 2.0833 | 8989058.3333
1985 | 278833 | 278329 | 504 | 256 | 1.9609 | 988.3125 | 10838369 | 262 | 98 | 10838205 | 256 | 2.3281 | 25232696.0156 | 5076030 | 256210 | 107 | 4819927 | 252 | 2.0833 | 10041514.5833
1984 | 12852513 | 10911957 | 1940556 | 247 | 2.0324 | 3943964.0162 | 1778996 | -262 | 98 | 1779356 | 260 | 2.2923 | 4078831.4462 | 13142307 | 11844495 | 107 | 1297919 | 258 | 2.0349 | 2641114.2442
1983 | 21229 | 21229 | 0 | 234 | 2.1453 | 0 | 1905155 | 0 | 0 | 1905155 | 258 | 2.3101 | 4401055.7364 | 2475150 | 0 | 0 | 2475150 | 268 | 1.959 | 4848708.0224
1982 | 604025 | 604026 | -1 | 229 | 2.1921 | -2.1921 | 1903511 | 0 | 0 | 1903511 | 252 | 2.3651 | 4501954.5873 | 1860287 | 0 | 0 | 1860287 | 251 | 2.0916 | 3891038.5458
1981 | 0 | 0 | 0 | 225 | 2.2311 | 0 | 840774 | 0 | 0 | 840774 | 233 | 2.5579 | 2150649.3734 | 696545 | 0 | 0 | 696545 | 241 | 2.1784 | 1517369.8133
1980 | 5044 | 0 | 5044 | 210 | 2.3905 | 12057.5619 | 762669 | 0 | 0 | 762669 | 211 | 2.8246 | 2154268.8341 | 966034 | 0 | 0 | 966034 | 220 | 2.3864 | 2305308.4091
1979 | 11826 | 0 | 11826 | 187 | 2.6845 | 31746.8021 | 984183 | 0 | 0 | 984183 | 189 | 3.1534 | 3103561.2063 | 696371 | 0 | 0 | 696371 | 193 | 2.7202 | 1894273.4456
1978 | 0 | 0 | 0 | 169 | 2.9704 | 0 | 826902 | 0 | 0 | 826902 | 171 | 3.4854 | 2882067.7895 | 662225 | 0 | 0 | 662225 | 179 | 2.933 | 1942280.0279
1977 | 30841 | 0 | 30841 | 155 | 3.2387 | 99885.0452 | 571982 | 0 | 0 | 571982 | 160 | 3.725 | 2130632.95 | 378594 | 0 | 0 | 378594 | 187 | 2.8075 | 1062897.5936
1976 | 1665076 | 0 | 1665076 | 149 | 3.3691 | 5609853.3691 | 1078684 | 0 | 0 | 1078684 | 150 | 3.9733 | 4285971.0933 | 684307 | 0 | 0 | 684307 | 172 | 3.0523 | 2088727.7616
1975 | 304215 | 0 | 304215 | 145 | 3.4621 | 1053213.3103 | 1407872 | 0 | 0 | 1407872 | 144 | 4.1389 | 5827025.7778 | 1210086 | 0 | 0 | 1210086 | 146 | 3.5959 | 4351336.6438
1974 | 0 | 0 | 0 | 123 | 4.0813 | 0 | 844925 | 0 | 0 | 844925 | 126 | 4.7302 | 3996629.3651 | 448074 | 0 | 0 | 448074 | 117 | 4.4872 | 2010588.4615
1973 | 84599 | 0 | 84599 | 100 | 5.02 | 424686.98 | 1152488 | 0 | 0 | 1152488 | 100 | 5.96 | 6868828.48 | 478216 | 0 | 0 | 478216 | 100 | 5.25 | 2510634
1972 | 716 | 0 | 716 | 92 | 5.4565 | 3906.8696 | 331441 | 0 | 0 | 331441 | 87 | 6.8506 | 2270561.3333 | 219750 | 0 | 0 | 219750 | 99 | 5.303 | 1165340.9091
1971 | 105739 |  | 105739 | 87 | 5.7701 | 610126.1839 | 265031 |  |  | 265031 | 81 | 7.358 | 1950104.642 | 245642 |  |  | 245642 | 98 | 5.3571 | 1315939.2857
1970 | 396 |  | 396 | 82 | 6.122 | 2424.2927 | 191536 |  | retire=$2,152/22yrs | 199021 | 76 | 7.8421 | 1560743.6316 | 158454 |  | retire=$2360/22yrs | 162257 | 89 | 5.8989 | 957133.9888
1969 | 3398 |  | 3398 | 78 | 6.4359 | 21869.1795 | 239885 |  | =$98/yr | 241771 | 69 | 8.6377 | 2088340.8116 | 157735 |  | =$107/yr | 158403 | 80 | 6.5625 | 1039519.6875
1968 | 0 |  | 0 | 74 | 6.7838 | 0 | 314880 |  |  | 314880 | 65 | 9.1692 | 2887207.3846 | 404495 |  |  | 409707 | 73 | 7.1918 | 2946522.9452
1967 | 0 |  | 0 | 71 | 7.0704 | 0 | 165067 |  |  | 165067 | 63 | 9.4603 | 1561586.2222 | 105001 |  |  | 105001 | 73 | 7.1918 | 755144.1781
1966 | 0 |  | 0 | 67 | 7.4925 | 0 | 457172 |  |  | 457172 | 61 | 9.7705 | 4466795.2787 | 446470 |  |  | 446470 | 70 | 7.5 | 3348525
1965 | 0 |  | 0 | 63 | 7.9683 | 0 | 1058391 |  |  | 1058391 | 58 | 10.2759 | 10875879.931 | 1855393 |  |  | 1855393 | 67 | 7.8358 | 14538527.2388
1964 | 0 |  | 0 | 61 | 8.2295 | 0 | 118207 |  |  | 118207 | 56 | 10.6429 | 1258060.2143 | 104438 |  |  | 104438 | 64 | 8.2031 | 856717.9688
1963 | 12424 |  | 12424 | 59 | 8.5085 | 105709.2881 | 699766 |  |  | 699766 | 55 | 10.8364 | 7582918.8364 | 801575 |  |  | 801575 | 61 | 8.6066 | 6898801.2295
1962 | 25900 |  | 25900 | 57 | 8.807 | 228101.7544 | 487562 |  |  | 487562 | 54 | 11.037 | 5381239.8519 | 596976 |  |  | 596976 | 65 | 8.0769 | 4821729.2308
1961 | 0 |  | 0 | 57 | 8.807 | 0 | 55777 |  |  | 55777 | 53 | 11.2453 | 627228.1509 | 16039 |  |  | 16039 | 63 | 8.3333 | 133658.3333
1960 | 24247 |  | 24247 | 55 | 9.1273 | 221308.9818 | 517443 |  |  | 517443 | 52 | 11.4615 | 5930692.8462 | 1013807 |  |  | 1013807 | 63 | 8.3333 | 8448391.6667
1959 | 93535 |  | 93535 | 53 | 9.4717 | 885935.283 | 499329 |  |  | 499329 | 50 | 11.92 | 5952001.68 | 1485405 |  |  | 1485405 | 62 | 8.4677 | 12578026.2097
1958 | 0 |  | 0 | 51 | 9.8431 | 0 | 82088 |  |  | 82088 | 49 | 12.1633 | 998458.1224 | 108281 |  |  | 108281 | 63 | 8.3333 | 902341.6667
1957 | 58127 |  | 58127 | 48 | 10.4583 | 607911.5417 | 523576 |  |  | 523576 | 47 | 12.6809 | 6639389.2766 | 1625571 |  |  | 1625571 | 63 | 8.3333 | 13546425
1956 | 178 |  | 178 | 46 | 10.913 | 1942.5217 | 41670.77 |  |  | 41670.77 | 44 | 13.5455 | 564449.5209 | 45504 |  |  | 45504 | 61 | 8.6066 | 391632.7869
1955 | 40778 |  | 40778 | 43 | 11.6744 | 476059.4419 | 90867 |  |  | 90867 | 42 | 14.1905 | 1289446 | 87002 |  |  | 87002 | 55 | 9.5455 | 830473.6364
1954 | 15259 |  | 15259 | 42 | 11.9524 | 182381.381 | 154408 |  |  | 154408 | 40 | 14.9 | 2300679.2 | 219237 |  |  | 219237 | 52 | 10.0962 | 2213450.4808
1953 | 0 |  | 0 | 41 | 12.2439 | 0 | 58438 |  |  | 58438 | 39 | 15.2821 | 893052.5128 | 106250 |  |  | 106250 | 51 | 10.2941 | 1093750
1952 | 26123 |  | 26123 | 39 | 12.8718 | 336249.8974 | 297010 |  |  | 297010 | 37 | 16.1081 | 4784269.1892 | 641903 |  |  | 641903 | 49 | 10.7143 | 6877532.1429
1951 | 0 |  | 0 | 37 | 13.5676 | 0 | 0 |  |  | 0 | 36 | 16.5556 | 0 | 0 |  |  | 0 | 47 | 11.1702 | 0
1950 | 0 |  | 0 | 34 | 14.7647 | 0 | 85801 |  |  | 85801 | 33 | 18.0606 | 1549618.0606 | 309331 |  |  | 309331 | 41 | 12.8049 | 3960945.7317
1949 | 0 |  | 0 | 32 | 15.6875 | 0 | 0 |  |  | 0 | 32 | 18.625 | 0 | 17115 |  |  | 17115 | 39 | 13.4615 | 230394.2308
1948 | 0 |  | 0 | 31 | 16.1935 | 0 | 0 |  |  | 0 | 32 | 18.625 | 0 | 8532 |  |  | 8532 | 39 | 13.4615 | 114853.8462
1947 | 0 |  | 0 | 28 | 17.9286 | 0 | 48179 |  |  | 48179 | 29 | 20.5517 | 990161.5172 | 169470 |  |  | 169470 | 35 | 15 | 2542050
1946 | 0 |  | 0 | 24 | 20.9167 | 0 | 49591 |  |  | 49591 | 24 | 24.8333 | 1231509.8333 | 47759 |  |  | 47759 | 30 | 17.5 | 835782.5
1945 | 0 |  | 0 | 21 | 23.9048 | 0 | 0 |  |  | 0 | 22 | 27.0909 | 0 | 0 |  |  | 0 | 26 | 20.1923 | 0
1944 | 0 |  | 0 | 21 | 23.9048 | 0 | 672 |  |  | 672 | 21 | 28.381 | 19072 | 0 |  |  | 0 | 26 | 20.1923 | 0
1943 | 0 |  | 0 | 20 | 25.1 | 0 | 14876 |  |  | 14876 | 19 | 31.3684 | 466636.6316 | 0 |  |  | 0 | 26 | 20.1923 | 0
1942 | 0 |  | 0 | 20 | 25.1 | 0 | 73728 |  |  | 73728 | 18 | 33.1111 | 2441216 | 114213 |  |  | 114213 | 25 | 21 | 2398473
1941 | 179 |  | 179 | 19 | 26.4211 | 4729.3684 | 2007 |  |  | 2007 | 17 | 35.0588 | 70363.0588 | 46 |  |  | 46 | 23 | 22.8261 | 1050
1940 | 0 |  | 0 | 17 | 29.5294 | 0 | 6498 |  |  | 6498 | 15 | 39.7333 | 258187.2 | 29055 |  |  | 29055 | 22 | 23.8636 | 693357.9545
1939 | 0 |  | 0 | 17 | 29.5294 | 0 | 5042 |  |  | 5042 | 15 | 39.7333 | 200335.4667 | 0 |  |  | 0 | 22 | 23.8636 | 0
1938 | 0 |  | 0 | 17 | 29.5294 | 0 | 0 |  |  | 0 | 15 | 39.7333 | 0 | 0 |  |  | 0 | 22 | 23.8636 | 0
1937 | 0 |  | 0 | 17 | 29.5294 | 0 | 0 |  |  | 0 | 14 | 42.5714 | 0 | 86168 |  |  | 86168 | 23 | 22.8261 | 1966878.2609
1936 | 0 |  | 0 | 15 | 33.4667 | 0 | 0 |  |  | 0 | 13 | 45.8462 | 0 | 102488 |  |  | 102488 | 21 | 25 | 2562200
1935 | 0 |  | 0 | 15 | 33.4667 | 0 | 3147 |  |  | 3147 | 12 | 49.6667 | 156301 | 12142 |  |  | 12142 | 21 | 25 | 303550
1934 | 0 |  | 0 | 14 | 35.8571 | 0 | 0 |  |  | 0 | 12 | 49.6667 | 0 | 0 |  |  | 0 | 20 | 26.25 | 0
1933 | 0 |  | 0 | 13 | 38.6154 | 0 | 0 |  |  | 0 | 12 | 49.6667 | 0 | 0 |  |  | 0 | 17 | 30.8824 | 0
1932 | 0 |  | 0 | 13 | 38.6154 | 0 | 0 |  |  | 0 | 12 | 49.6667 | 0 | 0 |  |  | 0 | 16 | 32.8125 | 0
1931 | 0 |  | 0 | 14 | 35.8571 | 0 | 16696 |  |  | 16696 | 13 | 45.8462 | 765447.3846 | 29806 |  |  | 29806 | 18 | 29.1667 | 869341.6667
1930 | 0 |  | 0 | 15 | 33.4667 | 0 | 31954 |  |  | 31954 | 13 | 45.8462 | 1464968 | 252885 |  |  | 252885 | 20 | 26.25 | 6638231.25
1929 | 2885 |  | 2885 | 15 | 33.4667 | 96551.3333 | 3060 |  |  | 3060 | 13 | 45.8462 | 140289.2308 | 225782 |  |  | 225782 | 23 | 22.8261 | 5153719.5652
1928 | 0 |  | 0 | 15 | 33.4667 | 0 | 0 |  |  | 0 | 13 | 45.8462 | 0 | 115118 |  |  | 115118 | 21 | 25 | 2877950
1927 | 0 |  | 0 | 15 | 33.4667 | 0 | 0 |  |  | 0 | 13 | 45.8462 | 0 | 12012 |  |  | 12012 | 20 | 26.25 | 315315
1926 | 0 |  | 0 | 15 | 33.4667 | 0 | 0 |  |  | 0 | 13 | 45.8462 | 0 | 262792 |  |  | 262792 | 20 | 26.25 | 6898290
1925 | 0 |  | 0 | 15 | 33.4667 | 0 | 0 |  |  | 0 | 13 | 45.8462 | 0 | 0 |  |  | 0 | 21 | 25 | 0
1924 | 0 |  | 0 | 16 | 31.375 | 0 | 0 |  |  | 0 | 13 | 45.8462 | 0 | 278035 |  |  | 278035 | 21 | 25 | 6950875
1923 | 0 |  | 0 | 15 | 33.4667 | 0 | 0 |  |  | 0 | 13 | 45.8462 | 0 | 0 |  |  | 0 | 21 | 25 | 0
1922 | 0 |  | 0 | 15 | 33.4667 | 0 | 0 |  |  | 0 | 14 | 42.5714 | 0 | 12389 |  |  | 12389 | 21 | 25 | 309725
1921 | 0 |  | 0 | 16 | 31.375 | 0 | 0 |  |  | 0 | 15 | 39.7333 | 0 | 0 |  |  | 0 | 23 | 22.8261 | 0
1920 | 0 |  | 0 | 17 | 29.5294 | 0 | 0 |  |  | 0 | 14 | 42.5714 | 0 | 70972 |  |  | 70972 | 30 | 17.5 | 1242010
1919 | 0 |  | 0 | 18 | 27.8889 | 0 | 0 |  |  | 0 | 12 | 49.6667 | 0 | 249944 |  |  | 249944 | 28 | 18.75 | 4686450
1918 | 0 |  | 0 | 18 | 27.8889 | 0 | 0 |  |  | 0 | 10 | 59.6 | 0 | 0 |  |  | 0 | 28 | 18.75 | 0
1917 | 0 |  | 0 | 16 | 31.375 | 0 | 0 |  |  | 0 | 9 | 66.2222 | 0 | 0 |  |  | 0 | 25 | 21 | 0
1916 | 0 |  | 0 | 13 | 38.6154 | 0 | 0 |  |  | 0 | 7 | 85.1429 | 0 | 0 |  |  | 0 | 22 | 23.8636 | 0
1915 | 0 |  | 0 | 9 | 55.7778 | 0 | 0 |  |  | 0 | 6 | 99.3333 | 0 | 0 |  |  | 0 | 14 | 37.5 | 0
1914 | 0 |  | 0 | 9 | 55.7778 | 0 | 0 |  |  | 0 | 6 | 99.3333 | 0 | 0 |  |  | 0 | 14 | 37.5 | 0
1913 | 0 |  | 0 | 9 | 55.7778 | 0 | 0 |  |  | 0 | 6 | 99.3333 | 0 | 0 |  |  | 0 | 15 | 35 | 0
1912 | 0 |  | 0 | 9 | 55.7778 | 0 | 0 |  |  | 0 | 6 | 99.3333 | 0 | 0 |  |  | 0 | 16 | 32.8125 | 0
1911 | 0 |  | 0 | 9 | 55.7778 | 0 | 0 |  |  | 0 |  |  | 0 | 0 |  |  | 0 |  |  | 0
1910 | 108256 |  | 108256 | 9 | 55.7778 | 6038279.1111 | 0 |  |  | 0 |  |  | 0 | 0 |  |  | 0 |  |  | 0
1909 | 0 |  | 0 |  |  | 0 | 0 |  |  | 0 |  |  | 0 | 0 |  |  | 0 |  |  | 0
1908 | 0 |  | 0 |  |  | 0 | 0 |  |  | 0 |  |  | 0 | 0 |  |  | 0 |  |  | 0
1907 | 0 |  | 0 |  |  | 0 | 0 |  |  | 0 |  |  | 0 | 0 |  |  | 0 |  |  | 0
1906 | 0 |  | 0 |  |  | 0 | 0 |  |  | 0 |  |  | 0 | 0 |  |  | 0 |  |  | 0
| 17120893.65 | 12277314 | 4843579.65 |  |  | 21419788.7427 | 133549358.15 | 6441 | -1797286.01 | 131755002.14 |  |  | 295146554.0796 | 107842988.92 | 12496050 | -1598246.78 | 93758375.14 |  |  | 253189597.6323

## extract-dist
Dist. Accts: 364-70, 373
| H-W # from most current year | 550 |  |  | H-W # from most current year | 612 |  |  | H-W # from most current year | 558
Account | 364 |  |  |  | 365 |  |  |  | 368 (Line XFmrs=82.4% of total)
YEAR | Actual $$$ | H-W | to '09 | Equiv '09 $$ | Actual $$$ | H-W | to '09 | Equiv '09 $$ | Line $$$ | H-W | to '09 | Equiv '09 $$ |  | 100 | 100 | 100
[14 empty] | Acct 364-Poles | Acct 365- OH Conductor | Acct 368 OH Line Transformers
year
2009 | 17526088.45 | 550 | 1 | 17526088.45 | 9740590.31 | 612 | 1 | 9740590.31 | 8263858.9859 | 558 | 1 | 8263858.9859 | 1959 | 9.0909 | 8.1699 | 20.6093
2008 | 11231437.86 | 533 | 1.0319 | 11589663.833 | 7778185.57 | 698 | 0.87679 | 6819841.7892 | 6991374.7132 | 508 | 1.0984 | 7679502.1456 | 1969 | 12.5455 | 12.7451 | 18.2796
2007 | 10107042 | 504 | 1.0913 | 11029510.119 | 5821893 | 612 | 1 | 5821893 | 9557961.632 | 417 | 1.3381 | 12789790.3853 | 1979 | 35.8182 | 32.0261 | 30.1075
2006 | 7279846 | 490 | 1.1224 | 8171255.7143 | 4049801 | 574 | 1.0662 | 4317906.2927 | 7136526.392 | 363 | 1.5372 | 10970197.5943 | 1989 | 51.8182 | 51.4706 | 40.8602
2005 | 6247499 | 470 | 1.1702 | 7310903.0851 | 2788967 | 516 | 1.186 | 3307844.5814 | 4412228.304 | 286 | 1.951 | 8608473.4043 | 1999 | 71.0909 | 66.9935 | 40.8602
2004 | 6882728 | 448 | 1.2277 | 8449777.6786 | 3629637 | 477 | 1.283 | 4656892.7547 | 4434312.328 | 267 | 2.0899 | 9267214.5282 | 2009 | 100 | 100 | 100
2003 | 6180042 | 437 | 1.2586 | 7778084.897 | 3842296 | 451 | 1.357 | 5213936.0355 | 3143881.36 | 257 | 2.1712 | 6826014.7816
2002 | 4475229 | 426 | 1.2911 | 5777877.8169 | 2666437 | 437 | 1.4005 | 3734232.1373 | 2331800.52 | 250 | 2.232 | 5204578.7606
2001 | 6406672 | 403 | 1.3648 | 8743597.0223 | 3912890 | 416 | 1.4712 | 5756463.1731 | 2433977.344 | 238 | 2.3445 | 5706551.9242
2000 | 7937236 | 398 | 1.3819 | 10968542.2111 | 5767026 | 410 | 1.4927 | 8608341.2488 | 2661125.304 | 231 | 2.4156 | 6428172.8123
1999 | 7278140 | 391 | 1.4066 | 10237792.8389 | 4943259 | 377 | 1.6233 | 8024600.817 | 2944077.016 | 228 | 2.4474 | 7205241.1181
1998 | 7447126 | 387 | 1.4212 | 10583770.801 | 4157343 | 391 | 1.5652 | 6507145.5652 | 3186714.528 | 228 | 2.4474 | 7799064.5027
1997 | 7183342 | 382 | 1.4398 | 10342508.1152 | 3890233 | 380 | 1.6105 | 6265322.6211 | 3503292.032 | 225 | 2.48 | 8688164.2394
1996 | 8115669 | 373 | 1.4745 | 11966804.1555 | 4459617 | 373 | 1.6408 | 7317119.5818 | 4015748.344 | 234 | 2.3846 | 9576015.2818
1995 | 11419655 | 364 | 1.511 | 17254973.2143 | 8607263 | 366 | 1.6721 | 14392472.5574 | 8812594.304 | 238 | 2.3445 | 20661460.5951
1994 | 4932958 | 349 | 1.5759 | 7774002.5788 | 2085978 | 343 | 1.7843 | 3721919.93 | 4106590.224 | 242 | 2.3058 | 9468914.6487
1993 | 4149708 | 333 | 1.6517 | 6853872.0721 | 2543595 | 332 | 1.8434 | 4688795.6024 | 3564709.696 | 238 | 2.3445 | 8357596.6822
1992 | 3775337 | 321 | 1.7134 | 6468645.9502 | 1956850 | 318 | 1.9245 | 3766013.2075 | 3354443.848 | 236 | 2.3644 | 7931269.7762
1991 | 3128188 | 307 | 1.7915 | 5604245.6026 | 2671034 | 324 | 1.8889 | 5045286.4444 | 2947001.392 | 231 | 2.4156 | 7118730.6352
1990 | 2822998 | 295 | 1.8644 | 5263216.6102 | 3073635 | 315 | 1.9429 | 5971633.7143 | 2490797.912 | 232 | 2.4052 | 5990798.4263
1989 | 2616440 | 285 | 1.9298 | 5049270.1754 | 3513873 | 312 | 1.9615 | 6892597.0385 | 2497659.36 | 228 | 2.4474 | 6112692.6442
1988 | 2900755 | 275 | 2 | 5801510 | 151812 | 302 | 2.0265 | 307645.5099 | 1726478.584 | 220 | 2.5364 | 4378977.4994
1987 | 3007811 | 265 | 2.0755 | 6242626.6038 | 2324115 | 260 | 2.3538 | 5470609.1538 | 1886685.608 | 218 | 2.5596 | 4829222.7948
1986 | 4030482 | 264 | 2.0833 | 8396837.5 | 4071507 | 263 | 2.327 | 9474381.308 | 3140558.168 | 219 | 2.5479 | 8001970.1267
1985 | 4831578 | 263 | 2.0913 | 10104060.4563 | 3668498 | 264 | 2.3182 | 8504245.3636 | 3358458.376 | 218 | 2.5596 | 8596420.9808
1984 | 3861394 | 266 | 2.0677 | 7984085.3383 | 2840726 | 273 | 2.2418 | 6368220.9231 | 3887728.408 | 219 | 2.5479 | 9905718.9574
1983 | 3436975 | 265 | 2.0755 | 7133344.3396 | 2556897 | 274 | 2.2336 | 5711025.4161 | 3169537.424 | 218 | 2.5596 | 8112852.6724
1982 | 3054312 | 260 | 2.1154 | 6461044.6154 | 2262543 | 261 | 2.3448 | 5305273.2414 | 2100933.024 | 215 | 2.5953 | 5452654.0809
1981 | 4281005 | 242 | 2.2727 | 9729556.8182 | 2602278 | 243 | 2.5185 | 6553885.3333 | 2733593.632 | 199 | 2.804 | 7665051.4907
1980 | 3623122 | 220 | 2.5 | 9057805 | 2247702 | 221 | 2.7692 | 6224405.5385 | 2277866.424 | 170 | 3.2824 | 7476761.5564
1979 | 4295578 | 197 | 2.7919 | 11992730.4569 | 2518517 | 196 | 3.1224 | 7863940.8367 | 3149762.248 | 168 | 3.3214 | 10461710.3237
1978 | 3192666 | 175 | 3.1429 | 10034093.1429 | 1985067 | 181 | 3.3812 | 6711939.2486 | 2817536.16 | 159 | 3.5094 | 9887957.0898
1977 | 2856836 | 163 | 3.3742 | 9639630.6748 | 1806243 | 183 | 3.3443 | 6040550.3607 | 2335940.296 | 148 | 3.7703 | 8807126.2511
1976 | 2505708 | 152 | 3.6184 | 9066706.5789 | 1612863 | 166 | 3.6867 | 5946217.8072 | 1973111.672 | 136 | 4.1029 | 8095561.1248
1975 | 2193873 | 146 | 3.7671 | 8264590.0685 | 1553659 | 143 | 4.2797 | 6649225.9301 | 1928913.96 | 130 | 4.2923 | 8279492.2283
1974 | 1572058 | 124 | 4.4355 | 6972837.9032 | 1222106 | 115 | 5.3217 | 6503729.3217 | 1448805.416 | 109 | 5.1193 | 7416820.3865
1973 | 2059480 | 100 | 5.5 | 11327140 | 1450559 | 100 | 6.12 | 8877421.08 | 1389126.392 | 100 | 5.58 | 7751325.2674
1972 | 1304421 | 88 | 6.25 | 8152631.25 | 795646 | 98 | 6.2449 | 4968728.0816 | 1047854.432 | 99 | 5.6364 | 5906088.6167
1971 | 1422029 | 82 | 6.7073 | 9537999.3902 | 910073 | 95 | 6.4421 | 5862786.0632 | 896014.304 | 101 | 5.5248 | 4950257.2439
1970 | 1067466 | 76 | 7.2368 | 7725082.8947 | 837700 | 87 | 7.0345 | 5892786.2069 | 496428.688 | 102 | 5.4706 | 2715756.9402
1969 | 885288 | 69 | 7.971 | 7056643.4783 | 434511 | 78 | 7.8462 | 3409240.1538 | 493529.856 | 102 | 5.4706 | 2699898.624
1968 | 675933 | 65 | 8.4615 | 5719433.0769 | 449811 | 71 | 8.6197 | 3877244.1127 | 347373.68 | 103 | 5.4175 | 1881888.48
1967 | 716397 | 63 | 8.7302 | 6254259.5238 | 369548 | 67 | 9.1343 | 3375572.7761 | 393568.768 | 100 | 5.58 | 2196113.7254
1966 | 554314 | 61 | 9.0164 | 4997913.1148 | 370531 | 63 | 9.7143 | 3599444 | 310290.384 | 97 | 5.7526 | 1784969.4255
1965 | 680007 | 58 | 9.4828 | 6448342.2414 | 461137 | 60 | 10.2 | 4703597.4 | 240870.032 | 96 | 5.8125 | 1400057.061
1964 | 452672 | 56 | 9.8214 | 4445885.7143 | 279075 | 57 | 10.7368 | 2996384.2105 | 235956.52 | 94 | 5.9362 | 1400678.0655
1963 | 488400 | 55 | 10 | 4884000 | 343852 | 55 | 11.1273 | 3826134.9818 | 233570.216 | 94 | 5.9362 | 1386512.5588
1962 | 490502 | 54 | 10.1852 | 4995853.7037 | 302964 | 53 | 11.5472 | 3498376.7547 | 231637.112 | 99 | 5.6364 | 1305590.9949
1961 | 756310 | 53 | 10.3774 | 7848500 | 571703 | 53 | 11.5472 | 6601551.6226 | 265175.56 | 109 | 5.1193 | 1357504.2429
1960 | 356275 | 52 | 10.5769 | 3768293.2692 | 251158 | 52 | 11.7692 | 2955936.4615 | 331106.272 | 113 | 4.9381 | 1635020.352
1959 | 450484 | 50 | 11 | 4955324 | 313939 | 50 | 12.24 | 3842613.36 | 427417.864 | 115 | 4.8522 | 2073905.8097
1958 | 418104 | 48 | 11.4583 | 4790775 | 403260 | 48 | 12.75 | 5141565 | 331257.064 | 118 | 4.7288 | 1566452.8959
1957 | 506933 | 47 | 11.7021 | 5932194.6809 | 489405 | 47 | 13.0213 | 6372677.8723 | 453752.08 | 122 | 4.5738 | 2075357.8741
1956 | 597100 | 45 | 12.2222 | 7297888.8889 | 806726 | 48 | 12.75 | 10285756.5 | 473270.168 | 115 | 4.8522 | 2296389.163
1955 | 475083 | 42 | 13.0952 | 6221325 | 439260 | 44 | 13.9091 | 6109707.2727 | 472928.208 | 112 | 4.9821 | 2356195.8934
1954 | 374306 | 40 | 13.75 | 5146707.5 | 288347 | 40 | 15.3 | 4411709.1 | 345518.032 | 112 | 4.9821 | 1721420.1951
1953 | 370937 | 39 | 14.1026 | 5231162.8205 | 424405 | 40 | 15.3 | 6493396.5 | 263079.304 | 110 | 5.0727 | 1334529.5603
1952 | 330040 | 37 | 14.8649 | 4906000 | 392457 | 38 | 16.1053 | 6320623.2632 | 221089.088 | 103 | 5.4175 | 1197744.768
1951 | 313442 | 35 | 15.7143 | 4925517.1429 | 372339 | 37 | 16.5405 | 6158688.3243 | 254887.096 | 103 | 5.4175 | 1380844.656
1950 | 250372 | 33 | 16.6667 | 4172866.6667 | 256859 | 32 | 19.125 | 4912428.375 | 290936.272 | 91 | 6.1319 | 1783982.8547
1949 | 317882 | 32 | 17.1875 | 5463596.875 | 379555 | 30 | 20.4 | 7742922 | 127959.784 | 87 | 6.4138 | 820707.5801
1948 | 180901 | 32 | 17.1875 | 3109235.9375 | 297160 | 30 | 20.4 | 6062064 | 270386.536 | 84 | 6.6429 | 1796139.132
1947 | 208340 | 29 | 18.9655 | 3951275.8621 | 225863 | 28 | 21.8571 | 4936719.8571 | 373634.56 | 82 | 6.8049 | 2542537.6156
1946 | 190848 | 24 | 22.9167 | 4373600 | 198235 | 23 | 26.6087 | 5274774.7826 | 26490.776 | 66 | 8.4545 | 223967.4698
1945 | 128467 | 22 | 25 | 3211675 | 83393 | 20 | 30.6 | 2551825.8 | 0 | 58 | 9.6207 | 0
1944 | 133504 | 21 | 26.1905 | 3496533.3333 | 96426 | 20 | 30.6 | 2950635.6 | 15651.056 | 58 | 9.6207 | 150573.9526
1943 | 85738 | 19 | 28.9474 | 2481889.4737 | 59858 | 20 | 30.6 | 1831654.8 | 0 | 58 | 9.6207 | 0
1942 | 184819 | 18 | 30.5556 | 5647247.2222 | 113365 | 20 | 30.6 | 3468969 | 0 | 63 | 8.8571 | 0
1941 | 119413 | 17 | 32.3529 | 3863361.7647 | 133384 | 18 | 34 | 4535056 | 0 | 63 | 8.8571 | 0
1940 | 35700 | 15 | 36.6667 | 1309000 | 381839 | 17 | 36 | 13746204 | 0 | 61 | 9.1475 | 0
1939 | 0 | 15 | 36.6667 | 0 | 122200 | 17 | 36 | 4399200 | 0 | 61 | 9.1475 | 0
1938 | 0 | 15 | 36.6667 | 0 | 64281 | 17 | 36 | 2314116 | 0 | 61 | 9.1475 | 0
1937 |  |  |  |  | 52439 | 18 | 34 | 1782926 | 0 | 60 | 9.3 | 0
1936 |  |  |  |  | 0 | 17 | 36 | 0 | 0 | 55 | 10.1455 | 0
1935 |  |  |  |  | 0 | 16 | 38.25 | 0 | 0 | 55 | 10.1455 | 0
1934 |  |  |  |  | 0 | 15 | 40.8 | 0 | 0 | 55 | 10.1455 | 0
1933 |  |  |  |  | 0 | 13 | 47.0769 | 0 | 0 | 52 | 10.7308 | 0
1932 |  |  |  |  | 0 | 13 | 47.0769 | 0 | 0 | 51 | 10.9412 | 0
1931 |  |  |  |  | 0 | 14 | 43.7143 | 0 | 0 | 53 | 10.5283 | 0
1930 |  |  |  |  | 0 | 15 | 40.8 | 0 | 0 | 55 | 10.1455 | 0
1929 |  |  |  |  | 0 | 18 | 34 | 0 | 0 | 56 | 9.9643 | 0
1928 |  |  |  |  | 0 | 17 | 36 | 0 | 0 | 52 | 10.7308 | 0
1927 |  |  |  |  | 0 | 16 | 38.25 | 0 | 0 | 53 | 10.5283 | 0
1926 |  |  |  |  | 0 | 16 | 38.25 | 0 | 0 | 57 | 9.7895 | 0
1925 |  |  |  |  | 0 | 16 | 38.25 | 0 | 0 | 61 | 9.1475 | 0
1924 | [8 empty] | 0 | 62 | 9 | 0
1923 | [8 empty] | 0 | 60 | 9.3 | 0
1922 | [8 empty] | 0 | 63 | 8.8571 | 0
1921 | [8 empty] | 0 | 70 | 7.9714 | 0
1920 | [8 empty] | 0 | 69 | 8.087 | 0
[9 empty] | 0 | 64 | 8.7188 | 0
[9 empty] | 0 | 62 | 9 | 0
[9 empty] | 0 | 46 | 12.1304 | 0
[9 empty] | 0 | 43 | 12.9767 | 0
[9 empty] | 0 | 43 | 12.9767 | 0
[9 empty] | 0 | 43 | 12.9767 | 0
[9 empty] | 0 | 43 | 12.9767 | 0
[9 empty] | 0 | 43 | 12.9767 | 0
[9 empty] | 0 |  |  | 0
[9 empty] | 0 |  |  | 0
[9 empty] | 0 |  |  | 0
[9 empty] | 0 |  |  | 0
[9 empty] | 0 |  |  | 0
[9 empty] | 0 |  |  | 0
[9 empty] | 141987345.0431 |  |  | 359715012.4547

## extract-dist subst
H-W # from most current year | 502 |  |  | H-W # from most current year | 615
FERC AC | 361 Strs & Impr | (H-W Acct #354) |  |  | 362 Station Equip
YEAR | Actual $$$ | H-W | to '09 | Equiv '09 $$ | Actual $$$ | H-W | to '09 | Equiv '09 $$
2009 | 1767765.23 | 502 | 1 | 1767765.23 | 6994452.92 | 615 | 1 | 6994452.92
2008 | 1404070.79 | 517 | 0.97099 | 1363333.7265 | 4801316.88 | 602 | 1.0216 | 4904999.8027 |  | 100 | 100
2007 | 612214 | 498 | 1.008 | 617131.3815 | 2258657 | 559 | 1.1002 | 2484926.7531 |  | 361 Structures & Improvements | 362 Station Equip
2006 | -62278 | 459 | 1.0937 | -68112.3224 | 3435935 | 506 | 1.2154 | 4176087.0059 | year
2005 | 50691 | 437 | 1.1487 | 58230.8513 | 3839563 | 468 | 1.3141 | 5045579.5833 | 1959 | 10.5578 | 12.5203
2004 | 117185 | 422 | 1.1896 | 139400.1659 | 3535769 | 444 | 1.3851 | 4897517.8716 | 1969 | 15.5378 | 14.1463
2003 | 100924 | 389 | 1.2905 | 130241.2545 | 2230315 | 387 | 1.5891 | 3544299.031 | 1979 | 37.251 | 30.4065
2002 | 534923 | 385 | 1.3039 | 697484.0156 | 1563989 | 383 | 1.6057 | 2511366.1488 | 1989 | 57.1713 | 48.2927
2001 | 378100 | 377 | 1.3316 | 503464.7215 | 3563970 | 383 | 1.6057 | 5722823.8903 | 1999 | 70.5179 | 60.9756
2000 | 254395 | 368 | 1.3641 | 347027.962 | 3463796 | 379 | 1.6227 | 5620671.6095 | 2009 | 100 | 100
1999 | 1547828 | 354 | 1.4181 | 2194942.5311 | 4813979 | 375 | 1.64 | 7894925.56
1998 | 153069 | 347 | 1.4467 | 221442.7608 | 2996249 | 372 | 1.6532 | 4953476.1694
1997 | 250540 | 341 | 1.4721 | 368830.1466 | 1986340 | 357 | 1.7227 | 3421846.2185
1996 | 120370 | 333 | 1.5075 | 181458.6787 | 1115091 | 352 | 1.7472 | 1948241.3778
1995 | 499943 | 322 | 1.559 | 779414.2422 | 4250720 | 354 | 1.7373 | 7384725.4237
1994 | 92183 | 312 | 1.609 | 148320.0833 | 1064181 | 337 | 1.8249 | 1942051.3798
1993 | 33650 | 296 | 1.6959 | 57068.5811 | 400059 | 328 | 1.875 | 750110.625
1992 | 318416 | 284 | 1.7676 | 562833.9155 | 2739369 | 323 | 1.904 | 5215826.4241
1991 | 319025 | 281 | 1.7865 | 569930.7829 | 2794805 | 320 | 1.9219 | 5371265.8594
1990 | 27269 | 288 | 1.7431 | 47531.3819 | 1017823 | 318 | 1.934 | 1968431.2736
1989 | 173157 | 287 | 1.7491 | 302873.9164 | 912440 | 297 | 2.0707 | 1889395.9596
1988 | 179791 | 278 | 1.8058 | 324658.5683 | 1016019 | 276 | 2.2283 | 2263955.3804
1987 | 715694 | 267 | 1.8801 | 1345611.9401 | 2123445 | 253 | 2.4308 | 5161733.8933
1986 | 52833 | 261 | 1.9234 | 101617.4943 | 1144689 | 246 | 2.5 | 2861722.5
1985 | 367612 | 256 | 1.9609 | 720864.1562 | 1492489 | 244 | 2.5205 | 3761806.291
1984 | 66465 | 247 | 2.0324 | 135082.7126 | 215824 | 244 | 2.5205 | 543982.623
1983 | 385912 | 234 | 2.1453 | 827896.6838 | 1513354 | 243 | 2.5309 | 3830093.4568
1982 | 683031 | 229 | 2.1921 | 1497299.3974 | 2656849 | 241 | 2.5519 | 6779925.8714
1981 | 116056 | 225 | 2.2311 | 258933.8311 | 3080714 | 223 | 2.7578 | 8496139.5067
1980 | 836679 | 210 | 2.3905 | 2000061.2286 | 3419406 | 204 | 3.0147 | 10308503.3824
1979 | 154633 | 187 | 2.6845 | 415111.0481 | 2635887 | 187 | 3.2888 | 8668826.2299
1978 | 140592 | 169 | 2.9704 | 417616.4734 | 2264233 | 175 | 3.5143 | 7957161.6857
1977 | 84939 | 155 | 3.2387 | 275092.7613 | 1726615 | 164 | 3.75 | 6474806.25
1976 | 357731 | 149 | 3.3691 | 1205241.3557 | 1647026 | 150 | 4.1 | 6752806.6
1975 | 322752 | 145 | 3.4621 | 1117389.6828 | 1869744 | 142 | 4.331 | 8097834.9296
1974 | 84185 | 123 | 4.0813 | 343584.3089 | 940704 | 123 | 5 | 4703520
1973 | 49108 | 100 | 5.02 | 246522.16 | 483708 | 100 | 6.15 | 2974804.2
1972 | 52419 | 92 | 5.4565 | 286025.413 | 510086 | 93 | 6.6129 | 3373149.3548
1971 | 30450 | 87 | 5.7701 | 175700 | 258554 | 90 | 6.8333 | 1766785.6667
1970 | 29475 | 82 | 6.122 | 180444.5122 | 540779 | 90 | 6.8333 | 3695323.1667
1969 | 15091 | 78 | 6.4359 | 97124.1282 | 283268 | 87 | 7.069 | 2002411.7241
1968 | 37085 | 74 | 6.7838 | 251576.6216 | 516197 | 84 | 7.3214 | 3779299.4643
1967 | 31519 | 71 | 7.0704 | 222852.6479 | 394160 | 81 | 7.5926 | 2992696.2963
1966 | 29488 | 67 | 7.4925 | 220939.9403 | 166574 | 77 | 7.987 | 1330428.7013
1965 | 20054 | 63 | 7.9683 | 159795.3651 | 320682 | 75 | 8.2 | 2629592.4
1964 | 1473 | 61 | 8.2295 | 12122.0656 | 68423 | 73 | 8.4247 | 576440.3425
1963 | 6538 | 59 | 8.5085 | 55628.4068 | 200541 | 70 | 8.7857 | 1761895.9286
1962 | 16889 | 57 | 8.807 | 148741.7193 | 100655 | 71 | 8.662 | 871870.7746
1961 | 1130 | 57 | 8.807 | 9951.9298 | 0 | 71 | 8.662 | 0
1960 | 9250 | 55 | 9.1273 | 84427.2727 | 199598 | 76 | 8.0921 | 1615168.0263
1959 | 3646 | 53 | 9.4717 | 34533.8113 | 226555 | 77 | 7.987 | 1809497.7273
1958 | 37209 | 51 | 9.8431 | 366253.2941 | 86064 | 76 | 8.0921 | 696438.9474
1957 | 21649 | 48 | 10.4583 | 226412.4583 | 549555 | 73 | 8.4247 | 4629812.6712
1956 | 7327 | 46 | 10.913 | 79959.8696 | 0 | 69 | 8.913 | 0
1955 | 20861 | 43 | 11.6744 | 243540.0465 | 14407 | 63 | 9.7619 | 140639.7619
1954 | 7035 | 42 | 11.9524 | 84085 | 167426 | 61 | 10.082 | 1687983.4426
1953 | 15297 | 41 | 12.2439 | 187294.9756 | 639108 | 60 | 10.25 | 6550857
1952 | 6662 | 39 | 12.8718 | 85751.8974 | 247753 | 58 | 10.6034 | 2627036.1207
1951 | 16778 | 37 | 13.5676 | 227636.6486 | 153857 | 57 | 10.7895 | 1660036.0526
1950 | 0 | 34 | 14.7647 | 0 | 619530 | 50 | 12.3 | 7620219
1949 | 9342 | 32 | 15.6875 | 146552.625 | 461632 | 48 | 12.8125 | 5914660
1948 | 16160 | 31 | 16.1935 | 261687.7419 | 176818 | 46 | 13.3696 | 2363979.7826
1947 | 1465 | 28 | 17.9286 | 26265.3571 | 0 | 42 | 14.6429 | 0
1946 | 3858 | 24 | 20.9167 | 80696.5 | 0 | 37 | 16.6216 | 0
1945 | 5696 | 21 | 23.9048 | 136161.5238 | 0 | 33 | 18.6364 | 0
1944 | 2160 | 21 | 23.9048 | 51634.2857 | 0 | 34 | 18.0882 | 0
1943 | 5995 | 20 | 25.1 | 150474.5 | 0 | 35 | 17.5714 | 0
1942 | 10077 | 20 | 25.1 | 252932.7 | 0 | 35 | 17.5714 | 0
1941 | 1234 | 19 | 26.4211 | 32603.5789 | 0 | 33 | 18.6364 | 0
1940 | 0 | 17 | 29.5294 | 0 | 0 | 32 | 19.2188 | 0
1939 | 3459 | 17 | 29.5294 | 102142.2353 | 0 | 32 | 19.2188 | 0
1938 | 105 | 17 | 29.5294 | 3100.5882 | 0 | 32 | 19.2188 | 0
1937 | 8033 | 17 | 29.5294 | 237209.7647 | 0 | 32 | 19.2188 | 0
1936 | 3316 | 15 | 33.4667 | 110975.4667 | 0 | 30 | 20.5 | 0
1935 | 3683 | 15 | 33.4667 | 123257.7333 | 0 | 30 | 20.5 | 0
1934 | 1835 | 14 | 35.8571 | 65797.8571 | 0 | 28 | 21.9643 | 0
1933 | 188 | 13 | 38.6154 | 7259.6923 | 0 | 26 | 23.6538 | 0
1932 | 0 | 13 | 38.6154 | 0 | 0 | 25 | 24.6 | 0
1931 | 8637 | 14 | 35.8571 | 309698.1429 | 0 | 27 | 22.7778 | 0
1930 | 1875 | 15 | 33.4667 | 62750 | 0 | 27 | 22.7778 | 0
1929 | 15159 | 15 | 33.4667 | 507321.2 | 0 | 27 | 22.7778 | 0
1928 | 0 | 15 | 33.4667 | 0 | 0 | 26 | 23.6538 | 0
1927 | 11353 | 15 | 33.4667 | 379947.0667 | 0 | 26 | 23.6538 | 0
1926 | 13523 | 15 | 33.4667 | 452569.7333 | 0 | 26 | 23.6538 | 0
1925 | 9103 | 15 | 33.4667 | 304647.0667 | 0 | 28 | 21.9643 | 0
1924 | 0 | 16 | 31.375 | 0 | 0 | 28 | 21.9643 | 0
1923 | 0 | 15 | 33.4667 | 0 | 45568 | 27 | 22.7778 | 1037937.7778
1922 | 0 | 15 | 33.4667 | 0 | 0 | 28 | 21.9643 | 0
1921 | 0 | 16 | 31.375 | 0 | 0 | 30 | 20.5 | 0
1920 | 83 | 17 | 29.5294 | 2450.9412 | 0 | 29 | 21.2069 | 0
1919 | 435 | 18 | 27.8889 | 12131.6667 | 0 | 25 | 24.6 | 0
1918 | 0 | 18 | 27.8889 | 0 | 0 | 23 | 26.7391 | 0
1917 | 7606 | 16 | 31.375 | 238638.25 | 0 | 20 | 30.75 | 0
1916 | 1094 | 13 | 38.6154 | 42245.2308 | 0 | 17 | 36.1765 | 0
1915 | 2428 | 9 | 55.7778 | 135428.4444 | 0 | 16 | 38.4375 | 0
1914 | 0 | 9 | 55.7778 | 0 | 0 | 16 | 38.4375 | 0
1913 | 0 | 9 | 55.7778 | 0 | 0 | 16 | 38.4375 | 0
1912 | 204440 | 9 | 55.7778 | 11403208.8889 | 0 | 16 | 38.4375 | 0
1911 | 0 | 9 | 55.7778 | 0 | 0 | 15 | 41 | 0
1910 | 0 | 9 | 55.7778 | 0 | 0 | 15 | 41 | 0
1909 | 0 |  |  | 0 | 0 |  |  | 0
1908 | 0 |  |  | 0 | 0 |  |  | 0
1907 | 0 |  |  | 0 | 0 |  |  | 0
1906 | 0 |  |  | 0 | 0 |  |  | 0
TOTAL | 14061120.02 |  |  | 41303784.6151 | 94957315.8 |  |  | 241414803.8177

## extract-transm sub
H-W # from most current year |  |  | H-W # from most current year | 502 | [5 empty] | H-W # from most current year | 657
FERC AC | 352 | (H-W acct #354) |  |  |  |  | 353
YEAR | Actual $$$ | col, add | corr $$ | H-W | to '09 | Equiv '09 $$ | Actual $$$ | col, add | retire | corr $$ | H-W | to '09 | Equiv '09 $$
|  | (est) | [5 empty] | (est)
2009 | 340538.54 |  | 340538.54 | 502 | 1 | 340538.54 | 6723366.11 |  | -1938336.19 | 4785029.92 | 657 | 1 | 4785029.92
2008 | 4260749.61 |  | 4260749.61 | 517 | 0.97099 | 4137130.1822 | 5946190.69 |  |  | 5946190.69 | 641 | 1.025 | 6094613.5465
2007 | 2134090.8 |  | 2134090.8 | 498 | 1.008 | 2151232.0916 | 10499024 |  |  | 10499024 | 597 | 1.1005 | 11554202.2915
2006 | 842668 |  | 842668 | 459 | 1.0937 | 921610.7538 | 8525727 |  |  | 8525727 | 546 | 1.2033 | 10258979.1923
2005 | 2016753 |  | 2016753 | 437 | 1.1487 | 2316727.7025 | 15962275 |  |  | 15962275 | 507 | 1.2959 | 20684841.568
2004 | 1891081 |  | 1891081 | 422 | 1.1896 | 2249579.7678 | 14843780 |  | -672150 | 14171630 | 477 | 1.3774 | 19519414.9057
2003 | 95136 |  | 95136 | 389 | 1.2905 | 122771.9075 | 8761533 |  | -908688 | 7852845 | 432 | 1.5208 | 11942868.4375
2002 | 270957 |  | 270957 | 385 | 1.3039 | 353299.7766 | 3531429 |  | -337391 | 3194038 | 434 | 1.5138 | 4835214.2074 |  | 100 | 100
2001 | 101413 |  | 101413 | 377 | 1.3316 | 135038 | 7820078 |  | -1023964 | 6796114 | 421 | 1.5606 | 10605812.1093 |  | 352 Structures & Improvements | 353 Station Equip
2000 | 1058504 |  | 1058504 | 368 | 1.3641 | 1443937.5217 | 4471917 |  |  | 4471917 | 415 | 1.5831 | 7079637.2747 | year
1999 | 374155 |  | 374155 | 354 | 1.4181 | 530581.3842 | 5002789 |  |  | 5002789 | 388 | 1.6933 | 8471217.4562 | 1959 | 10.5578 | 12.9376
1998 | 15700 |  | 15700 | 347 | 1.4467 | 22712.9683 | 1748493 |  |  | 1748493 | 382 | 1.7199 | 3007224.8717 | 1969 | 15.5378 | 12.9376
1997 | 513434 |  | 513434 | 341 | 1.4721 | 755847.1202 | 3073814 |  |  | 3073814 | 372 | 1.7661 | 5428752.1452 | 1979 | 37.251 | 29.9848
1996 | 776612 |  | 776612 | 333 | 1.5075 | 1170748.4204 | 1636066 |  |  | 1636066 | 366 | 1.7951 | 2936872.5738 | 1989 | 57.1713 | 44.9011
1995 | 119887 |  | 119887 | 322 | 1.559 | 186904.5776 | 2808513 |  |  | 2808513 | 364 | 1.8049 | 5069211.6511 | 1999 | 70.5179 | 59.0563
1994 | 51295 |  | 51295 | 312 | 1.609 | 82532.3397 | 4848155 |  |  | 4848155 | 352 | 1.8665 | 9048971.1222 | 2009 | 100 | 100
1993 | 667711 | 0 | 667711 | 296 | 1.6959 | 1132401.7635 | 3922611 | 20125 | 0 | 3902486 | 337 | 1.9496 | 7608110.6884
1992 | 14377 | 0 | 14377 | 284 | 1.7676 | 25412.8662 | 2115437 | 200679 | 0 | 1914758 | 324 | 2.0278 | 3882703.7222
1991 | 413088 | 0 | 413088 | 281 | 1.7865 | 737972.1566 | 1900692 | 15092 | 0 | 1885600 | 315 | 2.0857 | 3932822.8571
1990 | 138288 | 0 | 138288 | 288 | 1.7431 | 241043.6667 | 971102 | 8541 | 0 | 962561 | 312 | 2.1058 | 2026931.3365
1989 | 35258 | 0 | 35258 | 287 | 1.7491 | 61670.7875 | 858820 | 6362 | 78 | 852536 | 295 | 2.2271 | 1898698.8203
1988 | 4413 | 0 | 4413 | 278 | 1.8058 | 7968.7986 | 1136272 | 6668 | 78 | 1129682 | 281 | 2.3381 | 2641284.9609
1987 | 165094 | 0 | 165094 | 267 | 1.8801 | 310401.4532 | 2173430 | -8588 | 78 | 2182096 | 269 | 2.4424 | 5329505.8439
1986 | 1419968 | 0 | 1419968 | 261 | 1.9234 | 2731126.1916 | 5377220 | 172802 | 78 | 5204496 | 262 | 2.5076 | 13050968.9771
1985 | 982142 | 0 | 982142 | 256 | 1.9609 | 1925919.0781 | 9237356 | 178228 | 78 | 9059206 | 260 | 2.5269 | 22891916.7
1984 | 82411 | 0 | 82411 | 247 | 2.0324 | 167491.1822 | 10247376 | 8209100 | 187 | 2038463 | 259 | 2.5367 | 5170927.3784
1983 | 499290 | 0 | 499290 | 234 | 2.1453 | 1071126.4103 | 5646138 | 866 | 0 | 5645272 | 256 | 2.5664 | 14488061.3438
1982 | 63211 | 0 | 63211 | 229 | 2.1921 | 138567.345 | 2655032 | 0 | 0 | 2655032 | 253 | 2.5968 | 6894687.8419
1981 | 23069 | 0 | 23069 | 225 | 2.2311 | 51469.5022 | 5435268 | 0 | 0 | 5435268 | 237 | 2.7722 | 15067388.5063
1980 | 108841 | 0 | 108841 | 210 | 2.3905 | 260181.819 | 3017757 | 0 | 0 | 3017757 | 218 | 3.0138 | 9094799.7661
1979 | 0 | 0 | 0 | 187 | 2.6845 | 0 | 1364524 | 0 | 0 | 1364524 | 197 | 3.335 | 4550722.1726
1978 | 179060 | 0 | 179060 | 169 | 2.9704 | 531882.3669 | 4302405 | 0 | 0 | 4302405 | 182 | 3.6099 | 15531209.2582
1977 | 109761 | 0 | 109761 | 155 | 3.2387 | 355484.0129 | 2024135 | 0 | 0 | 2024135 | 170 | 3.8647 | 7822686.4412
1976 | 96383 | 0 | 96383 | 149 | 3.3691 | 324726.6174 | 2361158 | 0 | 0 | 2361158 | 157 | 4.1847 | 9880769.465
1975 | 79373 | 0 | 79373 | 145 | 3.4621 | 274794.8 | 1195516 | 0 | 0 | 1195516 | 148 | 4.4392 | 5307121.7027
1974 | 579 | 0 | 579 | 123 | 4.0813 | 2363.0732 | 519098 | 0 | 0 | 519098 | 124 | 5.2984 | 2750382.1452
1973 | 60354 | 0 | 60354 | 100 | 5.02 | 302977.08 | 1842246 | 0 | 0 | 1842246 | 100 | 6.57 | 12103556.22
1972 | 72519 | 0 | 72519 | 92 | 5.4565 | 395701.5 | 1405803 | 0 | 0 | 1405803 | 94 | 6.9894 | 9825665.6489
1971 | 3648 |  | 3648 | 87 | 5.7701 | 21049.3793 | 422680 |  |  | 422680 | 91 | 7.2198 | 3051656.7033
1970 | 9477 |  | 9477 | 82 | 6.122 | 58017.7317 | 344607 |  | <83 retire=$393/12yrs | 354134 | 89 | 7.382 | 2614225.1461
1969 | 5148 |  | 5148 | 78 | 6.4359 | 33132 | 201348 |  | =$33/yr | 294443 | 85 | 7.7294 | 2275871.1882
1968 | 65130 |  | 65130 | 74 | 6.7838 | 441827.8378 | 606472 |  | <84 retire=$1419/13yrs | 641307 | 83 | 7.9157 | 5076369.8675
1967 | 1667 |  | 1667 | 71 | 7.0704 | 11786.3944 | 157954 |  | =$109/yr | 157954 | 79 | 8.3165 | 1313617.443
1966 | 16641 |  | 16641 | 67 | 7.4925 | 124683.3134 | 321606 |  | <89 retire=$1398/18yrs | 321606 | 75 | 8.76 | 2817268.56
1965 | 0 |  | 0 | 63 | 7.9683 | 0 | 262942 |  | =$78/yr | 304030 | 73 | 9 | 2736270
1964 | 295 |  | 295 | 61 | 8.2295 | 2427.7049 | 230373 |  |  | 230373 | 69 | 9.5217 | 2193551.6087
1963 | 10739 |  | 10739 | 59 | 8.5085 | 91372.5085 | 158661 |  |  | 158661 | 65 | 10.1077 | 1603696.5692
1962 | 3557 |  | 3557 | 57 | 8.807 | 31326.5614 | 214370 |  |  | 214370 | 69 | 9.5217 | 2041175.2174
1961 | 80 |  | 80 | 57 | 8.807 | 704.5614 | 41425 |  |  | 41425 | 70 | 9.3857 | 388803.2143
1960 | 1109 |  | 1109 | 55 | 9.1273 | 10122.1455 | 1073933 |  |  | 1073933 | 77 | 8.5325 | 9163298.4545
1959 | 120349 |  | 120349 | 53 | 9.4717 | 1139909.3962 | 2818950 |  |  | 2818950 | 83 | 7.9157 | 22313857.2289
1958 | 2646 |  | 2646 | 51 | 9.8431 | 26044.9412 | 541693 |  |  | 541693 | 84 | 7.8214 | 4236813.1071
1957 | 23743 |  | 23743 | 48 | 10.4583 | 248312.2083 | 835071 |  |  | 835071 | 81 | 8.1111 | 6773353.6667
1956 | 6835 |  | 6835 | 46 | 10.913 | 74590.6522 | 79776 |  |  | 79776 | 77 | 8.5325 | 680686.1299
1955 | 4883 |  | 4883 | 43 | 11.6744 | 57006.186 | 316381 |  |  | 316381 | 70 | 9.3857 | 2969461.6714
1954 | 12072 |  | 12072 | 42 | 11.9524 | 144289.1429 | 21317 |  |  | 21317 | 69 | 9.5217 | 202974.913
1953 | 2730 |  | 2730 | 41 | 12.2439 | 33425.8537 | 40660 |  |  | 40660 | 68 | 9.6618 | 392847.3529
1952 | 99221 |  | 99221 | 39 | 12.8718 | 1277152.359 | 1516723 |  |  | 1516723 | 64 | 10.2656 | 15570109.5469
1951 | 3550 |  | 3550 | 37 | 13.5676 | 48164.8649 | 44634 |  |  | 44634 | 63 | 10.4286 | 465468.8571
1950 | 10345 |  | 10345 | 34 | 14.7647 | 152740.8824 | 198788 |  |  | 198788 | 56 | 11.7321 | 2332209.2143
1949 | 4293 |  | 4293 | 32 | 15.6875 | 67346.4375 | 0 |  |  | 0 | 52 | 12.6346 | 0
1948 | 40042 |  | 40042 | 31 | 16.1935 | 648422.0645 | 18785 |  |  | 18785 | 49 | 13.4082 | 251872.3469
1947 | 191 |  | 191 | 28 | 17.9286 | 3424.3571 | 0 |  |  | 0 | 47 | 13.9787 | 0
1946 | 0 |  | 0 | 24 | 20.9167 | 0 | 0 |  |  | 0 | 39 | 16.8462 | 0
1945 | 189 |  | 189 | 21 | 23.9048 | 4518 | 0 |  |  | 0 | 35 | 18.7714 | 0
1944 | 0 |  | 0 | 21 | 23.9048 | 0 | 0 |  |  | 0 | 35 | 18.7714 | 0
1943 | 0 |  | 0 | 20 | 25.1 | 0 | 0 |  |  | 0 | 36 | 18.25 | 0
1942 | 953 |  | 953 | 20 | 25.1 | 23920.3 | 0 |  |  | 0 | 37 | 17.7568 | 0
1941 | 14900 |  | 14900 | 19 | 26.4211 | 393673.6842 | 0 |  |  | 0 | 36 | 18.25 | 0
1940 | 12749 |  | 12749 | 17 | 29.5294 | 376470.4706 | 0 |  |  | 0 | 35 | 18.7714 | 0
1939 | 5958 |  | 5958 | 17 | 29.5294 | 175936.2353 | 0 |  |  | 0 | 35 | 18.7714 | 0
1938 | 0 |  | 0 | 17 | 29.5294 | 0 | 0 |  |  | 0 | 35 | 18.7714 | 0
1937 | 1442 |  | 1442 | 17 | 29.5294 | 42581.4118 | 0 |  |  | 0 | 35 | 18.7714 | 0
1936 | 19631 |  | 19631 | 15 | 33.4667 | 656984.1333 | 0 |  |  | 0 | 32 | 20.5312 | 0
1935 | 0 |  | 0 | 15 | 33.4667 | 0 | 0 |  |  | 0 | 32 | 20.5312 | 0
1934 | 0 |  | 0 | 14 | 35.8571 | 0 | 0 |  |  | 0 | 31 | 21.1935 | 0
1933 | 0 |  | 0 | 13 | 38.6154 | 0 | 0 |  |  | 0 | 29 | 22.6552 | 0
1932 | 0 |  | 0 | 13 | 38.6154 | 0 | 0 |  |  | 0 | 27 | 24.3333 | 0
1931 | 0 |  | 0 | 14 | 35.8571 | 0 | 0 |  |  | 0 | 29 | 22.6552 | 0
1930 | 0 |  | 0 | 15 | 33.4667 | 0 | 0 |  |  | 0 | 29 | 22.6552 | 0
1929 | 0 |  | 0 | 15 | 33.4667 | 0 | 0 |  |  | 0 | 30 | 21.9 | 0
1928 | 3964 |  | 3964 | 15 | 33.4667 | 132661.8667 | 0 |  |  | 0 | 29 | 22.6552 | 0
1927 | 0 |  | 0 | 15 | 33.4667 | 0 | 0 |  |  | 0 | 29 | 22.6552 | 0
1926 | 0 |  | 0 | 15 | 33.4667 | 0 | 0 |  |  | 0 | 29 | 22.6552 | 0
1925 | 0 |  | 0 | 15 | 33.4667 | 0 | 0 |  |  | 0 | 29 | 22.6552 | 0
1924 | 0 |  | 0 | 16 | 31.375 | 0 | 0 |  |  | 0 | 29 | 22.6552 | 0
1923 | 0 |  | 0 | 15 | 33.4667 | 0 | 0 |  |  | 0 | 28 | 23.4643 | 0
1922 | 0 |  | 0 | 15 | 33.4667 | 0 | 0 |  |  | 0 | 28 | 23.4643 | 0
1921 | 0 |  | 0 | 16 | 31.375 | 0 | 0 |  |  | 0 | 30 | 21.9 | 0
1920 | 0 |  | 0 | 17 | 29.5294 | 0 | 0 |  |  | 0 | 31 | 21.1935 | 0
1919 | 0 |  | 0 | 18 | 27.8889 | 0 | 0 |  |  | 0 | 27 | 24.3333 | 0
1918 | 0 |  | 0 | 18 | 27.8889 | 0 | 0 |  |  | 0 | 25 | 26.28 | 0
1917 | 0 |  | 0 | 16 | 31.375 | 0 | 0 |  |  | 0 | 20 | 32.85 | 0
1916 | 0 |  | 0 | 13 | 38.6154 | 0 | 0 |  |  | 0 | 17 | 38.6471 | 0
1915 | 0 |  | 0 | 9 | 55.7778 | 0 | 0 |  |  | 0 | 15 | 43.8 | 0
1914 | 0 |  | 0 | 9 | 55.7778 | 0 | 0 |  |  | 0 | 15 | 43.8 | 0
1913 | 0 |  | 0 | 9 | 55.7778 | 0 | 0 |  |  | 0 | 16 | 41.0625 | 0
1912 | 0 |  | 0 | 9 | 55.7778 | 0 | 0 |  |  | 0 | 16 | 41.0625 | 0
1911 | 0 |  | 0 | 9 | 55.7778 | 0 | 0 |  |  | 0 |  |  | 0
1910 | 0 |  | 0 | 9 | 55.7778 | 0 | 0 |  |  | 0 |  |  | 0
1909 | 0 |  | 0 |  |  | 0 | 0 |  |  | 0 |  |  | 0
1908 | 0 |  | 0 |  |  | 0 | 0 |  |  | 0 |  |  | 0
1907 | 0 |  | 0 |  |  | 0 | 0 |  |  | 0 |  |  | 0
1906 | 0 |  | 0 |  |  | 0 | 0 |  |  | 0 |  |  | 0
TOTAL | 20586340.95 | 0 | 20586340.95 |  |  | 34525901.1112 | 186381694.8 | 8809875 | -4879952.19 | 172870412.61 |  |  | 414539243.0771