DELIVERY SERVICE: (continued)

(M)

From

Page

48T.2

(M)From

Page

48T.2

(N)

Primary Dedicated Facilities > 30,000 kW: Customers that qualify for Primary Dedicated Facilities > 30,000 kW service must have a load size greater than 30,000 kW, take service at Company’s available primary distribution voltage of 11 kV or greater, be served by a dedicated substation that serves only that particular customer, have point(s) of delivery inside the substation, and provide and own the land on which the substation and related facilities are located.

VOLTAGE:

 Company retains the right to change its line voltage or classifications thereof at any time, and after reasonable advance notice to any Customer affected by such change, such Customer then has the option to take service at the new line voltage or to accept service through transformers to be supplied by Company subject to the voltage adjustments above.

ON-PEAK PERIOD BILLING DEMAND:

 The On-Peak Billing Demand shall be the greater of:

(a) The measured On-Peak Period kW shown by or computed from the readings of Company's demand meter for the 15-minute period of greatest deliveries to Customer during the billing month, determined to the nearest kW, or

(b) 500 kW

TERM OF CONTRACT:

 Company may require the Customer to sign a written contract which shall have a term of not less than one year.

RULES AND REGULATIONS:

 Service under this schedule is subject to the General Rules and Regulations contained in the tariff of which this schedule is a part and to those prescribed by regulatory authorities.