## Peak Credit
PacifiCorp
State of Washington
Classification of Generation and Transmission Costs
BPA Firm Capacity Sales Agreement
1 | Fixed Cost per yr/kW |  | 100.2
2 | Total Fuel Costs |  | 0
3 | Total Cost 1 MW, 200 Hours |  | 100200 | Line 1 X 1000 + Line 2
Combined Cycle Combustion Turbine
4 | 51.5% |  | 148.35
5 | Fuel Cost per MWh |  | 31.1
6 | Hours of Operation |  | 4511.4 | 51.5%
7 | Total Fuel Costs |  | 140304.54 | Line 5 X Line 6
8 | 51.5% |  | 288654.54 | Line 4 X 1000 + Line 7
9 | Demand Component |  | 34.71% | Line 3 / Line 8
10 | Energy Component |  | 65.29% | 100% - Line 9
Notes:
| Line 1 | BPA Firm Capacity Sales Agreement
Fixed Cost per yr/kW = $8.35/kW/mo
| Lines 4 & 5 | CCCT Total Resource Fixed Costs