## Table of Contents
Sheet1

## Sheet1
Trigger Event | Planning Scenario(s) | Near-Term Resource Acquisition Strategy | Long Term Resource Acquisition Strategy
|  | (20253-20342) | (20353-20452)
Higher sustained load growth | High economic drivers accounting for 95% prediction interval and low private generation assumption. | In 2028, there is an increase of 2 percent higher sustained load growth than the base case forecast, resulting in an increase in peak capacity requirements of 271 MW increasing further to nearly 337 MW in 2032. | In 2042, there is an increase of 4 percent higher sustained load growth than the base case forecast, resulting in an increase in peak capacity requirements of 616 MW.
|  | Within the action plan window, there would be no change to the resource procurement strategy focused on an all-source RFP and incremental transmission upgrades | The higher peak capacity requirements relative to the base case forecast results in additional resource need, increased market reliance and/or shifts in timing of planned resources or coal unit retirements.
|  | The higher peak capacity requirements relative to the base case forecast results in additional resource need, increased market reliance and/or shifts in timing of planned resources or coal unit retirements. | As the higher load is distributed over multiple load areas and across years, additional battery, solar and wind resources in combination will meet the higher demand.
As the higher load is distributed over multiple load areas and across years, additional battery, solar and wind resources in combination will meet the higher demand.
Lower sustained load growth | Low economic drivers accounting for 95% prediction interval and high private generation assumption. | In 2028, there is 2 percent lower sustained load growth than the base case forecast, resulting in a decrease in peak capacity requirements of 256 MW decreasing further 288 MW in 2032. | In 2042, there is a 2 percent lower sustained load growth than the base case forecast, resulting in a decrease in peak capacity requirements of 363 MW.
|  | Within the action plan window, there would be no change to the resource procurement strategy focused on an all-source RFP and incremental transmission upgrades. | The lower peak capacity requirements relative to the base case forecast results in a reduction in resource need, decreased market reliance and/or shifts in timing of planned resources or coal unit retirements.
The lower peak capacity requirements relative to the base case forecast results in a reduction in resource need, decreased market reliance and/or shifts in timing of planned resources or coal unit retirements.
Higher sustained private generation penetration levels | More aggressive technology cost reductions, improved technology performance, and higher electricity retail rates | In 2028, peak capacity requirements are lower by 29 MW due to higher sustained private generation levels relative to the base case forecast. | In 2042, peak capacity requirements are lower by 102 MW due to higher sustained private generation levels relative to the base case forecast.
|  | In 2032, peak capacity requirements are lower by 63 MW due to higher sustained private generation levels relative to the base case forecast. | Small changes to the portfolio would require minimal changes to the resource acquisition strategy.
|  | Within the action plan window, there would be no change to the resource procurement strategy focused on an all-source RFP and incremental transmission upgrades. | Timing differences in resource capacity would need to be assessed in procurement processes to achieve the appropriate balance of energy and capacity.
Small changes to the portfolio would require minimal changes to the resource acquisition strategy.
Lower sustained private generation penetration levels | Less aggressive technology cost reductions, reduced technology performance, and lower electricity retail rates | In 2028, peak capacity requirements are higher by 44 MW due to lower sustained private generation levels relative to the base case forecast. | In 2042, peak capacity requirements are higher by 293 MW due to lower sustained private generation levels relative to the base case forecast.
|  | In 2032, peak capacity requirements are higher by 97 MW due to lower sustained private generation levels relative to the base case forecast. | Timing differences in resource capacity would need to be assessed in procurement processes to achieve the appropriate balance of energy and capacity.
Within the action plan window, there would be no change to the resource procurement strategy focused on an all-source RFP and incremental transmission upgrades.
Small changes to the portfolio would require minimal changes to the resource acquisition strategy.
High CO2 prices with accelerated coal retirements | Fossil-fired generation is faced with a high CO2 price beginning in 2025 at $4434/ton and reaching $132.70/ton by 2042 that drives all coal to be retired by 2030 (?) | Within the action plan window, there would be no change to the resource procurement strategy focused on an all-source RFP and incremental transmission upgrades. | By 2042, new nuclear peaking capacity is increased by 500 MW.
|  | Accelerate timing of new resource additions including an advanced nuclear resource from 2033 to 2032. | By 2042, DSM (energy efficiency and demand response combined) is increased by 366 MW and standalone storage capacity is increased by over 1,000 MW.
By 2030 the portfolio swaps 600 MW of four hour battery for 600 MW of long duration storage and adds 790 MW of additional Solar resources.
Wind selections are slightly reduced until 2032, at which time the model adds a total of 3,714 MW incremental wind compared to the preferred portfolio.
Increase procurement of market purchases.
Increase procurement of energy efficiency: energy efficiency capacity is accelerated and increases 81 MW by 2032.
No NatriumTM Advanced Nuclear Demonstration Project in 2030, and no other nuclear projects | See Volume 1, Chapter 9 (Modeling and Portfolio Selection Results), P05-No NUC portfolio | Without the NatriumTM demonstration project, 289 MW of non-emitting peaking resource is added in 2030. | In 2033, 303 MW of non-emitting peaking resources and 200 MW of four-hour battery storage replace 500 MW of nuclear capacity.
In 2032 the second advanced nuclear plant is replaced by 303 MW of non-emitting peaking resource and 200 MW of four-hour battery storage.
Higher costs and emissions result from increased fossil-fueled generation, emissions and net market transactions.
No Boardman-to-Hemingway (B2H) transmission segment in 2026 | See Volume 1, Chapter 9 (Modeling and Portfolio Selection Results), P02b-No B2H portfolio | Within the action plan window, there would be no change to the resource procurement strategy focused on an all-source RFP and incremental transmission upgrades. | An additional 600 MW of solar and 600 MW of storage is built in Southern Oregon in 2033.
Without B2H, 724 MW of standalone storage is built in 2027 as a requirement of not building the B2H line.
300 MW of solar is removed from the portfolio in 2028, and 400 MW of wind shifts from Borah Populous in 2028 to Southern Oregon in 2029.
An additional 600 MW of storage is moved from Borah Populous to Southern Oregon in 2028.
400 MW of wind is accelerated from 2033 into 2030. A reduction in resources results in increased reliance on the market and higher emissions from an increase in coal and gas generation.
Reduced flexibility and load-serving capability of the transmission system.
New Load | Incremental 3,000 MW of flat load entering the system in 2033 | Within the action plan window, there would be no change to the resource procurement strategy focused on an all-source RFP and incremental transmission upgrades. | Resources required to serve load – 2,000 MW wind, 1,600 MW solar, 1,600 MNW battery, and 881 MW non-emitting peaker.
Requires Boardman to Hemingway 2, Gateway South 2, D3.2 transmission line, Gateway Segment E and Gateway Segment E 2.