## Slide 1: 2013 IRP Power Price Review WUTC Staff Avoided Cost Filing IRP Modeling Process
February 5, 2013
Notes: 1

## Slide 2
OWI
MT
IDSo
WY
CO
NM
AZ
UT
NVSo
NVNo
NP15
ZP26
SP15
Baja No
BC
AB
Aurora System Diagram for WECC
  The System Diagram provides an object view of each Zone Definition system being modeled. A System Diagram has been created for all delivered Zone Definition Systems.
NP15 – PG&E North, San Francisco, SMUD
ZP26 – PG&E
SP15 – SCE, IID, LADWP, SDG&E

## Slide 3: IRP Modeling Process for Aurora
EPIS Database
Gas Prices
Regional Load
RPS Resources
Resource Assumptions
Environmental Assumptions
Hydro Shapes
Capacity Expansion and Power price Run
(WECC)
AURORAxmp
Mid-C Power Prices
Key Inputs

## Slide 4: IRP Modeling Process
Capacity Expansion and Power price Run
(WECC)
Deterministic Input Price Run
(PSE)
Stochastic Model
Key Inputs:
Gas Prices
Regional Load
RPS Resources
Resource Assumptions
Hydro Shapes
EPIS Database
Mid-C Power Price
Deterministic Optimization
Aurora Risk Run
(PSE)
AURORAxmp
1000 Trials Stochastic Risk Analysis
Optimal Portfolio
Energy, Cost, Revenue
PSM III
PSE Load
Sumas Gas Prices
Mid-C Power Prices
Hydro Generation
Wind Generation
CO2 Price
Energy, Cost, Revenue
Stochastic Process
Mid-C Power Price
Key Inputs:
Existing Peak Capacity
Generic Peak Capacity
Normal Peak Load
Generic FOM and Capital Costs
Normal Peak Load

## Slide 6: Aurora Updates
 | 2011 IRP | 2011 RFP | 2013 IRP
Aurora Version | 10.0.1029 | 10.1.1032 | 11.0.1063
Database | 2009.02 | 2010.02 | 2012.01
Big changes between versions and databases
2012 Avoided Cost Filing
2011 Avoided Cost Filing
2010 Avoided Cost Filing

## Slide 7
Reference Assumptions

## Slide 8
Levelized Gas Prices

## Slide 9
NPCC Updated Load Forecast for PNW

## Slide 10
NPCC Updated Load Forecast for WECC

## Slide 13: Emission Standards for Coal
National Ambient Air Quality Standards (NAAQS)
  Each plant must meet a permitted SO2 rate from the EPA
  The permitted rate varies by plant
Mercury and Air Toxics Standards (MATS)
  Each plant must meet a permitted Hg rate from the EPA:1.9 lbs/trillion Btu
  The rate can be met by installing certain scrubbers
    Wet Scrubber
    Electrostatic Precipitator (ESP)
    Baghouse + Dry Scrubber

## Slide 14: Emission Standards Continued
The coal plants in the WECC were checked to make sure they meet NAAQS and MATS
The plants that did not meet the emission standards and had not announced plans to add scrubbers were assumed to retire.
Total Coal Plant Retirement | MW
Planned Retirement* | 3,319
Assumed Retirement | 1,123
Total | 4,442
*Includes Boardman and Centralia

## Slide 15: California Once-Through Cooling (OTC)
On May 4, 2010, the State Water Resources Board adopted a statewide water quality control policy on the use of Once-Through-Cooling (OTC) power plants (nuclear and non-nuclear facilities). This Policy establishes requirements for the implementation of the Clean Water Act Section 316(b), using best professional judgment in determining best technology available (BTA) for cooling water intake structures at existing coastal and estuarine power plants.

## Slide 16: California OTC continued
Followed retirements/replacements from
  WECC Transmission Expansion Planning Policy Committee (TEPPC) 2022 Common Case and
  LADWP Implementation Plan April 2011.
Consistent with NPCC assumptions
MW Nameplate | 2013 -2017 | 2018-2023 | 2024-2030
Retirement | 6,217 | 6,568 | 1,126
Replacement | 1,150 |  | 
Cumulative Total | 5,067 | 11,635 | 12,761

## Slide 17: Resource Builds for WECC US
Updated list of resources built and under construction (COD 2012-2016)
Nameplate (MW) | CA | PNW | SW | RM | Total
Solar | 2,981 | 2 | 769 | 5 | 3,757
Other Renewable | 103 | 126 | 80 | 22 | 331
Wind | 1,298 | 1,867 | 152 | 36 | 3,353
Thermal | *5,930 | 319 | 87 | 1,330 | 7,665
Total | 10,313 | 2,313 | 1,088 | 1,392 | 15,106
*Includes OTC replacement

## Slide 18
Base Scenario

## Slide 19: Draft 2013 IRP 20-yr Levelized Mid-C Power Prices
 |  | 2012-2031 |  | 2014-2033 | Difference
 |  | 8.1% | 7.8% | 7.8% | 
 | 2011 IRP Base v10.0, DB 2009.02 | $57.46 | $57.64 |  | 
 | 2011 RFP Base v10.1, DB 2010.02 | $48.41 | $48.59 |  | 
 | 2011 RFP Base v11.0, DB 2010.02 | $48.44 | $48.63 |  | 
 | v11.0.1007 DB 2012.01 Default |  | $54.86 | $61.71 | 
1 | + 6th Power Plan Load |  | $53.82 | $60.37 | (1.34)
2 | + October 2011 NG Price |  | $54.33 | $60.00 | (0.38)
3 | + 2011 GRC Assumptions |  | $53.30 | $58.82 | (1.17)
4 | + RPS from 2011 RFP |  | $51.39 | $56.66 | (2.16)
5 | + Misc Updates from 2011 RFP |  | $50.59 | $55.70 | (0.96)
6 | + No CO2 price, add NOx and SO2 |  | $47.93 | $52.00 | (3.70)
7 | + April 2012 NG Price |  | $43.88 | $48.79 | (3.22)
(0.70)
0.04

## Slide 20
 |  | 2012-2031 | 2014-2033 | Difference
8 | + RPS Updates | $43.96 | $48.91 | 0.12
9 | + New Resource Assumptions | $43.47 | $48.23 | (0.67)
10 | + Demand Update w/ RPS Update | $44.29 | $49.36 | 1.12
11 | + Emission Standards (Coal Retire) | $43.48 | $48.55 | (0.81)
12 | + NG Forward Marks 7/9/12 | $43.01 | $48.12 | (0.42)
13 | + Resource Update | $41.98 | $47.09 | (1.03)
14 | + NPCC Updated Demand Forecast | $40.09 | $44.52 | (2.57)
15 | + CA OTC retirements/replacement | $40.98 | $45.82 | 1.30
16 | + update to v11.0.1063 | $40.79 | $45.61 | (0.21)
Draft 2013 IRP 20-yr Levelized Mid-C Power Prices

## Slide 22
Mid-C Price comparison to 2011 IRP

## Slide 23
Annual On/Off Peak Price Spreads

## Slide 24
Annual Sumas/Mid-C Heat Rate

## Slide 25
IRP Mid-C Compared to Forward Marks

## Slide 26
Annual Builds and Retirements for WECC

## Slide 27: IRP Modeling Process for Aurora
EPIS Database
Gas Prices
Regional Load
RPS Resources
Resource Assumptions
Environmental Assumptions
Hydro Shapes
Capacity Expansion and Power price Run
(WECC)
AURORAxmp
Mid-C Power Prices
Key Inputs

## Slide 28: IRP Modeling Process
Capacity Expansion and Power price Run
(WECC)
Deterministic Input Price Run
(PSE)
Stochastic Model
Key Inputs:
Gas Prices
Regional Load
RPS Resources
Resource Assumptions
Hydro Shapes
EPIS Database
Mid-C Power Price
Deterministic Optimization
Aurora Risk Run
(PSE)
AURORAxmp
1000 Trials Stochastic Risk Analysis
Optimal Portfolio
Energy, Cost, Revenue
PSM III
PSE Load
Sumas Gas Prices
Mid-C Power Prices
Hydro Generation
Wind Generation
CO2 Price
Energy, Cost, Revenue
Stochastic Process
Mid-C Power Price
Key Inputs:
Existing Peak Capacity
Generic Peak Capacity
Normal Peak Load
Generic FOM and Capital Costs
Normal Peak Load

## Slide 29: Market Portfolio Analysis

## Slide 30: Portfolio Screening Model Version 3 (PSM III)
Excel Spreadsheet-based capacity expansion model that evaluates incremental costs (Rev Req) and risks of a wide variety of resource alternatives and portfolio strategies
Incremental Costs includes:
  The variable fuel cost and emissions for PSE’s existing fleet
  The variable fuel, emissions, and O&M for new resources
  The fixed depreciation and capital cost for new resources
  End Effects for new resources
  The market purchases and sales

## Slide 31: PSM III Optimization Process
Aurora Outputs for each Resource
Cost, Revenue, MWhs
Resource Assumptions
Year available, Capacity Contribution
Need Assumptions
Capacity, Energy, and Renewable needs
Financial Model:
Evaluates the cost of each resource alternative used in the model
Optimization Model:
Linear Program finds the lowest cost portfolio that meets your resource needs
Optimal Portfolio

## Slide 32: Objective Function and Constraints for PSM III
Objective Function:
Minimize Expected Cost =
NPV(cost of Existing) +
NPV(cost of Generics) + NPV(Market Purchases/Sales) + NPV(DSR) – NPV(REC sales) + NPV(End Effects)
Subject to 3 Constraints:
1. Annual Capacity >=Peak load + PM
2. REC Need >= 0
3. West Side builds <= 1000 MW *New for 2013

## Slide 33: Next Steps
Very Low Gas Portfolio
Very High Gas Portfolio
Low Power/Gas Prices + Base Load
Additional Portfolio Analysis
  Westside only builds
  Frame Peaker w/o oil backup
  Recip Engine Peaker
  Short Term Delivered PPA
Market Risk Analysis
Flexibility Analysis
Gas for Power Loads
Check Portfolios in LOLP Analysis
Final Plan