## Legend
Date
Data as/of | 2017-02-10
Fiscal Year | FY2018
Event Begin Date/Time | 2017-01-16 | Event Begin Time
Event End Date/Time | 2017-01-17 | Event End Time
Month Begin | 2017-01-01
Month End | 2017-01-31
Year Begin | 2017-01-01
Year End | 2017-01-31
State | Walla Walla, Washington
Comments: | Tag | filed

## Customer Analysis
| Walla Walla, Washington | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by operating area customer counts
|  |  | 2017-01-16 | through | 2017-01-17
| PacifiCorp Major Events Report Customer Analysis* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 4431 | 0.2332% | 447318.084 | 5 | 1900047 | 0 | 4430 | 1 | 0 | 0 | 0 | 0 | 99.98% | 0.23542 | 0.002332 | 100.9519
PP | Pacific Power | 4431 | 0.5685% | 447318.084 | 5 | 779477 | 0 | 4430 | 1 | 0 | 0 | 0 | 0 | 99.98% | 0.57387 | 0.0056846 | 100.9519
WA | Washington | 4431 | 3.302% | 447318.084 | 5 | 134194 | 0 | 4430 | 1 | 0 | 0 | 0 | 0 | 99.98% | 3.3334 | 0.033019 | 100.9519
WA | WALLA WALLA | 4431 | 15.61% | 447318.084 | 5 | 28387 | 0 | 4430 | 1 | 0 | 0 | 0 | 0 | 99.98% | 15.7578 | 0.15609 | 100.9519
*Only current event specific metric impact shown. Does not include values from other events which may have occurred in other regions during the same time period.
|  | Customer Interrupted by Date |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by state customer counts
|  |  | 2017-01-16 | through | 2017-01-17 |  |  |  | Customers Restored by Intervals
| Date* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
| 2017-01-16 | 4431 | 3.302% | 447318.084 | 5 | 134194 | 0 | 4430 | 1 | 0 | 0 | 0 | 0 | 99.98% | 3.3334 | 0.033019 | 100.9519
Data as of
2017-02-10

## SSC by State
| Walla Walla, Washington | Event |  | 2017-01-16 | through | 2017-01-17 |  | Month |  | 2017-01-01 | through | 2017-01-31 |  | YTD | FY2018 | 2017-01-01 | through | 2017-01-31
|  | Major Events Included |  |  | Major Event Excluded |  |  | Major Events Included |  |  | Major Events Excluded* |  |  | Major Events Included |  |  | Major Events Excluded*
| PacifiCorp Major Events Report SSC by State | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 0.28362 | 0.0026873 | 105.5412 | 0.048196 | 0.00035525 | 135.6669 | 45.3575 | 0.14396 | 315.0779 | 9.6448 | 0.063332 | 152.2909 | 45.3575 | 0.14396 | 315.0779 | 9.6448 | 0.063332 | 152.2909
PP | Pacific Power | 0.59289 | 0.0058129 | 101.9959 | 0.019019 | 0.00012829 | 148.2514 | 91.7753 | 0.25093 | 365.7336 | 7.8704 | 0.061354 | 128.2785 | 91.7753 | 0.25093 | 365.7336 | 7.8704 | 0.061354 | 128.2785
WA | Washington | 3.3654 | 0.033235 | 101.2592 | 0.032027 | 0.00021611 | 148.2 | 13.5462 | 0.10553 | 128.3589 | 10.2128 | 0.072514 | 140.8387 | 13.5462 | 0.10553 | 128.3589 | 10.2128 | 0.072514 | 140.8387
WA | SUNNYSIDE | 0.028247 | 0.00017885 | 157.9424 | 0.028247 | 0.00017885 | 157.9424 | 3.4401 | 0.020523 | 167.6246 | 3.4401 | 0.020523 | 167.6246 | 3.4401 | 0.020523 | 167.6246 | 3.4401 | 0.020523 | 167.6246
WA | WALLA WALLA | 3.3334 | 0.033019 | 100.9519 | 0 | 0 | 0 | 3.993 | 0.037051 | 107.7714 | 0.65965 | 0.0040315 | 163.6249 | 3.993 | 0.037051 | 107.7714 | 0.65965 | 0.0040315 | 163.6249
WA | YAKIMA | 0.0037795 | 3.7259e-05 | 101.4368 | 0.0037795 | 3.7259e-05 | 101.4368 | 6.1131 | 0.04796 | 127.4615 | 6.1131 | 0.04796 | 127.4615 | 6.1131 | 0.04796 | 127.4615 | 6.1131 | 0.04796 | 127.4615
*may include other regional major event exclusions during the same period. Operating areas are calculated by the state frozen customer count metrics.
Data as/of
2017-02-10