## Legend
Date
Data as/of | 2017-07-01
Fiscal Year | FY2018
Event Begin Date/Time | 2017-06-04 | Event Begin Time
Event End Date/Time | 2017-06-05 | Event End Time
Month Begin | 2017-06-01
Month End | 2017-06-30
Year Begin | 2017-01-01
Year End | 2017-06-30
State | Washington
Comments: | Tag | filed

## Customer Analysis
| Washington | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by operating area customer counts
|  |  | 2017-06-04 | through | 2017-06-05
| PacifiCorp Major Events Report Customer Analysis* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 6485 | 0.3413% | 3357305.903 | 17 | 1900047 | 0 | 8 | 6477 | 0 | 0 | 0 | 0 | 0.1234% | 1.767 | 0.0034131 | 517.7033
PP | Pacific Power | 6485 | 0.832% | 3357305.903 | 17 | 779477 | 0 | 8 | 6477 | 0 | 0 | 0 | 0 | 0.1234% | 4.3071 | 0.0083197 | 517.7033
WA | Washington | 6485 | 4.833% | 3357305.903 | 17 | 134194 | 0 | 8 | 6477 | 0 | 0 | 0 | 0 | 0.1234% | 25.0183 | 0.048326 | 517.7033
WA | SUNNYSIDE | 6461 | 26.35% | 3351037.803 | 9 | 24522 | 0 | 1 | 6460 | 0 | 0 | 0 | 0 | 0.01548% | 136.6543 | 0.26348 | 518.6562
WA | WALLA WALLA | 15 | 0.05284% | 2666.433 | 6 | 28387 | 0 | 7 | 8 | 0 | 0 | 0 | 0 | 46.67% | 0.093931 | 0.00052841 | 177.7622
WA | YAKIMA | 9 | 0.01107% | 3601.667 | 2 | 81281 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 0% | 0.044311 | 0.00011073 | 400.1852
*Only current event specific metric impact shown. Does not include values from other events which may have occurred in other regions during the same time period.
|  | Customer Interrupted by Date |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by state customer counts
|  |  | 2017-06-04 | through | 2017-06-05 |  |  |  | Customers Restored by Intervals
| Date* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
| 2017-06-04 | 6485 | 4.833% | 3357305.903 | 17 | 134194 | 0 | 8 | 6477 | 0 | 0 | 0 | 0 | 0.1234% | 25.0183 | 0.048326 | 517.7033
Data as of
2017-07-01

## SSC by State
| Washington | Event |  | 2017-06-04 | through | 2017-06-05 |  | Month |  | 2017-06-01 | through | 2017-06-30 |  | YTD | FY2018 | 2017-01-01 | through | 2017-06-30
|  | Major Events Included |  |  | Major Event Excluded |  |  | Major Events Included |  |  | Major Events Excluded* |  |  | Major Events Included |  |  | Major Events Excluded*
| PacifiCorp Major Events Report SSC by State | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 2.8644 | 0.010459 | 273.8768 | 1.0974 | 0.0070456 | 155.7611 | 16.9577 | 0.13319 | 127.3183 | 13.706 | 0.12074 | 113.5187 | 145.7222 | 0.84804 | 171.8339 | 66.1515 | 0.5943 | 111.3104
PP | Pacific Power | 4.5116 | 0.011077 | 407.3034 | 0.20443 | 0.002757 | 74.1517 | 16.6127 | 0.1067 | 155.6997 | 8.6863 | 0.07634 | 113.7847 | 235.6717 | 1.1762 | 200.3644 | 59.4297 | 0.64905 | 91.564
WA | Washington | 25.0327 | 0.048512 | 516.0111 | 0.014355 | 0.0001863 | 77.0554 | 44.6514 | 0.13297 | 335.7966 | 19.6331 | 0.084646 | 231.9437 | 98.5663 | 0.53628 | 183.7952 | 70.2146 | 0.45494 | 154.3388
WA | SUNNYSIDE | 24.9789 | 0.048236 | 517.8468 | 0 | 0 | 0 | 29.1171 | 0.066598 | 437.2092 | 4.1455 | 0.018451 | 224.6771 | 41.773 | 0.14679 | 284.5812 | 16.8014 | 0.098641 | 170.3289
WA | WALLA WALLA | 0.01987 | 0.00011178 | 177.7622 | 0 | 0 | 0 | 2.0563 | 0.011625 | 176.8897 | 2.0365 | 0.011513 | 176.8812 | 10.2576 | 0.084765 | 121.0115 | 6.9043 | 0.051634 | 133.7164
WA | YAKIMA | 0.033856 | 0.00016394 | 206.5137 | 0 | 0 | 0 | 13.478 | 0.054749 | 246.1778 | 13.4512 | 0.054682 | 245.9889 | 46.5298 | 0.3047 | 152.7067 | 46.503 | 0.30463 | 152.6522
*may include other regional major event exclusions during the same period. Operating areas are calculated by the state frozen customer count metrics.
Data as/of
2017-07-01