## Customer Analysis
| Washington | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by operating area customer counts
|  |  | 2017-10-21 | through | 2017-10-23
| PacifiCorp Major Events Report Customer Analysis* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 15078 | 0.7936% | 2321643.4 | 52 | 1900047 | 1834 | 12581 | 2450 | 47 | 0 | 0 | 0 | 83.44% | 1.2219 | 0.0079356 | 153.9756
PP | Pacific Power | 15078 | 1.934% | 2321643.4 | 52 | 779477 | 1834 | 12581 | 2450 | 47 | 0 | 0 | 0 | 83.44% | 2.9785 | 0.019344 | 153.9756
WA | Washington | 15078 | 11.24% | 2321643.4 | 52 | 134194 | 1834 | 12581 | 2450 | 47 | 0 | 0 | 0 | 83.44% | 17.3006 | 0.11236 | 153.9756
WA | SUNNYSIDE | 1145 | 4.669% | 254967 | 5 | 24522 | 0 | 948 | 169 | 28 | 0 | 0 | 0 | 82.79% | 10.3975 | 0.046693 | 222.6786
WA | WALLA WALLA | 656 | 2.311% | 78027.784 | 11 | 28387 | 0 | 617 | 39 | 0 | 0 | 0 | 0 | 94.05% | 2.7487 | 0.023109 | 118.9448
WA | YAKIMA | 13277 | 16.33% | 1988648.616 | 36 | 81281 | 1834 | 11016 | 2242 | 19 | 0 | 0 | 0 | 82.97% | 24.4663 | 0.16335 | 149.7815
*Only current event specific metric impact shown. Does not include values from other events which may have occurred in other regions during the same time period.
|  | Customer Interrupted by Date |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by state customer counts
|  |  | 2017-10-21 | through | 2017-10-23 |  |  |  | Customers Restored by Intervals
| Date* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
| 2017-10-21 | 6983 | 5.204% | 2023751.532 | 21 | 134194 | 1834 | 4714 | 2222 | 47 | 0 | 0 | 0 | 67.51% | 15.0808 | 0.052037 | 289.8112
| 2017-10-22 | 8095 | 6.032% | 297891.868 | 31 | 134194 | 0 | 7867 | 228 | 0 | 0 | 0 | 0 | 97.18% | 2.2199 | 0.060323 | 36.7995
Data as of
2017-11-15

## SSC by State
| Washington | Event |  | 2017-10-21 | through | 2017-10-23 |  | Month |  | 2017-10-01 | through | 2017-10-31 |  | YTD | FY2018 | 2017-01-01 | through | 2017-10-31
|  | Major Events Included |  |  | Major Event Excluded |  |  | Major Events Included |  |  | Major Events Excluded* |  |  | Major Events Included |  |  | Major Events Excluded*
| PacifiCorp Major Events Report SSC by State | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 2.8468 | 0.029746 | 95.7059 | 1.6249 | 0.02181 | 74.5044 | 8.6572 | 0.085612 | 101.1224 | 7.4354 | 0.077676 | 95.7228 | 198.6662 | 1.3368 | 148.6163 | 111.4289 | 1.0431 | 106.8254
PP | Pacific Power | 6.3905 | 0.067181 | 95.1236 | 3.412 | 0.047837 | 71.3259 | 12.6046 | 0.12209 | 103.2413 | 9.6261 | 0.10274 | 93.6896 | 286.5222 | 1.6463 | 174.0415 | 98.7256 | 1.0637 | 92.8137
WA | Washington | 17.3006 | 0.11236 | 153.9756 | 0 | 0 | 0 | 25.0538 | 0.17057 | 146.8796 | 7.7532 | 0.058214 | 133.1835 | 147.1269 | 0.82235 | 178.911 | 101.4746 | 0.62864 | 161.4186
WA | SUNNYSIDE | 1.9 | 0.0085324 | 222.6786 | 0 | 0 | 0 | 3.5427 | 0.016521 | 214.4408 | 1.6428 | 0.0079884 | 205.6421 | 49.05 | 0.17893 | 274.1336 | 22.1785 | 0.12225 | 181.4213
WA | WALLA WALLA | 0.58146 | 0.0048884 | 118.9448 | 0 | 0 | 0 | 1.3218 | 0.0077351 | 170.8896 | 0.74039 | 0.0028466 | 260.0933 | 13.6882 | 0.11661 | 117.3797 | 9.7535 | 0.078595 | 124.0981
WA | YAKIMA | 14.8192 | 0.098939 | 149.7815 | 0 | 0 | 0 | 20.1892 | 0.14632 | 137.9819 | 5.37 | 0.047379 | 113.3416 | 84.3792 | 0.52677 | 160.1831 | 69.5332 | 0.42776 | 162.5513
*may include other regional major event exclusions during the same period. Operating areas are calculated by the state frozen customer count metrics.
Data as/of
2017-11-15