## Legend
Date
Data as/of | 2017-12-06
Fiscal Year | FY2018
Event Begin Date/Time | 2017-11-07 | Event Begin Time
Event End Date/Time | 2017-11-08 | Event End Time
Month Begin | 2017-11-01
Month End | 2017-11-30
Year Begin | 2017-01-01
Year End | 2017-11-30
State | Washington
Comments: | Tag | filed

## Customer Analysis
| Washington | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by operating area customer counts
|  |  | 2017-11-07 | through | 2017-11-08
| PacifiCorp Major Events Report Customer Analysis* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 20078 | 1.057% | 3192035.467 | 19 | 1900047 | 0 | 12779 | 7299 | 0 | 0 | 0 | 0 | 63.65% | 1.68 | 0.010567 | 158.9817
PP | Pacific Power | 20078 | 2.576% | 3192035.467 | 19 | 779477 | 0 | 12779 | 7299 | 0 | 0 | 0 | 0 | 63.65% | 4.0951 | 0.025758 | 158.9817
WA | Washington | 20078 | 14.96% | 3192035.467 | 19 | 134194 | 0 | 12779 | 7299 | 0 | 0 | 0 | 0 | 63.65% | 23.7867 | 0.14962 | 158.9817
WA | SUNNYSIDE | 11 | 0.04486% | 1073.633 | 3 | 24522 | 0 | 11 | 0 | 0 | 0 | 0 | 0 | 100% | 0.043782 | 0.00044858 | 97.603
WA | WALLA WALLA | 20067 | 70.69% | 3190961.834 | 16 | 28387 | 0 | 12768 | 7299 | 0 | 0 | 0 | 0 | 63.63% | 112.4093 | 0.70691 | 159.0154
*Only current event specific metric impact shown. Does not include values from other events which may have occurred in other regions during the same time period.
|  | Customer Interrupted by Date |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by state customer counts
|  |  | 2017-11-07 | through | 2017-11-08 |  |  |  | Customers Restored by Intervals
| Date* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
| 2017-11-07 | 20078 | 14.96% | 3192035.467 | 19 | 134194 | 0 | 12779 | 7299 | 0 | 0 | 0 | 0 | 63.65% | 23.7867 | 0.14962 | 158.9817
Data as of
2017-12-06

## SSC by State
| Washington | Event |  | 2017-11-07 | through | 2017-11-08 |  | Month |  | 2017-11-01 | through | 2017-11-30 |  | YTD | FY2018 | 2017-01-01 | through | 2017-11-30
|  | Major Events Included |  |  | Major Event Excluded |  |  | Major Events Included |  |  | Major Events Excluded* |  |  | Major Events Included |  |  | Major Events Excluded*
| PacifiCorp Major Events Report SSC by State | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 1.9837 | 0.014449 | 137.2912 | 0.30369 | 0.0038815 | 78.24 | 15.8186 | 0.1264 | 125.1467 | 10.1752 | 0.081964 | 124.1418 | 214.5583 | 1.4643 | 146.5233 | 121.6776 | 1.1262 | 108.0413
PP | Pacific Power | 4.4217 | 0.029499 | 149.8912 | 0.32658 | 0.003741 | 87.2988 | 17.8884 | 0.18457 | 96.9189 | 8.7269 | 0.082473 | 105.8149 | 304.4107 | 1.8309 | 166.2666 | 107.4525 | 1.1462 | 93.7492
WA | Washington | 23.9291 | 0.15021 | 159.3066 | 0.14239 | 0.0005887 | 241.8635 | 31.7807 | 0.24165 | 131.5155 | 7.994 | 0.092031 | 86.8624 | 178.9076 | 1.064 | 168.1468 | 109.4686 | 0.72067 | 151.8977
WA | SUNNYSIDE | 0.0080006 | 8.1971e-05 | 97.603 | 0 | 0 | 0 | 1.6859 | 0.013659 | 123.4244 | 1.6779 | 0.013577 | 123.5803 | 50.7359 | 0.19259 | 263.4444 | 23.8564 | 0.13583 | 175.6394
WA | WALLA WALLA | 23.7787 | 0.14954 | 159.0154 | 0 | 0 | 0 | 26.5164 | 0.16315 | 162.5259 | 2.7377 | 0.013615 | 201.0842 | 40.2046 | 0.27977 | 143.7077 | 12.4912 | 0.09221 | 135.4649
WA | YAKIMA | 0.14239 | 0.0005887 | 241.8635 | 0.14239 | 0.0005887 | 241.8635 | 3.5784 | 0.064839 | 55.1898 | 3.5784 | 0.064839 | 55.1898 | 87.9577 | 0.59161 | 148.676 | 73.1116 | 0.4926 | 148.4198
*may include other regional major event exclusions during the same period. Operating areas are calculated by the state frozen customer count metrics.
Data as/of
2017-12-06