## Legend
Date
Data as/of | 2018-02-01
Fiscal Year | FY2019
Event Begin Date/Time | 2017-12-29 03:39 | Event Begin Time
Event End Date/Time | 2018-12-31 13:00 | Event End Time
Month Begin | 2017-12-01
Month End | 2017-12-31
Year Begin | 2017-01-01
Year End | 2017-12-31
State | Washington
Comments: | Tag | filed

## Customer Analysis
| Washington | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by operating area customer counts
|  |  | 2017-12-29 03:39 | through | 2018-12-31 13:00
| PacifiCorp Major Events Report Customer Analysis* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 16679 | 0.8778% | 9374919.907 | 125 | 1900047 | 34 | 5646 | 10504 | 524 | 5 | 0 | 0 | 33.85% | 4.934 | 0.0087782 | 562.0793
PP | Pacific Power | 16679 | 2.14% | 9374919.907 | 125 | 779477 | 34 | 5646 | 10504 | 524 | 5 | 0 | 0 | 33.85% | 12.0272 | 0.021398 | 562.0793
WA | Washington | 16679 | 12.43% | 9374919.907 | 125 | 134194 | 34 | 5646 | 10504 | 524 | 5 | 0 | 0 | 33.85% | 69.8609 | 0.12429 | 562.0793
WA | SUNNYSIDE | 144 | 0.5872% | 6361.214 | 2 | 24522 | 0 | 144 | 0 | 0 | 0 | 0 | 0 | 100% | 0.25941 | 0.0058723 | 44.1751
WA | WALLA WALLA | 13113 | 46.19% | 8743687.629 | 111 | 28387 | 34 | 3283 | 9338 | 487 | 5 | 0 | 0 | 25.04% | 308.0173 | 0.46194 | 666.7954
WA | YAKIMA | 3422 | 4.21% | 624871.064 | 12 | 81281 | 0 | 2219 | 1166 | 37 | 0 | 0 | 0 | 64.85% | 7.6878 | 0.042101 | 182.6041
*Only current event specific metric impact shown. Does not include values from other events which may have occurred in other regions during the same time period.
|  | Customer Interrupted by Date |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by state customer counts
|  |  | 2017-12-29 03:39 | through | 2018-12-31 13:00 |  |  |  | Customers Restored by Intervals
| Date* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
| 2017-12-29 | 13711 | 10.22% | 8784566.496 | 63 | 134194 | 13 | 3256 | 9974 | 476 | 5 | 0 | 0 | 23.75% | 65.4617 | 0.10217 | 640.6948
| 2017-12-30 | 712 | 0.5306% | 296769.628 | 47 | 134194 | 0 | 322 | 379 | 11 | 0 | 0 | 0 | 45.22% | 2.2115 | 0.0053058 | 416.8113
| 2017-12-31 | 2256 | 1.681% | 293583.783 | 15 | 134194 | 21 | 2068 | 151 | 37 | 0 | 0 | 0 | 91.67% | 2.1878 | 0.016811 | 130.1347
Data as of
2018-02-01

## SSC by State
| Washington | Event |  | 2017-12-29 03:39 | through | 2018-12-31 13:00 |  | Month |  | 2017-12-01 | through | 2017-12-31 |  | YTD | FY2019 | 2017-01-01 | through | 2017-12-31
|  | Major Events Included |  |  | Major Event Excluded |  |  | Major Events Included |  |  | Major Events Excluded* |  |  | Major Events Included |  |  | Major Events Excluded*
| PacifiCorp Major Events Report SSC by State | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 5.8031 | 0.01311 | 442.6392 | 0.35994 | 0.003672 | 98.023 | 13.2274 | 0.069292 | 190.893 | 7.7842 | 0.059854 | 130.0537 | 227.6575 | 1.5338 | 148.4274 | 129.3337 | 1.1862 | 109.0279
PP | Pacific Power | 14.0313 | 0.030563 | 459.0976 | 0.76314 | 0.0075563 | 100.9929 | 20.2267 | 0.081171 | 249.1855 | 6.9585 | 0.058165 | 119.6344 | 324.6374 | 1.912 | 169.7867 | 114.411 | 1.2043 | 94.9993
WA | Washington | 69.8609 | 0.12429 | 562.0793 | 0 | 0 | 0 | 74.4737 | 0.16411 | 453.8152 | 4.6127 | 0.039815 | 115.8523 | 253.3813 | 1.2281 | 206.3193 | 114.0813 | 0.76049 | 150.0105
WA | PORTLAND | 0 | 0 | 0 | 0 | 0 | 0 | 0.0029808 | 7.4519e-06 | 400 | 0.0029808 | 7.4519e-06 | 400 | 0.012393 | 4.4711e-05 | 277.1667 | 0.012393 | 4.4711e-05 | 277.1667
WA | SUNNYSIDE | 0.047403 | 0.0010731 | 44.1751 | 0 | 0 | 0 | 1.1555 | 0.014412 | 80.1779 | 1.1081 | 0.013339 | 83.0742 | 51.8915 | 0.207 | 250.6848 | 24.9645 | 0.14916 | 167.3619
WA | WALLA WALLA | 65.1571 | 0.097717 | 666.7954 | 0 | 0 | 0 | 66.0769 | 0.10652 | 620.2955 | 0.91984 | 0.0088081 | 104.4304 | 106.2815 | 0.38629 | 275.1329 | 13.411 | 0.10102 | 132.7589
WA | YAKIMA | 4.6565 | 0.0255 | 182.6041 | 0 | 0 | 0 | 7.2383 | 0.043161 | 167.7021 | 2.5818 | 0.017661 | 146.1854 | 95.1959 | 0.63477 | 149.9697 | 75.6934 | 0.51026 | 148.3424
*may include other regional major event exclusions during the same period. Operating areas are calculated by the state frozen customer count metrics.
Data as/of
2018-02-01