## Legend
Date
Data as/of | 2018-04-02
Fiscal Year | FY2019
Event Begin Date/Time | 2018-03-09 | Event Begin Time
Event End Date/Time | 2018-03-10 | Event End Time
Month Begin | 2018-03-01
Month End | 2018-03-31
Year Begin | 2018-01-01
Year End | 2018-03-31
State | Sunnyside, Washington
Comments: | Tag | filed

## Customer Analysis
| Sunnyside, Washington | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by operating area customer counts
|  |  | 2018-03-09 | through | 2018-03-10
| PacifiCorp Major Events Report Customer Analysis* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
PC | PacifiCorp | 14886 | 0.7699% | 528423.6 | 14 | 1933597 | 0 | 14886 | 0 | 0 | 0 | 0 | 0 | 100% | 0.27329 | 0.0076986 | 35.498
PP | Pacific Power | 14886 | 1.884% | 528423.6 | 14 | 790086 | 0 | 14886 | 0 | 0 | 0 | 0 | 0 | 100% | 0.66882 | 0.018841 | 35.498
WA | Washington | 14886 | 10.98% | 528423.6 | 14 | 135581 | 0 | 14886 | 0 | 0 | 0 | 0 | 0 | 100% | 3.8975 | 0.10979 | 35.498
WA | Sunnyside | 14886 | 60.14% | 528423.6 | 14 | 24752 | 0 | 14886 | 0 | 0 | 0 | 0 | 0 | 100% | 21.3487 | 0.60141 | 35.498
*Only current event specific metric impact shown. Does not include values from other events which may have occurred in other regions during the same time period.
|  | Customer Interrupted by Date |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by state customer counts
|  |  | 2018-03-09 | through | 2018-03-10 |  |  |  | Customers Restored by Intervals
| Date* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
| 2018-03-09 | 14886 | 10.98% | 528423.6 | 14 | 135581 | 0 | 14886 | 0 | 0 | 0 | 0 | 0 | 100% | 3.8975 | 0.10979 | 35.498
Data as of
2018-04-02

## SSC by State
| Sunnyside, Washington | Event |  | 2018-03-09 | through | 2018-03-10 |  | Month |  | 2018-03-01 | through | 2018-03-31 |  | YTD | FY2019 | 2018-01-01 | through | 2018-03-31
|  | Major Events Included |  |  | Major Event Excluded |  |  | Major Events Included |  |  | Major Events Excluded* |  |  | Major Events Included |  |  | Major Events Excluded*
| PacifiCorp Major Events Report SSC by State | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PC | PacifiCorp | 0.46374 | 0.0094477 | 49.0849 | 0.19045 | 0.0017491 | 108.8879 | 12.0011 | 0.098709 | 121.5814 | 11.3118 | 0.090101 | 125.5458 | 26.3401 | 0.22736 | 115.8521 | 25.6018 | 0.21657 | 118.2138
PP | Pacific Power | 0.76972 | 0.019752 | 38.9688 | 0.10091 | 0.00091129 | 110.7279 | 12.4273 | 0.089157 | 139.3862 | 10.7402 | 0.068091 | 157.733 | 29.1382 | 0.23668 | 123.1137 | 27.3313 | 0.21028 | 129.9783
WA | Washington | 4.065 | 0.11196 | 36.3088 | 0.16748 | 0.0021611 | 77.4995 | 12.4445 | 0.15872 | 78.4035 | 8.5471 | 0.04893 | 174.6788 | 31.8376 | 0.30657 | 103.8513 | 27.2421 | 0.16569 | 164.4191
WA | Sunnyside | 3.8975 | 0.10979 | 35.498 | 0 | 0 | 0 | 5.1648 | 0.12009 | 43.0076 | 1.2673 | 0.010296 | 123.0841 | 9.2455 | 0.14229 | 64.9761 | 5.3481 | 0.032497 | 164.5698
WA | Walla Walla | 0.06695 | 0.00080395 | 83.2768 | 0.06695 | 0.00080395 | 83.2768 | 0.25827 | 0.0025962 | 99.4793 | 0.25827 | 0.0025962 | 99.4793 | 5.9074 | 0.071153 | 83.0234 | 5.2093 | 0.040065 | 130.0228
WA | Yakima | 0.10053 | 0.0013571 | 74.077 | 0.10053 | 0.0013571 | 74.077 | 7.0215 | 0.036037 | 194.8377 | 7.0215 | 0.036037 | 194.8377 | 16.6847 | 0.093125 | 179.1646 | 16.6847 | 0.093125 | 179.1646
*may include other regional major event exclusions during the same period. Operating areas are calculated by the state frozen customer count metrics.
Data as/of
2018-04-02