## Legend
Date
Data as/of | 2021-09-10
Fiscal Year | FY2022
Event Begin Date/Time | 2021-08-21 | Event Begin Time
Event End Date/Time | 2021-08-22 | Event End Time
Month Begin | 2021-08-01
Month End | 2021-08-31
Year Begin | 2021-01-01
Year End | 2021-08-31
State | Walla Walla, WA
Comments: | Tag | filed

## Customer Analysis
| Walla Walla, WA | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by operating area customer counts
|  |  | 2021-08-21 | to | 2021-08-22
| PacifiCorp Major Events Report Customer Analysis* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 7314 | 0.3621% | 762126.554 | 5 | 2019764 | 0 | 6470 | 844 | 0 | 0 | 0 | 0 | 88.46% | 0.37733 | 0.0036212 | 104.2011
PP | Pacific Power | 7314 | 0.906% | 762126.554 | 5 | 807241 | 0 | 6470 | 844 | 0 | 0 | 0 | 0 | 88.46% | 0.94411 | 0.0090605 | 104.2011
WA | Washington | 7314 | 5.345% | 762126.554 | 5 | 136841 | 0 | 6470 | 844 | 0 | 0 | 0 | 0 | 88.46% | 5.5694 | 0.053449 | 104.2011
WA | WALLA WALLA | 7314 | 25.85% | 762126.554 | 5 | 28298 | 0 | 6470 | 844 | 0 | 0 | 0 | 0 | 88.46% | 26.9322 | 0.25846 | 104.2011
*Only current event specific metric impact shown. Does not include values from other events which may have occurred in other regions during the same time period.
|  | Customer Interrupted by Date |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by state customer counts
|  |  | 2021-08-21 | through | 2021-08-22 |  |  |  | Customers Restored by Intervals
| Date* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
| 2021-08-21 | 7314 | 5.345% | 762126.554 | 5 | 136841 | 0 | 6470 | 844 | 0 | 0 | 0 | 0 | 88.46% | 5.5694 | 0.053449 | 104.2011
Data as of
2021-09-10

## SSC by State
| Walla Walla, WA | Event |  | 2021-08-21 | to | 2021-08-22 |  | Month |  | 2021-08-01 | through | 2021-08-31 |  | YTD | FY2022 | 2021-01-01 | through | 2021-08-31
|  | Major Events Included |  |  | Major Event Excluded |  |  | Major Events Included |  |  | Major Events Excluded* |  |  | Major Events Included |  |  | Major Events Excluded*
| PacifiCorp Major Events Report SSC by State | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 1.4974 | 0.010166 | 147.3015 | 1.1201 | 0.0065443 | 171.1505 | 15.027 | 0.11123 | 135.0938 | 13.9505 | 0.10262 | 135.9415 | 186.9124 | 0.92293 | 202.5202 | 78.4367 | 0.66163 | 118.5503
PP | Pacific Power | 1.2585 | 0.010484 | 120.0416 | 0.31439 | 0.0014234 | 220.8752 | 14.8719 | 0.097888 | 151.9276 | 12.1784 | 0.076339 | 159.5304 | 331.1403 | 1.1533 | 287.1134 | 67.4593 | 0.5392 | 125.109
WA | Washington | 6.3927 | 0.059609 | 107.2428 | 0.82324 | 0.0061604 | 133.6335 | 12.4852 | 0.10604 | 117.7457 | 6.9158 | 0.052587 | 131.5124 | 95.1939 | 0.61108 | 155.7793 | 60.7357 | 0.46047 | 131.8998
WA | SUNNYSIDE | 0 | 0 | 0 | 0 | 0 | 0 | 0.5144 | 0.0028062 | 183.3082 | 0.5144 | 0.0028062 | 183.3082 | 34.6795 | 0.14064 | 246.5748 | 5.8163 | 0.043781 | 132.8499
WA | WALLA WALLA | 5.5694 | 0.053449 | 104.2011 | 0 | 0 | 0 | 7.6048 | 0.075613 | 100.5753 | 2.0354 | 0.022164 | 91.8319 | 16.7565 | 0.19925 | 84.0968 | 11.1804 | 0.14577 | 76.7004
WA | YAKIMA | 0.82324 | 0.0061604 | 133.6335 | 0.82324 | 0.0061604 | 133.6335 | 4.366 | 0.027616 | 158.0965 | 4.366 | 0.027616 | 158.0965 | 43.7578 | 0.27118 | 161.3588 | 43.739 | 0.27092 | 161.4461
*may include other regional major event exclusions during the same period. Operating areas are calculated by the state frozen customer count metrics.
Data as/of
2021-09-10