## READ ME
Input Tabs | All tabs include update to the period of 2023-2043
1. Updated tab [Energy Prices].
As provided for in WAC 480-106-040(1)(a), the estimated Avoided Energy Costs are based upon PSE's most current forecast of market prices for electricity in its two-year progress report on the 2021 IRP in accordance with WAC 480-100-625(4). See link below for the assumptions and discussions that was presented to the IRP stakeholder group at the 9/13/2022 webinar:
https://www.pse.com/-/media/PDFs/IRP/2022/09132022/2022-0913-GenericResourcesCostAdjustments.xlsx?sc_lang=en&modified=20220906182622&hash=19A798C1290BD3404E523AE625661F9E
2. [Capacity Delivered] tab
Basis for assumptions in this table is PSE's 2021 IRP and as in last Schedule 91 tariff update
Capacity Cost: Appendix G, Figure 35, page G-60
Effective Load Carrying Capably (ELCC): Chapter 7, Figure 7-17 Page 7-28 for "Generic WA East Wind" and "Generic WA East Solar" for Year 2027
Net Capacity Factor (NCF) Appendix D
Solar NCF: Figure D-27, page D-56, Capacity Factor for "Utility Solar WA East"
Wind NCF: Figure D-29, page D-62, Capacity Factor for "On-Shore Wind SE Wash."
3. Avoided capacity cost tabs for:[Baseload Avoided Capacity Calcs], [Wind Avoided Cost Calcs], and [Solar Avoided Cost Calcs]
| Deferred T&D Cost Credit ($/kW-yr) | 13.5796 | The $13.58/kW per year for 2023 (i.e., $12.93/kW per year inflation adjusted for 2021 or $12.61/kW per year levelized 2020 dollar). The $12.61/kW per year value is PSE’s own estimated total T&D capacity deferral costs. The costs are determined based upon PSE’s T&D upgrade projects from 2010 to 2020.
| NW Power Act Regional Credit | 0% | Conservation benefit not used
| Nominal Discount Rate | 7.39% | No Change
| GDP Inflation | 2.5% | Inflation rate
The avoided capacity cost is comprised of the capacity benefit and the T&D deferral benefit.
Avoided cost is converted from $/KW to $/MWh based on the Effective Load Carrying Capability (ELCC) and the net capacity factor (NCF) of each type of resource.
The results in column W reflects the annual cost and column X the levelized cost based on the number of years in the calculation.
4. [FlatLoadShapeEnergy_perMWH] tab calculates the levelized cost of energy.
Column I is fed from the [Energy Prices] tab
The benefit of the avoided cost of transmission line losses since the energy is delivered to PSE distribution system is in column J.
Columns N and O are the present value and the cumulative present value respectively of the energy that is used to calculated the levelized cost in column P.
5. [Electric EES CE Std Energy] tab: Summarizing the information from [FlatLoadShapeEnergy_perMWH] tab
Column D converes the Flat Load Shape Energy from $/MWh to $/kWh.
6. All the output tabs indicate the proposed • Schedule 91 Standard Fixed Rates for baseload, solar and wind varied by number of years -- 5, 10 and 15.
Row 5 shows the Total Avoided Cost levelized cost
Cell L6 includes the reserve requirement.
Row 9 is the levelized cost over the time period.
Row 13 shows the results of converting the levelized cost stream to escalating price stream.
7. [Output Summary] tab summarizes the proposed Schedule 91 Standard Fixed Rates in this filing.
8. Input update from the 2021 Schedule 91 filing inlcudes: Electricity Market Prices

## Comparison
Comparison to the last filing inputs and results
Pricing
| 2023 Sched 91 |  | 2022 Sched 91
2023 | 37.0037 | 2021 | 22.85
2024 | 34.5965 | 2022 | 21.19
2025 | 35.0704 | 2023 | 20.53
2026 | 37.5402 | 2024 | 19.79
2027 | 42.0012 | 2025 | 19.75
2028 | 43.4203 | 2026 | 19.97
2029 | 43.6215 | 2027 | 23.19
2030 | 43.1064 | 2028 | 24.42
2031 | 43.3477 | 2029 | 25.44
2032 | 44.05 | 2030 | 25.05
2033 | 46.0767 | 2031 | 24.78
2034 | 46.8428 | 2032 | 25.38
2035 | 49.5688 | 2033 | 26.69
2036 | 50.0458 | 2034 | 27.4
2037 | 51.4509 | 2035 | 28.25
2038 | 51.9295 | 2036 | 29.71
2039 | 53.7366 | 2037 | 29.43
2040 | 54.4459 | 2038 | 29.33
2041 | 57.1134 | 2039 | 29.12
2042 | 59.2725 | 2040 | 29.38
2043 | 61.1604 | 2041 | 30.3949
20 yr Levelized Price | 43.5096 |  | 23.8241
Capacity ELCC
Frame peaker | 100% |  | 100%
Wind | 17.8% |  | 17.8%
Solar | 4% |  | 4%
Net Capacity Factor
Wind | 36.7% |  | 36.7%
Solar | 24.2% |  | 24.2%
Cost of Capacity $/KW
2021 | 95.27 | 2020 | 95.27
2022 | 95.27 | 2021 | 95.27
2023 | 95.27 | 2022 | 95.27
2024 | 95.27 | 2023 | 95.27
2025 | 95.27 | 2024 | 95.27
2026 | 95.27 | 2025 | 95.27
2027 | 95.27 | 2026 | 95.27
2028 | 95.27 | 2027 | 95.27
2029 | 95.27 | 2028 | 95.27
2030 | 95.27 | 2029 | 95.27
2031 | 95.27 | 2030 | 95.27
2032 | 95.27 | 2031 | 95.27
2033 | 95.27 | 2032 | 95.27
2034 | 95.27 | 2033 | 95.27
2035 | 95.27 | 2034 | 95.27
2036 | 95.27 | 2035 | 95.27
2037 | 95.27 | 2036 | 95.27
2038 | 95.27 | 2037 | 95.27
2039 | 95.27 | 2038 | 95.27
2040 | 95.27 | 2039 | 95.27
2041 | 95.27 | 2040 | 95.27
T&D Deferral | 13.5796 |  | 12.93 | Change due to inflation
Results - Summarized
| Levelized |  | Levelized
Baseload - 5 year | 49.0496 |  | 30.8531
Baseload - 10 year | 51.7392 |  | 31.8525
Baseload - 15 year | 53.8329 |  | 32.8099
| Levelized |  | Levelized
Wind - 10 year | 46.3213 |  | 26.4198
Wind - 15 year | 48.4001 |  | 27.3772
| Levelized |  | Levelized
Solar - 10 year | 42.9577 |  | 23.0469
Solar - 15 year | 45.0272 |  | 24.0043

## Output - Summary
Schedule 91 -- Purchases from Qualifying Facilities of Five Megawatts or Less - Net Output Delivered to PSE's Distribution System
Summary - Levelized
Levelized
Baseload - 5 year | 49.0496
Baseload - 10 year | 51.7392
Baseload - 15 year | 53.8329
Levelized
Wind - 10 year | 46.3213
Wind - 15 year | 48.4001
Levelized
Solar - 10 year | 42.9577
Solar - 15 year | 45.0272
Summary - Escalating @ 2.5%
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
| 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039
Baseload - 5 year | 1 2023: 46.822; 2 2024: 47.9926; 3 2025: 49.1924; 4 2026: 50.4222; 5 2027: 51.6827; 6 2028: 52.9748; 7 2029: 54.2992
Baseload - 10 year | 46.854 | 48.0253 | 49.226 | 50.4566 | 51.718 | 53.011 | 54.3362 | 55.6946 | 57.087 | 58.5142 | 59.977 | 61.4765
Baseload - 15 year | 46.5182 | 47.6812 | 48.8732 | 50.095 | 51.3474 | 52.6311 | 53.9469 | 55.2955 | 56.6779 | 58.0949 | 59.5472 | 61.0359 | 62.5618 | 64.1259 | 65.729 | 67.3722 | 69.0565
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
| 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039
Wind - 10 year | 41.9476 | 42.9963 | 44.0712 | 45.173 | 46.3023 | 47.4599 | 48.6464 | 49.8625 | 51.1091 | 52.3868 | 53.6965 | 55.0389
Wind - 15 year | 41.8236 | 42.8692 | 43.941 | 45.0395 | 46.1655 | 47.3196 | 48.5026 | 49.7152 | 50.9581 | 52.232 | 53.5378 | 54.8762 | 56.2482 | 57.6544 | 59.0957 | 60.5731 | 62.0874
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
| 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039
Solar - 10 year | 38.9016 | 39.8741 | 40.871 | 41.8927 | 42.9401 | 44.0136 | 45.1139 | 46.2417 | 47.3978 | 48.5827 | 49.7973 | 51.0422
Solar - 15 year | 38.9091 | 39.8818 | 40.8788 | 41.9008 | 42.9483 | 44.022 | 45.1226 | 46.2507 | 47.4069 | 48.5921 | 49.8069 | 51.0521 | 52.3284 | 53.6366 | 54.9775 | 56.3519 | 57.7607

## Output - 5yr Baseload
Schedule 91 -- Purchases from Qualifying Facilities of Five Megawatts or Less
Baseload
| Annual Energy Savings in kWh | Measure Life | Capacity Factor | Measure Type | Avoided Cost of Energy | Avoided Cost of Capacity | Total Avoided Cost | $/kWh | $/MWh
|  | 5 | 100% | Flat | 0.038067 | 0.0125 | 0.050567 | 0.050567 | 50.5666
[5 empty] | 38.0671 | 12.4995 | 50.5666 | 50.5666 | 49.0496 | 3% | "Contingency Reserves" per WECC 10/1/2014
checksum
| Constant Nominal |  | 49.0496 | 49.0496 | 49.0496 | 49.0496 | 49.0496 |  |  |  |  | 199.0302 | 49.0496
| Escalated Rate @ 2.5% |  | 1 | 2 | 3 | 4 | 5 | 6 | 7
|  |  | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 |  |  | checksum
| Schedule 91 Rates for Purchase of Energy - Baseload |  | 46.822 | 47.9926 | 49.1924 | 50.4222 | 51.6827 | 52.9748 | 54.2992 |  |  | 199.0302 | 49.0496
Equivalent w/ 2.5% Increase
checksum
| 2.5 Percent Increase |  | 100 | 102.5 | 105.0625 | 107.6891 | 110.3813 |  |  |  |  | 425.0784 | 104.7576
| 2.5 Percent Index |  | 0.95459 | 0.97845 | 1.0029 | 1.028 | 1.0537 |  |  |  |  | 4.0577 | 1
Notes
1 | This Schedule 91 standard rate model is based upon the cost effectiveness standard model that has been used for evaluating individual measures of PSE's Energy Efficiency Services program.
2 | Power prices have been updated to reflect PSE's latest forecast that will be consistent with the 2023 Electric Progress Rereport.
3 | This model accounts for both avoided energy costs and avoided capacity costs.
4 | Base load resources assumes 100% ELCC and 100% capacity factor for the pricing.
5 | The value of a measure increases with its measured life. The Power Purchase Agreement (PPA) length under Schedule 91 are five, ten and fifteen years, analogous to a five, ten and fifteen year measure life respectively.
6 | For each type of resource the final output of this calculation is a levelized price that does not vary from year to year (see cell L5).
7 | Unlike a conservation project, a PPA requires spinning reserves which are deducted above at the rate of 3% (see cell M6).
8 | PSE currently makes no deduction for balancing related costs as such costs could not be currently identified.
9 | The final levelized price is adjusted to create a Fixed Price option that increases by 2.5% each year, which maintains the same value to PSE while increasing the value to the customer-generator over time.
10 | The proposed strip is highlighted in yellow above.
11 | An additional two years are added to the strip to accommodate projects that sign the PPA in the year following the "current year."

## Output - 10yr Baseload
Schedule 91 -- Purchases from Qualifying Facilities of Five Megawatts or Less
Baseload
| Annual Energy Savings in kWh | Measure Life | Capacity Factor | Measure Type | Avoided Cost of Energy | Avoided Cost of Capacity | Total Avoided Cost | $/kWh | $/MWh
|  | 10 | 100% | Flat | 0.040786 | 0.012553 | 0.053339 | 0.053339 | 53.3394
[5 empty] | 40.7864 | 12.553 | 53.3394 | 53.3394 | 51.7392 | 3% | "Contingency Reserves" per WECC 10/1/2014
checksum
| Constant Nominal |  | 51.7392 | 51.7392 | 51.7392 | 51.7392 | 51.7392 | 51.7392 | 51.7392 | 51.7392 | 51.7392 | 51.7392 |  |  | 356.9329 | 51.7392
| Escalated Rate @ 2.5% |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  |  | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | checksum
| Schedule 91 Rates for Purchase of Energy - Baseload |  | 46.854 | 48.0253 | 49.226 | 50.4566 | 51.718 | 53.011 | 54.3362 | 55.6946 | 57.087 | 58.5142 | 59.977 | 61.4765 | 356.9329 | 51.7392
Equivalent w/ 2.5% Increase
checksum
| 2.5 Percent Increase |  | 100 | 102.5 | 105.0625 | 107.6891 | 110.3813 | 113.1408 | 115.9693 | 118.8686 | 121.8403 | 124.8863 |  |  | 761.7986 | 110.4265
| 2.5 Percent Index |  | 0.90558 | 0.92822 | 0.95142 | 0.97521 | 0.99959 | 1.0246 | 1.0502 | 1.0764 | 1.1034 | 1.1309 |  |  | 6.8987 | 1
Notes
1 | This Schedule 91 standard rate model is based upon the cost effectiveness standard model that has been used for evaluating individual measures of PSE's Energy Efficiency Services program.
2 | Power prices have been updated to reflect PSE's latest forecast that will be consistent with the 2023 Electric Progress Rereport.
3 | This model accounts for both avoided energy costs and avoided capacity costs.
4 | Base load resources assumes 100% ELCC and 100% capacity factor for the pricing.
5 | The value of a measure increases with its measured life. The Power Purchase Agreement (PPA) length under Schedule 91 are five, ten and fifteen years, analogous to a five, ten and fifteen year measure life respectively.
6 | For each type of resource the final output of this calculation is a levelized price that does not vary from year to year (see cell L5).
7 | Unlike a conservation project, a PPA requires spinning reserves which are deducted above at the rate of 3% (see cell M6).
8 | PSE currently makes no deduction for balancing related costs as such costs could not be currently identified.
9 | The final levelized price is adjusted to create a Fixed Price option that increases by 2.5% each year, which maintains the same value to PSE while increasing the value to the customer-generator over time.
10 | The proposed strip is highlighted in yellow above.
11 | An additional two years are added to the strip to accommodate projects that sign the PPA in the year following the "current year."

## Output - 15yr Baseload
Schedule 91 -- Purchases from Qualifying Facilities of Five Megawatts or Less
Baseload
| Annual Energy Savings in kWh | Measure Life | Capacity Factor | Measure Type | Avoided Cost of Energy | Avoided Cost of Capacity | Total Avoided Cost | $/kWh | $/MWh
|  | 15 | 100% | Flat | 0.042828 | 0.01267 | 0.055498 | 0.055498 | 55.4978
[5 empty] | 42.8283 | 12.6695 | 55.4978 | 55.4978 | 53.8329 | 3% | "Contingency Reserves" per WECC 10/1/2014
checksum
| Constant Nominal |  | 53.8329 | 53.8329 | 53.8329 | 53.8329 | 53.8329 | 53.8329 | 53.8329 | 53.8329 | 53.8329 | 53.8329 | 53.8329 | 53.8329 | 53.8329 | 53.8329 | 53.8329 |  |  | 478.4523 | 53.8329
| Escalated Rate @ 2.5% |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
|  |  | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | checksum
| Schedule 91 Rates for Purchase of Energy - Baseload |  | 46.5182 | 47.6812 | 48.8732 | 50.095 | 51.3474 | 52.6311 | 53.9469 | 55.2955 | 56.6779 | 58.0949 | 59.5472 | 61.0359 | 62.5618 | 64.1259 | 65.729 | 67.3722 | 69.0565 | 478.4523 | 53.8329
Equivalent w/ 2.5% Increase
checksum
| 2.5 Percent Increase |  | 100 | 102.5 | 105.0625 | 107.6891 | 110.3813 | 113.1408 | 115.9693 | 118.8686 | 121.8403 | 124.8863 | 128.0085 | 131.2087 | 134.4889 | 137.8511 | 141.2974 |  |  | 1028.527 | 115.7243
| 2.5 Percent Index |  | 0.86412 | 0.88573 | 0.90787 | 0.93057 | 0.95383 | 0.97768 | 1.0021 | 1.0272 | 1.0529 | 1.0792 | 1.1062 | 1.1338 | 1.1621 | 1.1912 | 1.221 |  |  | 8.8877 | 1
Notes
1 | This Schedule 91 standard rate model is based upon the cost effectiveness standard model that has been used for evaluating individual measures of PSE's Energy Efficiency Services program.
2 | Power prices have been updated to reflect PSE's latest forecast that will be consistent with the 2023 Electric Progress Rereport.
3 | This model accounts for both avoided energy costs and avoided capacity costs.
4 | Base load resources assumes 100% ELCC and 100% capacity factor for the pricing.
5 | The value of a measure increases with its measured life. The Power Purchase Agreement (PPA) length under Schedule 91 are five, ten and fifteen years, analogous to a five, ten and fifteen year measure life respectively.
6 | For each type of resource the final output of this calculation is a levelized price that does not vary from year to year (see cell L5).
7 | Unlike a conservation project, a PPA requires spinning reserves which are deducted above at the rate of 3% (see cell M6).
8 | PSE currently makes no deduction for balancing related costs as such costs could not be currently identified.
9 | The final levelized price is adjusted to create a Fixed Price option that increases by 2.5% each year, which maintains the same value to PSE while increasing the value to the customer-generator over time.
10 | The proposed strip is highlighted in yellow above.
11 | An additional two years are added to the strip to accommodate projects that sign the PPA in the year following the "current year."

## Output - 10yr Wind
Schedule 91 -- Purchases from Qualifying Facilities of Five Megawatts or Less
Wind
| Annual Energy Savings in kWh | Measure Life | Capacity Factor | Measure Type | Avoided Cost of Energy | Avoided Cost of Capacity | Total Avoided Cost | $/kWh | $/MWh
|  | 10 | 17.8% | Flat | 0.040786 | 0.0069675 | 0.047754 | 0.047754 | 47.7539
[5 empty] | 40.7864 | 6.9675 | 47.7539 | 47.7539 | 46.3213 | 3% | "Contingency Reserves" per WECC 10/1/2014
checksum
| Constant Nominal |  | 46.3213 | 46.3213 | 46.3213 | 46.3213 | 46.3213 | 46.3213 | 46.3213 | 46.3213 | 46.3213 | 46.3213 |  |  | 319.5564 | 46.3213
| Escalated Rate @ 2.5% |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  |  | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | checksum
| Schedule 91 Rates for Purchase of Energy - Wind |  | 41.9476 | 42.9963 | 44.0712 | 45.173 | 46.3023 | 47.4599 | 48.6464 | 49.8625 | 51.1091 | 52.3868 | 53.6965 | 55.0389 | 319.5564 | 46.3213
Equivalent w/ 2.5% Increase
checksum
| 2.5 Percent Increase |  | 100 | 102.5 | 105.0625 | 107.6891 | 110.3813 | 113.1408 | 115.9693 | 118.8686 | 121.8403 | 124.8863 |  |  | 761.7986 | 110.4265
| 2.5 Percent Index |  | 0.90558 | 0.92822 | 0.95142 | 0.97521 | 0.99959 | 1.0246 | 1.0502 | 1.0764 | 1.1034 | 1.1309 |  |  | 6.8987 | 1
Notes
1 | This Schedule 91 standard rate model is based upon the cost effectiveness standard model that has been used for evaluating individual measures of PSE's Energy Efficiency Services program.
2 | Power prices have been updated to reflect PSE's latest forecast that will be consistent with the 2023 Electric Progress Rereport.
3 | This model accounts for both avoided energy costs and avoided capacity costs.
4 | Wind capacity factor and ELCC is based on 2021 IRP Figure D-29 and Figure 7-17 respectively
5 | The value of a measure increases with its measured life. The Power Purchase Agreement (PPA) length under Schedule 91 are five, ten and fifteen years, analogous to a five, ten and fifteen year measure life respectively.
6 | For each type of resource the final output of this calculation is a levelized price that does not vary from year to year (see cell L5).
7 | Unlike a conservation project, a PPA requires spinning reserves which are deducted above at the rate of 3% (see cell M6).
8 | PSE currently makes no deduction for balancing related costs as such costs could not be currently identified.
9 | The final levelized price is adjusted to create a Fixed Price option that increases by 2.5% each year, which maintains the same value to PSE while increasing the value to the customer-generator over time.
10 | The proposed strip is highlighted in yellow above.
11 | An additional two years are added to the strip to accommodate projects that sign the PPA in the year following the "current year."

## Output - 15yr Wind
Schedule 91 -- Purchases from Qualifying Facilities of Five Megawatts or Less
Wind
| Annual Energy Savings in kWh | Measure Life | Capacity Factor | Measure Type | Avoided Cost of Energy | Avoided Cost of Capacity | Total Avoided Cost | $/kWh | $/MWh
|  | 15 | 17.8% | Flat | 0.042828 | 0.0070687 | 0.049897 | 0.049897 | 49.897
[5 empty] | 42.8283 | 7.0687 | 49.897 | 49.897 | 48.4001 | 3% | "Contingency Reserves" per WECC 10/1/2014
checksum
| Constant Nominal |  | 48.4001 | 48.4001 | 48.4001 | 48.4001 | 48.4001 | 48.4001 | 48.4001 | 48.4001 | 48.4001 | 48.4001 | 48.4001 | 48.4001 | 48.4001 | 48.4001 | 48.4001 |  |  | 430.1675 | 48.4001
| Escalated Rate @ 2.5% |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
|  |  | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | checksum
| Schedule 91 Rates for Purchase of Energy - Wind |  | 41.8236 | 42.8692 | 43.941 | 45.0395 | 46.1655 | 47.3196 | 48.5026 | 49.7152 | 50.9581 | 52.232 | 53.5378 | 54.8762 | 56.2482 | 57.6544 | 59.0957 | 60.5731 | 62.0874 | 430.1675 | 48.4001
Equivalent w/ 2.5% Increase
checksum
| 2.5 Percent Increase |  | 100 | 102.5 | 105.0625 | 107.6891 | 110.3813 | 113.1408 | 115.9693 | 118.8686 | 121.8403 | 124.8863 | 128.0085 | 131.2087 | 134.4889 | 137.8511 | 141.2974 |  |  | 1028.527 | 115.7243
| 2.5 Percent Index |  | 0.86412 | 0.88573 | 0.90787 | 0.93057 | 0.95383 | 0.97768 | 1.0021 | 1.0272 | 1.0529 | 1.0792 | 1.1062 | 1.1338 | 1.1621 | 1.1912 | 1.221 |  |  | 8.8877 | 1
Notes
1 | This Schedule 91 standard rate model is based upon the cost effectiveness standard model that has been used for evaluating individual measures of PSE's Energy Efficiency Services program.
2 | Power prices have been updated to reflect PSE's latest forecast that will be consistent with the 2023 Electric Progress Rereport.
3 | This model accounts for both avoided energy costs and avoided capacity costs.
4 | Wind capacity factor and ELCC is based on 2021 IRP Figure D-29 and Figure 7-17 respectively
5 | The value of a measure increases with its measured life. The Power Purchase Agreement (PPA) length under Schedule 91 are five, ten and fifteen years, analogous to a five, ten and fifteen year measure life respectively.
6 | For each type of resource the final output of this calculation is a levelized price that does not vary from year to year (see cell L5).
7 | Unlike a conservation project, a PPA requires spinning reserves which are deducted above at the rate of 3% (see cell M6).
8 | PSE currently makes no deduction for balancing related costs as such costs could not be currently identified.
9 | The final levelized price is adjusted to create a Fixed Price option that increases by 2.5% each year, which maintains the same value to PSE while increasing the value to the customer-generator over time.
10 | The proposed strip is highlighted in yellow above.
11 | An additional two years are added to the strip to accommodate projects that sign the PPA in the year following the "current year."

## Output - 10yr Solar
Schedule 91 -- Purchases from Qualifying Facilities of Five Megawatts or Less
Solar
| Annual Energy Savings in kWh | Measure Life | Capacity Factor | Measure Type | Avoided Cost of Energy | Avoided Cost of Capacity | Total Avoided Cost | $/kWh | $/MWh
|  | 10 | 4% | Flat | 0.040786 | 0.0034998 | 0.044286 | 0.044286 | 44.2862
[5 empty] | 40.7864 | 3.4998 | 44.2862 | 44.2862 | 42.9577 | 3% | "Contingency Reserves" per WECC 10/1/2014
checksum
| Constant Nominal |  | 42.9577 | 42.9577 | 42.9577 | 42.9577 | 42.9577 | 42.9577 | 42.9577 | 42.9577 | 42.9577 | 42.9577 |  |  | 296.3516 | 42.9577
| Escalated Rate @ 2.5% |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  |  | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | checksum
| Schedule 91 Rates for Purchase of Energy - Solar |  | 38.9016 | 39.8741 | 40.871 | 41.8927 | 42.9401 | 44.0136 | 45.1139 | 46.2417 | 47.3978 | 48.5827 | 49.7973 | 51.0422 | 296.3516 | 42.9577
Equivalent w/ 2.5% Increase
checksum
| 2.5 Percent Increase |  | 100 | 102.5 | 105.0625 | 107.6891 | 110.3813 | 113.1408 | 115.9693 | 118.8686 | 121.8403 | 124.8863 |  |  | 761.7986 | 110.4265
| 2.5 Percent Index |  | 0.90558 | 0.92822 | 0.95142 | 0.97521 | 0.99959 | 1.0246 | 1.0502 | 1.0764 | 1.1034 | 1.1309 |  |  | 6.8987 | 1
Notes
1 | This Schedule 91 standard rate model is based upon the cost effectiveness standard model that has been used for evaluating individual measures of PSE's Energy Efficiency Services program.
2 | Power prices have been updated to reflect PSE's latest forecast that will be consistent with the 2023 Electric Progress Rereport.
3 | This model accounts for both avoided energy costs and avoided capacity costs.
4 | Solar capacity factor and ELCC is based on 2021 IRP Figure D-27 and Figure 7-17 respectively.
5 | The value of a measure increases with its measured life. The Power Purchase Agreement (PPA) length under Schedule 91 are five, ten and fifteen years, analogous to a five, ten and fifteen year measure life respectively.
6 | For each type of resource the final output of this calculation is a levelized price that does not vary from year to year (see cell L5).
7 | Unlike a conservation project, a PPA requires spinning reserves which are deducted above at the rate of 3% (see cell M6).
8 | PSE currently makes no deduction for balancing related costs as such costs could not be currently identified.
9 | The final levelized price is adjusted to create a Fixed Price option that increases by 2.5% each year, which maintains the same value to PSE while increasing the value to the customer-generator over time.
10 | The proposed strip is highlighted in yellow above.
11 | An additional two years are added to the strip to accommodate projects that sign the PPA in the year following the "current year."

## Output - 15yr Solar
Schedule 91 -- Purchases from Qualifying Facilities of Five Megawatts or Less
Solar
| Annual Energy Savings in kWh | Measure Life | Capacity Factor | Measure Type | Avoided Cost of Energy | Avoided Cost of Capacity | Total Avoided Cost | $/kWh | $/MWh
|  | 15 | 4% | Flat | 0.042828 | 0.0035916 | 0.04642 | 0.04642 | 46.4198
[5 empty] | 42.8283 | 3.5916 | 46.4198 | 46.4198 | 45.0272 | 3% | "Contingency Reserves" per WECC 10/1/2014
checksum
| Constant Nominal |  | 45.0272 | 45.0272 | 45.0272 | 45.0272 | 45.0272 | 45.0272 | 45.0272 | 45.0272 | 45.0272 | 45.0272 | 45.0272 | 45.0272 | 45.0272 | 45.0272 | 45.0272 |  |  | 400.1903 | 45.0272
| Escalated Rate @ 2.5% |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
|  |  | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | checksum
| Schedule 91 Rates for Purchase of Energy - Solar |  | 38.9091 | 39.8818 | 40.8788 | 41.9008 | 42.9483 | 44.022 | 45.1226 | 46.2507 | 47.4069 | 48.5921 | 49.8069 | 51.0521 | 52.3284 | 53.6366 | 54.9775 | 56.3519 | 57.7607 | 400.1903 | 45.0272
Equivalent w/ 2.5% Increase
checksum
| 2.5 Percent Increase |  | 100 | 102.5 | 105.0625 | 107.6891 | 110.3813 | 113.1408 | 115.9693 | 118.8686 | 121.8403 | 124.8863 | 128.0085 | 131.2087 | 134.4889 | 137.8511 | 141.2974 |  |  | 1028.527 | 115.7243
| 2.5 Percent Index |  | 0.86412 | 0.88573 | 0.90787 | 0.93057 | 0.95383 | 0.97768 | 1.0021 | 1.0272 | 1.0529 | 1.0792 | 1.1062 | 1.1338 | 1.1621 | 1.1912 | 1.221 |  |  | 8.8877 | 1
Notes
1 | This Schedule 91 standard rate model is based upon the cost effectiveness standard model that has been used for evaluating individual measures of PSE's Energy Efficiency Services program.
2 | Power prices have been updated to reflect PSE's latest forecast that will be consistent with the 2023 Electric Progress Rereport.
3 | This model accounts for both avoided energy costs and avoided capacity costs.
4 | Solar capacity factor and ELCC is based on 2021 IRP Figure D-27 and Figure 7-17 respectively.
5 | The value of a measure increases with its measured life. The Power Purchase Agreement (PPA) length under Schedule 91 are five, ten and fifteen years, analogous to a five, ten and fifteen year measure life respectively.
6 | For each type of resource the final output of this calculation is a levelized price that does not vary from year to year (see cell L5).
7 | Unlike a conservation project, a PPA requires spinning reserves which are deducted above at the rate of 3% (see cell M6).
8 | PSE currently makes no deduction for balancing related costs as such costs could not be currently identified.
9 | The final levelized price is adjusted to create a Fixed Price option that increases by 2.5% each year, which maintains the same value to PSE while increasing the value to the customer-generator over time.
10 | The proposed strip is highlighted in yellow above.
11 | An additional two years are added to the strip to accommodate projects that sign the PPA in the year following the "current year."

## Electric EES CE Std Energy
Levelized Cost Effectiveness Standard-Energy
Including
Transmission Line Loss Reduction [4] |  | 2.7%
Nominal Discount Rate |  | 7.39%
Measure Life | Flat ($/MWh) | Flat ($/kWh)
1 | 38.0029 | 0.038003
2 | 36.8108 | 0.036811
3 | 36.5649 | 0.036565
4 | 37.0103 | 0.03701
5 | 38.0671 | 0.038067
6 | 38.9704 | 0.03897
7 | 39.636 | 0.039636
8 | 40.0814 | 0.040081
9 | 40.4458 | 0.040446
10 | 40.7864 | 0.040786
11 | 41.1919 | 0.041192
12 | 41.5697 | 0.04157
13 | 42.0218 | 0.042022
14 | 42.4261 | 0.042426
15 | 42.8283 | 0.042828
16 | 43.1928 | 0.043193
17 | 43.5684 | 0.043568
18 | 43.9182 | 0.043918
19 | 44.2969 | 0.044297
20 | 44.6844 | 0.044684
21 | 45.0705 | 0.04507

## FlatLoadShapeEnergy_perMWh
|  |  | Year | Measure Life | Annual Weighted Average of Hourly Price | Transmission Line Loss Reduction | Planning Adjustment | Avoided Renewable Benefits | Conservation Credit | Present Value-Energy | Cumulative Present Value -Energy | Levelized Cost Effectiveness Standard-Energy
|  |  |  | (years) | ($/MWh) | ($/MWh) | ($/MWh) | ($/MWh) | ($/MWh) | ($/MWh) | ($/MWh) | ($/MWh)
| Transmission Line Loss Reduction [4] | 2.7% | [1] | [2] | [3] | [4] | [5] | [6] | [7] | [8] | [9] | [10]
| Nominal Discount Rate | 7.39% | 2023 | 1 | 37.0037 | 0.9991 | 0 | 0 | 0 | 35.3877 | 35.3877 | 38.0029
| GDP Inflation | 2.5% | 2024 | 2 | 34.5965 | 0.9341 | 0 | 0 | 0 | 30.8088 | 66.1965 | 36.8108
|  |  | 2025 | 3 | 35.0704 | 0.9469 | 0 | 0 | 0 | 29.0817 | 95.2782 | 36.5649
|  |  | 2026 | 4 | 37.5402 | 1.0136 | 0 | 0 | 0 | 28.9875 | 124.2657 | 37.0103
|  |  | 2027 | 5 | 42.0012 | 1.134 | 0 | 0 | 0 | 30.2004 | 154.4661 | 38.0671
|  |  | 2028 | 6 | 43.4203 | 1.1723 | 0 | 0 | 0 | 29.0724 | 183.5385 | 38.9704
|  |  | 2029 | 7 | 43.6215 | 1.1778 | 0 | 0 | 0 | 27.1972 | 210.7357 | 39.636
|  |  | 2030 | 8 | 43.1064 | 1.1639 | 0 | 0 | 0 | 25.0265 | 235.7623 | 40.0814
|  |  | 2031 | 9 | 43.3477 | 1.1704 | 0 | 0 | 0 | 23.4348 | 259.1971 | 40.4458
|  |  | 2032 | 10 | 44.05 | 1.1894 | 0 | 0 | 0 | 22.1757 | 281.3728 | 40.7864
|  |  | 2033 | 11 | 46.0767 | 1.2441 | 0 | 0 | 0 | 21.5998 | 302.9726 | 41.1919
|  |  | 2034 | 12 | 46.8428 | 1.2648 | 0 | 0 | 0 | 20.4478 | 323.4204 | 41.5697
|  |  | 2035 | 13 | 49.5688 | 1.3384 | 0 | 0 | 0 | 20.1488 | 343.5692 | 42.0218
|  |  | 2036 | 14 | 50.0458 | 1.3512 | 0 | 0 | 0 | 18.9428 | 362.512 | 42.4261
|  |  | 2037 | 15 | 51.4509 | 1.3892 | 0 | 0 | 0 | 18.1345 | 380.6465 | 42.8283
|  |  | 2038 | 16 | 51.9295 | 1.4021 | 0 | 0 | 0 | 17.0437 | 397.6902 | 43.1928
|  |  | 2039 | 17 | 53.7366 | 1.4509 | 0 | 0 | 0 | 16.4231 | 414.1133 | 43.5684
|  |  | 2040 | 18 | 54.4459 | 1.47 | 0 | 0 | 0 | 15.4948 | 429.6081 | 43.9182
|  |  | 2041 | 19 | 57.1134 | 1.5421 | 0 | 0 | 0 | 15.1355 | 444.7436 | 44.2969
|  |  | 2042 | 20 | 59.2725 | 1.6004 | 0 | 0 | 0 | 14.6267 | 459.3703 | 44.6844
|  |  | 2043 | 21 | 61.1604 | 1.6513 | 0 | 0 | 0 | 14.054 | 473.4243 | 45.0705
[4] | Transmission losses updated as per section 15.7 Real Power Losses, PSE Current Effective OATT 8.7.18.
http://www.oatioasis.com/webSmartOASIS/HomePage?ProviderName=PSEI&Homepage=1

## Baseload Avoided Capacity Calcs
|  |  | Year | Measure Life | Total Annual Capital & Fixed Costs of Capacity | NPV - Capacity | Cumulative Present Value CES-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Deferred T&D | Conservation Credit | NPV - Capacity | Cumulative Present Value CES-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity
|  |  |  | (years) | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | $ / MWh | $ / kWh | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | $ / MWh | $ / kWh | $ / MWh | $ / kWh
| Deferred T&D Cost Credit ($/kw-yr) (4): | 13.5796 | [1] | [2] | [3] | [6] | [7] | [8] | [9] | [10] | [4] | [5] | [6] | [7] | [8] | [9] | [10] | [9] | [10]
| NW Power Act Regional Credit (5): | 0% | 2023 | 1 | 95.27 | 88.714 | 88.714 | 95.27 | 10.8756 | 0.010876 | 13.5796 | 0 | 12.6451 | 12.6451 | 13.5796 | 1.5502 | 0.0015502 | 12.4258 | 0.012426
| Nominal Discount Rate (*): | 7.39% | 2024 | 2 | 95.27 | 82.6092 | 171.3232 | 95.27 | 10.8459 | 0.010846 | 13.9191 | 0 | 12.0693 | 24.7144 | 13.7433 | 1.5646 | 0.0015646 | 12.4104 | 0.01241
| Inflation (**): | 2.5% | 2025 | 3 | 95.27 | 76.9245 | 248.2477 | 95.27 | 10.8756 | 0.010876 | 14.2671 | 0 | 11.5197 | 36.2342 | 13.9056 | 1.5874 | 0.0015874 | 12.463 | 0.012463
|  |  | 2026 | 4 | 95.27 | 71.631 | 319.8787 | 95.27 | 10.8756 | 0.010876 | 14.6237 | 0 | 10.9952 | 47.2294 | 14.0664 | 1.6058 | 0.0016058 | 12.4813 | 0.012481
|  |  | 2027 | 5 | 95.27 | 66.7017 | 386.5804 | 95.27 | 10.8756 | 0.010876 | 14.9893 | 0 | 10.4945 | 57.7239 | 14.2256 | 1.6239 | 0.0016239 | 12.4995 | 0.0125
|  |  | 2028 | 6 | 95.27 | 62.1117 | 448.6921 | 95.27 | 10.8459 | 0.010846 | 15.3641 | 0 | 10.0167 | 67.7406 | 14.3832 | 1.6374 | 0.0016374 | 12.4833 | 0.012483
|  |  | 2029 | 7 | 95.27 | 57.8375 | 506.5295 | 95.27 | 10.8756 | 0.010876 | 15.7482 | 0 | 9.5606 | 77.3011 | 14.5391 | 1.6597 | 0.0016597 | 12.5353 | 0.012535
|  |  | 2030 | 8 | 95.27 | 53.8574 | 560.3869 | 95.27 | 10.8756 | 0.010876 | 16.1419 | 0 | 9.1252 | 86.4263 | 14.6931 | 1.6773 | 0.0016773 | 12.5529 | 0.012553
|  |  | 2031 | 9 | 95.27 | 50.1512 | 610.5382 | 95.27 | 10.8756 | 0.010876 | 16.5454 | 0 | 8.7097 | 95.136 | 14.8453 | 1.6947 | 0.0016947 | 12.5702 | 0.01257
|  |  | 2032 | 10 | 95.27 | 46.7001 | 657.2383 | 95.27 | 10.8459 | 0.010846 | 16.959 | 0 | 8.3131 | 103.4491 | 14.9955 | 1.7071 | 0.0017071 | 12.553 | 0.012553
|  |  | 2033 | 11 | 95.27 | 43.4864 | 700.7247 | 95.27 | 10.8756 | 0.010876 | 17.383 | 0 | 7.9346 | 111.3837 | 15.1436 | 1.7287 | 0.0017287 | 12.6043 | 0.012604
|  |  | 2034 | 12 | 95.27 | 40.4939 | 741.2186 | 95.27 | 10.8756 | 0.010876 | 17.8176 | 0 | 7.5733 | 118.957 | 15.2897 | 1.7454 | 0.0017454 | 12.621 | 0.012621
|  |  | 2035 | 13 | 95.27 | 37.7074 | 778.926 | 95.27 | 10.8756 | 0.010876 | 18.263 | 0 | 7.2284 | 126.1854 | 15.4337 | 1.7618 | 0.0017618 | 12.6374 | 0.012637
|  |  | 2036 | 14 | 95.27 | 35.1126 | 814.0386 | 95.27 | 10.8459 | 0.010846 | 18.7196 | 0 | 6.8993 | 133.0846 | 15.5754 | 1.7732 | 0.0017732 | 12.619 | 0.012619
|  |  | 2037 | 15 | 95.27 | 32.6963 | 846.7349 | 95.27 | 10.8756 | 0.010876 | 19.1876 | 0 | 6.5851 | 139.6698 | 15.7149 | 1.7939 | 0.0017939 | 12.6695 | 0.01267
|  |  | 2038 | 16 | 95.27 | 30.4463 | 877.1812 | 95.27 | 10.8756 | 0.010876 | 19.6673 | 0 | 6.2853 | 145.955 | 15.8521 | 1.8096 | 0.0018096 | 12.6852 | 0.012685
|  |  | 2039 | 17 | 95.27 | 28.3512 | 905.5323 | 95.27 | 10.8756 | 0.010876 | 20.159 | 0 | 5.9991 | 151.9541 | 15.9869 | 1.825 | 0.001825 | 12.7006 | 0.012701
|  |  | 2040 | 18 | 95.27 | 26.4002 | 931.9325 | 95.27 | 10.8459 | 0.010846 | 20.663 | 0 | 5.7259 | 157.68 | 16.1194 | 1.8351 | 0.0018351 | 12.6809 | 0.012681
|  |  | 2041 | 19 | 95.27 | 24.5835 | 956.516 | 95.27 | 10.8756 | 0.010876 | 21.1795 | 0 | 5.4652 | 163.1451 | 16.2494 | 1.855 | 0.001855 | 12.7305 | 0.012731
|  |  | 2042 | 20 | 95.27 | 22.8918 | 979.4078 | 95.27 | 10.8756 | 0.010876 | 21.709 | 0 | 5.2163 | 168.3614 | 16.377 | 1.8695 | 0.0018695 | 12.7451 | 0.012745
|  |  | 2043 | 21 | 95.27 | 21.3165 | 1000.7242 | 95.27 | 10.8756 | 0.010876 | 22.2517 | 0 | 4.9788 | 173.3402 | 16.5022 | 1.8838 | 0.0018838 | 12.7594 | 0.012759
Note 1: T&D deferral based on the 2021 IRP
Note on D6: Inflated to 2023 dollars

## Wind Avoided Capacity Calcs
|  |  | Year | Measure Life | Total Annual Capital & Fixed Costs of Capacity | NPV - Capacity | Cumulative Present Value CES-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Deferred T&D | Conservation Credit | NPV - Capacity | Cumulative Present Value CES-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity
|  |  |  | (years) | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | $ / MWh | $ / kWh | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | $ / MWh | $ / kWh | $ / MWh | $ / kWh
| Deferred T&D Cost Credit ($/kw-yr) (4): | 13.5796 | [1] | [2] | [3] | [6] | [7] | [8] | [9] | [10] | [4] | [5] | [6] | [7] | [8] | [9] | [10] | [9] | [10]
| NW Power Act Regional Credit (5): | 0% | 2023 | 1 | 16.9581 | 15.7911 | 15.7911 | 16.9581 | 5.2748 | 0.0052748 | 13.5796 | 0 | 12.6451 | 12.6451 | 13.5796 | 1.5502 | 0.0015502 | 6.825 | 0.006825
| Nominal Discount Rate (*): | 7.39% | 2024 | 2 | 16.9581 | 14.7044 | 30.4955 | 16.9581 | 5.2604 | 0.0052604 | 13.9191 | 0 | 12.0693 | 24.7144 | 13.7433 | 1.5646 | 0.0015646 | 6.825 | 0.006825
| Inflation (**): | 2.5% | 2025 | 3 | 16.9581 | 13.6926 | 44.1881 | 16.9581 | 5.2748 | 0.0052748 | 14.2671 | 0 | 11.5197 | 36.2342 | 13.9056 | 1.5874 | 0.0015874 | 6.8622 | 0.0068622
|  |  | 2026 | 4 | 16.9581 | 12.7503 | 56.9384 | 16.9581 | 5.2748 | 0.0052748 | 14.6237 | 0 | 10.9952 | 47.2294 | 14.0664 | 1.6058 | 0.0016058 | 6.8806 | 0.0068806
|  |  | 2027 | 5 | 16.9581 | 11.8729 | 68.8113 | 16.9581 | 5.2748 | 0.0052748 | 14.9893 | 0 | 10.4945 | 57.7239 | 14.2256 | 1.6239 | 0.0016239 | 6.8987 | 0.0068987
|  |  | 2028 | 6 | 16.9581 | 11.0559 | 79.8672 | 16.9581 | 5.2604 | 0.0052604 | 15.3641 | 0 | 10.0167 | 67.7406 | 14.3832 | 1.6374 | 0.0016374 | 6.8978 | 0.0068978
|  |  | 2029 | 7 | 16.9581 | 10.2951 | 90.1623 | 16.9581 | 5.2748 | 0.0052748 | 15.7482 | 0 | 9.5606 | 77.3011 | 14.5391 | 1.6597 | 0.0016597 | 6.9345 | 0.0069345
|  |  | 2030 | 8 | 16.9581 | 9.5866 | 99.7489 | 16.9581 | 5.2748 | 0.0052748 | 16.1419 | 0 | 9.1252 | 86.4263 | 14.6931 | 1.6773 | 0.0016773 | 6.9521 | 0.0069521
|  |  | 2031 | 9 | 16.9581 | 8.9269 | 108.6758 | 16.9581 | 5.2748 | 0.0052748 | 16.5454 | 0 | 8.7097 | 95.136 | 14.8453 | 1.6947 | 0.0016947 | 6.9695 | 0.0069695
|  |  | 2032 | 10 | 16.9581 | 8.3126 | 116.9884 | 16.9581 | 5.2604 | 0.0052604 | 16.959 | 0 | 8.3131 | 103.4491 | 14.9955 | 1.7071 | 0.0017071 | 6.9675 | 0.0069675
|  |  | 2033 | 11 | 16.9581 | 7.7406 | 124.729 | 16.9581 | 5.2748 | 0.0052748 | 17.383 | 0 | 7.9346 | 111.3837 | 15.1436 | 1.7287 | 0.0017287 | 7.0035 | 0.0070035
|  |  | 2034 | 12 | 16.9581 | 7.2079 | 131.9369 | 16.9581 | 5.2748 | 0.0052748 | 17.8176 | 0 | 7.5733 | 118.957 | 15.2897 | 1.7454 | 0.0017454 | 7.0202 | 0.0070202
|  |  | 2035 | 13 | 16.9581 | 6.7119 | 138.6488 | 16.9581 | 5.2748 | 0.0052748 | 18.263 | 0 | 7.2284 | 126.1854 | 15.4337 | 1.7618 | 0.0017618 | 7.0366 | 0.0070366
|  |  | 2036 | 14 | 16.9581 | 6.25 | 144.8989 | 16.9581 | 5.2604 | 0.0052604 | 18.7196 | 0 | 6.8993 | 133.0846 | 15.5754 | 1.7732 | 0.0017732 | 7.0335 | 0.0070335
|  |  | 2037 | 15 | 16.9581 | 5.8199 | 150.7188 | 16.9581 | 5.2748 | 0.0052748 | 19.1876 | 0 | 6.5851 | 139.6698 | 15.7149 | 1.7939 | 0.0017939 | 7.0687 | 0.0070687
|  |  | 2038 | 16 | 16.9581 | 5.4194 | 156.1382 | 16.9581 | 5.2748 | 0.0052748 | 19.6673 | 0 | 6.2853 | 145.955 | 15.8521 | 1.8096 | 0.0018096 | 7.0844 | 0.0070844
|  |  | 2039 | 17 | 16.9581 | 5.0465 | 161.1848 | 16.9581 | 5.2748 | 0.0052748 | 20.159 | 0 | 5.9991 | 151.9541 | 15.9869 | 1.825 | 0.001825 | 7.0998 | 0.0070998
|  |  | 2040 | 18 | 16.9581 | 4.6992 | 165.884 | 16.9581 | 5.2604 | 0.0052604 | 20.663 | 0 | 5.7259 | 157.68 | 16.1194 | 1.8351 | 0.0018351 | 7.0955 | 0.0070955
|  |  | 2041 | 19 | 16.9581 | 4.3759 | 170.2598 | 16.9581 | 5.2748 | 0.0052748 | 21.1795 | 0 | 5.4652 | 163.1451 | 16.2494 | 1.855 | 0.001855 | 7.1298 | 0.0071298
|  |  | 2042 | 20 | 16.9581 | 4.0747 | 174.3346 | 16.9581 | 5.2748 | 0.0052748 | 21.709 | 0 | 5.2163 | 168.3614 | 16.377 | 1.8695 | 0.0018695 | 7.1443 | 0.0071443
|  |  | 2043 | 21 | 16.9581 | 3.7943 | 178.1289 | 16.9581 | 5.2748 | 0.0052748 | 22.2517 | 0 | 4.9788 | 173.3402 | 16.5022 | 1.8838 | 0.0018838 | 7.1586 | 0.0071586
Note 1: T&D deferral based on the 2021 IRP
Note on D6: Inflated to 2023 dollars

## Solar Avoided Capacity Calcs
|  |  | Year | Measure Life | Total Annual Capital & Fixed Costs of Capacity | NPV - Capacity | Cumulative Present Value CES-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Deferred T&D | Conservation Credit | NPV - Capacity | Cumulative Present Value CES-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity
|  |  |  | (years) | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | $ / MWh | $ / kWh | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | $ / MWh | $ / kWh | $ / MWh | $ / kWh
| Deferred T&D Cost Credit ($/kw-yr) (4): | 13.5796 | [1] | [2] | [3] | [6] | [7] | [8] | [9] | [10] | [4] | [5] | [6] | [7] | [8] | [9] | [10] | [9] | [10]
| NW Power Act Regional Credit (5): | 0% | 2023 | 1 | 3.8108 | 3.5486 | 3.5486 | 3.8108 | 1.7976 | 0.0017976 | 13.5796 | 0 | 12.6451 | 12.6451 | 13.5796 | 1.5502 | 0.0015502 | 3.3478 | 0.0033478
| Nominal Discount Rate (*): | 7.39% | 2024 | 2 | 3.8108 | 3.3044 | 6.8529 | 3.8108 | 1.7927 | 0.0017927 | 13.9191 | 0 | 12.0693 | 24.7144 | 13.7433 | 1.5646 | 0.0015646 | 3.3573 | 0.0033573
| Inflation (**): | 2.5% | 2025 | 3 | 3.8108 | 3.077 | 9.9299 | 3.8108 | 1.7976 | 0.0017976 | 14.2671 | 0 | 11.5197 | 36.2342 | 13.9056 | 1.5874 | 0.0015874 | 3.385 | 0.003385
|  |  | 2026 | 4 | 3.8108 | 2.8652 | 12.7951 | 3.8108 | 1.7976 | 0.0017976 | 14.6237 | 0 | 10.9952 | 47.2294 | 14.0664 | 1.6058 | 0.0016058 | 3.4034 | 0.0034034
|  |  | 2027 | 5 | 3.8108 | 2.6681 | 15.4632 | 3.8108 | 1.7976 | 0.0017976 | 14.9893 | 0 | 10.4945 | 57.7239 | 14.2256 | 1.6239 | 0.0016239 | 3.4215 | 0.0034215
|  |  | 2028 | 6 | 3.8108 | 2.4845 | 17.9477 | 3.8108 | 1.7927 | 0.0017927 | 15.3641 | 0 | 10.0167 | 67.7406 | 14.3832 | 1.6374 | 0.0016374 | 3.4301 | 0.0034301
|  |  | 2029 | 7 | 3.8108 | 2.3135 | 20.2612 | 3.8108 | 1.7976 | 0.0017976 | 15.7482 | 0 | 9.5606 | 77.3011 | 14.5391 | 1.6597 | 0.0016597 | 3.4573 | 0.0034573
|  |  | 2030 | 8 | 3.8108 | 2.1543 | 22.4155 | 3.8108 | 1.7976 | 0.0017976 | 16.1419 | 0 | 9.1252 | 86.4263 | 14.6931 | 1.6773 | 0.0016773 | 3.4749 | 0.0034749
|  |  | 2031 | 9 | 3.8108 | 2.006 | 24.4215 | 3.8108 | 1.7976 | 0.0017976 | 16.5454 | 0 | 8.7097 | 95.136 | 14.8453 | 1.6947 | 0.0016947 | 3.4923 | 0.0034923
|  |  | 2032 | 10 | 3.8108 | 1.868 | 26.2895 | 3.8108 | 1.7927 | 0.0017927 | 16.959 | 0 | 8.3131 | 103.4491 | 14.9955 | 1.7071 | 0.0017071 | 3.4998 | 0.0034998
|  |  | 2033 | 11 | 3.8108 | 1.7395 | 28.029 | 3.8108 | 1.7976 | 0.0017976 | 17.383 | 0 | 7.9346 | 111.3837 | 15.1436 | 1.7287 | 0.0017287 | 3.5263 | 0.0035263
|  |  | 2034 | 12 | 3.8108 | 1.6198 | 29.6487 | 3.8108 | 1.7976 | 0.0017976 | 17.8176 | 0 | 7.5733 | 118.957 | 15.2897 | 1.7454 | 0.0017454 | 3.543 | 0.003543
|  |  | 2035 | 13 | 3.8108 | 1.5083 | 31.157 | 3.8108 | 1.7976 | 0.0017976 | 18.263 | 0 | 7.2284 | 126.1854 | 15.4337 | 1.7618 | 0.0017618 | 3.5594 | 0.0035594
|  |  | 2036 | 14 | 3.8108 | 1.4045 | 32.5615 | 3.8108 | 1.7927 | 0.0017927 | 18.7196 | 0 | 6.8993 | 133.0846 | 15.5754 | 1.7732 | 0.0017732 | 3.5659 | 0.0035659
|  |  | 2037 | 15 | 3.8108 | 1.3079 | 33.8694 | 3.8108 | 1.7976 | 0.0017976 | 19.1876 | 0 | 6.5851 | 139.6698 | 15.7149 | 1.7939 | 0.0017939 | 3.5916 | 0.0035916
|  |  | 2038 | 16 | 3.8108 | 1.2179 | 35.0872 | 3.8108 | 1.7976 | 0.0017976 | 19.6673 | 0 | 6.2853 | 145.955 | 15.8521 | 1.8096 | 0.0018096 | 3.6072 | 0.0036072
|  |  | 2039 | 17 | 3.8108 | 1.134 | 36.2213 | 3.8108 | 1.7976 | 0.0017976 | 20.159 | 0 | 5.9991 | 151.9541 | 15.9869 | 1.825 | 0.001825 | 3.6226 | 0.0036226
|  |  | 2040 | 18 | 3.8108 | 1.056 | 37.2773 | 3.8108 | 1.7927 | 0.0017927 | 20.663 | 0 | 5.7259 | 157.68 | 16.1194 | 1.8351 | 0.0018351 | 3.6278 | 0.0036278
|  |  | 2041 | 19 | 3.8108 | 0.98334 | 38.2606 | 3.8108 | 1.7976 | 0.0017976 | 21.1795 | 0 | 5.4652 | 163.1451 | 16.2494 | 1.855 | 0.001855 | 3.6526 | 0.0036526
|  |  | 2042 | 20 | 3.8108 | 0.91567 | 39.1763 | 3.8108 | 1.7976 | 0.0017976 | 21.709 | 0 | 5.2163 | 168.3614 | 16.377 | 1.8695 | 0.0018695 | 3.6671 | 0.0036671
|  |  | 2043 | 21 | 3.8108 | 0.85266 | 40.029 | 3.8108 | 1.7976 | 0.0017976 | 22.2517 | 0 | 4.9788 | 173.3402 | 16.5022 | 1.8838 | 0.0018838 | 3.6814 | 0.0036814
Note 1: T&D deferral based on the 2021 IRP
Note on D6: Inflated to 2023 dollars

## Energy Prices
As provided for in WAC 480-106-040(1)(a), the estimated Avoided Energy Costs are based upon PSE's most current forecast of market prices for electricity in its two-year progress report on the 2021 IRP in accordance with WAC 480-100-625(4). See link below for the assumptions and discussions that was presented to the IRP stakeholder group at the 9/13/2022 webinar: https://www.pse.com/-/media/PDFs/IRP/2022/09132022/2022-0913-GenericResourcesCostAdjustments.xlsx?sc_lang=en&modified=20220906182622&hash=19A798C1290BD3404E523AE625661F9E
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Ave
MONTHS
1 | 2023 | 48.5106 | 43.0577 | 30.4145 | 26.3843 | 21.0762 | 26.7294 | 44.3543 | 40.0618 | 45.7289 | 38.4893 | 36.78 | 42.6441 | 37.0037
2 | 2024 | 39.6296 | 34.6241 | 28.0576 | 25.4804 | 18.8002 | 25.9023 | 41.9932 | 39.5236 | 43.8338 | 37.2079 | 37.8274 | 42.1068 | 34.5965
3 | 2025 | 36.531 | 35.2468 | 28.4339 | 25.9088 | 18.0968 | 25.7202 | 43.4016 | 39.5156 | 45.6869 | 39.5219 | 38.5843 | 44.0732 | 35.0704
4 | 2026 | 40.5601 | 37.514 | 28.6547 | 26.5959 | 19.2962 | 27.7218 | 48.3565 | 43.1328 | 48.763 | 42.2051 | 40.0917 | 47.3623 | 37.5402
5 | 2027 | 44.7568 | 43.2571 | 33.3562 | 29.8691 | 20.6652 | 32.2324 | 54.2422 | 48.8928 | 54.2508 | 46.4287 | 45.0538 | 50.918 | 42.0012
6 | 2028 | 48.8076 | 43.0935 | 33.9599 | 30.3304 | 22.077 | 32.7914 | 55.96 | 51.5087 | 54.6516 | 47.0586 | 46.2799 | 54.1935 | 43.4203
7 | 2029 | 47.1595 | 41.6699 | 31.0399 | 29.9017 | 21.2107 | 30.9667 | 56.3484 | 53.979 | 59.3499 | 49.8173 | 47.9253 | 53.6966 | 43.6215
8 | 2030 | 47.2471 | 41.2523 | 28.8624 | 27.955 | 21.2836 | 30.1933 | 57.3261 | 53.89 | 58.4338 | 49.5415 | 47.175 | 53.6571 | 43.1064
9 | 2031 | 43.733 | 41.4829 | 28.5122 | 30.419 | 18.7297 | 30.9754 | 58.7824 | 54.8882 | 59.9929 | 50.0615 | 47.6397 | 54.6337 | 43.3477
10 | 2032 | 45.7025 | 40.2479 | 27.301 | 27.9199 | 17.4952 | 32.2136 | 59.8044 | 56.795 | 63.9062 | 51.8696 | 48.9385 | 56.0575 | 44.05
11 | 2033 | 45.9701 | 42.6294 | 28.0125 | 27.4071 | 17.0794 | 33.4311 | 66.1764 | 62.3549 | 62.9238 | 54.3581 | 50.7545 | 61.1735 | 46.0767
12 | 2034 | 44.7201 | 39.5469 | 29.1665 | 29.9301 | 18.5659 | 34.7655 | 69.1319 | 60.3111 | 65.1633 | 57.1165 | 52.6128 | 60.2189 | 46.8428
13 | 2035 | 48.1311 | 42.6675 | 29.0016 | 29.973 | 18.7621 | 32.1067 | 73.4656 | 67.3128 | 74.1762 | 59.977 | 54.9525 | 63.4034 | 49.5688
14 | 2036 | 51.2711 | 40.684 | 27.9261 | 28.8763 | 17.9648 | 33.3449 | 78.6395 | 69.534 | 74.8572 | 58.7308 | 53.7847 | 64.0315 | 50.0458
15 | 2037 | 47.5299 | 43.3315 | 31.939 | 29.0683 | 15.6121 | 34.4839 | 80.657 | 72.6087 | 79.3058 | 59.436 | 55.4623 | 66.9497 | 51.4509
16 | 2038 | 48.7355 | 39.8538 | 27.6997 | 28.5366 | 16.5296 | 34.0203 | 84.2026 | 70.7285 | 80.9716 | 63.1397 | 56.5179 | 70.8021 | 51.9295
17 | 2039 | 51.2913 | 43.6941 | 28.0606 | 28.3057 | 16.4513 | 39.2752 | 86.8287 | 74.8069 | 80.6236 | 62.8329 | 59.6994 | 71.7703 | 53.7366
18 | 2040 | 49.8742 | 40.711 | 29.1963 | 28.9385 | 18.1575 | 40.7036 | 89.7306 | 75.9778 | 82.7706 | 66.4066 | 56.3785 | 73.3296 | 54.4459
19 | 2041 | 58.7866 | 45.6691 | 28.2147 | 29.943 | 14.9 | 35.2034 | 92.5594 | 83.5616 | 89.6244 | 66.9303 | 63.0493 | 75.469 | 57.1134
20 | 2042 | 59.1499 | 44.9205 | 26.8932 | 29.5139 | 14.59 | 38.3527 | 101.7943 | 92.7414 | 91.718 | 66.9001 | 61.3948 | 81.3927 | 59.2725
21 | 2043 | 59.814 | 44.2842 | 30.5075 | 28.6532 | 15.7272 | 42.7247 | 107.6578 | 89.9046 | 96.0741 | 67.1513 | 64.7247 | 84.6665 | 61.1604
|  | 12: 20-year levelized | 43.5096
|  | 12: 15-year levelized | 41.7023

## Capacity Delivered
|  | Indicative Avoided Capacity Costs for Resources Delivered to PSE's System |  | Delivered to PSE Capacity Value ($/kW-yr) |  |  |  |  | Delivered to PSE Capacity Value ($/MWh)
|  | Capacity Resource Addition | (a) Levelized Net $/kW-yr Delivered To PSE | (b)=(a)*1.000 Baseload Resource ELCC=100.0% | (c)=(a)*0.178 Wind Resource ELCC=17.8% | (d)=(a)*0.040 Solar Resource ELCC=4.0% | (e) Year | (f) Total Hours in Year | (g)=(f)*1.000 Baseload Resource NCF=100% | (h)=(b)*(g) Baseload Resource | (i)=(f)*0.367 Wind Resource NCF=36.7% | (j)=(c)*(i) Wind Resource | (k)=(f)*0.242 Solar Resource NCF=24.2% | (l)=(d)*(k) Solar Resource
|  |  |  | 100% | 17.8% | 4% |  |  | 100% |  | 36.7% |  | 24.2%
|  |  | $/kW-yr | $/kW-yr | $/kW-yr | $/kW-yr |  |  | Hours Available | $/MWh | Hours Available | $/MWh | Hours Available | $/MWh
1 | 2023 |  | 95.27 | 95.27 | 16.9581 | 3.8108 | 2023 | 8760 | 8760 | 10.8756 | 3214.92 | 5.2748 | 2119.92 | 1.7976
2 | 2024 |  | 95.27 | 95.27 | 16.9581 | 3.8108 | 2024 | 8784 | 8784 | 10.8459 | 3223.728 | 5.2604 | 2125.728 | 1.7927
3 | 2025 |  | 95.27 | 95.27 | 16.9581 | 3.8108 | 2025 | 8760 | 8760 | 10.8756 | 3214.92 | 5.2748 | 2119.92 | 1.7976
4 | 2026 |  | 95.27 | 95.27 | 16.9581 | 3.8108 | 2026 | 8760 | 8760 | 10.8756 | 3214.92 | 5.2748 | 2119.92 | 1.7976
5 | 2027 |  | 95.27 | 95.27 | 16.9581 | 3.8108 | 2027 | 8760 | 8760 | 10.8756 | 3214.92 | 5.2748 | 2119.92 | 1.7976
6 | 2028 | Frame Peaker | 95.27 | 95.27 | 16.9581 | 3.8108 | 2028 | 8784 | 8784 | 10.8459 | 3223.728 | 5.2604 | 2125.728 | 1.7927
7 | 2029 |  | 95.27 | 95.27 | 16.9581 | 3.8108 | 2029 | 8760 | 8760 | 10.8756 | 3214.92 | 5.2748 | 2119.92 | 1.7976
8 | 2030 |  | 95.27 | 95.27 | 16.9581 | 3.8108 | 2030 | 8760 | 8760 | 10.8756 | 3214.92 | 5.2748 | 2119.92 | 1.7976
9 | 2031 |  | 95.27 | 95.27 | 16.9581 | 3.8108 | 2031 | 8760 | 8760 | 10.8756 | 3214.92 | 5.2748 | 2119.92 | 1.7976
10 | 2032 |  | 95.27 | 95.27 | 16.9581 | 3.8108 | 2032 | 8784 | 8784 | 10.8459 | 3223.728 | 5.2604 | 2125.728 | 1.7927
11 | 2033 |  | 95.27 | 95.27 | 16.9581 | 3.8108 | 2033 | 8760 | 8760 | 10.8756 | 3214.92 | 5.2748 | 2119.92 | 1.7976
12 | 2034 | Frame Peaker | 95.27 | 95.27 | 16.9581 | 3.8108 | 2034 | 8760 | 8760 | 10.8756 | 3214.92 | 5.2748 | 2119.92 | 1.7976
13 | 2035 |  | 95.27 | 95.27 | 16.9581 | 3.8108 | 2035 | 8760 | 8760 | 10.8756 | 3214.92 | 5.2748 | 2119.92 | 1.7976
14 | 2036 |  | 95.27 | 95.27 | 16.9581 | 3.8108 | 2036 | 8784 | 8784 | 10.8459 | 3223.728 | 5.2604 | 2125.728 | 1.7927
15 | 2037 |  | 95.27 | 95.27 | 16.9581 | 3.8108 | 2037 | 8760 | 8760 | 10.8756 | 3214.92 | 5.2748 | 2119.92 | 1.7976
16 | 2038 |  | 95.27 | 95.27 | 16.9581 | 3.8108 | 2038 | 8760 | 8760 | 10.8756 | 3214.92 | 5.2748 | 2119.92 | 1.7976
17 | 2039 |  | 95.27 | 95.27 | 16.9581 | 3.8108 | 2039 | 8760 | 8760 | 10.8756 | 3214.92 | 5.2748 | 2119.92 | 1.7976
18 | 2040 | Frame Peaker | 95.27 | 95.27 | 16.9581 | 3.8108 | 2040 | 8784 | 8784 | 10.8459 | 3223.728 | 5.2604 | 2125.728 | 1.7927
19 | 2041 |  | 95.27 | 95.27 | 16.9581 | 3.8108 | 2041 | 8760 | 8760 | 10.8756 | 3214.92 | 5.2748 | 2119.92 | 1.7976
20 | 2042 |  | 95.27 | 95.27 | 16.9581 | 3.8108 | 2042 | 8760 | 8760 | 10.8756 | 3214.92 | 5.2748 | 2119.92 | 1.7976
21 | 2043 |  | 95.27 | 95.27 | 16.9581 | 3.8108 | 2043 | 8760 | 8760 | 10.8756 | 3214.92 | 5.2748 | 2119.92 | 1.7976
22 | 2044 |  | 95.27 | 95.27 | 16.9581 | 3.8108 | 2044 | 8784 | 8784 | 10.8459 | 3223.728 | 5.2604 | 2125.728 | 1.7927
- Data for the table is provided by PSE's 2021 IRP
- The Wind and Solar ELCCs of 17.8% and 4.0% are based in the assumption used in Chapter 7, page 7-28.
- NCFs for Wind and Solar come from Chapter 5, pages 5-27, 5-28 respectively.
- These both reflect Eastern Washington resources
- "Hours Available" are calculated as the total hours in a year for which the resource type is projected to operate, as determined by the Net Capacity Factor (NCF) for the generic resource for which the ELCC is based multiplied by the Total Hours in the Year.
- It is assumed that either a Frame Peaker is the incremental capacity resource in these years, therefore the "projected fixed costs of a simple-cycle combustion turbine" is used for cost.

## Cost of Capital
As Used in UE-190529 and UG-190530
PUGET SOUND ENERGY-ELECTRIC
PRO FORMA COST OF CAPITAL APPROVED IN UE-190529/UG-190530
FOR THE TWELVE MONTHS ENDED DECEMBER 31, 2018
LINE |  | PRO FORMA |  | COST OF
NO. | DESCRIPTION | CAPITAL % | COST % | CAPITAL
1 | SHORT & LONG TERM DEBT | 51.5% | 5.5% | 2.83%
2 | EQUITY | 48.5% | 9.4% | 4.56%
3 | TOTAL COST OF CAPITAL | 100% |  | 7.39%
4
5 | AFTER TAX DEBT | 51.5% | 5.5% | 2.24%
6 | EQUITY | 48.5% | 9.4% | 4.56%
7 | TOTAL AFTER TAX COST OF CAPITAL | 100% |  | 6.8%