## Legend
Date
Data as/of | 2024-02-06
Fiscal Year | FY2025
Event Begin Date/Time | 2024-01-11 | Event Begin Time
Event End Date/Time | 2024-01-12 | Event End Time
Month Begin | 2024-01-01
Month End | 2024-01-31
Year Begin | 2024-01-01
Year End | 2024-01-31
State | Washington
Comments: | Tag | filed

## Customer Analysis
| Washington | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by operating area customer counts
|  |  | 2024-01-11 | through | 2024-01-12
| PacifiCorp Major Events Report Customer Analysis* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 9790 | 0.4685% | 401616.778 | 9 | 2089798 | 0 | 9790 | 0 | 0 | 0 | 0 | 0 | 100% | 0.19218 | 0.0046847 | 41.0232
PP | Pacific Power | 9790 | 1.189% | 401616.778 | 9 | 823337 | 0 | 9790 | 0 | 0 | 0 | 0 | 0 | 100% | 0.48779 | 0.011891 | 41.0232
WA | Washington | 9790 | 7.081% | 401616.778 | 9 | 138254 | 0 | 9790 | 0 | 0 | 0 | 0 | 0 | 100% | 2.9049 | 0.070812 | 41.0232
WA | SUNNYSIDE | 9790 | 38.44% | 401616.778 | 9 | 25465 | 0 | 9790 | 0 | 0 | 0 | 0 | 0 | 100% | 15.7713 | 0.38445 | 41.0232
*Only current event specific metric impact shown. Does not include values from other events which may have occurred in other regions during the same time period.
|  | Customer Interrupted by Date |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by state customer counts
|  |  | 2024-01-11 | through | 2024-01-12 |  |  |  | Customers Restored by Intervals
| Date* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
| 2024-01-11 | 9790 | 7.081% | 401616.778 | 9 | 138254 | 0 | 9790 | 0 | 0 | 0 | 0 | 0 | 100% | 2.9049 | 0.070812 | 41.0232
Data as of
2024-02-06

## SSC by State
| Washington | Event |  | 2024-01-11 | through | 2024-01-12 |  | Month |  | 2024-01-01 | through | 2024-01-31 |  | YTD | FY2025 | 2024-01-01 | through | 2024-01-31
|  | Major Events Included |  |  | Major Event Excluded |  |  | Major Events Included |  |  | Major Events Excluded* |  |  | Major Events Included |  |  | Major Events Excluded*
| PacifiCorp Major Events Report SSC by State | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 1.8024 | 0.01162 | 155.1144 | 1.6102 | 0.0069351 | 232.1828 | 65.5876 | 0.16144 | 406.2589 | 8.9714 | 0.066341 | 135.2304 | 65.5876 | 0.16144 | 406.2589 | 8.9714 | 0.066341 | 135.2304
PP | Pacific Power | 3.8356 | 0.018419 | 208.2432 | 3.3478 | 0.0065283 | 512.8169 | 158.0884 | 0.3268 | 483.7405 | 14.3848 | 0.085417 | 168.4073 | 158.0884 | 0.3268 | 483.7405 | 14.3848 | 0.085417 | 168.4073
WA | Washington | 5.5884 | 0.077943 | 71.6982 | 2.6835 | 0.0071318 | 376.2707 | 16.153 | 0.27856 | 57.9874 | 12.3587 | 0.12981 | 95.2048 | 16.153 | 0.27856 | 57.9874 | 12.3587 | 0.12981 | 95.2048
WA | SUNNYSIDE | 5.3771 | 0.076287 | 70.4847 | 2.4722 | 0.0054754 | 451.4998 | 8.0179 | 0.23615 | 33.9522 | 4.2236 | 0.087404 | 48.3231 | 8.0179 | 0.23615 | 33.9522 | 4.2236 | 0.087404 | 48.3231
WA | WALLA WALLA | 0.028242 | 0.00030379 | 92.9655 | 0.028242 | 0.00030379 | 92.9655 | 0.87055 | 0.017518 | 49.693 | 0.87055 | 0.017518 | 49.693 | 0.87055 | 0.017518 | 49.693 | 0.87055 | 0.017518 | 49.693
WA | YAKIMA | 0.18309 | 0.0013526 | 135.3639 | 0.18309 | 0.0013526 | 135.3639 | 7.2645 | 0.024889 | 291.8765 | 7.2645 | 0.024889 | 291.8765 | 7.2645 | 0.024889 | 291.8765 | 7.2645 | 0.024889 | 291.8765
*may include other regional major event exclusions during the same period. Operating areas are calculated by the state frozen customer count metrics.
Data as/of
2024-02-06