0015

1             BEFORE THE WASHINGTON UTILITIES AND

2                  TRANSPORTATION COMMISSION

3   WASHINGTON UTILITIES AND,     )  Docket No. UG-020230

TRANSPORTATION COMMISSION,    )  Docket No. UG-020232

4                                 )

Complainant,  )  Volume II

5                                 )  Pages 15 to 85

vs.                 )

6                                 )

BASIN FROZEN FOODS, INC.,     )

7                                 )

Respondent.   )

8   ______________________________)

9              A hearing in the above matter was held on

10   January 9, 2003, from 9:40 a.m to 11:30 a.m., at 1300

11   South Evergreen Park Drive Southwest, Room 206, Olympia,

12   Washington, before Administrative Law Judge MARJORIE

13   SCHAER and Chairwoman MARILYN SHOWALTER and Commissioner

14   RICHARD HEMSTAD and Commissioner PATRICK J. OSHIE.

15

The parties were present as follows:

16              THE COMMISSION, by DONALD T. TROTTER, Senior

Assistant Attorney General, 1400 South Evergreen Park

17   Drive Southwest, Olympia, Washington 98504-0128,

Telephone (360) 664-1189, Facsimile (360) 586-5522,

18   E-Mail dtrotter@wutc.wa.gov.

19             BASIN FROZEN FOODS, INC., by KEVIN WEBER,

President, P.O. Box 747, Warden, Washington  98857,

20   Telephone (509) 349-2210, Facsimile ((509) 349-2375,

E-Mail kevin@bffinc.com.

21

22

23

24

Joan E. Kinn, CCR, RPR

25   Court Reporter

0016

1   --------------------------------------------------------

2                    INDEX OF EXAMINATION

3   --------------------------------------------------------

4             WITNESS PANEL                  PAGE:

5   DOUG KILPATRICK                           22

6   PATRICIA JOHNSON                          22

7   KEVIN WEBER                               22

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

0017

1   --------------------------------------------------------

2                      INDEX OF EXHIBITS

3   --------------------------------------------------------

4

5   EXHIBIT:                     MARKED:           ADMITTED:

6      1                           19                 20

7      2                           20                 20

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

0018

1                    P R O C E E D I N G S

2              JUDGE SCHAER:  We are here this morning for a

3   settlement presentation hearing in Dockets Number

4   UG-020230 and UG-020232, which are a complaint brought

5   by the Commission Staff of the Washington Utilities and

6   Transportation Commission against Basin Frozen Foods.

7   Our purpose today is to allow witnesses from both

8   parties to answer any questions that the Commissioners

9   may have regarding the proposed settlement.

10              I am Marjorie Schaer.  I'm the Administrative

11   Law Judge assigned to this proceeding.  Presiding today

12   sitting to my right are Chairwoman Showalter,

13   Commissioner Hemstad, and Commissioner Oshie.

14              I would like to start by taking brief

15   appearances, please.  You had both appeared before, so I

16   will just need your name and the name of your company,

17   please.

18              MR. TROTTER:  For Commission Staff, my name

19   is Donald T. Trotter, Assistant Attorney General.

20              JUDGE SCHAER:  Mr. Weber.

21              MR. WEBER:  For Basin Frozen Foods, Kevin

22   Weber, Basin Frozen Foods.

23              JUDGE SCHAER:  Thank you.

24              Before we call the panel, are there any

25   preliminary matters that we need to deal with this

0019

1   morning?

2              MR. TROTTER:  The only one, Your Honor, we

3   distributed as Exhibit 1 a copy of the settlement

4   agreement.  The one we circulated to you is identical to

5   the one that was filed with the exception in Paragraph

6   31, the date of February 1, 2003, has been changed to

7   February 1, 2004, consistent with the correspondence

8   that we filed after the agreement was filed.  It's just

9   a typographical error, and it's been corrected, and both

10   parties agreed to it.

11              JUDGE SCHAER:  Thank you.

12              MR. TROTTER:  So we would ask that that

13   exhibit so corrected would be marked for identification.

14              JUDGE SCHAER:  I'm going to mark the

15   settlement agreement as Exhibit 1 for identification.

16              MR. TROTTER:  In addition, Your Honor, we

17   have copies of the memorandum that Staff filed

18   supporting the settlement.  In past hearings of this

19   type, those have been marked.  In other hearings, they

20   haven't been.  We have no preference.  If the Bench

21   would like it marked if it wants to examine on it,

22   that's fine, we have them here.  If not, I'm not

23   proposing that, but if the Bench would like it, I have

24   copies of it.

25              (Discussion on the Bench.)

0020

1              JUDGE SCHAER:  Why don't we go ahead and have

2   you distribute that also, Mr. Trotter, thank you.

3              So I'm going to mark as Exhibit 2 for

4   identification a memorandum on behalf of Commission

5   Staff explaining the settlement agreement.

6              Now is it your intention to offer these by

7   stipulation of the parties or offer them through the

8   panel, or how did you wish to proceed?

9              MR. TROTTER:  We will offer them right now.

10   I will just move for the admission of Exhibits 1 and 2,

11   and we'll hear if Mr. Weber has any objection.

12              JUDGE SCHAER:  Do you have any objection to

13   that, Mr. Weber?

14              MR. WEBER:  No, I don't.

15              JUDGE SCHAER:  Okay, then Exhibits 1 and 2

16   are admitted.

17              And I have checked with the parties

18   informally before we went on the record, but let me ask

19   again if there's any kind of a preliminary statement

20   that any of you would like to make.

21              MR. TROTTER:  I have none, Your Honor.

22              MR. WEBER:  I have none either.

23              JUDGE SCHAER:  Okay.  Then would you please

24   call your witnesses.

25              MR. TROTTER:  Thank you, Your Honor.  I think

0021

1   we discussed off the record a panel.  We would propose a

2   panel if that's acceptable to the Bench.  And for

3   Commission Staff we have Patricia Johnson, if you could

4   come sit up at this table, along with Mr. Doug

5   Kilpatrick.

6              JUDGE SCHAER:  And, Mr. Weber, are you

7   testifying on behalf of your company, or do you wish to

8   call any other person to join you on the panel?

9              MR. WEBER:  I will testify, but I've got

10   Keith Meissner with Cascade Natural Gas here, so if

11   there's any questions that I may not have the answer,

12   Keith may have the answer.

13              JUDGE SCHAER:  Okay.  I won't have you call

14   him as a witness at this time then, but I will check

15   later to see if there's any questions from the Bench

16   that would be addressed perhaps better to him.

17              MR. WEBER:  Okay.

18              JUDGE SCHAER:  We will have you asked, and if

19   you need to refer something, then you need to let us

20   know that.

21              MR. WEBER:  Okay.

22              JUDGE SCHAER:  Okay, would you please raise

23   your right hands.

24

25

0022

1   Whereupon,

2             DOUG KILPATRICK, PATRICIA JOHNSON,

3                       AND KEVIN WEBER

4   having been first duly sworn, were called as witnesses

5   herein and were examined and testified as follows:

6

7              JUDGE SCHAER:  Thank you.

8              Go ahead, Mr. Trotter.

9              MR. TROTTER:  Thanks.

10              Just for the two Commission Staff people, I

11   would just like to ask them to identify themselves for

12   the record and state what their position is, and then

13   I'll just identify what I perceive to be the scope of

14   their knowledge and assistance to the Commission today.

15              So, Ms. Johnson, please state your name.

16              MS. JOHNSON:  Patricia Johnson, I'm a

17   pipeline safety engineer, Pipeline Safety Division.

18              MR. TROTTER:  And you're employed by the

19   Commission?

20              MS. JOHNSON:  The Washington Utilities and

21   Transportation Commission.

22              CHAIRWOMAN SHOWALTER:  I think you're going

23   to need to get closer to the microphone so that other

24   people can hear you.

25              JUDGE SCHAER:  In fact, it might be a good

0023

1   idea, Mr. Kilpatrick, if you could obtain the other

2   microphone and you could each have one, because there

3   are people who listen in on the bridge to hearings, and

4   they won't be able to hear us unless we speak directly

5   into the microphones.

6              MR. TROTTER:  And, Ms. Johnson, were you the

7   inspector for the Commission Staff that was primarily

8   responsible for the inspection of Basin Frozen Foods'

9   pipeline facility?

10              MS. JOHNSON:  Yes, I was.

11              MR. TROTTER:  Mr. Kilpatrick, could you state

12   your name.

13              MR. KILPATRICK:  My name is Doug Kilpatrick.

14   I'm the Director of the Pipeline Safety Program of the

15   Washington Utilities and Transportation Commission.

16              MR. TROTTER:  Your Honor, Ms. Johnson is

17   available, she can answer questions about the inspection

18   and the violation report and so on.  Mr. Kilpatrick is

19   also familiar with that inspection, but he's primarily

20   here as a person to answer some policy questions from

21   the Pipeline Safety Section since he has overall

22   responsibility.

23              And Mr. Weber I believe is the President of

24   Basin Frozen Foods.  I'm not sponsoring him, but perhaps

25   he should identify himself and identify his position.

0024

1              MR. WEBER:  That's right, President of Basin

2   Frozen Foods.

3              JUDGE SCHAER:  Mr. Weber, you're also going

4   to need to pull your microphone up quite close.

5              You are the President of Basin Frozen Foods,

6   and could you give us a brief summary of what your

7   duties are at Basin.

8              MR. WEBER:  Well, I'm owner and President of

9   Basin Frozen Foods, so, you know, I basically run the

10   company.

11              JUDGE SCHAER:  So you're an on-site manager

12   or --

13              MR. WEBER:  That's right.

14              JUDGE SCHAER:  -- active in the day-to-day

15   activities of --

16              MR. WEBER:  Right.

17              JUDGE SCHAER:  Okay.

18              MR. TROTTER:  And, Your Honor, if any legal

19   questions come up, I would be happy to respond to them.

20              JUDGE SCHAER:  Thank you, Mr. Trotter.

21              Commissioners, do you have questions?

22              CHAIRWOMAN SHOWALTER:  I have some, and I

23   think maybe I would like to start with Ms. Johnson.

24   Can, without getting into too much detail, can you give

25   me a thumbnail sketch of the nature of the alleged

0025

1   violations that are in the complaint in front of us.

2   That is, am I first correct that there originally were

3   26 violations alleged in the docket in front of us?

4              MS. JOHNSON:  That's correct.

5              CHAIRWOMAN SHOWALTER;  And can you tell me

6   the nature of those allegations?

7              MS. JOHNSON:  We categorized them.  There

8   were emergency plan procedures.  They were not in their

9   manual.  They didn't have procedures.

10              CHAIRWOMAN SHOWALTER:  You're going to have

11   to get closer to the mike so we can really hear you.

12              MS. JOHNSON:  There were emergency plan

13   regulations and codes that they -- that were not in

14   their manual, they did not have procedures for.  There

15   were damage prevention regulations that here again there

16   was no documentation of, there had been no procedures,

17   adequate procedures for.  There were a number of

18   procedural items in their manual and then the lack of

19   documentation.  In a thumbnail sketch, that was probably

20   it.  Another, excuse me, another item was the antidrug

21   and alcohol program, they did not have that.

22              CHAIRWOMAN SHOWALTER:  That is there was no

23   program or there was not documentation of the program or

24   both?

25              MS. JOHNSON:  Basin Frozen Foods does

0026

1   pre-employment drug and alcohol testing, random testing.

2   Part 199 requires a program for that, and that program

3   did not exist.

4              CHAIRWOMAN SHOWALTER:  And when you spoke of

5   lack of documentation as an alleged violation, lack of

6   documentation of what?

7              MS. JOHNSON:  Oh, there were a number of

8   items that did not have documentation, and that's what

9   proves that they have done their -- the different method

10   requirements, for example, the odorization.  I need to

11   look at my violations here.

12              They did not have documentation of the

13   as-built drawings of what material was used in the list,

14   the specifications of the pipeline.

15              CHAIRWOMAN SHOWALTER:  What material is used

16   in the pipeline itself?

17              MS. JOHNSON:  In the pipeline itself.  That

18   leads to another violation that we can not determine the

19   maximum allowable operating pressure without knowing the

20   types of pipe and the different equipment used.

21              There was another item, the regulation states

22   that pipelines, transmission pipelines, have to be

23   PIG-able, that an internal inspection device has to be

24   able to go through that, and there was no documentation

25   that that had been done.

0027

1              CHAIRWOMAN SHOWALTER:  That is that the

2   pipeline can be internally -- there's no documentation,

3   the allegation was that there was no documentation that

4   the pipeline could be internally inspected?

5              MS. JOHNSON:  That's true, correct.

6              There was welding documentation,

7   qualifications, procedures that were lacking, that were

8   not there.  There were certain requirements in their

9   manual that are required for transmission companies,

10   abnormal operating procedures, continuing surveillance

11   procedures, and those were not in their manual.  The

12   damage prevention program we have already mentioned.

13   They were a member of the one-call system, but they did

14   not have documentation that a number of the locates had

15   been done.

16              CHAIRWOMAN SHOWALTER:  A number of the what?

17              MS. JOHNSON:  A number of the locates.  When

18   there was excavation in the area and the one-call

19   service had been notified, they did not have

20   documentation at the time of the inspection that those

21   locates had been done.

22              CHAIRWOMAN SHOWALTER:  Meaning there wasn't

23   documentation that they had gone out and located where

24   the pipeline is under the ground?

25              MS. JOHNSON:  Correct, physically marked the

0028

1   ground.

2              CHAIRWOMAN SHOWALTER:  Before somebody else

3   started digging; is that essentially it?

4              MS. JOHNSON:  That's correct.

5              CHAIRWOMAN SHOWALTER:  Okay.

6              MS. JOHNSON:  The emergency plans we have

7   already mentioned.  Public education, that's another

8   specific transmission pipeline requirement.  Property

9   owners along that pipeline need to be notified once a

10   year of natural gas, that the gas is there and what to

11   do if there were any problems or concerns.  There was

12   not a procedure for that, and that had not been done.

13   There was no documentation for it.  Patrolling is a

14   requirement, and there was no documentation for that.

15   The drug and alcohol we have also mentioned too, there

16   was no procedures, no documentation for that.  And then

17   there was no documentation of the maps and records for

18   the materials list, the as-built drawings on the maps.

19              CHAIRWOMAN SHOWALTER:  All right.  And were

20   these two dockets that are in front of us today the

21   first dockets regarding safety violations of this

22   company?

23              MS. JOHNSON:  No, they were not.

24              CHAIRWOMAN SHOWALTER:  And what, can you give

25   me again a thumbnail sketch, and the previous one was

0029

1   very good, of any prior investigations or dockets on

2   this company.

3              MS. JOHNSON:  In 2001 I also did that

4   inspection.  There were numerous violations on that one.

5   There was a letter of intent that had come from Basin

6   and had stated the day they would be in compliance.

7   There were situations that came up, and that did not

8   happen.  There was a complaint brought before the

9   Commission, I'm not sure of that docket number, and the

10   Commission issued an order of compliance.

11              CHAIRWOMAN SHOWALTER:  Would that have been

12   UG-010499?

13              MS. JOHNSON:  499, that --

14              CHAIRWOMAN SHOWALTER:  October 24th, 2001?

15              MS. JOHNSON:  Yes.

16              CHAIRWOMAN SHOWALTER:  Am I correct that it

17   identified 22 violations?

18              MS. JOHNSON:  Yes.

19              CHAIRWOMAN SHOWALTER:  Can you tell me of

20   those, of the 26 alleged violations in the dockets in

21   front of us, how many of them were the same as or the

22   same kind as the prior 22 violations in the earlier

23   docket?  In other words, how many were what you might

24   call repeat alleged violations?

25              MS. JOHNSON:  Repeat violations, I can --

0030

1   they're marked in here.

2              Ten if I have counted correctly.

3              CHAIRWOMAN SHOWALTER:  All right.  And of the

4   ten, can you give me again just a thumbnail sketch of

5   the nature of those ten repeat allegations, alleged

6   violations?

7              MS. JOHNSON:  Yes, I can.  There was a

8   welding we had mentioned earlier, and that was a repeat

9   violation, the welding standards, which reference to the

10   welding standard was used in their manual.  They were

11   not using a current standard.

12              CHAIRWOMAN SHOWALTER:  In that instance, is

13   the current standard more stringent than the earlier

14   standard?

15              MS. JOHNSON:  I'm not real sure what the

16   difference between the two standards are.  It was not in

17   accordance with the right standard.

18              CHAIRWOMAN SHOWALTER:  All right.

19              MS. JOHNSON:  The welding standards were also

20   in question.  They were not the same.  Basin did not

21   have start up and shut down procedures in their manual.

22   They did not have the abnormal operations in the manual.

23   They did not have continuing surveillance in the manual,

24   procedures for it or documentation for any of this that

25   they had done.  The emergency plans, they did not have a

0031

1   natural gas person who was in charge of their emergency

2   plans at Basin Frozen Foods, and they had not

3   established and maintained liaisons with the appropriate

4   fire, police, county information.  Patrolling the

5   pipeline, they did not have procedures for that or

6   documentation that that had been done.  There were

7   missing pipeline warning signs and markers as a repeat

8   violation.  And that is -- are the repeat violations.

9              CHAIRWOMAN SHOWALTER:  Okay.  And then in

10   terms of these repeat violations, I'm trying to

11   understand whether some of them are simply the earlier

12   violation that had not yet been fixed, though it's still

13   a violation, versus a distinct occurrence at a prior

14   time and then another occurrence at a later time.  For

15   example, if you welded a pipe at an earlier time and

16   then you welded another pipe at a later time, that might

17   be two events.  On the other hand, it could be that, you

18   know, if you didn't have a pipeline warning sign at an

19   earlier time and you still didn't have it at a later

20   time, that's in essence the same event not yet cured.

21   Can you give me any indication of whether these repeat

22   violations are essentially ones that had occurred

23   earlier and were still occurring throughout and

24   therefore they were repeat versus distinct incidents?

25              MS. JOHNSON:  For that, the first docket, we

0032

1   had gone down and done a follow-up inspection, and all

2   of those violations were cleared.  We saw the warning

3   signs, the marker signs, the proper welding information.

4   We had seen documentation for everything, so that had

5   been cleared.  In the 2002 inspection, that previous

6   information at the time of the inspection was not

7   available, and the documentation and information for the

8   2002 inspection had not been there.  I believe in answer

9   to your question, like the warning sign was missing

10   again, so that is a second similar situation.  However,

11   for the odorometer reads, for example, those had -- that

12   -- they had been done, Cascade had done them for Basin,

13   but Basin did not have records that it had been done.

14   They didn't have any documentation, and they were not

15   aware that it had been done.  So it's a combination for

16   the 2002 violations.

17              CHAIRWOMAN SHOWALTER:  All right.  Well, then

18   can you also explain if there, in fact, is a defect in a

19   welding operation and something actually leaks and

20   causes one of these emergencies, what is the potential

21   damage if there's a person around that can -- basically

22   can natural gas pipelines blow up?

23              MS. JOHNSON:  That is correct, they can.

24              CHAIRWOMAN SHOWALTER:  And is that what

25   prompts all the plans for fire and emergency personnel?

0033

1              MS. JOHNSON:  Correct, the public safety, the

2   personnel safety.  That's always a potential.

3              CHAIRWOMAN SHOWALTER:  Have we had such

4   incidents in our state of natural gas pipeline

5   explosions?

6              MS. JOHNSON:  I'm not sure if natural -- if

7   we have had any deaths from --

8              CHAIRWOMAN SHOWALTER:  I didn't mean deaths,

9   I just meant explosions.

10              MS. JOHNSON:  We have had explosions in

11   Washington state, yes.

12              CHAIRWOMAN SHOWALTER:  And have we had leaks

13   without explosions?

14              MS. JOHNSON:  Definitely, numerous leaks

15   without explosions.

16              CHAIRWOMAN SHOWALTER:  I think my central

17   question for the panel, Mr. Kilpatrick, you may be the

18   appropriate person, but it seems evident that this

19   pipeline operator was on notice of the kinds of things

20   that were required to be done of a pipeline operator.

21   That is, the docket in front of us is not the first time

22   that the operator has been in apparent violation.  I use

23   those words carefully because I realize we have not had

24   a fact finding here.  So the question, the central

25   question I have is, why is it just in the Staff's view

0034

1   that we should approve of a settlement with no finding

2   of a violation?

3              MR. KILPATRICK:  As you stated, Staff has had

4   numerous occasions over the past couple of years to work

5   with Basin Frozen Foods and their contractors on

6   attempting to reach compliance with Federal and State

7   Pipeline Safety Codes.  As Ms. Johnson indicated, we had

8   an issue about a year ago where there were numerous

9   violations that the company then worked to provide

10   documentation for and make corrections to to bring

11   everything into compliance.

12              In the 2002 time frame when Ms. Johnson went

13   back to Basin Frozen Foods to do the next regular annual

14   inspection, standard inspection of Basin's pipeline

15   operations, much of the material that was available the

16   year prior was unavailable, and our inspectors can only

17   proceed in terms of what information is presented to

18   them.  So the findings that were made in the 2002

19   inspection were based on materials that were either

20   provided or unavailable and led to a number of the

21   issues before us, and that's why we brought the

22   complaint before the Commission and pursued the path

23   that we have.

24              In terms of developing a settlement with

25   Mr. Weber and his company over the current violations,

0035

1   alleged violations in the 2002, resulting from the 2002

2   inspection, we took into account the fact that Mr. Weber

3   went forward with working with Cascade Natural Gas

4   Company to put in place a contract that would provide

5   for Cascade assuming the responsibility of operations

6   and maintenance of Basin's natural gas pipeline.  We

7   believe that this was a significant factor that was

8   absent in the prior time frame in terms of a operations

9   requirement and an operator who would maintain records,

10   who would do periodic patrols, who would take care of

11   public notification, these kinds of things.  And we

12   believe that because of the -- because of the

13   relationship that Mr. Weber now has with Cascade Natural

14   Gas and the contract and the provisions that are in

15   there, we believe this significantly minimizes the

16   probability of future reoccurrence of these missing

17   elements that Ms. Johnson discovered in her 2002

18   inspection.  And so the -- we believe that was a very,

19   very important factor in terms of why we should reach a

20   settlement with Basin over the issues that we raised and

21   had the Commission issue in its complaint.

22              CHAIRWOMAN SHOWALTER:  Isn't it the case that

23   Basin Foods had already agreed to contract with Cascade

24   before the inspection that produced these violations?

25              MR. KILPATRICK:  Mr. Weber had a, and I would

0036

1   let him answer on his own behalf on that, but my

2   understanding was that Mr. Weber did have a relationship

3   with Cascade Natural Gas; however, the significant piece

4   involved from Staff's standpoint was an acceptance of

5   responsibility to be the operator of this natural gas

6   pipeline.  Cascade as we understand it through their

7   current contract with Basin has assumed that

8   responsibility as operator, and operators are the

9   responsible party who is required to do things like

10   maintain records, do periodic patrols, essentially all

11   of these actions that are required under the Pipeline

12   Safety Code.  And so we believe there was a distinct

13   difference between the prior arrangement that Mr. Weber

14   had with Cascade and the current arrangement.  In our

15   view, the prior arrangement was one more of a contractor

16   who was waiting for instruction from a facility owner,

17   who would do whatever activities were requested of it as

18   its contractor and do the appropriate work, but we

19   believe that the prior arrangement left Mr. Weber as the

20   operator who was responsible for deciding when and where

21   things needed to be taken care of.

22              CHAIRWOMAN SHOWALTER:  All right.  But am I

23   right that Cascade took over the pipeline operations in

24   September of 2002; is that correct?

25              I will ask Mr. Weber that question; is that

0037

1   correct?

2              MR. WEBER:  That's correct.

3              CHAIRWOMAN SHOWALTER:  All right.  So

4   starting September 2002, we have a different

5   arrangement.  Am I right there?

6              MR. KILPATRICK:  I guess so.

7              CHAIRWOMAN SHOWALTER:  Okay, Mr. Weber is

8   nodding his head yes.

9              MR. WEBER:  Right.

10              CHAIRWOMAN SHOWALTER:  So aren't we really

11   talking about Basin Foods being the operator up until

12   September 11th, 2002, and prior to that date as the

13   operator having what I would characterize as a series of

14   two sets of violations, one with 22 violations, one with

15   26, and with 11 repeats.  And a new era starts September

16   of 2002, but we're talking about this operator prior to

17   that.

18              MR. KILPATRICK:  Yes, Staff would agree.

19   That was our conclusion was that Mr. Weber was the

20   operator of the facility prior to the current

21   arrangement.

22              CHAIRWOMAN SHOWALTER:  I don't want to

23   oversimplify your rationale, so correct me if I'm wrong.

24   It sounds to me as if you're saying because there is

25   going to be or as of September 2002 has been a new

0038

1   operator, that obviates the need or excuses the need to

2   proceed with a finding of violation.  Is that -- that is

3   it doesn't really matter if there was a violation or not

4   or if we find one, if the Commission finds one or not,

5   because in the future this operator is no longer to be

6   operating the pipeline.  Is that more or less what

7   you're saying?

8              MR. KILPATRICK:  That's essentially correct,

9   yes.  What we're saying is that because Basin or because

10   Cascade Natural Gas is a known operator with, you know,

11   qualifications and engineering staff and maintenance

12   staff and on all of the requirements that it takes on as

13   its own local distribution company, it provides and

14   brings those resources to Basin Frozen Foods.  It is the

15   operator and assumes all of those responsibilities that

16   include things like record keeping and notification and

17   program maintenance such as the drug and alcohol

18   program, those kinds of things.

19              CHAIRWOMAN SHOWALTER:  But why is the future

20   behavior or conduct or compliance of a pipeline, let's

21   assume that Cascade knows what it's doing and is going

22   to do everything right in the future, why is that

23   promise of a fully compliant future, and it's just a

24   promise, determinative of whether this pipeline operator

25   over its period of being an operator should be excused

0039

1   from admitting a violation or proceeding to a fact

2   finding to determine if there was a violation?

3              MR. KILPATRICK:  I don't know if I have a

4   full answer to your question, but let me share with you

5   the Staff's thinking in terms of establishing this

6   settlement agreement.  We evaluated and looked at a

7   number of factors that the Commission has articulated in

8   the past as being important to consideration of

9   settlement, significantly deterrents.  There was a, in

10   this case as I said, a significant factor that would

11   provide deterrence for future misbehavior, if you will,

12   was this new relationship with Basin and Cascade in

13   terms of Basin engaging this professional firm to take

14   over all operations and maintenance activities,

15   including the record keeping and reporting.  We looked

16   at --

17              CHAIRWOMAN SHOWALTER:  Meaning for this

18   specific company, they are not likely to reoffend

19   because they aren't going to be a pipeline operator?

20              MR. KILPATRICK:  Yes, exactly.

21              In terms of rehabilitation, we see this as

22   same -- as really the same as deterrence.  We have that

23   Mr. Weber has, if you will, rehabilitated his position

24   in terms of likelihood to, you know, have violations in

25   the future because he has put a contract in place that

0040

1   has -- will have Cascade do a number of things.  And we

2   included some provisions.

3              Ms. Johnson talked about absence of

4   procedures within an operations and maintenance plan,

5   which is a requirement of the Federal Code.  Before we

6   finalized the settlement agreement with Basin, Cascade

7   developed specific operation and maintenance procedures

8   and a manual that would cover Basin's operations

9   specifically.  They created the information that

10   Ms. Johnson referred to that was missing with regard to

11   the as-built condition report, what exactly was put in

12   the ground at the time the pipeline was constructed, is

13   it PIG-able, is it constructed such that you can use

14   in-line inspection tool.  Cascade collected and produced

15   all of those bits of information.

16              In terms of general deterrence, we believe

17   that this action by the Commission if you were to accept

18   this settlement agreement the way it has been crafted

19   provides a notice to other operators that the Commission

20   and the Commission's Pipeline Safety Program is serious

21   about safety and compliance with the State and Federal

22   Codes.

23              CHAIRWOMAN SHOWALTER:  Well, I would like to

24   stop on that.  Why?  In other words, why isn't the

25   message, as long as after you get caught or have

0041

1   violated the second time around you make things good for

2   the future, you will be okay.  You can get away without

3   ever having been found to be in violation of our rules

4   so long as either you pass off the job to somebody else,

5   or maybe you do demonstrate that things are going to be

6   okay in the future.  But why is that general deterrence?

7   Because how does that send a message to all of the

8   people, the pipeline operators who aren't violating, why

9   should they continue to obey our rules if to violate

10   them they need only make good for future?

11              MR. KILPATRICK:  Well, to start with I would

12   say that I believe that our current methodology and our

13   current thinking about enforcement from the Pipeline

14   Safety Staff aspect is a significant change from what I

15   understand the Commission's policy has been or the Staff

16   approach has been in past years.  For the most part as I

17   understand, when the Commission's Pipeline Safety

18   Program, and again I will say that my experience in

19   Pipeline Safety Program began in 2001 so I don't have a

20   vast amount of time in this aspect of the Commission's

21   jurisdiction, but my understanding generally is that in

22   past years Commission Staff and companies have worked in

23   a informal manner to take care of alleged violations.

24   If there were problems that were seen by the Pipeline

25   Safety Staff, some letters and assurances perhaps were

0042

1   exchanged somewhat on an informal basis.  I believe that

2   this action that we're involved with today here in the

3   Commission's hearing room before the Commissioners is in

4   itself a significant difference in terms of how the

5   companies are going to view the Commission's Pipeline

6   Safety Program and our enforcement actions.

7              CHAIRWOMAN SHOWALTER:  Do you agree that if

8   we accept this settlement agreement, there have been 48

9   allegations of violations of our Pipeline Safety Rules

10   and officially none of them happened, none?  You're

11   talking as if they have happened, but officially there

12   has been no finding if we accept this that there has

13   been any violation.

14              MR. KILPATRICK:  From our Staff inspection

15   perspective, when we send an inspector out and they

16   evaluate the records of a company's operations and its

17   performance and they come up with essentially zeroes, if

18   you will, in areas where there's supposed to be a record

19   for a time period and there is no record, in our mind

20   that is a violation.

21              Now from a strict legal standpoint, I guess I

22   would have to ask Mr. Trotter if he has any comment on

23   that or can help me.

24              CHAIRWOMAN SHOWALTER:  Well, either one of

25   you can answer, but wouldn't you say that a settlement

0043

1   agreement of alleged violations approved by this

2   Commission that either expressly or implicitly finds no

3   violation means that officially there has been no

4   violation?

5              MR. TROTTER:  If I may respond, Donald T.

6   Trotter.  The question is a bit circular, because in

7   order for -- you could argue that in order for a

8   violation to occur, there has to be a finding of a

9   violation.  And so then under that reasoning, absent a

10   finding, there is no violation.  I think what

11   Mr. Kilpatrick is saying is that from the Staff's point

12   of view, when they go out and find the facts in the

13   field and allege that a violation occurred, in their

14   mind that is a violation that has occurred in the sense

15   that the conduct did not match the rule.  So under that

16   sort of way of thinking, there is a violation.  But you

17   are -- this agreement does call for a $40,000 payment,

18   which accounts, I think in Staff's mind, accounts for

19   the past conduct.

20              But you are technically correct, there is no,

21   in this agreement, no explicit finding of a violation.

22   I personally don't think that means that the conduct did

23   not occur.  The conduct did occur, but there's no

24   finding that the conduct, a legal conclusion of law,

25   that the conduct occurred and amounted to a violation.

0044

1   So I guess it depends on the perspective, but I think to

2   say that the conduct didn't happen I think is maybe too

3   broad.  But certainly if you do use the logic that in

4   order for a violation to occur there has to be a

5   finding, then the violation did not occur under that

6   analysis.

7              CHAIRWOMAN SHOWALTER:  Well, pipelines and

8   people conduct themselves in the real world and did in

9   the past in some manner, and the Staff made an

10   allegation and the Commission made an allegation that

11   that conduct was a violation.  But a settlement

12   determines in essence not that there was no violation,

13   but it proceeds to resolve the allegation without a

14   finding that there is a violation.  So, for example,

15   supposing one of these pipelines five years from now

16   blows up and damages something, and maybe the cause is

17   determined to be a weld.  If an investigation looks back

18   and says, was that due to a violation, it's going to

19   have to legally conclude -- well, I want to use my words

20   carefully here -- it will conclude that -- it can not

21   conclude as a matter of law that there was a violation,

22   because we as the legal fact finding body made the

23   allegation but did not find one.

24              MR. TROTTER:  Well, I'm assuming that if in

25   the future, if there is a future incident and it is

0045

1   found that the weld was defective, you could find the

2   violation then.

3              CHAIRWOMAN SHOWALTER:  Even if it's the same

4   allegation as the ones we are resolving today that were

5   alleged?

6              MR. TROTTER:  I would assume that a defective

7   weld is a violation of the rules on an ongoing basis,

8   and this does not -- this agreement deals nothing with

9   the future condition of this line.  The Staff's

10   viewpoint based on this is that the company is currently

11   in compliance, but if that turns out to be mistaken and

12   tomorrow there is a defective -- there is a preexisting

13   condition that is a continuing violation, that would be

14   a violation today, that can be alleged, found, and

15   sanctioned in the future.

16              I might also add, and this may be better from

17   the panel, but it's my understanding that in some

18   respects and perhaps not all, some of the lack of

19   documentation problems were later found, the

20   documentation was later found.  I don't think that's

21   true in every single instance, but in many documentation

22   was later produced.  It doesn't excuse the fact that

23   when they were at the audit it was not produced, but I

24   think that was a mitigating factor that was considered

25   by Staff.  But they can confirm that or not.

0046

1              CHAIRWOMAN SHOWALTER:  I would like to

2   explore the relationship of a fine or a penalty or a

3   payment in the amount of $40,000 without a violation.

4   What's the thinking there?  That's a fairly significant

5   amount to a company this size.  At the same time,

6   there's no finding of a violation, so do you consider

7   these to be trade offs for one another?

8              MR. TROTTER:  Just for clarification, you

9   mean does the Staff consider the $40,000 as a trade off

10   for not finding a violation?

11              CHAIRWOMAN SHOWALTER:  Yes.  I find a payment

12   of $40,000 fairly significant given that there is no

13   finding of a violation.

14              MR. TROTTER:  Perhaps I can answer that.

15   That was never a consideration that I am familiar with.

16   This was, $40,000 was, in my view, was a compromise of

17   the claims alleged in the complaint and no more, no

18   less.  But I don't believe there was ever any interest

19   in the trade off of the type that you have described.

20              CHAIRWOMAN SHOWALTER:  Why wouldn't the

21   natural progression be first there's a finding of a

22   violation, then depending on the violation and the

23   finding, the next step is a fine of whatever amount,

24   might be $5,000, might be $40,000, but how do you skip

25   over or why should we skip over the essential fact of

0047

1   whether there has or hasn't been a violation of our

2   rules?  Why are we jumping to a payment?

3              MR. TROTTER:  Well, that's essentially I

4   think a simple answer is because I think you can.

5   Whether you ought to based on your view of how you

6   administer the public service laws is a separate

7   question.

8              CHAIRWOMAN SHOWALTER:  That is my question,

9   why should we?

10              MR. TROTTER:  Okay, and Mr. Kilpatrick has

11   attempted to articulate that.  I think from our

12   perspective, from a legal perspective, it is a

13   compromise of a claim, and if the Commission as a matter

14   of policy indicates that there needs to be findings of

15   violations first before we compromise claims and

16   complaints, then it can annunciate that policy, and I

17   can assure you the Staff would adhere to it.

18              CHAIRWOMAN SHOWALTER:  I don't mean that, I

19   wouldn't be suggesting that's the alternative as some

20   kind of generic matter, that in any given case -- well,

21   I think a more natural progression is you might have a

22   finding of a violation with no fine, or you might have a

23   finding of a violation with a smaller fine, but that it

24   would be is that -- I'm having a hard time understanding

25   the rationale for having a hefty violation with no,

0048

1   excuse me, a hefty fine or payment amount I will call it

2   without a finding of violation.

3              MR. TROTTER:  I can give you maybe my

4   personal perspective on that, and this may be shared

5   only by me.  But to me, a finding of violation is a very

6   significant thing.  It may have consequences for

7   radically increased insurance premiums, other sorts of

8   economic consequences to a firm, so they have an

9   interest in -- I don't know if that's this firm, but I

10   think in general that's a very serious matter that has

11   consequences beyond this hearing room or even a Pipeline

12   Safety Program.  That has economic consequences to the

13   firms, so that's why you see in many areas of the law

14   agreements to settle matters without findings of fault.

15   This is another one of those.  So I think it's rational

16   to approach it that way.

17              I think the -- this is a, in my personal

18   view, a significant sum of money, as you noted, for a

19   small company with a four mile pipeline, and I think it

20   was based on the nature of the violations, the fact that

21   the documents weren't there.  He has a story to tell

22   about that I'm sure, but they weren't there and -- but

23   as Mr. Kilpatrick has explained.  At the same token,

24   this company did take affirmative action to solve its

25   problems and hire what we believe is a competent

0049

1   operator and brought itself into compliance.  That's the

2   key, another key factor that has been mentioned is the

3   company is now in compliance, has done all the things to

4   cure the violations.  And it was my sense that the Staff

5   was not interested in settling anything unless that

6   condition occurred.

7              So I guess if you look at the agreement as a

8   whole in context as Mr. Kilpatrick has described, that's

9   the kind of the rationale.  But that there was never a

10   sense from my perspective that, oh, well, let's make the

11   penalty this amount because we're not going to have a

12   finding of violation.  That was not thought about or

13   discussed at all.  But rather we looked at it as a

14   compromise of a claim and a way to get this situation

15   resolved in a way that satisfied considerations that

16   Staff applied to it subject to your review and approval.

17              CHAIRWOMAN SHOWALTER:  If you are an

18   insurance company or someone who has been damaged later

19   by something, why -- shouldn't the outside world be

20   entitled to be aware if there are real violations?  I

21   don't mean every single one every single time, but don't

22   we need to do our job for Pipeline Safety in general,

23   and to some extent you let the chips fall where they

24   may.  If you start trying to protect against the

25   insurance increases and things like that, then aren't we

0050

1   really fundamentally hiding information that other

2   industries may find relevant?  And I would commend

3   anyone to read the New York Times today on a pipeline

4   manufacturer, just as an aside.

5              MR. TROTTER:  I raised the insurance issue

6   just as my own personal thoughts.  I don't ascribe that

7   to this company.  Certainly this agreement has the

8   violation report, and it's a public document, and you

9   can go on line and find it, so I don't think there's

10   anything being hidden in that respect.

11              CHAIRWOMAN SHOWALTER:  But there is for

12   reporting for a company who may have to be getting

13   insurance.  I mean take this company, I mean it's not in

14   this business anymore, but might it not matter to

15   someone either lending money, insuring this company,

16   somehow otherwise engaged, that this company, we had

17   found it had violated our rules?

18              MR. TROTTER:  And I don't know the answer to

19   that question, but I don't think there was ever any

20   desire from -- this wasn't a concern articulated by this

21   company, but I'm just saying in general there are

22   collateral impacts beyond Commission regulation with

23   respect to findings of violations, and I'm assuming that

24   companies that wish to settle and prove compliance and

25   take steps to assure future compliance take that into

0051

1   account.  I think that's all I'm saying, and I don't

2   know what that list contains, but that might be one of

3   them.

4              CHAIRWOMAN SHOWALTER:  Okay.  I just want to

5   be clear on did Basin Foods ever have a drug and alcohol

6   testing program up to September of 2002, Ms. Johnson?

7              MS. JOHNSON:  Basin Frozen Foods had an

8   in-house policy of doing pre-drug testing and random

9   drug testing.  As far as having a drug and alcohol

10   program that resembled the regulation, they have never

11   had that, and their in-house policy was not intended to

12   cover that.

13              CHAIRWOMAN SHOWALTER:  So when Mr. Trotter is

14   mentioning they have brought themselves into compliance,

15   that is by handing the job off to somebody else as

16   opposed to themselves having complied with these various

17   provisions?

18              MR. KILPATRICK:  I would say that's correct,

19   yes.  That is, that contractual relationship that they

20   now have with Cascade Natural Gas and the fact that

21   Cascade has taken on that responsibility of operator of

22   the pipeline and assumes all of those requirements under

23   the Federal and State Code.

24              CHAIRWOMAN SHOWALTER:  Okay.  You had talked

25   about specific deterrence and rehabilitation and general

0052

1   deterrence, and I think we got off on a long discussion;

2   did you want to continue there?

3              MR. KILPATRICK:  I just had a couple of other

4   brief points to mention.  And again, that the Commission

5   has articulated a number of factors in terms of finally

6   reaching settlement, conservation of resources, time and

7   money is one of those.  We believed that since Basin had

8   indicated early on to us its willingness to work with

9   Staff and Cascade Natural Gas to correct all of these

10   violations, to produce a operation and maintenance plan

11   that was in conformance with the federal standards, to

12   have Cascade be the operator who was required to have

13   the drug and alcohol program and those kinds of things,

14   Mr. Weber indicated willingness to do that early on, and

15   it appeared to us that a settlement that would make sure

16   that those pieces were in place at the time that we

17   signed the settlement was the most expedient and

18   efficient way to reach compliance as opposed to, for

19   example, taking the matter to hearing with testimony and

20   exhibits and that kind of thing.

21              CHAIRWOMAN SHOWALTER:  Are you saying that

22   you think that if you had not reached this settlement

23   that the case would have gone to hearing and that would

24   have delayed compliance by Basin Foods?

25              MR. KILPATRICK:  Most certainly.  That was

0053

1   our assumption was that if we were not able to reach

2   settlement, the Staff was prepared to begin to develop

3   testimony and exhibits in support of a hearing before

4   this Commission, and we didn't believe that compliance

5   would be achieved until whatever the final outcome of

6   that series of hearings might have been, which could

7   have taken many months.

8              CHAIRWOMAN SHOWALTER:  So you think Mr. Weber

9   would have had incentive not to comply and bring himself

10   around prior to a contested hearing on these violations

11   if there was a contested hearing?

12              MR. KILPATRICK:  I believe that the

13   assurances that we know that all of the factors required

14   by the state and Federal Code are in place would not

15   have been there if we had gone to hearing.  We would

16   have not been interested in working or conversing

17   necessarily with Mr. Weber about whether or not all of

18   those elements had been completed and were in place, as

19   we were in terms of assuring that those pieces were in

20   place at the time that we signed the agreement.

21              CHAIRWOMAN SHOWALTER:  Why wouldn't you be

22   interested?  If you had -- if you got 26 violations

23   alleged against someone and you think you're prepared to

24   go to hearing, wouldn't you nevertheless, shouldn't you

25   nevertheless be very interested in curing them just as

0054

1   soon as possible, and wouldn't the company itself have a

2   very strong motive to cure them as soon as possible

3   regardless of whether there is a contested hearing or

4   not but I would say maybe especially if there is a

5   contested hearing?

6              MR. KILPATRICK:  Well, I don't know what

7   exactly Mr. Weber's motivation would have been on that

8   regard, but I know that from Staff's standpoint, we were

9   prepared to take the path of hearing very seriously, and

10   we were going to apply our resources to developing our

11   evidence that would be brought before the Commission in

12   a hearing.

13              CHAIRWOMAN SHOWALTER:  That's assuming that

14   Basin was going to mount a defense?

15              MR. KILPATRICK:  Correct.

16              CHAIRWOMAN SHOWALTER:  And you believed that

17   that would be likely the case?

18              MR. KILPATRICK:  Well, that was our -- that

19   was our alternative.  If we did not reach settlement,

20   our alternative was that we were going to move forward

21   with developing our testimony and evidence for the

22   Commission, and we were going to focus all of our

23   resources on doing that.  Now that's not to say we

24   weren't going to answer the phone if Mr. Weber were to

25   call and make an offer, but we were certainly not going

0055

1   to spend an inordinate amount of time continuing to try

2   and pursue settlement, because we knew that we had a

3   series of deadlines, dates where we were going to have

4   to have our information prepared, and that's where we

5   were going to focus our energies.

6              CHAIRWOMAN SHOWALTER:  I have no further

7   questions, thank you.

8              COMMISSIONER OSHIE:  I would like to follow

9   up just on that last issue, Mr. Kilpatrick, because it's

10   my understanding and in a general way at least that the

11   alleged violations have been cured, if you will, and

12   resolved by the fact that Cascade Natural Gas will

13   become the operator of the pipeline.  And that agreement

14   was signed on September 10th of 2002 to go into effect

15   on September 11th.  Now the settlement agreement wasn't

16   reached until November 25th, so I'm trying to reconcile

17   the dates with your comment that the compliance of the

18   company was hanging in balance while the settlement was

19   reached.

20              MR. KILPATRICK:  Yeah, excuse me for not

21   being clear about that.  There were some documents that

22   needed to be created prior to Basin coming into full

23   compliance.  There was a operations and maintenance

24   manual that needed to be created that talked about the

25   operation of this specific pipeline.  Mr. Keith Meissner

0056

1   from Cascade worked on producing several documents,

2   including this operations and maintenance manual,

3   starting after the September 11th date, and those -- all

4   of those pieces were made available to Staff prior than

5   to us signing the agreement.  There were a couple of

6   other pieces as well in terms of proof from Mr. Weber

7   that, for example, the pipeline marker had been

8   replaced.  We were provided evidence that he had taken

9   care of that.  And so the other thing that was of

10   significant value in our mind was the development of the

11   as-built condition report, the collection of all of the

12   information about the materials, the procedures, and the

13   facilities that were put in place at the time this

14   pipeline was originally constructed.

15              COMMISSIONER OSHIE:  Thank you.

16              COMMISSIONER HEMSTAD:  Well, this is really a

17   question to Mr. Weber.  It's quite obvious that the

18   Chair has concerns about the conduct of the company in

19   view of the fact that this is the second time around.

20   I'm also interested to hear that at least some of the

21   issues were later resolved by the documentation not

22   available originally was later provided.  You can decide

23   as to whether you want to answer this or not, but are

24   you prepared to acknowledge that there were, in fact,

25   violations of a certain number of these or the

0057

1   allegations of violations are true?

2              MR. WEBER:  Well, it's true that we did not

3   have the documentation when they came, you know, to look

4   at it.  I believe that we had most of the documentation,

5   we just didn't have it available at the inspection.

6              And I would like to take a few minutes

7   whenever it's appropriate to walk through from the

8   beginning to this point on how we ended up with the

9   pipeline just to let you all know how we ended up with

10   the pipeline.

11              COMMISSIONER HEMSTAD:  How you ended up with

12   the pipeline?

13              MR. WEBER:  Yeah, if now would be the

14   appropriate time, I will start from the beginning and

15   explain that.

16              COMMISSIONER HEMSTAD:  This is your best

17   opportunity to describe to us whether we should or

18   should not accept the settlement, so you better proceed.

19              MR. WEBER:  Okay.  Well, to start with, when

20   we got ready to built the plant, I went to Avista

21   Utilities, told them that we were building this potato

22   processing plant, we're going to need gas.  They says,

23   no problem, they had gas coming right into Warden, and

24   that wouldn't be a problem.

25              And so I was putting water lines in and

0058

1   whatnot, and they decided that that was a good

2   opportunity to put in their gas pipeline, which was a

3   low pressure system from their regulator station.  They

4   put it in the same ditch I had open, got it off the road

5   and part way to the plant there, and then they come back

6   to me 30 days later, the plant wasn't going to be done

7   for 18 months from when I started the water project so

8   we had time, they come back to me a month or so later

9   and says, well, we decided that low pressure is not

10   enough gas, we're going to need high pressure.  They

11   said, don't worry about it, we've got high pressure gas

12   coming right along the road there.  So they proceeded,

13   and this would be Avista, to put a high pressure four

14   inch pipeline from my plant up to where their main line

15   came in.

16              Well, a month or so goes by, and they come

17   back and say they have another problem.  I says, well,

18   what's that.  They says, we don't have enough gas coming

19   into Warden.  I says, so now what do we do.  They says,

20   well, the original deal was they didn't have enough gas

21   on the Northwest pipeline.  They says, well, don't

22   worry, we'll see if we can buy some capacity from

23   Cascade.  Another month or so goes by, they come back

24   and says, well, you know, that's not going to work, they

25   won't sell us any capacity, they may sell you some

0059

1   capacity.  And so I worked a deal with Cascade, they

2   were going to sell me some capacity, bring it on

3   Avista's pipeline.  So I got back with Avista, told them

4   okay, that's fine, we've got the gas situation worked

5   out so everything is fine.

6              So they come back again and they says, well,

7   our pipeline coming from the Northwest pipeline into

8   Warden is not big enough.  I says, so now what.  They

9   says, well, I guess you have to put your own in, or you

10   can put one in and, you know, pay for it and we'll own

11   it, but they were going to charge me the regular

12   tariffs.  And I says, well, if I've got to put the

13   pipeline in, I'd just as well own it and not pay that

14   price.

15              And I went to Cascade at that time and told

16   them that I was going to have to put this pipeline in,

17   but I didn't want anything to do with running it.  I

18   says, you know, I will own it, but I want something with

19   Cascade so that they maintain this thing for me.  And

20   they says, you know, they don't have a problem with

21   that, they helped do the engineering, helped me find the

22   people to put it in, I paid for it.

23              Then the Commission told us, well, Cascade

24   can not operate that line in Avista's jurisdiction.  And

25   so they says, well, they can have a maintenance

0060

1   agreement.  So I says, well, you know, a pipeline, I

2   figured what's the difference, a maintenance agreement,

3   that's about all that's done on a pipeline that I knew

4   about, so I had a maintenance agreement with Cascade.

5   But I could not have the operation agreement with

6   Cascade, because they said they couldn't have the

7   operations agreement in Avista's territory.  And I guess

8   I didn't know enough about the pipeline procedures

9   there.  I thought the maintenance covered basically

10   everything that went on.

11              Well, the first inspection we had Cascade

12   present for the inspection, and we got by that.  You

13   know, we had to gather some pieces of paper that we

14   didn't have there, but we got everything satisfactory.

15   The next year when they come back, Cascade's in the

16   middle of their own audit, we says, well, Cascade can't

17   be here, we would like them to be here for this audit.

18   They says, well, you know, we have to do the audit now,

19   we can't wait for Cascade to be available.  So we went

20   through the second audit without Cascade being present

21   even though they were the -- they had the maintenance

22   agreement on it, and they had a lot of the paperwork

23   that we needed to have.  And so that was -- I think a

24   lot of our problem there is that we didn't have Keith

25   there during our inspection so we could have found the

0061

1   right pieces of paper along with the guy that had been

2   through the inspection the year before was no longer

3   with Basin Frozen Foods, so we had a new guy that had

4   the files, but he wasn't familiar with it.

5              And, you know, so I would just like to say

6   that our intention was never to operate a pipeline, and

7   we, you know, we didn't want to put the pipeline in to

8   start with.  We basically starting building the plant

9   and found out that Avista didn't have the capability to

10   supply us with gas.  And, you know, you're right about,

11   yeah, we're a small company, we have started up, we have

12   been struggling.  That's why I told Mr. Kilpatrick, I

13   says, you know, I can't afford a $40,000 fine, so that's

14   how we come about a monthly payment, because I says, I

15   can't -- I can't afford to do that, so we had come up

16   with this monthly payment program to try and ease the

17   burdon on Basin Frozen Foods.

18              CHAIRWOMAN SHOWALTER:  From your point of

19   view, are you more concerned about the money that you

20   need to pay, the $40,000, or of weighting admitting a

21   violation?

22              MR. WEBER:  Well, I don't think that we have

23   the violations necessarily out there.  I think we had

24   the piece of paper.  We had a violation in the fact that

25   we did not have the piece of paper readily available.

0062

1   You know, the money is, you know, a separate issue.  You

2   know, the economy has been a little tough, and we have

3   been struggling just like the rest of it.  Our bank has

4   downsized, now we're out looking for a new bank, and I

5   sent Mr. Kilpatrick all the paperwork showing that

6   aspect as well.  You know, our bank said, hey, they

7   can't loan that much money any more.

8              But our intention all along has been to make

9   sure that pipeline is in compliance.  It's never, you

10   know, been our intention to try and do it any cheaper

11   than the next guy, and that's why we, you know, wanted

12   from day one an agreement with Cascade to, you know,

13   maintain it.  And I thought the maintenance and

14   operation was basically the same step.  I mean we're

15   never out there turning any valves.  I mean if there's

16   any valves to be turned, Cascade's been the one to do

17   that from day one.

18              CHAIRWOMAN SHOWALTER:  I have one question

19   for Mr. Trotter.  In your memo, you said:

20              The payment amount is in line with other

21              results reached in similar Commission

22              cases, taking into account the size of

23              the pipeline and the range of compliance

24              issues presented.

25              Was our case in Puget one of those cases

0063

1   you're referring to?

2              MR. TROTTER:  That language was approved by

3   Mr. Kilpatrick, and he was the one that --

4              CHAIRWOMAN SHOWALTER:  All right, I will ask

5   Mr. Kilpatrick.

6              MR. TROTTER:  But I do know, as you have

7   observed earlier, this is a small company with a four

8   mile line as opposed to a multibillion dollar company

9   with hundreds of miles of lines, and that was certainly

10   a factor that was considered.  But if Mr. Kilpatrick has

11   more to add on that, I would certainly invite him.

12              MR. KILPATRICK:  Yes, that's correct.  We did

13   look at other issues that had been before the Commission

14   and the Pipeline Safety Staff in recent months and

15   years, and the Puget decision was one of those that we

16   considered as well.

17              CHAIRWOMAN SHOWALTER:  So in that case there

18   was no finding of a violation and a $50,000 fine for

19   some four years of negligence.  So you're saying this

20   fits underneath that in essence --

21              MR. KILPATRICK:  I would say more --

22              CHAIRWOMAN SHOWALTER:  -- because it's a

23   smaller company and fewer violations, alleged

24   violations?

25              MR. KILPATRICK:  Well, I think this is a

0064

1   smaller company, but there were a great deal more

2   alleged violations in the case of Mr. Weber than -- the

3   issue in the Puget case was a single issue having to do

4   with their drug and alcohol program.  Yes, it was over a

5   period of time, but it was, in terms of noncompliance,

6   it was more or less a single issue revolving around that

7   aspect of their program.

8              CHAIRWOMAN SHOWALTER:  Okay.

9              COMMISSIONER OSHIE:  Mr. Kilpatrick, I think

10   we have talked around it a little bit, but perhaps you

11   can very briefly state why Staff believes that the

12   penalty is just and reasonable under the circumstances.

13              MR. KILPATRICK:  Yes, thank you.  We believe

14   that the information that was provided to Staff, both

15   about the nature of the violations or noncompliance

16   issues, the size of the pipeline, the size of Basin as a

17   company, all together were considered and brought to a

18   conclusion that this was a fair and just settlement

19   amount.  Mr. Weber, as he said, did provide us with

20   information about his company's financial records.  We

21   reviewed those and were unable to come to distinct

22   conclusions about his company, but we did also talk to

23   his comptroller, who told us that the company has in

24   2002 worked on developing supply contracts with some

25   companies where Basin will be the supplier of the

0065

1   product that they produce and that those we understood

2   were to begin sometime in 2003.  That led us to this

3   conclusion that a payment schedule over the 2003 time

4   frame was fair and just and would match up somewhat with

5   the company's own stated opportunities for enhanced

6   revenue.

7              COMMISSIONER OSHIE:  There's been quite a bit

8   of discussion this morning about, in response to the

9   Chair's questions, about the finding of a violation as a

10   requirement in the settlement, and I guess my, you know,

11   with -- given the discussion that's already occurred, we

12   don't have to repeat that, but are there circumstances

13   in which Staff would believe that a finding of a

14   violation in settlement of a complaint would be

15   appropriate?

16              MR. KILPATRICK:  I think in terms of what

17   Staff -- has been in our mind, my mind and our -- my

18   staff's mind when we have talked about this issue of

19   violations and enforcement and settlement, our interest

20   is the ultimate outcome, it's compliance, it's having

21   all of the required pieces in place.  Whether or not a

22   company admits it violated provisions of the law is

23   secondary in terms of our -- the outcome that we're

24   trying to achieve is to see that the proper pieces of

25   records, of procedures, of, you know, installation and

0066

1   operations, ideas that all of those are in place.

2              As inspectors, what we are looking at is the

3   regulation that specifies a certain activity or record

4   must be in place by the company.  If that's there, then,

5   you know, we are -- we feel that we have done our job.

6   If we have reached that complies through a settlement

7   where a company has taken actions to get everything in

8   place and also is providing some evidence to us that the

9   outcome in the future is going to remain the same, that

10   is the next time we come and do an inspection that we

11   will find that all of the correct factors are in place

12   again, we think there's a strong likelihood of that, I

13   think we have achieved our end.

14              CHAIRWOMAN SHOWALTER:  Do you agree you

15   didn't achieve it the first time around because the

16   second time happened?

17              MR. KILPATRICK:  In this instance I agree we

18   didn't achieve it the first time.  When we came to do

19   the second inspection, we find similar violations from

20   what we found before.  We didn't achieve our end the

21   first time, and so we have taken the step of bringing

22   the complaint request to the Commission and moving

23   forward in a formal hearing or settlement standpoint,

24   and that has brought us now to what we believe is

25   compliance.  All of the pieces are in place.

0067

1              COMMISSIONER OSHIE:  I have a housekeeping

2   question, and that's on the settlement agreement, page

3   6, and it's in Paragraph 26, it's the use of the word

4   emergency in the last sentence.  The paragraph heading

5   is the surveillance plan, and perhaps you can clarify

6   whether the last sentence should be reworded to state

7   that:

8              Based on that review, Staff believes the

9              surveillance plan compliance with 49 CFR

10              192.613.

11              MR. KILPATRICK:  I believe you're correct,

12   but I would have to check that and make sure of the

13   language.  I don't have the Federal Code that is cited

14   there before me right now.

15              MR. TROTTER:  If I might just comment, there

16   are some code sections in Appendix C that might help you

17   if you want to take a short moment, with the Bench's

18   permission.

19              JUDGE SCHAER:  Go ahead.

20              MR. TROTTER:  It's under violation, we're off

21   the record, it's under violation --

22              JUDGE SCHAER:  I did not take us off the

23   record, Mr. Trotter.

24              MR. TROTTER:  I will just note for the record

25   that in Appendix C to the settlement agreement, I

0068

1   believe it's under the violation 11(a), the Appendix is

2   not numbered, but there is 192.613.

3              MR. KILPATRICK:  Ms. Johnson did have the

4   code cite with her here, 49 CFR Part 192.613 is entitled

5   continuing surveillance, and so I believe Commissioner

6   Oshie's question is correct, I think that last sentence

7   should be modified to say that Staff believes the

8   continuing surveillance plan complies with the provision

9   of the code.

10              JUDGE SCHAER:  Would the parties like to have

11   Exhibit 1 modified to make that change?

12              MR. TROTTER:  Yes, Your Honor.

13              MR. WEBER:  Yes.

14              JUDGE SCHAER:  On page 6 of the settlement

15   agreement, the last sentence of Paragraph 26, we will

16   strike the word emergency and replace it with the word

17   surveillance.

18              COMMISSIONER HEMSTAD:  Mr. Weber, I have just

19   one general question.  What is the scope of your

20   operations of Basin Foods?

21              MR. WEBER:  It's a french fry plant and hash

22   brown plant, so we produce french fries and hash browns.

23   They're frozen.

24              COMMISSIONER HEMSTAD:  And how many people do

25   you employ?

0069

1              MR. WEBER:  We employ between 200 and 225

2   depending on what we're doing there.

3              COMMISSIONER HEMSTAD:  That's an average

4   full-time employee?

5              MR. WEBER:  Full-time.

6              COMMISSIONER HEMSTAD:  And where are your

7   headquarters?

8              MR. WEBER:  In Warden, Washington right

9   there, which I might add, on this pipeline we're

10   discussing, it's all out through the rural area.  I mean

11   it doesn't go through town or anything.  It's just along

12   a country road, and that's why some of the signs will be

13   missing from time to time where the farm equipment, you

14   know, has knocked them over and whatnot.  That's how

15   some of those signs end up missing.

16              CHAIRWOMAN SHOWALTER:  I take it the pipeline

17   hooks up to your plant with 225 employees?

18              MR. WEBER:  That's right.

19              JUDGE SCHAER:  I would like to ask just a

20   couple of questions.  I believe either you,

21   Mr. Kilpatrick, or you, Mr. Weber, will be able to

22   answer them.  We have talked about the inspection that

23   took place in 1991, but in doing your work with this

24   company, have you reviewed Docket UG-001119, which was a

25   proceeding in which Cascade Natural Gas was granted

0070

1   authority under its certificate to serve Basin Frozen

2   Foods?

3              COMMISSIONER HEMSTAD:  I believe you said

4   1991, did you mean 2001?

5              JUDGE SCHAER:  Thank you, yes, I did.

6              Did anyone review that before making the

7   plans for what happened following that time?

8              MR. KILPATRICK:  Yes, we did, Staff -- the

9   Pipeline Safety Staff was involved at the time that

10   Cascade sought a certificate of convenience and public

11   necessity from this Commission for a small strip of

12   service territory that was intended to provide their

13   ability to serve Mr. Weber and his facility, and so we

14   were familiar with that, and that was considered in

15   preparation for the inspection that was done in 2001 and

16   2002.

17              JUDGE SCHAER:  And my understanding from

18   reading the order, which is public record, is that

19   Cascade was allowed to provide the services that were in

20   their Tariff 700?

21              MR. KILPATRICK:  Yes, that's correct, that

22   was our understanding.

23              JUDGE SCHAER:  Okay.  The contract between

24   Basin and Cascade is not before the Commission right

25   now; is that correct?

0071

1              MR. KILPATRICK:  That's correct.

2              JUDGE SCHAER:  A couple of more just

3   foundation questions.  Is it correct that in that

4   proceeding there was a letter or affidavit filed by

5   Mr. Weber indicating his intention to sign a contract

6   with Cascade at that time?

7              MR. KILPATRICK:  I'm not aware of that.

8              JUDGE SCHAER:  Mr. Weber, are you aware of

9   that?

10              MR. WEBER:  I think there was something in

11   there, but I, you know, don't recall exactly what it was

12   at this time.

13              JUDGE SCHAER:  Okay.  In looking at -- do you

14   have a copy available to you of Cascade's Tariff 700?

15              MR. KILPATRICK:  I don't have it before me,

16   no.

17              JUDGE SCHAER:  Okay.  What provisions, if

18   any, are there in the Cascade contract for notifying the

19   Commission if that contract is going to be ending?

20              MR. KILPATRICK:  I don't recall the

21   provisions specifically.  We could --

22              JUDGE SCHAER:  It looks like perhaps your

23   co-panel member can find that, or Mr. Trotter may know.

24              MR. TROTTER:  I would just bring to your

25   attention, Your Honor, there is a provision in the

0072

1   settlement agreement that deals with that, Paragraph 12

2   on page 4.  Basin is required to give the Commission two

3   days, two working days' notice if it's notified by

4   Cascade that it will cease to be the operator, which I

5   assume means the contract is terminated, the same thing.

6              JUDGE SCHAER:  But what --

7              MR. TROTTER:  I am not able to answer based

8   on the contract between Mr. Weber and Cascade.

9              JUDGE SCHAER:  Is there anything in here that

10   requires notification to be given to the Commission if

11   Basin cancels the contract?

12              MR. TROTTER:  The language of the agreement

13   is that if Cascade ceases to be the operator.

14              JUDGE SCHAER:  Okay.

15              MR. TROTTER:  So that would cover both

16   situations, whoever terminates the contract.

17              JUDGE SCHAER:  My concern is that the

18   notification -- oh, I understand, so you're saying that

19   if Cascade ceases for any reason, that it is no longer

20   the operator, it will trigger the notice requirement; is

21   that correct?

22              MR. TROTTER:  That is correct.

23              JUDGE SCHAER:  Had you found the information?

24              MR. KILPATRICK:  I have a copy of a letter

25   dated November 20th, 2002, from Keith Meissner of

0073

1   Cascade Natural Gas to Mr. Weber, and there is a

2   sentence in here in the last paragraph that says:

3              If this contract is ever terminated,

4              Basin Frozen Foods should seek another

5              qualified operator for this pipeline.

6              Otherwise, Basin Frozen Foods will

7              become responsible for operating and

8              maintaining the pipeline to the minimum

9              requirements of 49 CFR 192 and 199 as

10              well as WAC 480-93.

11              JUDGE SCHAER:  And looking at the notice

12   Mr. Trotter referred to in Paragraph 12 of the

13   settlement agreement, is Staff going to be able to

14   respond with two days' notice in order to supervise or

15   in some way check out the new operations and make sure

16   they're in compliance?

17              MR. KILPATRICK:  I don't know that I have an

18   answer specifically to that question.  We considered

19   that as we were drafting this and tried to assure

20   ourselves that we would have an opportunity for notice

21   if Cascade ceased to be the operator and Mr. Weber were

22   to pursue a different operator.  I think our belief at

23   the time was that we would take whatever action

24   necessary and whatever we could to work with Mr. Weber

25   to identify that any subsequent contract that he put in

0074

1   place with another firm perhaps to be his operator or

2   the operator of the pipeline would be qualified to do

3   so.

4              MR. TROTTER:  I will just note, Your Honor,

5   that Paragraph 12 also requires that if there is no

6   qualified operator, Basin will shut off its pipeline

7   until it has one.

8              JUDGE SCHAER:  Thank you, Mr. Trotter, I had

9   read that portion.

10              How serious or dangerous is a failure of a

11   250 PSI pipeline?

12              MR. KILPATRICK:  I'm not sure if I can give

13   you an answer.  I can indicate that it is serious.  I

14   can't give you any figures about exactly what would

15   happen.  That would all, of course, be all hypothetical.

16   But compressed gases contained in a pipeline, no matter

17   whether the gases are flammable or not, have a somewhat

18   of an explosive potential as if the facility that is

19   containing those compressed gases were to rupture, the

20   gases would expand explosively.  There would be a

21   throwing of dirt, debris, and perhaps pieces of the

22   facility into the air.  Then since a natural gas

23   pipeline, of course, contains a flammable gas, if that

24   were to ignite, then you would have additional potential

25   damage from flame itself.

0075

1              JUDGE SCHAER:  Okay.  How serious are the

2   violations in this complaint by Staff's judgment?  Is

3   this simply a matter of documentation, or are some of

4   these concerns dealing with not having a program in

5   place at all?

6              CHAIRWOMAN SHOWALTER:  I think we should

7   correct, it's alleged violations.

8              JUDGE SCHAER:  Thank you.

9              MR. KILPATRICK:  When we began to develop our

10   position on this and develop the way that we would like

11   to see resolution, we separated the code violations into

12   those kinds of alleged violations that were records

13   keeping and program development kinds of activities from

14   things that were more in our mind serious because they

15   potentially could affect the public or the workers at

16   the plant.

17              One of the significant pieces there was the

18   absence of appropriate information to be able to

19   determine exactly what was in the ground, the as-built

20   condition of the pipeline.  Without the records for

21   that, there was no way to definitively determine what

22   was the maximum allowable operating safe pressure of

23   this pipeline.  That kind of a determination is a

24   engineering calculation that's done based on the

25   strength and capabilities of the various components of

0076

1   the pipeline.  Without a listing of exactly what those

2   components were, there is no way to make that

3   determination.  So we thought this was very serious.

4   There was the potential that this pipeline could be

5   being operated above its engineering determined maximum

6   allowable operating pressure.  Now that, as it's turned

7   out once we have been provided that information and that

8   kind of calculation has been done, that was not the

9   case, but we had no evidence to say one way or another

10   exactly what the situation was until that documentation

11   was provided.  That was one of the major things that we

12   thought was very serious here.

13              JUDGE SCHAER:  Were there others?

14              MR. KILPATRICK:  Generally speaking, the

15   issues that we thought were critical or very serious

16   were those ones that could affect the general public,

17   and so those aspects like notification and signage and

18   those kinds of things where the pipeline was on public

19   property or third party property, we believed that those

20   were very serious.  Those are the protections that

21   companies are required to take or put in place to

22   protect the safety of the general public.  And with

23   those are absent, we believe those are very serious.

24              CHAIRWOMAN SHOWALTER:  As a follow-up to your

25   answer and on the question of spending resources,

0077

1   doesn't it take the resources of the Commission to track

2   down whether or not there really is in the ground or

3   isn't in the ground sufficiently a pipeline with

4   sufficient integrity, and isn't that why having the

5   adequate records is important to save those kinds of

6   resources from having to be spent?

7              MR. KILPATRICK:  Absolutely, I would agree.

8   The resources in that case if the records were not

9   available would be not only our own, the Commission's

10   resources, but they would be the resources perhaps of

11   Basin Frozen Foods, who may have to re-excavate and

12   expose that pipe so that you could physically look at

13   what was there.

14              CHAIRWOMAN SHOWALTER:  So getting back to

15   your philosophy that fundamentally as long as you make

16   it right in the future that's what you're looking for,

17   isn't that the wrong message to send other pipeline

18   operators?  Shouldn't we be sending the message, you

19   need to have your records in place so that we can come

20   and we can inspect and we can determine then and there,

21   right there, that things are okay.  Otherwise, all of us

22   have to go spend a bunch of time to determine that

23   either things are okay or that they aren't okay.  And

24   that it's not all right to have records missing and have

25   to do this because -- and it's not all right simply to

0078

1   make sure in the end the future is going to be taken

2   care of, because that process takes time if these rules

3   are not followed, because the rules are there in order

4   to be able to ensure efficiently that everything is ship

5   shape.

6              MR. KILPATRICK:  Well, I guess I would agree

7   in part.  You know, our -- the inspection that

8   Ms. Johnson did at a point in time was based on the

9   information that was provided and made available by

10   Basin Frozen Foods.  We raised the issue of records with

11   them.  There were some of those records that were

12   eventually shown to have been in place but not available

13   at the time.  Our intention is yes, that a company is

14   required to retain records, to have those available, to

15   make sure that we can ascertain and ensure that all of

16   the Pipeline Safety Code requirements are being met, and

17   I think that is why -- that is part of the reason that

18   we brought this issue before the Commission as a request

19   for a complaint and this process was that just because

20   Mr. Weber was able to provide those records eventually,

21   it wasn't adequate to not have them in the first place.

22   You know, it's, as you say, you need to not only ensure

23   that you can show compliance to the future but that

24   you're complying all the time.

25              COMMISSIONER HEMSTAD:  The contract with

0079

1   Cascade is not in the record.  From your earlier

2   remarks, is it fair to conclude you have reviewed that

3   and you are confident that that contractual arrangement

4   with an experienced operator now on a going forward

5   basis should assure that, reasonably assure that

6   compliance will occur?

7              MR. KILPATRICK:  Yes, we have reviewed the

8   contract that was put in place between Basin and

9   Cascade, and one of the other significant pieces in that

10   is the indication to Basin by Cascade that they have --

11   they are taking on the role of operator of this

12   facility.  In the past, we believe there has been that

13   -- that piece has been missing, that acknowledgment and

14   acceptance of responsibility for the ongoing maintenance

15   of records, the ongoing activities that are required.

16              COMMISSIONER HEMSTAD:  What does operator

17   entail?  Is that on site personnel on a regular basis,

18   or what is required for this relatively small pipeline?

19              MR. KILPATRICK:  What is required includes

20   records maintenance that the pipeline was built

21   originally to the proper minimum specifications, that

22   any activities on a going forward basis on the pipeline

23   are done by staff who are qualified to do those tasks,

24   that the firm who is doing that operation and

25   maintenance has in place the antidrug and alcohol misuse

0080

1   prevention program that's required by code, all of those

2   aspects.

3              COMMISSIONER HEMSTAD:  All right, take that

4   example, I'm trying to grasp the scope of this to have

5   an antidrug and continual surveillance program, of whom

6   and whose employees?

7              MR. KILPATRICK:  It's of the employees that

8   may be doing operations or maintenance activities on the

9   pipeline.

10              COMMISSIONER HEMSTAD:  And those would be

11   Cascade employees?

12              MR. KILPATRICK:  Those would be Cascade

13   employees in this case, yes.

14              COMMISSIONER HEMSTAD:  Just so I understand,

15   on the issue of the records as built in the ground, I

16   understand the problems of they don't exist, but in this

17   case what, they were later provided?

18              MR. KILPATRICK:  Yes, since Cascade was

19   involved in the original construction, they were able to

20   pull together both the purchasing invoices and the

21   construction records to be able to produce what we call

22   an as-built condition report.

23              JUDGE SCHAER:  I have just a couple more

24   questions about the Cascade contract.  Has anyone on the

25   panel personally reviewed that contract?

0081

1              MR. KILPATRICK:  Yes, Ms. Johnson did.

2              JUDGE SCHAER:  Ms. Johnson, do you know if

3   the contract indicates in any way that the contract is

4   one where Cascade is going to provide the services

5   outlined in its Tariff Schedule 700?

6              Or, Mr. Weber, do you know that?

7              MR. WEBER:  I'm not familiar with, you know,

8   what the -- or that familiar with it to recall if it was

9   Schedule 700.

10              MS. JOHNSON:  I don't believe the contract

11   mentions Schedule 700, but it listed the activities in

12   Schedule 700.  We have a copy of the contract in our

13   office, I could bring one up.

14              JUDGE SCHAER:  Again, I was reviewing the

15   Commission's order in Docket UG-001119, and if I read it

16   correctly, that order reflects an agreement by Cascade

17   to limit itself to providing services outlined in its

18   Tariff Schedule 700 in this service territory.  Did you

19   review that before you did your 2001 or 2002 audits,

20   Mr. Kilpatrick?

21              MR. KILPATRICK:  Yes.  As I indicated

22   previously, Staff was familiar with that docket and took

23   a look at the results of that docket prior to doing

24   those inspections.

25              JUDGE SCHAER:  As a hypothetical, if Cascade

0082

1   were providing service under this contract under its

2   Tariff Schedule 700, would that be a contract the

3   Commission would have to approve?

4              MR. KILPATRICK:  I'm sorry, I don't know the

5   answer to that.

6              JUDGE SCHAER:  Okay.

7              Mr. Trotter, do you know off the top of your

8   head?

9              MR. TROTTER:  One, I'm not sure the

10   assumption is correct, I would have to investigate that.

11   But assuming it is correct, I would also have to review

12   the tariff and the statutes to answer that.

13              JUDGE SCHAER:  Okay.

14              MR. TROTTER:  I don't have an answer for you

15   now.  If you want an answer, we can provide it at a date

16   certain if you need it.

17              JUDGE SCHAER:  Well, I think I did ask this

18   as a hypothetical, if that were the case, but I am

19   curious about whether contracts with companies are going

20   to be reviewed here and whether that would provide

21   another means for the Commission to review and determine

22   whether those were in the public interest?

23              MR. TROTTER:  Well, I can tell you it's my

24   understanding this particular contract was not brought

25   to the Commission for approval, and so that begs the

0083

1   question whether it should have been.  And I don't know

2   the answer to that question, and I don't know whether

3   it's a contract under Tariff 700.  It's my general

4   understanding, have to investigate further, that

5   Mr. Weber paid for and owns the pipeline, so it's -- and

6   so I am not -- it's not clear to me that this is

7   activity, regardless of the local distribution area

8   extension granted Cascade, whether this is an operation

9   under that certificate or not.

10              JUDGE SCHAER:  That's not clear to me either,

11   that's what I'm trying to find out.

12              MR. TROTTER:  Right.  And so my sense is that

13   it's not and that this is simply a non-tariff type

14   maintenance of a pipeline of a private entity as opposed

15   to a customer of natural gas.  That's my sense at this

16   moment, but I haven't investigated it thoroughly.

17              CHAIRWOMAN SHOWALTER:  But on a going forward

18   basis with respect to that pipeline, who is the

19   regulated entity?

20              MR. TROTTER:  Well, I think technically they

21   both are, because our statute, for example, talks about

22   entities that own or operate.  But in terms of the

23   pipeline's -- so you would have some jurisdiction over

24   Basin Frozen Foods in that regard, but in terms of the

25   Pipeline Safety Rules, I think it refers to operators.

0084

1   So if, for example, Cascade fails to maintain a

2   surveillance plan or some other document that's required

3   to be maintained, I think they would be in violation.

4   It's possible that the owner could be too for failure --

5   there may be some duty that the owner needs to assure

6   that the operator is in compliance.  I haven't

7   researched that, but Cascade I think primarily would be

8   the entity that would be the respondent in the complaint

9   if that should occur.

10              JUDGE SCHAER:  Anything further?

11              Okay, thank you for your testimony.

12              Is there anything further to come before the

13   Commission at this time?

14              MR. TROTTER:  The only thing I have, Your

15   Honor, is if you are interested in definitive answers to

16   your questions regarding how Schedule 700 fits and

17   whether this contract needs to be filed for Commission

18   approval, if you want to set up a manner in which to

19   resolve that, that's fine.  We would endeavor to work

20   with Basin and Cascade to try to figure that out if

21   that's important to the Commission.

22              JUDGE SCHAER:  I think, Mr. Trotter, if there

23   is anything we determine should be provided that a

24   letter will be sent to the parties indicating that.

25              Is there anything further this morning at

0085

1   this hearing?

2              Thank you all for attending, we're adjourned.

3              (Hearing adjourned at 11:30 a.m.)

4

5

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25