## 2021 Rate Calculation
Cascade Natural Gas Corp.
| Replacement Projects 11-1-20 to 10-31-21 |  |  | Actual costs thru
September with
|  |  |  | Estimtimated Cost | 2021-09-30
| Project | Location | Funding Projects-Work Orders | thru October | Actual Cost |  | TYPE OF PIPE TO BE REPLACED
1 | C/M ANACORTES SSIP REPLACEMENT; PH8 | ANACORTES | FP-318186-WO #274769, FP-318187-WO #274770 | 1107776.49 | 1331654.11 | EVSP (PRE-CNG, FISH, PRE-1970)
2 | C/M SHELTON SSIP REPLACEMENT; PH4 | SHELTON | FP-318186-WO #284792, FP-318187-WO #284794 | 1501775.89 | 1501775.89 | EVSP (PRE-CNG, PRE-1970)
3 | CRM, ANACORTES/SHELTON EVSP REPLACEMENT | Anacortes/Shelton | FP-318186, FP-318187 WO-TBD | 1104864.48 | 0 | EVSP (PRE-CNG)
4 | CRM RPL; 12" STL HP, LONG/KELSO PH4 | LONGVIEW/KELSO | FP-316570-WO #276206 | 4652683.24 | 4652683.24 | EVSP (PRE-CNG)
5 | CRM SHELTON PIPE REPLACEMENT | SHELTON | FP-317519-WO #266054, FP-317528-WO #266102 | 100347.1 | 118008.94 | EVSP (PRE-CNG)
6 | CRM RPL; 3" HP; Zilliah; 873' | ZILLIAH | FP-316033-WO #282253, FP-319112-WO #282316 | 667492.09 | 667492.09 | EVSP (FISH)
7 | 12” LONGVIEW KELSO HP DISTRIBUTION EVSP REPLACEMENT, PHASE 5 | LONGVIEW | FP-316571-WO #284449 | 2074013.9 | 1366900.14 | EVSP (PRE-CNG)
8 | C/M; RPL 8" MARCH POINT PH 2 | ANACORTES | FP-316923-WO #280309, FP-320458-WO #284821, FP-320485-WO #285218 | 2342597.27 | 2302597.27 | EVSP (PRE-1970)
9 | 4” OTHELLO HP EVSP REPLACEMENT | OTHELLO | FP-316034-WO #266858 | -289599.12 | -60958.04 | EVSP (PRE-1970)
10 | 8” CENTRAL WHATCOM TRANSMISSION EVSP REPLACEMENT | BELLINGHAM | FP-319502-WO #278429 | 609686.16 | 609686.16 | EVSP (PRE-1970)
11 | 8” CENTRAL WHATCOM TRANSMISSION EVSP REPLACEMENT | BELLINGHAM | FP-319503-WO #278431 | 126008.16 | 126008.16 | EVSP (PRE-1970)
12 | C/M RPL; 6" HP; ANACORTES; PH3 | ANACORTES | FP-316580-WO #283405, FP-320458-WO #284821 | 1411424.22 | 1388126.22 | EVSP (FISH)
13
14
15 | Total Estimated Replacement Cost |  |  | 15409069.88 | 14003974.18
16
17 |  |  |  |  | Schedule | Schedule | Schedule | Schedule | Schedule | Schedule
18 |  |  |  |  | 503 | 504 | 505 | 511 | 570 | 663
19
20 | Rate Base Allocation from UG-170929 Company COS |  |  | 279938461 | 139245995 | 64103014 | 7030783 | 5473765 | 806645 | 63278259
21 | Percentage |  |  | 100% | 49.74% | 22.9% | 2.512% | 1.955% | 0.2882% | 22.6%
22
23
24 | Total Investment |  | Ln 15 | 15409069.88
25
26 | Depreciation Expense - Rate 2.63% |  | Ln 24* 2.63% | 405258.5378 | 405258.5378
27 | Accumulated Depr. (Avg) |  | Ln 26 / 2 | 202629.2689
28 | Accum Tax depreciation |  | Ln 24 *3.75% | 577840.1205
29 | Deferred Tax |  | (Ln 28 - Ln 26) * .21 | 36242.1324
30 | Accum Def Tax (Avg) |  | Ln 29 / 2 | 18121.0662
31 | FIT |  | Ln 26* .21 |  | 85104.2929
32 | Interest Coordination Adj (Rate Base x Weighted Cost of Debt (2.336%) x 21% FIT) |  |  |  | 74507.8204
33 | Rate Base |  | Ln 15 - Ln 30 - Ln 27 | 15188319.5449
34 | Authorized ROR from UG-200568 |  |  | 6.951%
35
36 | NOI |  | ((Ln 33 * Ln 34) | 1055740.0916 | 245646.4245
37 | Total NOI |  | Sum Ln 36 | 1301386.5161
38 | Conversion Factor in UG-200568 |  |  | 0.75481
39 | Revenue Requirement (Current Year Investment) |  | Ln 37 / Ln 38 | 1724124.6355
40 | 2021 Current Revenue Requirement of 2020 Investments |  |  | 1384261.992
41
42 | Total Revenue Requirement |  | Ln 45 + Ln 46 | 3108386.6275
43 | Less UG-200493 Updated Revenue Requirement (From UG-200568 Compliance filing) |  |  | 1419324
44
45 | Increase in Revenue Requirement |  |  | 1689062.6275
46
47 | Allocation Rev Req to Schedules |  | Ln 42 * Ln 21 |  | 1546162.636 | 711788.408 | 78068.5576 | 60779.708 | 8956.8419 | 702630.4759
48 | Weather Normalized 2020 Volumes |  |  |  | 133192845 | 90995004 | 11588336 | 26356512 | 2107574 | 629871983
49
50
51 | Rate Charge |  | Ln 47 / Ln 48 |  | 0.011608 | 0.0078223 | 0.0067368 | 0.0023061 | 0.0042498 | 0.0011155
52
53 | 2020 Commission Basis Total Revenue |  |  |  | 265512253
54 | Percentage Increase in Revenue |  | Ln 45 / Ln 53 |  | 0.6362%

## 2020 Rate Calculation
Cascade Natural Gas Corp.
| Replacement Projects 1-1-20 to 10-31-20 |  |  | Actual costs thru
September with
Estimtimated Cost
| Project | Location | Funding Projects | thru October |  |  | TYPE OF PIPE TO BE REPLACED
1 | C/M RPL; 2,6,8" HP; ANACORTES; PH3 | ANACORTES | FP-316580 | 0 |  | BARE STEEL/PRE-CNG PIPE - IDENTIFIED HIGH (RED) RISK IN DIMP
2 | CRM Pipe Replacement, Anacortes | ANACORTES | FP-316691,FP-317514, FP-317524, FP-318321, FP-318325, FP-318186, FP-318187 | 7631034.17 |  | BARE STEEL/PRE-CNG PIPE - IDENTIFIED HIGH (RED) RISK IN DIMP
3 | CRM RPL; 12" STL HP, LONG/KELSO PH3 | LONGVIEW/KELSO | FP-316569 | 167810.18 |  | PRE-CNG PIPE - HIGH (RED) IN DIMP
4 | CRM SHELTON PIPE REPLACEMENT | SHELTON | FP-317519, FP-317528 | 341064.44 |  | PRE-CNG PIPE - IDENTIFIED HIGH (RED) RISK IN DIMP
5 | CRM RPL; 3" HP; Zilliah; 873' | ZILLIAH | FP-316033 | 0 |  | PRE-CNG PIPE - IDENTIFIED HIGH (RED) RISK IN DIMP
6 | CRM KELSO GRADE ST BRIDGE RELOCATE | KELSO | FP-307212 | 72404.79 |  | EXPOSED PIPE SUSCEPTIBLE TO CORROSION RISK - MODERATE (ORANGE)
7 | CRM Longview | LONGVIEW | FP-317516, FP-317596, FP-317612, FP-317614 | 46047.48 |  | PRE-CNG PIPE
8 | C/M; 2,6,8" HP; ANACORTES; PH2 | ANACORTES | FP-316579, FP-317529 | 1131792.42 |  | PRE-CNG PIPE
9 | CRM KELSO PIPE REPLACEMENT | KELSO | FP-317518, FP-317527, FP-319198, FP-319199 | 121341.02 |  | HIGH-MODERATE RISK IN DIMP
10 | CRM 2" STL BELLINGHAM | BELLIGHAM | FP-317428 | 38830.54 |  | BARE STEEL/PRE-CNG PIPE IDENTIFIED HIGH (RED) RISK IN DIMP
11 | C/M; 4" HP; OTHELL0; 9,801' | OTHELLO | FP-316034 | 3135079.27 |  | EARLY VINTAGE STEEL PIPE PRE-1970
12 | CRM RP; 8" BRIDGE XING, WALLA WALLA | WALLA WALLA | FP-317219 | -434.52 |  | EARLY VINTAGE STEEL PIPE PRE-1970
13
14
15 |  |  | GRC compliance
16
17
18
19 | Total Estimated Replacement Cost |  |  | 12684969.79 | 0
20 |  |  |  |  | Schedule | Schedule | Schedule | Schedule | Schedule | Schedule
21 |  |  |  |  | 503 | 504 | 505 | 511 | 570 | 663
22 | Rate Base Allocation from UG-170929 Company COS |  |  | 279938461 | 139245995 | 64103014 | 7030783 | 5473765 | 806645 | 63278259
23 | Percentage |  |  | 100% | 49.74% | 22.9% | 2.512% | 1.955% | 0.2882% | 22.6%
24 | Total Investment |  | Ln 20 | 12684969.79
25 | Depreciation Expense - Rate 2.63% |  | Ln 40* 2.63% | 333614.7055 | 333614.7055
26 | Accumulated Depr. (Avg) |  | Ln 41 / 2 + 1st yr depr | 500422.0582
27 | Accum Tax depreciation |  | See Calc Below | 933550.3517
28 | Deferred Tax |  | (Ln 43 - Ln 41) * .21 | 26092.3486
29 | Accum Def Tax (Avg) |  | Ln 44 / 2 | 90956.9416
30 | FIT |  | Ln 41* .21 |  | 70059.0882
31 | Interest Coordination Adj (Rate Base x Weighted Cost of Debt (2.336%) x 21% FIT) |  |  |  | 59326.319
32 | Rate Base |  | Ln 20 - Ln 42 - Ln 45 | 12093590.7902
33 | Authorized ROR from UG-200568 |  |  | 6.951%
34 | NOI |  | ((Ln 48 * Ln 49) and (Ln 41 - Ln 46-Ln 47) | 840625.4958 | 204229.2983
35 | Total NOI |  | Sum Ln 50 | 1044854.7942
36 | Conversion Factor in UG-200568 |  |  | 0.75481
37 | Revenue Requirement (Current Year Investment) |  | Ln 51 / Ln 52 | 1384261.992
38 | 2020 Current Revenue Requirement
39 | Total Revenue Requirement |  | Ln 53 | 1384261.992
40 | Less UG-190455 Updated Revenue Requirement (From UG-190210 Compliance filing)
41 | Increase in Revenue Requirement |  |  | 1384261.992
42 | Allocation Rev Req to Schedules |  | Ln 54 * Ln 39 |  | 688554.6835 | 316981.6878 | 34766.3756 | 27067.109 | 3988.7624 | 312903.3736
43 | Weather Normalized 2019 Volumes |  |  |  | 130528548 | 92679715 | 13156465 | 18010718 | 2270481 | 621523064
44 | Rate Charge |  | Ln 55 / Ln 56 |  | 0.0052751 | 0.0034202 | 0.0026425 | 0.0015028 | 0.0017568 | 0.00050345
45 | 2019 Commission Basis Total Revenue |  |  |  | 247324990
46 | Percentage Increase in Revenue |  | Ln 54 / Ln 58 |  | 0.5597%
Accum
| Tax Depreciation | Year 1 |  | 3.75% | 475686.3671 | 475686.3671
|  | Year 2 |  | 7.219% | 915727.9691 | 457863.9846
933550.3517