## Sheet1
Measure | PY2023 Units | Verified Savings (kWh) | Measure Life | Life Savings
E Energy Star Certified Refrigerator and Refrigerator-Freeze | 483 | 62744 | 16 | 1003904
E Energy Star Certified Upright Freezer | 58 | 3484 | 16 | 55744
E Energy Star Rated Clothes Dryer | 320 | 91111 | 16 | 1457776
E Energy Star Rated Top Load Washer | 85 | - | 16 | 0
E Energy Star Rated Front Load Washer | 186 | 19745 | 16 | 315920
E Electric To Air Source Heat Pump | 91 | 275317 | 20 | 5506340
E Electric to Ductless Heat Pump | 92 | 76891 | 15 | 1153365
E Smart Thermostat DIY with Electric Heat | 79 | 28762 | 15 | 431430
E Smart Thermostat Paid Install with Electric Heat | 178 | 84390 | 15 | 1265850
E Attic Insulation With Electric Heat | 83 | 95650 | 45 | 4304250
E Energy Star Certified Insulated Door | 21 | 24800 | 40 | 992000
E Floor Insulation With Electric Heat | 9 | 12062 | 45 | 542790
E Wall Insulation With Electric Heat | 20 | 27759 | 45 | 1249155
E Window DIY Replc With Electric Heating | 15 | 7217 | 45 | 324765
E Window Replc from Single Pane W Electric Heat | 225 | 148341 | 45 | 6675345
E Heat Pump Water Heater | 44 | 49543 | 13 | 644059
E Energy Star Home - Manufactured, Electric Only | 25 | 72887 | 25 | 1822175
E Energy Star Home - Manufactured, Gas & Electric | 7 | 21150 | 25 | 528750
E Multifamily Window Replc from Single Pane W Electric Heat | 112 | 265744 | 45 | 11958480
E Multifamily Energy Star Certified Refrigerator and Refrigerator-Freeze | 12 | 84 | 16 | 1344
E Multifamily Electric to Ductless Heat Pump | 22 | 58168 | 15 | 872520
E Multifamily Heat Pump Water Heater | 26 | 34164 | 13 | 444132
E Multifamily Energy Star Rated Front Load Washer | 9 | 1080 | 16 | 17280
E Multifamily Energy Star Rated Clothes Dryer | 16 | 4958 | 16 | 79328
E Multifamily Attic Insulation With Electric Heat | 10 | 4036 | 45 | 181620
E Multifamily Line Voltage Thermostat Electric Baseboard | 1 | 65 | 15 | 975
E Multifamily Energy Star Rated Top Load Washer | 4 | - | 16 | 0
E Multifamily Smart Thermostat DIY with Electric Heat | 3 | 2817 | 15 | 42255
E Multifamily Floor Insulation to R-30 | 2 | 3038 | 45 | 136710
E Multifamily Energy Star Certified Insulated Door | 5 | 791 | 40 | 31640
E Multifamily Electric To Air Source Heat Pump | 1 | 2842 | 20 | 56840
E Multifamily Wall Insulation With Electric Heat | 1 | 1801 | 45 | 81045
E Multifamily Smart Thermostat Paid Install with Electric Heat | 5 | 4496 | 15 | 67440
E Multifamily Line Voltage Smart Thermostat Electric Baseboard | 1 | 156 | 15 | 2340
E Multifamily Window DIY Replc With Electric Heating | 1 | 1543 | 45 | 69435
E Air Infiltration | 43 | 30005 | 20 | 600100
E Air Source Heat Pump | 3 | 2635 | 20 | 52700
E Attic Insulation With Electric Heat | 23 | 10222 | 45 | 459990
E Conversion to Air Source Heat Pump | 40 | 231245 | 20 | 4624900
E Conversion to Ductless Heat Pump | 26 | 80037 | 15 | 1200555
E Deferred Maintenance Pilot | 4 | 0 | 0 | 0
E Door Sweep | 2 | 42 | 5 | 210
E Duct Insulation | 10 | 6716 | 45 | 302220
E Duct Sealing | 10 | 7099 | 20 | 141980
E Energy Star Certified Refrigerator and Refrigerator-Freeze | 4 | 156 | 16 | 2496
E Exterior Doors | 41 | 11919 | 40 | 476760
E Floor Insulation With Electric Heat | 30 | 35045 | 45 | 1577025
E Health Safety and Repair | 65 | 0 | 0 | 0
E Lighting | 30 | 251 | 12 | 3012
E Smart Thermostat Paid Install with Electric Heat | 1 | 749 | 15 | 11235
E Wall Insulation With Electric Heat | 6 | 11252 | 45 | 506340
E Window Replc from Single Pane W Electric Heat | 59 | 24048 | 45 | 1082160
Med Temp ECM | 1 | 688 | 15 | 10320
Case Light | 1 | 15600 | 12 | 187200
Commercial Convection Oven Electric full size | 1 | 2991 | 8 | 23928
Commercial Dishwasher Low Temp Electric Hot Water | 1 | 3801 | 12 | 45612
Hot Food Holding Cabinet Less Than 15 Cubic Feet HFHC (1/2 size) | 1 | 398 | 8 | 3184
Attic =< R11 to R45+ | 16 | 59998 | 45 | 2699910
Wall =< R4 to 19+ | 5 | 22186 | 45 | 998370
Attic =< R11 to R30-R44 | 4 | 4829 | 45 | 217305
VFD on Supply/Exhaust Fan | 1 | 329595 | 16 | 5273520
Smart Thermostat | 1 | 257 | 15 | 3855
300 HP Ind | 1 | 4535 | 8 | 36280
1000 watt HID Fixture to 400 watt or less LED Fixture or Retrofit (Ext) | 11 | 216952 | 12 | 2603424
150 watt HID Fixture to 50 watt or less LED Fixture or Retrofit (Ext) | 16 | 57377 | 12 | 688524
175 watt HID Fixture to 100 watt or less LED Fixture (Ext, NC) | 17 | 115900 | 12 | 1390800
175 watt HID Fixture to 100 watt or less LED Fixture or Retrofit (Ext) | 40 | 160497 | 12 | 1925964
250 watt HID Fixture to 140 watt or less LED Fixture (Ext, NC) | 4 | 33657 | 12 | 403884
250 watt HID Fixture to 140 watt or less LED Fixture or Retrofit (Ext) | 37 | 168767 | 12 | 2025204
320 and 400 watt HID Fixture to 160 or less watt LED Fixture (Ext, NC) | 29 | 188581 | 12 | 2262972
320 watt HID Fixture to 160 watt or less LED Fixture or Retrofit (Ext) | 9 | 188875 | 12 | 2266500
400 watt HID Fixture to 175 watt or less LED Fixture or Retrofit (Ext) | 123 | 1364248 | 12 | 16370976
70-89 watt HID Fixture to 25 watt or less LED Fixture or Retrofit (Ext) | 23 | 77420 | 12 | 929040
750 watt HID Fixture to 300 watt or less LED Fixture or Retrofit (Ext) | 2 | 15901 | 12 | 190812
90-100 watt HID Fixture to 30 watt or less LED Fixture or Retrofit (Ext) | 25 | 84251 | 12 | 1011012
>= 150W Incandescent to <= 30W LED Fixture | 15 | 485126 | 12 | 5821512
>= 42W CFL to <= 20W LED Fixture | 18 | 286708 | 12 | 3440496
1000 watt HID Fixture to 400 watt or less LED Fixture | 3 | 205979 | 12 | 2471748
175-watt HID Fixture to 75-watt or less LED Fixture | 8 | 158892 | 12 | 1906704
2, 3, 4-Lamp T12/T8 Fixture to LED Qualified 2x4 Fixture | 78 | 762313 | 12 | 9147756
250-watt HID Fixture to 140-watt or less LED Fixture | 4 | 47251 | 12 | 567012
2-Lamp T12/T8 Fixture to LED Qualified 1x4 Fixture | 33 | 86019 | 12 | 1032228
2-Lamp T12/T8 Fixture to LED Qualified 2x2 Fixture | 28 | 415942 | 12 | 4991304
400 watt HID Fixture to 175 watt or less LED Fixture | 30 | 567174 | 12 | 6806088
65W Incadescent to <= 10 watt LED Fixture | 7 | 106834 | 12 | 1282008
75-100 watt Incandescent Can to less than 20 watt LED Fixture Retrofit | 48 | 263591 | 12 | 3163092
Four Pin Base CFL to 17 watt or less Plug in LED | 11 | 101207 | 12 | 1214484
DLC Qualified LLLC Fixture | 27 | 120153 | 12 | 1441836
T12/T8 (2') Lamp to 1-Lamp less than 13 watt T8 TLED | 22 | 33013 | 12 | 396156
T12/T8 (3') Lamp to 1-Lamp less than 17 watt T8 TLED | 8 | 8483 | 12 | 101796
T12/T8 (4') Lamp to 1-Lamp less than 23 watt T8 TLED | 321 | 3034714 | 12 | 36416568
T12/T8 8' Fixture to 90 watt or less 8' LED fixture | 31 | 510869 | 12 | 6130428
T12/T8 Eight-Foot to LED | 62 | 241618 | 12 | 2899416
T12/T8 U-Bend to less than 23 watt T8 LED | 27 | 89470 | 12 | 1073640
T5 Lamp to 1-Lamp less than 18 watt T5 TLED | 4 | 26287 | 12 | 315444
T5HO (4') 4-Lamp to 135 watt of less LED Fixture | 11 | 141094 | 12 | 1693128
T5HO (4') 6-Lamp to 165 watt of less LED Fixture | 18 | 265496 | 12 | 3185952
T5HO Lamp to 1-Lamp less than 29 watt T5HO TLED | 60 | 667433 | 12 | 8009196
TLED (4') Lamp to TLED (4') Lamp with 5 watt or more reduction | 4 | 71954 | 12 | 863448
Ceiling or Fixture Occupancy sensor with built-in relays | 20 | 81201 | 12 | 974412
Sign Lighting | 93 | 359178 | 12 | 4310136
SS Lighting | 28 | 10293194 |  | 0
SS Non-Lighting | 26 | 1979722 |  | 0
LED Fixture - replacing CFL Screw-in/Pin-based, 8W - 40W | 136 | 18973 | 12 | 227676
LED Fixture - replacing FLT12, 400W - 1000W | 1025 | 614741 | 12 | 7376892
LED Fixture - replacing FLT12, 400W - 1000W with OCC | 2496 | 1800114 | 12 | 21601368
LED Fixture - replacing FLT5: 2ft to 8ft, 14W - 54W | 79 | 36424 | 12 | 437088
LED Fixture - replacing FLT5: 2ft to 8ft, 14W - 54W with OCC | 805 | 832355 | 12 | 9988260
LED Fixture - replacing FLT8: 2ft to 8ft, 17W - 59W | 871 | 270947 | 12 | 3251364
LED Fixture - replacing FLT8: 2ft to 8ft, 17W - 59W with OCC | 1066 | 639356 | 12 | 7672272
LED Fixture - replacing Halogen/Incandescent lamp, 150W - 1500W | 66 | 48261 | 12 | 579132
LED Fixture - replacing Halogen/Incandescent lamp, 150W - 1500W with OCC | 14 | 19614 | 12 | 235368
LED Fixture - replacing Halogen/Incandescent lamp, 20-150W | 2298 | 861710 | 12 | 10340520
LED Fixture - replacing Halogen/Incandescent lamp, 20-150W with OCC | 210 | 99173 | 12 | 1190076
LED Fixture - replacing Metal Halide/High Pressure Sodium lamp, < 100W | 237 | 77170 | 12 | 926040
LED Fixture - replacing Metal Halide/High Pressure Sodium lamp, < 100W with OCC | 23 | 17331 | 12 | 207972
LED Fixture - replacing Metal Halide/High Pressure Sodium lamp, 100W - 250W | 331 | 168686 | 12 | 2024232
LED Fixture - replacing Metal Halide/High Pressure Sodium lamp, 100W - 250W with OCC | 189 | 191572 | 12 | 2298864
LED Fixture - replacing Metal Halide/High Pressure Sodium lamp, 320W - 400W | 210 | 288383 | 12 | 3460596
LED Fixture - replacing Metal Halide/High Pressure Sodium lamp, 320W - 400W with OCC | 23 | 37858 | 12 | 454296
LED Fixture - replacing Metal Halide/High Pressure Sodium lamp, 400W - 1000W | 359 | 548126 | 12 | 6577512
LED Fixture - replacing Metal Halide/High Pressure Sodium lamp, 400W - 1000W with OCC | 378 | 641736 | 12 | 7700832
LED Replacement Lamp - replacing FLT12: 2ft to 8ft, 34W - 80W | 6804 | 643602 | 12 | 7723224
LED Replacement Lamp - replacing FLT12: 2ft to 8ft, 34W - 80W with OCC | 9 | 2653 | 12 | 31836
LED Replacement Lamp - replacing FLT5: 2ft to 8ft, 17W - 54W | 478 | 48416 | 12 | 580992
LED Replacement Lamp - replacing FLT8: 2ft to 8ft, 17W - 59W | 25138 | 1753411 | 12 | 21040932
LED Replacement Lamp - replacing FLT8: 2ft to 8ft, 17W - 59W with OCC | 82 | 23796 | 12 | 285552
LED Replacement Lamp - replacing Halogen/Incandescent lamp, 20-150W | 3223 | 897010 | 12 | 10764120
LED Replacement Lamp - replacing Halogen/Incandescent lamp, 20-150W with OCC | 407 | 181686 | 12 | 2180232
LED Replacement Lamp - replacing Metal Halide/High Pressure Sodium lamp, < 100W | 26 | 5639 | 12 | 67668
LED Replacement Lamp - replacing Metal Halide/High Pressure Sodium lamp, 100W - 250W | 19 | 8680 | 12 | 104160
LED Replacement Lamp - replacing Metal Halide/High Pressure Sodium lamp, 320W - 400W | 5 | 1186 | 12 | 14232
LED Replacement Lamp - replacing Metal Halide/High Pressure Sodium lamp, 400W - 1000W | 1 | 1130 | 12 | 13560
LED Replacement Lamp - replacing Metal Halide/High Pressure Sodium lamp, 400W - 1000W with OCC | 6 | 6004 | 12 | 72048
LED Retrofit Kit - replacing FLT12, 400W - 1000W | 30 | 26910 | 12 | 322920
LED Retrofit Kit - replacing FLT12, 400W - 1000W with OCC | 37 | 13657 | 12 | 163884
LED Retrofit Kit - replacing FLT8: 2ft to 8ft, 17W - 59W with OCC | 53 | 11360 | 12 | 136320
LED Retrofit Kit - replacing Metal Halide/High Pressure Sodium lamp, 400W - 1000W | 76 | 84536 | 12 | 1014432
Total | 51273 | 37389482 |  | 335649741
aMW | 4.2682
First Year MWh Savings | 37389.482
Lifetime MWh Savings | 335649.741