## Confidential
This file contains confidential information
Shaded information is designated as confidential per WAC 480-07-160
REDACTED
VERSION

## p.1-3 Thermal inputs
Puget Sound Energy
Rate Year Resources Inputs Summary
Thermal Resources
2019 GRC Proposed
Resource | Heat rate (Btu/kWh) | Capacity (MW)1 | Duct fire capacity (% of total) | Duct fire heat rate (Btu/kWh) | Variable O&M nominal $/MWh2 | Variable major maintenance nominal $/MWh2 | Total variable O&M 2012 $/MWh3 | Forced outage rate (%) | Min capacity (%) | Min up time (hrs) | Min down time (hrs) | Heat rate at min (Btu/kWh) | Start-up fuel (MMBtu/MW/start) | Start-up cost ($/MW/start) nominal $2 | Start-up cost ($/MW/start) $20123 | Average fuel price nominal $/MMBtu2 | Average variable transport nominal $/MMBtu2 | Average total fuel cost 2012 $/MMBtu3 | Colstrip line loss %
Ferndale | XXX | 271 | 9.9631 | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | n/a
Goldendale | XXX | 300 | 6.6667 | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | n/a
Mint Farm | XXX | 314 | 10.828 | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | n/a
Sumas | XXX | 122.7656 | n/a | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | n/a
Freddy1 | XXX | 133.598 | 7.0896 | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | n/a
Encogen | XXX | 165.789 | n/a | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | n/a
Fredonia 1 | XXX | 103.862 | n/a | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | n/a
Fredonia 2 | XXX | 103.862 | n/a | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | n/a
Fredonia 3 | XXX | 55.2976 | n/a | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | n/a
Fredonia 4 | XXX | 55.2976 | n/a | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | n/a
Frederickson 1 | XXX | 74.2549 | n/a | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | n/a
Frederickson 2 | XXX | 74.2549 | n/a | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | n/a
Whitehorn 2 | XXX | 74.2549 | n/a | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | n/a
Whitehorn 3 | XXX | 74.2549 | n/a | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | n/a
Colstrip 1 | XXX | 153.5 | n/a | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX
Colstrip 2 | XXX | 153.5 | n/a | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX
Colstrip 3 | XXX | 185 | n/a | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX
Colstrip 4 | XXX | 185 | n/a | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX
Bold text in column headings indicates values are actual inputs in the AURORA model
1. Only PSE's portion of capacity shown for shared resources Colstrip and Freddy 1
2. Fuel prices and Costrip variable O&M nominal values are expressed in 2020/2021 dollars. All other nominal values are in 2018 dollars.
3. The AURORA economic base year is 2012. Values expressed in nominal dollars are de-escalated using the AURORA escalation rate of 2.5% prior to model input.
2017 GRC Settlement
Resource | Heat rate (Btu/kWh) | Capacity (MW)1 | Duct fire capacity (% of total) | Duct fire heat rate (Btu/kWh) | Variable O&M nominal $/MWh2 | Variable major maintenance nominal $/MWh2 | Total variable O&M 2012 $/MWh3 | Forced outage rate (%) | Min capacity (%) | Min up time (hrs) | Min down time (hrs) | Heat rate at min (Btu/kWh) | Start-up fuel (MMBtu/MW/start) | Start-up cost ($/MW/start) nominal $2 | Start-up cost ($/MW/start) $20123 | Average fuel price nominal $/MMBtu2 | Average variable transport nominal $/MMBtu2 | Average total fuel cost 2012 $/MMBtu3 | Colstrip line loss %
Ferndale | XXX | 271 | 9.9631 | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | n/a
Goldendale | XXX | 300 | 6.6667 | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | n/a
Mint Farm | XXX | 314 | 10.828 | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | n/a
Sumas | XXX | 122.7656 | n/a | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | n/a
Freddy1 | XXX | 133.598 | 7.0896 | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | n/a
Encogen | XXX | 165.789 | n/a | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | n/a
Fredonia 1 | 10690 | 103.862 | n/a | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | n/a
Fredonia 2 | XXX | 103.862 | n/a | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | n/a
Fredonia 3 | XXX | 55.2976 | n/a | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | n/a
Fredonia 4 | XXX | 55.2976 | n/a | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | n/a
Frederickson 1 | XXX | 74.2549 | n/a | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | n/a
Frederickson 2 | XXX | 74.2549 | n/a | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | n/a
Whitehorn 2 | XXX | 74.2549 | n/a | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | n/a
Whitehorn 3 | XXX | 74.2549 | n/a | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | n/a
Colstrip 1 | XXX | 153.5 | n/a | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX
Colstrip 2 | XXX | 153.5 | n/a | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX
Colstrip 3 | XXX | 185 | n/a | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX
Colstrip 4 | XXX | 185 | n/a | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX
Bold text in column headings indicates values are actual inputs in the AURORA model
1. Only PSE's portion of capacity included here for shared resources Colstrip and Freddy 1
2. Fuel prices and Costrip variable O&M nominal values are expressed in 2018 dollars. All other nominal values are in 2016 dollars.
3. The AURORA economic base year was 2012. Values expressed in nominal dollars were de-escalated using the AURORA escalation rate of 2.5% prior to model input.
Changes (positive values indicate an increase relative to the 2017 GRC, negative values a decrease)
Resource | Heat rate (Btu/kWh) | Capacity (MW) | Duct fire capacity (% of total) | Duct fire heat rate (Btu/kWh) | Variable O&M nominal $/MWh | Variable major maintenance nominal $/MWh | Total variable O&M 2012 $/MWh | Forced outage rate (%) | Min capacity (%) | Min up time (hrs) | Min down time (hrs) | Heat rate at min (Btu/kWh) | Start-up fuel (MMBtu/MW/start) | Start-up cost ($/MW/start) nominal $ | Start-up cost ($/MW/start) $2012 | Average fuel price nominal $/MMBtu | Average variable transport nominal $/MMBtu | Average total fuel cost 2012 $/MMBtu | Colstrip line loss %
Ferndale | XXX | 0 | 0 | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | -
Goldendale | XXX | 0 | 0 | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | -
Mint Farm | XXX | 0 | 0 | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | -
Sumas | XXX | 0 | - | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | -
Freddy1 | XXX | 0 | 0 | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | -
Encogen | XXX | 0 | - | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | -
Fredonia 1 | XXX | 0 | - | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | -
Fredonia 2 | XXX | 0 | - | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | -
Fredonia 3 | XXX | 0 | - | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | -
Fredonia 4 | XXX | 0 | - | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | -
Frederickson 1 | XXX | 0 | - | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | -
Frederickson 2 | XXX | 0 | - | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | -
Whitehorn 2 | XXX | 0 | - | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | -
Whitehorn 3 | XXX | 0 | - | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | -
Colstrip 1 | XXX | 0 | - | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX
Colstrip 2 | XXX | 0 | - | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX
Colstrip 3 | XXX | 0 | - | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX
Colstrip 4 | XXX | 0 | - | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX
REDACTED
VERSION
REDACTED
VERSION
REDACTED
VERSION

## p.4 Hydro & Wind inputs
Puget Sound Energy
Rate Year Resource Inputs Summary
Hydro and Wind
2019 GRC Proposed
Resource | Capacity (MW) | Capacity factor (%) | Monthly energy volume source | Hourly shape assumption | Available capacity, average (MW)1
Upper Baker | 105 | XXX | 80-yr inflows, PSE model4 | Optimized per AURORA logic | 90.8273
Lower Baker | 111.2 | XXX | 80-yr inflows, PSE model | Flat3 | n/a
Snoqualmie Falls | 46.9 | XXX | 80-yr inflows, PSE model | Flat3 | n/a
Mid C Wells | 141.62 | 63.64% | 80-yr inflows, regional study4 | Optimized per AURORA logic | 135.1325
Mid C Rocky Reach | 319.9125 | 57.15% | 80-yr inflows, regional study4 | Optimized per AURORA logic | 276.875
Mid C Rock Island | 155.9313 | 48.84% | 80-yr inflows, regional study4 | Optimized per AURORA logic | 129.2604
Mid C Priest Rapids Project | 12.759 | 55% | 80-yr inflows, regional study4 | Optimized per AURORA logic | 12.217
Lower Snake River | 342.7 | XXX | 2016 Vaisala study | AURORA default hourly shape | n/a
Hopkins Ridge | 156.6 | XXX | 2016 Vaisala study | AURORA default hourly shape | n/a
Wild Horse | 228.6 | XXX | 2016 Vaisala study | AURORA default hourly shape | n/a
Wild Horse Expansion | 44 | XXX | 2016 Vaisala study | AURORA default hourly shape | n/a
1. Applicable only to hydro resources used for operating reserves
2. Rate-year average. PSE's actual share and associated capacity varies seasonally.
3. Some daily/hourly shaping is still performed by AURORA in order to smooth transitions between months/days
4. AURORA output energy volume/capacity factor will generally be lower than input when a hydro resource provides operating reserves. The optimization logic will spill hydro energy if/when it is the lower cost solution compared to adjusting thermal resource output.
2017 GRC Settlement
Resource | Capacity (MW) | Capacity factor (%) | Monthly energy volume source | Hourly shape assumption | Available capacity, average (MW)1
Upper Baker | 105 | XXX | 80-yr inflows, PSE model | Optimized per AURORA logic | n/a
Lower Baker | 111.2 | XXX | 80-yr inflows, PSE model | Optimized per AURORA logic | n/a
Snoqualmie Falls | 46.9 | XXX | 80-yr inflows, PSE model | Flat3 | n/a
Mid C Wells | 238.12 | 62.7% | 80-yr inflows, regional study | Optimized per AURORA logic | n/a
Mid C Rocky Reach | 319.9125 | 54.75% | 80-yr inflows, regional study | Optimized per AURORA logic | n/a
Mid C Rock Island | 155.9313 | 48.36% | 80-yr inflows, regional study | Optimized per AURORA logic | n/a
Mid C Priest Rapids Project | 12.759 | 54.97% | 80-yr inflows, regional study | Optimized per AURORA logic | n/a
Lower Snake River | 342.7 | XXX | Pre-construction forecast | 12 month X 24 hour average | n/a
Hopkins Ridge | 156.6 | XXX | 2010 DNV study | 12 month X 24 hour average | n/a
Wild Horse | 228.6 | XXX | 2010 DNV study | 12 month X 24 hour average | n/a
Wild Horse Expansion | 44 | XXX | Pre-construction forecast | 12 month X 24 hour average | n/a
1. Operating reserves costs were calculated outside of AURORA in the 2017 GRC. Therefore, this input was not necessary.
2. Rate-year average. PSE's actual share varied due to expiration of original contract and start of new contract on 9/1/2018.
3. Some daily/hourly shaping is still performed by AURORA in order to smooth transitions between months/days
Changes (positive values indicate an increase relative to the 2017 GRC, negative values a decrease)
Resource | Capacity (MW) | Capacity factor (%) | Monthly energy volume source | Hourly shape assumption | Available capacity, average (MW)
Upper Baker | 0 | XXX | No change | No change | new
Lower Baker | 0 | XXX | No change | Updated to reflect operational constraints | -
Snoqualmie Falls | 0 | XXX | No change | No change | -
Mid C Wells | -96.5 | 0.9425% | No change | No change | new
Mid C Rocky Reach | 0 | 2.4% | No change | No change | new
Mid C Rock Island | 0 | 0.4707% | No change | No change | new
Mid C Priest Rapids Project | 0 | 0.02938% | No change | No change | new
Lower Snake River | 0 | XXX | Updated to more recent estimates | Updated to include full range of output | -
Hopkins Ridge | 0 | XXX | Updated to more recent estimates | Updated to include full range of output | -
Wild Horse | 0 | XXX | Updated to more recent estimates | Updated to include full range of output | -
Wild Horse Expansion | 0 | XXX | Updated to more recent estimates | Updated to include full range of output | -
REDACTED
VERSION

## p.5 Contract inputs
Puget Sound Energy
Rate Year Resource Inputs Summary
Power Purchase Agreements
2019 GRC Proposed
Contract name | Resource type | Contract price, average ($/MWh) | Contract capacity (MW) | Rate year energy (aMW) | Monthly shape/volume assumption | Hourly shape assumption
Centralia coal PPA | coal | XXX | 380 | XXX | XXX | XXX
Lund Hill solar PPA | solar | XXX | 150 | XXX | Developer-provided forecast | 12 month X 24 hour average
Skookumchuck wind PPA | wind | XXX | 136.8 | XXX | Developer-provided forecast | 12 month X 24 hour average
Klondike III wind PPA | wind | XXX | 50 | XXX | Owner-provided forecast | 12 month X 24 hour average
Electron Hydro PPA | hydro | XXX | 21.3 | XXX | Owner-provided forecast | Flat
Baker Replacement | system | 0 | 7 | 0.7989 | 1,750 MWh/mo. Nov.-Feb. per contract | All on-peak
PG&E Exchange | system | 0 | +/-300 | 0 | Historical average | Historical average on-peak/off-peak allocation
Point Roberts (BC Hydro) | system | 80 | 3.416 | 2.3659 | Historical average | Flat
QF Koma Kulshan | hydro | 82.53 | 11.9 | 4.5669 | Historical average | Flat
QF Twin Falls | hydro | 75 | 20 | 8.2182 | Historical average | Flat
QF Weeks Falls | hydro | 75 | 4.6 | 1.5118 | Historical average | Flat
Canadian Entitlement | hydro/system | 0 | -27.2 | -15.5508 | Calculated estimate per agreement | All on-peak
Schedule 91 contracts | various | 78.2 | 52.62 | 24.1207 | Owner/developer-provided estimates | Flat
2017 GRC Settlement
Contract name | Resource type | Contract price, average ($/MWh) | Contract capacity (MW) | Rate year energy (aMW) | Monthly shape/volume assumption | Hourly shape assumption
Centralia coal PPA | coal | XXX | 380 | XXX | XXX | XXX
Lund Hill solar PPA | solar | n/a | n/a | n/a | n/a | n/a
Skookumchuck wind PPA | wind | n/a | n/a | n/a | n/a | n/a
Klondike III wind PPA | wind | XXX | 50 | XXX | Pre-construction forecast | 12 month X 24 hour average
Electron Hydro PPA | hydro | XXX | 21.3 | XXX | Owner-provided forecast | Flat
Baker Replacement | system | 0 | 7 | 0.7989 | 1,750 MWh/mo. Nov.-Feb. per contract | All on-peak
PG&E Exchange | system | 0 | +/-300 | 0 | Historical average | Historical average on-peak/off-peak allocation
Point Roberts (BC Hydro) | system | 60.49 | 3.416 | 2.3812 | Historical average | Flat
QF Koma Kulshan | hydro | 81.9455 | 11.9 | 4.5297 | Historical average | Flat
QF Twin Falls | hydro | 75 | 20 | 8.2316 | Historical average | Flat
QF Weeks Falls | hydro | 75 | 4.6 | 1.5122 | Historical average | Flat
Canadian Entitlement | hydro/system | 0 | -31.9 | -18 | Calculated estimate per agreement | All on-peak
Schedule 91 contracts | various | 95.4162 | 28.63 | 13.7268 | Owner/developer-provided estimates | Flat
Changes (positive values indicate an increase relative to the 2017 GRC, negative values a decrease)
Contract name | Resource type | Contract price, average ($/MWh) | Contract capacity (MW) | Rate year energy (aMW) | Monthly shape/volume assumption | Hourly shape assumption
Centralia coal PPA | coal | XXX | 0 | XXX | XXX | XXX
Lund Hill solar PPA | solar | n/a | n/a | n/a | n/a | n/a
Skookumchuck wind PPA | wind | n/a | n/a | n/a | n/a | n/a
Klondike III wind PPA | wind | XXX | 0 | XXX | Updated to more recent estimate | No change
Electron Hydro PPA | hydro | XXX | 0 | XXX | No change | No change
Baker Replacement | system | 0 | 0 | 0 | No change | No change
PG&E Exchange | system | 0 | 0 | 0 | No change | No change
Point Roberts (BC Hydro) | system | 19.51 | 0 | -0.015225 | No change | No change
QF Koma Kulshan | hydro | 0.58446 | 0 | 0.037154 | No change | No change
QF Twin Falls | hydro | 0 | 0 | -0.013415 | No change | No change
QF Weeks Falls | hydro | 0 | 0 | -0.00034882 | No change | No change
Canadian Entitlement | hydro/system | 0 | 4.7 | 2.4492 | No change | No change
Schedule 91 contracts | various | -17.2162 | 23.99 | 10.3939 | No change | No change
REDACTED
VERSION